## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN10nov20_001.gcd | 2020-11-10 14:57 | air | Unknown | 0 | 6.096 | 3182 | 0.003 | ----- | ----- | ----- | ----- | 37 | BRN10nov20_001.gcd | 2020-11-10 14:57 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN10nov20_001.gcd | 2020-11-10 14:57 | air | Unknown | 0 | 12.245 | 2089 | 0.459 | ----- | ----- | ----- | ----- | 1 |  | 4.4515 | 421.8567
38 | BRN10nov20_002.gcd | 2020-11-10 15:27 | air + 100 | Unknown | 0 | 6.019 | 892948 | 1.329 | ----- | ----- | ----- | ----- | 38 | BRN10nov20_002.gcd | 2020-11-10 15:27 | air + 100 | Unknown | 0 | 5.97 | 7016 | 1.887 | ----- | ----- | ----- | ----- | 38 | BRN10nov20_002.gcd | 2020-11-10 15:27 | air + 100 | Unknown | 0 | 12.191 | 9576 | 1.477 | ----- | ----- | ----- | ----- | 1 |  | 1892.0001 | 1804.4644
39 | BRN10nov20_003.gcd | 2020-11-10 15:58 | 215 | Unknown | 0 | 6.058 | 5162 | 0.006 | ----- | ----- | ----- | ----- | 39 | BRN10nov20_003.gcd | 2020-11-10 15:58 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN10nov20_003.gcd | 2020-11-10 15:58 | 215 | Unknown | 0 | 12.11 | 48549 | 6.786 | ----- | ----- | ----- | ----- | 1 |  | 10.1584 | 8887.8654
40 | BRN10nov20_004.gcd | 2020-11-10 16:28 | 141 | Unknown | 0 | 6.05 | 5498 | 0.006 | ----- | ----- | ----- | ----- | 40 | BRN10nov20_004.gcd | 2020-11-10 16:28 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN10nov20_004.gcd | 2020-11-10 16:28 | 141 | Unknown | 0 | 12.119 | 47255 | 6.609 | ----- | ----- | ----- | ----- | 1 |  | 11.1434 | 8655.7394
41 | BRN10nov20_005.gcd | 2020-11-10 16:59 | 122 | Unknown | 0 | 6.054 | 5859 | 0.007 | ----- | ----- | ----- | ----- | 41 | BRN10nov20_005.gcd | 2020-11-10 16:59 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN10nov20_005.gcd | 2020-11-10 16:59 | 122 | Unknown | 0 | 12.127 | 46241 | 6.471 | ----- | ----- | ----- | ----- | 1 |  | 12.2071 | 8473.6947
42 | BRN10nov20_006.gcd | 2020-11-10 17:30 | 217 | Unknown | 0 | 6.042 | 5915 | 0.007 | ----- | ----- | ----- | ----- | 42 | BRN10nov20_006.gcd | 2020-11-10 17:30 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN10nov20_006.gcd | 2020-11-10 17:30 | 217 | Unknown | 0 | 12.127 | 30460 | 4.319 | ----- | ----- | ----- | ----- | 1 |  | 12.3726 | 5623.8753
43 | BRN10nov20_007.gcd | 2020-11-10 18:00 | 113 | Unknown | 0 | 6.048 | 7455 | 0.009 | ----- | ----- | ----- | ----- | 43 | BRN10nov20_007.gcd | 2020-11-10 18:00 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN10nov20_007.gcd | 2020-11-10 18:00 | 113 | Unknown | 0 | 12.155 | 11335 | 1.716 | ----- | ----- | ----- | ----- | 1 |  | 16.9758 | 2128.2742
44 | BRN10nov20_008.gcd | 2020-11-10 18:31 | 135 | Unknown | 0 | 6.057 | 5462 | 0.006 | ----- | ----- | ----- | ----- | 44 | BRN10nov20_008.gcd | 2020-11-10 18:31 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN10nov20_008.gcd | 2020-11-10 18:31 | 135 | Unknown | 0 | 12.119 | 45423 | 6.359 | ----- | ----- | ----- | ----- | 1 |  | 11.0377 | 8326.7441
45 | BRN10nov20_009.gcd | 2020-11-10 19:01 | 94 | Unknown | 0 | 6.076 | 3495 | 0.003 | ----- | ----- | ----- | ----- | 45 | BRN10nov20_009.gcd | 2020-11-10 19:01 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN10nov20_009.gcd | 2020-11-10 19:01 | 94 | Unknown | 0 | 12.15 | 7384 | 1.179 | ----- | ----- | ----- | ----- | 1 |  | 5.3425 | 1400.4012
46 | BRN10nov20_010.gcd | 2020-11-10 19:32 | 173 | Unknown | 0 | 6.053 | 5912 | 0.007 | ----- | ----- | ----- | ----- | 46 | BRN10nov20_010.gcd | 2020-11-10 19:32 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN10nov20_010.gcd | 2020-11-10 19:32 | 173 | Unknown | 0 | 12.122 | 28374 | 4.034 | ----- | ----- | ----- | ----- | 1 |  | 12.3637 | 5244.8345
47 | BRN10nov20_011.gcd | 2020-11-10 20:03 | 95 | Unknown | 0 | 6.068 | 4884 | 0.005 | ----- | ----- | ----- | ----- | 47 | BRN10nov20_011.gcd | 2020-11-10 20:03 | 95 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN10nov20_011.gcd | 2020-11-10 20:03 | 95 | Unknown | 0 | 12.139 | 41346 | 5.803 | ----- | ----- | ----- | ----- | 1 |  | 9.3471 | 7593.0736
48 | BRN10nov20_012.gcd | 2020-11-10 20:33 | 74 | Unknown | 0 | 6.048 | 6102 | 0.007 | ----- | ----- | ----- | ----- | 48 | BRN10nov20_012.gcd | 2020-11-10 20:33 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN10nov20_012.gcd | 2020-11-10 20:33 | 74 | Unknown | 0 | 12.115 | 43965 | 6.16 | ----- | ----- | ----- | ----- | 1 |  | 12.9261 | 8064.6115
49 | BRN10nov20_013.gcd | 2020-11-10 21:04 | 155 | Unknown | 0 | 6.055 | 5443 | 0.006 | ----- | ----- | ----- | ----- | 49 | BRN10nov20_013.gcd | 2020-11-10 21:04 | 155 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN10nov20_013.gcd | 2020-11-10 21:04 | 155 | Unknown | 0 | 12.124 | 42571 | 5.97 | ----- | ----- | ----- | ----- | 1 |  | 10.9819 | 7813.736
50 | BRN10nov20_014.gcd | 2020-11-10 21:34 | 59 | Unknown | 0 | 6.085 | 3950 | 0.004 | ----- | ----- | ----- | ----- | 50 | BRN10nov20_014.gcd | 2020-11-10 21:34 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN10nov20_014.gcd | 2020-11-10 21:34 | 59 | Unknown | 0 | 12.144 | 8188 | 1.288 | ----- | ----- | ----- | ----- | 1 |  | 6.6453 | 1548.6769
51 | BRN10nov20_015.gcd | 2020-11-10 22:05 | 174 | Unknown | 0 | 6.052 | 6213 | 0.007 | ----- | ----- | ----- | ----- | 51 | BRN10nov20_015.gcd | 2020-11-10 22:05 | 174 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN10nov20_015.gcd | 2020-11-10 22:05 | 174 | Unknown | 0 | 12.12 | 48202 | 6.739 | ----- | ----- | ----- | ----- | 1 |  | 13.2554 | 8825.6389
52 | BRN10nov20_016.gcd | 2020-11-10 22:35 | 197 | Unknown | 0 | 6.039 | 11884 | 0.016 | ----- | ----- | ----- | ----- | 52 | BRN10nov20_016.gcd | 2020-11-10 22:35 | 197 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN10nov20_016.gcd | 2020-11-10 22:35 | 197 | Unknown | 0 | 12.158 | 7911 | 1.25 | ----- | ----- | ----- | ----- | 1 |  | 30.7763 | 1497.601
53 | BRN10nov20_017.gcd | 2020-11-10 23:06 | 14 | Unknown | 0 | 6.047 | 8380 | 0.011 | ----- | ----- | ----- | ----- | 53 | BRN10nov20_017.gcd | 2020-11-10 23:06 | 14 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN10nov20_017.gcd | 2020-11-10 23:06 | 14 | Unknown | 0 | 12.156 | 12266 | 1.842 | ----- | ----- | ----- | ----- | 1 |  | 19.7892 | 2299.5024
54 | BRN10nov20_018.gcd | 2020-11-10 23:37 | 130 | Unknown | 0 | 6.038 | 11895 | 0.016 | ----- | ----- | ----- | ----- | 54 | BRN10nov20_018.gcd | 2020-11-10 23:37 | 130 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN10nov20_018.gcd | 2020-11-10 23:37 | 130 | Unknown | 0 | 12.167 | 8710 | 1.359 | ----- | ----- | ----- | ----- | 1 |  | 30.8117 | 1644.902