## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250401_001.gcd | 2025-04-01 14:04 | QC outside air | Unknown | 0 | 6.043 | 1626 | 0.004 | ----- | ----- | ----- | ----- | 45 | FMI20250401_001.gcd | 2025-04-01 14:04 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250401_001.gcd | 2025-04-01 14:04 | QC outside air | Unknown | 0 | 12.281 | 2486 | 0.449 | ----- | ----- | ----- | ----- | 1 |  | 45 | 2.4152 | 431.7589 | -0.063297 | 409.9985 | 6.3998 | 582.0452 | 0.32865 | 543.3604 | 2.4152 | 431.7589 | 45 | FMI20250401_001.gcd | 2025-04-01 14:04 | QC outside air | Unknown | 0 | 2.697 | 5199567 | 0 | ----- | ----- | ----- | -----
46 | FMI20250401_002.gcd | 2025-04-01 14:35 | QC spiked air | Unknown | 0 | 6.007 | 990744 | 2.238 | ----- | ----- | ----- | ----- | 46 | FMI20250401_002.gcd | 2025-04-01 14:35 | QC spiked air | Unknown | 0 | 5.962 | 8975 | 2.31 | ----- | ----- | ----- | ----- | 46 | FMI20250401_002.gcd | 2025-04-01 14:35 | QC spiked air | Unknown | 0 | 12.235 | 8779 | 1.829 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2204.7831 | 1861.1964 | 2442.9614 | 1708.9525 | 2057.8861 | 2085.204 | 2274.0786 | 1829.1862 | 2204.7831 | 1861.1964 | 46 | FMI20250401_002.gcd | 2025-04-01 14:35 | QC spiked air | Unknown | 0 | 2.71 | 4996627 | 0 | ----- | ----- | ----- | -----
47 | FMI20250401_003.gcd | 2025-04-01 15:05 | QC reference tank | Unknown | 0 | 6.021 | 2599 | 0.006 | ----- | ----- | ----- | ----- | 47 | FMI20250401_003.gcd | 2025-04-01 15:05 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250401_003.gcd | 2025-04-01 15:05 | QC reference tank | Unknown | 0 | 12.23 | 1040 | 0.132 | ----- | ----- | ----- | ----- | 1 |  | 47 | 5.8381 | 102.7549 | 1.3464 | 111.2404 | 3.9834 | 231.5467 | 2.9503 | 247.2353 | 5.8381 | 102.7549 | 47 | FMI20250401_003.gcd | 2025-04-01 15:05 | QC reference tank | Unknown | 0 | 2.702 | 5039993 | 0 | ----- | ----- | ----- | -----
48 | FMI20250401_004.gcd | 2025-04-01 15:36 | old air | Unknown | 0 | 6.052 | 1562 | 0.004 | ----- | ----- | ----- | ----- | 48 | FMI20250401_004.gcd | 2025-04-01 15:36 | old air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250401_004.gcd | 2025-04-01 15:36 | old air | Unknown | 0 | 12.245 | 1824 | 0.304 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.1906 | 281.1615 | -0.14638 | 273.2359 | 6.5946 | 421.8186 | 0.16 | 407.821 | 2.1906 | 281.1615 | 48 | FMI20250401_004.gcd | 2025-04-01 15:36 | old air | Unknown | 0 | 2.697 | 5233783 | 0 | ----- | ----- | ----- | -----
49 | FMI20250401_005.gcd | 2025-04-01 16:06 | old spiked air | Unknown | 0 | 6.002 | 946090 | 2.137 | ----- | ----- | ----- | ----- | 49 | FMI20250401_005.gcd | 2025-04-01 16:06 | old spiked air | Unknown | 0 | 5.956 | 8375 | 2.162 | ----- | ----- | ----- | ----- | 49 | FMI20250401_005.gcd | 2025-04-01 16:06 | old spiked air | Unknown | 0 | 12.234 | 9544 | 1.997 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2113.5048 | 2034.6991 | 2294.9032 | 1866.7202 | 1972.866 | 2265.4708 | 2178.9213 | 1985.1729 | 2113.5048 | 2034.6991 | 49 | FMI20250401_005.gcd | 2025-04-01 16:06 | old spiked air | Unknown | 0 | 2.7 | 5156833 | 0 | ----- | ----- | ----- | -----
50 | FMI20250401_006.gcd | 2025-04-01 16:37 | 152 | Unknown | 0 | 6.004 | 66952 | 0.151 | ----- | ----- | ----- | ----- | 50 | FMI20250401_006.gcd | 2025-04-01 16:37 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250401_006.gcd | 2025-04-01 16:37 | 152 | Unknown | 0 | 12.107 | 77430 | 16.801 | ----- | ----- | ----- | ----- | 1 |  | 50 | 181.5653 | 17151.1498 | 154.3723 | 15748.0783 | 186.2459 | 17157.1989 | 188.4783 | 15279.0394 | 181.5653 | 17151.1498 | 50 | FMI20250401_006.gcd | 2025-04-01 16:37 | 152 | Unknown | 0 | 2.819 | 1551803 | 0 | ----- | ----- | ----- | -----
51 | FMI20250401_007.gcd | 2025-04-01 17:08 | 364 | Unknown | 0 | 6.008 | 19178 | 0.044 | ----- | ----- | ----- | ----- | 51 | FMI20250401_007.gcd | 2025-04-01 17:08 | 364 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250401_007.gcd | 2025-04-01 17:08 | 364 | Unknown | 0 | 12.197 | 5079 | 1.018 | ----- | ----- | ----- | ----- | 1 |  | 51 | 54.5177 | 1021.2225 | 42.5303 | 945.471 | 47.3586 | 1205.7903 | 51.1698 | 1073.7524 | 54.5177 | 1021.2225 | 51 | FMI20250401_007.gcd | 2025-04-01 17:08 | 364 | Unknown | 0 | 2.853 | 900331 | 0 | ----- | ----- | ----- | -----
52 | FMI20250401_008.gcd | 2025-04-01 17:38 | 218 | Unknown | 0 | 6.008 | 13771 | 0.031 | ----- | ----- | ----- | ----- | 52 | FMI20250401_008.gcd | 2025-04-01 17:38 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250401_008.gcd | 2025-04-01 17:38 | 218 | Unknown | 0 | 12.168 | 27725 | 5.976 | ----- | ----- | ----- | ----- | 1 |  | 52 | 40.0629 | 6141.2636 | 29.849 | 5607.4409 | 31.1861 | 6392.587 | 35.5464 | 5671.7582 | 40.0629 | 6141.2636 | 52 | FMI20250401_008.gcd | 2025-04-01 17:38 | 218 | Unknown | 0 | 2.849 | 971233 | 0 | ----- | ----- | ----- | -----
53 | FMI20250401_009.gcd | 2025-04-01 18:09 | 113 | Unknown | 0 | 6.009 | 25337 | 0.058 | ----- | ----- | ----- | ----- | 53 | FMI20250401_009.gcd | 2025-04-01 18:09 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250401_009.gcd | 2025-04-01 18:09 | 113 | Unknown | 0 | 12.19 | 2474 | 0.446 | ----- | ----- | ----- | ----- | 1 |  | 53 | 70.964 | 429.0295 | 56.9696 | 407.5196 | 65.6681 | 579.1444 | 68.9456 | 540.904 | 70.964 | 429.0295 | 53 | FMI20250401_009.gcd | 2025-04-01 18:09 | 113 | Unknown | 0 | 2.853 | 912993 | 0 | ----- | ----- | ----- | -----
54 | FMI20250401_010.gcd | 2025-04-01 18:39 | 30 | Unknown | 0 | 6.013 | 67405 | 0.152 | ----- | ----- | ----- | ----- | 54 | FMI20250401_010.gcd | 2025-04-01 18:39 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250401_010.gcd | 2025-04-01 18:39 | 30 | Unknown | 0 | 12.126 | 75092 | 16.294 | ----- | ----- | ----- | ----- | 1 |  | 54 | 182.7643 | 16652.9683 | 155.431 | 15273.914 | 187.5284 | 16592.6611 | 189.774 | 14805.279 | 182.7643 | 16652.9683 | 54 | FMI20250401_010.gcd | 2025-04-01 18:39 | 30 | Unknown | 0 | 2.865 | 796335 | 0 | ----- | ----- | ----- | -----
55 | FMI20250401_011.gcd | 2025-04-01 19:10 | 338 | Unknown | 0 | 6.016 | 24532 | 0.056 | ----- | ----- | ----- | ----- | 55 | FMI20250401_011.gcd | 2025-04-01 19:10 | 338 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250401_011.gcd | 2025-04-01 19:10 | 338 | Unknown | 0 | 12.207 | 2949 | 0.551 | ----- | ----- | ----- | ----- | 1 |  | 55 | 68.8155 | 537.0606 | 55.0827 | 505.6364 | 63.2818 | 693.8695 | 66.6235 | 638.1249 | 68.8155 | 537.0606 | 55 | FMI20250401_011.gcd | 2025-04-01 19:10 | 338 | Unknown | 0 | 2.861 | 885310 | 0 | ----- | ----- | ----- | -----
56 | FMI20250401_012.gcd | 2025-04-01 19:40 | 269 | Unknown | 0 | 6.009 | 17685 | 0.04 | ----- | ----- | ----- | ----- | 56 | FMI20250401_012.gcd | 2025-04-01 19:40 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250401_012.gcd | 2025-04-01 19:40 | 269 | Unknown | 0 | 12.185 | 9342 | 1.952 | ----- | ----- | ----- | ----- | 1 |  | 56 | 50.5279 | 1988.8909 | 39.0292 | 1825.0642 | 42.9022 | 2217.9228 | 46.8575 | 1943.9911 | 50.5279 | 1988.8909 | 56 | FMI20250401_012.gcd | 2025-04-01 19:40 | 269 | Unknown | 0 | 2.854 | 884843 | 0 | ----- | ----- | ----- | -----
57 | FMI20250401_013.gcd | 2025-04-01 20:11 | 24 | Unknown | 0 | 6.01 | 20144 | 0.046 | ----- | ----- | ----- | ----- | 57 | FMI20250401_013.gcd | 2025-04-01 20:11 | 24 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250401_013.gcd | 2025-04-01 20:11 | 24 | Unknown | 0 | 12.201 | 5649 | 1.143 | ----- | ----- | ----- | ----- | 1 |  | 57 | 57.0985 | 1150.7114 | 44.7954 | 1063.1339 | 50.2383 | 1342.0813 | 53.9593 | 1190.2367 | 57.0985 | 1150.7114 | 57 | FMI20250401_013.gcd | 2025-04-01 20:11 | 24 | Unknown | 0 | 2.849 | 981211 | 0 | ----- | ----- | ----- | -----
58 | FMI20250401_014.gcd | 2025-04-01 20:42 | 128 | Unknown | 0 | 6.009 | 26355 | 0.06 | ----- | ----- | ----- | ----- | 58 | FMI20250401_014.gcd | 2025-04-01 20:42 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250401_014.gcd | 2025-04-01 20:42 | 128 | Unknown | 0 | 12.194 | 4119 | 0.807 | ----- | ----- | ----- | ----- | 1 |  | 58 | 73.6804 | 803.0638 | 59.3556 | 747.2643 | 68.6829 | 975.5777 | 71.8815 | 877.4804 | 73.6804 | 803.0638 | 58 | FMI20250401_014.gcd | 2025-04-01 20:42 | 128 | Unknown | 0 | 2.851 | 951870 | 0 | ----- | ----- | ----- | -----
59 | FMI20250401_015.gcd | 2025-04-01 21:12 | 323 | Unknown | 0 | 6.009 | 15111 | 0.034 | ----- | ----- | ----- | ----- | 59 | FMI20250401_015.gcd | 2025-04-01 21:12 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250401_015.gcd | 2025-04-01 21:12 | 323 | Unknown | 0 | 12.17 | 27360 | 5.896 | ----- | ----- | ----- | ----- | 1 |  | 59 | 43.6466 | 6059.1397 | 32.9922 | 5532.5085 | 35.2027 | 6312.6974 | 39.4198 | 5598.1355 | 43.6466 | 6059.1397 | 59 | FMI20250401_015.gcd | 2025-04-01 21:12 | 323 | Unknown | 0 | 2.847 | 1030212 | 0 | ----- | ----- | ----- | -----
60 | FMI20250401_016.gcd | 2025-04-01 21:43 | 38 | Unknown | 0 | 6.009 | 26048 | 0.059 | ----- | ----- | ----- | ----- | 60 | FMI20250401_016.gcd | 2025-04-01 21:43 | 38 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250401_016.gcd | 2025-04-01 21:43 | 38 | Unknown | 0 | 12.195 | 2583 | 0.47 | ----- | ----- | ----- | ----- | 1 |  | 60 | 72.8613 | 453.8217 | 58.6361 | 430.0358 | 67.7741 | 605.489 | 70.9962 | 563.216 | 72.8613 | 453.8217 | 60 | FMI20250401_016.gcd | 2025-04-01 21:43 | 38 | Unknown | 0 | 2.853 | 913621 | 0 | ----- | ----- | ----- | -----
61 | FMI20250401_017.gcd | 2025-04-01 22:13 | 183 | Unknown | 0 | 6.017 | 25270 | 0.057 | ----- | ----- | ----- | ----- | 61 | FMI20250401_017.gcd | 2025-04-01 22:13 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250401_017.gcd | 2025-04-01 22:13 | 183 | Unknown | 0 | 12.195 | 6576 | 1.346 | ----- | ----- | ----- | ----- | 1 |  | 61 | 70.7852 | 1361.2332 | 56.8125 | 1254.4556 | 65.4696 | 1563.1005 | 68.7523 | 1379.594 | 70.7852 | 1361.2332 | 61 | FMI20250401_017.gcd | 2025-04-01 22:13 | 183 | Unknown | 0 | 2.86 | 910691 | 0 | ----- | ----- | ----- | -----
62 | FMI20250401_018.gcd | 2025-04-01 22:44 | 302 | Unknown | 0 | 6.015 | 14118 | 0.032 | ----- | ----- | ----- | ----- | 62 | FMI20250401_018.gcd | 2025-04-01 22:44 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250401_018.gcd | 2025-04-01 22:44 | 302 | Unknown | 0 | 12.175 | 31217 | 6.739 | ----- | ----- | ----- | ----- | 1 |  | 62 | 40.9911 | 6926.2921 | 30.663 | 6323.9846 | 32.2267 | 7150.7581 | 36.5495 | 6375.3098 | 40.9911 | 6926.2921 | 62 | FMI20250401_018.gcd | 2025-04-01 22:44 | 302 | Unknown | 0 | 2.854 | 1009537 | 0 | ----- | ----- | ----- | -----
63 | FMI20250401_019.gcd | 2025-04-01 23:14 | 224 | Unknown | 0 | 6.009 | 18706 | 0.043 | ----- | ----- | ----- | ----- | 63 | FMI20250401_019.gcd | 2025-04-01 23:14 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250401_019.gcd | 2025-04-01 23:14 | 224 | Unknown | 0 | 12.189 | 7861 | 1.628 | ----- | ----- | ----- | ----- | 1 |  | 63 | 53.2565 | 1652.9174 | 41.4235 | 1519.5917 | 45.9505 | 1868.1792 | 49.8066 | 1641.9096 | 53.2565 | 1652.9174 | 63 | FMI20250401_019.gcd | 2025-04-01 23:14 | 224 | Unknown | 0 | 2.852 | 929557 | 0 | ----- | ----- | ----- | -----
64 | FMI20250401_020.gcd | 2025-04-01 23:45 | 251 | Unknown | 0 | 6.017 | 15109 | 0.034 | ----- | ----- | ----- | ----- | 64 | FMI20250401_020.gcd | 2025-04-01 23:45 | 251 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250401_020.gcd | 2025-04-01 23:45 | 251 | Unknown | 0 | 12.175 | 29331 | 6.327 | ----- | ----- | ----- | ----- | 1 |  | 64 | 43.6413 | 6502.4534 | 32.9875 | 5937.0627 | 35.1967 | 6742.6577 | 39.4141 | 5995.5086 | 43.6413 | 6502.4534 | 64 | FMI20250401_020.gcd | 2025-04-01 23:45 | 251 | Unknown | 0 | 2.851 | 1079871 | 0 | ----- | ----- | ----- | -----
65 | FMI20250401_021.gcd | 2025-04-02 00:16 | 361 | Unknown | 0 | 6.008 | 26807 | 0.061 | ----- | ----- | ----- | ----- | 65 | FMI20250401_021.gcd | 2025-04-02 00:16 | 361 | Unknown | 0 | 6 | 247 | 0.152 | ----- | ----- | ----- | ----- | 65 | FMI20250401_021.gcd | 2025-04-02 00:16 | 361 | Unknown | 0 | 12.194 | 8311 | 1.726 | ----- | ----- | ----- | ----- | 1 |  | 65 | 74.8864 | 1755.0253 | 60.415 | 1612.421 | 70.0204 | 1974.6599 | 73.185 | 1733.7245 | 74.8864 | 1755.0253 | 65 | FMI20250401_021.gcd | 2025-04-02 00:16 | 361 | Unknown | 0 | 2.852 | 919896 | 0 | ----- | ----- | ----- | -----
66 | FMI20250401_022.gcd | 2025-04-02 00:46 | 371 | Unknown | 0 | 6.011 | 15379 | 0.035 | ----- | ----- | ----- | ----- | 66 | FMI20250401_022.gcd | 2025-04-02 00:46 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250401_022.gcd | 2025-04-02 00:46 | 371 | Unknown | 0 | 12.169 | 31271 | 6.751 | ----- | ----- | ----- | ----- | 1 |  | 66 | 44.3633 | 6938.4224 | 33.6208 | 6335.0603 | 36.0053 | 7162.395 | 40.1944 | 6386.178 | 44.3633 | 6938.4224 | 66 | FMI20250401_022.gcd | 2025-04-02 00:46 | 371 | Unknown | 0 | 2.822 | 1556758 | 0 | ----- | ----- | ----- | -----
67 | FMI20250401_023.gcd | 2025-04-02 01:17 | 377 | Unknown | 0 | 6.01 | 14924 | 0.034 | ----- | ----- | ----- | ----- | 67 | FMI20250401_023.gcd | 2025-04-02 01:17 | 377 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250401_023.gcd | 2025-04-02 01:17 | 377 | Unknown | 0 | 12.17 | 29542 | 6.373 | ----- | ----- | ----- | ----- | 1 |  | 67 | 43.1466 | 6549.8886 | 32.5536 | 5980.3593 | 34.6425 | 6788.476 | 38.8794 | 6038.0208 | 43.1466 | 6549.8886 | 67 | FMI20250401_023.gcd | 2025-04-02 01:17 | 377 | Unknown | 0 | 2.843 | 1104595 | 0 | ----- | ----- | ----- | -----