## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240924_001.gcd | 2024-09-24 14:36 | QC outside air | Unknown | 0 | 6.044 | 2445 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20240924_001.gcd | 2024-09-24 14:36 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240924_001.gcd | 2024-09-24 14:36 | QC outside air | Unknown | 0 | 12.197 | 1649 | 0.325 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.5282 | 371.9824 | 2.2858 | 311.3866 | 1.1049 | 237.0789 | 4.2977 | 379.3958 | 2.5282 | 371.9824 | 48 | FMI20240924_001.gcd | 2024-09-24 14:36 | QC outside air | Unknown | 0 | 2.701 | 4838142 | 0 | ----- | ----- | ----- | -----
49 | FMI20240924_002.gcd | 2024-09-24 15:07 | QC spiked air | Unknown | 0 | 5.989 | 1081144 | 2.726 | ----- | ----- | ----- | ----- | 49 | FMI20240924_002.gcd | 2024-09-24 15:07 | QC spiked air | Unknown | 0 | 5.942 | 8530 | 2.542 | ----- | ----- | ----- | ----- | 49 | FMI20240924_002.gcd | 2024-09-24 15:07 | QC spiked air | Unknown | 0 | 12.165 | 8532 | 1.839 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2466.6446 | 1778.8069 | 2471.7317 | 1626.2768 | 2333.1529 | 1658.0067 | 2229.7783 | 2026.8862 | 2466.6446 | 1778.8069 | 49 | FMI20240924_002.gcd | 2024-09-24 15:07 | QC spiked air | Unknown | 0 | 2.701 | 4852570 | 0 | ----- | ----- | ----- | -----
50 | FMI20240924_003.gcd | 2024-09-24 15:37 | QC reference tank | Unknown | 0 | 6.026 | 3676 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI20240924_003.gcd | 2024-09-24 15:37 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240924_003.gcd | 2024-09-24 15:37 | QC reference tank | Unknown | 0 | 12.173 | 1451 | 0.282 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.9784 | 331.4291 | 6.5553 | 273.539 | 3.2275 | 196.168 | 2.5009 | 331.3637 | 5.9784 | 331.4291 | 50 | FMI20240924_003.gcd | 2024-09-24 15:37 | QC reference tank | Unknown | 0 | 2.698 | 4955387 | 0 | ----- | ----- | ----- | -----
51 | FMI20240924_004.gcd | 2024-09-24 16:08 | 358 | Unknown | 0 | 5.994 | 40789 | 0.099 | ----- | ----- | ----- | ----- | 51 | FMI20240924_004.gcd | 2024-09-24 16:08 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240924_004.gcd | 2024-09-24 16:08 | 358 | Unknown | 0 | 12.145 | 4434 | 0.939 | ----- | ----- | ----- | ----- | 1 |  | 51 | 113.4458 | 941.8943 | 106.8668 | 843.6031 | 93.1686 | 812.3061 | 111.0772 | 1051.2089 | 113.4458 | 941.8943 | 51 | FMI20240924_004.gcd | 2024-09-24 16:08 | 358 | Unknown | 0 | 2.856 | 710885 | 0 | ----- | ----- | ----- | -----
52 | FMI20240924_005.gcd | 2024-09-24 16:38 | 313 | Unknown | 0 | 5.996 | 11942 | 0.027 | ----- | ----- | ----- | ----- | 52 | FMI20240924_005.gcd | 2024-09-24 16:38 | 313 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240924_005.gcd | 2024-09-24 16:38 | 313 | Unknown | 0 | 11.953 | 196936 | 41.063 | ----- | ----- | ----- | ----- | 1 |  | 52 | 30.2577 | 39145.2224 | 31.0388 | 37019.6808 | 25.5583 | 39613.2089 | 25.6946 | 45417.7903 | 30.2577 | 39145.2224 | 52 | FMI20240924_005.gcd | 2024-09-24 16:38 | 313 | Unknown | 0 | 2.854 | 736112 | 0 | ----- | ----- | ----- | -----
53 | FMI20240924_006.gcd | 2024-09-24 17:09 | 153 | Unknown | 0 | 5.993 | 25297 | 0.06 | ----- | ----- | ----- | ----- | 53 | FMI20240924_006.gcd | 2024-09-24 17:09 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240924_006.gcd | 2024-09-24 17:09 | 153 | Unknown | 0 | 12.13 | 4602 | 0.976 | ----- | ----- | ----- | ----- | 1 |  | 53 | 68.8302 | 976.2435 | 66.1691 | 875.7 | 56.8758 | 846.9929 | 65.5496 | 1091.5085 | 68.8302 | 976.2435 | 53 | FMI20240924_006.gcd | 2024-09-24 17:09 | 153 | Unknown | 0 | 2.853 | 765273 | 0 | ----- | ----- | ----- | -----
54 | FMI20240924_007.gcd | 2024-09-24 17:40 | 288 | Unknown | 0 | 5.995 | 9687 | 0.021 | ----- | ----- | ----- | ----- | 54 | FMI20240924_007.gcd | 2024-09-24 17:40 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240924_007.gcd | 2024-09-24 17:40 | 288 | Unknown | 0 | 11.949 | 216727 | 44.963 | ----- | ----- | ----- | ----- | 1 |  | 54 | 25.3131 | 43031.3768 | 24.8805 | 40670.6026 | 19.9173 | 43495.0814 | 17.2339 | 49985.1807 | 25.3131 | 43031.3768 | 54 | FMI20240924_007.gcd | 2024-09-24 17:40 | 288 | Unknown | 0 | 2.853 | 732682 | 0 | ----- | ----- | ----- | -----
55 | FMI20240924_008.gcd | 2024-09-24 18:10 | 318 | Unknown | 0 | 6.04 | 1911 | 0.001 | ----- | ----- | ----- | ----- | 55 | FMI20240924_008.gcd | 2024-09-24 18:10 | 318 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240924_008.gcd | 2024-09-24 18:10 | 318 | Unknown | 0 | 11.735 | 196829 | 41.042 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- tried to reintegrate. CH4 is ok. Do not use CO2. Use CH4. | 55 | 1.0854 | 39124.1607 | 0.37912 | 36999.9075 | 0.32112 | 39592.1673 | 5.5861 | 45393.0096 | 1.0854 | 39124.1607 | 55 | FMI20240924_008.gcd | 2024-09-24 18:10 | 318 | Unknown | 0 | 2.845 | 869069 | 0 | ----- | ----- | ----- | -----
56 | FMI20240924_009.gcd | 2024-09-24 18:41 | 191 | Unknown | 0 | 5.989 | 49531 | 0.121 | ----- | ----- | ----- | ----- | 56 | FMI20240924_009.gcd | 2024-09-24 18:41 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240924_009.gcd | 2024-09-24 18:41 | 191 | Unknown | 0 | 11.52 | 206684 | 42.989 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- don't use. CH4 is ok. Do not use CO2. Use CH4. | 56 | 138.5609 | 41061.689 | 129.8065 | 38819.5236 | 113.6312 | 41527.7124 | 136.4339 | 47671.4493 | 138.5609 | 41061.689 | 56 | FMI20240924_009.gcd | 2024-09-24 18:41 | 191 | Unknown | 0 | 2.85 | 796879 | 0 | ----- | ----- | ----- | -----
57 | FMI20240924_010.gcd | 2024-09-24 19:11 | 321 | Unknown | 0 | 6.023 | 2031 | 0.002 | ----- | ----- | ----- | ----- | 57 | FMI20240924_010.gcd | 2024-09-24 19:11 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240924_010.gcd | 2024-09-24 19:11 | 321 | Unknown | 0 | 11.814 | 426197 | 84.139 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- tried to reintegrate. CH4 is ok. Do not use CO2. Use CH4. | 57 | 1.4067 | 83008.8386 | 0.81047 | 78531.4789 | 0.49004 | 83355.668 | 5.2698 | 96362.7621 | 1.4067 | 83008.8386 | 57 | FMI20240924_010.gcd | 2024-09-24 19:11 | 321 | Unknown | 0 | 2.845 | 878782 | 0 | ----- | ----- | ----- | -----
58 | FMI20240924_011.gcd | 2024-09-24 19:42 | 379 | Unknown | 0 | 5.992 | 19935 | 0.047 | ----- | ----- | ----- | ----- | 58 | FMI20240924_011.gcd | 2024-09-24 19:42 | 379 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240924_011.gcd | 2024-09-24 19:42 | 379 | Unknown | 0 | 12.124 | 4386 | 0.928 | ----- | ----- | ----- | ----- | 1 |  | 58 | 53.3558 | 932.0796 | 52.0696 | 834.4324 | 44.3054 | 802.3953 | 49.6155 | 1039.69 | 53.3558 | 932.0796 | 58 | FMI20240924_011.gcd | 2024-09-24 19:42 | 379 | Unknown | 0 | 2.848 | 828348 | 0 | ----- | ----- | ----- | -----
59 | FMI20240924_012.gcd | 2024-09-24 20:12 | 305 | Unknown | 0 | 6.008 | 3904 | 0.006 | ----- | ----- | ----- | ----- | 59 | FMI20240924_012.gcd | 2024-09-24 20:12 | 305 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240924_012.gcd | 2024-09-24 20:12 | 305 | Unknown | 0 | 11.943 | 215098 | 44.643 | ----- | ----- | ----- | ----- | 1 |  | 59 | 6.6364 | 42712.2178 | 7.3268 | 40370.5758 | 3.669 | 43176.3189 | 2.3477 | 49610.4482 | 6.6364 | 42712.2178 | 59 | FMI20240924_012.gcd | 2024-09-24 20:12 | 305 | Unknown | 0 | 2.842 | 919311 | 0 | ----- | ----- | ----- | -----
60 | FMI20240924_013.gcd | 2024-09-24 20:43 | 68 | Unknown | 0 | 5.993 | 21086 | 0.05 | ----- | ----- | ----- | ----- | 60 | FMI20240924_013.gcd | 2024-09-24 20:43 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20240924_013.gcd | 2024-09-24 20:43 | 68 | Unknown | 0 | 12.154 | 3899 | 0.821 | ----- | ----- | ----- | ----- | 1 |  | 60 | 56.6789 | 832.4859 | 55.0968 | 741.3836 | 47.0041 | 701.8353 | 53.0435 | 922.7023 | 56.6789 | 832.4859 | 60 | FMI20240924_013.gcd | 2024-09-24 20:43 | 68 | Unknown | 0 | 2.846 | 874213 | 0 | ----- | ----- | ----- | -----
61 | FMI20240924_014.gcd | 2024-09-24 21:14 | 341 | Unknown | 0 | 6.021 | 3543 | 0.005 | ----- | ----- | ----- | ----- | 61 | FMI20240924_014.gcd | 2024-09-24 21:14 | 341 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20240924_014.gcd | 2024-09-24 21:14 | 341 | Unknown | 0 | 11.947 | 211787 | 43.993 | ----- | ----- | ----- | ----- | 1 |  | 61 | 5.5972 | 42063.1229 | 6.1025 | 39760.4947 | 2.977 | 42528.0056 | 2.6161 | 48848.1222 | 5.5972 | 42063.1229 | 61 | FMI20240924_014.gcd | 2024-09-24 21:14 | 341 | Unknown | 0 | 2.846 | 858193 | 0 | ----- | ----- | ----- | -----
62 | FMI20240924_015.gcd | 2024-09-24 21:44 | 400 | Unknown | 0 | 5.991 | 31415 | 0.076 | ----- | ----- | ----- | ----- | 62 | FMI20240924_015.gcd | 2024-09-24 21:44 | 400 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20240924_015.gcd | 2024-09-24 21:44 | 400 | Unknown | 0 | 11.696 | 3833 | 0.806 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- tried to reintegrate. CH4 is ok. Do not use CO2. Use CH4. | 62 | 86.4661 | 818.9864 | 82.2481 | 728.7727 | 71.2129 | 688.2062 | 83.6195 | 906.831 | 86.4661 | 818.9864 | 62 | FMI20240924_015.gcd | 2024-09-24 21:44 | 400 | Unknown | 0 | 2.85 | 760827 | 0 | ----- | ----- | ----- | -----
63 | FMI20240924_016.gcd | 2024-09-24 22:15 | 384 | Unknown | 0 | 5.986 | 231324 | 0.579 | ----- | ----- | ----- | ----- | 63 | FMI20240924_016.gcd | 2024-09-24 22:15 | 384 | Unknown | 0 | 5.927 | 2143 | 0.666 | ----- | ----- | ----- | ----- | 63 | FMI20240924_016.gcd | 2024-09-24 22:15 | 384 | Unknown | 0 | 12.038 | 71879 | 15.486 | ----- | ----- | ----- | ----- | 1 |  | 63 | 652.3956 | 14153.7845 | 602.6582 | 13655.398 | 536.369 | 14621.8379 | 601.8733 | 15816.1147 | 652.3956 | 14153.7845 | 63 | FMI20240924_016.gcd | 2024-09-24 22:15 | 384 | Unknown | 0 | 2.849 | 783609 | 0 | ----- | ----- | ----- | -----
64 | FMI20240924_017.gcd | 2024-09-24 22:45 | 385 | Unknown | 0 | 6.002 | 5217 | 0.01 | ----- | ----- | ----- | ----- | 64 | FMI20240924_017.gcd | 2024-09-24 22:45 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240924_017.gcd | 2024-09-24 22:45 | 385 | Unknown | 0 | 12.031 | 36343 | 7.893 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- tried to reintegrate. CH4 is ok. Do not use CO2. Use CH4. | 64 | 10.5415 | 7405.4303 | 11.6524 | 6923.4472 | 6.5053 | 7374.6909 | 2.5582 | 8243.5489 | 10.5415 | 7405.4303 | 64 | FMI20240924_017.gcd | 2024-09-24 22:45 | 385 | Unknown | 0 | 2.842 | 911585 | 0 | ----- | ----- | ----- | -----
65 | FMI20240924_018.gcd | 2024-09-24 23:16 | 208 | Unknown | 0 | 5.949 | 15398614 | 40.274 | ----- | ----- | ----- | ----- | 65 | FMI20240924_018.gcd | 2024-09-24 23:16 | 208 | Unknown | 0 | 5.9 | 106078 | 30.439 | ----- | ----- | ----- | ----- | 65 | FMI20240924_018.gcd | 2024-09-24 23:16 | 208 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | Interference with CO2- don't use. CH4 is ok. Do not use CO2. Use CH4. | 65 | 28335.885 | #VALUE! | 27258.6607 | #VALUE! | 26220.5995 | #VALUE! | 25951.9562 | #VALUE! | 28335.885 | #VALUE! | 65 | FMI20240924_018.gcd | 2024-09-24 23:16 | 208 | Unknown | 0 | 2.856 | 616623 | 0 | ----- | ----- | ----- | -----
66 | FMI20240924_019.gcd | 2024-09-24 23:46 | 347 | Unknown | 0 | 5.814 | 66225647 | 206.3 | ----- | ----- | ----- | ----- | 66 | FMI20240924_019.gcd | 2024-09-24 23:46 | 347 | Unknown | 0 | 5.774 | 560657 | 145.713 | ----- | ----- | ----- | ----- | 66 | FMI20240924_019.gcd | 2024-09-24 23:46 | 347 | Unknown | 0 | 12.2 | 102177 | 21.84 | ----- | ----- | ----- | ----- | 1 |  | 66 | 144904.1303 | 20277.5386 | 137729.8258 | 19362.6277 | 132673.3078 | 20749.8535 | 136489.7951 | 23105.2412 | 144904.1303 | 20277.5386 | 66 | FMI20240924_019.gcd | 2024-09-24 23:46 | 347 | Unknown | 0 | 2.856 | 574300 | 0 | ----- | ----- | ----- | -----
67 | FMI20240924_020.gcd | 2024-09-25 00:17 | 354 | Unknown | 0 | 5.994 | 54664 | 0.134 | ----- | ----- | ----- | ----- | 67 | FMI20240924_020.gcd | 2024-09-25 00:17 | 354 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240924_020.gcd | 2024-09-25 00:17 | 354 | Unknown | 0 | 12.2 | 43496 | 9.434 | ----- | ----- | ----- | ----- | 1 |  | 67 | 153.287 | 8837.6443 | 143.2673 | 8281.8149 | 125.6404 | 8838.6419 | 151.2102 | 9728.4075 | 153.287 | 8837.6443 | 67 | FMI20240924_020.gcd | 2024-09-25 00:17 | 354 | Unknown | 0 | 2.856 | 817768 | 0 | ----- | ----- | ----- | -----
68 | FMI20240924_021.gcd | 2024-09-25 00:48 | 44 | Unknown | 0 | 5.998 | 6383 | 0.013 | ----- | ----- | ----- | ----- | 68 | FMI20240924_021.gcd | 2024-09-25 00:48 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20240924_021.gcd | 2024-09-25 00:48 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | Interference with CO2- don't use. CH4 is ok. Do not use CO2. Use CH4. | 68 | 14.1745 | #VALUE! | 15.3262 | #VALUE! | 9.4441 | #VALUE! | 4.3061 | #VALUE! | 14.1745 | #VALUE! | 68 | FMI20240924_021.gcd | 2024-09-25 00:48 | 44 | Unknown | 0 | 2.847 | 808419 | 0 | ----- | ----- | ----- | -----
69 | FMI20240924_022.gcd | 2024-09-25 01:18 | 307 | Unknown | 0 | 5.984 | 266085 | 0.667 | ----- | ----- | ----- | ----- | 69 | FMI20240924_022.gcd | 2024-09-25 01:18 | 307 | Unknown | 0 | 5.938 | 2239 | 0.694 | ----- | ----- | ----- | ----- | 69 | FMI20240924_022.gcd | 2024-09-25 01:18 | 307 | Unknown | 0 | 12.2 | 107699 | 22.987 | ----- | ----- | ----- | ----- | 1 |  | 69 | 726.7812 | 21388.8779 | 692.163 | 20399.5899 | 616.5952 | 21861.6749 | 668.988 | 24425.6401 | 726.7812 | 21388.8779 | 69 | FMI20240924_022.gcd | 2024-09-25 01:18 | 307 | Unknown | 0 | 2.841 | 910078 | 0 | ----- | ----- | ----- | -----
70 | FMI20240924_023.gcd | 2024-09-25 01:49 | 147 | Unknown | 0 | 5.804 | 65538696 | 203.507 | ----- | ----- | ----- | ----- | 70 | FMI20240924_023.gcd | 2024-09-25 01:49 | 147 | Unknown | 0 | 5.767 | 580681 | 150.35 | ----- | ----- | ----- | ----- | 70 | FMI20240924_023.gcd | 2024-09-25 01:49 | 147 | Unknown | 0 | 13.296 | 7085 | 1.521 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- don't use. CH4 is ok. Do not use CO2. Use CH4. | 70 | 149744.302 | 1483.5232 | 142405.2966 | 1349.9778 | 137178.3247 | 1359.4885 | 141168.868 | 1684.125 | 149744.302 | 1483.5232 | 70 | FMI20240924_023.gcd | 2024-09-25 01:49 | 147 | Unknown | 0 | 2.855 | 601393 | 0 | ----- | ----- | ----- | -----
71 | FMI20240924_024.gcd | 2024-09-25 02:19 | 405 | Unknown | 0 | 5.988 | 29796 | 0.072 | ----- | ----- | ----- | ----- | 71 | FMI20240924_024.gcd | 2024-09-25 02:19 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20240924_024.gcd | 2024-09-25 02:19 | 405 | Unknown | 0 | 11.768 | 1683 | 0.333 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- tried to reintegrate. CH4 is ok. Do not use CO2. Use CH4. | 71 | 81.8012 | 378.9456 | 77.994 | 317.8855 | 67.4195 | 244.1038 | 78.8492 | 387.6401 | 81.8012 | 378.9456 | 71 | FMI20240924_024.gcd | 2024-09-25 02:19 | 405 | Unknown | 0 | 2.84 | 943026 | 0 | ----- | ----- | ----- | -----
72 | FMI20240924_025.gcd | 2024-09-25 02:50 | 151 | Unknown | 0 | 5.987 | 53337 | 0.131 | ----- | ----- | ----- | ----- | 72 | FMI20240924_025.gcd | 2024-09-25 02:50 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20240924_025.gcd | 2024-09-25 02:50 | 151 | Unknown | 0 | 11.768 | 2689 | 0.554 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- tried to reintegrate. CH4 is ok. Do not use CO2. Use CH4. | 72 | 149.4814 | 584.9126 | 139.788 | 510.1612 | 122.5362 | 451.9318 | 147.3982 | 631.0981 | 149.4814 | 584.9126 | 72 | FMI20240924_025.gcd | 2024-09-25 02:50 | 151 | Unknown | 0 | 2.848 | 799743 | 0 | ----- | ----- | ----- | -----
73 | FMI20240924_026.gcd | 2024-09-25 03:20 | 277 | Unknown | 0 | 5.988 | 46182 | 0.113 | ----- | ----- | ----- | ----- | 73 | FMI20240924_026.gcd | 2024-09-25 03:20 | 277 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20240924_026.gcd | 2024-09-25 03:20 | 277 | Unknown | 0 | 12.117 | 7590 | 1.632 | ----- | ----- | ----- | ----- | 1 |  | 73 | 128.9447 | 1586.605 | 121.0206 | 1446.4133 | 105.7936 | 1463.6828 | 126.7484 | 1803.9649 | 128.9447 | 1586.605 | 73 | FMI20240924_026.gcd | 2024-09-25 03:20 | 277 | Unknown | 0 | 2.848 | 825381 | 0 | ----- | ----- | ----- | -----
74 | FMI20240924_027.gcd | 2024-09-25 03:51 | 213 | Unknown | 0 | 5.95 | 14660732 | 38.27 | ----- | ----- | ----- | ----- | 74 | FMI20240924_027.gcd | 2024-09-25 03:51 | 213 | Unknown | 0 | 5.902 | 103730 | 29.783 | ----- | ----- | ----- | ----- | 74 | FMI20240924_027.gcd | 2024-09-25 03:51 | 213 | Unknown | 0 | 12.042 | 89320 | 19.157 | ----- | ----- | ----- | ----- | 1 |  | 74 | 27700.5257 | 17684.3032 | 26666.5206 | 16944.4027 | 25649.9559 | 18155.1439 | 25359.5467 | 20021.2612 | 27700.5257 | 17684.3032 | 74 | FMI20240924_027.gcd | 2024-09-25 03:51 | 213 | Unknown | 0 | 2.848 | 749660 | 0 | ----- | ----- | ----- | -----
75 | FMI20240924_028.gcd | 2024-09-25 04:22 | air | Unknown | 0 | 6.04 | 2335 | 0.002 | ----- | ----- | ----- | ----- | 75 | FMI20240924_028.gcd | 2024-09-25 04:22 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20240924_028.gcd | 2024-09-25 04:22 | air | Unknown | 0 | 12.15 | 1748 | 0.347 | ----- | ----- | ----- | ----- | 1 |  | 75 | 2.2283 | 392.2573 | 1.8957 | 330.3099 | 0.9367 | 257.5336 | 4.5379 | 403.3984 | 2.2283 | 392.2573 | 75 | FMI20240924_028.gcd | 2024-09-25 04:22 | air | Unknown | 0 | 2.696 | 4924811 | 0 | ----- | ----- | ----- | -----
76 | FMI20240924_029.gcd | 2024-09-25 04:52 | air | Unknown | 0 | 6.034 | 2415 | 0.003 | ----- | ----- | ----- | ----- | 76 | FMI20240924_029.gcd | 2024-09-25 04:52 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20240924_029.gcd | 2024-09-25 04:52 | air | Unknown | 0 | 12.166 | 1657 | 0.327 | ----- | ----- | ----- | ----- | 1 |  | 76 | 2.4462 | 373.6208 | 2.1796 | 312.9158 | 1.0587 | 238.7318 | 4.3619 | 381.3357 | 2.4462 | 373.6208 | 76 | FMI20240924_029.gcd | 2024-09-25 04:52 | air | Unknown | 0 | 2.696 | 4933976 | 0 | ----- | ----- | ----- | -----
77 | FMI20240924_030.gcd | 2024-09-25 10:32 | 318 reinjection | Unknown | 0 | 6.04 | 2078 | 0.002 | ----- | ----- | ----- | ----- | 77 | FMI20240924_030.gcd | 2024-09-25 10:32 | 318 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20240924_030.gcd | 2024-09-25 10:32 | 318 reinjection | Unknown | 0 | 11.95 | 239696 | 49.442 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 77 | 1.5331 | 47517.961 | 0.97896 | 44891.8124 | 0.55734 | 47975.2327 | 5.1501 | 55245.8236 | 1.5331 | 47517.961 | 77 | FMI20240924_030.gcd | 2024-09-25 10:32 | v8 rs | Unknown | 0 | 2.822 | 1322778 | 0 | ----- | ----- | ----- | -----
78 | FMI20240924_031.gcd | 2024-09-25 11:03 | 191 reinjection | Unknown | 0 | 5.993 | 51412 | 0.126 | ----- | ----- | ----- | ----- | 78 | FMI20240924_031.gcd | 2024-09-25 11:03 | 191 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20240924_031.gcd | 2024-09-25 11:03 | 191 reinjection | Unknown | 0 | 12.132 | 3452 | 0.722 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 78 | 143.959 | 741.0474 | 134.74 | 655.9706 | 118.0325 | 609.5243 | 141.8584 | 815.133 | 143.959 | 741.0474 | 78 | FMI20240924_031.gcd | 2024-09-25 11:03 | v9 rs | Unknown | 0 | 2.816 | 1568047 | 0 | ----- | ----- | ----- | -----
79 | FMI20240924_032.gcd | 2024-09-25 11:34 | 321 reinjection | Unknown | 0 | 6.034 | 1557 | 0 | ----- | ----- | ----- | ----- | 79 | FMI20240924_032.gcd | 2024-09-25 11:34 | 321 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | FMI20240924_032.gcd | 2024-09-25 11:34 | 321 reinjection | Unknown | 0 | 11.906 | 243499 | 50.179 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 79 | 0.14684 | 48258.3626 | -0.90307 | 45589.0667 | -0.15282 | 48714.4175 | 6.61 | 56112.6692 | 0.14684 | 48258.3626 | 79 | FMI20240924_032.gcd | 2024-09-25 11:34 | v10 rs | Unknown | 0 | 2.815 | 1452913 | 0 | ----- | ----- | ----- | -----
80 | FMI20240924_033.gcd | 2024-09-25 12:04 | 400 reinjection | Unknown | 0 | 5.994 | 29824 | 0.072 | ----- | ----- | ----- | ----- | 80 | FMI20240924_033.gcd | 2024-09-25 12:04 | 400 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | FMI20240924_033.gcd | 2024-09-25 12:04 | 400 reinjection | Unknown | 0 | 12.142 | 9573 | 2.068 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 80 | 81.8819 | 1991.0848 | 78.0676 | 1825.0095 | 67.4851 | 1872.7004 | 78.9317 | 2272.2939 | 81.8819 | 1991.0848 | 80 | FMI20240924_033.gcd | 2024-09-25 12:04 | v15 rs | Unknown | 0 | 2.817 | 1539853 | 0 | ----- | ----- | ----- | -----
81 | FMI20240924_034.gcd | 2024-09-25 12:35 | 385 reinjection | Unknown | 0 | 6.002 | 4153 | 0.007 | ----- | ----- | ----- | ----- | 81 | FMI20240924_034.gcd | 2024-09-25 12:35 | 385 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | FMI20240924_034.gcd | 2024-09-25 12:35 | 385 reinjection | Unknown | 0 | 12.083 | 38890 | 8.442 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 81 | 7.3618 | 7916.1066 | 8.1624 | 7407.3179 | 4.1684 | 7896.2657 | 2.2446 | 8777.6197 | 7.3618 | 7916.1066 | 81 | FMI20240924_034.gcd | 2024-09-25 12:35 | v17 rs | Unknown | 0 | 2.805 | 1664577 | 0 | ----- | ----- | ----- | -----
82 | FMI20240924_035.gcd | 2024-09-25 13:05 | 208 reinjection | Unknown | 0 | 5.95 | 14662515 | 38.275 | ----- | ----- | ----- | ----- | 82 | FMI20240924_035.gcd | 2024-09-25 13:05 | 208 reinjection | Unknown | 0 | 5.903 | 101750 | 29.23 | ----- | ----- | ----- | ----- | 82 | FMI20240924_035.gcd | 2024-09-25 13:05 | 208 reinjection | Unknown | 0 | 12.033 | 91662 | 19.647 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 82 | 27164.4801 | 18157.2724 | 26167.014 | 17385.3011 | 25168.5827 | 18628.4183 | 24859.8138 | 20584.0388 | 27164.4801 | 18157.2724 | 82 | FMI20240924_035.gcd | 2024-09-25 13:05 | v18 rs | Unknown | 0 | 2.814 | 1419167 | 0 | ----- | ----- | ----- | -----
83 | FMI20240924_036.gcd | 2024-09-25 13:36 | 44 reinjection | Unknown | 0 | 5.999 | 5258 | 0.01 | ----- | ----- | ----- | ----- | 83 | FMI20240924_036.gcd | 2024-09-25 13:36 | 44 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | FMI20240924_036.gcd | 2024-09-25 13:36 | 44 reinjection | Unknown | 0 | 12.102 | 34459 | 7.486 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 83 | 10.6666 | 7027.1871 | 11.7842 | 6565.3953 | 6.6019 | 6988.6723 | 2.5948 | 7844.6925 | 10.6666 | 7027.1871 | 83 | FMI20240924_036.gcd | 2024-09-25 13:36 | v21 rs | Unknown | 0 | 2.811 | 1532065 | 0 | ----- | ----- | ----- | -----
84 | FMI20240924_037.gcd | 2024-09-25 14:06 | 147 reinjection | Unknown | 0 | 5.802 | 65660756 | 204.001 | ----- | ----- | ----- | ----- | 84 | FMI20240924_037.gcd | 2024-09-25 14:06 | 147 reinjection | Unknown | 0 | 5.768 | 585430 | 151.446 | ----- | ----- | ----- | ----- | 84 | FMI20240924_037.gcd | 2024-09-25 14:06 | 147 reinjection | Unknown | 0 | 12.051 | 65276 | 14.087 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 84 | 150888.5762 | 12813.348 | 143511.7953 | 12407.63 | 138244.4788 | 13280.1096 | 142276.2293 | 14217.5921 | 150888.5762 | 12813.348 | 84 | FMI20240924_037.gcd | 2024-09-25 14:06 | v23 rs | Unknown | 0 | 2.834 | 950382 | 0 | ----- | ----- | ----- | -----
85 | FMI20240924_038.gcd | 2024-09-25 14:37 | 405 reinjection | Unknown | 0 | 5.998 | 25210 | 0.06 | ----- | ----- | ----- | ----- | 85 | FMI20240924_038.gcd | 2024-09-25 14:37 | 405 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | FMI20240924_038.gcd | 2024-09-25 14:37 | 405 reinjection | Unknown | 0 | 12.145 | 5307 | 1.131 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 85 | 68.5792 | 1120.3508 | 65.9404 | 1010.3824 | 56.6719 | 992.5381 | 65.2918 | 1260.3423 | 68.5792 | 1120.3508 | 85 | FMI20240924_038.gcd | 2024-09-25 14:37 | v24 rs | Unknown | 0 | 2.815 | 1609910 | 0 | ----- | ----- | ----- | -----
86 | FMI20240924_039.gcd | 2024-09-25 15:08 | 151 reinjection | Unknown | 0 | 5.988 | 43772 | 0.107 | ----- | ----- | ----- | ----- | 86 | FMI20240924_039.gcd | 2024-09-25 15:08 | 151 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | FMI20240924_039.gcd | 2024-09-25 15:08 | 151 reinjection | Unknown | 0 | 12.127 | 5354 | 1.141 | ----- | ----- | ----- | ----- | 2 | No interference, but different headspace pressure. Use CO2. Do not use CH4. | 86 | 122.0207 | 1129.9558 | 114.6965 | 1019.3607 | 100.1523 | 1002.2403 | 119.7567 | 1271.5817 | 122.0207 | 1129.9558 | 86 | FMI20240924_039.gcd | 2024-09-25 15:08 | v25 rs | Unknown | 0 | 2.811 | 1542564 | 0 | ----- | ----- | ----- | -----