## QAQC
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Reduction Efficiency | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN NH4-N NOTES: | NH4-N concentration | NH4-N- % Error in check stds | NH4-N- DQO (<=20%) | NH4-N- RPD of duplicates | NH4-N- DQO (<=20% if conc>LOQ) | NH4-N- PR of spikes | NH4-N- DQO (80-120%) if conc>LOQ | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN PO4-P NOTES: | PO4-P concentration | PO4-P- % Error in check stds | PO4-P- DQO (<=20%) | PO4-P- RPD of duplicates | PO4-P- DQO (<=20% if conc>LOQ) | PO4-P- PR of spikes | PO4-P- DQO (80-120%) if conc>LOQ | BRN Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | BN NO3-N NOTES: | NO3-N concentration | NO3-N- % Error in check stds | NO3-N- DQO (<=20%) | NO3-N- RPD of duplicates | NO3-N- DQO (<=20% if conc>LOQ) | NO3-N- PR of spikes | NO3-N- DQO (80-120%) if conc>LOQ
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | dye | S7 | 1 | 1 | NH4-N | ug N/L | 9.4 | 429 | 1810 | PO4-P | ug P/L | 0.128 | 2.14 | 54 | NO3-N+NO2-N | ug N/L | 0.0632 | 1 | 46.7 |  | 1 |  | 5777.8484 | [6 empty] | 1 |  | 54 | [6 empty] | 1 |  | 46.7
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | nitrate | S1 | 1 | 1 | NH4-N | ug N/L | 2.17 | 46.3 | 980 | PO4-P | ug P/L | 2.9 | 36.9 | 1000 | NO3-N+NO2-N | ug N/L | 1.47 | 19.5 | 992 |  | 1 |  | 980 | [6 empty] | 1 |  | 1000 | [6 empty] | 1 |  | 992
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | nitrite | S6 | 1 | 1 | NH4-N | ug N/L | 0.0369 | 0.797 | 19.3 | PO4-P | ug P/L | 0.0208 | 0.313 | 4.4 | NO3-N+NO2-N | ug N/L | 1.45 | 19.3 | 982 | 101.0363 | 1 |  | 19.3 | [6 empty] | 1 |  | 4.4 | [6 empty] | 1 |  | 982
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 2.18 | 46.7 | 1000 | PO4-P | ug P/L | 2.71 | 36.4 | 1000 | NO3-N+NO2-N | ug N/L | 1.47 | 19.5 | 1000 |  | 1 |  | 1000 | [6 empty] | 1 |  | 1000 | [6 empty] | 1 |  | 1000
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 2.2 | 47.2 | 1000 | PO4-P | ug P/L | 2.72 | 36.9 | 1000 | NO3-N+NO2-N | ug N/L | 1.47 | 19.6 | 1000 |  | 1 |  | 1000 | [6 empty] | 1 |  | 1000 | [6 empty] | 1 |  | 1000
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 2.21 | 47.3 | 1000 | PO4-P | ug P/L | 2.73 | 37 | 1000 | NO3-N+NO2-N | ug N/L | 1.48 | 19.6 | 1000 |  | 1 |  | 1000 | [6 empty] | 1 |  | 1000 | [6 empty] | 1 |  | 1000
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 1.13 | 23.1 | 500 | PO4-P | ug P/L | 1.45 | 18.7 | 500 | NO3-N+NO2-N | ug N/L | 0.764 | 10.3 | 500 |  | 1 |  | 500 | [6 empty] | 1 |  | 500 | [6 empty] | 1 |  | 500
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 1.07 | 23 | 500 | PO4-P | ug P/L | 1.37 | 18.6 | 500 | NO3-N+NO2-N | ug N/L | 0.764 | 10.2 | 500 |  | 1 |  | 500 | [6 empty] | 1 |  | 500 | [6 empty] | 1 |  | 500
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 1.07 | 23 | 500 | PO4-P | ug P/L | 1.37 | 18.8 | 500 | NO3-N+NO2-N | ug N/L | 0.763 | 10.2 | 500 |  | 1 |  | 500 | [6 empty] | 1 |  | 500 | [6 empty] | 1 |  | 500
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.527 | 11.3 | 250 | PO4-P | ug P/L | 0.678 | 9.2 | 250 | NO3-N+NO2-N | ug N/L | 0.372 | 5.01 | 250 |  | 1 |  | 250 | [6 empty] | 1 |  | 250 | [6 empty] | 1 |  | 250
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.513 | 11 | 250 | PO4-P | ug P/L | 0.675 | 9.29 | 250 | NO3-N+NO2-N | ug N/L | 0.372 | 5.03 | 250 |  | 1 |  | 250 | [6 empty] | 1 |  | 250 | [6 empty] | 1 |  | 250
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.517 | 11.2 | 250 | PO4-P | ug P/L | 0.683 | 9.34 | 250 | NO3-N+NO2-N | ug N/L | 0.379 | 5.04 | 250 |  | 1 |  | 250 | [6 empty] | 1 |  | 250 | [6 empty] | 1 |  | 250
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 100 | S1 | 10 | 1 | NH4-N | ug N/L | 0.189 | 4.14 | 100 | PO4-P | ug P/L | 0.278 | 3.86 | 100 | NO3-N+NO2-N | ug N/L | 0.151 | 2.08 | 100 |  | 1 |  | 100 | [6 empty] | 1 |  | 100 | [6 empty] | 1 |  | 100
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 100 | S1 | 10 | 1 | NH4-N | ug N/L | 0.191 | 4.16 | 100 | PO4-P | ug P/L | 0.289 | 3.76 | 100 | NO3-N+NO2-N | ug N/L | 0.157 | 2.05 | 100 |  | 1 |  | 100 | [6 empty] | 1 |  | 100 | [6 empty] | 1 |  | 100
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 100 | S1 | 10 | 1 | NH4-N | ug N/L | 0.191 | 4.18 | 100 | PO4-P | ug P/L | 0.277 | 3.83 | 100 | NO3-N+NO2-N | ug N/L | 0.149 | 2.07 | 100 |  | 1 |  | 100 | [6 empty] | 1 |  | 100 | [6 empty] | 1 |  | 100
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 50 | S1 | 20 | 1 | NH4-N | ug N/L | 0.0851 | 1.88 | 50 | PO4-P | ug P/L | 0.137 | 1.89 | 50 | NO3-N+NO2-N | ug N/L | 0.0733 | 1.03 | 50 |  | 1 |  | 50 | [6 empty] | 1 |  | 50 | [6 empty] | 1 |  | 50
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 50 | S1 | 20 | 1 | NH4-N | ug N/L | 0.0735 | 1.97 | 50 | PO4-P | ug P/L | 0.138 | 1.9 | 50 | NO3-N+NO2-N | ug N/L | 0.0765 | 1.04 | 50 |  | 1 |  | 50 | [6 empty] | 1 |  | 50 | [6 empty] | 1 |  | 50
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 50 | S1 | 20 | 1 | NH4-N | ug N/L | 0.0848 | 1.83 | 50 | PO4-P | ug P/L | 0.137 | 1.91 | 50 | NO3-N+NO2-N | ug N/L | 0.0798 | 1.1 | 50 |  | 1 |  | 50 | [6 empty] | 1 |  | 50 | [6 empty] | 1 |  | 50
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 25 | S1 | 40 | 1 | NH4-N | ug N/L | 0.0427 | 0.914 | 25 | PO4-P | ug P/L | 0.0716 | 1.03 | 25 | NO3-N+NO2-N | ug N/L | 0.0397 | 0.545 | 25 |  | 1 |  | 25 | [6 empty] | 1 |  | 25 | [6 empty] | 1 |  | 25
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 25 | S1 | 40 | 1 | NH4-N | ug N/L | 0.0381 | 0.873 | 25 | PO4-P | ug P/L | 0.0724 | 1.06 | 25 | NO3-N+NO2-N | ug N/L | 0.0371 | 0.514 | 25 |  | 1 |  | 25 | [6 empty] | 1 |  | 25 | [6 empty] | 1 |  | 25
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 25 | S1 | 40 | 1 | NH4-N | ug N/L | 0.0403 | 0.851 | 25 | PO4-P | ug P/L | 0.0713 | 1.05 | 25 | NO3-N+NO2-N | ug N/L | 0.0383 | 0.521 | 25 |  | 1 |  | 25 | [6 empty] | 1 |  | 25 | [6 empty] | 1 |  | 25
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 10 | S1 | 100 | 1 | NH4-N | ug N/L | 0.0142 | 0.342 | 10 | PO4-P | ug P/L | 0.036 | 0.538 | 10 | NO3-N+NO2-N | ug N/L | 0.0168 | 0.227 | 10 |  | 1 |  | 10 | [6 empty] | 1 |  | 10 | [6 empty] | 1 |  | 10
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 10 | S1 | 100 | 1 | NH4-N | ug N/L | 0.0155 | 0.375 | 10 | PO4-P | ug P/L | 0.0342 | 0.511 | 10 | NO3-N+NO2-N | ug N/L | 0.0169 | 0.224 | 10 |  | 1 |  | 10 | [6 empty] | 1 |  | 10 | [6 empty] | 1 |  | 10
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 10 | S1 | 100 | 1 | NH4-N | ug N/L | 0.0135 | 0.345 | 10 | PO4-P | ug P/L | 0.0372 | 0.564 | 10 | NO3-N+NO2-N | ug N/L | 0.0175 | 0.252 | 10 |  | 1 |  | 10 | [6 empty] | 1 |  | 10 | [6 empty] | 1 |  | 10
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 5 | S1 | 200 | 1 | NH4-N | ug N/L | 0.0113 | 0.048 | 5 | PO4-P | ug P/L | 0.0235 | 0.37 | 5 | NO3-N+NO2-N | ug N/L | 0.0104 | 0.141 | 5 |  | 1 |  | 5 | [6 empty] | 1 |  | 5 | [6 empty] | 1 |  | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 5 | S1 | 200 | 1 | NH4-N | ug N/L | 0.043 | 0.424 | 5 | PO4-P | ug P/L | 0.0231 | 0.349 | 5 | NO3-N+NO2-N | ug N/L | 0.0109 | 0.17 | 5 |  | 1 |  | 5 | [6 empty] | 1 |  | 5 | [6 empty] | 1 |  | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 5 | S1 | 200 | 1 | NH4-N | ug N/L | 0.00726 | 0.0265 | 5 | PO4-P | ug P/L | 0.0205 | 0.342 | 5 | NO3-N+NO2-N | ug N/L | 0.00993 | 0.16 | 5 |  | 1 |  | 5 | [6 empty] | 1 |  | 5 | [6 empty] | 1 |  | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 2.5 | S1 | 400 | 1 | NH4-N | ug N/L | 0.00666 | 0.122 | 2.5 | PO4-P | ug P/L | 0.0191 | 0.324 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00968 | 0.123 | 2.5 |  | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 2.5 | S1 | 400 | 1 | NH4-N | ug N/L | 0.00464 | 0.108 | 2.5 | PO4-P | ug P/L | 0.0161 | 0.209 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00661 | 0.0892 | 2.5 |  | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 2.5 | S1 | 400 | 1 | NH4-N | ug N/L | 0.004 | 0.0997 | 2.5 | PO4-P | ug P/L | 0.0156 | 0.261 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00704 | 0.0929 | 2.5 |  | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5 | [6 empty] | 1 |  | 2.5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00721 | 0.125 | 0 | PO4-P | ug P/L | 0.00934 | 0.136 | 0 | NO3-N+NO2-N | ug N/L | -0.00615 | -0.0109 | 0 |  | 1 |  | 0 | [6 empty] | 1 |  | 0 | [6 empty] | 1 |  | 0
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00501 | 0.129 | 0 | PO4-P | ug P/L | 0.00844 | 0.114 | 0 | NO3-N+NO2-N | ug N/L | -0.00159 | 0.00625 | 0 |  | 1 |  | 0 | [6 empty] | 1 |  | 0 | [6 empty] | 1 |  | 0
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00591 | 0.112 | 0 | PO4-P | ug P/L | 0.00781 | 0.1 | 0 | NO3-N+NO2-N | ug N/L | -0.0044 | -0.0252 | 0 |  | 1 |  | 0 | [6 empty] | 1 |  | 0 | [6 empty] | 1 |  | 0
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0108 | 0.248 | 6.57 | PO4-P | ug P/L | 0.0204 | 0.316 | 4.46 | NO3-N+NO2-N | ug N/L | 0.0081 | 0.11 | 2.97 |  | 1 |  | 6.57 | [6 empty] | 1 |  | 4.46 | [6 empty] | 1 |  | 2.97
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.016 | 0.316 | 8.15 | PO4-P | ug P/L | 0.0222 | 0.375 | 6.07 | NO3-N+NO2-N | ug N/L | 0.00825 | 0.0982 | 2.39 |  | 1 |  | 8.15 | [6 empty] | 1 |  | 6.07 | [6 empty] | 1 |  | 2.39
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0163 | 0.335 | 8.58 | PO4-P | ug P/L | 0.0212 | 0.344 | 5.22 | NO3-N+NO2-N | ug N/L | 0.00883 | 0.141 | 4.51 |  | 1 |  | 8.58 | [6 empty] | 1 |  | 5.22 | [6 empty] | 1 |  | 4.51
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0117 | 0.284 | 7.39 | PO4-P | ug P/L | 0.0215 | 0.368 | 5.89 | NO3-N+NO2-N | ug N/L | 0.0106 | 0.144 | 4.66 |  | 1 |  | 7.39 | [6 empty] | 1 |  | 5.89 | [6 empty] | 1 |  | 4.66
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0265 | 0.0893 | 2.89 | PO4-P | ug P/L | 0.022 | 0.36 | 5.68 | NO3-N+NO2-N | ug N/L | 0.00998 | 0.148 | 4.84 |  | 1 |  | 2.89 | [6 empty] | 1 |  | 5.68 | [6 empty] | 1 |  | 4.84
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0116 | 0.321 | 8.25 | PO4-P | ug P/L | 0.0214 | 0.343 | 5.21 | NO3-N+NO2-N | ug N/L | 0.00925 | 0.147 | 4.8 |  | 1 |  | 8.25 | [6 empty] | 1 |  | 5.21 | [6 empty] | 1 |  | 4.8
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0108 | 0.214 | 5.78 | PO4-P | ug P/L | 0.0221 | 0.34 | 5.13 | NO3-N+NO2-N | ug N/L | 0.00892 | 0.0882 | 1.9 |  | 1 |  | 5.78 | [6 empty] | 1 |  | 5.13 | [6 empty] | 1 |  | 1.9
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0105 | 0.241 | 6.4 | PO4-P | ug P/L | 0.0224 | 0.333 | 4.93 | NO3-N+NO2-N | ug N/L | 0.00778 | 0.107 | 2.82 |  | 1 |  | 6.4 | [6 empty] | 1 |  | 4.93 | [6 empty] | 1 |  | 2.82
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | tap water | S8 | 1 | 1 | NH4-N | ug N/L | 0.934 | 20 | 447 | PO4-P | ug P/L | 1.68 | 23.4 | 634 | NO3-N+NO2-N | ug N/L | 0.646 | 8.77 | 436 |  | 1 |  | 447 | [6 empty] | 1 |  | 634 | [6 empty] | 1 |  | 436
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | nitrate | S1 | 1 | 1 | NH4-N | ug N/L | 2.18 | 46.6 | 987 | PO4-P | ug P/L | 2.64 | 36.2 | 982 | NO3-N+NO2-N | ug N/L | 1.45 | 19.6 | 999 |  | 1 |  | 987 | [6 empty] | 1 |  | 982 | [6 empty] | 1 |  | 999
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | nitrite | S6 | 1 | 1 | NH4-N | ug N/L | 0.0229 | 0.558 | 13.7 | PO4-P | ug P/L | 0.0158 | 0.241 | 2.44 | NO3-N+NO2-N | ug N/L | 1.48 | 20.1 | 1020 | 97.5124 | 1 |  | 13.7 | [6 empty] | 1 |  | 2.44 | [6 empty] | 1 |  | 1020
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | dye | S7 | 10 | 1 | NH4-N | ug N/L | 7.79 | 195 | 2840 | PO4-P | ug P/L | 0.0138 | 0.267 | 3.15 | NO3-N+NO2-N | ug N/L | 0.00438 | 0.0967 | 2.32 |  | 1 |  | 2840 | [6 empty] | 1 |  | 3.15 | [6 empty] | 1 |  | 2.32
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | nitrate | S1 | 1 | 1 | NH4-N | ug N/L | 2.14 | 46.2 | 978 | PO4-P | ug P/L | 2.85 | 35.7 | 969 | NO3-N+NO2-N | ug N/L | 1.49 | 20.1 | 1020 |  | 1 |  | 978 | [6 empty] | 1 |  | 969 | [6 empty] | 3 |  | 1020
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | nitrite | S6 | 1 | 1 | NH4-N | ug N/L | 0.0252 | 0.54 | 13.3 | PO4-P | ug P/L | -0.0093 | -0.0587 | -5.71 | NO3-N+NO2-N | ug N/L | 1.5 | 20.3 | 1030 |  | 1 |  | 13.3 | [6 empty] | 1 |  | -5.71 | [6 empty] | 1 |  | 1030
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0531 | 1.12 | 26.7 | PO4-P | ug P/L | 0.0761 | 1.12 | 26.3 | NO3-N+NO2-N | ug N/L | 0.0427 | 0.632 | 28.6 |  | 1 |  | 26.7 | 6.8 | PASS |  |  |  |  | 1 |  | 26.3 | 5.2 | PASS |  |  |  |  | 1 |  | 28.6 | 14.4 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B8Apr19S9 | 1 | 1 | 1 | NH4-N | ug N/L | 0.0861 | 2.01 | 47.2 | PO4-P | ug P/L | 0.0213 | 0.366 | 5.84 | NO3-N+NO2-N | ug N/L | 0.0134 | 0.2 | 7.38 |  | 1 |  | 47.2 | [6 empty] | 1 |  | 5.84 | [6 empty] | 1 |  | 7.38
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B29Jun19s200R1 | 2 | 1 | 1 | NH4-N | ug N/L | 0.0891 | 2.06 | 48.4 | PO4-P | ug P/L | 0.0225 | 0.364 | 5.76 | NO3-N+NO2-N | ug N/L | 0.0589 | 0.81 | 37.4 |  | 1 |  | 48.4 | [6 empty] | 1 |  | 5.76 | [6 empty] | 1 |  | 37.4
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s45R1 | 3 | 1 | 1 | NH4-N | ug N/L | 0.0171 | 0.38 | 9.61 | PO4-P | ug P/L | 0.0215 | 0.351 | 5.41 | NO3-N+NO2-N | ug N/L | 0.00578 | 0.111 | 3 |  | 1 |  | 9.61 | [6 empty] | 1 |  | 5.41 | [6 empty] | 1 |  | 3
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F27Jun19s5 | 4 | 1 | 1 | NH4-N | ug N/L | 0.0174 | 0.443 | 11.1 | PO4-P | ug P/L | 0.0227 | 0.338 | 5.07 | NO3-N+NO2-N | ug N/L | 0.00536 | 0.0612 | 0.577 |  | 1 |  | 11.1 | [6 empty] | 1 |  | 5.07 | [6 empty] | 1 |  | 0.577
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Apr19s3.8 | 5 | 1 | 1 | NH4-N | ug N/L | 0.0236 | 0.467 | 11.6 | PO4-P | ug P/L | 0.0202 | 0.317 | 4.49 | NO3-N+NO2-N | ug N/L | 0.0067 | 0.0977 | 2.37 |  | 1 |  | 11.6 | [6 empty] | 1 |  | 4.49 | [6 empty] | 1 |  | 2.37
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Apr19s8 | 6 | 1 | 1 | NH4-N | ug N/L | 0.0693 | 1.77 | 41.6 | PO4-P | ug P/L | 0.0204 | 0.327 | 4.78 | NO3-N+NO2-N | ug N/L | 0.0472 | 0.678 | 30.9 |  | 1 |  | 41.6 | [6 empty] | 1 |  | 4.78 | [6 empty] | 1 |  | 30.9
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Jul19s9 | 7 | 1 | 1 | NH4-N | ug N/L | 0.334 | 7.15 | 164 | PO4-P | ug P/L | 0.0255 | 0.407 | 6.95 | NO3-N+NO2-N | ug N/L | 0.0164 | 0.226 | 8.65 |  | 1 |  | 164 | [6 empty] | 1 |  | 6.95 | [6 empty] | 1 |  | 8.65
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F5Aug19swet | 8 | 1 | 1 | NH4-N | ug N/L | 0.0557 | 1.21 | 28.9 | PO4-P | ug P/L | 0.0334 | 0.527 | 10.2 | NO3-N+NO2-N | ug N/L | 0.0408 | 0.555 | 24.8 |  | 1 |  | 28.9 | [6 empty] | 1 |  | 10.2 | [6 empty] | 1 |  | 24.8
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Mars5 | 9 | 1 | 1 | NH4-N | ug N/L | 0.0176 | 0.379 | 9.59 | PO4-P | ug P/L | 0.0241 | 0.386 | 6.38 | NO3-N+NO2-N | ug N/L | 0.0425 | 0.602 | 27.2 |  | 1 |  | 9.59 | [6 empty] | 1 |  | 6.38 | [6 empty] | 1 |  | 27.2
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F27Jun19s0.1R1 | 10 | 1 | 1 | NH4-N | ug N/L | 0.0417 | 0.672 | 16.4 | PO4-P | ug P/L | 0.0323 | 0.505 | 9.59 | NO3-N+NO2-N | ug N/L | 0.193 | 2.64 | 128 |  | 1 |  | 16.4 | [6 empty] | 1 |  | 9.59 | [6 empty] | 1 |  | 128
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15aprs3.8 DUP | 14 | 1 | 1 | NH4-N | ug N/L | 0.0169 | 0.468 | 11.7 | PO4-P | ug P/L | 0.0183 | 0.304 | 4.16 | NO3-N+NO2-N | ug N/L | 0.0059 | 0.094 | 2.18 |  | 1 |  | 11.7 |  |  | 0.85837 | PASS |  |  | 1 |  | 4.16 |  |  | 7.6301 | PASS |  |  | 1 |  | 2.18 |  |  | 8.3516 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F27Jun19S0.1R1 SPK | 15 | 1 | 1 | NH4-N | ug N/L | 0.116 | 2.35 | 55 | PO4-P | ug P/L | 0.0805 | 1.17 | 27.8 | NO3-N+NO2-N | ug N/L | 0.22 | 3.03 | 147 |  | 1 |  | 55 |  |  |  |  | 198.5 | FAIL | 1 |  | 27.8 |  |  |  |  | 93.83 | PASS | 1 |  | 147 |  |  |  |  | 109.7 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0578 | 1.3 | 30.8 | PO4-P | ug P/L | 0.0761 | 1.02 | 23.6 | NO3-N+NO2-N | ug N/L | 0.039 | 0.531 | 23.6 |  | 1 |  | 30.8 | 23.2 | FAIL |  |  |  |  | 1 |  | 23.6 | -5.6 | PASS |  |  |  |  | 1 |  | 23.6 | -5.6 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | -0.00296 | -0.034 | 0.0273 | PO4-P | ug P/L | -0.00891 | -0.0537 | -5.57 | NO3-N+NO2-N | ug N/L | -0.00266 | -0.0411 | -4.44 |  | 1 |  | 0.0273 | [6 empty] | 1 |  | -5.57 | [6 empty] | 1 |  | -4.44
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B8Apr19s3 | 16 | 1 | 1 | NH4-N | ug N/L | 0.0188 | 0.44 | 11 | PO4-P | ug P/L | 0.0248 | 0.382 | 6.26 | NO3-N+NO2-N | ug N/L | 0.00699 | 0.106 | 2.78 |  | 1 |  | 11 | [6 empty] | 1 |  | 6.26 | [6 empty] | 1 |  | 2.78
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s11 | 17 | 1 | 1 | NH4-N | ug N/L | 3.05 | 65.5 | 1330 | PO4-P | ug P/L | 0.0752 | 1.03 | 23.8 | NO3-N+NO2-N | ug N/L | 0.00628 | 0.116 | 3.26 |  | 1 |  | 1330 | [6 empty] | 1 |  | 23.8 | [6 empty] | 1 |  | 3.26
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F27Jun19s30R2 | 18 | 1 | 1 | NH4-N | ug N/L | 0.0191 | 0.431 | 10.8 | PO4-P | ug P/L | 0.04 | 0.625 | 12.9 | NO3-N+NO2-N | ug N/L | 0.00442 | 0.0903 | 2 |  | 1 |  | 10.8 | [6 empty] | 1 |  | 12.9 | [6 empty] | 1 |  | 2
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Mars9 | 19 | 1 | 1 | NH4-N | ug N/L | 0.0229 | 0.512 | 12.7 | PO4-P | ug P/L | 0.0233 | 0.363 | 5.75 | NO3-N+NO2-N | ug N/L | 0.0547 | 0.779 | 35.8 |  | 1 |  | 12.7 | [6 empty] | 1 |  | 5.75 | [6 empty] | 1 |  | 35.8
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F5Aug19s9 | 20 | 1 | 1 | NH4-N | ug N/L | 1.53 | 32.8 | 713 | PO4-P | ug P/L | 0.0309 | 0.428 | 7.52 | NO3-N+NO2-N | ug N/L | 0.00625 | 0.131 | 3.99 |  | 1 |  | 713 | [6 empty] | 1 |  | 7.52 | [6 empty] | 1 |  | 3.99
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Apr19s0.1 | 21 | 1 | 1 | NH4-N | ug N/L | 0.0426 | 0.669 | 16.3 | PO4-P | ug P/L | 0.023 | 0.362 | 5.73 | NO3-N+NO2-N | ug N/L | 0.0166 | 0.24 | 9.37 |  | 1 |  | 16.3 | [6 empty] | 1 |  | 5.73 | [6 empty] | 1 |  | 9.37
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s20R2 | 22 | 1 | 1 | NH4-N | ug N/L | 0.0228 | 0.251 | 6.63 | PO4-P | ug P/L | 0.0237 | 0.371 | 5.98 | NO3-N+NO2-N | ug N/L | 0.00295 | 0.0377 | -0.578 |  | 1 |  | 6.63 | [6 empty] | 1 |  | 5.98 | [6 empty] | 3 |  | -0.578
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Apr19swet | 23 | 1 | 1 | NH4-N | ug N/L | 0.0268 | 0.553 | 13.6 | PO4-P | ug P/L | 0.0351 | 0.549 | 10.8 | NO3-N+NO2-N | ug N/L | 0.26 | 3.52 | 172 |  | 1 |  | 13.6 | [6 empty] | 1 |  | 10.8 | [6 empty] | 1 |  | 172
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Apr19s6.2 | 24 | 1 | 1 | NH4-N | ug N/L | 0.0878 | 1.35 | 31.9 | PO4-P | ug P/L | 0.0206 | 0.322 | 4.63 | NO3-N+NO2-N | ug N/L | 0.0396 | 0.582 | 26.1 |  | 1 |  | 31.9 | [6 empty] | 1 |  | 4.63 | [6 empty] | 1 |  | 26.1
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B20Jun19s0.1 | 25 | 1 | 1 | NH4-N | ug N/L | 0.0155 | 0.345 | 8.81 | PO4-P | ug P/L | 0.0199 | 0.344 | 5.22 | NO3-N+NO2-N | ug N/L | 0.00781 | 0.113 | 3.1 |  | 1 |  | 8.81 | [6 empty] | 1 |  | 5.22 | [6 empty] | 1 |  | 3.1
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F5Aug19s9 DUP | 29 | 1 | 1 | NH4-N | ug N/L | 1.52 | 32.6 | 710 | PO4-P | ug P/L | 0.0254 | 0.373 | 6.01 | NO3-N+NO2-N | ug N/L | 0.00616 | 0.102 | 2.58 |  | 1 |  | 710 |  |  | 0.42164 | PASS |  |  | 1 |  | 6.01 |  |  | 22.3208 | PASS |  |  | 1 |  | 2.58 |  |  | 42.9224 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B20Jun19s0.1 SPK | 30 | 1 | 1 | NH4-N | ug N/L | 0.0679 | 1.33 | 31.7 | PO4-P | ug P/L | 0.0706 | 1.07 | 24.9 | NO3-N+NO2-N | ug N/L | 0.0367 | 0.51 | 22.6 |  | 1 |  | 31.7 |  |  |  |  | 117.62 | PASS | 1 |  | 24.9 |  |  |  |  | 100.89 | PASS | 1 |  | 22.6 |  |  |  |  | 99.76 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0608 | 1.24 | 29.5 | PO4-P | ug P/L | 0.0727 | 1.08 | 25.2 | NO3-N+NO2-N | ug N/L | 0.0388 | 0.563 | 25.2 |  | 1 |  | 29.5 | 18 | PASS |  |  |  |  | 1 |  | 25.2 | 0.8 | PASS |  |  |  |  | 1 |  | 25.2 | 0.8 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | 0.0149 | 0.221 | 5.95 | PO4-P | ug P/L | -0.00774 | -0.0469 | -5.38 | NO3-N+NO2-N | ug N/L | 0.00341 | 0.0684 | 0.931 |  | 1 |  | 5.95 | [6 empty] | 1 |  | -5.38 | [6 empty] | 1 |  | 0.931
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Mars6.2 | 31 | 1 | 1 | NH4-N | ug N/L | 0.0132 | 0.299 | 7.74 | PO4-P | ug P/L | 0.02 | 0.337 | 5.03 | NO3-N+NO2-N | ug N/L | 0.0301 | 0.462 | 20.2 |  | 1 |  | 7.74 | [6 empty] | 1 |  | 5.03 | [6 empty] | 1 |  | 20.2
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F5Aug19s3.8 | 32 | 1 | 1 | NH4-N | ug N/L | 0.041 | 0.954 | 22.9 | PO4-P | ug P/L | 0.0267 | 0.423 | 7.37 | NO3-N+NO2-N | ug N/L | 0.00708 | 0.137 | 4.31 |  | 1 |  | 22.9 | [6 empty] | 1 |  | 7.37 | [6 empty] | 1 |  | 4.31
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Jul19s20R2 | 33 | 1 | 1 | NH4-N | ug N/L | 0.0227 | 0.172 | 4.79 | PO4-P | ug P/L | 0.0321 | 0.501 | 9.49 | NO3-N+NO2-N | ug N/L | 0.004 | 0.0423 | -0.351 |  | 1 |  | 4.79 | [6 empty] | 1 |  | 9.49 | [6 empty] | 1 |  | -0.351
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Jul19s9 | 34 | 1 | 1 | NH4-N | ug N/L | 0.278 | 6.07 | 140 | PO4-P | ug P/L | 0.0237 | 0.372 | 6 | NO3-N+NO2-N | ug N/L | 0.0113 | 0.168 | 5.83 |  | 1 |  | 140 | [6 empty] | 1 |  | 6 | [6 empty] | 1 |  | 5.83
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F5Aug19s6.2 | 35 | 1 | 1 | NH4-N | ug N/L | 0.698 | 14.7 | 333 | PO4-P | ug P/L | 0.0177 | 0.29 | 3.77 | NO3-N+NO2-N | ug N/L | 0.0106 | 0.193 | 7.04 |  | 1 |  | 333 | [6 empty] | 1 |  | 3.77 | [6 empty] | 1 |  | 7.04
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s50R1 | 36 | 1 | 1 | NH4-N | ug N/L | 0.0581 | 0.67 | 16.3 | PO4-P | ug P/L | 0.0293 | 0.438 | 7.78 | NO3-N+NO2-N | ug N/L | 0.00383 | 0.0665 | 0.834 |  | 1 |  | 16.3 | [6 empty] | 1 |  | 7.78 | [6 empty] | 1 |  | 0.834
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s45R2 | 37 | 1 | 1 | NH4-N | ug N/L | 0.0245 | 0.0977 | 3.08 | PO4-P | ug P/L | 0.0321 | 0.482 | 8.99 | NO3-N+NO2-N | ug N/L | 0.0045 | 0.0827 | 1.63 |  | 1 |  | 3.08 | [6 empty] | 1 |  | 8.99 | [6 empty] | 1 |  | 1.63
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s100R2 | 38 | 1 | 1 | NH4-N | ug N/L | 0.0652 | 1.39 | 33 | PO4-P | ug P/L | 0.0282 | 0.44 | 7.83 | NO3-N+NO2-N | ug N/L | 0.0376 | 0.547 | 24.4 |  | 1 |  | 33 | [6 empty] | 1 |  | 7.83 | [6 empty] | 1 |  | 24.4
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F27Jun19s50R1 | 39 | 1 | 1 | NH4-N | ug N/L | 0.0377 | 0.59 | 14.5 | PO4-P | ug P/L | 0.0341 | 0.517 | 9.92 | NO3-N+NO2-N | ug N/L | 0.00877 | 0.142 | 4.53 |  | 1 |  | 14.5 | [6 empty] | 1 |  | 9.92 | [6 empty] | 1 |  | 4.53
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F1Apr19s9 | 40 | 1 | 1 | NH4-N | ug N/L | 0.0614 | 1.36 | 32.2 | PO4-P | ug P/L | 0.02 | 0.311 | 4.33 | NO3-N+NO2-N | ug N/L | 0.0575 | 0.811 | 37.4 |  | 1 |  | 32.2 | [6 empty] | 1 |  | 4.33 | [6 empty] | 1 |  | 37.4
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F5Aug19s6.2 DUP | 44 | 1 | 1 | NH4-N | ug N/L | 0.715 | 15.3 | 345 | PO4-P | ug P/L | -0.0102 | -0.0588 | -5.71 | NO3-N+NO2-N | ug N/L | 0.0113 | 0.183 | 6.56 |  | 1 |  | 345 |  |  | 3.5398 | PASS |  |  | 1 |  | -5.71 |  |  | 977.3196 | FAIL |  |  | 1 |  | 6.56 |  |  | 7.0588 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F1Apr19s9 SPK | 45 | 1 | 1 | NH4-N | ug N/L | 0.271 | 2.79 | 65.2 | PO4-P | ug P/L | 0.0702 | 1.02 | 23.5 | NO3-N+NO2-N | ug N/L | 0.0856 | 1.17 | 55.1 |  | 1 |  | 65.2 |  |  |  |  | 171.52 | FAIL | 1 |  | 23.5 |  |  |  |  | 98.2 | PASS | 1 |  | 55.1 |  |  |  |  | 94.01 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0579 | 1.32 | 31.3 | PO4-P | ug P/L | 0.0766 | 1.06 | 24.6 | NO3-N+NO2-N | ug N/L | 0.0353 | 0.517 | 23 |  | 1 |  | 31.3 | 25.2 | FAIL |  |  |  |  | 1 |  | 24.6 | -1.6 | PASS |  |  |  |  | 1 |  | 23 | -8 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | -0.00488 | 0.0765 | 2.59 | PO4-P | ug P/L | -0.00895 | -0.0568 | -5.65 | NO3-N+NO2-N | ug N/L | -0.00274 | -0.0467 | -4.72 |  | 1 |  | 2.59 | [6 empty] | 1 |  | -5.65 | [6 empty] | 1 |  | -4.72
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F22Apr19s3.8 | 46 | 1 | 1 | NH4-N | ug N/L | 0.0514 | 0.636 | 15.5 | PO4-P | ug P/L | 0.0203 | 0.343 | 5.21 | NO3-N+NO2-N | ug N/L | 0.00532 | 0.0582 | 0.431 |  | 1 |  | 15.5 | [6 empty] | 1 |  | 5.21 | [6 empty] | 1 |  | 0.431
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F1Apr19swet | 47 | 1 | 1 | NH4-N | ug N/L | 0.0347 | 0.752 | 18.2 | PO4-P | ug P/L | 0.0301 | 0.452 | 8.17 | NO3-N+NO2-N | ug N/L | 0.096 | 1.33 | 63 |  | 1 |  | 18.2 | [6 empty] | 1 |  | 8.17 | [6 empty] | 1 |  | 63
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F29Apr19s99R2 | 48 | 1 | 1 | NH4-N | ug N/L | 0.0114 | 0.293 | 7.6 | PO4-P | ug P/L | 0.0257 | 0.421 | 7.32 | NO3-N+NO2-N | ug N/L | 0.0338 | 0.507 | 22.5 |  | 1 |  | 7.6 | [6 empty] | 1 |  | 7.32 | [6 empty] | 1 |  | 22.5
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Apr19s9 | 49 | 1 | 1 | NH4-N | ug N/L | 0.0527 | 1.21 | 28.8 | PO4-P | ug P/L | 0.0184 | 0.29 | 3.76 | NO3-N+NO2-N | ug N/L | 0.0385 | 0.569 | 25.5 |  | 1 |  | 28.8 | [6 empty] | 1 |  | 3.76 | [6 empty] | 1 |  | 25.5
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B8Apr19s0.1 | 50 | 1 | 1 | NH4-N | ug N/L | 0.0174 | 0.362 | 9.2 | PO4-P | ug P/L | 0.0257 | 0.418 | 7.23 | NO3-N+NO2-N | ug N/L | 0.0181 | 0.264 | 10.6 |  | 1 |  | 9.2 | [6 empty] | 1 |  | 7.23 | [6 empty] | 1 |  | 10.6
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s30R2 | 51 | 1 | 1 | NH4-N | ug N/L | 0.0281 | 0.426 | 10.7 | PO4-P | ug P/L | 0.022 | 0.377 | 6.13 | NO3-N+NO2-N | ug N/L | -0.00467 | -0.0256 | -3.68 |  | 1 |  | 10.7 | [6 empty] | 1 |  | 6.13 | [6 empty] | 1 |  | -3.68
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B8Apr19s10.5 | 52 | 1 | 1 | NH4-N | ug N/L | 0.12 | 2.62 | 61.3 | PO4-P | ug P/L | 0.0194 | 0.306 | 4.21 | NO3-N+NO2-N | ug N/L | 0.00887 | 0.135 | 4.2 |  | 1 |  | 61.3 | [6 empty] | 1 |  | 4.21 | [6 empty] | 1 |  | 4.2
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F22Apr19s8 | 53 | 1 | 1 | NH4-N | ug N/L | 0.0934 | 2.1 | 49.2 | PO4-P | ug P/L | 0.0176 | 0.266 | 3.1 | NO3-N+NO2-N | ug N/L | 0.0402 | 0.581 | 26.1 |  | 1 |  | 49.2 | [6 empty] | 1 |  | 3.1 | [6 empty] | 1 |  | 26.1
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s0.1R2 | 54 | 1 | 1 | NH4-N | ug N/L | 0.0119 | 0.26 | 6.84 | PO4-P | ug P/L | 0.0214 | 0.362 | 5.73 | NO3-N+NO2-N | ug N/L | 0.00461 | 0.0501 | 0.032 |  | 1 |  | 6.84 | [6 empty] | 1 |  | 5.73 | [6 empty] | 1 |  | 0.032
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Apr19s6 | 55 | 1 | 1 | NH4-N | ug N/L | 0.0428 | 0.668 | 16.3 | PO4-P | ug P/L | 0.0225 | 0.386 | 6.38 | NO3-N+NO2-N | ug N/L | 0.0166 | 0.254 | 10.1 |  | 1 |  | 16.3 | [6 empty] | 1 |  | 6.38 | [6 empty] | 1 |  | 10.1
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B8Apr19s0.1 DUP | 59 | 1 | 1 | NH4-N | ug N/L | 0.0124 | 0.272 | 7.12 | PO4-P | ug P/L | 0.0245 | 0.434 | 7.67 | NO3-N+NO2-N | ug N/L | 0.00976 | 0.131 | 4 |  | 1 |  | 7.12 |  |  | 25.4902 | PASS |  |  | 1 |  | 7.67 |  |  | 5.906 | PASS |  |  | 1 |  | 4 |  |  | 90.411 | FAIL
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F15Apr19s6 SPK | 60 | 1 | 1 | NH4-N | ug N/L | 0.0665 | 1.47 | 34.8 | PO4-P | ug P/L | 0.0775 | 1.09 | 25.5 | NO3-N+NO2-N | ug N/L | 0.0449 | 0.654 | 29.7 |  | 1 |  | 34.8 |  |  |  |  | 95.98 | PASS | 1 |  | 25.5 |  |  |  |  | 98.15 | PASS | 1 |  | 29.7 |  |  |  |  | 100.97 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.066 | 1.57 | 37 | PO4-P | ug P/L | 0.0714 | 1.06 | 24.7 | NO3-N+NO2-N | ug N/L | 0.0387 | 0.561 | 25.1 |  | 1 |  | 37 | 48 | FAIL |  |  |  |  | 1 |  | 24.7 | -1.2 | PASS |  |  |  |  | 1 |  | 25.1 | 0.4 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | 0.0036 | 0.0583 | 2.17 | PO4-P | ug P/L | 0.00297 | -0.00722 | -4.31 | NO3-N+NO2-N | ug N/L | 0.0029 | -0.0122 | -3.02 |  | 1 |  | 2.17 | [6 empty] | 1 |  | -4.31 | [6 empty] | 1 |  | -3.02
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Jul19s99R1 | 61 | 1 | 1 | NH4-N | ug N/L | 0.0177 | 0.407 | 10.2 | PO4-P | ug P/L | 0.0568 | 0.872 | 19.6 | NO3-N+NO2-N | ug N/L | 0.249 | 3.41 | 166 |  | 1 |  | 10.2 | [6 empty] | 1 |  | 19.6 | [6 empty] | 1 |  | 166
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Mars8 | 62 | 1 | 1 | NH4-N | ug N/L | 0.0307 | 0.701 | 17 | PO4-P | ug P/L | 0.021 | 0.333 | 4.94 | NO3-N+NO2-N | ug N/L | 0.0606 | 0.854 | 39.5 |  | 1 |  | 17 | [6 empty] | 1 |  | 4.94 | [6 empty] | 1 |  | 39.5
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F27Jun19s45R1 | 63 | 1 | 1 | NH4-N | ug N/L | 0.00971 | 0.272 | 7.13 | PO4-P | ug P/L | 0.0307 | 0.475 | 8.79 | NO3-N+NO2-N | ug N/L | 0.00553 | 0.0956 | 2.27 |  | 1 |  | 7.13 | [6 empty] | 1 |  | 8.79 | [6 empty] | 1 |  | 2.27
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s9 | 64 | 1 | 1 | NH4-N | ug N/L | 1.18 | 25.4 | 562 | PO4-P | ug P/L | 0.0395 | 0.557 | 11 | NO3-N+NO2-N | ug N/L | 0.00667 | 0.123 | 3.63 |  | 1 |  | 562 | [6 empty] | 1 |  | 11 | [6 empty] | 1 |  | 3.63
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F22Apr19s9 | 65 | 1 | 1 | NH4-N | ug N/L | 0.142 | 3.02 | 70.4 | PO4-P | ug P/L | 0.0192 | 0.335 | 4.99 | NO3-N+NO2-N | ug N/L | 0.0498 | 0.719 | 32.9 |  | 1 |  | 70.4 | [6 empty] | 1 |  | 4.99 | [6 empty] | 1 |  | 32.9
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s100R1 | 66 | 1 | 1 | NH4-N | ug N/L | 0.0479 | 1.13 | 27 | PO4-P | ug P/L | 0.0299 | 0.483 | 9.01 | NO3-N+NO2-N | ug N/L | 0.0378 | 0.524 | 23.3 |  | 1 |  | 27 | [6 empty] | 1 |  | 9.01 | [6 empty] | 1 |  | 23.3
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s50R2 | 67 | 1 | 1 | NH4-N | ug N/L | 0.0122 | 0.261 | 6.87 | PO4-P | ug P/L | 0.0214 | 0.379 | 6.17 | NO3-N+NO2-N | ug N/L | 0.00479 | 0.093 | 2.14 |  | 1 |  | 6.87 | [6 empty] | 1 |  | 6.17 | [6 empty] | 3 |  | 2.14
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s30R1 | 68 | 1 | 1 | NH4-N | ug N/L | 0.018 | 0.275 | 7.18 | PO4-P | ug P/L | 0.0275 | 0.48 | 8.93 | NO3-N+NO2-N | ug N/L | 0.0129 | 0.209 | 7.82 |  | 1 |  | 7.18 | [6 empty] | 1 |  | 8.93 | [6 empty] | 1 |  | 7.82
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Jul19s99R2 | 69 | 1 | 1 | NH4-N | ug N/L | 0.0133 | 0.333 | 8.53 | PO4-P | ug P/L | 0.0559 | 0.855 | 19.1 | NO3-N+NO2-N | ug N/L | 0.249 | 3.4 | 165 |  | 1 |  | 8.53 | [6 empty] | 1 |  | 19.1 | [6 empty] | 1 |  | 165
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Marsinf1 | 70 | 1 | 1 | NH4-N | ug N/L | 0.0167 | 0.363 | 9.22 | PO4-P | ug P/L | 0.0278 | 0.469 | 8.62 | NO3-N+NO2-N | ug N/L | 0.032 | 0.478 | 21 |  | 1 |  | 9.22 | [6 empty] | 1 |  | 8.62 | [6 empty] | 1 |  | 21
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F22Apr19s9 DUP | 74 | 1 | 1 | NH4-N | ug N/L | 0.137 | 2.83 | 66 | PO4-P | ug P/L | 0.0192 | 0.321 | 4.62 | NO3-N+NO2-N | ug N/L | 0.0515 | 0.72 | 32.9 |  | 1 |  | 66 |  |  | 6.4516 | PASS |  |  | 1 |  | 4.62 |  |  | 7.7003 | PASS |  |  | 1 |  | 32.9 |  |  | 0 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F18Maysinf1 SPK | 75 | 1 | 1 | NH4-N | ug N/L | 0.0506 | 1.07 | 25.6 | PO4-P | ug P/L | 0.0761 | 1.13 | 26.6 | NO3-N+NO2-N | ug N/L | 0.0563 | 0.809 | 37.3 |  | 1 |  | 25.6 |  |  |  |  | 84.46 | PASS | 1 |  | 26.6 |  |  |  |  | 92.56 | PASS | 1 |  | 37.3 |  |  |  |  | 85.23 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0563 | 1.27 | 30.1 | PO4-P | ug P/L | 0.0709 | 1.01 | 23.4 | NO3-N+NO2-N | ug N/L | 0.037 | 0.529 | 23.5 |  | 1 |  | 30.1 | 20.4 | FAIL |  |  |  |  | 1 |  | 23.4 | -6.4 | PASS |  |  |  |  | 1 |  | 23.5 | -6 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | rb | S5 | 1 | 1 | NH4-N | ug N/L | -0.00395 | -0.0417 | -0.152 | PO4-P | ug P/L | -0.00972 | -0.0605 | -5.76 | NO3-N+NO2-N | ug N/L | -0.00286 | -0.0223 | -3.52 |  | 1 |  | -0.152 | [6 empty] | 1 |  | -5.76 | [6 empty] | 1 |  | -3.52
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F27Jun19s0.1R2 | 76 | 1 | 1 | NH4-N | ug N/L | 0.0254 | 0.576 | 14.2 | PO4-P | ug P/L | 0.036 | 0.565 | 11.2 | NO3-N+NO2-N | ug N/L | 0.194 | 2.63 | 127 |  | 1 |  | 14.2 | [6 empty] | 1 |  | 11.2 | [6 empty] | 1 |  | 127
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s20R1 | 77 | 1 | 1 | NH4-N | ug N/L | 0.00964 | 0.235 | 6.27 | PO4-P | ug P/L | 0.0206 | 0.333 | 4.93 | NO3-N+NO2-N | ug N/L | 0.00585 | 0.0906 | 2.02 |  | 1 |  | 6.27 | [6 empty] | 1 |  | 4.93 | [6 empty] | 1 |  | 2.02
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s3 | 78 | 1 | 1 | NH4-N | ug N/L | 0.0202 | 0.457 | 11.4 | PO4-P | ug P/L | 0.0188 | 0.319 | 4.56 | NO3-N+NO2-N | ug N/L | 0.00498 | 0.0953 | 2.25 |  | 1 |  | 11.4 | [6 empty] | 1 |  | 4.56 | [6 empty] | 1 |  | 2.25
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s0.1R1 | 79 | 1 | 1 | NH4-N | ug N/L | 0.00978 | 0.134 | 3.93 | PO4-P | ug P/L | 0.0204 | 0.359 | 5.63 | NO3-N+NO2-N | ug N/L | 0.0062 | 0.116 | 3.29 |  | 1 |  | 3.93 | [6 empty] | 1 |  | 5.63 | [6 empty] | 1 |  | 3.29
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F5Aug19s5 | 80 | 1 | 1 | NH4-N | ug N/L | 0.233 | 5.01 | 116 | PO4-P | ug P/L | 0.0217 | 0.359 | 5.64 | NO3-N+NO2-N | ug N/L | 0.0099 | 0.188 | 6.79 |  | 1 |  | 116 | [6 empty] | 1 |  | 5.64 | [6 empty] | 1 |  | 6.79
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F22Apr19s6.2 | 81 | 1 | 1 | NH4-N | ug N/L | 0.0646 | 1.44 | 34.1 | PO4-P | ug P/L | 0.0193 | 0.305 | 4.16 | NO3-N+NO2-N | ug N/L | 0.0306 | 0.467 | 20.5 |  | 1 |  | 34.1 | [6 empty] | 1 |  | 4.16 | [6 empty] | 1 |  | 20.5
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F27Jun19s20R1 | 82 | 1 | 1 | NH4-N | ug N/L | 0.00987 | 0.23 | 6.14 | PO4-P | ug P/L | 0.0307 | 0.457 | 8.3 | NO3-N+NO2-N | ug N/L | -0.0028 | -0.0135 | -3.09 |  | 1 |  | 6.14 | [6 empty] | 1 |  | 8.3 | [6 empty] | 1 |  | -3.09
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F22Apr19sinf | 83 | 1 | 1 | NH4-N | ug N/L | 0.0172 | 0.387 | 9.78 | PO4-P | ug P/L | 0.0224 | 0.343 | 5.22 | NO3-N+NO2-N | ug N/L | 0.0385 | 0.551 | 24.6 |  | 1 |  | 9.78 | [6 empty] | 1 |  | 5.22 | [6 empty] | 1 |  | 24.6
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B8Apr19s6 | 84 | 1 | 1 | NH4-N | ug N/L | 0.0154 | 0.332 | 8.51 | PO4-P | ug P/L | 0.0208 | 0.324 | 4.68 | NO3-N+NO2-N | ug N/L | 0.00767 | 0.103 | 2.65 |  | 1 |  | 8.51 | [6 empty] | 1 |  | 4.68 | [6 empty] | 1 |  | 2.65
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s6 | 85 | 1 | 1 | NH4-N | ug N/L | 0.0213 | 0.481 | 12 | PO4-P | ug P/L | 0.0212 | 0.332 | 4.91 | NO3-N+NO2-N | ug N/L | 0.00682 | 0.104 | 2.68 |  | 1 |  | 12 | [6 empty] | 1 |  | 4.91 | [6 empty] | 1 |  | 2.68
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | F5Aug19s5 DUP | 89 | 1 | 1 | NH4-N | ug N/L | 0.216 | 4.75 | 110 | PO4-P | ug P/L | 0.0198 | 0.328 | 4.81 | NO3-N+NO2-N | ug N/L | 0.00519 | 0.101 | 2.52 |  | 1 |  | 110 |  |  | 5.3097 | PASS |  |  | 1 |  | 4.81 |  |  | 15.8852 | PASS |  |  | 1 |  | 2.52 |  |  | 91.7293 | FAIL
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s6 SPK | 90 | 1 | 1 | NH4-N | ug N/L | 0.0708 | 1.38 | 32.7 | PO4-P | ug P/L | 0.0684 | 1.02 | 23.6 | NO3-N+NO2-N | ug N/L | 0.0323 | 0.501 | 22.2 |  | 1 |  | 32.7 |  |  |  |  | 106.77 | PASS | 1 |  | 23.6 |  |  |  |  | 95.81 | PASS | 1 |  | 22.2 |  |  |  |  | 99.82 | PASS
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | nitrite | S6 | 1 | 1 | NH4-N | ug N/L | 0.0152 | 0.25 | 6.6 | PO4-P | ug P/L | 0.0125 | 0.217 | 1.78 | NO3-N+NO2-N | ug N/L | 1.48 | 20.1 | 1020 | 98.01 | 1 |  | 6.6 | [6 empty] | 1 |  | 1.78 | [6 empty] | 1 |  | 1020
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 2.16 | 46.4 | 981 | PO4-P | ug P/L | 2.62 | 36.1 | 981 | NO3-N+NO2-N | ug N/L | 1.45 | 19.7 | 1000 |  | 1 |  | 981 | [6 empty] | 1 |  | 981 | [6 empty] | 1 |  | 1000
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 1.07 | 23 | 510 | PO4-P | ug P/L | 1.35 | 18.5 | 500 | NO3-N+NO2-N | ug N/L | 0.771 | 10.5 | 524 |  | 1 |  | 510 | [6 empty] | 1 |  | 500 | [6 empty] | 1 |  | 524
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.564 | 11 | 252 | PO4-P | ug P/L | 0.701 | 9.11 | 243 | NO3-N+NO2-N | ug N/L | 0.375 | 5.11 | 251 |  | 1 |  | 252 | [6 empty] | 1 |  | 243 | [6 empty] | 1 |  | 251
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 100 | S1 | 10 | 1 | NH4-N | ug N/L | 0.194 | 4.16 | 96.5 | PO4-P | ug P/L | 0.282 | 3.76 | 98.1 | NO3-N+NO2-N | ug N/L | 0.151 | 2.05 | 98.6 |  | 1 |  | 96.5 | [6 empty] | 1 |  | 98.1 | [6 empty] | 1 |  | 98.6
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 50 | S1 | 20 | 1 | NH4-N | ug N/L | 0.0857 | 1.83 | 43.1 | PO4-P | ug P/L | 0.133 | 1.83 | 45.5 | NO3-N+NO2-N | ug N/L | 0.074 | 1.03 | 48.3 |  | 1 |  | 43.1 | [6 empty] | 1 |  | 45.5 | [6 empty] | 1 |  | 48.3
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S1 | 40 | 1 | NH4-N | ug N/L | 0.0366 | 0.776 | 18.8 | PO4-P | ug P/L | 0.0727 | 1.05 | 24.3 | NO3-N+NO2-N | ug N/L | 0.0385 | 0.581 | 26.1 |  | 1 |  | 18.8 | -24.8 | FAIL |  |  |  |  | 1 |  | 24.3 | [6 empty] | 1 |  | 26.1
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 10 | S1 | 100 | 1 | NH4-N | ug N/L | -0.00942 | -0.0472 | -0.279 | PO4-P | ug P/L | -0.00833 | -0.0486 | -5.43 | NO3-N+NO2-N | ug N/L | 0.00276 | 0.0324 | -0.839 |  | 3 | ran out of std | -0.279 | [6 empty] | 3 | ran out of std | -5.43 | [6 empty] | 3 | ran out of std | -0.839
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 5 | S1 | 200 | 1 | NH4-N | ug N/L | 0.0113 | 0.0841 | 2.77 | PO4-P | ug P/L | -0.00793 | -0.0474 | -5.4 | NO3-N+NO2-N | ug N/L | -0.00238 | -0.0113 | -2.98 |  | 3 | ran out of std | 2.77 | [6 empty] | 3 | ran out of std | -5.4 | [6 empty] | 3 | ran out of std | -2.98
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 2.5 | S1 | 400 | 1 | NH4-N | ug N/L | 0.00347 | 0.0473 | 1.91 | PO4-P | ug P/L | -0.00688 | -0.0413 | -5.23 | NO3-N+NO2-N | ug N/L | 0.00272 | 0.0472 | -0.113 |  | 3 | ran out of std | 1.91 | [6 empty] | 3 | ran out of std | -5.23 | [6 empty] | 3 | ran out of std | -0.113
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 0 | S5 | 1 | 1 | NH4-N | ug N/L | -0.0123 | -0.0634 | -0.654 | PO4-P | ug P/L | -0.00774 | -0.0439 | -5.3 | NO3-N+NO2-N | ug N/L | 0.00256 | 0.0221 | -1.34 |  | 3 | ran out of std | -0.654 | [6 empty] | 3 | ran out of std | -5.3 | [6 empty] | 3 | ran out of std | -1.34
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | B27Jun19s11 | 17 | 10 | 1 | NH4-N | ug N/L | 0.298 | 6.6 | 152 | PO4-P | ug P/L | 0.0151 | 0.249 | 2.64 | NO3-N+NO2-N | ug N/L | 0.0031 | 0.0442 | -0.259 |  | 1 |  | 152 | [6 empty] | 1 |  | 2.64 | [6 empty] | 1 |  | -0.259

## MDLs
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0108 | 0.248 | 6.57 | PO4-P | ug P/L | 0.0204 | 0.316 | 4.46 | NO3-N+NO2-N | ug N/L | 0.0081 | 0.11 | 2.97
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.016 | 0.316 | 8.15 | PO4-P | ug P/L | 0.0222 | 0.375 | 6.07 | NO3-N+NO2-N | ug N/L | 0.00825 | 0.0982 | 2.39
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0163 | 0.335 | 8.58 | PO4-P | ug P/L | 0.0212 | 0.344 | 5.22 | NO3-N+NO2-N | ug N/L | 0.00883 | 0.141 | 4.51
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0117 | 0.284 | 7.39 | PO4-P | ug P/L | 0.0215 | 0.368 | 5.89 | NO3-N+NO2-N | ug N/L | 0.0106 | 0.144 | 4.66
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0265 | 0.0893 |  | PO4-P | ug P/L | 0.022 | 0.36 | 5.68 | NO3-N+NO2-N | ug N/L | 0.00998 | 0.148 | 4.84
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0116 | 0.321 | 8.25 | PO4-P | ug P/L | 0.0214 | 0.343 | 5.21 | NO3-N+NO2-N | ug N/L | 0.00925 | 0.147 | 4.8
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0108 | 0.214 | 5.78 | PO4-P | ug P/L | 0.0221 | 0.34 | 5.13 | NO3-N+NO2-N | ug N/L | 0.00892 | 0.0882 | 1.9
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0105 | 0.241 | 6.4 | PO4-P | ug P/L | 0.0224 | 0.333 | 4.93 | NO3-N+NO2-N | ug N/L | 0.00778 | 0.107 | 2.82
[9 empty] | Known Conc | 5 |  |  |  | Known Conc | 5 |  |  |  | Known Conc | 5
[9 empty] | Mean | 7.3029 |  |  |  | Mean | 5.3238 |  |  |  | Mean | 3.6113
[9 empty] | Std Dev | 1.0743 |  |  |  | Std Dev | 0.53007 |  |  |  | Std Dev | 1.2123
[9 empty] | CV or %RSD | 14.7107 |  |  |  | CV or %RSD | 9.9566 |  |  |  | CV or %RSD | 33.5701
[9 empty] | T value | 3.1427 |  |  |  | T value | 3.1427 |  |  |  | T value | 3.1427
[9 empty] | MDL | 3.3762 |  |  |  | MDL | 1.6658 |  |  |  | MDL | 3.8099
[9 empty] | LOQ | 10.743 |  |  |  | LOQ | 5.3007 |  |  |  | LOQ | 12.123
[9 empty] | Error as % | 46.0571 |  |  |  | Error as % | 6.475 |  |  |  | Error as % | -27.775
[9 empty] | Known/MDL | 1.481 |  |  |  | Known/MDL | 3.0015 |  |  |  | Known/MDL | 1.3124
[9 empty] | Mean PR | 146.0571 |  |  |  | Mean PR | 106.475 |  |  |  | Mean PR | 72.225
[9 empty] | S/N | 6.7978 |  |  |  | S/N | 10.0436 |  |  |  | S/N | 2.9788
1) Is the concentration used to calculate the MDL between 1 and 5 x the resulting MDL?
2) Is the signal to noise ratio reasonable?
A CV (%) or %RSD between 10 and 40% (<40% more important), but APHA suggests <=20%
A S/N between 2.5 and 10 (>2.5 more important)
If there is too little noise, it might indicate that the concentration used for the determination is too high. Try again with a lower concentration.
3) Are the recoveries (Mean PR) reasonable?
APHA says between 50 and 150%

## NH4 problems
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Peak Area | Known
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 2.18 | 46.7 | 1000 | PO4-P | ug P/L | 2.71 | 36.4 | 1000 | NO3-N+NO2-N | ug N/L | 1.47 | 19.5 | 1000 | 46.7 | 1000
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 2.2 | 47.2 | 1000 | PO4-P | ug P/L | 2.72 | 36.9 | 1000 | NO3-N+NO2-N | ug N/L | 1.47 | 19.6 | 1000 | 47.2 | 1000
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 2.21 | 47.3 | 1000 | PO4-P | ug P/L | 2.73 | 37 | 1000 | NO3-N+NO2-N | ug N/L | 1.48 | 19.6 | 1000 | 47.3 | 1000
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 1.13 | 23.1 | 500 | PO4-P | ug P/L | 1.45 | 18.7 | 500 | NO3-N+NO2-N | ug N/L | 0.764 | 10.3 | 500 | 23.1 | 500
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 1.07 | 23 | 500 | PO4-P | ug P/L | 1.37 | 18.6 | 500 | NO3-N+NO2-N | ug N/L | 0.764 | 10.2 | 500 | 23 | 500
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 1.07 | 23 | 500 | PO4-P | ug P/L | 1.37 | 18.8 | 500 | NO3-N+NO2-N | ug N/L | 0.763 | 10.2 | 500 | 23 | 500
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.527 | 11.3 | 250 | PO4-P | ug P/L | 0.678 | 9.2 | 250 | NO3-N+NO2-N | ug N/L | 0.372 | 5.01 | 250 | 11.3 | 250
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.513 | 11 | 250 | PO4-P | ug P/L | 0.675 | 9.29 | 250 | NO3-N+NO2-N | ug N/L | 0.372 | 5.03 | 250 | 11 | 250
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.517 | 11.2 | 250 | PO4-P | ug P/L | 0.683 | 9.34 | 250 | NO3-N+NO2-N | ug N/L | 0.379 | 5.04 | 250 | 11.2 | 250
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 100 | S1 | 10 | 1 | NH4-N | ug N/L | 0.189 | 4.14 | 100 | PO4-P | ug P/L | 0.278 | 3.86 | 100 | NO3-N+NO2-N | ug N/L | 0.151 | 2.08 | 100 | 4.14 | 100
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 100 | S1 | 10 | 1 | NH4-N | ug N/L | 0.191 | 4.16 | 100 | PO4-P | ug P/L | 0.289 | 3.76 | 100 | NO3-N+NO2-N | ug N/L | 0.157 | 2.05 | 100 | 4.16 | 100
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 100 | S1 | 10 | 1 | NH4-N | ug N/L | 0.191 | 4.18 | 100 | PO4-P | ug P/L | 0.277 | 3.83 | 100 | NO3-N+NO2-N | ug N/L | 0.149 | 2.07 | 100 | 4.18 | 100
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 50 | S1 | 20 | 1 | NH4-N | ug N/L | 0.0851 | 1.88 | 50 | PO4-P | ug P/L | 0.137 | 1.89 | 50 | NO3-N+NO2-N | ug N/L | 0.0733 | 1.03 | 50 | 1.88 | 50
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 50 | S1 | 20 | 1 | NH4-N | ug N/L | 0.0735 | 1.97 | 50 | PO4-P | ug P/L | 0.138 | 1.9 | 50 | NO3-N+NO2-N | ug N/L | 0.0765 | 1.04 | 50 | 1.97 | 50
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 50 | S1 | 20 | 1 | NH4-N | ug N/L | 0.0848 | 1.83 | 50 | PO4-P | ug P/L | 0.137 | 1.91 | 50 | NO3-N+NO2-N | ug N/L | 0.0798 | 1.1 | 50 | 1.83 | 50
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 25 | S1 | 40 | 1 | NH4-N | ug N/L | 0.0427 | 0.914 | 25 | PO4-P | ug P/L | 0.0716 | 1.03 | 25 | NO3-N+NO2-N | ug N/L | 0.0397 | 0.545 | 25 | 0.914 | 25
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 25 | S1 | 40 | 1 | NH4-N | ug N/L | 0.0381 | 0.873 | 25 | PO4-P | ug P/L | 0.0724 | 1.06 | 25 | NO3-N+NO2-N | ug N/L | 0.0371 | 0.514 | 25 | 0.873 | 25
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 25 | S1 | 40 | 1 | NH4-N | ug N/L | 0.0403 | 0.851 | 25 | PO4-P | ug P/L | 0.0713 | 1.05 | 25 | NO3-N+NO2-N | ug N/L | 0.0383 | 0.521 | 25 | 0.851 | 25
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 10 | S1 | 100 | 1 | NH4-N | ug N/L | 0.0142 | 0.342 | 10 | PO4-P | ug P/L | 0.036 | 0.538 | 10 | NO3-N+NO2-N | ug N/L | 0.0168 | 0.227 | 10 | 0.342 | 10
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 10 | S1 | 100 | 1 | NH4-N | ug N/L | 0.0155 | 0.375 | 10 | PO4-P | ug P/L | 0.0342 | 0.511 | 10 | NO3-N+NO2-N | ug N/L | 0.0169 | 0.224 | 10 | 0.375 | 10
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 10 | S1 | 100 | 1 | NH4-N | ug N/L | 0.0135 | 0.345 | 10 | PO4-P | ug P/L | 0.0372 | 0.564 | 10 | NO3-N+NO2-N | ug N/L | 0.0175 | 0.252 | 10 | 0.345 | 10
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 5 | S1 | 200 | 1 | NH4-N | ug N/L | 0.0113 | 0.048 | 5 | PO4-P | ug P/L | 0.0235 | 0.37 | 5 | NO3-N+NO2-N | ug N/L | 0.0104 | 0.141 | 5 |  | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 5 | S1 | 200 | 1 | NH4-N | ug N/L | 0.043 | 0.424 | 5 | PO4-P | ug P/L | 0.0231 | 0.349 | 5 | NO3-N+NO2-N | ug N/L | 0.0109 | 0.17 | 5 |  | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 5 | S1 | 200 | 1 | NH4-N | ug N/L | 0.00726 | 0.0265 | 5 | PO4-P | ug P/L | 0.0205 | 0.342 | 5 | NO3-N+NO2-N | ug N/L | 0.00993 | 0.16 | 5 |  | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 2.5 | S1 | 400 | 1 | NH4-N | ug N/L | 0.00666 | 0.122 | 2.5 | PO4-P | ug P/L | 0.0191 | 0.324 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00968 | 0.123 | 2.5 | 0.122 | 2.5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 2.5 | S1 | 400 | 1 | NH4-N | ug N/L | 0.00464 | 0.108 | 2.5 | PO4-P | ug P/L | 0.0161 | 0.209 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00661 | 0.0892 | 2.5 | 0.108 | 2.5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 2.5 | S1 | 400 | 1 | NH4-N | ug N/L | 0.004 | 0.0997 | 2.5 | PO4-P | ug P/L | 0.0156 | 0.261 | 2.5 | NO3-N+NO2-N | ug N/L | 0.00704 | 0.0929 | 2.5 | 0.0997 | 2.5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00721 | 0.125 | 0 | PO4-P | ug P/L | 0.00934 | 0.136 | 0 | NO3-N+NO2-N | ug N/L | -0.00615 | -0.0109 | 0 |  | 0
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00501 | 0.129 | 0 | PO4-P | ug P/L | 0.00844 | 0.114 | 0 | NO3-N+NO2-N | ug N/L | -0.00159 | 0.00625 | 0 |  | 0
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | cal std 0 | S5 | 1 | 1 | NH4-N | ug N/L | 0.00591 | 0.112 | 0 | PO4-P | ug P/L | 0.00781 | 0.1 | 0 | NO3-N+NO2-N | ug N/L | -0.0044 | -0.0252 | 0 |  | 0
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 1000 | S1 | 1 | 1 | NH4-N | ug N/L | 2.16 | 46.4 | 981 | PO4-P | ug P/L | 2.62 | 36.1 | 981 | NO3-N+NO2-N | ug N/L | 1.45 | 19.7 | 1000 | 46.4 | 1000
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 500 | S1 | 2 | 1 | NH4-N | ug N/L | 1.07 | 23 | 510 | PO4-P | ug P/L | 1.35 | 18.5 | 500 | NO3-N+NO2-N | ug N/L | 0.771 | 10.5 | 524 | 23 | 500
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 250 | S1 | 4 | 1 | NH4-N | ug N/L | 0.564 | 11 | 252 | PO4-P | ug P/L | 0.701 | 9.11 | 243 | NO3-N+NO2-N | ug N/L | 0.375 | 5.11 | 251 | 11 | 250
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 100 | S1 | 10 | 1 | NH4-N | ug N/L | 0.194 | 4.16 | 96.5 | PO4-P | ug P/L | 0.282 | 3.76 | 98.1 | NO3-N+NO2-N | ug N/L | 0.151 | 2.05 | 98.6 | 4.16 | 100
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 50 | S1 | 20 | 1 | NH4-N | ug N/L | 0.0857 | 1.83 | 43.1 | PO4-P | ug P/L | 0.133 | 1.83 | 45.5 | NO3-N+NO2-N | ug N/L | 0.074 | 1.03 | 48.3 | 1.83 | 50
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S1 | 40 | 1 | NH4-N | ug N/L | 0.0366 | 0.776 | 18.8 | PO4-P | ug P/L | 0.0727 | 1.05 | 24.3 | NO3-N+NO2-N | ug N/L | 0.0385 | 0.581 | 26.1 | 0.776 | 25
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0108 | 0.248 | 6.57 | PO4-P | ug P/L | 0.0204 | 0.316 | 4.46 | NO3-N+NO2-N | ug N/L | 0.0081 | 0.11 | 2.97 | 0.248 | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.016 | 0.316 | 8.15 | PO4-P | ug P/L | 0.0222 | 0.375 | 6.07 | NO3-N+NO2-N | ug N/L | 0.00825 | 0.0982 | 2.39 | 0.316 | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0163 | 0.335 | 8.58 | PO4-P | ug P/L | 0.0212 | 0.344 | 5.22 | NO3-N+NO2-N | ug N/L | 0.00883 | 0.141 | 4.51 | 0.335 | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0117 | 0.284 | 7.39 | PO4-P | ug P/L | 0.0215 | 0.368 | 5.89 | NO3-N+NO2-N | ug N/L | 0.0106 | 0.144 | 4.66 | 0.284 | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0265 | 0.0893 | 2.89 | PO4-P | ug P/L | 0.022 | 0.36 | 5.68 | NO3-N+NO2-N | ug N/L | 0.00998 | 0.148 | 4.84 |  | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0116 | 0.321 | 8.25 | PO4-P | ug P/L | 0.0214 | 0.343 | 5.21 | NO3-N+NO2-N | ug N/L | 0.00925 | 0.147 | 4.8 | 0.321 | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0108 | 0.214 | 5.78 | PO4-P | ug P/L | 0.0221 | 0.34 | 5.13 | NO3-N+NO2-N | ug N/L | 0.00892 | 0.0882 | 1.9 | 0.214 | 5
2019-09-23 | OM_9-23-2019_12-09-25PMedited.omn | MDL at 5 ppb | S4 | 1 | 1 | NH4-N | ug N/L | 0.0105 | 0.241 | 6.4 | PO4-P | ug P/L | 0.0224 | 0.333 | 4.93 | NO3-N+NO2-N | ug N/L | 0.00778 | 0.107 | 2.82 | 0.241 | 5
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0531 | 1.12 | 26.7 | PO4-P | ug P/L | 0.0761 | 1.12 | 26.3 | NO3-N+NO2-N | ug N/L | 0.0427 | 0.632 | 28.6 | 1.12 | 25
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0578 | 1.3 | 30.8 | PO4-P | ug P/L | 0.0761 | 1.02 | 23.6 | NO3-N+NO2-N | ug N/L | 0.039 | 0.531 | 23.6 | 1.3 | 25
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0608 | 1.24 | 29.5 | PO4-P | ug P/L | 0.0727 | 1.08 | 25.2 | NO3-N+NO2-N | ug N/L | 0.0388 | 0.563 | 25.2 | 1.24 | 25
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0579 | 1.32 | 31.3 | PO4-P | ug P/L | 0.0766 | 1.06 | 24.6 | NO3-N+NO2-N | ug N/L | 0.0353 | 0.517 | 23 | 1.32 | 25
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.066 | 1.57 | 37 | PO4-P | ug P/L | 0.0714 | 1.06 | 24.7 | NO3-N+NO2-N | ug N/L | 0.0387 | 0.561 | 25.1 | 1.57 | 25
2019-09-23 | OM_9-23-2019_02-47-08PMedit.omn | chk std 25 | S3 | 1 | 1 | NH4-N | ug N/L | 0.0563 | 1.27 | 30.1 | PO4-P | ug P/L | 0.0709 | 1.01 | 23.4 | NO3-N+NO2-N | ug N/L | 0.037 | 0.529 | 23.5 | 1.27 | 25
(-0.0201*x^2)+(22.08x)+4.7525