## data for export
Sample ID | Analyst QUALITY CODE PO4-P: | Analyst NOTES: | PO4-P-- dilution corrected | Analyst QUALITY CODE NO3-N: | Analyst NOTES: | NO3-N-- dilution corrected
Sample 019 | 1 |  | 8.025 | 1 |  | 189
Sample 020 | 1 |  | 18.525 | 1 |  | 126
Sample 021 | 1 |  | 21.975 | 1 |  | 213
Sample 022 | 1 |  | 6.225 | 1 |  | 186
Sample 023 | 1 |  | 24.075 | 1 |  | 699
Sample 024 | 1 |  | 62.625 | 1 |  | 198
Sample 025 | 1 |  | 4.875 | 1 |  | 166.5
Sample 026 | 1 |  | 22.575 | 1 |  | 265.5
Sample 027 | 1 |  | 24.075 | 1 |  | 234
Sample 028 | 1 |  | 27.675 | 1 |  | 595.5
Sample 031 | 1 |  | 13.125 | 1 |  | 160.5
Sample 032 | 1 |  | 38.775 | 1 |  | 1129.5
Sample 033 | 1 |  | 39.825 | 1 |  | 1114.5
Sample 034 | 1 |  | 30.225 | 1 |  | 864
Sample 035 | 1 |  | 25.125 | 1 |  | 1324.5
Sample 036 | 1 |  | 4.575 | 1 |  | 190.5
Sample 037 | 1 |  | 191.775 | 1 |  | 907.5
Sample 038 | 1 |  | 5.175 | 1 |  | 256.5
Sample 039 | 1 |  | 64.725 | 1 |  | 318
Sample 040 | 1 |  | 32.475 | 1 |  | 324
Sample 043 | 1 |  | 26.775 | 1 |  | 895.5
Sample 044 | 1 |  | 35.475 | 1 |  | 228
Sample 045 | 1 |  | 35.475 | 1 |  | 567
Sample 046 | 1 |  | 9.525 | 1 |  | 274.5
Sample 047 | 1 |  | 56.625 | 1 |  | 1609.5
Sample 048 | 1 |  | 27.825 | 1 |  | 834
Sample 049 | 1 |  | 42.075 | 1 |  | 2509.5
Sample 050 | 1 |  | 80.175 | 1 |  | 472.5
Sample 051 | 1 |  | 25.425 | 1 |  | 273
Sample 052 | 1 |  | 27.975 | 1 |  | 463.5
Sample 055 | 1 |  | 40.425 | 1 |  | 628.5
Sample 056 | 1 |  | 25.275 | 1 |  | 529.5
Sample 057 | 1 |  | 35.175 | 1 |  | 664.5
Sample 058 | 1 |  | 24.675 | 1 |  | 775.5
Sample 059 | 1 |  | 22.275 | 1 |  | 349.5
Sample 060 | 1 |  | 37.875 | 1 |  | 1309.5
Sample 061 | 1 |  | 30.825 | 1 |  | 1384.5
Sample 062 | 1 |  | 40.275 | 1 |  | 1012.5
Sample 063 | 1 |  | 93.825 | 1 |  | 1354.5
Sample 064 | 1 |  | 25.125 | 1 |  | 583.5
Sample 067 | 1 |  | 38.625 | 1 |  | 1054.5
Sample 068 | 1 |  | 26.475 | 1 |  | 2314.5
Sample 069 | 1 |  | 11.175 | 1 |  | 330
Sample 070 | 1 |  | 35.175 | 1 |  | 3469.5
Sample 071 | 1 |  | 24.525 | 1 |  | 658.5
Sample 072 | 1 |  | 43.275 | 1 |  | 1129.5
Sample 073 | 1 |  | 17.175 | 1 |  | 327
Sample 074 | 1 |  | 33.225 | 1 |  | 1099.5
Sample 075 | 1 |  | 34.275 | 1 |  | 859.5
Sample 076 | 1 |  | 63.225 | 1 |  | 2209.5
Sample 079 | 1 |  | 35.325 | 1 |  | 810
Sample 080 | 1 |  | 15.375 | 1 |  | 163.5
Sample 081 | 1 |  | 26.175 | 1 |  | 736.5
Sample 082 | 1 |  | 39.375 | 1 |  | 775.5
Sample 083 | 1 |  | 16.875 | 1 |  | 663
Sample 084 | 1 |  | 23.025 | 1 |  | 310.5
Sample 085 | 1 |  | 43.575 | 1 |  | 594
Sample 086 | 1 |  | 27.225 | 1 |  | 681
Sample 087 | 1 |  | 23.775 | 1 |  | 690
Sample 088 | 1 |  | 21.075 | 1 |  | 318
Sample 091 | 1 |  | 14.175 | 1 |  | 192
Sample 092 | 1 |  | 22.425 | 1 |  | 1294.5
Sample 093 | 1 |  | 23.925 | 1 |  | 1234.5
Sample 094 | 1 |  | 25.125 | 1 |  | 219
Sample 095 | 1 |  | 22.425 | 1 |  | 78
Sample 096 | 1 |  | 26.925 | 1 |  | 342
Sample 097 | 1 |  | 26.475 | 1 |  | 651
Sample 098 | 1 |  | 74.925 | 1 |  | 490.5
Sample 099 | 1 |  | 28.875 | 1 |  | 99
Sample 100 | 1 |  | 38.325 | 1 |  | 552
Sample 103 | 1 |  | 14.775 | 1 |  | 249
Sample 104 | 1 |  | 21.225 | 1 |  | 949.5
Sample 105 | 1 |  | 14.625 | 1 |  | 258
Sample 106 | 1 |  | 51.825 | 1 |  | 357
Sample 107 | 1 |  | 29.325 | 1 |  | 1279.5
Sample 108 | 1 |  | 27.225 | 1 |  | 669
Sample 109 | 1 |  | 6.825 | 1 |  | 165
Sample 110 | 1 |  | 39.075 | 1 |  | 933
Sample 111 | 1 |  | 36.075 | 1 |  | 1039.5
Sample 112 | 1 |  | 21.675 | 1 |  | 579
Sample 115 | 1 |  | 122.175 | 1 |  | 730.5
Sample 116 | 1 |  | 38.925 | 1 |  | 147
Sample 117 | 1 |  | 22.725 | 1 |  | 559.5
Sample 118 | 1 |  | 19.575 | 1 |  | 94.5
Sample 119 | 1 |  | 12.525 | 1 |  | 253.5
Sample 120 | 1 |  | 12.525 | 1 |  | 145.5
Sample 121 | 1 |  | 53.325 | 1 |  | 181.5
Sample 122 | 1 |  | 113.325 | 1 |  | 624
Sample 123 | 1 |  | 36.825 | 1 |  | 877.5
Sample 124 | 1 |  | 64.725 | 1 |  | 1069.5
Sample 127 | 1 |  | 36.525 | 1 |  | 606
Sample 128 | 1 |  | 28.125 | 1 |  | 223.5
Sample 129 | 1 |  | 33.225 | 1 |  | 862.5
Sample 130 | 1 |  | 7.575 | 1 |  | 204
Sample 131 | 1 |  | 20.175 | 1 |  | 604.5
Sample 132 | 1 |  | 7.125 | 1 |  | 247.5
Sample 133 | 1 |  | 6.825 | 1 |  | 150
Sample 134 | 1 |  | 24.525 | 1 |  | 669
Sample 135 | 1 |  | 32.625 | 1 |  | 1159.5
Sample 136 | 1 |  | 63.675 | 1 |  | 852

## Notes
TN QAQC is a bit messy - some peaks were likely misintegrated because the fails are due to unrealistic numbers
one dup fail is remedied by using data that was rerun at end
also, need data from the standard calibration

## QAQC
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Column efficiency | DILUTION BY OXIDATION REAGENT | Analyst QUALITY CODE PO4-P: | Analyst NOTES: | PO4-P-- determined concentration | PO4-P-- blank corrected | PO4-P-- dilution corrected | PO4-P- % Error in check stds | PO4-P- DQO (<=20%) | PO4-P- RPD of duplicates | PO4-P- DQO (<=20% if conc>LOQ) | PO4-P- PR of spikes | PO4-P- DQO (80-120%) if conc>LOQ | Analyst QUALITY CODE NO3-N: | Analyst NOTES: | NO3-N-- determined concentration | NO3-N-- blank corrected | NO3-N-- dilution corrected | NO3-N- % Error in check stds | NO3-N- DQO (<=20%) | NO3-N- RPD of duplicates | NO3-N- DQO (<=20% if conc>LOQ) | NO3-N- PR of spikes | NO3-N- DQO (80-120%) if conc>LOQ
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 001 | 1 | 1 | 1 | Total Phosphorus | ppb | 0.0436 | 0.653 | 10.6 | Total Nitrogen | ppb | 0.894 | 13.5 | 321 |  | 1.5 | 1 |  | 10.6 | 2.45 | 3.675 | [6 empty] | 1 |  | 321 | 14 | 21
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 002 | 2 | 1 | 1 | Total Phosphorus | ppb | 0.0394 | 0.587 | 9.24 | Total Nitrogen | ppb | 0.908 | 13.7 | 327 |  | 1.5 | 1 |  | 9.24 | 1.09 | 1.635 | [6 empty] | 1 |  | 327 | 20 | 30
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 003 | 3 | 1 | 1 | Total Phosphorus | ppb | 0.0383 | 0.648 | 10.5 | Total Nitrogen | ppb | 0.894 | 13.6 | 324 |  | 1.5 | 1 |  | 10.5 | 2.35 | 3.525 | [6 empty] | 1 |  | 324 | 17 | 25.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 004 | 4 | 1 | 1 | Total Phosphorus | ppb | 0.0456 | 0.704 | 11.6 | Total Nitrogen | ppb | 0.923 | 14 | 335 |  | 1.5 | 1 |  | 11.6 | 3.45 | 5.175 | [6 empty] | 1 |  | 335 | 28 | 42
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 005 | 5 | 1 | 1 | Total Phosphorus | ppb | 0.0409 | 0.633 | 10.2 | Total Nitrogen | ppb | 0.901 | 13.6 | 326 |  | 1.5 | 1 |  | 10.2 | 2.05 | 3.075 | [6 empty] | 1 |  | 326 | 19 | 28.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 006 | 6 | 1 | 1 | Total Phosphorus | ppb | 0.0367 | 0.648 | 10.5 | Total Nitrogen | ppb | 0.89 | 13.6 | 324 |  | 1.5 | 1 |  | 10.5 | 2.35 | 3.525 | [6 empty] | 1 |  | 324 | 17 | 25.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 007 | 7 | 1 | 1 | Total Phosphorus | ppb | 0.0426 | 0.701 | 11.5 | Total Nitrogen | ppb | 0.951 | 14.4 | 345 |  | 1.5 | 1 |  | 11.5 | 3.35 | 5.025 | [6 empty] | 1 |  | 345 | 38 | 57
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 008 | 8 | 1 | 1 | Total Phosphorus | ppb | 0.0423 | 0.623 | 9.97 | Total Nitrogen | ppb | 0.976 | 14.9 | 355 |  | 1.5 | 1 |  | 9.97 | 1.82 | 2.73 | [6 empty] | 1 |  | 355 | 48 | 72
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 009 | 9 | 1 | 1 | Total Phosphorus | ppb | 0.0376 | 0.618 | 9.86 | Total Nitrogen | ppb | 1.08 | 16.4 | 392 |  | 1.5 | 1 |  | 9.86 | 1.71 | 2.565 | [6 empty] | 1 |  | 392 | 85 | 127.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 010 | 10 | 1 | 1 | Total Phosphorus | ppb | 0.0586 | 1.54 | 28.1 | Total Nitrogen | ppb | 1.35 | 20.5 | 492 |  | 1.5 | 1 |  | 28.1 | 19.95 | 29.925 | [6 empty] | 1 |  | 492 | 185 | 277.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 011 | 11 | 1 | 1 | Total Phosphorus | ppb | 0.0933 | 2.01 | 37.3 | Total Nitrogen | ppb | 1.79 | 27.3 | 659 |  | 1.5 | 1 |  | 37.3 | 29.15 | 43.725 | [6 empty] | 1 |  | 659 | 352 | 528
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 012 | 12 | 1 | 1 | Total Phosphorus | ppb | 0.182 | 3.45 | 64.3 | Total Nitrogen | ppb | 2.66 | 40.6 | 994 |  | 1.5 | 1 |  | 64.3 | 56.15 | 84.225 | [6 empty] | 1 |  | 994 | 687 | 1030.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 013 | 13 | 1 | 1 | Total Phosphorus | ppb | 0.307 | 5.88 | 107 | Total Nitrogen | ppb | 3.63 | 55.7 | 1380 |  | 1.5 | 1 |  | 107 | 98.85 | 148.275 | [6 empty] | 1 |  | 1380 | 1073 | 1609.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 014 | 14 | 1 | 1 | Total Phosphorus | ppb | 0.0803 | 1.78 | 32.8 | Total Nitrogen | ppb | 1.56 | 23.7 | 570 |  | 1.5 | 1 |  | 32.8 | 24.65 | 36.975 | [6 empty] | 1 |  | 570 | 263 | 394.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 015 | 15 | 1 | 1 | Total Phosphorus | ppb | 0.079 | 1.76 | 32.4 | Total Nitrogen | ppb | 1.59 | 24.3 | 585 |  | 1.5 | 1 |  | 32.4 | 24.25 | 36.375 | [6 empty] | 1 |  | 585 | 278 | 417
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 016 | 16 | 1 | 1 | Total Phosphorus | ppb | 0.0794 | 1.61 | 29.4 | Total Nitrogen | ppb | 1.56 | 23.8 | 574 |  | 1.5 | 1 |  | 29.4 | 21.25 | 31.875 | [6 empty] | 1 |  | 574 | 267 | 400.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 017 | 17 | 1 | 1 | Total Phosphorus | ppb | 0.0843 | 1.98 | 36.6 | Total Nitrogen | ppb | 1.56 | 23.7 | 570 |  | 1.5 | 1 |  | 36.6 | 28.45 | 42.675 | [6 empty] | 1 |  | 570 | 263 | 394.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 018 | 18 | 1 | 1 | Total Phosphorus | ppb | 0.0784 | 1.76 | 32.5 | Total Nitrogen | ppb | 1.59 | 24.2 | 582 |  | 1.5 | 1 |  | 32.5 | 24.35 | 36.525 | [6 empty] | 1 |  | 582 | 275 | 412.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 019 | 19 | 1 | 1 | Total Phosphorus | ppb | 0.0459 | 0.8 | 13.5 | Total Nitrogen | ppb | 1.19 | 18.1 | 433 |  | 1.5 | 1 |  | 13.5 | 5.35 | 8.025 | [6 empty] | 1 |  | 433 | 126 | 189
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 020 | 20 | 1 | 1 | Total Phosphorus | ppb | 0.061 | 1.26 | 22.7 | Total Nitrogen | ppb | 1.08 | 16.4 | 391 |  | 1.5 | 3 | messy integration | 22.7 | 14.55 | 21.825 | [6 empty] | 1 |  | 391 | 84 | 126
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 021 | 21 | 1 | 1 | Total Phosphorus | ppb | 0.0572 | 1.27 | 22.8 | Total Nitrogen | ppb | 1.22 | 18.7 | 449 |  | 1.5 | 1 |  | 22.8 | 14.65 | 21.975 | [6 empty] | 1 |  | 449 | 142 | 213
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 022 | 22 | 1 | 1 | Total Phosphorus | ppb | 0.0454 | 0.738 | 12.3 | Total Nitrogen | ppb | 1.18 | 18 | 431 |  | 1.5 | 1 |  | 12.3 | 4.15 | 6.225 | [6 empty] | 1 |  | 431 | 124 | 186
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 023 | 23 | 1 | 1 | Total Phosphorus | ppb | 0.0701 | 1.34 | 24.2 | Total Nitrogen | ppb | 2.09 | 31.9 | 773 |  | 1.5 | 1 |  | 24.2 | 16.05 | 24.075 | [6 empty] | 1 |  | 773 | 466 | 699
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 024 | 24 | 1 | 1 | Total Phosphorus | ppb | 0.133 | 2.68 | 49.9 | Total Nitrogen | ppb | 1.19 | 18.4 | 439 |  | 1.5 | 1 |  | 49.9 | 41.75 | 62.625 | [6 empty] | 1 |  | 439 | 132 | 198
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 025 | 25 | 1 | 1 | Total Phosphorus | ppb | 0.0655 | 1.38 | 25 | Total Nitrogen | ppb | 1.14 | 17.5 | 418 |  | 1.5 | 3 | messy integration | 25 | 16.85 | 25.275 | [6 empty] | 1 |  | 418 | 111 | 166.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 026 | 26 | 1 | 1 | Total Phosphorus | ppb | 0.0642 | 1.29 | 23.2 | Total Nitrogen | ppb | 1.33 | 20.2 | 484 |  | 1.5 | 1 |  | 23.2 | 15.05 | 22.575 | [6 empty] | 1 |  | 484 | 177 | 265.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 027 | 27 | 1 | 1 | Total Phosphorus | ppb | 0.067 | 1.34 | 24.2 | Total Nitrogen | ppb | 1.23 | 19.3 | 463 |  | 1.5 | 1 |  | 24.2 | 16.05 | 24.075 | [6 empty] | 1 |  | 463 | 156 | 234
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 028 | 28 | 1 | 1 | Total Phosphorus | ppb | 0.0849 | 1.46 | 26.6 | Total Nitrogen | ppb | 0.0278 | 0.271 | 8.4 |  | 1.5 | 1 |  | 26.6 | 18.45 | 27.675 |  |  | 19.6629 | PASS |  |  | 3 | messy integration | 8.4 | -298.6 | -447.9 |  |  | 1.7316 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 029 | 29 | 1 | 1 | Total Phosphorus | ppb | 0.0642 | 1.52 | 27.7 | Total Nitrogen | ppb | 2.11 | 31.6 | 765 |  | 1.5 | 1 |  | 27.7 | 19.55 | 29.325 | [6 empty] | 1 |  | 765 | 458 | 687
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 030 | 30 | 1 | 1 | Total Phosphorus | ppb | 0.108 | 2.33 | 43.3 | Total Nitrogen | ppb | 2.59 | 38.9 | 951 |  | 1.5 | 1 |  | 43.3 | 35.15 | 52.725 |  |  |  |  | 105.4725 | PASS | 1 |  | 951 | 644 | 966 |  |  |  |  | 157.86 | FAIL
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0847 | 1.28 | 23 | Total Nitrogen | ppb | 0.7 | 10.4 | 248 |  | 1 | 1 |  | 23 | 23 | 23 | -8 | PASS |  |  |  |  | 1 |  | 248 | 248 | 248 | -0.8 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | 0.0114 | 0.131 | -0.0261 | Total Nitrogen | ppb | 0.00365 | 0.0795 | 3.94 |  | 1 | 1 |  | -0.0261 | -0.0261 | -0.0261 | [6 empty] | 1 |  | 3.94 | 3.94 | 3.94
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 031 | 31 | 1 | 1 | Total Phosphorus | ppb | 0.0525 | 0.969 | 16.9 | Total Nitrogen | ppb | 1.15 | 17.3 | 414 |  | 1.5 | 1 |  | 16.9 | 8.75 | 13.125 | [6 empty] | 1 |  | 414 | 107 | 160.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 032 | 32 | 1 | 1 | Total Phosphorus | ppb | 0.0907 | 1.84 | 34 | Total Nitrogen | ppb | 2.91 | 43.1 | 1060 |  | 1.5 | 1 |  | 34 | 25.85 | 38.775 | [6 empty] | 1 |  | 1060 | 753 | 1129.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 033 | 33 | 1 | 1 | Total Phosphorus | ppb | 0.0848 | 1.88 | 34.7 | Total Nitrogen | ppb | 2.83 | 43 | 1050 |  | 1.5 | 1 |  | 34.7 | 26.55 | 39.825 | [6 empty] | 1 |  | 1050 | 743 | 1114.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 034 | 34 | 1 | 1 | Total Phosphorus | ppb | 0.0835 | 1.55 | 28.3 | Total Nitrogen | ppb | 2.4 | 36.2 | 883 |  | 1.5 | 1 |  | 28.3 | 20.15 | 30.225 | [6 empty] | 1 |  | 883 | 576 | 864
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 035 | 35 | 1 | 1 | Total Phosphorus | ppb | 0.0706 | 1.37 | 24.9 | Total Nitrogen | ppb | 3.19 | 48.4 | 1190 |  | 1.5 | 1 |  | 24.9 | 16.75 | 25.125 | [6 empty] | 1 |  | 1190 | 883 | 1324.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 036 | 36 | 1 | 1 | Total Phosphorus | ppb | 0.0381 | 0.683 | 11.2 | Total Nitrogen | ppb | 1.19 | 18.1 | 434 |  | 1.5 | 1 |  | 11.2 | 3.05 | 4.575 | [6 empty] | 1 |  | 434 | 127 | 190.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 037 | 37 | 1 | 1 | Total Phosphorus | ppb | 0.413 | 8.36 | 146 | Total Nitrogen | ppb | 0.0385 | 0.39 | 11.2 |  | 1.5 | 3 | messy integration | 146 | 137.85 | 206.775 | [6 empty] | 3 | messy integration | 11.2 | -295.8 | -443.7
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 038 | 38 | 1 | 1 | Total Phosphorus | ppb | -0.0549 | -0.759 | -18.5 | Total Nitrogen | ppb | 1.31 | 20 | 478 |  | 1.5 | 3 | messy integration | -18.5 | -26.65 | -39.975 | [6 empty] | 1 |  | 478 | 171 | 256.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 039 | 39 | 1 | 1 | Total Phosphorus | ppb | 0.141 | 2.75 | 51.3 | Total Nitrogen | ppb | 1.43 | 21.6 | 519 |  | 1.5 | 1 |  | 51.3 | 43.15 | 64.725 | [6 empty] | 1 |  | 519 | 212 | 318
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 040 | 40 | 1 | 1 | Total Phosphorus | ppb | 0.0587 | 1.62 | 29.8 | Total Nitrogen | ppb | 1.43 | 21.8 | 523 |  | 1.5 | 1 |  | 29.8 | 21.65 | 32.475 | [6 empty] | 1 |  | 523 | 216 | 324
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0806 | 1.45 | 26.3 | Total Nitrogen | ppb | 0.674 | 10.2 | 243 |  | 1 | 1 |  | 26.3 | 26.3 | 26.3 | 5.2 | PASS |  |  |  |  | 1 |  | 243 | 243 | 243 | -2.8 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | -0.00904 | -0.109 | -4.95 | Total Nitrogen | ppb | 0.00571 | 0.0749 | 3.83 |  | 1 | 1 |  | -4.95 | -4.95 | -4.95 | [6 empty] | 1 |  | 3.83 | 3.83 | 3.83
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 041 | 41 | 1 | 1 | Total Phosphorus | ppb | 0.0719 | 1.55 | 28.3 | Total Nitrogen | ppb | 3.12 | 47.8 | 1180 |  | 1.5 | 1 |  | 28.3 | 20.15 | 30.225 |  |  | 18.4282 | PASS |  |  | 1 |  | 1180 | 873 | 1309.5 |  |  | 1.139 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 042 | 42 | 1 | 1 | Total Phosphorus | ppb | 0.0809 | 1.86 | 34.4 | Total Nitrogen | ppb | 1.81 | 27.4 | 662 |  | 1.5 | 1 |  | 34.4 | 26.25 | 39.375 |  |  |  |  | 31.5375 | FAIL | 1 |  | 662 | 355 | 532.5 |  |  |  |  | 88.725 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 043 | 43 | 1 | 1 | Total Phosphorus | ppb | 0.0718 | 1.43 | 26 | Total Nitrogen | ppb | 2.44 | 37.1 | 904 |  | 1.5 | 1 |  | 26 | 17.85 | 26.775 | [6 empty] | 1 |  | 904 | 597 | 895.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 044 | 44 | 1 | 1 | Total Phosphorus | ppb | 0.0887 | 1.73 | 31.8 | Total Nitrogen | ppb | 1.25 | 19.1 | 459 |  | 1.5 | 1 |  | 31.8 | 23.65 | 35.475 | [6 empty] | 1 |  | 459 | 152 | 228
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 045 | 45 | 1 | 1 | Total Phosphorus | ppb | 0.0802 | 1.73 | 31.8 | Total Nitrogen | ppb | 1.85 | 28.3 | 685 |  | 1.5 | 1 |  | 31.8 | 23.65 | 35.475 | [6 empty] | 1 |  | 685 | 378 | 567
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 046 | 46 | 1 | 1 | Total Phosphorus | ppb | 0.0538 | 0.85 | 14.5 | Total Nitrogen | ppb | 1.34 | 20.4 | 490 |  | 1.5 | 1 |  | 14.5 | 6.35 | 9.525 | [6 empty] | 1 |  | 490 | 183 | 274.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 047 | 47 | 1 | 1 | Total Phosphorus | ppb | 0.123 | 2.46 | 45.9 | Total Nitrogen | ppb | 3.59 | 55.5 | 1380 |  | 1.5 | 1 |  | 45.9 | 37.75 | 56.625 | [6 empty] | 1 |  | 1380 | 1073 | 1609.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 048 | 48 | 1 | 1 | Total Phosphorus | ppb | 0.0895 | 1.47 | 26.7 | Total Nitrogen | ppb | 2.32 | 35.5 | 863 |  | 1.5 | 1 |  | 26.7 | 18.55 | 27.825 | [6 empty] | 1 |  | 863 | 556 | 834
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 049 | 49 | 1 | 1 | Total Phosphorus | ppb | 0.0855 | 1.96 | 36.2 | Total Nitrogen | ppb | 5 | 78 | 1980 |  | 1.5 | 1 |  | 36.2 | 28.05 | 42.075 | [6 empty] | 1 |  | 1980 | 1673 | 2509.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 050 | 50 | 1 | 1 | Total Phosphorus | ppb | 0.17 | 3.31 | 61.6 | Total Nitrogen | ppb | 1.69 | 25.8 | 622 |  | 1.5 | 1 |  | 61.6 | 53.45 | 80.175 | [6 empty] | 1 |  | 622 | 315 | 472.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0797 | 1.27 | 22.9 | Total Nitrogen | ppb | 0.663 | 10.1 | 240 |  | 1 | 1 |  | 22.9 | 22.9 | 22.9 | -8.4 | PASS |  |  |  |  | 1 |  | 240 | 240 | 240 | -4 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | 0.00884 | 0.185 | 1.08 | Total Nitrogen | ppb | 0.00294 | 0.0671 | 3.64 |  | 1 | 1 |  | 1.08 | 1.08 | 1.08 | [6 empty] | 1 |  | 3.64 | 3.64 | 3.64
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 051 | 51 | 1 | 1 | Total Phosphorus | ppb | 0.0671 | 1.38 | 25.1 | Total Nitrogen | ppb | 1.35 | 20.4 | 489 |  | 1.5 | 1 |  | 25.1 | 16.95 | 25.425 | [6 empty] | 1 |  | 489 | 182 | 273
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 052 | 52 | 1 | 1 | Total Phosphorus | ppb | 0.0731 | 1.47 | 26.8 | Total Nitrogen | ppb | 1.68 | 25.6 | 616 |  | 1.5 | 1 |  | 26.8 | 18.65 | 27.975 | [6 empty] | 1 |  | 616 | 309 | 463.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 053 | 53 | 1 | 1 | Total Phosphorus | ppb | 0.118 | 2.52 | 46.9 | Total Nitrogen | ppb | 3.48 | 53.7 | 1330 |  | 1.5 | 1 |  | 46.9 | 38.75 | 58.125 |  |  | 2.6144 | PASS |  |  | 1 |  | 1330 | 1023 | 1534.5 |  |  | 4.771 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 054 | 54 | 1 | 1 | Total Phosphorus | ppb | 0.116 | 2.48 | 46.1 | Total Nitrogen | ppb | 2.19 | 33.5 | 815 |  | 1.5 | 1 |  | 46.1 | 37.95 | 56.925 |  |  |  |  | 121.4925 | PASS | 1 |  | 815 | 508 | 762 |  |  |  |  | 127.02 | FAIL
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 055 | 55 | 1 | 1 | Total Phosphorus | ppb | 0.0921 | 1.9 | 35.1 | Total Nitrogen | ppb | 1.96 | 30 | 726 |  | 1.5 | 1 |  | 35.1 | 26.95 | 40.425 | [6 empty] | 1 |  | 726 | 419 | 628.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 056 | 56 | 1 | 1 | Total Phosphorus | ppb | 0.0653 | 1.38 | 25 | Total Nitrogen | ppb | 1.8 | 27.4 | 660 |  | 1.5 | 1 |  | 25 | 16.85 | 25.275 | [6 empty] | 1 |  | 660 | 353 | 529.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 057 | 57 | 1 | 1 | Total Phosphorus | ppb | 0.0764 | 1.72 | 31.6 | Total Nitrogen | ppb | 2.02 | 31 | 750 |  | 1.5 | 1 |  | 31.6 | 23.45 | 35.175 | [6 empty] | 1 |  | 750 | 443 | 664.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 058 | 58 | 1 | 1 | Total Phosphorus | ppb | 0.0659 | 1.36 | 24.6 | Total Nitrogen | ppb | 2.19 | 33.9 | 824 |  | 1.5 | 1 |  | 24.6 | 16.45 | 24.675 | [6 empty] | 1 |  | 824 | 517 | 775.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 059 | 59 | 1 | 1 | Total Phosphorus | ppb | 0.0611 | 1.28 | 23 | Total Nitrogen | ppb | 0.494 | 5.79 | 138 |  | 1.5 | 1 |  | 23 | 14.85 | 22.275 | [6 empty] | 3 | messy integration | 138 | -169 | -253.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 060 | 60 | 1 | 1 | Total Phosphorus | ppb | 0.0875 | 1.81 | 33.4 | Total Nitrogen | ppb | 3.18 | 47.9 | 1180 |  | 1.5 | 1 |  | 33.4 | 25.25 | 37.875 | [6 empty] | 1 |  | 1180 | 873 | 1309.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0665 | 1.12 | 19.9 | Total Nitrogen | ppb | 0.695 | 10.4 | 247 |  | 1 | 1 |  | 19.9 | 19.9 | 19.9 | -20.4 | FAIL |  |  |  |  | 1 |  | 247 | 247 | 247 | -1.2 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | -0.00343 | -0.0277 | -3.27 | Total Nitrogen | ppb | 0.0059 | 0.0781 | 3.9 |  | 1 | 1 |  | -3.27 | -3.27 | -3.27 | [6 empty] | 1 |  | 3.9 | 3.9 | 3.9
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 061 | 61 | 1 | 1 | Total Phosphorus | ppb | 0.0756 | 1.57 | 28.7 | Total Nitrogen | ppb | 3.28 | 49.7 | 1230 |  | 1.5 | 1 |  | 28.7 | 20.55 | 30.825 | [6 empty] | 1 |  | 1230 | 923 | 1384.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 062 | 62 | 1 | 1 | Total Phosphorus | ppb | 0.0842 | 1.89 | 35 | Total Nitrogen | ppb | 2.65 | 40.2 | 982 |  | 1.5 | 1 |  | 35 | 26.85 | 40.275 | [6 empty] | 1 |  | 982 | 675 | 1012.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 063 | 63 | 1 | 1 | Total Phosphorus | ppb | 0.19 | 3.81 | 70.7 | Total Nitrogen | ppb | 3.21 | 49 | 1210 |  | 1.5 | 1 |  | 70.7 | 62.55 | 93.825 | [6 empty] | 1 |  | 1210 | 903 | 1354.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 064 | 64 | 1 | 1 | Total Phosphorus | ppb | 0.0664 | 1.37 | 24.9 | Total Nitrogen | ppb | 1.9 | 28.8 | 696 |  | 1.5 | 1 |  | 24.9 | 16.75 | 25.125 | [6 empty] | 1 |  | 696 | 389 | 583.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 065 | 65 | 1 | 1 | Total Phosphorus | ppb | 0.0642 | 1.42 | 25.8 | Total Nitrogen | ppb | 1.53 | 23.3 | 560 |  | 1.5 | 1 |  | 25.8 | 17.65 | 26.475 |  |  | 17.2308 | PASS |  |  | 1 |  | 560 | 253 | 379.5 |  |  | 8.2305 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 066 | 66 | 1 | 1 | Total Phosphorus | ppb | 0.103 | 2.17 | 40.3 | Total Nitrogen | ppb | 2.47 | 37.6 | 916 |  | 1.5 | 1 |  | 40.3 | 32.15 | 48.225 |  |  |  |  | 97.2225 | PASS | 1 |  | 916 | 609 | 913.5 |  |  |  |  | 141.135 | FAIL
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 067 | 67 | 1 | 1 | Total Phosphorus | ppb | 0.089 | 1.83 | 33.9 | Total Nitrogen | ppb | 2.7 | 41.2 | 1010 |  | 1.5 | 1 |  | 33.9 | 25.75 | 38.625 | [6 empty] | 1 |  | 1010 | 703 | 1054.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 068 | 68 | 1 | 1 | Total Phosphorus | ppb | 0.07 | 1.42 | 25.8 | Total Nitrogen | ppb | 4.72 | 73.3 | 1850 |  | 1.5 | 1 |  | 25.8 | 17.65 | 26.475 | [6 empty] | 1 |  | 1850 | 1543 | 2314.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 069 | 69 | 1 | 1 | Total Phosphorus | ppb | 0.0504 | 0.906 | 15.6 | Total Nitrogen | ppb | 1.44 | 22 | 527 |  | 1.5 | 1 |  | 15.6 | 7.45 | 11.175 | [6 empty] | 1 |  | 527 | 220 | 330
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 070 | 70 | 1 | 1 | Total Phosphorus | ppb | 0.0815 | 1.72 | 31.6 | Total Nitrogen | ppb | 6.3 | 101 | 2620 |  | 1.5 | 1 |  | 31.6 | 23.45 | 35.175 | [6 empty] | 1 |  | 2620 | 2313 | 3469.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0802 | 1.37 | 24.9 | Total Nitrogen | ppb | 0.654 | 9.9 | 236 |  | 1 | 1 |  | 24.9 | 24.9 | 24.9 | -0.4 | PASS |  |  |  |  | 1 |  | 236 | 236 | 236 | -5.6 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | 0.0085 | 0.0953 | -0.747 | Total Nitrogen | ppb | 0.00528 | 0.13 | 5.11 |  | 1 | 1 |  | -0.747 | -0.747 | -0.747 | [6 empty] | 1 |  | 5.11 | 5.11 | 5.11
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 071 | 71 | 1 | 1 | Total Phosphorus | ppb | 0.0662 | 1.35 | 24.5 | Total Nitrogen | ppb | 2.02 | 30.8 | 746 |  | 1.5 | 1 |  | 24.5 | 16.35 | 24.525 | [6 empty] | 1 |  | 746 | 439 | 658.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 072 | 72 | 1 | 1 | Total Phosphorus | ppb | 0.0958 | 2 | 37 | Total Nitrogen | ppb | 2.81 | 43.1 | 1060 |  | 1.5 | 1 |  | 37 | 28.85 | 43.275 | [6 empty] | 1 |  | 1060 | 753 | 1129.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 073 | 73 | 1 | 1 | Total Phosphorus | ppb | 0.0526 | 1.11 | 19.6 | Total Nitrogen | ppb | 1.44 | 21.9 | 525 |  | 1.5 | 1 |  | 19.6 | 11.45 | 17.175 | [6 empty] | 1 |  | 525 | 218 | 327
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 074 | 74 | 1 | 1 | Total Phosphorus | ppb | 0.0744 | 1.65 | 30.3 | Total Nitrogen | ppb | 2.79 | 42.5 | 1040 |  | 1.5 | 1 |  | 30.3 | 22.15 | 33.225 | [6 empty] | 1 |  | 1040 | 733 | 1099.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 075 | 75 | 1 | 1 | Total Phosphorus | ppb | 0.0796 | 1.69 | 31 | Total Nitrogen | ppb | 2.36 | 36.1 | 880 |  | 1.5 | 1 |  | 31 | 22.85 | 34.275 | [6 empty] | 1 |  | 880 | 573 | 859.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 076 | 76 | 1 | 1 | Total Phosphorus | ppb | 0.133 | 2.7 | 50.3 | Total Nitrogen | ppb | 4.57 | 70.7 | 1780 |  | 1.5 | 1 |  | 50.3 | 42.15 | 63.225 | [6 empty] | 1 |  | 1780 | 1473 | 2209.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 077 | 77 | 1 | 1 | Total Phosphorus | ppb | 0.0623 | 1.37 | 24.7 | Total Nitrogen | ppb | 1.99 | 30.2 | 731 |  | 1.5 | 1 |  | 24.7 | 16.55 | 24.825 |  |  | 1.2158 | PASS |  |  | 1 |  | 731 | 424 | 636 |  |  | 3.4762 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 078 | 78 | 1 | 1 | Total Phosphorus | ppb | 0.185 | 3.71 | 68.9 | Total Nitrogen | ppb | 4.96 | 77.1 | 1960 |  | 1.5 | 1 |  | 68.9 | 60.75 | 91.125 |  |  |  |  | 120.7125 | PASS | 1 |  | 1960 | 1653 | 2479.5 |  |  |  |  | 132.795 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 079 | 79 | 1 | 1 | Total Phosphorus | ppb | 0.0813 | 1.72 | 31.7 | Total Nitrogen | ppb | 2.3 | 34.8 | 847 |  | 1.5 | 1 |  | 31.7 | 23.55 | 35.325 | [6 empty] | 1 |  | 847 | 540 | 810
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 080 | 80 | 1 | 1 | Total Phosphorus | ppb | 0.0508 | 1.05 | 18.4 | Total Nitrogen | ppb | 1.14 | 17.4 | 416 |  | 1.5 | 1 |  | 18.4 | 10.25 | 15.375 | [6 empty] | 1 |  | 416 | 109 | 163.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0764 | 1.36 | 24.7 | Total Nitrogen | ppb | 0.655 | 9.92 | 236 |  | 1 | 1 |  | 24.7 | 24.7 | 24.7 | -1.2 | PASS |  |  |  |  | 1 |  | 236 | 236 | 236 | -5.6 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | 0.0449 | 0.404 | 5.54 | Total Nitrogen | ppb | -0.0129 | -0.0447 | 1.03 |  | 1 | 1 |  | 5.54 | 5.54 | 5.54 | [6 empty] | 1 |  | 1.03 | 1.03 | 1.03
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 081 | 81 | 1 | 1 | Total Phosphorus | ppb | 0.0648 | 1.41 | 25.6 | Total Nitrogen | ppb | 2.17 | 32.9 | 798 |  | 1.5 | 1 |  | 25.6 | 17.45 | 26.175 | [6 empty] | 1 |  | 798 | 491 | 736.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 082 | 82 | 1 | 1 | Total Phosphorus | ppb | 0.0728 | 1.86 | 34.4 | Total Nitrogen | ppb | 2.22 | 33.9 | 824 |  | 1.5 | 1 |  | 34.4 | 26.25 | 39.375 | [6 empty] | 1 |  | 824 | 517 | 775.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 083 | 83 | 1 | 1 | Total Phosphorus | ppb | 0.0604 | 1.09 | 19.4 | Total Nitrogen | ppb | 2.03 | 30.9 | 749 |  | 1.5 | 1 |  | 19.4 | 11.25 | 16.875 | [6 empty] | 1 |  | 749 | 442 | 663
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 084 | 84 | 1 | 1 | Total Phosphorus | ppb | 0.0624 | 1.3 | 23.5 | Total Nitrogen | ppb | 1.41 | 21.4 | 514 |  | 1.5 | 1 |  | 23.5 | 15.35 | 23.025 | [6 empty] | 1 |  | 514 | 207 | 310.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 085 | 85 | 1 | 1 | Total Phosphorus | ppb | 0.0932 | 2.01 | 37.2 | Total Nitrogen | ppb | 1.9 | 29.1 | 703 |  | 1.5 | 1 |  | 37.2 | 29.05 | 43.575 | [6 empty] | 1 |  | 703 | 396 | 594
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 086 | 86 | 1 | 1 | Total Phosphorus | ppb | 0.0676 | 1.45 | 26.3 | Total Nitrogen | ppb | 2.07 | 31.4 | 761 |  | 1.5 | 1 |  | 26.3 | 18.15 | 27.225 | [6 empty] | 1 |  | 761 | 454 | 681
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 087 | 87 | 1 | 1 | Total Phosphorus | ppb | 0.0652 | 1.33 | 24 | Total Nitrogen | ppb | 2.09 | 31.6 | 767 |  | 1.5 | 1 |  | 24 | 15.85 | 23.775 | [6 empty] | 1 |  | 767 | 460 | 690
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 088 | 88 | 1 | 1 | Total Phosphorus | ppb | 0.0572 | 1.23 | 22.2 | Total Nitrogen | ppb | 1.41 | 21.6 | 519 |  | 1.5 | 1 |  | 22.2 | 14.05 | 21.075 | [6 empty] | 1 |  | 519 | 212 | 318
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 089 | 89 | 1 | 1 | Total Phosphorus | ppb | 0.0576 | 1.18 | 21.1 | Total Nitrogen | ppb | 2.02 | 30.8 | 747 |  | 1.5 | 1 |  | 21.1 | 12.95 | 19.425 |  |  | 14.0496 | PASS |  |  | 1 |  | 747 | 440 | 660 |  |  | 0.45351 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 090 | 90 | 1 | 1 | Total Phosphorus | ppb | 0.0942 | 1.94 | 35.8 | Total Nitrogen | ppb | 2 | 30.8 | 746 |  | 1.5 | 1 |  | 35.8 | 27.65 | 41.475 |  |  |  |  | 85.7475 | PASS | 1 |  | 746 | 439 | 658.5 |  |  |  |  | 142.785 | FAIL
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 100/1000 | S1 | 1 | 1 | Total Phosphorus | ppb | 0.297 | 5.06 | 92.7 | Total Nitrogen | ppb | 1.14 | 14.1 | 337 |  | 1 | 1 |  | 92.7 | 92.7 | 92.7 | [6 empty] | 1 |  | 337 | 337 | 337
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 50/500 | S2 | 1 | 1 | Total Phosphorus | ppb | 0.157 | 2.72 | 50.6 | Total Nitrogen | ppb | 1.32 | 20 | 481 |  | 1 | 1 |  | 50.6 | 50.6 | 50.6 | [6 empty] | 1 |  | 481 | 481 | 481
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0777 | 1.39 | 25.2 | Total Nitrogen | ppb | 0.65 | 9.84 | 234 |  | 1 | 1 |  | 25.2 | 25.2 | 25.2 | 0.8 | PASS |  |  |  |  | 1 |  | 234 | 234 | 234 | -6.4 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 10/100 | S4 | 1 | 1 | Total Phosphorus | ppb | 0.0328 | 0.562 | 8.74 | Total Nitrogen | ppb | 0.258 | 3.86 | 92.6 |  | 1 | 1 |  | 8.74 | 8.74 | 8.74 | [6 empty] | 1 |  | 92.6 | 92.6 | 92.6
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 5/50 | S5 | 1 | 1 | Total Phosphorus | ppb | 0.0222 | 0.352 | 4.48 | Total Nitrogen | ppb | 0.13 | 1.93 | 47.3 |  | 1 | 1 |  | 4.48 | 4.48 | 4.48 | [6 empty] | 1 |  | 47.3 | 47.3 | 47.3
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 2.5/25 | S6 | 1 | 1 | Total Phosphorus | ppb | 0.0203 | 0.4 | 5.46 | Total Nitrogen | ppb | 0.0641 | 1.04 | 26.5 |  | 1 | 1 |  | 5.46 | 5.46 | 5.46 | [6 empty] | 1 |  | 26.5 | 26.5 | 26.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 0 | S7 | 1 | 1 | Total Phosphorus | ppb | 0.0046 | 0.086 | -0.938 | Total Nitrogen | ppb | -0.0273 | -0.0324 | 1.32 |  | 1 | 1 |  | -0.938 | -0.938 | -0.938 | [6 empty] | 1 |  | 1.32 | 1.32 | 1.32
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | nitrite | S8 | 1 | 1 | Total Phosphorus | ppb | 0.046 | 0.578 | 9.06 | Total Nitrogen | ppb | 1.05 | 18.6 | 446 |  | 1 | 1 |  | 9.06 | 9.06 | 9.06 | [6 empty] | 1 |  | 446 | 446 | 446
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 091 | 91 | 1 | 1 | Total Phosphorus | ppb | 0.0485 | 1 | 17.6 | Total Nitrogen | ppb | 1.19 | 18.2 | 435 |  | 1.5 | 1 |  | 17.6 | 9.45 | 14.175 | [6 empty] | 1 |  | 435 | 128 | 192
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 092 | 92 | 1 | 1 | Total Phosphorus | ppb | 0.0616 | 1.28 | 23.1 | Total Nitrogen | ppb | 3.1 | 47.5 | 1170 |  | 1.5 | 1 |  | 23.1 | 14.95 | 22.425 | [6 empty] | 1 |  | 1170 | 863 | 1294.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 093 | 93 | 1 | 1 | Total Phosphorus | ppb | 0.0614 | 1.33 | 24.1 | Total Nitrogen | ppb | 2.99 | 45.8 | 1130 |  | 1.5 | 1 |  | 24.1 | 15.95 | 23.925 | [6 empty] | 1 |  | 1130 | 823 | 1234.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 094 | 94 | 1 | 1 | Total Phosphorus | ppb | 0.0607 | 1.38 | 24.9 | Total Nitrogen | ppb | 1.24 | 18.9 | 453 |  | 1.5 | 1 |  | 24.9 | 16.75 | 25.125 | [6 empty] | 1 |  | 453 | 146 | 219
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 100/1000 | S1 | 1 | 1 | Total Phosphorus | ppb | 0.307 | 5.41 | 98.7 | Total Nitrogen | ppb | 2.6 | 39.7 | 970 |  | 1 | 1 |  | 98.7 | 98.7 | 98.7 | [6 empty] | 1 |  | 970 | 970 | 970
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | nitrite | S8 | 1 | 1 | Total Phosphorus | ppb | 0.0431 | 0.552 | 8.53 | Total Nitrogen | ppb | 1.03 | 18.3 | 438 |  | 1 | 1 |  | 8.53 | 8.53 | 8.53 | [6 empty] | 1 |  | 438 | 438 | 438
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 50/500 | S2 | 1 | 1 | Total Phosphorus | ppb | 0.16 | 2.82 | 52.6 | Total Nitrogen | ppb | 1.27 | 19.4 | 464 |  | 1.5 | 1 |  | 52.6 | 44.45 | 66.675 | [6 empty] | 1 |  | 464 | 157 | 235.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 095 | 95 | 1 | 1 | Total Phosphorus | ppb | 0.0582 | 1.28 | 23.1 | Total Nitrogen | ppb | 0.983 | 15 | 359 |  | 1.5 | 1 |  | 23.1 | 14.95 | 22.425 | [6 empty] | 1 |  | 359 | 52 | 78
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 096 | 96 | 1 | 1 | Total Phosphorus | ppb | 0.0759 | 1.43 | 26.1 | Total Nitrogen | ppb | 1.47 | 22.3 | 535 |  | 1.5 | 1 |  | 26.1 | 17.95 | 26.925 | [6 empty] | 1 |  | 535 | 228 | 342
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | nitrite | S9 | 1 | 1 | Total Phosphorus | ppb | 0.0572 | 0.722 | 12 | Total Nitrogen | ppb | 2.2 | 33.8 | 820 |  | 1.5 | 1 |  | 12 | 3.85 | 5.775 | [6 empty] | 1 |  | 820 | 513 | 769.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 097 | 97 | 1 | 1 | Total Phosphorus | ppb | 0.0649 | 1.42 | 25.8 | Total Nitrogen | ppb | 2 | 30.6 | 741 |  | 1.5 | 1 |  | 25.8 | 17.65 | 26.475 | [6 empty] | 1 |  | 741 | 434 | 651
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 098 | 98 | 1 | 1 | Total Phosphorus | ppb | 0.154 | 3.12 | 58.1 | Total Nitrogen | ppb | 1.73 | 26.3 | 634 |  | 1.5 | 1 |  | 58.1 | 49.95 | 74.925 | [6 empty] | 1 |  | 634 | 327 | 490.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 099 | 99 | 1 | 1 | Total Phosphorus | ppb | 0.0718 | 1.5 | 27.4 | Total Nitrogen | ppb | 1.03 | 15.6 | 373 |  | 1.5 | 1 |  | 27.4 | 19.25 | 28.875 | [6 empty] | 1 |  | 373 | 66 | 99
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 100 | 100 | 1 | 1 | Total Phosphorus | ppb | 0.0839 | 1.83 | 33.7 | Total Nitrogen | ppb | 1.85 | 27.9 | 675 |  | 1.5 | 1 |  | 33.7 | 25.55 | 38.325 | [6 empty] | 1 |  | 675 | 368 | 552
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0922 | 1.43 | 26 | Total Nitrogen | ppb | 0.642 | 9.71 | 231 |  | 1 | 1 |  | 26 | 26 | 26 | 4 | PASS |  |  |  |  | 1 |  | 231 | 231 | 231 | -7.6 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | 0.00476 | 0.0489 | -1.7 | Total Nitrogen | ppb | -0.00373 | -0.0573 | 0.742 |  | 1 | 1 |  | -1.7 | -1.7 | -1.7 | [6 empty] | 1 |  | 0.742 | 0.742 | 0.742
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 101 | 101 | 1 | 1 | Total Phosphorus | ppb | 0.061 | 1.23 | 22 | Total Nitrogen | ppb | 1.14 | 17.2 | 411 |  | 1.5 | 1 |  | 22 | 13.85 | 20.775 |  |  | 7.6389 | PASS |  |  | 1 |  | 411 | 104 | 156 |  |  | 66.6667 | FAIL
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 102 | 102 | 1 | 1 | Total Phosphorus | ppb | 0.128 | 2.71 | 50.4 | Total Nitrogen | ppb | 2.3 | 35.1 | 854 |  | 1.5 | 1 |  | 50.4 | 42.25 | 63.375 |  |  |  |  | 106.5375 | PASS | 1 |  | 854 | 547 | 820.5 |  |  |  |  | 115.605 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 103 | 103 | 1 | 1 | Total Phosphorus | ppb | 0.052 | 1.03 | 18 | Total Nitrogen | ppb | 1.29 | 19.7 | 473 |  | 1.5 | 1 |  | 18 | 9.85 | 14.775 | [6 empty] | 1 |  | 473 | 166 | 249
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 104 | 104 | 1 | 1 | Total Phosphorus | ppb | 0.0615 | 1.24 | 22.3 | Total Nitrogen | ppb | 2.53 | 38.5 | 940 |  | 1.5 | 1 |  | 22.3 | 14.15 | 21.225 | [6 empty] | 1 |  | 940 | 633 | 949.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 105 | 105 | 1 | 1 | Total Phosphorus | ppb | 0.0502 | 1.02 | 17.9 | Total Nitrogen | ppb | 1.32 | 20 | 479 |  | 1.5 | 1 |  | 17.9 | 9.75 | 14.625 | [6 empty] | 1 |  | 479 | 172 | 258
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 106 | 106 | 1 | 1 | Total Phosphorus | ppb | 0.107 | 2.29 | 42.7 | Total Nitrogen | ppb | 1.49 | 22.7 | 545 |  | 1.5 | 1 |  | 42.7 | 34.55 | 51.825 | [6 empty] | 1 |  | 545 | 238 | 357
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 107 | 107 | 1 | 1 | Total Phosphorus | ppb | 0.0698 | 1.52 | 27.7 | Total Nitrogen | ppb | 3.08 | 47 | 1160 |  | 1.5 | 1 |  | 27.7 | 19.55 | 29.325 | [6 empty] | 1 |  | 1160 | 853 | 1279.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 108 | 108 | 1 | 1 | Total Phosphorus | ppb | 0.0648 | 1.45 | 26.3 | Total Nitrogen | ppb | 2.03 | 31.1 | 753 |  | 1.5 | 3 | messy integration | 26.3 | 18.15 | 27.225 | [6 empty] | 1 |  | 753 | 446 | 669
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 109 | 109 | 1 | 1 | Total Phosphorus | ppb | 0.0399 | 0.757 | 12.7 | Total Nitrogen | ppb | 1.15 | 17.4 | 417 |  | 1.5 | 1 |  | 12.7 | 4.55 | 6.825 | [6 empty] | 1 |  | 417 | 110 | 165
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 110 | 110 | 1 | 1 | Total Phosphorus | ppb | 0.0855 | 1.85 | 34.2 | Total Nitrogen | ppb | 2.5 | 38.1 | 929 |  | 1.5 | 1 |  | 34.2 | 26.05 | 39.075 | [6 empty] | 1 |  | 929 | 622 | 933
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.079 | 1.35 | 24.4 | Total Nitrogen | ppb | 0.639 | 9.67 | 230 |  | 1 | 1 |  | 24.4 | 24.4 | 24.4 | -2.4 | PASS |  |  |  |  | 1 |  | 230 | 230 | 230 | -8 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | 0.00792 | 0.0635 | -1.4 | Total Nitrogen | ppb | 0.00566 | 0.0693 | 3.7 |  | 1 | 1 |  | -1.4 | -1.4 | -1.4 | [6 empty] | 1 |  | 3.7 | 3.7 | 3.7
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 111 | 111 | 1 | 1 | Total Phosphorus | ppb | 0.0695 | 1.75 | 32.2 | Total Nitrogen | ppb | 2.69 | 41 | 1000 |  | 1.5 | 1 |  | 32.2 | 24.05 | 36.075 | [6 empty] | 1 |  | 1000 | 693 | 1039.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 112 | 112 | 1 | 1 | Total Phosphorus | ppb | 0.0618 | 1.26 | 22.6 | Total Nitrogen | ppb | 1.89 | 28.7 | 693 |  | 1.5 | 1 |  | 22.6 | 14.45 | 21.675 | [6 empty] | 1 |  | 693 | 386 | 579
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 113 | 113 | 1 | 1 | Total Phosphorus | ppb | 0.0711 | 1.51 | 27.5 | Total Nitrogen | ppb | 3.1 | 47.3 | 1160 |  | 1.5 | 1 |  | 27.5 | 19.35 | 29.025 |  |  | 1.0283 | PASS |  |  | 1 |  | 1160 | 853 | 1279.5 |  |  | 0 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 114 | 114 | 1 | 1 | Total Phosphorus | ppb | 0.0989 | 2.14 | 39.7 | Total Nitrogen | ppb | 2.3 | 35 | 850 |  | 1.5 | 1 |  | 39.7 | 31.55 | 47.325 |  |  |  |  | 107.3325 | PASS | 1 |  | 850 | 543 | 814.5 |  |  |  |  | 102.345 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 115 | 115 | 1 | 1 | Total Phosphorus | ppb | 0.251 | 4.88 | 89.6 | Total Nitrogen | ppb | 2.14 | 32.7 | 794 |  | 1.5 | 1 |  | 89.6 | 81.45 | 122.175 | [6 empty] | 1 |  | 794 | 487 | 730.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 116 | 116 | 1 | 1 | Total Phosphorus | ppb | 0.0892 | 1.85 | 34.1 | Total Nitrogen | ppb | 1.11 | 17 | 405 |  | 1.5 | 1 |  | 34.1 | 25.95 | 38.925 | [6 empty] | 1 |  | 405 | 98 | 147
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 117 | 117 | 1 | 1 | Total Phosphorus | ppb | 0.0593 | 1.29 | 23.3 | Total Nitrogen | ppb | 1.84 | 28.1 | 680 |  | 1.5 | 1 |  | 23.3 | 15.15 | 22.725 | [6 empty] | 1 |  | 680 | 373 | 559.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 118 | 118 | 1 | 1 | Total Phosphorus | ppb | 0.0564 | 1.19 | 21.2 | Total Nitrogen | ppb | 1.02 | 15.5 | 370 |  | 1.5 | 1 |  | 21.2 | 13.05 | 19.575 | [6 empty] | 1 |  | 370 | 63 | 94.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 119 | 119 | 1 | 1 | Total Phosphorus | ppb | 0.051 | 0.948 | 16.5 | Total Nitrogen | ppb | 1.31 | 19.8 | 476 |  | 1.5 | 1 |  | 16.5 | 8.35 | 12.525 | [6 empty] | 1 |  | 476 | 169 | 253.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 120 | 120 | 1 | 1 | Total Phosphorus | ppb | 0.0487 | 0.951 | 16.5 | Total Nitrogen | ppb | 1.11 | 16.9 | 404 |  | 1.5 | 1 |  | 16.5 | 8.35 | 12.525 | [6 empty] | 1 |  | 404 | 97 | 145.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0784 | 1.45 | 26.4 | Total Nitrogen | ppb | 0.632 | 9.59 | 228 |  | 1 | 1 |  | 26.4 | 26.4 | 26.4 | 5.6 | PASS |  |  |  |  | 1 |  | 228 | 228 | 228 | -8.8 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | 0.00729 | 0.116 | -0.326 | Total Nitrogen | ppb | -0.0012 | -0.00689 | 1.92 |  | 1 | 1 |  | -0.326 | -0.326 | -0.326 | [6 empty] | 1 |  | 1.92 | 1.92 | 1.92
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 121 | 121 | 1 | 1 | Total Phosphorus | ppb | 0.112 | 2.35 | 43.7 | Total Nitrogen | ppb | 1.17 | 17.9 | 428 |  | 1.5 | 1 |  | 43.7 | 35.55 | 53.325 | [6 empty] | 1 |  | 428 | 121 | 181.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 122 | 122 | 1 | 1 | Total Phosphorus | ppb | 0.231 | 4.54 | 83.7 | Total Nitrogen | ppb | 1.96 | 29.9 | 723 |  | 1.5 | 1 |  | 83.7 | 75.55 | 113.325 | [6 empty] | 1 |  | 723 | 416 | 624
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 123 | 123 | 1 | 1 | Total Phosphorus | ppb | 0.0771 | 1.77 | 32.7 | Total Nitrogen | ppb | 2.4 | 36.6 | 892 |  | 1.5 | 1 |  | 32.7 | 24.55 | 36.825 | [6 empty] | 1 |  | 892 | 585 | 877.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 124 | 124 | 1 | 1 | Total Phosphorus | ppb | 0.134 | 2.75 | 51.3 | Total Nitrogen | ppb | 2.74 | 41.5 | 1020 |  | 1.5 | 1 |  | 51.3 | 43.15 | 64.725 | [6 empty] | 1 |  | 1020 | 713 | 1069.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 125 | 125 | 1 | 1 | Total Phosphorus | ppb | 0.0476 | 0.96 | 16.7 | Total Nitrogen | ppb | 1.3 | 19.8 | 475 |  | 1.5 | 1 |  | 16.7 | 8.55 | 12.825 |  |  | 2.3669 | PASS |  |  | 1 |  | 475 | 168 | 252 |  |  | 0.59347 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 126 | 126 | 1 | 1 | Total Phosphorus | ppb | 0.177 | 3.53 | 65.7 | Total Nitrogen | ppb | 3.09 | 46.9 | 1160 |  | 1.5 | 1 |  | 65.7 | 57.55 | 86.325 |  |  |  |  | 95.0325 | PASS | 1 |  | 1160 | 853 | 1279.5 |  |  |  |  | 96.795 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 127 | 127 | 1 | 1 | Total Phosphorus | ppb | 0.0842 | 1.76 | 32.5 | Total Nitrogen | ppb | 1.94 | 29.4 | 711 |  | 1.5 | 1 |  | 32.5 | 24.35 | 36.525 | [6 empty] | 1 |  | 711 | 404 | 606
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 128 | 128 | 1 | 1 | Total Phosphorus | ppb | 0.069 | 1.48 | 26.9 | Total Nitrogen | ppb | 1.24 | 19 | 456 |  | 1.5 | 1 |  | 26.9 | 18.75 | 28.125 | [6 empty] | 1 |  | 456 | 149 | 223.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 129 | 129 | 1 | 1 | Total Phosphorus | ppb | 0.0755 | 1.65 | 30.3 | Total Nitrogen | ppb | 2.39 | 36.2 | 882 |  | 1.5 | 1 |  | 30.3 | 22.15 | 33.225 | [6 empty] | 1 |  | 882 | 575 | 862.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 130 | 130 | 1 | 1 | Total Phosphorus | ppb | 0.0444 | 0.782 | 13.2 | Total Nitrogen | ppb | 1.22 | 18.5 | 443 |  | 1.5 | 1 |  | 13.2 | 5.05 | 7.575 | [6 empty] | 1 |  | 443 | 136 | 204
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0984 | 1.36 | 24.6 | Total Nitrogen | ppb | 0.635 | 9.54 | 227 |  | 1 | 1 |  | 24.6 | 24.6 | 24.6 | -1.6 | PASS |  |  |  |  | 1 |  | 227 | 227 | 227 | -9.2 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | rb | S7 | 1 | 1 | Total Phosphorus | ppb | 0.00854 | 0.103 | -0.586 | Total Nitrogen | ppb | 0.00371 | 0.0557 | 3.38 |  | 1 | 1 |  | -0.586 | -0.586 | -0.586 | [6 empty] | 1 |  | 3.38 | 3.38 | 3.38
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 131 | 131 | 1 | 1 | Total Phosphorus | ppb | 0.0589 | 1.21 | 21.6 | Total Nitrogen | ppb | 1.93 | 29.4 | 710 |  | 1.5 | 1 |  | 21.6 | 13.45 | 20.175 | [6 empty] | 1 |  | 710 | 403 | 604.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 132 | 132 | 1 | 1 | Total Phosphorus | ppb | 0.0429 | 0.768 | 12.9 | Total Nitrogen | ppb | 1.3 | 19.7 | 472 |  | 1.5 | 1 |  | 12.9 | 4.75 | 7.125 | [6 empty] | 1 |  | 472 | 165 | 247.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 133 | 133 | 1 | 1 | Total Phosphorus | ppb | 0.0408 | 0.761 | 12.7 | Total Nitrogen | ppb | 1.12 | 17 | 407 |  | 1.5 | 1 |  | 12.7 | 4.55 | 6.825 | [6 empty] | 1 |  | 407 | 100 | 150
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 134 | 134 | 1 | 1 | Total Phosphorus | ppb | 0.063 | 1.35 | 24.5 | Total Nitrogen | ppb | 2.04 | 31.1 | 753 |  | 1.5 | 1 |  | 24.5 | 16.35 | 24.525 | [6 empty] | 1 |  | 753 | 446 | 669
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 135 | 135 | 1 | 1 | Total Phosphorus | ppb | 0.0796 | 1.63 | 29.9 | Total Nitrogen | ppb | 2.89 | 44 | 1080 |  | 1.5 | 1 |  | 29.9 | 21.75 | 32.625 | [6 empty] | 1 |  | 1080 | 773 | 1159.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 136 | 136 | 1 | 1 | Total Phosphorus | ppb | 0.134 | 2.71 | 50.6 | Total Nitrogen | ppb | 2.33 | 35.9 | 875 |  | 1.5 | 1 |  | 50.6 | 42.45 | 63.675 | [6 empty] | 1 |  | 875 | 568 | 852
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 137 | 137 | 1 | 1 | Total Phosphorus | ppb | 0.0413 | 0.216 | 1.73 | Total Nitrogen | ppb | 0.0328 | 0.477 | 13.2 |  | 1.5 | 1 |  | 1.73 | -6.42 | -9.63 |  |  | 565.2916 | FAIL |  |  | 1 |  | 13.2 | -293.8 | -440.7 |  |  | 1276.1905 | FAIL
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 138 | 138 | 1 | 1 | Total Phosphorus | ppb | 0.175 | 3.39 | 63 | Total Nitrogen | ppb | 2.9 | 43.2 | 1060 |  | 1.5 | 1 |  | 63 | 54.85 | 82.275 |  |  |  |  | 82.6275 | PASS | 1 |  | 1060 | 753 | 1129.5 |  |  |  |  | 122.295 | FAIL
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 100/1000 | S1 | 1 | 1 | Total Phosphorus | ppb | 0.337 | 6.14 | 111 | Total Nitrogen | ppb | 2.73 | 40.7 | 996 |  | 1 | 1 |  | 111 | 111 | 111 | [6 empty] | 1 |  | 996 | 996 | 996
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 50/500 | S2 | 1 | 1 | Total Phosphorus | ppb | 0.147 | 2.49 | 46.4 | Total Nitrogen | ppb | 1.34 | 20 | 479 |  | 1 | 1 |  | 46.4 | 46.4 | 46.4 | [6 empty] | 1 |  | 479 | 479 | 479
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 25/250 | S3 | 1 | 1 | Total Phosphorus | ppb | 0.0763 | 1.37 | 24.8 | Total Nitrogen | ppb | 0.655 | 9.82 | 234 |  | 1 | 1 |  | 24.8 | 24.8 | 24.8 | -0.8 | PASS |  |  |  |  | 1 |  | 234 | 234 | 234 | -6.4 | PASS
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 10/100 | S4 | 1 | 1 | Total Phosphorus | ppb | 0.0324 | 0.551 | 8.51 | Total Nitrogen | ppb | 0.261 | 3.89 | 93.2 |  | 1 | 1 |  | 8.51 | 8.51 | 8.51 | [6 empty] | 1 |  | 93.2 | 93.2 | 93.2
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 5/50 | S5 | 1 | 1 | Total Phosphorus | ppb | 0.019 | 0.318 | 3.8 | Total Nitrogen | ppb | 0.13 | 1.97 | 48.1 |  | 1 | 1 |  | 3.8 | 3.8 | 3.8 | [6 empty] | 1 |  | 48.1 | 48.1 | 48.1
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 2.5/25 | S6 | 1 | 1 | Total Phosphorus | ppb | 0.0115 | 0.235 | 2.1 | Total Nitrogen | ppb | 0.0672 | 1.07 | 27.1 |  | 1 | 1 |  | 2.1 | 2.1 | 2.1 | [6 empty] | 1 |  | 27.1 | 27.1 | 27.1
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | chk std 0 | S7 | 1 | 1 | Total Phosphorus | ppb | 0.00487 | 0.0681 | -1.31 | Total Nitrogen | ppb | -0.004 | -0.0512 | 0.883 |  | 1 | 1 |  | -1.31 | -1.31 | -1.31 | [6 empty] | 1 |  | 0.883 | 0.883 | 0.883
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | nitrite | S9 | 1 | 1 | Total Phosphorus | ppb | 0.0533 | 0.677 | 11.1 | Total Nitrogen | ppb | 2.14 | 32.4 | 785 | 125.6173 | 1 | 1 |  | 11.1 | 11.1 | 11.1 | [6 empty] | 1 |  | 785 | 785 | 785
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 020 | 20 | 1 | 1 | Total Phosphorus | ppb | 0.056 | 1.15 | 20.5 | Total Nitrogen | ppb | 1.03 | 15.5 | 371 |  | 1.5 | 1 |  | 20.5 | 12.35 | 18.525 | [6 empty] | 1 |  | 371 | 64 | 96
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 025 | 25 | 1 | 1 | Total Phosphorus | ppb | 0.0429 | 0.695 | 11.4 | Total Nitrogen | ppb | 1.11 | 16.7 | 400 |  | 1.5 | 1 |  | 11.4 | 3.25 | 4.875 | [6 empty] | 1 |  | 400 | 93 | 139.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 037 | 37 | 1 | 1 | Total Phosphorus | ppb | 0.416 | 7.76 | 136 | Total Nitrogen | ppb | 2.47 | 37.4 | 912 |  | 1.5 | 1 |  | 136 | 127.85 | 191.775 | [6 empty] | 1 |  | 912 | 605 | 907.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 038 | 38 | 1 | 1 | Total Phosphorus | ppb | 0.0462 | 0.702 | 11.6 | Total Nitrogen | ppb | 1.28 | 19.3 | 462 |  | 1.5 | 1 |  | 11.6 | 3.45 | 5.175 | [6 empty] | 1 |  | 462 | 155 | 232.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 108 | 108 | 1 | 1 | Total Phosphorus | ppb | 0.066 | 1.44 | 26.3 | Total Nitrogen | ppb | 2.04 | 31 | 751 |  | 1.5 | 1 |  | 26.3 | 18.15 | 27.225 | [6 empty] | 1 |  | 751 | 444 | 666
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 028 | 28 | 1 | 1 | Total Phosphorus | ppb | 0.0704 | 1.45 | 26.4 | Total Nitrogen | ppb | 1.91 | 29.1 | 704 |  | 1.5 | 1 |  | 26.4 | 18.25 | 27.375 | [6 empty] | 1 |  | 704 | 397 | 595.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 059 | 59 | 1 | 1 | Total Phosphorus | ppb | 0.067 | 1.45 | 26.5 | Total Nitrogen | ppb | 1.47 | 22.5 | 540 |  | 1.5 | 1 |  | 26.5 | 18.35 | 27.525 | [6 empty] | 1 |  | 540 | 233 | 349.5

## Method Checks
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Column efficiency | DILUTION BY OXIDATION REAGENT | Analyst QUALITY CODE PO4-P: | Analyst NOTES: | PO4-P-- determined concentration | PO4-P-- blank corrected | PO4-P-- dilution corrected | PO4-P- % Error in check stds | PO4-P- DQO (<=20%) | PO4-P- RPD of duplicates | PO4-P- DQO (<=20% if conc>LOQ) | PO4-P- PR of spikes | PO4-P- DQO (80-120%) if conc>LOQ | Analyst QUALITY CODE PO4-P: | Analyst NOTES: | NO3-N-- determined concentration | NO3-N-- blank corrected | NO3-N-- dilution corrected | NO3-N- % Error in check stds | NO3-N- DQO (<=20%) | NO3-N- RPD of duplicates | NO3-N- DQO (<=20% if conc>LOQ) | NO3-N- PR of spikes | NO3-N- DQO (80-120%) if conc>LOQ
REAGENT BURDEN DIRECTLY MEASURED IN BLANKS:
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 001 | 1 | 1 | 1 | Total Phosphorus | ppb | 0.0436 | 0.653 | 10.6 | Total Nitrogen | ppb | 0.894 | 13.5 | 321 |  | 1.5 | 1 |  | 10.6 | 3.8 | 5.7 | [6 empty] | 1 |  | 321 | -58 | -87
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 002 | 2 | 1 | 1 | Total Phosphorus | ppb | 0.0394 | 0.587 | 9.24 | Total Nitrogen | ppb | 0.908 | 13.7 | 327 |  | 1.5 | 1 |  | 9.24 | 2.44 | 3.66 | [6 empty] | 1 |  | 327 | -52 | -78
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 003 | 3 | 1 | 1 | Total Phosphorus | ppb | 0.0383 | 0.648 | 10.5 | Total Nitrogen | ppb | 0.894 | 13.6 | 324 |  | 1.5 | 1 |  | 10.5 | 3.7 | 5.55 | [6 empty] | 1 |  | 324 | -55 | -82.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 004 | 4 | 1 | 1 | Total Phosphorus | ppb | 0.0456 | 0.704 | 11.6 | Total Nitrogen | ppb | 0.923 | 14 | 335 |  | 1.5 | 1 |  | 11.6 | 4.8 | 7.2 | [6 empty] | 1 |  | 335 | -44 | -66
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 005 | 5 | 1 | 1 | Total Phosphorus | ppb | 0.0409 | 0.633 | 10.2 | Total Nitrogen | ppb | 0.901 | 13.6 | 326 |  | 1.5 | 1 |  | 10.2 | 3.4 | 5.1 | [6 empty] | 1 |  | 326 | -53 | -79.5
[9 empty] | MEANS | 10.428 |  |  |  |  | 326.6 | [5 empty] | MEANS | 5.442 | [9 empty] | MEANS | -78.6
[9 empty] | SD | 0.8473 |  |  |  |  | 5.2249 | [5 empty] | SD | 1.271 | [9 empty] | SD | 7.8374
[9 empty] | CV | 8.1253 |  |  |  |  | 1.5998 | [5 empty] | CV | 23.3545 | [9 empty] | CV | -9.9713
REAGENT BURDEN FROM STANDARD ADDITION:
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 006 | 6 | 1 | 1 | Total Phosphorus | ppb | 0.0367 | 0.648 | 10.5 | Total Nitrogen | ppb | 0.89 | 13.6 | 324 |  | 1.5 | 1 |  | 10.5 | 3.7 | 5.55 | [6 empty] | 1 |  | 324 | -55 | -82.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 007 | 7 | 1 | 1 | Total Phosphorus | ppb | 0.0426 | 0.701 | 11.5 | Total Nitrogen | ppb | 0.951 | 14.4 | 345 |  | 1.5 | 1 |  | 11.5 | 4.7 | 7.05 | [6 empty] | 1 |  | 345 | -34 | -51
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 008 | 8 | 1 | 1 | Total Phosphorus | ppb | 0.0423 | 0.623 | 9.97 | Total Nitrogen | ppb | 0.976 | 14.9 | 355 |  | 1.5 | 1 |  | 9.97 | 3.17 | 4.755 | [6 empty] | 1 |  | 355 | -24 | -36
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 009 | 9 | 1 | 1 | Total Phosphorus | ppb | 0.0376 | 0.618 | 9.86 | Total Nitrogen | ppb | 1.08 | 16.4 | 392 |  | 1.5 | 1 |  | 9.86 | 3.06 | 4.59 | [6 empty] | 1 |  | 392 | 13 | 19.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 010 | 10 | 1 | 1 | Total Phosphorus | ppb | 0.0586 | 1.54 | 28.1 | Total Nitrogen | ppb | 1.35 | 20.5 | 492 |  | 1.5 | 1 |  | 28.1 | 21.3 | 31.95 | [6 empty] | 1 |  | 492 | 113 | 169.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 011 | 11 | 1 | 1 | Total Phosphorus | ppb | 0.0933 | 2.01 | 37.3 | Total Nitrogen | ppb | 1.79 | 27.3 | 659 |  | 1.5 | 1 |  | 37.3 | 30.5 | 45.75 | [6 empty] | 1 |  | 659 | 280 | 420
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 012 | 12 | 1 | 1 | Total Phosphorus | ppb | 0.182 | 3.45 | 64.3 | Total Nitrogen | ppb | 2.66 | 40.6 | 994 |  | 1.5 | 1 |  | 64.3 | 57.5 | 86.25 | [6 empty] | 1 |  | 994 | 615 | 922.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 013 | 13 | 1 | 1 | Total Phosphorus | ppb | 0.307 | 5.88 | 107 | Total Nitrogen | ppb | 3.63 | 55.7 | 1380 |  | 1.5 | 1 |  | 107 | 100.2 | 150.3 | [6 empty] | 1 |  | 1380 | 1001 | 1501.5
[7 empty] | uL added | P addition in ppb | P signal | N addition in ppb | N signal
[7 empty] | 0 | 0 | 0.648 | 0 | 13.6
[7 empty] | 25 | 1.6639 | 0.701 | 16.6389 | 14.4
[7 empty] | 50 | 3.3223 | 0.623 | 33.2226 | 14.9
[7 empty] | 100 | 6.6225 | 0.618 | 66.2252 | 16.4
[7 empty] | 250 | 16.3934 | 1.54 | 163.9344 | 20.5
[7 empty] | 500 | 32.2581 | 2.01 | 322.5806 | 27.3
[7 empty] | 1000 | 62.5 | 3.45 | 625 | 40.6
[7 empty] | 1500 | 90.9091 | 5.88 | 909.0909 | 55.7
Regression
[8 empty] | intercept | 0.45215 |  | 13.2578
[8 empty] | slope | 0.055473 |  | 0.043137
Calculation of burden
[9 empty] | 8.1508 |  | 307.3407
DIGESTION CHECK - is organic material completely converted to inorganic?
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 014 | 14 | 1 | 1 | Total Phosphorus | ppb | 0.0803 | 1.78 | 32.8 | Total Nitrogen | ppb | 1.56 | 23.7 | 570 |  | 1.5 | 1 |  | 32.8 | 26 | 39 | [6 empty] | 1 |  | 570 | 191 | 286.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 015 | 15 | 1 | 1 | Total Phosphorus | ppb | 0.079 | 1.76 | 32.4 | Total Nitrogen | ppb | 1.59 | 24.3 | 585 |  | 1.5 | 1 |  | 32.4 | 25.6 | 38.4 | [6 empty] | 1 |  | 585 | 206 | 309
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 016 | 16 | 1 | 1 | Total Phosphorus | ppb | 0.0794 | 1.61 | 29.4 | Total Nitrogen | ppb | 1.56 | 23.8 | 574 |  | 1.5 | 1 |  | 29.4 | 22.6 | 33.9 | [6 empty] | 1 |  | 574 | 195 | 292.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 017 | 17 | 1 | 1 | Total Phosphorus | ppb | 0.0843 | 1.98 | 36.6 | Total Nitrogen | ppb | 1.56 | 23.7 | 570 |  | 1.5 | 1 |  | 36.6 | 29.8 | 44.7 | [6 empty] | 1 |  | 570 | 191 | 286.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | Sample 018 | 18 | 1 | 1 | Total Phosphorus | ppb | 0.0784 | 1.76 | 32.5 | Total Nitrogen | ppb | 1.59 | 24.2 | 582 |  | 1.5 | 1 |  | 32.5 | 25.7 | 38.55 | [6 empty] | 1 |  | 582 | 203 | 304.5
[21 empty] | Known Conc | 40 | [9 empty] | Known Conc | 400
[21 empty] | MEANS | 38.91 | [9 empty] | MEANS | 295.8
[21 empty] | SD | 3.8413 | [9 empty] | SD | 10.4139
[21 empty] | CV | 9.8722 | [9 empty] | CV | 3.5206
[21 empty] | % error | -2.725 | [9 empty] | % error | -26.05
[21 empty] | PR | 97.275 | [9 empty] | PR | 73.95
MDL for instrument only-repeated analyses of low standard
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | MDL at 2.5 25 ppb | S6 | 1 | 1 | Total Phosphorus | ppb | 0.0396 | 0.333 | 4.1 | Total Nitrogen | ppb | 0.0686 | 1.02 | 26 |  | 1 | 1 |  | 4.1 | 4.1 | 4.1 | [6 empty] | 1 |  | 26 | 26 | 26
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | MDL at 2.5 25 ppb | S6 | 1 | 1 | Total Phosphorus | ppb | 0.0105 | 0.181 | 0.997 | Total Nitrogen | ppb | 0.0677 | 1.05 | 26.5 |  | 1 | 1 |  | 0.997 | 0.997 | 0.997 | [6 empty] | 1 |  | 26.5 | 26.5 | 26.5
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | MDL at 2.5 25 ppb | S6 | 1 | 1 | Total Phosphorus | ppb | 0.0117 | 0.222 | 1.85 | Total Nitrogen | ppb | 0.0857 | 1.84 | 45 |  | 1 | 1 |  | 1.85 | 1.85 | 1.85 | [6 empty] | 1 |  | 45 | 45 | 45
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | MDL at 2.5 25 ppb | S6 | 1 | 1 | Total Phosphorus | ppb | 1.22 | 1.85 | 34.2 | Total Nitrogen | ppb | 0.0275 | 0.328 | 9.74 |  | 1 | 1 |  | 34.2 | 34.2 | 34.2 | [6 empty] | 1 |  | 9.74 | 9.74 | 9.74
2020-03-02 | OM_3-2-2020_01-12-06PM.OMN | MDL at 2.5 25 ppb | S6 | 1 | 1 | Total Phosphorus | ppb | 0.0146 | 0.25 | 2.41 | Total Nitrogen | ppb | 0.0648 | 0.989 | 25.2 |  | 1 | 1 |  | 2.41 | 2.41 | 2.41 | [6 empty] | 1 |  | 25.2 | 25.2 | 25.2
[9 empty] | Known Conc | 2.5 |  |  |  | Known Conc | 25
[9 empty] | Mean | 18.305 |  |  |  | Mean | 17.47
[9 empty] | Std Dev | 22.4789 |  |  |  | Std Dev | 10.9319
[9 empty] | CV or %RSD | 122.8021 |  |  |  | CV or %RSD | 62.5751
[9 empty] | T value | 3.1427 |  |  |  | T value | 3.1427
[9 empty] | MDL | 70.6438 |  |  |  | MDL | 34.3552
[9 empty] | LOQ | 224.7892 |  |  |  | LOQ | 109.3187
[9 empty] | Error as % | 632.2 |  |  |  | Error as % | -30.12
[9 empty] | Known/MDL | 0.035389 |  |  |  | Known/MDL | 0.72769
[9 empty] | Mean PR | 732.2 |  |  |  | Mean PR | 69.88
[9 empty] | S/N | 0.81432 |  |  |  | S/N | 1.5981