## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | BRN20240409_01.gcd | 2024-04-09 10:12 | QC outside air | Unknown | 0 | 6.118 | 2014 | 0.002 | ----- | ----- | ----- | ----- | 48 | BRN20240409_01.gcd | 2024-04-09 10:12 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN20240409_01.gcd | 2024-04-09 10:12 | QC outside air | Unknown | 0 | 12.269 | 1794 | 0.357 | ----- | ----- | ----- | ----- | 1 |  | 1 | 1.3611 | 401.6775 | 0.74947 | 339.1025 | 0.46585 | 267.0377 | 5.3136 | 414.5481 | 1.3611 | 401.6775 | 48 | BRN20240409_01.gcd | 2024-04-09 10:12 | QC outside air | Unknown | 0 | 2.728 | 5088937 | 0 | ----- | ----- | ----- | -----
49 | BRN20240409_02.gcd | 2024-04-09 10:42 | QC spiked air green cap | Unknown | 0 | 6.096 | 1749 | 0.001 | ----- | ----- | ----- | ----- | 49 | BRN20240409_02.gcd | 2024-04-09 10:42 | QC spiked air green cap | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN20240409_02.gcd | 2024-04-09 10:42 | QC spiked air green cap | Unknown | 0 | 12.249 | 1515 | 0.296 | ----- | ----- | ----- | ----- | 2 | not spiked- just air | 2 | 0.65409 | 344.5377 | -0.20584 | 285.7727 | 0.099713 | 209.3919 | 6.0379 | 346.8931 | 0.65409 | 344.5377 | 49 | BRN20240409_02.gcd | 2024-04-09 10:42 | QC spiked air green cap | Unknown | 0 | 2.726 | 5019415 | 0 | ----- | ----- | ----- | -----
50 | BRN20240409_03.gcd | 2024-04-09 11:13 | QC reference tank | Unknown | 0 | 6.037 | 3035 | 0.004 | ----- | ----- | ----- | ----- | 50 | BRN20240409_03.gcd | 2024-04-09 11:13 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN20240409_03.gcd | 2024-04-09 11:13 | QC reference tank | Unknown | 0 | 12.252 | 1430 | 0.277 | ----- | ----- | ----- | ----- | 1 |  | 3 | 4.1602 | 327.1277 | 4.354 | 269.5247 | 2.0673 | 191.8288 | 3.2323 | 326.2673 | 4.1602 | 327.1277 | 50 | BRN20240409_03.gcd | 2024-04-09 11:13 | QC reference tank | Unknown | 0 | 2.723 | 5160993 | 0 | ----- | ----- | ----- | -----
51 | BRN20240409_04.gcd | 2024-04-09 11:44 | 77 | Unknown | 0 | 6.007 | 8392 | 0.018 | ----- | ----- | ----- | ----- | 51 | BRN20240409_04.gcd | 2024-04-09 11:44 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN20240409_04.gcd | 2024-04-09 11:44 | 77 | Unknown | 0 | 12.177 | 8709 | 1.878 | ----- | ----- | ----- | ----- | 1 |  | 4 | 20.7987 | 1814.9094 | 21.2864 | 1660.0695 | 15.4343 | 1694.5147 | 10.762 | 2068.6823 | 20.7987 | 1814.9094 | 51 | BRN20240409_04.gcd | 2024-04-09 11:44 | 77 | Unknown | 0 | 2.85 | 957550 | 0 | ----- | ----- | ----- | -----
52 | BRN20240409_05.gcd | 2024-04-09 12:15 | 282 | Unknown | 0 | 6.03 | 13167 | 0.03 | ----- | ----- | ----- | ----- | 52 | BRN20240409_05.gcd | 2024-04-09 12:15 | 282 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN20240409_05.gcd | 2024-04-09 12:15 | 282 | Unknown | 0 | 12.207 | 7157 | 1.537 | ----- | ----- | ----- | ----- | 1 |  | 5 | 33.8001 | 1498.2219 | 34.263 | 1363.7275 | 28.4322 | 1374.3447 | 29.3738 | 1701.2253 | 33.8001 | 1498.2219 | 52 | BRN20240409_05.gcd | 2024-04-09 12:15 | 282 | Unknown | 0 | 2.88 | 817110 | 0 | ----- | ----- | ----- | -----
53 | BRN20240409_06.gcd | 2024-04-09 12:45 | 259 | Unknown | 0 | 6.016 | 6096 | 0.012 | ----- | ----- | ----- | ----- | 53 | BRN20240409_06.gcd | 2024-04-09 12:45 | 259 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN20240409_06.gcd | 2024-04-09 12:45 | 259 | Unknown | 0 | 12.164 | 18687 | 4.061 | ----- | ----- | ----- | ----- | 1 |  | 6 | 13.2659 | 3844.0526 | 14.4365 | 3563.4183 | 8.6841 | 3749.9912 | 3.7396 | 4378.6361 | 13.2659 | 3844.0526 | 53 | BRN20240409_06.gcd | 2024-04-09 12:45 | 259 | Unknown | 0 | 2.862 | 741999 | 0 | ----- | ----- | ----- | -----
54 | BRN20240409_07.gcd | 2024-04-09 13:16 | 49 | Unknown | 0 | 6.026 | 7701 | 0.016 | ----- | ----- | ----- | ----- | 54 | BRN20240409_07.gcd | 2024-04-09 13:16 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN20240409_07.gcd | 2024-04-09 13:16 | 49 | Unknown | 0 | 12.197 | 7701 | 1.657 | ----- | ----- | ----- | ----- | 1 |  | 7 | 18.4683 | 1609.2585 | 19.2892 | 1467.6089 | 13.2416 | 1486.5832 | 8.0497 | 1830.2748 | 18.4683 | 1609.2585 | 54 | BRN20240409_07.gcd | 2024-04-09 13:16 | 49 | Unknown | 0 | 2.878 | 789491 | 0 | ----- | ----- | ----- | -----
55 | BRN20240409_08.gcd | 2024-04-09 13:47 | 287 | Unknown | 0 | 6.015 | 4362 | 0.008 | ----- | ----- | ----- | ----- | 55 | BRN20240409_08.gcd | 2024-04-09 13:47 | 287 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN20240409_08.gcd | 2024-04-09 13:47 | 287 | Unknown | 0 | 12.146 | 26483 | 5.758 | ----- | ----- | ----- | ----- | 1 |  | 8 | 7.9762 | 5421.1743 | 8.8583 | 5048.2877 | 4.6015 | 5352.4377 | 2.2097 | 6120.2466 | 7.9762 | 5421.1743 | 55 | BRN20240409_08.gcd | 2024-04-09 13:47 | 287 | Unknown | 0 | 2.857 | 806995 | 0 | ----- | ----- | ----- | -----
56 | BRN20240409_09.gcd | 2024-04-09 14:17 | 399 | Unknown | 0 | 6.029 | 6835 | 0.014 | ----- | ----- | ----- | ----- | 56 | BRN20240409_09.gcd | 2024-04-09 14:17 | 399 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN20240409_09.gcd | 2024-04-09 14:17 | 399 | Unknown | 0 | 12.193 | 9288 | 2.005 | ----- | ----- | ----- | ----- | 1 |  | 9 | 15.6247 | 1932.9812 | 16.7079 | 1770.6049 | 10.6896 | 1813.9281 | 5.3785 | 2205.2056 | 15.6247 | 1932.9812 | 56 | BRN20240409_09.gcd | 2024-04-09 14:17 | 399 | Unknown | 0 | 2.881 | 779068 | 0 | ----- | ----- | ----- | -----
57 | BRN20240409_10.gcd | 2024-04-09 14:48 | 232 | Unknown | 0 | 6.032 | 6443 | 0.013 | ----- | ----- | ----- | ----- | 57 | BRN20240409_10.gcd | 2024-04-09 14:48 | 232 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN20240409_10.gcd | 2024-04-09 14:48 | 232 | Unknown | 0 | 12.194 | 11369 | 2.461 | ----- | ----- | ----- | ----- | 1 |  | 10 | 14.3657 | 2357.0156 | 15.511 | 2167.7931 | 9.606 | 2242.9737 | 4.4357 | 2693.3632 | 14.3657 | 2357.0156 | 57 | BRN20240409_10.gcd | 2024-04-09 14:48 | 232 | Unknown | 0 | 2.874 | 885911 | 0 | ----- | ----- | ----- | -----
58 | BRN20240409_11.gcd | 2024-04-09 15:19 | 304 | Unknown | 0 | 6.029 | 6909 | 0.014 | ----- | ----- | ----- | ----- | 58 | BRN20240409_11.gcd | 2024-04-09 15:19 | 304 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN20240409_11.gcd | 2024-04-09 15:19 | 304 | Unknown | 0 | 12.199 | 6570 | 1.408 | ----- | ----- | ----- | ----- | 1 |  | 11 | 15.8643 | 1378.3687 | 16.9319 | 1251.6241 | 10.8991 | 1253.2174 | 5.5751 | 1561.6725 | 15.8643 | 1378.3687 | 58 | BRN20240409_11.gcd | 2024-04-09 15:19 | 304 | Unknown | 0 | 2.879 | 806106 | 0 | ----- | ----- | ----- | -----
59 | BRN20240409_12.gcd | 2024-04-09 15:50 | 104 | Unknown | 0 | 6.042 | 3008 | 0.004 | ----- | ----- | ----- | ----- | 59 | BRN20240409_12.gcd | 2024-04-09 15:50 | 104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN20240409_12.gcd | 2024-04-09 15:50 | 104 | Unknown | 0 | 12.162 | 38617 | 8.383 | ----- | ----- | ----- | ----- | 1 |  | 12 | 4.0846 | 7861.4069 | 4.2602 | 7355.4643 | 2.0211 | 7840.3766 | 3.2728 | 8720.6585 | 4.0846 | 7861.4069 | 59 | BRN20240409_12.gcd | 2024-04-09 15:50 | 104 | Unknown | 0 | 2.878 | 811738 | 0 | ----- | ----- | ----- | -----
60 | BRN20240409_13.gcd | 2024-04-09 16:20 | 323 | Unknown | 0 | 6.021 | 3154 | 0.005 | ----- | ----- | ----- | ----- | 60 | BRN20240409_13.gcd | 2024-04-09 16:20 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN20240409_13.gcd | 2024-04-09 16:20 | 323 | Unknown | 0 | 12.137 | 39620 | 8.6 | ----- | ----- | ----- | ----- | 1 |  | 13 | 4.4942 | 8062.3293 | 4.7663 | 7545.962 | 2.2737 | 8045.6941 | 3.063 | 8929.5996 | 4.4942 | 8062.3293 | 60 | BRN20240409_13.gcd | 2024-04-09 16:20 | 323 | Unknown | 0 | 2.857 | 853354 | 0 | ----- | ----- | ----- | -----
61 | BRN20240409_14.gcd | 2024-04-09 16:51 | 381 | Unknown | 0 | 6.028 | 13624 | 0.031 | ----- | ----- | ----- | ----- | 61 | BRN20240409_14.gcd | 2024-04-09 16:51 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN20240409_14.gcd | 2024-04-09 16:51 | 381 | Unknown | 0 | 12.203 | 7477 | 1.608 | ----- | ----- | ----- | ----- | 1 |  | 14 | 35.1214 | 1563.5418 | 35.4657 | 1424.8354 | 29.5042 | 1440.3692 | 30.7451 | 1777.1695 | 35.1214 | 1563.5418 | 61 | BRN20240409_14.gcd | 2024-04-09 16:51 | 381 | Unknown | 0 | 2.879 | 843569 | 0 | ----- | ----- | ----- | -----
62 | BRN20240409_15.gcd | 2024-04-09 17:22 | 313 | Unknown | 0 | 6.005 | 6687 | 0.013 | ----- | ----- | ----- | ----- | 62 | BRN20240409_15.gcd | 2024-04-09 17:22 | 313 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN20240409_15.gcd | 2024-04-09 17:22 | 313 | Unknown | 0 | 12.159 | 19734 | 4.29 | ----- | ----- | ----- | ----- | 1 |  | 15 | 15.1473 | 4056.282 | 16.2581 | 3762.9507 | 10.2752 | 3965.3795 | 5.0031 | 4615.7566 | 15.1473 | 4056.282 | 62 | BRN20240409_15.gcd | 2024-04-09 17:22 | 313 | Unknown | 0 | 2.85 | 923961 | 0 | ----- | ----- | ----- | -----
63 | BRN20240409_16.gcd | 2024-04-09 17:52 | 270 | Unknown | 0 | 6.021 | 114927 | 0.286 | ----- | ----- | ----- | ----- | 63 | BRN20240409_16.gcd | 2024-04-09 17:52 | 270 | Unknown | 0 | 5.968 | 1396 | 0.446 | ----- | ----- | ----- | ----- | 63 | BRN20240409_16.gcd | 2024-04-09 17:52 | 270 | Unknown | 0 | 12.094 | 100503 | 21.492 | ----- | ----- | ----- | ----- | 1 |  | 16 | 325.0378 | 19940.3454 | 300.8247 | 19048.0757 | 266.3148 | 20412.4963 | 318.4735 | 22704.4682 | 325.0378 | 19940.3454 | 63 | BRN20240409_16.gcd | 2024-04-09 17:52 | 270 | Unknown | 0 | 2.884 | 717577 | 0 | ----- | ----- | ----- | -----
64 | BRN20240409_17.gcd | 2024-04-09 18:23 | 128 | Unknown | 0 | 6.022 | 115199 | 0.287 | ----- | ----- | ----- | ----- | 64 | BRN20240409_17.gcd | 2024-04-09 18:23 | 128 | Unknown | 0 | 5.962 | 1372 | 0.439 | ----- | ----- | ----- | ----- | 64 | BRN20240409_17.gcd | 2024-04-09 18:23 | 128 | Unknown | 0 | 12.101 | 101859 | 21.774 | ----- | ----- | ----- | ----- | 1 |  | 17 | 325.8083 | 20213.4943 | 301.5338 | 19302.8811 | 266.9484 | 20685.7788 | 319.2025 | 23029.1263 | 325.8083 | 20213.4943 | 64 | BRN20240409_17.gcd | 2024-04-09 18:23 | 128 | Unknown | 0 | 2.882 | 735637 | 0 | ----- | ----- | ----- | -----
65 | BRN20240409_18.gcd | 2024-04-09 18:54 | 266 | Unknown | 0 | 6.04 | 3252 | 0.005 | ----- | ----- | ----- | ----- | 65 | BRN20240409_18.gcd | 2024-04-09 18:54 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN20240409_18.gcd | 2024-04-09 18:54 | 266 | Unknown | 0 | 12.165 | 35793 | 7.774 | ----- | ----- | ----- | ----- | 1 |  | 18 | 4.7704 | 7295.0529 | 5.1045 | 6818.9323 | 2.4467 | 7262.0184 | 2.935 | 8127.4446 | 4.7704 | 7295.0529 | 65 | BRN20240409_18.gcd | 2024-04-09 18:54 | 266 | Unknown | 0 | 2.879 | 842783 | 0 | ----- | ----- | ----- | -----
66 | BRN20240409_19.gcd | 2024-04-09 19:25 | 371 | Unknown | 0 | 6.034 | 4439 | 0.008 | ----- | ----- | ----- | ----- | 66 | BRN20240409_19.gcd | 2024-04-09 19:25 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN20240409_19.gcd | 2024-04-09 19:25 | 371 | Unknown | 0 | 12.176 | 26452 | 5.751 | ----- | ----- | ----- | ----- | 1 |  | 19 | 8.2038 | 5414.9174 | 9.1134 | 5042.3871 | 4.7642 | 5346.0718 | 2.2087 | 6113.431 | 8.2038 | 5414.9174 | 66 | BRN20240409_19.gcd | 2024-04-09 19:25 | 371 | Unknown | 0 | 2.878 | 831435 | 0 | ----- | ----- | ----- | -----
67 | BRN20240409_20.gcd | 2024-04-09 19:55 | 80 | Unknown | 0 | 6.021 | 4512 | 0.008 | ----- | ----- | ----- | ----- | 67 | BRN20240409_20.gcd | 2024-04-09 19:55 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN20240409_20.gcd | 2024-04-09 19:55 | 80 | Unknown | 0 | 12.119 | 40428 | 8.774 | ----- | ----- | ----- | ----- | 1 |  | 20 | 8.4202 | 8224.1015 | 9.3546 | 7699.3999 | 4.9201 | 8211.0571 | 2.2137 | 9097.2516 | 8.4202 | 8224.1015 | 67 | BRN20240409_20.gcd | 2024-04-09 19:55 | 80 | Unknown | 0 | 2.817 | 1600471 | 0 | ----- | ----- | ----- | -----
68 | BRN20240409_21.gcd | 2024-04-09 20:26 | 103 | Unknown | 0 | 6.006 | 7970 | 0.017 | ----- | ----- | ----- | ----- | 68 | BRN20240409_21.gcd | 2024-04-09 20:26 | 103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN20240409_21.gcd | 2024-04-09 20:26 | 103 | Unknown | 0 | 12.157 | 13311 | 2.887 | ----- | ----- | ----- | ----- | 1 |  | 21 | 19.369 | 2752.2595 | 20.0733 | 2538.3242 | 14.0787 | 2643.162 | 9.0442 | 3145.351 | 19.369 | 2752.2595 | 68 | BRN20240409_21.gcd | 2024-04-09 20:26 | 103 | Unknown | 0 | 2.835 | 1193956 | 0 | ----- | ----- | ----- | -----