## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI 20240430_001.gcd | 2024-04-30 11:05 | QC outside air | Unknown | 0 | 6.096 | 2233 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI 20240430_001.gcd | 2024-04-30 11:05 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI 20240430_001.gcd | 2024-04-30 11:05 | QC outside air | Unknown | 0 | 12.248 | 1913 | 0.383 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.9515 | 426.0462 | 1.5328 | 361.8481 | 0.78384 | 291.6237 | 4.7724 | 443.3829 | 1.9515 | 426.0462 | 48 | FMI 20240430_001.gcd | 2024-04-30 11:05 | QC outside air | Unknown | 0 | 2.699 | 5321656 | 0 | ----- | ----- | ----- | -----
49 | FMI 20240430_002.gcd | 2024-04-30 11:35 | QC spiked air | Unknown | 0 | 6.02 | 1083367 | 2.731 | ----- | ----- | ----- | ----- | 49 | FMI 20240430_002.gcd | 2024-04-30 11:35 | QC spiked air | Unknown | 0 | 5.974 | 8841 | 2.634 | ----- | ----- | ----- | ----- | 49 | FMI 20240430_002.gcd | 2024-04-30 11:35 | QC spiked air | Unknown | 0 | 12.218 | 8200 | 1.766 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2471.3786 | 1711.079 | 2551.3637 | 1562.8887 | 2409.8963 | 1589.524 | 2234.0015 | 1948.4118 | 2471.3786 | 1711.079 | 49 | FMI 20240430_002.gcd | 2024-04-30 11:35 | QC spiked air | Unknown | 0 | 2.73 | 4864752 | 0 | ----- | ----- | ----- | -----
50 | FMI 20240430_003.gcd | 2024-04-30 12:06 | QC reference tank | Unknown | 0 | 6.046 | 3577 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI 20240430_003.gcd | 2024-04-30 12:06 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI 20240430_003.gcd | 2024-04-30 12:06 | QC reference tank | Unknown | 0 | 12.218 | 1787 | 0.356 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.6945 | 400.244 | 6.2184 | 337.7645 | 3.0405 | 265.5914 | 2.5849 | 412.8515 | 5.6945 | 400.244 | 50 | FMI 20240430_003.gcd | 2024-04-30 12:06 | QC reference tank | Unknown | 0 | 2.734 | 4884767 | 0 | ----- | ----- | ----- | -----
51 | FMI 20240430_004.gcd | 2024-04-30 12:37 | 373 | Unknown | 0 | 6.012 | 2560 | 0.003 | ----- | ----- | ----- | ----- | 51 | FMI 20240430_004.gcd | 2024-04-30 12:37 | 373 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI 20240430_004.gcd | 2024-04-30 12:37 | 373 | Unknown | 0 | 12.118 | 62619 | 13.522 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.8432 | 12273.3747 | 2.6921 | 11905.1371 | 1.2846 | 12739.5798 | 4.0605 | 13573.3517 | 2.8432 | 12273.3747 | 51 | FMI 20240430_004.gcd | 2024-04-30 12:37 | 373 | Unknown | 0 | 2.852 | 894521 | 0 | ----- | ----- | ----- | -----
52 | FMI 20240430_005.gcd | 2024-04-30 13:08 | 223 | Unknown | 0 | 6.034 | 4584 | 0.008 | ----- | ----- | ----- | ----- | 52 | FMI 20240430_005.gcd | 2024-04-30 13:08 | 223 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI 20240430_005.gcd | 2024-04-30 13:08 | 223 | Unknown | 0 | 12.191 | 23323 | 5.071 | ----- | ----- | ----- | ----- | 1 |  | 52 | 8.6342 | 4782.7861 | 9.5919 | 4446.6548 | 5.0754 | 4703.2822 | 2.2243 | 5420.9908 | 8.6342 | 4782.7861 | 52 | FMI 20240430_005.gcd | 2024-04-30 13:08 | 223 | Unknown | 0 | 2.887 | 688406 | 0 | ----- | ----- | ----- | -----
53 | FMI 20240430_006.gcd | 2024-04-30 13:39 | 201 | Unknown | 0 | 6.013 | 2693 | 0.003 | ----- | ----- | ----- | ----- | 53 | FMI 20240430_006.gcd | 2024-04-30 13:39 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI 20240430_006.gcd | 2024-04-30 13:39 | 201 | Unknown | 0 | 12.116 | 64847 | 13.996 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.2093 | 12726.1867 | 3.1601 | 12326.5129 | 1.4971 | 13192.8599 | 3.8041 | 14113.6119 | 3.2093 | 12726.1867 | 53 | FMI 20240430_006.gcd | 2024-04-30 13:39 | 201 | Unknown | 0 | 2.86 | 754076 | 0 | ----- | ----- | ----- | -----
54 | FMI 20240430_007.gcd | 2024-04-30 14:09 | 357 | Unknown | 0 | 6.029 | 90173 | 0.224 | ----- | ----- | ----- | ----- | 54 | FMI 20240430_007.gcd | 2024-04-30 14:09 | 357 | Unknown | 0 | 5.967 | 1059 | 0.347 | ----- | ----- | ----- | ----- | 54 | FMI 20240430_007.gcd | 2024-04-30 14:09 | 357 | Unknown | 0 | 12.143 | 66320 | 14.308 | ----- | ----- | ----- | ----- | 1 |  | 54 | 254.7422 | 13025.4238 | 236.2117 | 12605.009 | 208.6013 | 13492.3983 | 251.1536 | 14470.5718 | 254.7422 | 13025.4238 | 54 | FMI 20240430_007.gcd | 2024-04-30 14:09 | 357 | Unknown | 0 | 2.859 | 1273955 | 0 | ----- | ----- | ----- | -----
55 | FMI 20240430_008.gcd | 2024-04-30 14:40 | 206 | Unknown | 0 | 6.029 | 5278 | 0.01 | ----- | ----- | ----- | ----- | 55 | FMI 20240430_008.gcd | 2024-04-30 14:40 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI 20240430_008.gcd | 2024-04-30 14:40 | 206 | Unknown | 0 | 12.189 | 24988 | 5.433 | ----- | ----- | ----- | ----- | 1 |  | 55 | 10.7277 | 5119.3009 | 11.8485 | 4763.6949 | 6.6493 | 5045.3849 | 2.6133 | 5790.5631 | 10.7277 | 5119.3009 | 55 | FMI 20240430_008.gcd | 2024-04-30 14:40 | 206 | Unknown | 0 | 2.878 | 858968 | 0 | ----- | ----- | ----- | -----
56 | FMI 20240430_009.gcd | 2024-04-30 15:11 | 405 | Unknown | 0 | 6.032 | 3363 | 0.005 | ----- | ----- | ----- | ----- | 56 | FMI 20240430_009.gcd | 2024-04-30 15:11 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI 20240430_009.gcd | 2024-04-30 15:11 | 405 | Unknown | 0 | 12.168 | 40044 | 8.691 | ----- | ----- | ----- | ----- | 1 |  | 56 | 5.0847 | 8147.2294 | 5.4863 | 7626.4815 | 2.6461 | 8132.4729 | 2.8026 | 9017.6496 | 5.0847 | 8147.2294 | 56 | FMI 20240430_009.gcd | 2024-04-30 15:11 | 405 | Unknown | 0 | 2.874 | 917161 | 0 | ----- | ----- | ----- | -----
57 | FMI 20240430_010.gcd | 2024-04-30 15:42 | 73 | Unknown | 0 | 6.014 | 2480 | 0.003 | ----- | ----- | ----- | ----- | 57 | FMI 20240430_010.gcd | 2024-04-30 15:42 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI 20240430_010.gcd | 2024-04-30 15:42 | 73 | Unknown | 0 | 12.12 | 66187 | 14.28 | ----- | ----- | ----- | ----- | 1 |  | 57 | 2.6239 | 12998.4094 | 2.4096 | 12579.8659 | 1.1592 | 13465.357 | 4.224 | 14438.3485 | 2.6239 | 12998.4094 | 57 | FMI 20240430_010.gcd | 2024-04-30 15:42 | 73 | Unknown | 0 | 2.847 | 1091710 | 0 | ----- | ----- | ----- | -----
58 | FMI 20240430_011.gcd | 2024-04-30 16:13 | 379 | Unknown | 0 | 6.035 | 25041 | 0.06 | ----- | ----- | ----- | ----- | 58 | FMI 20240430_011.gcd | 2024-04-30 16:13 | 379 | Unknown | 0 | 6.038 | 561 | 0.2 | ----- | ----- | ----- | ----- | 58 | FMI 20240430_011.gcd | 2024-04-30 16:13 | 379 | Unknown | 0 | 12.219 | 5334 | 1.137 | ----- | ----- | ----- | ----- | 1 |  | 58 | 68.0918 | 1125.8686 | 65.4961 | 1015.5402 | 56.2758 | 998.1117 | 64.7909 | 1266.7992 | 68.0918 | 1125.8686 | 58 | FMI 20240430_011.gcd | 2024-04-30 16:13 | 379 | Unknown | 0 | 2.873 | 1134030 | 0 | ----- | ----- | ----- | -----
59 | FMI 20240430_012.gcd | 2024-04-30 16:43 | 243 | Unknown | 0 | 6.032 | 17090 | 0.04 | ----- | ----- | ----- | ----- | 59 | FMI 20240430_012.gcd | 2024-04-30 16:43 | 243 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI 20240430_012.gcd | 2024-04-30 16:43 | 243 | Unknown | 0 | 12.218 | 2053 | 0.414 | ----- | ----- | ----- | ----- | 1 |  | 59 | 45.1386 | 454.713 | 44.5857 | 388.6071 | 37.6338 | 320.5475 | 41.1243 | 477.2896 | 45.1386 | 454.713 | 59 | FMI 20240430_012.gcd | 2024-04-30 16:43 | 243 | Unknown | 0 | 2.867 | 1184334 | 0 | ----- | ----- | ----- | -----
60 | FMI 20240430_013.gcd | 2024-04-30 17:14 | 120 | Unknown | 0 | 6.157 | 25698 | 0.061 | ----- | ----- | ----- | ----- | 60 | FMI 20240430_013.gcd | 2024-04-30 17:14 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI 20240430_013.gcd | 2024-04-30 17:14 | 120 | Unknown | 0 | 12.334 | 5748 | 1.227 | ----- | ----- | ----- | ----- | 1 |  | 60 | 69.9868 | 1210.4642 | 67.2233 | 1094.6224 | 57.8157 | 1083.5684 | 66.7376 | 1365.7227 | 69.9868 | 1210.4642 | 60 | FMI 20240430_013.gcd | 2024-04-30 17:14 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | -----
61 | FMI 20240430_014.gcd | 2024-04-30 17:45 | 375 | Unknown | 0 | 6.042 | 2130 | 0.002 | ----- | ----- | ----- | ----- | 61 | FMI 20240430_014.gcd | 2024-04-30 17:45 | 375 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI 20240430_014.gcd | 2024-04-30 17:45 | 375 | Unknown | 0 | 12.148 | 62056 | 13.402 | ----- | ----- | ----- | ----- | 1 |  | 61 | 1.6731 | 12158.9145 | 1.1651 | 11798.6328 | 0.63255 | 12624.999 | 5.0205 | 13436.7675 | 1.6731 | 12158.9145 | 61 | FMI 20240430_014.gcd | 2024-04-30 17:45 | 375 | Unknown | 0 | 2.874 | 925344 | 0 | ----- | ----- | ----- | -----
62 | FMI 20240430_015.gcd | 2024-04-30 18:16 | 274 | Unknown | 0 | 6.03 | 22760 | 0.054 | ----- | ----- | ----- | ----- | 62 | FMI 20240430_015.gcd | 2024-04-30 18:16 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI 20240430_015.gcd | 2024-04-30 18:16 | 274 | Unknown | 0 | 12.203 | 5688 | 1.214 | ----- | ----- | ----- | ----- | 1 |  | 62 | 61.5106 | 1198.2053 | 59.4989 | 1083.1615 | 50.9288 | 1071.1839 | 58.0218 | 1351.3956 | 61.5106 | 1198.2053 | 62 | FMI 20240430_015.gcd | 2024-04-30 18:16 | 274 | Unknown | 0 | 2.878 | 894200 | 0 | ----- | ----- | ----- | -----
63 | FMI 20240430_016.gcd | 2024-04-30 18:47 | 192 | Unknown | 0 | 6.031 | 12125 | 0.027 | ----- | ----- | ----- | ----- | 63 | FMI 20240430_016.gcd | 2024-04-30 18:47 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI 20240430_016.gcd | 2024-04-30 18:47 | 192 | Unknown | 0 | 12.212 | 5385 | 1.148 | ----- | ----- | ----- | ----- | 1 |  | 63 | 30.7869 | 1136.2909 | 31.5205 | 1025.2825 | 25.9877 | 1008.6395 | 26.2445 | 1278.9939 | 30.7869 | 1136.2909 | 63 | FMI 20240430_016.gcd | 2024-04-30 18:47 | 192 | Unknown | 0 | 2.87 | 1063245 | 0 | ----- | ----- | ----- | -----
64 | FMI 20240430_017.gcd | 2024-04-30 19:18 | 171 | Unknown | 0 | 6.007 | 26933 | 0.064 | ----- | ----- | ----- | ----- | 64 | FMI 20240430_017.gcd | 2024-04-30 19:18 | 171 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI 20240430_017.gcd | 2024-04-30 19:18 | 171 | Unknown | 0 | 12.185 | 4984 | 1.06 | ----- | ----- | ----- | ----- | 1 |  | 64 | 73.5483 | 1054.3346 | 70.4697 | 948.6789 | 60.7103 | 925.8589 | 70.3932 | 1183.0464 | 73.5483 | 1054.3346 | 64 | FMI 20240430_017.gcd | 2024-04-30 19:18 | 171 | Unknown | 0 | 2.843 | 1122626 | 0 | ----- | ----- | ----- | -----
65 | FMI 20240430_018.gcd | 2024-04-30 19:48 | 416 | Unknown | 0 | 6.044 | 2462 | 0.003 | ----- | ----- | ----- | ----- | 65 | FMI 20240430_018.gcd | 2024-04-30 19:48 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI 20240430_018.gcd | 2024-04-30 19:48 | 416 | Unknown | 0 | 12.148 | 64899 | 14.007 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.5746 | 12736.7522 | 2.346 | 12336.3456 | 1.1313 | 13203.4361 | 4.2617 | 14126.2164 | 2.5746 | 12736.7522 | 65 | FMI 20240430_018.gcd | 2024-04-30 19:48 | 416 | Unknown | 0 | 2.873 | 1010470 | 0 | ----- | ----- | ----- | -----
66 | FMI 20240430_019.gcd | 2024-04-30 20:19 | 336 | Unknown | 0 | 6.029 | 9857 | 0.021 | ----- | ----- | ----- | ----- | 66 | FMI 20240430_019.gcd | 2024-04-30 20:19 | 336 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI 20240430_019.gcd | 2024-04-30 20:19 | 336 | Unknown | 0 | 12.158 | 48915 | 10.597 | ----- | ----- | ----- | ----- | 1 |  | 66 | 25.92 | 9482.9685 | 25.3379 | 9309.7851 | 20.542 | 9945.9694 | 18.218 | 10241.385 | 25.92 | 9482.9685 | 66 | FMI 20240430_019.gcd | 2024-04-30 20:19 | 336 | Unknown | 0 | 2.866 | 1059302 | 0 | ----- | ----- | ----- | -----
67 | FMI 20240430_020.gcd | 2024-04-30 20:50 | 132 | Unknown | 0 | 6.032 | 16163 | 0.037 | ----- | ----- | ----- | ----- | 67 | FMI 20240430_020.gcd | 2024-04-30 20:50 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI 20240430_020.gcd | 2024-04-30 20:50 | 132 | Unknown | 0 | 12.205 | 11804 | 2.557 | ----- | ----- | ----- | ----- | 1 |  | 67 | 42.4601 | 2445.5878 | 42.1468 | 2250.8012 | 35.4597 | 2332.631 | 38.352 | 2794.9056 | 42.4601 | 2445.5878 | 67 | FMI 20240430_020.gcd | 2024-04-30 20:50 | 132 | Unknown | 0 | 2.866 | 1183649 | 0 | ----- | ----- | ----- | -----
68 | FMI 20240430_021.gcd | 2024-04-30 21:21 | 62 | Unknown | 0 | 6.032 | 17120 | 0.04 | ----- | ----- | ----- | ----- | 68 | FMI 20240430_021.gcd | 2024-04-30 21:21 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI 20240430_021.gcd | 2024-04-30 21:21 | 62 | Unknown | 0 | 12.208 | 9813 | 2.12 | ----- | ----- | ----- | ----- | 1 |  | 68 | 45.2252 | 2040.0066 | 44.6647 | 1870.8218 | 37.7042 | 1922.1897 | 41.214 | 2328.7319 | 45.2252 | 2040.0066 | 68 | FMI 20240430_021.gcd | 2024-04-30 21:21 | 62 | Unknown | 0 | 2.868 | 1134839 | 0 | ----- | ----- | ----- | -----
69 | FMI 20240430_022.gcd | 2024-04-30 21:52 | 101 | Unknown | 0 | 6.032 | 17306 | 0.04 | ----- | ----- | ----- | ----- | 69 | FMI 20240430_022.gcd | 2024-04-30 21:52 | 101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI 20240430_022.gcd | 2024-04-30 21:52 | 101 | Unknown | 0 | 12.231 | 1972 | 0.396 | ----- | ----- | ----- | ----- | 1 |  | 69 | 45.7626 | 438.1275 | 45.154 | 373.1252 | 38.1404 | 303.8132 | 41.7699 | 457.6743 | 45.7626 | 438.1275 | 69 | FMI 20240430_022.gcd | 2024-04-30 21:52 | 101 | Unknown | 0 | 2.858 | 1336677 | 0 | ----- | ----- | ----- | -----
70 | FMI 20240430_023.gcd | 2024-04-30 22:22 | 251 | Unknown | 0 | 6.01 | 4015 | 0.007 | ----- | ----- | ----- | ----- | 70 | FMI 20240430_023.gcd | 2024-04-30 22:22 | 251 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI 20240430_023.gcd | 2024-04-30 22:22 | 251 | Unknown | 0 | 12.128 | 45723 | 9.912 | ----- | ----- | ----- | ----- | 1 |  | 70 | 6.9589 | 8831.718 | 7.7002 | 8704.3866 | 3.8894 | 9293.8922 | 2.2934 | 9463.0819 | 6.9589 | 8831.718 | 70 | FMI 20240430_023.gcd | 2024-04-30 22:22 | 251 | Unknown | 0 | 2.84 | 1124276 | 0 | ----- | ----- | ----- | -----
71 | FMI 20240430_024.gcd | 2024-04-30 22:53 | 127 | Unknown | 0 | 6.027 | 143225 | 0.357 | ----- | ----- | ----- | ----- | 71 | FMI 20240430_024.gcd | 2024-04-30 22:53 | 127 | Unknown | 0 | 5.97 | 1691 | 0.533 | ----- | ----- | ----- | ----- | 71 | FMI 20240430_024.gcd | 2024-04-30 22:53 | 127 | Unknown | 0 | 12.206 | 8118 | 1.748 | ----- | ----- | ----- | ----- | 1 |  | 71 | 404.964 | 1694.3491 | 374.5067 | 1547.232 | 332.1702 | 1572.6088 | 393.064 | 1929.0141 | 404.964 | 1694.3491 | 71 | FMI 20240430_024.gcd | 2024-04-30 22:53 | 127 | Unknown | 0 | 2.863 | 1193696 | 0 | ----- | ----- | ----- | -----
72 | FMI 20240430_025.gcd | 2024-04-30 23:24 | 298 | Unknown | 0 | 6.058 | 2518 | 0.003 | ----- | ----- | ----- | ----- | 72 | FMI 20240430_025.gcd | 2024-04-30 23:24 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI 20240430_025.gcd | 2024-04-30 23:24 | 298 | Unknown | 0 | 12.147 | 64787 | 13.983 | ----- | ----- | ----- | ----- | 1 |  | 72 | 2.7279 | 12713.9957 | 2.5439 | 12315.1674 | 1.2185 | 13180.6564 | 4.1455 | 14099.0681 | 2.7279 | 12713.9957 | 72 | FMI 20240430_025.gcd | 2024-04-30 23:24 | 298 | Unknown | 0 | 2.864 | 1153321 | 0 | ----- | ----- | ----- | -----
73 | FMI 20240430_026.gcd | 2024-04-30 23:55 | 180 | Unknown | 0 | 6.004 | 14518 | 0.033 | ----- | ----- | ----- | ----- | 73 | FMI 20240430_026.gcd | 2024-04-30 23:55 | 180 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI 20240430_026.gcd | 2024-04-30 23:55 | 180 | Unknown | 0 | 12.175 | 2745 | 0.567 | ----- | ----- | ----- | ----- | 1 |  | 73 | 37.7058 | 596.3744 | 37.8183 | 520.8635 | 31.6013 | 463.4992 | 33.4259 | 644.6233 | 37.7058 | 596.3744 | 73 | FMI 20240430_026.gcd | 2024-04-30 23:55 | 180 | Unknown | 0 | 2.843 | 1091415 | 0 | ----- | ----- | ----- | -----
74 | FMI 20240430_027.gcd | 2024-05-01 00:26 | 414 | Unknown | 0 | 6.001 | 29384 | 0.071 | ----- | ----- | ----- | ----- | 74 | FMI 20240430_027.gcd | 2024-05-01 00:26 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI 20240430_027.gcd | 2024-05-01 00:26 | 414 | Unknown | 0 | 12.162 | 12361 | 2.679 | ----- | ----- | ----- | ----- | 1 |  | 74 | 80.6139 | 2558.9679 | 76.9114 | 2357.0808 | 66.4541 | 2447.4194 | 77.6339 | 2924.6745 | 80.6139 | 2558.9679 | 74 | FMI 20240430_027.gcd | 2024-05-01 00:26 | 414 | Unknown | 0 | 2.846 | 1011797 | 0 | ----- | ----- | ----- | -----
75 | FMI 20240430_028.gcd | 2024-05-01 00:56 | 292 | Unknown | 0 | 6.029 | 137969 | 0.344 | ----- | ----- | ----- | ----- | 75 | FMI 20240430_028.gcd | 2024-05-01 00:56 | 292 | Unknown | 0 | 5.981 | 1343 | 0.431 | ----- | ----- | ----- | ----- | 75 | FMI 20240430_028.gcd | 2024-05-01 00:56 | 292 | Unknown | 0 | 12.207 | 10692 | 2.313 | ----- | ----- | ----- | ----- | 1 | Slight air bubble; use with caution | 75 | 390.1537 | 2219.1237 | 360.8358 | 2038.5936 | 319.9481 | 2103.419 | 379.4008 | 2534.9872 | 390.1537 | 2219.1237 | 75 | FMI 20240430_028.gcd | 2024-05-01 00:56 | 292 | Unknown | 0 | 2.868 | 1119364 | 0 | ----- | ----- | ----- | -----
76 | FMI 20240430_029.gcd | 2024-05-01 01:27 | 363 | Unknown | 0 | 6.035 | 40125 | 0.098 | ----- | ----- | ----- | ----- | 76 | FMI 20240430_029.gcd | 2024-05-01 01:27 | 363 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI 20240430_029.gcd | 2024-05-01 01:27 | 363 | Unknown | 0 | 12.185 | 10478 | 2.266 | ----- | ----- | ----- | ----- | 1 | Slight air bubble; use with caution | 76 | 111.5364 | 2175.5246 | 105.1236 | 1997.7504 | 91.6138 | 2059.3008 | 109.1414 | 2484.8375 | 111.5364 | 2175.5246 | 76 | FMI 20240430_029.gcd | 2024-05-01 01:27 | 363 | Unknown | 0 | 2.854 | 1566242 | 0 | ----- | ----- | ----- | -----
77 | FMI 20240430_030.gcd | 2024-05-01 01:58 | 265 | Unknown | 0 | 6.031 | 99723 | 0.248 | ----- | ----- | ----- | ----- | 77 | FMI 20240430_030.gcd | 2024-05-01 01:58 | 265 | Unknown | 0 | 5.969 | 525 | 0.19 | ----- | ----- | ----- | ----- | 77 | FMI 20240430_030.gcd | 2024-05-01 01:58 | 265 | Unknown | 0 | 12.144 | 72335 | 15.582 | ----- | ----- | ----- | ----- | 1 | Slight air bubble; use with caution | 77 | 281.904 | 14246.2771 | 261.1567 | 13741.516 | 230.8787 | 14714.4149 | 277.3543 | 15926.3763 | 281.904 | 14246.2771 | 77 | FMI 20240430_030.gcd | 2024-05-01 01:58 | 265 | Unknown | 0 | 2.855 | 1422706 | 0 | ----- | ----- | ----- | -----
78 | FMI 20240430_031.gcd | 2024-05-01 02:29 | 410 | Unknown | 0 | 6.003 | 11603 | 0.026 | ----- | ----- | ----- | ----- | 78 | FMI 20240430_031.gcd | 2024-05-01 02:29 | 410 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI 20240430_031.gcd | 2024-05-01 02:29 | 410 | Unknown | 0 | 12.112 | 55299 | 11.963 | ----- | ----- | ----- | ----- | 2 | Leaked during headspace creation | 78 | 29.2772 | 10784.0005 | 30.1465 | 10519.5881 | 24.763 | 11248.5637 | 24.6756 | 11795.4909 | 29.2772 | 10784.0005 | 78 | FMI 20240430_031.gcd | 2024-05-01 02:29 | 410 | Unknown | 0 | 2.825 | 1364187 | 0 | ----- | ----- | ----- | -----