## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI 20240514_001.gcd | 2024-05-14 12:49 | QA air | Unknown | 0 | 6.062 | 3052 | 0.004 | ----- | ----- | ----- | ----- | 48 | FMI 20240514_001.gcd | 2024-05-14 12:49 | QA air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI 20240514_001.gcd | 2024-05-14 12:49 | QA air | Unknown | 0 | 12.249 | 2573 | 0.529 | ----- | ----- | ----- | ----- | 1 |  | 48 | 4.2078 | 561.1691 | 4.413 | 487.992 | 2.0965 | 427.9701 | 3.2072 | 603.0725 | 4.2078 | 561.1691 | 48 | FMI 20240514_001.gcd | 2024-05-14 12:49 | QA air | Unknown | 0 | 2.691 | 5523557 | 0 | ----- | ----- | ----- | -----
49 | FMI 20240514_002.gcd | 2024-05-14 13:20 | QA spiked air | Unknown | 0 | 5.994 | 1219616 | 3.076 | ----- | ----- | ----- | ----- | 49 | FMI 20240514_002.gcd | 2024-05-14 13:20 | QA spiked air | Unknown | 0 | 5.947 | 9366 | 2.788 | ----- | ----- | ----- | ----- | 49 | FMI 20240514_002.gcd | 2024-05-14 13:20 | QA spiked air | Unknown | 0 | 12.199 | 8825 | 1.904 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2761.4148 | 1838.5677 | 2685.7818 | 1682.2157 | 2539.4385 | 1718.44 | 2492.4882 | 2096.0586 | 2761.4148 | 1838.5677 | 49 | FMI 20240514_002.gcd | 2024-05-14 13:20 | QA spiked air | Unknown | 0 | 2.691 | 5466473 | 0 | ----- | ----- | ----- | -----
50 | FMI 20240514_003.gcd | 2024-05-14 13:50 | QA reference tank | Unknown | 0 | 6.033 | 4402 | 0.008 | ----- | ----- | ----- | ----- | 50 | FMI 20240514_003.gcd | 2024-05-14 13:50 | QA reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI 20240514_003.gcd | 2024-05-14 13:50 | QA reference tank | Unknown | 0 | 12.21 | 1744 | 0.346 | ----- | ----- | ----- | ----- | 1 |  | 50 | 8.0943 | 391.4381 | 8.9909 | 329.5453 | 4.6858 | 256.7072 | 2.2084 | 402.4288 | 8.0943 | 391.4381 | 50 | FMI 20240514_003.gcd | 2024-05-14 13:50 | QA reference tank | Unknown | 0 | 2.692 | 5485893 | 0 | ----- | ----- | ----- | -----
51 | FMI 20240514_004.gcd | 2024-05-14 14:21 | 284 | Unknown | 0 | 6.041 | 3318 | 0.005 | ----- | ----- | ----- | ----- | 51 | FMI 20240514_004.gcd | 2024-05-14 14:21 | 284 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI 20240514_004.gcd | 2024-05-14 14:21 | 284 | Unknown | 0 | 12.084 | 83817 | 18.002 | ----- | ----- | ----- | ----- | 1 |  | 51 | 4.9571 | 16571.9294 | 5.3317 | 15907.7212 | 2.5648 | 17041.9885 | 2.8547 | 18697.1366 | 4.9571 | 16571.9294 | 51 | FMI 20240514_004.gcd | 2024-05-14 14:21 | 284 | Unknown | 0 | 2.857 | 775984 | 0 | ----- | ----- | ----- | -----
52 | FMI 20240514_005.gcd | 2024-05-14 14:51 | 390 | Unknown | 0 | 5.998 | 95857 | 0.238 | ----- | ----- | ----- | ----- | 52 | FMI 20240514_005.gcd | 2024-05-14 14:51 | 390 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI 20240514_005.gcd | 2024-05-14 14:51 | 390 | Unknown | 0 | 12.094 | 75516 | 16.254 | ----- | ----- | ----- | ----- | 1 |  | 52 | 270.9148 | 14891.2157 | 251.0612 | 14342.0758 | 221.8622 | 15359.9252 | 266.7825 | 16695.0742 | 270.9148 | 14891.2157 | 52 | FMI 20240514_005.gcd | 2024-05-14 14:51 | 390 | Unknown | 0 | 2.857 | 759599 | 0 | ----- | ----- | ----- | -----
53 | FMI 20240514_006.gcd | 2024-05-14 15:22 | 165 | Unknown | 0 | 6.015 | 9409 | 0.02 | ----- | ----- | ----- | ----- | 53 | FMI 20240514_006.gcd | 2024-05-14 15:22 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI 20240514_006.gcd | 2024-05-14 15:22 | 165 | Unknown | 0 | 12.175 | 4709 | 0.999 | ----- | ----- | ----- | ----- | 1 |  | 53 | 24.3278 | 998.119 | 24.1253 | 896.1422 | 18.9139 | 869.0844 | 15.6919 | 1117.1621 | 24.3278 | 998.119 | 53 | FMI 20240514_006.gcd | 2024-05-14 15:22 | 165 | Unknown | 0 | 2.86 | 721947 | 0 | ----- | ----- | ----- | -----
54 | FMI 20240514_007.gcd | 2024-05-14 15:53 | 328 | Unknown | 0 | 6.03 | 4193 | 0.007 | ----- | ----- | ----- | ----- | 54 | FMI 20240514_007.gcd | 2024-05-14 15:53 | 328 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI 20240514_007.gcd | 2024-05-14 15:53 | 328 | Unknown | 0 | 12.099 | 62707 | 13.541 | ----- | ----- | ----- | ----- | 1 |  | 54 | 7.479 | 12291.2641 | 8.296 | 11921.7834 | 4.2503 | 12757.488 | 2.2342 | 13594.6982 | 7.479 | 12291.2641 | 54 | FMI 20240514_007.gcd | 2024-05-14 15:53 | 328 | Unknown | 0 | 2.845 | 991053 | 0 | ----- | ----- | ----- | -----
55 | FMI 20240514_008.gcd | 2024-05-14 16:23 | 247 | Unknown | 0 | 6.005 | 96031 | 0.238 | ----- | ----- | ----- | ----- | 55 | FMI 20240514_008.gcd | 2024-05-14 16:23 | 247 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI 20240514_008.gcd | 2024-05-14 16:23 | 247 | Unknown | 0 | 12.103 | 70928 | 15.285 | ----- | ----- | ----- | ----- | 1 | slight bubble | 55 | 271.4096 | 13960.8567 | 251.5157 | 13475.7751 | 222.2681 | 14428.7321 | 267.2593 | 15586.1066 | 271.4096 | 13960.8567 | 55 | FMI 20240514_008.gcd | 2024-05-14 16:23 | 247 | Unknown | 0 | 2.852 | 984937 | 0 | ----- | ----- | ----- | -----
56 | FMI 20240514_009.gcd | 2024-05-14 16:54 | 44 | Unknown | 0 | 6.033 | 3067 | 0.004 | ----- | ----- | ----- | ----- | 56 | FMI 20240514_009.gcd | 2024-05-14 16:54 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI 20240514_009.gcd | 2024-05-14 16:54 | 44 | Unknown | 0 | 12.094 | 85513 | 18.359 | ----- | ----- | ----- | ----- | 1 | slight bubble | 56 | 4.2498 | 16914.9132 | 4.465 | 16227.3268 | 2.1224 | 17385.2228 | 3.1852 | 19105.4899 | 4.2498 | 16914.9132 | 56 | FMI 20240514_009.gcd | 2024-05-14 16:54 | 44 | Unknown | 0 | 2.845 | 1104177 | 0 | ----- | ----- | ----- | -----
57 | FMI 20240514_010.gcd | 2024-05-14 17:24 | 308 | Unknown | 0 | 5.999 | 123667 | 0.308 | ----- | ----- | ----- | ----- | 57 | FMI 20240514_010.gcd | 2024-05-14 17:24 | 308 | Unknown | 0 | 5.945 | 873 | 0.292 | ----- | ----- | ----- | ----- | 57 | FMI 20240514_010.gcd | 2024-05-14 17:24 | 308 | Unknown | 0 | 12.166 | 11349 | 2.457 | ----- | ----- | ----- | ----- | 1 |  | 57 | 349.7729 | 2352.9428 | 323.6025 | 2163.9765 | 286.6684 | 2238.8513 | 341.7808 | 2688.6904 | 349.7729 | 2352.9428 | 57 | FMI 20240514_010.gcd | 2024-05-14 17:24 | 308 | Unknown | 0 | 2.85 | 905112 | 0 | ----- | ----- | ----- | -----
58 | FMI 20240514_011.gcd | 2024-05-14 17:55 | 241 | Unknown | 0 | 6.012 | 8926 | 0.019 | ----- | ----- | ----- | ----- | 58 | FMI 20240514_011.gcd | 2024-05-14 17:55 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI 20240514_011.gcd | 2024-05-14 17:55 | 241 | Unknown | 0 | 12.167 | 4556 | 0.965 | ----- | ----- | ----- | ----- | 1 |  | 58 | 22.637 | 966.8387 | 22.792 | 866.9117 | 17.2239 | 837.4955 | 13.2113 | 1080.4767 | 22.637 | 966.8387 | 58 | FMI 20240514_011.gcd | 2024-05-14 17:55 | 241 | Unknown | 0 | 2.851 | 878632 | 0 | ----- | ----- | ----- | -----
59 | FMI 20240514_012.gcd | 2024-05-14 18:25 | 287 | Unknown | 0 | 6.008 | 23172 | 0.055 | ----- | ----- | ----- | ----- | 59 | FMI 20240514_012.gcd | 2024-05-14 18:25 | 287 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI 20240514_012.gcd | 2024-05-14 18:25 | 287 | Unknown | 0 | 12.174 | 4472 | 0.947 | ----- | ----- | ----- | ----- | 1 |  | 59 | 62.6996 | 949.6641 | 60.5822 | 850.8632 | 51.8946 | 820.152 | 59.2456 | 1060.3266 | 62.6996 | 949.6641 | 59 | FMI 20240514_012.gcd | 2024-05-14 18:25 | 287 | Unknown | 0 | 2.863 | 768797 | 0 | ----- | ----- | ----- | -----
60 | FMI 20240514_013.gcd | 2024-05-14 18:56 | 42 | Unknown | 0 | 6.044 | 2472 | 0.003 | ----- | ----- | ----- | ----- | 60 | FMI 20240514_013.gcd | 2024-05-14 18:56 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI 20240514_013.gcd | 2024-05-14 18:56 | 42 | Unknown | 0 | 12.079 | 85812 | 18.421 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.602 | 16975.3659 | 2.3813 | 16283.6626 | 1.1468 | 17445.7188 | 4.2407 | 19177.4571 | 2.602 | 16975.3659 | 60 | FMI 20240514_013.gcd | 2024-05-14 18:56 | 42 | Unknown | 0 | 2.848 | 916651 | 0 | ----- | ----- | ----- | -----
61 | FMI 20240514_014.gcd | 2024-05-14 19:27 | 118 | Unknown | 0 | 6.027 | 2632 | 0.003 | ----- | ----- | ----- | ----- | 61 | FMI 20240514_014.gcd | 2024-05-14 19:27 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI 20240514_014.gcd | 2024-05-14 19:27 | 118 | Unknown | 0 | 12.075 | 83352 | 17.905 | ----- | ----- | ----- | ----- | 1 |  | 61 | 3.0411 | 16477.8678 | 2.9457 | 15820.0771 | 1.399 | 16947.8568 | 3.9193 | 18585.1354 | 3.0411 | 16477.8678 | 61 | FMI 20240514_014.gcd | 2024-05-14 19:27 | 118 | Unknown | 0 | 2.85 | 888604 | 0 | ----- | ----- | ----- | -----
62 | FMI 20240514_015.gcd | 2024-05-14 19:57 | 106 | Unknown | 0 | 6.031 | 4490 | 0.008 | ----- | ----- | ----- | ----- | 62 | FMI 20240514_015.gcd | 2024-05-14 19:57 | 106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI 20240514_015.gcd | 2024-05-14 19:57 | 106 | Unknown | 0 | 12.153 | 12013 | 2.603 | ----- | ----- | ----- | ----- | 1 |  | 62 | 8.3549 | 2488.1351 | 9.282 | 2290.6811 | 4.873 | 2375.7043 | 2.2116 | 2843.6312 | 8.3549 | 2488.1351 | 62 | FMI 20240514_015.gcd | 2024-05-14 19:57 | 106 | Unknown | 0 | 2.848 | 935066 | 0 | ----- | ----- | ----- | -----
63 | FMI 20240514_016.gcd | 2024-05-14 20:28 | 188 | Unknown | 0 | 6.031 | 4128 | 0.007 | ----- | ----- | ----- | ----- | 63 | FMI 20240514_016.gcd | 2024-05-14 20:28 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI 20240514_016.gcd | 2024-05-14 20:28 | 188 | Unknown | 0 | 12.155 | 12299 | 2.665 | ----- | ----- | ----- | ----- | 1 | slight bubble | 63 | 7.2887 | 2546.3493 | 8.0789 | 2345.2512 | 4.1174 | 2434.643 | 2.2519 | 2910.2439 | 7.2887 | 2546.3493 | 63 | FMI 20240514_016.gcd | 2024-05-14 20:28 | 188 | Unknown | 0 | 2.842 | 1042508 | 0 | ----- | ----- | ----- | -----
64 | FMI 20240514_017.gcd | 2024-05-14 20:58 | 388 | Unknown | 0 | 6.01 | 8468 | 0.018 | ----- | ----- | ----- | ----- | 64 | FMI 20240514_017.gcd | 2024-05-14 20:58 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI 20240514_017.gcd | 2024-05-14 20:58 | 388 | Unknown | 0 | 12.164 | 4317 | 0.913 | ----- | ----- | ----- | ----- | 1 | slight bubble | 64 | 21.0583 | 917.9705 | 21.5027 | 821.2494 | 15.684 | 788.1483 | 11.0918 | 1023.1279 | 21.0583 | 917.9705 | 64 | FMI 20240514_017.gcd | 2024-05-14 20:58 | 388 | Unknown | 0 | 2.821 | 1477882 | 0 | ----- | ----- | ----- | -----
65 | FMI 20240514_018.gcd | 2024-05-14 21:29 | 364 | Unknown | 0 | 5.995 | 343495 | 0.862 | ----- | ----- | ----- | ----- | 65 | FMI 20240514_018.gcd | 2024-05-14 21:29 | 364 | Unknown | 0 | 5.944 | 2482 | 0.766 | ----- | ----- | ----- | ----- | 65 | FMI 20240514_018.gcd | 2024-05-14 21:29 | 364 | Unknown | 0 | 12.125 | 35685 | 7.751 | ----- | ----- | ----- | ----- | 1 |  | 65 | 892.3783 | 7273.3745 | 890.4334 | 6798.4082 | 794.5534 | 7239.8918 | 818.2857 | 8104.6135 | 892.3783 | 7273.3745 | 65 | FMI 20240514_018.gcd | 2024-05-14 21:29 | 364 | Unknown | 0 | 2.834 | 1190623 | 0 | ----- | ----- | ----- | -----
66 | FMI 20240514_019.gcd | 2024-05-14 21:59 | 25 | Unknown | 0 | 6.031 | 3700 | 0.006 | ----- | ----- | ----- | ----- | 66 | FMI 20240514_019.gcd | 2024-05-14 21:59 | 25 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI 20240514_019.gcd | 2024-05-14 21:59 | 25 | Unknown | 0 | 12.089 | 67116 | 14.477 | ----- | ----- | ----- | ----- | 1 |  | 66 | 6.0473 | 13187.0863 | 6.6368 | 12755.4771 | 3.2733 | 13654.2209 | 2.4821 | 14663.3968 | 6.0473 | 13187.0863 | 66 | FMI 20240514_019.gcd | 2024-05-14 21:59 | 25 | Unknown | 0 | 2.846 | 950498 | 0 | ----- | ----- | ----- | -----
67 | FMI 20240514_020.gcd | 2024-05-14 22:30 | 316 | Unknown | 0 | 5.997 | 125097 | 0.312 | ----- | ----- | ----- | ----- | 67 | FMI 20240514_020.gcd | 2024-05-14 22:30 | 316 | Unknown | 0 | 5.963 | 1007 | 0.332 | ----- | ----- | ----- | ----- | 67 | FMI 20240514_020.gcd | 2024-05-14 22:30 | 316 | Unknown | 0 | 12.151 | 10190 | 2.203 | ----- | ----- | ----- | ----- | 1 |  | 67 | 353.8157 | 2116.8406 | 327.3275 | 1942.7816 | 289.9974 | 1999.9231 | 345.5713 | 2417.2804 | 353.8157 | 2116.8406 | 67 | FMI 20240514_020.gcd | 2024-05-14 22:30 | 316 | Unknown | 0 | 2.84 | 1065002 | 0 | ----- | ----- | ----- | -----
68 | FMI 20240514_021.gcd | 2024-05-14 23:00 | 235 | Unknown | 0 | 6.038 | 3855 | 0.006 | ----- | ----- | ----- | ----- | 68 | FMI 20240514_021.gcd | 2024-05-14 23:00 | 235 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI 20240514_021.gcd | 2024-05-14 23:00 | 235 | Unknown | 0 | 12.104 | 65429 | 14.119 | ----- | ----- | ----- | ----- | 1 |  | 68 | 6.4945 | 12844.4314 | 7.1615 | 12436.5585 | 3.5728 | 13311.2244 | 2.3759 | 14254.6723 | 6.4945 | 12844.4314 | 68 | FMI 20240514_021.gcd | 2024-05-14 23:00 | 235 | Unknown | 0 | 2.857 | 897548 | 0 | ----- | ----- | ----- | -----
69 | FMI 20240514_022.gcd | 2024-05-14 23:31 | 224 | Unknown | 0 | 5.995 | 316495 | 0.794 | ----- | ----- | ----- | ----- | 69 | FMI 20240514_022.gcd | 2024-05-14 23:31 | 224 | Unknown | 0 | 5.954 | 2814 | 0.863 | ----- | ----- | ----- | ----- | 69 | FMI 20240514_022.gcd | 2024-05-14 23:31 | 224 | Unknown | 0 | 12.124 | 35289 | 7.665 | ----- | ----- | ----- | ----- | 1 |  | 69 | 834.6277 | 7193.8753 | 821.4428 | 6723.15 | 732.5926 | 7158.7559 | 766.2372 | 8020.8085 | 834.6277 | 7193.8753 | 69 | FMI 20240514_022.gcd | 2024-05-14 23:31 | 224 | Unknown | 0 | 2.842 | 1038971 | 0 | ----- | ----- | ----- | -----
70 | FMI 20240514_023.gcd | 2024-05-15 00:02 | 258 | Unknown | 0 | 6.022 | 3628 | 0.006 | ----- | ----- | ----- | ----- | 70 | FMI 20240514_023.gcd | 2024-05-15 00:02 | 258 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI 20240514_023.gcd | 2024-05-15 00:02 | 258 | Unknown | 0 | 12.092 | 68549 | 14.781 | ----- | ----- | ----- | ----- | 1 |  | 70 | 5.8406 | 13478.0426 | 6.3921 | 13026.3056 | 3.1365 | 13945.4607 | 2.5403 | 15010.3996 | 5.8406 | 13478.0426 | 70 | FMI 20240514_023.gcd | 2024-05-15 00:02 | 258 | Unknown | 0 | 2.837 | 1113754 | 0 | ----- | ----- | ----- | -----
71 | FMI 20240514_024.gcd | 2024-05-15 00:32 | 129 | Unknown | 0 | 5.995 | 137966 | 0.344 | ----- | ----- | ----- | ----- | 71 | FMI 20240514_024.gcd | 2024-05-15 00:32 | 129 | Unknown | 0 | 5.951 | 1165 | 0.378 | ----- | ----- | ----- | ----- | 71 | FMI 20240514_024.gcd | 2024-05-15 00:32 | 129 | Unknown | 0 | 12.142 | 22367 | 4.863 | ----- | ----- | ----- | ----- | 1 |  | 71 | 390.1452 | 4589.4181 | 360.828 | 4264.5778 | 319.9411 | 4506.7917 | 379.3929 | 5207.6491 | 390.1452 | 4589.4181 | 71 | FMI 20240514_024.gcd | 2024-05-15 00:32 | 129 | Unknown | 0 | 2.845 | 971003 | 0 | ----- | ----- | ----- | -----
72 | FMI 20240514_025.gcd | 2024-05-15 01:03 | 38 | Unknown | 0 | 5.999 | 25145 | 0.06 | ----- | ----- | ----- | ----- | 72 | FMI 20240514_025.gcd | 2024-05-15 01:03 | 38 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI 20240514_025.gcd | 2024-05-15 01:03 | 38 | Unknown | 0 | 12.207 | 723 | 0.121 | ----- | ----- | ----- | ----- | 1 | slight bubble | 72 | 68.3918 | 182.2837 | 65.7695 | 134.3711 | 56.5195 | 45.7308 | 65.0991 | 154.4536 | 68.3918 | 182.2837 | 72 | FMI 20240514_025.gcd | 2024-05-15 01:03 | 38 | Unknown | 0 | 2.839 | 1095762 | 0 | ----- | ----- | ----- | -----
73 | FMI 20240514_026.gcd | 2024-05-15 01:33 | 279 | Unknown | 0 | 6.002 | 13121 | 0.03 | ----- | ----- | ----- | ----- | 73 | FMI 20240514_026.gcd | 2024-05-15 01:33 | 279 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI 20240514_026.gcd | 2024-05-15 01:33 | 279 | Unknown | 0 | 12.115 | 39844 | 8.648 | ----- | ----- | ----- | ----- | 1 |  | 73 | 33.6671 | 8107.1848 | 34.1419 | 7588.5013 | 28.3242 | 8091.5407 | 29.2357 | 8976.137 | 33.6671 | 8107.1848 | 73 | FMI 20240514_026.gcd | 2024-05-15 01:33 | 279 | Unknown | 0 | 2.84 | 1034442 | 0 | ----- | ----- | ----- | -----
74 | FMI 20240514_027.gcd | 2024-05-15 02:04 | 384 | Unknown | 0 | 6.006 | 24327 | 0.058 | ----- | ----- | ----- | ----- | 74 | FMI 20240514_027.gcd | 2024-05-15 02:04 | 384 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI 20240514_027.gcd | 2024-05-15 02:04 | 384 | Unknown | 0 | 12.205 | 983 | 0.178 | ----- | ----- | ----- | ----- | 1 |  | 74 | 66.0321 | 235.5572 | 63.619 | 184.0759 | 54.6021 | 99.4614 | 62.6738 | 217.6913 | 66.0321 | 235.5572 | 74 | FMI 20240514_027.gcd | 2024-05-15 02:04 | 384 | Unknown | 0 | 2.855 | 926903 | 0 | ----- | ----- | ----- | -----
75 | FMI 20240514_028.gcd | 2024-05-15 02:34 | 359 | Unknown | 0 | 5.999 | 20350 | 0.048 | ----- | ----- | ----- | ----- | 75 | FMI 20240514_028.gcd | 2024-05-15 02:34 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI 20240514_028.gcd | 2024-05-15 02:34 | 359 | Unknown | 0 | 12.158 | 5733 | 1.224 | ----- | ----- | ----- | ----- | 1 |  | 75 | 54.5541 | 1207.3995 | 53.1611 | 1091.7572 | 45.2784 | 1080.4723 | 50.852 | 1362.1412 | 54.5541 | 1207.3995 | 75 | FMI 20240514_028.gcd | 2024-05-15 02:34 | 359 | Unknown | 0 | 2.841 | 1034264 | 0 | ----- | ----- | ----- | -----
76 | FMI 20240514_029.gcd | 2024-05-15 03:05 | 68 | Unknown | 0 | 6.001 | 20757 | 0.049 | ----- | ----- | ----- | ----- | 76 | FMI 20240514_029.gcd | 2024-05-15 03:05 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI 20240514_029.gcd | 2024-05-15 03:05 | 68 | Unknown | 0 | 12.158 | 5593 | 1.194 | ----- | ----- | ----- | ----- | 1 |  | 76 | 55.7291 | 1178.7944 | 54.2315 | 1065.015 | 46.2327 | 1051.5748 | 52.0641 | 1328.7044 | 55.7291 | 1178.7944 | 76 | FMI 20240514_029.gcd | 2024-05-15 03:05 | 68 | Unknown | 0 | 2.839 | 1099352 | 0 | ----- | ----- | ----- | -----
77 | FMI 20240514_030.gcd | 2024-05-15 03:35 | 150 | Unknown | 0 | 6 | 1672586 | 4.224 | ----- | ----- | ----- | ----- | 77 | FMI 20240514_030.gcd | 2024-05-15 03:35 | 150 | Unknown | 0 | 5.953 | 14257 | 4.22 | ----- | ----- | ----- | ----- | 77 | FMI 20240514_030.gcd | 2024-05-15 03:35 | 150 | Unknown | 0 | 12.118 | 49703 | 10.766 | ----- | ----- | ----- | ----- | 1 |  | 77 | 3724.007 | 9643.6655 | 3937.5153 | 9459.1871 | 3745.7655 | 10106.8658 | 3346.8825 | 10433.3942 | 3724.007 | 9643.6655 | 77 | FMI 20240514_030.gcd | 2024-05-15 03:35 | 150 | Unknown | 0 | 2.856 | 908426 | 0 | ----- | ----- | ----- | -----
78 | FMI 20240514_031.gcd | 2024-05-15 04:06 | 153 | Unknown | 0 | 6 | 14205 | 0.032 | ----- | ----- | ----- | ----- | 78 | FMI 20240514_031.gcd | 2024-05-15 04:06 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI 20240514_031.gcd | 2024-05-15 04:06 | 153 | Unknown | 0 | 12.115 | 45036 | 9.765 | ----- | ----- | ----- | ----- | 1 |  | 78 | 36.801 | 8691.4882 | 36.9947 | 8574.046 | 30.8671 | 9153.4805 | 32.4876 | 9295.4621 | 36.801 | 8691.4882 | 78 | FMI 20240514_031.gcd | 2024-05-15 04:06 | 153 | Unknown | 0 | 2.84 | 1016774 | 0 | ----- | ----- | ----- | -----
79 | FMI 20240514_032.gcd | 2024-05-15 04:37 | 191 | Unknown | 0 | 5.995 | 142738 | 0.356 | ----- | ----- | ----- | ----- | 79 | FMI 20240514_032.gcd | 2024-05-15 04:37 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | FMI 20240514_032.gcd | 2024-05-15 04:37 | 191 | Unknown | 0 | 12.139 | 21573 | 4.69 | ----- | ----- | ----- | ----- | 1 |  | 79 | 403.5924 | 4428.7344 | 373.2403 | 4113.3323 | 331.0379 | 4343.5622 | 391.8017 | 5029.8256 | 403.5924 | 4428.7344 | 79 | FMI 20240514_032.gcd | 2024-05-15 04:37 | 191 | Unknown | 0 | 2.844 | 991782 | 0 | ----- | ----- | ----- | -----
80 | FMI 20240514_033.gcd | 2024-05-15 05:07 | 69 | Unknown | 0 | 5.986 | 2675778 | 6.776 | ----- | ----- | ----- | ----- | 80 | FMI 20240514_033.gcd | 2024-05-15 05:07 | 69 | Unknown | 0 | 5.939 | 21473 | 6.325 | ----- | ----- | ----- | ----- | 80 | FMI 20240514_033.gcd | 2024-05-15 05:07 | 69 | Unknown | 0 | 12.098 | 51721 | 11.198 | ----- | ----- | ----- | ----- | 1 |  | 80 | 5846.8016 | 10055.0606 | 5782.5231 | 9841.7007 | 5523.8424 | 10518.7631 | 5211.9373 | 10924.8817 | 5846.8016 | 10055.0606 | 80 | FMI 20240514_033.gcd | 2024-05-15 05:07 | 69 | Unknown | 0 | 2.844 | 933312 | 0 | ----- | ----- | ----- | -----