## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240521_001.gcd | 2024-05-21 11:02 | QC outside air | Unknown | 0 | 6.066 | 2694 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20240521_001.gcd | 2024-05-21 11:02 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240521_001.gcd | 2024-05-21 11:02 | QC outside air | Unknown | 0 | 12.257 | 2685 | 0.553 | ----- | ----- | ----- | ----- | 1 |  | 48 | 3.2121 | 584.0939 | 3.1636 | 509.3968 | 1.4988 | 451.1055 | 3.8022 | 630.1319 | 3.2121 | 584.0939 | 48 | FMI20240521_001.gcd | 2024-05-21 11:02 | QC outside air | Unknown | 0 | 2.703 | 5466740 | 0 | ----- | ----- | ----- | -----
49 | FMI20240521_002.gcd | 2024-05-21 11:33 | QC spiked air | Unknown | 0 | 5.996 | 1252637 | 3.16 | ----- | ----- | ----- | ----- | 49 | FMI20240521_002.gcd | 2024-05-21 11:33 | QC spiked air | Unknown | 0 | 5.951 | 10585 | 3.145 | ----- | ----- | ----- | ----- | 49 | FMI20240521_002.gcd | 2024-05-21 11:33 | QC spiked air | Unknown | 0 | 12.197 | 9904 | 2.14 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2831.6727 | 2058.5543 | 2997.8453 | 1888.1919 | 2840.1821 | 1940.9536 | 2555.0305 | 2350.1175 | 2831.6727 | 2058.5543 | 49 | FMI20240521_002.gcd | 2024-05-21 11:33 | QC spiked air | Unknown | 0 | 2.69 | 5644909 | 0 | ----- | ----- | ----- | -----
50 | FMI20240521_003.gcd | 2024-05-21 12:03 | QC reference tank | Unknown | 0 | 6.026 | 3958 | 0.007 | ----- | ----- | ----- | ----- | 50 | FMI20240521_003.gcd | 2024-05-21 12:03 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240521_003.gcd | 2024-05-21 12:03 | QC reference tank | Unknown | 0 | 12.21 | 2251 | 0.458 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.7931 | 495.252 | 7.5086 | 426.4508 | 3.7758 | 361.4524 | 2.3196 | 525.2129 | 6.7931 | 495.252 | 50 | FMI20240521_003.gcd | 2024-05-21 12:03 | QC reference tank | Unknown | 0 | 2.693 | 5551362 | 0 | ----- | ----- | ----- | -----
51 | FMI20240521_004.gcd | 2024-05-21 12:34 | 18 | Unknown | 0 | 6 | 40928 | 0.1 | ----- | ----- | ----- | ----- | 51 | FMI20240521_004.gcd | 2024-05-21 12:34 | 18 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240521_004.gcd | 2024-05-21 12:34 | 18 | Unknown | 0 | 12.121 | 54382 | 11.767 | ----- | ----- | ----- | ----- | 1 |  | 51 | 113.8455 | 10597.2402 | 107.2317 | 10345.893 | 93.494 | 11061.5865 | 111.4823 | 11572.4637 | 113.8455 | 10597.2402 | 51 | FMI20240521_004.gcd | 2024-05-21 12:34 | 18 | Unknown | 0 | 2.844 | 957444 | 0 | ----- | ----- | ----- | -----
52 | FMI20240521_005.gcd | 2024-05-21 13:04 | 266 | Unknown | 0 | 6.005 | 103875 | 0.258 | ----- | ----- | ----- | ----- | 52 | FMI20240521_005.gcd | 2024-05-21 13:04 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240521_005.gcd | 2024-05-21 13:04 | 266 | Unknown | 0 | 12.148 | 34143 | 7.418 | ----- | ----- | ----- | ----- | 1 |  | 52 | 293.6965 | 6963.7035 | 271.995 | 6505.3286 | 240.5595 | 6923.9083 | 288.6558 | 7777.476 | 293.6965 | 6963.7035 | 52 | FMI20240521_005.gcd | 2024-05-21 13:04 | 266 | Unknown | 0 | 2.855 | 920133 | 0 | ----- | ----- | ----- | -----
53 | FMI20240521_006.gcd | 2024-05-21 13:35 | 399 | Unknown | 0 | 6.005 | 11222 | 0.025 | ----- | ----- | ----- | ----- | 53 | FMI20240521_006.gcd | 2024-05-21 13:35 | 399 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240521_006.gcd | 2024-05-21 13:35 | 399 | Unknown | 0 | 12.169 | 10311 | 2.23 | ----- | ----- | ----- | ----- | 1 |  | 53 | 28.1752 | 2141.4973 | 29.1436 | 1965.8765 | 23.8691 | 2024.8705 | 23.5299 | 2445.6729 | 28.1752 | 2141.4973 | 53 | FMI20240521_006.gcd | 2024-05-21 13:35 | 399 | Unknown | 0 | 2.849 | 923307 | 0 | ----- | ----- | ----- | -----
54 | FMI20240521_007.gcd | 2024-05-21 14:06 | 345 | Unknown | 0 | 6.009 | 15813 | 0.036 | ----- | ----- | ----- | ----- | 54 | FMI20240521_007.gcd | 2024-05-21 14:06 | 345 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240521_007.gcd | 2024-05-21 14:06 | 345 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | no CO2 peak detected | 54 | 41.4487 | #VALUE! | 41.2259 | #VALUE! | 34.6388 | #VALUE! | 37.3046 | #VALUE! | 41.4487 | #VALUE! | 54 | FMI20240521_007.gcd | 2024-05-21 14:06 | 345 | Unknown | 0 | 2.859 | 863644 | 0 | ----- | ----- | ----- | -----
55 | FMI20240521_008.gcd | 2024-05-21 14:36 | 405 | Unknown | 0 | 6.005 | 16261 | 0.038 | ----- | ----- | ----- | ----- | 55 | FMI20240521_008.gcd | 2024-05-21 14:36 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240521_008.gcd | 2024-05-21 14:36 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | no CO2 peak detected | 55 | 42.7433 | #VALUE! | 42.4047 | #VALUE! | 35.6895 | #VALUE! | 38.6452 | #VALUE! | 42.7433 | #VALUE! | 55 | FMI20240521_008.gcd | 2024-05-21 14:36 | 405 | Unknown | 0 | 2.852 | 881916 | 0 | ----- | ----- | ----- | -----
56 | FMI20240521_009.gcd | 2024-05-21 15:07 | 196 | Unknown | 0 | 6.034 | 1955 | 0.001 | ----- | ----- | ----- | ----- | 56 | FMI20240521_009.gcd | 2024-05-21 15:07 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240521_009.gcd | 2024-05-21 15:07 | 196 | Unknown | 0 | 12.078 | 90746 | 19.455 | ----- | ----- | ----- | ----- | 1 |  | 56 | 1.203 | 17972.3167 | 0.53748 | 17212.8788 | 0.38257 | 18443.3452 | 5.4683 | 20363.9794 | 1.203 | 17972.3167 | 56 | FMI20240521_009.gcd | 2024-05-21 15:07 | 196 | Unknown | 0 | 2.853 | 850334 | 0 | ----- | ----- | ----- | -----
57 | FMI20240521_010.gcd | 2024-05-21 15:37 | 392 | Unknown | 0 | 5.986 | 6481930 | 16.572 | ----- | ----- | ----- | ----- | 57 | FMI20240521_010.gcd | 2024-05-21 15:37 | 392 | Unknown | 0 | 5.941 | 50289 | 14.655 | ----- | ----- | ----- | ----- | 57 | FMI20240521_010.gcd | 2024-05-21 15:37 | 392 | Unknown | 0 | 12.135 | 46614 | 10.104 | ----- | ----- | ----- | ----- | 1 |  | 57 | 13787.2804 | 9013.5543 | 13129.4429 | 8873.408 | 12604.2002 | 9475.9623 | 11947.5575 | 9680.4176 | 13787.2804 | 9013.5543 | 57 | FMI20240521_010.gcd | 2024-05-21 15:37 | 392 | Unknown | 0 | 2.86 | 796845 | 0 | ----- | ----- | ----- | -----
58 | FMI20240521_011.gcd | 2024-05-21 16:08 | 371 | Unknown | 0 | 6.008 | 35350 | 0.086 | ----- | ----- | ----- | ----- | 58 | FMI20240521_011.gcd | 2024-05-21 16:08 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240521_011.gcd | 2024-05-21 16:08 | 371 | Unknown | 0 | 12.132 | 50918 | 11.026 | ----- | ----- | ----- | ----- | 1 |  | 58 | 97.7978 | 9891.3822 | 92.5851 | 9689.5072 | 80.4312 | 10354.8864 | 95.1794 | 10729.3495 | 97.7978 | 9891.3822 | 58 | FMI20240521_011.gcd | 2024-05-21 16:08 | 371 | Unknown | 0 | 2.858 | 851982 | 0 | ----- | ----- | ----- | -----
59 | FMI20240521_012.gcd | 2024-05-21 16:38 | 132 | Unknown | 0 | 6.004 | 12746 | 0.029 | ----- | ----- | ----- | ----- | 59 | FMI20240521_012.gcd | 2024-05-21 16:38 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240521_012.gcd | 2024-05-21 16:38 | 132 | Unknown | 0 | 12.161 | 9203 | 1.987 | ----- | ----- | ----- | ----- | 1 |  | 59 | 32.5827 | 1915.6502 | 33.155 | 1754.3785 | 27.4445 | 1796.3987 | 28.1099 | 2185.1825 | 32.5827 | 1915.6502 | 59 | FMI20240521_012.gcd | 2024-05-21 16:38 | 132 | Unknown | 0 | 2.842 | 1066074 | 0 | ----- | ----- | ----- | -----
60 | FMI20240521_013.gcd | 2024-05-21 17:09 | 122 | Unknown | 0 | 6.01 | 24506 | 0.058 | ----- | ----- | ----- | ----- | 60 | FMI20240521_013.gcd | 2024-05-21 17:09 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20240521_013.gcd | 2024-05-21 17:09 | 122 | Unknown | 0 | 12.181 | 6123 | 1.31 | ----- | ----- | ----- | ----- | 1 |  | 60 | 66.5485 | 1287.073 | 64.0896 | 1166.25 | 55.0217 | 1160.9673 | 63.2047 | 1455.1923 | 66.5485 | 1287.073 | 60 | FMI20240521_013.gcd | 2024-05-21 17:09 | 122 | Unknown | 0 | 2.861 | 844794 | 0 | ----- | ----- | ----- | -----
61 | FMI20240521_014.gcd | 2024-05-21 17:40 | 80 | Unknown | 0 | 5.999 | 122768 | 0.306 | ----- | ----- | ----- | ----- | 61 | FMI20240521_014.gcd | 2024-05-21 17:40 | 80 | Unknown | 0 | 5.938 | 699 | 0.241 | ----- | ----- | ----- | ----- | 61 | FMI20240521_014.gcd | 2024-05-21 17:40 | 80 | Unknown | 0 | 12.14 | 33827 | 7.349 | ----- | ----- | ----- | ----- | 1 |  | 61 | 347.2306 | 6900.2079 | 321.2604 | 6445.2586 | 284.5754 | 6859.1392 | 339.3945 | 7710.1683 | 347.2306 | 6900.2079 | 61 | FMI20240521_014.gcd | 2024-05-21 17:40 | 80 | Unknown | 0 | 2.851 | 889132 | 0 | ----- | ----- | ----- | -----
62 | FMI20240521_015.gcd | 2024-05-21 18:10 | 119 | Unknown | 0 | 6.002 | 27594 | 0.066 | ----- | ----- | ----- | ----- | 62 | FMI20240521_015.gcd | 2024-05-21 18:10 | 119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20240521_015.gcd | 2024-05-21 18:10 | 119 | Unknown | 0 | 12.173 | 7038 | 1.511 | ----- | ----- | ----- | ----- | 1 |  | 62 | 75.4541 | 1473.9279 | 72.207 | 1341.0022 | 62.2594 | 1349.7905 | 72.3478 | 1672.9598 | 75.4541 | 1473.9279 | 62 | FMI20240521_015.gcd | 2024-05-21 18:10 | 119 | Unknown | 0 | 2.839 | 1125909 | 0 | ----- | ----- | ----- | -----
63 | FMI20240521_016.gcd | 2024-05-21 18:41 | 302 | Unknown | 0 | 5.999 | 129149 | 0.322 | ----- | ----- | ----- | ----- | 63 | FMI20240521_016.gcd | 2024-05-21 18:41 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20240521_016.gcd | 2024-05-21 18:41 | 302 | Unknown | 0 | 12.076 | 92943 | 19.915 | ----- | ----- | ----- | ----- | 1 |  | 63 | 365.2649 | 18415.8601 | 337.88 | 17626.3832 | 299.4285 | 18887.1661 | 356.2769 | 20891.6705 | 365.2649 | 18415.8601 | 63 | FMI20240521_016.gcd | 2024-05-21 18:41 | 302 | Unknown | 0 | 2.851 | 897787 | 0 | ----- | ----- | ----- | -----
64 | FMI20240521_017.gcd | 2024-05-21 19:11 | 274 | Unknown | 0 | 6.006 | 11962 | 0.027 | ----- | ----- | ----- | ----- | 64 | FMI20240521_017.gcd | 2024-05-21 19:11 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240521_017.gcd | 2024-05-21 19:11 | 274 | Unknown | 0 | 12.168 | 8451 | 1.821 | ----- | ----- | ----- | ----- | 1 |  | 64 | 30.3155 | 1762.2841 | 31.0915 | 1610.8119 | 25.6053 | 1641.2991 | 25.7547 | 2007.7496 | 30.3155 | 1762.2841 | 64 | FMI20240521_017.gcd | 2024-05-21 19:11 | 274 | Unknown | 0 | 2.847 | 983676 | 0 | ----- | ----- | ----- | -----
65 | FMI20240521_018.gcd | 2024-05-21 19:42 | 77 | Unknown | 0 | 6.035 | 2018 | 0.002 | ----- | ----- | ----- | ----- | 65 | FMI20240521_018.gcd | 2024-05-21 19:42 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20240521_018.gcd | 2024-05-21 19:42 | 77 | Unknown | 0 | 12.087 | 85503 | 18.356 | ----- | ----- | ----- | ----- | 1 |  | 65 | 1.3718 | 16912.8913 | 0.76382 | 16225.4426 | 0.47154 | 17383.1994 | 5.3033 | 19103.0829 | 1.3718 | 16912.8913 | 65 | FMI20240521_018.gcd | 2024-05-21 19:42 | 77 | Unknown | 0 | 2.844 | 1048456 | 0 | ----- | ----- | ----- | -----
66 | FMI20240521_019.gcd | 2024-05-21 20:13 | 375 | Unknown | 0 | 6.044 | 1819 | 0.001 | ----- | ----- | ----- | ----- | 66 | FMI20240521_019.gcd | 2024-05-21 20:13 | 375 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20240521_019.gcd | 2024-05-21 20:13 | 375 | Unknown | 0 | 12.096 | 86681 | 18.604 | ----- | ----- | ----- | ----- | 1 |  | 66 | 0.84007 | 17151.0386 | 0.047294 | 16447.3781 | 0.19445 | 17621.5157 | 5.8392 | 19386.5776 | 0.84007 | 17151.0386 | 66 | FMI20240521_019.gcd | 2024-05-21 20:13 | 375 | Unknown | 0 | 2.852 | 1022694 | 0 | ----- | ----- | ----- | -----
67 | FMI20240521_020.gcd | 2024-05-21 20:43 | 292 | Unknown | 0 | 6.005 | 12975 | 0.029 | ----- | ----- | ----- | ----- | 67 | FMI20240521_020.gcd | 2024-05-21 20:43 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240521_020.gcd | 2024-05-21 20:43 | 292 | Unknown | 0 | 12.168 | 10894 | 2.357 | ----- | ----- | ----- | ----- | 1 |  | 67 | 33.2449 | 2260.273 | 33.7577 | 2077.1451 | 27.9817 | 2145.0611 | 28.7974 | 2582.2864 | 33.2449 | 2260.273 | 67 | FMI20240521_020.gcd | 2024-05-21 20:43 | 292 | Unknown | 0 | 2.847 | 985947 | 0 | ----- | ----- | ----- | -----
68 | FMI20240521_021.gcd | 2024-05-21 21:14 | 326 | Unknown | 0 | 5.974 | 8222598 | 21.113 | ----- | ----- | ----- | ----- | 68 | FMI20240521_021.gcd | 2024-05-21 21:14 | 326 | Unknown | 0 | 5.93 | 63376 | 18.397 | ----- | ----- | ----- | ----- | 68 | FMI20240521_021.gcd | 2024-05-21 21:14 | 326 | Unknown | 0 | 12.121 | 45020 | 9.761 | ----- | ----- | ----- | ----- | 1 |  | 68 | 16727.4776 | 8688.222 | 16455.0949 | 8571.0102 | 15809.1695 | 9150.2101 | 15143.6137 | 9291.5579 | 16727.4776 | 8688.222 | 68 | FMI20240521_021.gcd | 2024-05-21 21:14 | 326 | Unknown | 0 | 2.849 | 868648 | 0 | ----- | ----- | ----- | -----
69 | FMI20240521_022.gcd | 2024-05-21 21:44 | 221 | Unknown | 0 | 6.003 | 28810 | 0.069 | ----- | ----- | ----- | ----- | 69 | FMI20240521_022.gcd | 2024-05-21 21:44 | 221 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20240521_022.gcd | 2024-05-21 21:44 | 221 | Unknown | 0 | 12.174 | 7297 | 1.568 | ----- | ----- | ----- | ----- | 1 |  | 69 | 78.9595 | 1526.8009 | 75.4029 | 1390.4626 | 65.109 | 1403.2311 | 75.9399 | 1734.4624 | 78.9595 | 1526.8009 | 69 | FMI20240521_022.gcd | 2024-05-21 21:44 | 221 | Unknown | 0 | 2.843 | 1061743 | 0 | ----- | ----- | ----- | -----
70 | FMI20240521_023.gcd | 2024-05-21 22:15 | 285 | Unknown | 0 | 6.011 | 27894 | 0.067 | ----- | ----- | ----- | ----- | 70 | FMI20240521_023.gcd | 2024-05-21 22:15 | 285 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240521_023.gcd | 2024-05-21 22:15 | 285 | Unknown | 0 | 12.188 | 4765 | 1.011 | ----- | ----- | ----- | ----- | 1 |  | 70 | 76.319 | 1009.5672 | 72.9955 | 906.8408 | 62.9624 | 880.6461 | 73.2344 | 1130.5841 | 76.319 | 1009.5672 | 70 | FMI20240521_023.gcd | 2024-05-21 22:15 | 285 | Unknown | 0 | 2.86 | 894460 | 0 | ----- | ----- | ----- | -----
71 | FMI20240521_024.gcd | 2024-05-21 22:46 | 265 | Unknown | 0 | 6.043 | 1693 | 0.001 | ----- | ----- | ----- | ----- | 71 | FMI20240521_024.gcd | 2024-05-21 22:46 | 265 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20240521_024.gcd | 2024-05-21 22:46 | 265 | Unknown | 0 | 12.09 | 91744 | 19.664 | ----- | ----- | ----- | ----- | 1 |  | 71 | 0.50571 | 18173.8276 | -0.40876 | 17400.735 | 0.024952 | 18644.9839 | 6.2006 | 20603.7351 | 0.50571 | 18173.8276 | 71 | FMI20240521_024.gcd | 2024-05-21 22:46 | 265 | Unknown | 0 | 2.858 | 947696 | 0 | ----- | ----- | ----- | -----
72 | FMI20240521_025.gcd | 2024-05-21 23:16 | 389 | Unknown | 0 | 6.036 | 1861 | 0.001 | ----- | ----- | ----- | ----- | 72 | FMI20240521_025.gcd | 2024-05-21 23:16 | 389 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20240521_025.gcd | 2024-05-21 23:16 | 389 | Unknown | 0 | 12.089 | 85061 | 18.264 | ----- | ----- | ----- | ----- | 1 |  | 72 | 0.95193 | 16823.5183 | 0.1989 | 16142.158 | 0.25197 | 17293.762 | 5.7225 | 18996.6829 | 0.95193 | 16823.5183 | 72 | FMI20240521_025.gcd | 2024-05-21 23:16 | 389 | Unknown | 0 | 2.853 | 970098 | 0 | ----- | ----- | ----- | -----
73 | FMI20240521_026.gcd | 2024-05-21 23:47 | 151 | Unknown | 0 | 5.998 | 141107 | 0.352 | ----- | ----- | ----- | ----- | 73 | FMI20240521_026.gcd | 2024-05-21 23:47 | 151 | Unknown | 0 | 5.959 | 849 | 0.285 | ----- | ----- | ----- | ----- | 73 | FMI20240521_026.gcd | 2024-05-21 23:47 | 151 | Unknown | 0 | 12.077 | 94427 | 20.225 | ----- | ----- | ----- | ----- | 1 |  | 73 | 398.9978 | 18715.3276 | 368.9986 | 17905.6028 | 327.2456 | 19186.8129 | 387.5687 | 21247.8848 | 398.9978 | 18715.3276 | 73 | FMI20240521_026.gcd | 2024-05-21 23:47 | 151 | Unknown | 0 | 2.844 | 995282 | 0 | ----- | ----- | ----- | -----
74 | FMI20240521_027.gcd | 2024-05-22 00:17 | 57 | Unknown | 0 | 6.007 | 7485 | 0.015 | ----- | ----- | ----- | ----- | 74 | FMI20240521_027.gcd | 2024-05-22 00:17 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20240521_027.gcd | 2024-05-22 00:17 | 57 | Unknown | 0 | 12.149 | 21027 | 4.571 | ----- | ----- | ----- | ----- | 1 |  | 74 | 17.751 | 4318.1953 | 18.6535 | 4009.3153 | 12.5847 | 4231.2976 | 7.3076 | 4907.2104 | 17.751 | 4318.1953 | 74 | FMI20240521_027.gcd | 2024-05-22 00:17 | 57 | Unknown | 0 | 2.848 | 940623 | 0 | ----- | ----- | ----- | -----
75 | FMI20240521_028.gcd | 2024-05-22 00:48 | 112 | Unknown | 0 | 6.045 | 2325 | 0.002 | ----- | ----- | ----- | ----- | 75 | FMI20240521_028.gcd | 2024-05-22 00:48 | 112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20240521_028.gcd | 2024-05-22 00:48 | 112 | Unknown | 0 | 12.07 | 95534 | 20.456 | ----- | ----- | ----- | ----- | 1 |  | 75 | 2.2011 | 18938.6485 | 1.8602 | 18113.8419 | 0.92158 | 19410.2633 | 4.5604 | 21513.4879 | 2.2011 | 18938.6485 | 75 | FMI20240521_028.gcd | 2024-05-22 00:48 | 112 | Unknown | 0 | 2.833 | 1209927 | 0 | ----- | ----- | ----- | -----
76 | FMI20240521_029.gcd | 2024-05-22 01:18 | 59 | Unknown | 0 | 6.045 | 1944 | 0.001 | ----- | ----- | ----- | ----- | 76 | FMI20240521_029.gcd | 2024-05-22 01:18 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20240521_029.gcd | 2024-05-22 01:18 | 59 | Unknown | 0 | 12.07 | 95261 | 20.399 | ----- | ----- | ----- | ----- | 1 |  | 76 | 1.1736 | 18883.5803 | 0.49791 | 18062.4913 | 0.36715 | 19355.1634 | 5.4976 | 21447.9962 | 1.1736 | 18883.5803 | 76 | FMI20240521_029.gcd | 2024-05-22 01:18 | 59 | Unknown | 0 | 2.844 | 1021867 | 0 | ----- | ----- | ----- | -----
77 | FMI20240521_030.gcd | 2024-05-22 01:49 | 228 | Unknown | 0 | 6.006 | 7545 | 0.016 | ----- | ----- | ----- | ----- | 77 | FMI20240521_030.gcd | 2024-05-22 01:49 | 228 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20240521_030.gcd | 2024-05-22 01:49 | 228 | Unknown | 0 | 12.154 | 21594 | 4.695 | ----- | ----- | ----- | ----- | 1 | slight bubble | 77 | 17.9497 | 4432.9852 | 18.8306 | 4117.3327 | 12.7658 | 4347.8798 | 7.5087 | 5034.5362 | 17.9497 | 4432.9852 | 77 | FMI20240521_030.gcd | 2024-05-22 01:49 | 228 | Unknown | 0 | 2.825 | 1391862 | 0 | ----- | ----- | ----- | -----
78 | FMI20240521_031.gcd | 2024-05-22 02:20 | 410 | Unknown | 0 | 6.02 | 2433 | 0.003 | ----- | ----- | ----- | ----- | 78 | FMI20240521_031.gcd | 2024-05-22 02:20 | 410 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20240521_031.gcd | 2024-05-22 02:20 | 410 | Unknown | 0 | 12.066 | 97238 | 20.812 | ----- | ----- | ----- | ----- | 1 | slight bubble | 78 | 2.4954 | 19282.2903 | 2.2433 | 18434.3056 | 1.0864 | 19754.0972 | 4.3233 | 21922.1337 | 2.4954 | 19282.2903 | 78 | FMI20240521_031.gcd | 2024-05-22 02:20 | 410 | Unknown | 0 | 2.823 | 1430974 | 0 | ----- | ----- | ----- | -----