## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240531_001.gcd | 2024-05-31 16:02 | QC outside air | Unknown | 0 | 6.075 | 2393 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20240531_001.gcd | 2024-05-31 16:02 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240531_001.gcd | 2024-05-31 16:02 | QC outside air | Unknown | 0 | 12.258 | 1882 | 0.377 | ----- | ----- | ----- | ----- | 1 |  | 44 | 2.3862 | 419.6982 | 2.1016 | 355.9228 | 1.025 | 285.219 | 4.4096 | 435.8725 | 2.3862 | 419.6982 | 48 | FMI20240531_001.gcd | 2024-05-31 16:02 | QC outside air | Unknown | 0 | 2.703 | 5267872 | 0 | ----- | ----- | ----- | -----
49 | FMI20240531_002.gcd | 2024-05-31 16:33 | QC spiked air | Unknown | 0 | 6.008 | 1210303 | 3.052 | ----- | ----- | ----- | ----- | 49 | FMI20240531_002.gcd | 2024-05-31 16:33 | QC spiked air | Unknown | 0 | 5.962 | 11309 | 3.357 | ----- | ----- | ----- | ----- | 49 | FMI20240531_002.gcd | 2024-05-31 16:33 | QC spiked air | Unknown | 0 | 12.21 | 9846 | 2.127 | ----- | ----- | ----- | ----- | 1 |  | 44 | 2741.5974 | 2046.7328 | 3183.1608 | 1877.1209 | 3018.7753 | 1928.9942 | 2474.8419 | 2336.488 | 2741.5974 | 2046.7328 | 49 | FMI20240531_002.gcd | 2024-05-31 16:33 | QC spiked air | Unknown | 0 | 2.7 | 5308976 | 0 | ----- | ----- | ----- | -----
50 | FMI20240531_003.gcd | 2024-05-31 17:03 | QC reference tank | Unknown | 0 | 6.043 | 3612 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI20240531_003.gcd | 2024-05-31 17:03 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240531_003.gcd | 2024-05-31 17:03 | QC reference tank | Unknown | 0 | 12.244 | 2196 | 0.446 | ----- | ----- | ----- | ----- | 1 |  | 44 | 5.7947 | 483.9916 | 6.3376 | 415.9388 | 3.1063 | 350.0901 | 2.554 | 511.9045 | 5.7947 | 483.9916 | 50 | FMI20240531_003.gcd | 2024-05-31 17:03 | QC reference tank | Unknown | 0 | 2.706 | 5231315 | 0 | ----- | ----- | ----- | -----
51 | FMI20240531_004.gcd | 2024-05-31 17:34 | 385 | Unknown | 0 | 6.02 | 18193 | 0.042 | ----- | ----- | ----- | ----- | 51 | FMI20240531_004.gcd | 2024-05-31 17:34 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240531_004.gcd | 2024-05-31 17:34 | 385 | Unknown | 0 | 12.194 | 5303 | 1.13 | ----- | ----- | ----- | ----- | 1 |  | 44 | 48.3249 | 1119.5333 | 47.4874 | 1009.6183 | 40.2205 | 991.7124 | 44.4193 | 1259.3856 | 48.3249 | 1119.5333 | 51 | FMI20240531_004.gcd | 2024-05-31 17:34 | 385 | Unknown | 0 | 2.863 | 843507 | 0 | ----- | ----- | ----- | -----
52 | FMI20240531_005.gcd | 2024-05-31 18:04 | 179 | Unknown | 0 | 6.013 | 43499 | 0.106 | ----- | ----- | ----- | ----- | 52 | FMI20240531_005.gcd | 2024-05-31 18:04 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240531_005.gcd | 2024-05-31 18:04 | 179 | Unknown | 0 | 12.2 | 7894 | 1.699 | ----- | ----- | ----- | ----- | 1 |  | 44 | 121.2361 | 1648.6435 | 113.98 | 1504.4616 | 99.5133 | 1526.3995 | 118.9635 | 1875.994 | 121.2361 | 1648.6435 | 52 | FMI20240531_005.gcd | 2024-05-31 18:04 | 179 | Unknown | 0 | 2.871 | 636707 | 0 | ----- | ----- | ----- | -----
53 | FMI20240531_006.gcd | 2024-05-31 18:35 | 131 | Unknown | 0 | 6.025 | 4410 | 0.008 | ----- | ----- | ----- | ----- | 53 | FMI20240531_006.gcd | 2024-05-31 18:35 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240531_006.gcd | 2024-05-31 18:35 | 131 | Unknown | 0 | 12.092 | 99355 | 21.253 | ----- | ----- | ----- | ----- | 1 |  | 44 | 8.118 | 19709.0264 | 9.0174 | 18832.3088 | 4.7027 | 20181.06 | 2.2083 | 22429.4926 | 8.118 | 19709.0264 | 53 | FMI20240531_006.gcd | 2024-05-31 18:35 | 131 | Unknown | 0 | 2.865 | 732738 | 0 | ----- | ----- | ----- | -----
54 | FMI20240531_007.gcd | 2024-05-31 19:05 | 69 | Unknown | 0 | 6.026 | 10544 | 0.023 | ----- | ----- | ----- | ----- | 54 | FMI20240531_007.gcd | 2024-05-31 19:05 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240531_007.gcd | 2024-05-31 19:05 | 69 | Unknown | 0 | 12.168 | 36947 | 8.023 | ----- | ----- | ----- | ----- | 1 |  | 44 | 26.2139 | 7526.6032 | 27.3589 | 7038.2122 | 22.2784 | 7498.408 | 21.4901 | 8370.7346 | 26.2139 | 7526.6032 | 54 | FMI20240531_007.gcd | 2024-05-31 19:05 | 69 | Unknown | 0 | 2.871 | 741523 | 0 | ----- | ----- | ----- | -----
55 | FMI20240531_008.gcd | 2024-05-31 19:36 | 219 | Unknown | 0 | 6.013 | 52257 | 0.128 | ----- | ----- | ----- | ----- | 55 | FMI20240531_008.gcd | 2024-05-31 19:36 | 219 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240531_008.gcd | 2024-05-31 19:36 | 219 | Unknown | 0 | 12.204 | 6664 | 1.429 | ----- | ----- | ----- | ----- | 1 |  | 44 | 146.3834 | 1397.5643 | 136.9559 | 1269.5767 | 120.0095 | 1272.6155 | 144.2916 | 1584.0411 | 146.3834 | 1397.5643 | 55 | FMI20240531_008.gcd | 2024-05-31 19:36 | 219 | Unknown | 0 | 2.854 | 938424 | 0 | ----- | ----- | ----- | -----
56 | FMI20240531_009.gcd | 2024-05-31 20:06 | 96 | Unknown | 0 | 6.01 | 114527 | 0.285 | ----- | ----- | ----- | ----- | 56 | FMI20240531_009.gcd | 2024-05-31 20:06 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240531_009.gcd | 2024-05-31 20:06 | 96 | Unknown | 0 | 12.107 | 81141 | 17.44 | ----- | ----- | ----- | ----- | 1 |  | 44 | 323.9047 | 16030.4781 | 299.7818 | 15403.2476 | 265.383 | 16500.1245 | 317.401 | 18052.3457 | 323.9047 | 16030.4781 | 56 | FMI20240531_009.gcd | 2024-05-31 20:06 | 96 | Unknown | 0 | 2.863 | 753823 | 0 | ----- | ----- | ----- | -----
57 | FMI20240531_010.gcd | 2024-05-31 20:37 | 391 | Unknown | 0 | 6.016 | 21783 | 0.051 | ----- | ----- | ----- | ----- | 57 | FMI20240531_010.gcd | 2024-05-31 20:37 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240531_010.gcd | 2024-05-31 20:37 | 391 | Unknown | 0 | 12.2 | 5474 | 1.167 | ----- | ----- | ----- | ----- | 1 |  | 44 | 58.6909 | 1154.4781 | 56.9297 | 1042.2836 | 48.6383 | 1027.0111 | 55.1174 | 1300.2691 | 58.6909 | 1154.4781 | 57 | FMI20240531_010.gcd | 2024-05-31 20:37 | 391 | Unknown | 0 | 2.862 | 793838 | 0 | ----- | ----- | ----- | -----
58 | FMI20240531_011.gcd | 2024-05-31 21:08 | 298 | Unknown | 0 | 6.022 | 19466 | 0.046 | ----- | ----- | ----- | ----- | 58 | FMI20240531_011.gcd | 2024-05-31 21:08 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240531_011.gcd | 2024-05-31 21:08 | 298 | Unknown | 0 | 12.206 | 4435 | 0.939 | ----- | ----- | ----- | ----- | 1 |  | 44 | 52.0015 | 942.0988 | 50.836 | 843.7942 | 43.2056 | 812.5125 | 48.2175 | 1051.4489 | 52.0015 | 942.0988 | 58 | FMI20240531_011.gcd | 2024-05-31 21:08 | 298 | Unknown | 0 | 2.877 | 659777 | 0 | ----- | ----- | ----- | -----
59 | FMI20240531_012.gcd | 2024-05-31 21:38 | 250 | Unknown | 0 | 6.035 | 3309 | 0.005 | ----- | ----- | ----- | ----- | 59 | FMI20240531_012.gcd | 2024-05-31 21:38 | 250 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240531_012.gcd | 2024-05-31 21:38 | 250 | Unknown | 0 | 12.082 | 105789 | 22.591 | ----- | ----- | ----- | ----- | 1 |  | 44 | 4.9316 | 21004.6435 | 5.3008 | 20041.0281 | 2.5486 | 21477.284 | 2.8653 | 23969.2106 | 4.9316 | 21004.6435 | 59 | FMI20240531_012.gcd | 2024-05-31 21:38 | 250 | Unknown | 0 | 2.856 | 883357 | 0 | ----- | ----- | ----- | -----
60 | FMI20240531_013.gcd | 2024-05-31 22:09 | 14 | Unknown | 0 | 6.017 | 120864 | 0.301 | ----- | ----- | ----- | ----- | 60 | FMI20240531_013.gcd | 2024-05-31 22:09 | 14 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20240531_013.gcd | 2024-05-31 22:09 | 14 | Unknown | 0 | 12.117 | 76825 | 16.531 | ----- | ----- | ----- | ----- | 1 |  | 44 | 341.8449 | 15156.4705 | 316.2994 | 14589.1142 | 280.1421 | 15625.4064 | 334.3322 | 17011.1574 | 341.8449 | 15156.4705 | 60 | FMI20240531_013.gcd | 2024-05-31 22:09 | 14 | Unknown | 0 | 2.872 | 718886 | 0 | ----- | ----- | ----- | -----
61 | FMI20240531_014.gcd | 2024-05-31 22:39 | 224 | Unknown | 0 | 6.012 | 22368 | 0.053 | ----- | ----- | ----- | ----- | 61 | FMI20240531_014.gcd | 2024-05-31 22:39 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20240531_014.gcd | 2024-05-31 22:39 | 224 | Unknown | 0 | 12.193 | 5034 | 1.07 | ----- | ----- | ----- | ----- | 1 |  | 44 | 60.3793 | 1064.5546 | 58.4681 | 958.2308 | 50.0098 | 936.1811 | 56.8568 | 1195.0179 | 60.3793 | 1064.5546 | 61 | FMI20240531_014.gcd | 2024-05-31 22:39 | 224 | Unknown | 0 | 2.863 | 760128 | 0 | ----- | ----- | ----- | -----
62 | FMI20240531_015.gcd | 2024-05-31 23:10 | 279 | Unknown | 0 | 6.021 | 3766 | 0.006 | ----- | ----- | ----- | ----- | 62 | FMI20240531_015.gcd | 2024-05-31 23:10 | 279 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20240531_015.gcd | 2024-05-31 23:10 | 279 | Unknown | 0 | 12.091 | 89495 | 19.194 | ----- | ----- | ----- | ----- | 1 |  | 44 | 6.2374 | 17719.6537 | 6.8605 | 16977.3539 | 3.4 | 18190.5178 | 2.4337 | 20063.3289 | 6.2374 | 17719.6537 | 62 | FMI20240531_015.gcd | 2024-05-31 23:10 | 279 | Unknown | 0 | 2.855 | 887520 | 0 | ----- | ----- | ----- | -----
63 | FMI20240531_016.gcd | 2024-05-31 23:40 | 280 | Unknown | 0 | 6.013 | 274826 | 0.689 | ----- | ----- | ----- | ----- | 63 | FMI20240531_016.gcd | 2024-05-31 23:40 | 280 | Unknown | 0 | 5.964 | 2166 | 0.673 | ----- | ----- | ----- | ----- | 63 | FMI20240531_016.gcd | 2024-05-31 23:40 | 280 | Unknown | 0 | 12.143 | 51925 | 11.242 | ----- | ----- | ----- | ----- | 1 |  | 44 | 745.4838 | 10096.6377 | 714.6239 | 9880.3617 | 636.7383 | 10560.3903 | 685.8576 | 10974.5477 | 745.4838 | 10096.6377 | 63 | FMI20240531_016.gcd | 2024-05-31 23:40 | 280 | Unknown | 0 | 2.866 | 768065 | 0 | ----- | ----- | ----- | -----
64 | FMI20240531_017.gcd | 2024-06-01 00:11 | 332 | Unknown | 0 | 6.02 | 3638 | 0.006 | ----- | ----- | ----- | ----- | 64 | FMI20240531_017.gcd | 2024-06-01 00:11 | 332 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240531_017.gcd | 2024-06-01 00:11 | 332 | Unknown | 0 | 12.088 | 93295 | 19.988 | ----- | ----- | ----- | ----- | 1 |  | 44 | 5.8693 | 18486.9024 | 6.4261 | 17692.6197 | 3.1554 | 18958.2515 | 2.5319 | 20976.1797 | 5.8693 | 18486.9024 | 64 | FMI20240531_017.gcd | 2024-06-01 00:11 | 332 | Unknown | 0 | 2.855 | 891296 | 0 | ----- | ----- | ----- | -----
65 | FMI20240531_018.gcd | 2024-06-01 00:41 | 182 | Unknown | 0 | 6.026 | 3038 | 0.004 | ----- | ----- | ----- | ----- | 65 | FMI20240531_018.gcd | 2024-06-01 00:41 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20240531_018.gcd | 2024-06-01 00:41 | 182 | Unknown | 0 | 12.104 | 79419 | 17.077 | ----- | ----- | ----- | ----- | 1 |  | 44 | 4.1686 | 15681.8734 | 4.3644 | 15078.4968 | 2.0725 | 16151.243 | 3.2278 | 17637.1146 | 4.1686 | 15681.8734 | 65 | FMI20240531_018.gcd | 2024-06-01 00:41 | 182 | Unknown | 0 | 2.857 | 841452 | 0 | ----- | ----- | ----- | -----
66 | FMI20240531_019.gcd | 2024-06-01 01:12 | 158 | Unknown | 0 | 5.977 | 10059213 | 25.949 | ----- | ----- | ----- | ----- | 66 | FMI20240531_019.gcd | 2024-06-01 01:12 | 158 | Unknown | 0 | 5.933 | 80959 | 23.387 | ----- | ----- | ----- | ----- | 66 | FMI20240531_019.gcd | 2024-06-01 01:12 | 158 | Unknown | 0 | 12.14 | 43372 | 9.407 | ----- | ----- | ----- | ----- | 1 |  | 44 | 21521.0537 | 8812.8684 | 20912.4416 | 8258.2812 | 20104.7454 | 8813.286 | 19602.8963 | 9703.0644 | 21521.0537 | 8812.8684 | 66 | FMI20240531_019.gcd | 2024-06-01 01:12 | 158 | Unknown | 0 | 2.864 | 675422 | 0 | ----- | ----- | ----- | -----
67 | FMI20240531_020.gcd | 2024-06-01 01:42 | 349 | Unknown | 0 | 6.014 | 13190 | 0.03 | ----- | ----- | ----- | ----- | 67 | FMI20240531_020.gcd | 2024-06-01 01:42 | 349 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240531_020.gcd | 2024-06-01 01:42 | 349 | Unknown | 0 | 12.207 | 341 | 0.037 | ----- | ----- | ----- | ----- | 1 |  | 44 | 33.8666 | 103.998 | 34.3235 | 61.3393 | 28.4861 | -33.2183 | 29.4428 | 61.431 | 33.8666 | 103.998 | 67 | FMI20240531_020.gcd | 2024-06-01 01:42 | 349 | Unknown | 0 | 2.854 | 924812 | 0 | ----- | ----- | ----- | -----
68 | FMI20240531_021.gcd | 2024-06-01 02:13 | 366 | Unknown | 0 | 6.013 | 10388 | 0.023 | ----- | ----- | ----- | ----- | 68 | FMI20240531_021.gcd | 2024-06-01 02:13 | 366 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20240531_021.gcd | 2024-06-01 02:13 | 366 | Unknown | 0 | 12.176 | 8007 | 1.724 | ----- | ----- | ----- | ----- | 1 |  | 44 | 25.7626 | 1671.7011 | 26.9482 | 1526.0379 | 21.9123 | 1549.7108 | 21.0205 | 1902.7465 | 25.7626 | 1671.7011 | 68 | FMI20240531_021.gcd | 2024-06-01 02:13 | 366 | Unknown | 0 | 2.862 | 752442 | 0 | ----- | ----- | ----- | -----
69 | FMI20240531_022.gcd | 2024-06-01 02:44 | 320 | Unknown | 0 | 6.007 | 132420 | 0.33 | ----- | ----- | ----- | ----- | 69 | FMI20240531_022.gcd | 2024-06-01 02:44 | 320 | Unknown | 0 | 5.972 | 1352 | 0.433 | ----- | ----- | ----- | ----- | 69 | FMI20240531_022.gcd | 2024-06-01 02:44 | 320 | Unknown | 0 | 12.147 | 37617 | 8.168 | ----- | ----- | ----- | ----- | 1 |  | 44 | 374.5005 | 7660.9657 | 346.3956 | 7165.5039 | 307.0399 | 7635.6221 | 364.8813 | 8511.4289 | 374.5005 | 7660.9657 | 69 | FMI20240531_022.gcd | 2024-06-01 02:44 | 320 | Unknown | 0 | 2.855 | 864506 | 0 | ----- | ----- | ----- | -----
70 | FMI20240531_023.gcd | 2024-06-01 03:14 | 253 | Unknown | 0 | 6.015 | 8445 | 0.018 | ----- | ----- | ----- | ----- | 70 | FMI20240531_023.gcd | 2024-06-01 03:14 | 253 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240531_023.gcd | 2024-06-01 03:14 | 253 | Unknown | 0 | 12.167 | 15440 | 3.352 | ----- | ----- | ----- | ----- | 1 |  | 44 | 20.9797 | 3185.0441 | 21.4374 | 2944.3937 | 15.6082 | 3081.6642 | 10.9913 | 3636.9087 | 20.9797 | 3185.0441 | 70 | FMI20240531_023.gcd | 2024-06-01 03:14 | 253 | Unknown | 0 | 2.852 | 933295 | 0 | ----- | ----- | ----- | -----
71 | FMI20240531_024.gcd | 2024-06-01 03:45 | 87 | Unknown | 0 | 6.03 | 2784 | 0.004 | ----- | ----- | ----- | ----- | 71 | FMI20240531_024.gcd | 2024-06-01 03:45 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20240531_024.gcd | 2024-06-01 03:45 | 87 | Unknown | 0 | 12.076 | 105307 | 22.491 | ----- | ----- | ----- | ----- | 1 |  | 44 | 3.461 | 20907.6519 | 3.4791 | 19950.5241 | 1.6455 | 21380.2512 | 3.6396 | 23853.9807 | 3.461 | 20907.6519 | 71 | FMI20240531_024.gcd | 2024-06-01 03:45 | 87 | Unknown | 0 | 2.853 | 914770 | 0 | ----- | ----- | ----- | -----
72 | FMI20240531_025.gcd | 2024-06-01 04:15 | 21 | Unknown | 0 | 6.029 | 3361 | 0.005 | ----- | ----- | ----- | ----- | 72 | FMI20240531_025.gcd | 2024-06-01 04:15 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20240531_025.gcd | 2024-06-01 04:15 | 21 | Unknown | 0 | 11.926 | 212453 | 44.124 | ----- | ----- | ----- | ----- | 2 | moisture (?) peak interfering with CO2 peak. CH4 should be okay. | 44 | 5.079 | 42193.7292 | 5.4795 | 39883.2397 | 2.6425 | 42658.4573 | 2.8048 | 49001.5344 | 5.079 | 42193.7292 | 72 | FMI20240531_025.gcd | 2024-06-01 04:15 | 21 | Unknown | 0 | 2.853 | 907415 | 0 | ----- | ----- | ----- | -----
73 | FMI20240531_026.gcd | 2024-06-01 04:46 | 68 | Unknown | 0 | 6.032 | 3579 | 0.006 | ----- | ----- | ----- | ----- | 73 | FMI20240531_026.gcd | 2024-06-01 04:46 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20240531_026.gcd | 2024-06-01 04:46 | 68 | Unknown | 0 | 12.086 | 100978 | 21.591 | ----- | ----- | ----- | ----- | 1 |  | 44 | 5.7002 | 20036.0381 | 6.2252 | 19137.3396 | 3.0443 | 20508.2365 | 2.5831 | 22818.2114 | 5.7002 | 20036.0381 | 73 | FMI20240531_026.gcd | 2024-06-01 04:46 | 68 | Unknown | 0 | 2.855 | 913477 | 0 | ----- | ----- | ----- | -----
74 | FMI20240531_027.gcd | 2024-06-01 05:16 | 232 | Unknown | 0 | 6.013 | 260882 | 0.654 | ----- | ----- | ----- | ----- | 74 | FMI20240531_027.gcd | 2024-06-01 05:16 | 232 | Unknown | 0 | 5.97 | 1736 | 0.547 | ----- | ----- | ----- | ----- | 74 | FMI20240531_027.gcd | 2024-06-01 05:16 | 232 | Unknown | 0 | 12.139 | 50452 | 10.926 | ----- | ----- | ----- | ----- | 1 |  | 44 | 715.6482 | 9796.3815 | 678.7846 | 9601.1761 | 604.5994 | 10259.7697 | 658.9452 | 10615.8534 | 715.6482 | 9796.3815 | 74 | FMI20240531_027.gcd | 2024-06-01 05:16 | 232 | Unknown | 0 | 2.86 | 898129 | 0 | ----- | ----- | ----- | -----
75 | FMI20240531_028.gcd | 2024-06-01 05:47 | 22 | Unknown | 0 | 6.019 | 11979 | 0.027 | ----- | ----- | ----- | ----- | 75 | FMI20240531_028.gcd | 2024-06-01 05:47 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20240531_028.gcd | 2024-06-01 05:47 | 22 | Unknown | 0 | 12.15 | 38057 | 8.263 | ----- | ----- | ----- | ----- | 1 |  | 44 | 30.3647 | 7749.1746 | 31.1362 | 7249.0905 | 25.6451 | 7725.7204 | 25.8058 | 8603.6023 | 30.3647 | 7749.1746 | 75 | FMI20240531_028.gcd | 2024-06-01 05:47 | 22 | Unknown | 0 | 2.866 | 813937 | 0 | ----- | ----- | ----- | -----
76 | FMI20240531_029.gcd | 2024-06-01 06:17 | 27 | Unknown | 0 | 5.984 | 10398456 | 26.847 | ----- | ----- | ----- | ----- | 76 | FMI20240531_029.gcd | 2024-06-01 06:17 | 27 | Unknown | 0 | 5.94 | 79398 | 22.945 | ----- | ----- | ----- | ----- | 76 | FMI20240531_029.gcd | 2024-06-01 06:17 | 27 | Unknown | 0 | 12.16 | 36121 | 7.845 | ----- | ----- | ----- | ----- | 1 |  | 44 | 21096.2605 | 7360.8823 | 20517.2251 | 6881.2623 | 19723.8735 | 7329.2141 | 19207.5062 | 8196.7182 | 21096.2605 | 7360.8823 | 76 | FMI20240531_029.gcd | 2024-06-01 06:17 | 27 | Unknown | 0 | 2.871 | 699213 | 0 | ----- | ----- | ----- | -----
77 | FMI20240531_030.gcd | 2024-06-01 06:48 | 66 | Unknown | 0 | 6.004 | 115113 | 0.286 | ----- | ----- | ----- | ----- | 77 | FMI20240531_030.gcd | 2024-06-01 06:48 | 66 | Unknown | 0 | 5.974 | 1496 | 0.476 | ----- | ----- | ----- | ----- | 77 | FMI20240531_030.gcd | 2024-06-01 06:48 | 66 | Unknown | 0 | 12.146 | 34899 | 7.581 | ----- | ----- | ----- | ----- | 1 |  | 44 | 325.5647 | 7115.5622 | 301.3096 | 6649.0271 | 266.7481 | 7078.8415 | 318.972 | 7938.1335 | 325.5647 | 7115.5622 | 77 | FMI20240531_030.gcd | 2024-06-01 06:48 | 66 | Unknown | 0 | 2.857 | 786718 | 0 | ----- | ----- | ----- | -----
78 | FMI20240531_031.gcd | 2024-06-01 07:18 | 82 | Unknown | 0 | 6.011 | 14586 | 0.033 | ----- | ----- | ----- | ----- | 78 | FMI20240531_031.gcd | 2024-06-01 07:18 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20240531_031.gcd | 2024-06-01 07:18 | 82 | Unknown | 0 | 12.197 | 367 | 0.042 | ----- | ----- | ----- | ----- | 1 |  | 44 | 37.9024 | 109.3269 | 37.9973 | 66.3102 | 31.7608 | -27.8445 | 33.6297 | 67.7666 | 37.9024 | 109.3269 | 78 | FMI20240531_031.gcd | 2024-06-01 07:18 | 82 | Unknown | 0 | 2.852 | 923770 | 0 | ----- | ----- | ----- | -----