## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm
49 | BRN06may22_001.gcd | 2022-05-06 09:58 | air | Unknown | 0 | 6.051 | 1944 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN06may22_001.gcd | 2022-05-06 09:58 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN06may22_001.gcd | 2022-05-06 09:58 | air | Unknown | 0 | 12.226 | 2945 | 0.549 | ----- | ----- | ----- | ----- | 1 |  | 0.96783 | 580.2886 | 0.49791 | 559.085 | 0.36715 | 504.8102
50 | BRN06may22_002.gcd | 2022-05-06 10:29 | air + 100 | Unknown | 0 | 5.985 | 5086103 | 10.346 | ----- | ----- | ----- | ----- | 50 | BRN06may22_002.gcd | 2022-05-06 10:29 | air + 100 | Unknown | 0 | 5.939 | 38965 | 9.681 | ----- | ----- | ----- | ----- | 50 | BRN06may22_002.gcd | 2022-05-06 10:29 | air + 100 | Unknown | 0 | 12.122 | 43187 | 9.025 | ----- | ----- | ----- | ----- | 1 |  | 7963.941 | 7924.6264 | 10246.2543 | 8223.1696 | 9825.6274 | 8775.4551
51 | BRN06may22_003.gcd | 2022-05-06 10:59 | 128 | Unknown | 0 | 6.003 | 21203 | 0.038 | ----- | ----- | ----- | ----- | 51 | BRN06may22_003.gcd | 2022-05-06 10:59 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN06may22_003.gcd | 2022-05-06 10:59 | 128 | Unknown | 0 | 12.155 | 3010 | 0.562 | ----- | ----- | ----- | ----- | 1 |  | 66.7019 | 592.3153 | 55.4045 | 571.5067 | 47.2784 | 518.2358
52 | BRN06may22_004.gcd | 2022-05-06 11:30 | 37 | Unknown | 0 | 6.003 | 20134 | 0.036 | ----- | ----- | ----- | ----- | 52 | BRN06may22_004.gcd | 2022-05-06 11:30 | 37 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN06may22_004.gcd | 2022-05-06 11:30 | 37 | Unknown | 0 | 12.155 | 2699 | 0.496 | ----- | ----- | ----- | ----- | 1 |  | 63.3802 | 534.7673 | 52.593 | 512.0724 | 44.772 | 453.9974
53 | BRN06may22_005.gcd | 2022-05-06 12:00 | 66 | Unknown | 0 | 6.004 | 23035 | 0.042 | ----- | ----- | ----- | ----- | 53 | BRN06may22_005.gcd | 2022-05-06 12:00 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN06may22_005.gcd | 2022-05-06 12:00 | 66 | Unknown | 0 | 12.155 | 2849 | 0.528 | ----- | ----- | ----- | ----- | 1 |  | 72.3901 | 562.5251 | 60.222 | 540.7388 | 51.5734 | 484.9812
54 | BRN06may22_006.gcd | 2022-05-06 12:31 | 132 | Unknown | 0 | 6.006 | 17488 | 0.031 | ----- | ----- | ----- | ----- | 54 | BRN06may22_006.gcd | 2022-05-06 12:31 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN06may22_006.gcd | 2022-05-06 12:31 | 132 | Unknown | 0 | 12.149 | 7056 | 1.423 | ----- | ----- | ----- | ----- | 1 |  | 55.1504 | 1339.8873 | 45.6328 | 1344.4397 | 38.5672 | 1353.5046
55 | BRN06may22_007.gcd | 2022-05-06 13:01 | 173 | Unknown | 0 | 6.011 | 20677 | 0.037 | ----- | ----- | ----- | ----- | 55 | BRN06may22_007.gcd | 2022-05-06 13:01 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN06may22_007.gcd | 2022-05-06 13:01 | 173 | Unknown | 0 | 12.163 | 2060 | 0.36 | ----- | ----- | ----- | ----- | 1 |  | 65.0677 | 416.4876 | 54.0211 | 389.945 | 46.0452 | 321.9937
56 | BRN06may22_008.gcd | 2022-05-06 13:32 | 34 | Unknown | 0 | 6.006 | 16042 | 0.028 | ----- | ----- | ----- | ----- | 56 | BRN06may22_008.gcd | 2022-05-06 13:32 | 34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN06may22_008.gcd | 2022-05-06 13:32 | 34 | Unknown | 0 | 12.162 | 7417 | 1.499 | ----- | ----- | ----- | ----- | 1 |  | 50.6481 | 1406.4887 | 41.8285 | 1413.3779 | 35.1759 | 1427.99
57 | BRN06may22_009.gcd | 2022-05-06 14:02 | 74 | Unknown | 0 | 6.007 | 20433 | 0.036 | ----- | ----- | ----- | ----- | 57 | BRN06may22_009.gcd | 2022-05-06 14:02 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN06may22_009.gcd | 2022-05-06 14:02 | 74 | Unknown | 0 | 12.154 | 2594 | 0.474 | ----- | ----- | ----- | ----- | 1 |  | 64.3095 | 515.3352 | 53.3794 | 492.0054 | 45.4731 | 432.3081
58 | BRN06may22_010.gcd | 2022-05-06 14:33 | 111 | Unknown | 0 | 6.066 | 2349 | 0 | ----- | ----- | ----- | ----- | 58 | BRN06may22_010.gcd | 2022-05-06 14:33 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN06may22_010.gcd | 2022-05-06 14:33 | 111 | Unknown | 0 | 12.183 | 2610 | 0.477 | ----- | ----- | ----- | ----- | 1 |  | 2.1003 | 518.2964 | 1.9455 | 495.0632 | 0.95792 | 435.6132
59 | BRN06may22_011.gcd | 2022-05-06 15:04 | 72 | Unknown | 0 | 6.059 | 2494 | 0 | ----- | ----- | ----- | ----- | 59 | BRN06may22_011.gcd | 2022-05-06 15:04 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN06may22_011.gcd | 2022-05-06 15:04 | 72 | Unknown | 0 | 12.196 | 2938 | 0.547 | ----- | ----- | ----- | ----- | 1 |  | 2.5074 | 578.9934 | 2.4591 | 557.7472 | 1.181 | 503.3643
|  |  | 17 | [35 empty] | 3 | did not run and interupted the run. It had a cap that was not magnetic.
60 | BRN06may22_013.gcd | 2022-05-09 10:42 | 108 | Unknown | 0 | 6.063 | 1931 | -0.001 | ----- | ----- | ----- | ----- | 60 | BRN06may22_013.gcd | 2022-05-09 10:42 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN06may22_013.gcd | 2022-05-09 10:42 | 108 | Unknown | 0 | 12.235 | 2668 | 0.49 | ----- | ----- | ----- | ----- | 1 |  | 0.93159 | 529.0304 | 0.45113 | 506.1479 | 0.34898 | 447.5939
61 | BRN06may22_014.gcd | 2022-05-09 11:13 | 125 | Unknown | 0 | 6.057 | 2250 | 0 | ----- | ----- | ----- | ----- | 61 | BRN06may22_014.gcd | 2022-05-09 11:13 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN06may22_014.gcd | 2022-05-09 11:13 | 125 | Unknown | 0 | 12.197 | 2417 | 0.436 | ----- | ----- | ----- | ----- | 1 |  | 1.8228 | 482.5751 | 1.5934 | 458.1774 | 0.80911 | 395.7448
62 | BRN06may22_015.gcd | 2022-05-09 11:44 | 197 | Unknown | 0 | 6.063 | 2137 | 0 | ----- | ----- | ----- | ----- | 62 | BRN06may22_015.gcd | 2022-05-09 11:44 | 197 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN06may22_015.gcd | 2022-05-09 11:44 | 197 | Unknown | 0 | 12.205 | 2388 | 0.43 | ----- | ----- | ----- | ----- | 1 |  | 1.5066 | 477.2073 | 1.1901 | 452.6349 | 0.64273 | 389.7541
63 | BRN06may22_016.gcd | 2022-05-09 12:14 | 92 | Unknown | 0 | 6.065 | 2402 | 0 | ----- | ----- | ----- | ----- | 63 | BRN06may22_016.gcd | 2022-05-09 12:14 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN06may22_016.gcd | 2022-05-09 12:14 | 92 | Unknown | 0 | 12.211 | 1680 | 0.279 | ----- | ----- | ----- | ----- | 1 |  | 2.249 | 346.1248 | 2.1335 | 317.3121 | 1.0388 | 243.484
64 | BRN06may22_017.gcd | 2022-05-09 12:45 | 12 | Unknown | 0 | 6.065 | 2189 | 0 | ----- | ----- | ----- | ----- | 64 | BRN06may22_017.gcd | 2022-05-09 12:45 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN06may22_017.gcd | 2022-05-09 12:45 | 12 | Unknown | 0 | 12.2 | 2356 | 0.423 | ----- | ----- | ----- | ----- | 1 |  | 1.6521 | 471.284 | 1.3759 | 446.5189 | 0.71883 | 383.1435
65 | BRN06may22_018.gcd | 2022-05-09 13:15 | 191 | Unknown | 0 | 6.065 | 2124 | -0.001 | ----- | ----- | ----- | ----- | 65 | BRN06may22_018.gcd | 2022-05-09 13:15 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN06may22_018.gcd | 2022-05-09 13:15 | 191 | Unknown | 0 | 12.212 | 2358 | 0.424 | ----- | ----- | ----- | ----- | 1 |  | 1.4703 | 471.6542 | 1.1436 | 446.9012 | 0.62383 | 383.5567
66 | BRN06may22_019.gcd | 2022-05-09 13:46 | 175 | Unknown | 0 | 6.063 | 2395 | 0 | ----- | ----- | ----- | ----- | 66 | BRN06may22_019.gcd | 2022-05-09 13:46 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN06may22_019.gcd | 2022-05-09 13:46 | 175 | Unknown | 0 | 12.206 | 2891 | 0.537 | ----- | ----- | ----- | ----- | 1 |  | 2.2294 | 570.2968 | 2.1087 | 548.7653 | 1.028 | 493.6564
67 | BRN06may22_020.gcd | 2022-05-09 14:16 | 196 | Unknown | 0 | 6.07 | 2210 | 0 | ----- | ----- | ----- | ----- | 67 | BRN06may22_020.gcd | 2022-05-09 14:16 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN06may22_020.gcd | 2022-05-09 14:16 | 196 | Unknown | 0 | 12.205 | 3262 | 0.616 | ----- | ----- | ----- | ----- | 1 |  | 1.7108 | 638.9369 | 1.4508 | 619.6634 | 0.74979 | 570.2839
68 | BRN06may22_021.gcd | 2022-05-09 14:47 | 96 | Unknown | 0 | 6.073 | 2185 | 0 | ----- | ----- | ----- | ----- | 68 | BRN06may22_021.gcd | 2022-05-09 14:47 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN06may22_021.gcd | 2022-05-09 14:47 | 96 | Unknown | 0 | 12.218 | 2308 | 0.413 | ----- | ----- | ----- | ----- | 1 |  | 1.6409 | 462.3988 | 1.3616 | 437.345 | 0.71295 | 373.2277
69 | BRN06may22_022.gcd | 2022-05-09 15:17 | 107 | Unknown | 0 | 6.055 | 2443 | 0 | ----- | ----- | ----- | ----- | 69 | BRN06may22_022.gcd | 2022-05-09 15:17 | 107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN06may22_022.gcd | 2022-05-09 15:17 | 107 | Unknown | 0 | 12.208 | 2151 | 0.38 | ----- | ----- | ----- | ----- | 1 |  | 2.3641 | 433.335 | 2.2787 | 407.338 | 1.1018 | 340.7936
70 | BRN06may22_023.gcd | 2022-05-09 15:48 | 69 | Unknown | 0 | 6.065 | 2178 | 0 | ----- | ----- | ----- | ----- | 70 | BRN06may22_023.gcd | 2022-05-09 15:48 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN06may22_023.gcd | 2022-05-09 15:48 | 69 | Unknown | 0 | 12.225 | 2430 | 0.439 | ----- | ----- | ----- | ----- | 1 |  | 1.6213 | 484.9813 | 1.3366 | 460.662 | 0.70267 | 398.4303
71 | BRN06may22_024.gcd | 2022-05-09 16:18 | 168 | Unknown | 0 | 6.062 | 2318 | 0 | ----- | ----- | ----- | ----- | 71 | BRN06may22_024.gcd | 2022-05-09 16:18 | 168 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN06may22_024.gcd | 2022-05-09 16:18 | 168 | Unknown | 0 | 12.221 | 2259 | 0.403 | ----- | ----- | ----- | ----- | 1 |  | 2.0134 | 453.3283 | 1.8353 | 427.9798 | 0.91101 | 363.1051
72 | BRN06may22_025.gcd | 2022-05-09 16:49 | 149 | Unknown | 0 | 6.073 | 2153 | 0 | ----- | ----- | ----- | ----- | 72 | BRN06may22_025.gcd | 2022-05-09 16:49 | 149 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN06may22_025.gcd | 2022-05-09 16:49 | 149 | Unknown | 0 | 12.218 | 2312 | 0.414 | ----- | ----- | ----- | ----- | 1 |  | 1.5514 | 463.1393 | 1.2473 | 438.1095 | 0.66606 | 374.054
73 | BRN06may22_026.gcd | 2022-05-09 17:20 | 206 | Unknown | 0 | 6.06 | 2203 | 0 | ----- | ----- | ----- | ----- | 73 | BRN06may22_026.gcd | 2022-05-09 17:20 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN06may22_026.gcd | 2022-05-09 17:20 | 206 | Unknown | 0 | 12.207 | 1654 | 0.274 | ----- | ----- | ----- | ----- | 1 |  | 1.6912 | 341.3099 | 1.4258 | 312.3423 | 0.73946 | 238.112
74 | BRN06may22_027.gcd | 2022-05-09 17:50 | 44 | Unknown | 0 | 6.066 | 2052 | -0.001 | ----- | ----- | ----- | ----- | 74 | BRN06may22_027.gcd | 2022-05-09 17:50 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN06may22_027.gcd | 2022-05-09 17:50 | 44 | Unknown | 0 | 12.214 | 2429 | 0.439 | ----- | ----- | ----- | ----- | 1 |  | 1.2691 | 484.7963 | 0.88579 | 460.4709 | 0.52003 | 398.2237
75 | BRN06may22_028.gcd | 2022-05-09 18:21 | 188 | Unknown | 0 | 6.066 | 2297 | 0 | ----- | ----- | ----- | ----- | 75 | BRN06may22_028.gcd | 2022-05-09 18:21 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN06may22_028.gcd | 2022-05-09 18:21 | 188 | Unknown | 0 | 12.229 | 2223 | 0.395 | ----- | ----- | ----- | ----- | 1 |  | 1.9545 | 446.664 | 1.7607 | 421.0992 | 0.8794 | 355.668
76 | BRN06may22_029.gcd | 2022-05-09 18:51 | 133 | Unknown | 0 | 6.073 | 2300 | 0 | ----- | ----- | ----- | ----- | 76 | BRN06may22_029.gcd | 2022-05-09 18:51 | 133 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN06may22_029.gcd | 2022-05-09 18:51 | 133 | Unknown | 0 | 12.226 | 2549 | 0.464 | ----- | ----- | ----- | ----- | 1 |  | 1.9629 | 507.0068 | 1.7713 | 483.4052 | 0.88391 | 423.0125
77 | BRN06may22_030.gcd | 2022-05-09 19:22 | 57 | Unknown | 0 | 6.067 | 2377 | 0 | ----- | ----- | ----- | ----- | 77 | BRN06may22_030.gcd | 2022-05-09 19:22 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN06may22_030.gcd | 2022-05-09 19:22 | 57 | Unknown | 0 | 12.232 | 2395 | 0.432 | ----- | ----- | ----- | ----- | 1 |  | 2.1789 | 478.5029 | 2.0448 | 453.9727 | 1.0005 | 391.2001
78 | BRN06may22_031.gcd | 2022-05-09 19:52 | 147 | Unknown | 0 | 6.066 | 2105 | -0.001 | ----- | ----- | ----- | ----- | 78 | BRN06may22_031.gcd | 2022-05-09 19:52 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN06may22_031.gcd | 2022-05-09 19:52 | 147 | Unknown | 0 | 12.22 | 2490 | 0.452 | ----- | ----- | ----- | ----- | 1 |  | 1.4172 | 496.0868 | 1.0756 | 472.1292 | 0.59629 | 410.8248
79 | BRN06may22_032.gcd | 2022-05-09 20:23 | 68 | Unknown | 0 | 6.071 | 2295 | 0 | ----- | ----- | ----- | ----- | 79 | BRN06may22_032.gcd | 2022-05-09 20:23 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN06may22_032.gcd | 2022-05-09 20:23 | 68 | Unknown | 0 | 12.242 | 2054 | 0.359 | ----- | ----- | ----- | ----- | 1 |  | 1.9489 | 415.3768 | 1.7536 | 388.7982 | 0.87639 | 320.7541