## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20250225_001.gcd | 2025-02-25 14:03 | QC outside air | Unknown | 0 | 6.06 | 1593 | 0.001 | ----- | ----- | ----- | ----- | 48 | FMI20250225_001.gcd | 2025-02-25 14:03 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250225_001.gcd | 2025-02-25 14:03 | QC outside air | Unknown | 0 | 12.284 | 2002 | 0.403 | ----- | ----- | ----- | ----- | 1 |  | 48 | 0.24163 | 444.2703 | -0.77202 | 378.8592 | -0.10628 | 310.0111 | 6.4997 | 464.9399 | 0.24163 | 444.2703 | 48 | FMI20250225_001.gcd | 2025-02-25 14:03 | QC outside air | Unknown | 0 | 2.715 | 5021935 | 0 | ----- | ----- | ----- | -----
49 | FMI20250225_002.gcd | 2025-02-25 14:34 | QC spiked air | Unknown | 0 | 6.021 | 1281187 | 3.232 | ----- | ----- | ----- | ----- | 49 | FMI20250225_002.gcd | 2025-02-25 14:34 | QC spiked air | Unknown | 0 | 5.971 | 8753 | 2.608 | ----- | ----- | ----- | ----- | 49 | FMI20250225_002.gcd | 2025-02-25 14:34 | QC spiked air | Unknown | 0 | 12.272 | 8446 | 1.82 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2892.4068 | 1761.2642 | 2528.8315 | 1609.8573 | 2388.1815 | 1640.2677 | 2609.072 | 2006.5681 | 2892.4068 | 1761.2642 | 49 | FMI20250225_002.gcd | 2025-02-25 14:34 | QC spiked air | Unknown | 0 | 2.71 | 5122623 | 0 | ----- | ----- | ----- | -----
50 | FMI20250225_003.gcd | 2025-02-25 15:04 | QC reference tank | Unknown | 0 | 6.042 | 3365 | 0.005 | ----- | ----- | ----- | ----- | 50 | FMI20250225_003.gcd | 2025-02-25 15:04 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250225_003.gcd | 2025-02-25 15:04 | QC reference tank | Unknown | 0 | 12.284 | 1213 | 0.229 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.0904 | 282.677 | 5.4932 | 228.0437 | 2.6497 | 146.9896 | 2.8003 | 273.5809 | 5.0904 | 282.677 | 50 | FMI20250225_003.gcd | 2025-02-25 15:04 | QC reference tank | Unknown | 0 | 2.709 | 5164122 | 0 | ----- | ----- | ----- | -----
51 | FMI20250225_004.gcd | 2025-02-25 15:35 | 16 | Unknown | 0 | 6.039 | 4934 | 0.009 | ----- | ----- | ----- | ----- | 51 | FMI20250225_004.gcd | 2025-02-25 15:35 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250225_004.gcd | 2025-02-25 15:35 | 16 | Unknown | 0 | 12.229 | 8376 | 1.805 | ----- | ----- | ----- | ----- | 1 |  | 51 | 9.6831 | 1746.9846 | 10.7369 | 1596.4924 | 5.8516 | 1625.8288 | 2.3554 | 1990.0252 | 9.6831 | 1746.9846 | 51 | FMI20250225_004.gcd | 2025-02-25 15:35 | 16 | Unknown | 0 | 2.855 | 1041383 | 0 | ----- | ----- | ----- | -----
52 | FMI20250225_005.gcd | 2025-02-25 16:06 | 116 | Unknown | 0 | 6.041 | 4602 | 0.008 | ----- | ----- | ----- | ----- | 52 | FMI20250225_005.gcd | 2025-02-25 16:06 | 116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250225_005.gcd | 2025-02-25 16:06 | 116 | Unknown | 0 | 12.22 | 6666 | 1.429 | ----- | ----- | ----- | ----- | 1 |  | 52 | 8.6878 | 1397.9728 | 9.6512 | 1269.9587 | 5.1144 | 1273.0282 | 2.2278 | 1584.5169 | 8.6878 | 1397.9728 | 52 | FMI20250225_005.gcd | 2025-02-25 16:06 | 116 | Unknown | 0 | 2.852 | 1093675 | 0 | ----- | ----- | ----- | -----
53 | FMI20250225_006.gcd | 2025-02-25 16:36 | 129 | Unknown | 0 | 6.044 | 5313 | 0.01 | ----- | ----- | ----- | ----- | 53 | FMI20250225_006.gcd | 2025-02-25 16:36 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250225_006.gcd | 2025-02-25 16:36 | 129 | Unknown | 0 | 12.232 | 7868 | 1.693 | ----- | ----- | ----- | ----- | 1 |  | 53 | 10.8347 | 1643.3381 | 11.9608 | 1499.497 | 6.7323 | 1521.0358 | 2.6467 | 1869.8369 | 10.8347 | 1643.3381 | 53 | FMI20250225_006.gcd | 2025-02-25 16:36 | 129 | Unknown | 0 | 2.855 | 1161064 | 0 | ----- | ----- | ----- | -----
54 | FMI20250225_007.gcd | 2025-02-25 17:07 | 334 | Unknown | 0 | 6.042 | 5153 | 0.01 | ----- | ----- | ----- | ----- | 54 | FMI20250225_007.gcd | 2025-02-25 17:07 | 334 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250225_007.gcd | 2025-02-25 17:07 | 334 | Unknown | 0 | 12.2 | 56838 | 12.291 | ----- | ----- | ----- | ----- | 2 | Had moisture peak, but looks like it avoided 99% of the CO2 peak. Should be ok. | 54 | 10.3466 | 11097.3491 | 11.4461 | 10811.0387 | 6.3555 | 11562.2708 | 2.5048 | 12169.6428 | 10.3466 | 11097.3491 | 54 | FMI20250225_007.gcd | 2025-02-25 17:07 | 334 | Unknown | 0 | 2.856 | 991900 | 0 | ----- | ----- | ----- | -----
55 | FMI20250225_008.gcd | 2025-02-25 17:37 | 321 | Unknown | 0 | 6.037 | 6078 | 0.012 | ----- | ----- | ----- | ----- | 55 | FMI20250225_008.gcd | 2025-02-25 17:37 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250225_008.gcd | 2025-02-25 17:37 | 321 | Unknown | 0 | 12.207 | 8544 | 1.842 | ----- | ----- | ----- | ----- | 2 | Sloppy headspace preparation, but tried to correct. If dups don't match this might be the problem. | 55 | 13.2092 | 1781.2546 | 14.3804 | 1628.5678 | 8.6372 | 1660.4818 | 3.7071 | 2029.7207 | 13.2092 | 1781.2546 | 55 | FMI20250225_008.gcd | 2025-02-25 17:37 | 321 | Unknown | 0 | 2.85 | 1106756 | 0 | ----- | ----- | ----- | -----
56 | FMI20250225_009.gcd | 2025-02-25 18:08 | 151 | Unknown | 0 | 6.03 | 9682 | 0.021 | ----- | ----- | ----- | ----- | 56 | FMI20250225_009.gcd | 2025-02-25 18:08 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250225_009.gcd | 2025-02-25 18:08 | 151 | Unknown | 0 | 12.221 | 9980 | 2.157 | ----- | ----- | ----- | ----- | 1 |  | 56 | 25.2953 | 2074.0439 | 24.867 | 1902.6985 | 19.8991 | 1956.6242 | 17.2055 | 2367.9723 | 25.2953 | 2074.0439 | 56 | FMI20250225_009.gcd | 2025-02-25 18:08 | 151 | Unknown | 0 | 2.854 | 1041473 | 0 | ----- | ----- | ----- | -----
57 | FMI20250225_010.gcd | 2025-02-25 18:38 | 224 | Unknown | 0 | 6.029 | 111779 | 0.278 | ----- | ----- | ----- | ----- | 57 | FMI20250225_010.gcd | 2025-02-25 18:38 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250225_010.gcd | 2025-02-25 18:38 | 224 | Unknown | 0 | 12.15 | 88177 | 18.917 | ----- | ----- | ----- | ----- | 1 |  | 57 | 316.1179 | 17453.3774 | 292.616 | 16729.1599 | 258.9808 | 17924.0632 | 310.0196 | 19746.4379 | 316.1179 | 17453.3774 | 57 | FMI20250225_010.gcd | 2025-02-25 18:38 | 224 | Unknown | 0 | 2.869 | 872623 | 0 | ----- | ----- | ----- | -----
58 | FMI20250225_011.gcd | 2025-02-25 19:09 | 324 | Unknown | 0 | 6.031 | 6953 | 0.014 | ----- | ----- | ----- | ----- | 58 | FMI20250225_011.gcd | 2025-02-25 19:09 | 324 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250225_011.gcd | 2025-02-25 19:09 | 324 | Unknown | 0 | 12.217 | 8739 | 1.885 | ----- | ----- | ----- | ----- | 1 |  | 58 | 16.0071 | 1821.0281 | 17.0648 | 1665.797 | 11.0245 | 1700.7023 | 5.6948 | 2075.7636 | 16.0071 | 1821.0281 | 58 | FMI20250225_011.gcd | 2025-02-25 19:09 | 324 | Unknown | 0 | 2.853 | 1050392 | 0 | ----- | ----- | ----- | -----
59 | FMI20250225_012.gcd | 2025-02-25 19:40 | 399 | Unknown | 0 | 6.035 | 4217 | 0.007 | ----- | ----- | ----- | ----- | 59 | FMI20250225_012.gcd | 2025-02-25 19:40 | 399 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250225_012.gcd | 2025-02-25 19:40 | 399 | Unknown | 0 | 12.216 | 8433 | 1.818 | ----- | ----- | ----- | ----- | 1 |  | 59 | 7.5494 | 1758.6123 | 8.3761 | 1607.3753 | 4.2997 | 1637.5862 | 2.2289 | 2003.4962 | 7.5494 | 1758.6123 | 59 | FMI20250225_012.gcd | 2025-02-25 19:40 | 399 | Unknown | 0 | 2.851 | 1091031 | 0 | ----- | ----- | ----- | -----
60 | FMI20250225_013.gcd | 2025-02-25 20:10 | 204 | Unknown | 0 | 6.037 | 7473 | 0.015 | ----- | ----- | ----- | ----- | 60 | FMI20250225_013.gcd | 2025-02-25 20:10 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250225_013.gcd | 2025-02-25 20:10 | 204 | Unknown | 0 | 12.217 | 10065 | 2.175 | ----- | ----- | ----- | ----- | 1 |  | 60 | 17.7113 | 2091.367 | 18.618 | 1918.9228 | 12.5486 | 1974.1502 | 7.2678 | 2387.9351 | 17.7113 | 2091.367 | 60 | FMI20250225_013.gcd | 2025-02-25 20:10 | 204 | Unknown | 0 | 2.85 | 1110496 | 0 | ----- | ----- | ----- | -----
61 | FMI20250225_014.gcd | 2025-02-25 20:41 | 374 | Unknown | 0 | 6.035 | 5545 | 0.011 | ----- | ----- | ----- | ----- | 61 | FMI20250225_014.gcd | 2025-02-25 20:41 | 374 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250225_014.gcd | 2025-02-25 20:41 | 374 | Unknown | 0 | 12.223 | 7291 | 1.567 | ----- | ----- | ----- | ----- | 1 |  | 61 | 11.5478 | 1525.5761 | 12.7017 | 1389.3168 | 7.2921 | 1401.9931 | 2.9015 | 1733.0383 | 11.5478 | 1525.5761 | 61 | FMI20250225_014.gcd | 2025-02-25 20:41 | 374 | Unknown | 0 | 2.853 | 1044517 | 0 | ----- | ----- | ----- | -----
62 | FMI20250225_015.gcd | 2025-02-25 21:11 | 21 | Unknown | 0 | 6.02 | 118810 | 0.296 | ----- | ----- | ----- | ----- | 62 | FMI20250225_015.gcd | 2025-02-25 21:11 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250225_015.gcd | 2025-02-25 21:11 | 21 | Unknown | 0 | 12.128 | 93131 | 19.954 | ----- | ----- | ----- | ----- | 1 |  | 62 | 336.0325 | 18453.8039 | 310.9466 | 17661.76 | 275.359 | 18925.133 | 328.8582 | 20936.8073 | 336.0325 | 18453.8039 | 62 | FMI20250225_015.gcd | 2025-02-25 21:11 | 21 | Unknown | 0 | 2.855 | 967990 | 0 | ----- | ----- | ----- | -----
63 | FMI20250225_016.gcd | 2025-02-25 21:42 | 385 | Unknown | 0 | 6.037 | 7733 | 0.016 | ----- | ----- | ----- | ----- | 63 | FMI20250225_016.gcd | 2025-02-25 21:42 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250225_016.gcd | 2025-02-25 21:42 | 385 | Unknown | 0 | 12.21 | 9649 | 2.084 | ----- | ----- | ----- | ----- | 1 |  | 63 | 18.575 | 2006.5774 | 19.3829 | 1839.5169 | 13.3401 | 1888.3723 | 8.1639 | 2290.1716 | 18.575 | 2006.5774 | 63 | FMI20250225_016.gcd | 2025-02-25 21:42 | 385 | Unknown | 0 | 2.85 | 1083646 | 0 | ----- | ----- | ----- | -----
64 | FMI20250225_017.gcd | 2025-02-25 22:12 | 221 | Unknown | 0 | 6.039 | 5535 | 0.01 | ----- | ----- | ----- | ----- | 64 | FMI20250225_017.gcd | 2025-02-25 22:12 | 221 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250225_017.gcd | 2025-02-25 22:12 | 221 | Unknown | 0 | 12.21 | 7803 | 1.679 | ----- | ----- | ----- | ----- | 1 |  | 64 | 11.5169 | 1630.074 | 12.6699 | 1487.0856 | 7.2676 | 1507.6263 | 2.8893 | 1854.4415 | 11.5169 | 1630.074 | 64 | FMI20250225_017.gcd | 2025-02-25 22:12 | 221 | Unknown | 0 | 2.841 | 1256120 | 0 | ----- | ----- | ----- | -----
65 | FMI20250225_018.gcd | 2025-02-25 22:43 | 111 | Unknown | 0 | 6.05 | 4961 | 0.009 | ----- | ----- | ----- | ----- | 65 | FMI20250225_018.gcd | 2025-02-25 22:43 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250225_018.gcd | 2025-02-25 22:43 | 111 | Unknown | 0 | 12.221 | 8840 | 1.907 | ----- | ----- | ----- | ----- | 1 |  | 65 | 9.7646 | 1841.6269 | 10.8247 | 1685.0794 | 5.913 | 1721.5337 | 2.3711 | 2099.5978 | 9.7646 | 1841.6269 | 65 | FMI20250225_018.gcd | 2025-02-25 22:43 | 111 | Unknown | 0 | 2.856 | 1084973 | 0 | ----- | ----- | ----- | -----
66 | FMI20250225_019.gcd | 2025-02-25 23:13 | 154 | Unknown | 0 | 6.038 | 5378 | 0.01 | ----- | ----- | ----- | ----- | 66 | FMI20250225_019.gcd | 2025-02-25 23:13 | 154 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250225_019.gcd | 2025-02-25 23:13 | 154 | Unknown | 0 | 12.21 | 6533 | 1.4 | ----- | ----- | ----- | ----- | 1 |  | 66 | 11.0339 | 1370.8127 | 12.169 | 1244.5576 | 6.8876 | 1245.5819 | 2.7122 | 1552.8656 | 11.0339 | 1370.8127 | 66 | FMI20250225_019.gcd | 2025-02-25 23:13 | 154 | Unknown | 0 | 2.85 | 1088211 | 0 | ----- | ----- | ----- | -----
67 | FMI20250225_020.gcd | 2025-02-25 23:44 | 344 | Unknown | 0 | 6.034 | 4465 | 0.008 | ----- | ----- | ----- | ----- | 67 | FMI20250225_020.gcd | 2025-02-25 23:44 | 344 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250225_020.gcd | 2025-02-25 23:44 | 344 | Unknown | 0 | 12.205 | 8665 | 1.868 | ----- | ----- | ----- | ----- | 1 |  | 67 | 8.2808 | 1805.9351 | 9.1994 | 1651.6692 | 4.8196 | 1685.4394 | 2.2098 | 2058.295 | 8.2808 | 1805.9351 | 67 | FMI20250225_020.gcd | 2025-02-25 23:44 | 344 | Unknown | 0 | 2.846 | 1148797 | 0 | ----- | ----- | ----- | -----
68 | FMI20250225_021.gcd | 2025-02-26 00:15 | 376 | Unknown | 0 | 6.03 | 5830 | 0.011 | ----- | ----- | ----- | ----- | 68 | FMI20250225_021.gcd | 2025-02-26 00:15 | 376 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250225_021.gcd | 2025-02-26 00:15 | 376 | Unknown | 0 | 12.215 | 7566 | 1.627 | ----- | ----- | ----- | ----- | 1 |  | 68 | 12.4321 | 1581.7068 | 13.6034 | 1441.8304 | 8.0011 | 1458.7313 | 3.2941 | 1798.2748 | 12.4321 | 1581.7068 | 68 | FMI20250225_021.gcd | 2025-02-26 00:15 | 376 | Unknown | 0 | 2.851 | 1065981 | 0 | ----- | ----- | ----- | -----
69 | FMI20250225_022.gcd | 2025-02-26 00:45 | 371 | Unknown | 0 | 6.032 | 5594 | 0.011 | ----- | ----- | ----- | ----- | 69 | FMI20250225_022.gcd | 2025-02-26 00:45 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250225_022.gcd | 2025-02-26 00:45 | 371 | Unknown | 0 | 12.218 | 8209 | 1.768 | ----- | ----- | ----- | ----- | 1 |  | 69 | 11.6992 | 1712.9152 | 12.8574 | 1564.6071 | 7.4123 | 1591.3806 | 2.9627 | 1950.5405 | 11.6992 | 1712.9152 | 69 | FMI20250225_022.gcd | 2025-02-26 00:45 | 371 | Unknown | 0 | 2.848 | 1120551 | 0 | ----- | ----- | ----- | -----
70 | FMI20250225_023.gcd | 2025-02-26 01:16 | 20 | Unknown | 0 | 6.029 | 7969 | 0.017 | ----- | ----- | ----- | ----- | 70 | FMI20250225_023.gcd | 2025-02-26 01:16 | 20 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250225_023.gcd | 2025-02-26 01:16 | 20 | Unknown | 0 | 12.21 | 10291 | 2.225 | ----- | ----- | ----- | ----- | 1 |  | 70 | 19.3656 | 2137.4219 | 20.0704 | 1962.0592 | 14.0756 | 2020.747 | 9.0404 | 2440.9809 | 19.3656 | 2137.4219 | 70 | FMI20250225_023.gcd | 2025-02-26 01:16 | 20 | Unknown | 0 | 2.847 | 1132993 | 0 | ----- | ----- | ----- | -----
71 | FMI20250225_024.gcd | 2025-02-26 01:46 | 325 | Unknown | 0 | 6.055 | 3023 | 0.004 | ----- | ----- | ----- | ----- | 71 | FMI20250225_024.gcd | 2025-02-26 01:46 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250225_024.gcd | 2025-02-26 01:46 | 325 | Unknown | 0 | 12.216 | 5876 | 1.256 | ----- | ----- | ----- | ----- | 1 |  | 71 | 4.1266 | 1236.6153 | 4.3124 | 1119.0718 | 2.0467 | 1109.9881 | 3.2502 | 1396.2761 | 4.1266 | 1236.6153 | 71 | FMI20250225_024.gcd | 2025-02-26 01:46 | 325 | Unknown | 0 | 2.844 | 1309874 | 0 | ----- | ----- | ----- | -----
72 | FMI20250225_025.gcd | 2025-02-26 02:17 | 305 | Unknown | 0 | 6.034 | 5098 | 0.009 | ----- | ----- | ----- | ----- | 72 | FMI20250225_025.gcd | 2025-02-26 02:17 | 305 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250225_025.gcd | 2025-02-26 02:17 | 305 | Unknown | 0 | 12.215 | 7225 | 1.552 | ----- | ----- | ----- | ----- | 1 |  | 72 | 10.1794 | 1512.1034 | 11.2686 | 1376.7132 | 6.2276 | 1388.3753 | 2.4624 | 1717.3713 | 10.1794 | 1512.1034 | 72 | FMI20250225_025.gcd | 2025-02-26 02:17 | 305 | Unknown | 0 | 2.843 | 1212520 | 0 | ----- | ----- | ----- | -----
73 | FMI20250225_026.gcd | 2025-02-26 02:47 | 372 | Unknown | 0 | 6.03 | 9817 | 0.021 | ----- | ----- | ----- | ----- | 73 | FMI20250225_026.gcd | 2025-02-26 02:47 | 372 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250225_026.gcd | 2025-02-26 02:47 | 372 | Unknown | 0 | 12.21 | 10619 | 2.297 | ----- | ----- | ----- | ----- | 1 |  | 73 | 25.7769 | 2204.2518 | 25.2305 | 2024.6613 | 20.3943 | 2088.3696 | 17.9837 | 2517.8847 | 25.7769 | 2204.2518 | 73 | FMI20250225_026.gcd | 2025-02-26 02:47 | 372 | Unknown | 0 | 2.845 | 1162230 | 0 | ----- | ----- | ----- | -----
74 | FMI20250225_027.gcd | 2025-02-26 03:18 | 392 | Unknown | 0 | 6.034 | 5604 | 0.011 | ----- | ----- | ----- | ----- | 74 | FMI20250225_027.gcd | 2025-02-26 03:18 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250225_027.gcd | 2025-02-26 03:18 | 392 | Unknown | 0 | 12.222 | 6954 | 1.493 | ----- | ----- | ----- | ----- | 1 |  | 74 | 11.7301 | 1456.7782 | 12.8892 | 1324.9605 | 7.4369 | 1332.4577 | 2.9755 | 1652.9999 | 11.7301 | 1456.7782 | 74 | FMI20250225_027.gcd | 2025-02-26 03:18 | 392 | Unknown | 0 | 2.843 | 1219776 | 0 | ----- | ----- | ----- | -----
75 | FMI20250225_028.gcd | 2025-02-26 03:49 | 354 | Unknown | 0 | 6.017 | 82376 | 0.204 | ----- | ----- | ----- | ----- | 75 | FMI20250225_028.gcd | 2025-02-26 03:49 | 354 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250225_028.gcd | 2025-02-26 03:49 | 354 | Unknown | 0 | 12.205 | 13036 | 2.826 | ----- | ----- | ----- | ----- | 1 |  | 75 | 232.5273 | 2696.3177 | 215.8293 | 2485.862 | 190.4023 | 2586.5044 | 229.549 | 3081.5556 | 232.5273 | 2696.3177 | 75 | FMI20250225_028.gcd | 2025-02-26 03:49 | 354 | Unknown | 0 | 2.848 | 1101004 | 0 | ----- | ----- | ----- | -----
76 | FMI20250225_029.gcd | 2025-02-26 04:19 | 241 | Unknown | 0 | 6.017 | 82354 | 0.204 | ----- | ----- | ----- | ----- | 76 | FMI20250225_029.gcd | 2025-02-26 04:19 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250225_029.gcd | 2025-02-26 04:19 | 241 | Unknown | 0 | 12.202 | 12213 | 2.646 | ----- | ----- | ----- | ----- | 1 |  | 76 | 232.4646 | 2528.8454 | 215.7717 | 2328.8423 | 190.351 | 2416.9206 | 229.4877 | 2890.2213 | 232.4646 | 2528.8454 | 76 | FMI20250225_029.gcd | 2025-02-26 04:19 | 241 | Unknown | 0 | 2.851 | 1046866 | 0 | ----- | ----- | ----- | -----
77 | FMI20250225_030.gcd | 2025-02-26 04:50 | 219 | Unknown | 0 | 6.04 | 5727 | 0.011 | ----- | ----- | ----- | ----- | 77 | FMI20250225_030.gcd | 2025-02-26 04:50 | 219 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20250225_030.gcd | 2025-02-26 04:50 | 219 | Unknown | 0 | 12.225 | 7008 | 1.505 | ----- | ----- | ----- | ----- | 1 |  | 77 | 12.1114 | 1467.8031 | 13.2786 | 1335.273 | 7.7421 | 1343.6003 | 3.1421 | 1665.832 | 12.1114 | 1467.8031 | 77 | FMI20250225_030.gcd | 2025-02-26 04:50 | 219 | Unknown | 0 | 2.855 | 1105987 | 0 | ----- | ----- | ----- | -----
78 | FMI20250225_031.gcd | 2025-02-26 05:20 | 292 | Unknown | 0 | 6.036 | 2476 | 0.003 | ----- | ----- | ----- | ----- | 78 | FMI20250225_031.gcd | 2025-02-26 05:20 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20250225_031.gcd | 2025-02-26 05:20 | 292 | Unknown | 0 | 12.224 | 6570 | 1.408 | ----- | ----- | ----- | ----- | 1 |  | 78 | 2.6129 | 1378.3687 | 2.3955 | 1251.6241 | 1.153 | 1253.2174 | 4.2324 | 1561.6725 | 2.6129 | 1378.3687 | 78 | FMI20250225_031.gcd | 2025-02-26 05:20 | 292 | Unknown | 0 | 2.847 | 1123480 | 0 | ----- | ----- | ----- | -----