## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20250311_001.gcd | 2025-03-11 16:08 | QC outside air | Unknown | 0 | 6.078 | 2475 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20250311_001.gcd | 2025-03-11 16:08 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250311_001.gcd | 2025-03-11 16:08 | QC outside air | Unknown | 0 | 12.316 | 1905 | 0.382 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.6102 | 424.408 | 2.3919 | 360.319 | 1.1514 | 289.9709 | 4.2345 | 441.4448 | 2.6102 | 424.408 | 48 | FMI20250311_001.gcd | 2025-03-11 16:08 | QC outside air | Unknown | 0 | 2.719 | 4993441 | 0 | ----- | ----- | ----- | -----
49 | FMI20250311_002.gcd | 2025-03-11 16:38 | QC spiked air | Unknown | 0 | 6.015 | 1115884 | 2.813 | ----- | ----- | ----- | ----- | 49 | FMI20250311_002.gcd | 2025-03-11 16:38 | QC spiked air | Unknown | 0 | 5.964 | 7046 | 2.107 | ----- | ----- | ----- | ----- | 49 | FMI20250311_002.gcd | 2025-03-11 16:38 | QC spiked air | Unknown | 0 | 12.259 | 8761 | 1.89 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2540.6192 | 1825.515 | 2091.698 | 1669.9972 | 1966.9045 | 1705.2399 | 2295.7543 | 2080.956 | 2540.6192 | 1825.515 | 49 | FMI20250311_002.gcd | 2025-03-11 16:38 | QC spiked air | Unknown | 0 | 2.705 | 5170437 | 0 | ----- | ----- | ----- | -----
50 | FMI20250311_003.gcd | 2025-03-11 17:09 | QC reference tank | Unknown | 0 | 6.05 | 4477 | 0.008 | ----- | ----- | ----- | ----- | 50 | FMI20250311_003.gcd | 2025-03-11 17:09 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250311_003.gcd | 2025-03-11 17:09 | QC reference tank | Unknown | 0 | 12.266 | 1289 | 0.246 | ----- | ----- | ----- | ----- | 1 |  | 50 | 8.3164 | 298.2456 | 9.239 | 242.5718 | 4.8452 | 162.6939 | 2.2106 | 292.0382 | 8.3164 | 298.2456 | 50 | FMI20250311_003.gcd | 2025-03-11 17:09 | QC reference tank | Unknown | 0 | 2.706 | 5160461 | 0 | ----- | ----- | ----- | -----
51 | FMI20250311_004.gcd | 2025-03-11 17:40 | 224 | Unknown | 0 | 6.031 | 9064 | 0.019 | ----- | ----- | ----- | ----- | 51 | FMI20250311_004.gcd | 2025-03-11 17:40 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250311_004.gcd | 2025-03-11 17:40 | 224 | Unknown | 0 | 12.222 | 5935 | 1.269 | ----- | ----- | ----- | ----- | 1 |  | 51 | 23.1174 | 1248.6686 | 23.1757 | 1130.3413 | 17.6998 | 1122.1656 | 13.8943 | 1410.3542 | 23.1174 | 1248.6686 | 51 | FMI20250311_004.gcd | 2025-03-11 17:40 | 224 | Unknown | 0 | 2.863 | 837926 | 0 | ----- | ----- | ----- | -----
52 | FMI20250311_005.gcd | 2025-03-11 18:10 | 266 | Unknown | 0 | 6.031 | 8609 | 0.018 | ----- | ----- | ----- | ----- | 52 | FMI20250311_005.gcd | 2025-03-11 18:10 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250311_005.gcd | 2025-03-11 18:10 | 266 | Unknown | 0 | 12.22 | 6115 | 1.308 | ----- | ----- | ----- | ----- | 1 |  | 52 | 21.5418 | 1285.4389 | 21.9022 | 1164.722 | 16.1515 | 1159.3162 | 11.7202 | 1453.285 | 21.5418 | 1285.4389 | 52 | FMI20250311_005.gcd | 2025-03-11 18:10 | 266 | Unknown | 0 | 2.866 | 781694 | 0 | ----- | ----- | ----- | -----
53 | FMI20250311_006.gcd | 2025-03-11 18:41 | 38 | Unknown | 0 | 6.036 | 7894 | 0.016 | ----- | ----- | ----- | ----- | 53 | FMI20250311_006.gcd | 2025-03-11 18:41 | 38 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250311_006.gcd | 2025-03-11 18:41 | 38 | Unknown | 0 | 12.223 | 4344 | 0.919 | ----- | ----- | ----- | ----- | 1 |  | 53 | 19.1137 | 923.4916 | 19.8526 | 826.408 | 13.8401 | 793.7232 | 8.7553 | 1029.6092 | 19.1137 | 923.4916 | 53 | FMI20250311_006.gcd | 2025-03-11 18:41 | 38 | Unknown | 0 | 2.868 | 821464 | 0 | ----- | ----- | ----- | -----
54 | FMI20250311_007.gcd | 2025-03-11 19:11 | 154 | Unknown | 0 | 6.028 | 10304 | 0.023 | ----- | ----- | ----- | ----- | 54 | FMI20250311_007.gcd | 2025-03-11 19:11 | 154 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250311_007.gcd | 2025-03-11 19:11 | 154 | Unknown | 0 | 12.219 | 7886 | 1.697 | ----- | ----- | ----- | ----- | 1 |  | 54 | 25.5196 | 1647.0111 | 26.7271 | 1502.934 | 21.7152 | 1524.7491 | 20.7676 | 1874.0996 | 25.5196 | 1647.0111 | 54 | FMI20250311_007.gcd | 2025-03-11 19:11 | 154 | Unknown | 0 | 2.855 | 986561 | 0 | ----- | ----- | ----- | -----
55 | FMI20250311_008.gcd | 2025-03-11 19:42 | 183 | Unknown | 0 | 6.026 | 10162 | 0.022 | ----- | ----- | ----- | ----- | 55 | FMI20250311_008.gcd | 2025-03-11 19:42 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250311_008.gcd | 2025-03-11 19:42 | 183 | Unknown | 0 | 12.212 | 8164 | 1.758 | ----- | ----- | ----- | ----- | 1 |  | 55 | 25.1088 | 1703.7343 | 26.3533 | 1556.0151 | 21.3821 | 1582.0979 | 20.3401 | 1939.8965 | 25.1088 | 1703.7343 | 55 | FMI20250311_008.gcd | 2025-03-11 19:42 | 183 | Unknown | 0 | 2.858 | 924006 | 0 | ----- | ----- | ----- | -----
56 | FMI20250311_009.gcd | 2025-03-11 20:13 | 325 | Unknown | 0 | 6.028 | 9764 | 0.021 | ----- | ----- | ----- | ----- | 56 | FMI20250311_009.gcd | 2025-03-11 20:13 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250311_009.gcd | 2025-03-11 20:13 | 325 | Unknown | 0 | 12.218 | 4087 | 0.862 | ----- | ----- | ----- | ----- | 1 |  | 56 | 25.5876 | 870.9361 | 25.0881 | 777.3048 | 20.1992 | 740.6566 | 17.6758 | 967.8895 | 25.5876 | 870.9361 | 56 | FMI20250311_009.gcd | 2025-03-11 20:13 | 325 | Unknown | 0 | 2.849 | 1086990 | 0 | ----- | ----- | ----- | -----
57 | FMI20250311_010.gcd | 2025-03-11 20:43 | 314 | Unknown | 0 | 6.032 | 9646 | 0.021 | ----- | ----- | ----- | ----- | 57 | FMI20250311_010.gcd | 2025-03-11 20:43 | 314 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250311_010.gcd | 2025-03-11 20:43 | 314 | Unknown | 0 | 12.223 | 7440 | 1.599 | ----- | ----- | ----- | ----- | 1 |  | 57 | 25.1672 | 1555.9899 | 24.7697 | 1417.77 | 19.7679 | 1432.7354 | 17.0013 | 1768.3932 | 25.1672 | 1555.9899 | 57 | FMI20250311_010.gcd | 2025-03-11 20:43 | 314 | Unknown | 0 | 2.864 | 932658 | 0 | ----- | ----- | ----- | -----
58 | FMI20250311_011.gcd | 2025-03-11 21:14 | 242 | Unknown | 0 | 6.029 | 9784 | 0.021 | ----- | ----- | ----- | ----- | 58 | FMI20250311_011.gcd | 2025-03-11 21:14 | 242 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250311_011.gcd | 2025-03-11 21:14 | 242 | Unknown | 0 | 12.224 | 4729 | 1.004 | ----- | ----- | ----- | ----- | 1 |  | 58 | 25.659 | 1002.2077 | 25.1419 | 899.9632 | 20.2727 | 873.2136 | 17.7916 | 1121.956 | 25.659 | 1002.2077 | 58 | FMI20250311_011.gcd | 2025-03-11 21:14 | 242 | Unknown | 0 | 2.853 | 1016069 | 0 | ----- | ----- | ----- | -----
59 | FMI20250311_012.gcd | 2025-03-11 21:44 | 386 | Unknown | 0 | 6.031 | 8451 | 0.018 | ----- | ----- | ----- | ----- | 59 | FMI20250311_012.gcd | 2025-03-11 21:44 | 386 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250311_012.gcd | 2025-03-11 21:44 | 386 | Unknown | 0 | 12.217 | 6454 | 1.383 | ----- | ----- | ----- | ----- | 1 |  | 59 | 21.0002 | 1354.6791 | 21.4544 | 1229.4695 | 15.628 | 1229.2788 | 11.0175 | 1534.0576 | 21.0002 | 1354.6791 | 59 | FMI20250311_012.gcd | 2025-03-11 21:44 | 386 | Unknown | 0 | 2.861 | 883755 | 0 | ----- | ----- | ----- | -----
60 | FMI20250311_013.gcd | 2025-03-11 22:15 | 313 | Unknown | 0 | 6.033 | 6736 | 0.014 | ----- | ----- | ----- | ----- | 60 | FMI20250311_013.gcd | 2025-03-11 22:15 | 313 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250311_013.gcd | 2025-03-11 22:15 | 313 | Unknown | 0 | 12.212 | 6365 | 1.363 | ----- | ----- | ----- | ----- | 1 |  | 60 | 15.3051 | 1336.5023 | 16.4073 | 1212.4713 | 10.4117 | 1210.9116 | 5.1248 | 1512.8619 | 15.3051 | 1336.5023 | 60 | FMI20250311_013.gcd | 2025-03-11 22:15 | 313 | Unknown | 0 | 2.858 | 904757 | 0 | ----- | ----- | ----- | -----
61 | FMI20250311_014.gcd | 2025-03-11 22:45 | 358 | Unknown | 0 | 6.027 | 9247 | 0.02 | ----- | ----- | ----- | ----- | 61 | FMI20250311_014.gcd | 2025-03-11 22:45 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250311_014.gcd | 2025-03-11 22:45 | 358 | Unknown | 0 | 12.213 | 4710 | 0.999 | ----- | ----- | ----- | ----- | 1 |  | 61 | 23.7578 | 998.3234 | 23.6811 | 896.3333 | 18.3395 | 869.2909 | 14.8318 | 1117.4018 | 23.7578 | 998.3234 | 61 | FMI20250311_014.gcd | 2025-03-11 22:45 | 358 | Unknown | 0 | 2.848 | 1106319 | 0 | ----- | ----- | ----- | -----
62 | FMI20250311_015.gcd | 2025-03-11 23:16 | 317 | Unknown | 0 | 6.025 | 8558 | 0.018 | ----- | ----- | ----- | ----- | 62 | FMI20250311_015.gcd | 2025-03-11 23:16 | 317 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250311_015.gcd | 2025-03-11 23:16 | 317 | Unknown | 0 | 12.221 | 5986 | 1.28 | ----- | ----- | ----- | ----- | 1 |  | 62 | 21.3667 | 1259.0872 | 21.758 | 1140.0826 | 15.9818 | 1132.6918 | 11.4904 | 1422.5209 | 21.3667 | 1259.0872 | 62 | FMI20250311_015.gcd | 2025-03-11 23:16 | 317 | Unknown | 0 | 2.855 | 972057 | 0 | ----- | ----- | ----- | -----
63 | FMI20250311_016.gcd | 2025-03-11 23:47 | 305 | Unknown | 0 | 6.025 | 11303 | 0.025 | ----- | ----- | ----- | ----- | 63 | FMI20250311_016.gcd | 2025-03-11 23:47 | 305 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250311_016.gcd | 2025-03-11 23:47 | 305 | Unknown | 0 | 12.209 | 9549 | 2.062 | ----- | ----- | ----- | ----- | 1 |  | 63 | 28.4095 | 1986.1922 | 29.3569 | 1820.4282 | 24.0592 | 1867.7513 | 23.7736 | 2266.6473 | 28.4095 | 1986.1922 | 63 | FMI20250311_016.gcd | 2025-03-11 23:47 | 305 | Unknown | 0 | 2.852 | 1024173 | 0 | ----- | ----- | ----- | -----
64 | FMI20250311_017.gcd | 2025-03-12 00:17 | 362 | Unknown | 0 | 6.026 | 8580 | 0.018 | ----- | ----- | ----- | ----- | 64 | FMI20250311_017.gcd | 2025-03-12 00:17 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250311_017.gcd | 2025-03-12 00:17 | 362 | Unknown | 0 | 12.221 | 5765 | 1.231 | ----- | ----- | ----- | ----- | 1 |  | 64 | 21.4422 | 1213.9375 | 21.8203 | 1097.8696 | 16.0549 | 1087.0773 | 11.5892 | 1369.7814 | 21.4422 | 1213.9375 | 64 | FMI20250311_017.gcd | 2025-03-12 00:17 | 362 | Unknown | 0 | 2.849 | 1063580 | 0 | ----- | ----- | ----- | -----
65 | FMI20250311_018.gcd | 2025-03-12 00:48 | 116 | Unknown | 0 | 6.023 | 10167 | 0.022 | ----- | ----- | ----- | ----- | 65 | FMI20250311_018.gcd | 2025-03-12 00:48 | 116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250311_018.gcd | 2025-03-12 00:48 | 116 | Unknown | 0 | 12.206 | 9281 | 2.004 | ----- | ----- | ----- | ----- | 1 |  | 65 | 25.1233 | 1931.554 | 26.3664 | 1769.2686 | 21.3938 | 1812.4845 | 20.3552 | 2203.5569 | 25.1233 | 1931.554 | 65 | FMI20250311_018.gcd | 2025-03-12 00:48 | 116 | Unknown | 0 | 2.853 | 1011168 | 0 | ----- | ----- | ----- | -----
66 | FMI20250311_019.gcd | 2025-03-12 01:18 | 292 | Unknown | 0 | 6.022 | 8929 | 0.019 | ----- | ----- | ----- | ----- | 66 | FMI20250311_019.gcd | 2025-03-12 01:18 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250311_019.gcd | 2025-03-12 01:18 | 292 | Unknown | 0 | 12.21 | 5467 | 1.166 | ----- | ----- | ----- | ----- | 1 |  | 66 | 22.6474 | 1153.0477 | 22.8004 | 1040.9464 | 17.2342 | 1025.5662 | 13.2259 | 1298.596 | 22.6474 | 1153.0477 | 66 | FMI20250311_019.gcd | 2025-03-12 01:18 | 292 | Unknown | 0 | 2.849 | 1070011 | 0 | ----- | ----- | ----- | -----
67 | FMI20250311_020.gcd | 2025-03-12 01:49 | 165 | Unknown | 0 | 6.022 | 10898 | 0.024 | ----- | ----- | ----- | ----- | 67 | FMI20250311_020.gcd | 2025-03-12 01:49 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250311_020.gcd | 2025-03-12 01:49 | 165 | Unknown | 0 | 12.209 | 8560 | 1.845 | ----- | ----- | ----- | ----- | 1 |  | 67 | 27.238 | 1784.5182 | 28.2908 | 1631.6226 | 23.1089 | 1663.7821 | 22.5553 | 2033.4999 | 27.238 | 1784.5182 | 67 | FMI20250311_020.gcd | 2025-03-12 01:49 | 165 | Unknown | 0 | 2.847 | 1109503 | 0 | ----- | ----- | ----- | -----
68 | FMI20250311_021.gcd | 2025-03-12 02:19 | 390 | Unknown | 0 | 6.034 | 10023 | 0.022 | ----- | ----- | ----- | ----- | 68 | FMI20250311_021.gcd | 2025-03-12 02:19 | 390 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250311_021.gcd | 2025-03-12 02:19 | 390 | Unknown | 0 | 12.231 | 3341 | 0.698 | ----- | ----- | ----- | ----- | 1 |  | 68 | 24.7067 | 718.3375 | 25.9874 | 634.7597 | 21.0559 | 586.5998 | 19.9216 | 788.3929 | 24.7067 | 718.3375 | 68 | FMI20250311_021.gcd | 2025-03-12 02:19 | 390 | Unknown | 0 | 2.863 | 987821 | 0 | ----- | ----- | ----- | -----
69 | FMI20250311_022.gcd | 2025-03-12 02:50 | 217 | Unknown | 0 | 6.028 | 7132 | 0.015 | ----- | ----- | ----- | ----- | 69 | FMI20250311_022.gcd | 2025-03-12 02:50 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250311_022.gcd | 2025-03-12 02:50 | 217 | Unknown | 0 | 12.2 | 57506 | 12.434 | ----- | ----- | ----- | ----- | 2 | Not fully crimped- lost water and had to estimate correct headspace size. If dups don't match, discard this one. | 69 | 16.5902 | 11233.322 | 17.603 | 10937.5184 | 11.5403 | 11698.3971 | 6.2033 | 12331.9824 | 16.5902 | 11233.322 | 69 | FMI20250311_022.gcd | 2025-03-12 02:50 | 217 | Unknown | 0 | 2.85 | 1038958 | 0 | ----- | ----- | ----- | -----
70 | FMI20250311_023.gcd | 2025-03-12 03:21 | 392 | Unknown | 0 | 6.03 | 9484 | 0.02 | ----- | ----- | ----- | ----- | 70 | FMI20250311_023.gcd | 2025-03-12 03:21 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250311_023.gcd | 2025-03-12 03:21 | 392 | Unknown | 0 | 12.189 | 6007 | 1.285 | ----- | ----- | ----- | ----- | 1 |  | 70 | 24.5928 | 1263.3772 | 24.3299 | 1144.0937 | 19.1824 | 1137.026 | 16.0997 | 1427.5301 | 24.5928 | 1263.3772 | 70 | FMI20250311_023.gcd | 2025-03-12 03:21 | 392 | Unknown | 0 | 2.86 | 1014648 | 0 | ----- | ----- | ----- | -----
71 | FMI20250311_024.gcd | 2025-03-12 03:51 | 204 | Unknown | 0 | 6.026 | 9776 | 0.021 | ----- | ----- | ----- | ----- | 71 | FMI20250311_024.gcd | 2025-03-12 03:51 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250311_024.gcd | 2025-03-12 03:51 | 204 | Unknown | 0 | 12.205 | 6762 | 1.45 | ----- | ----- | ----- | ----- | 1 |  | 71 | 25.6304 | 1417.5757 | 25.1204 | 1288.2929 | 20.2433 | 1292.8385 | 17.7453 | 1607.353 | 25.6304 | 1417.5757 | 71 | FMI20250311_024.gcd | 2025-03-12 03:51 | 204 | Unknown | 0 | 2.842 | 1222888 | 0 | ----- | ----- | ----- | -----
72 | FMI20250311_025.gcd | 2025-03-12 04:22 | 50 | Unknown | 0 | 6.014 | 123994 | 0.309 | ----- | ----- | ----- | ----- | 72 | FMI20250311_025.gcd | 2025-03-12 04:22 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250311_025.gcd | 2025-03-12 04:22 | 50 | Unknown | 0 | 12.117 | 86425 | 18.55 | ----- | ----- | ----- | ----- | 1 |  | 72 | 350.6974 | 17099.2907 | 324.4543 | 16399.1515 | 287.4296 | 17569.7315 | 342.6481 | 19324.9789 | 350.6974 | 17099.2907 | 72 | FMI20250311_025.gcd | 2025-03-12 04:22 | 50 | Unknown | 0 | 2.848 | 1058565 | 0 | ----- | ----- | ----- | -----
73 | FMI20250311_026.gcd | 2025-03-12 04:52 | 49 | Unknown | 0 | 6.024 | 10072 | 0.022 | ----- | ----- | ----- | ----- | 73 | FMI20250311_026.gcd | 2025-03-12 04:52 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250311_026.gcd | 2025-03-12 04:52 | 49 | Unknown | 0 | 12.207 | 4980 | 1.059 | ----- | ----- | ----- | ----- | 1 |  | 73 | 24.8484 | 1053.5169 | 26.1164 | 947.9147 | 21.1709 | 925.0331 | 20.0691 | 1182.0885 | 24.8484 | 1053.5169 | 73 | FMI20250311_026.gcd | 2025-03-12 04:52 | 49 | Unknown | 0 | 2.847 | 1100686 | 0 | ----- | ----- | ----- | -----
74 | CMC 20250312_058.gcd | 2025-03-12 17:19 | 105_FMI | Unknown | 0 | 6.033 | 13239 | 0.03 | ----- | ----- | ----- | ----- | 74 | CMC 20250312_058.gcd | 2025-03-12 17:19 | 105_FMI | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | CMC 20250312_058.gcd | 2025-03-12 17:19 | 105_FMI | Unknown | 0 | 12.198 | 13145 | 2.85 | ----- | ----- | ----- | ----- | 1 |  | 74 | 34.0082 | 2718.4921 | 34.4525 | 2506.6564 | 28.6011 | 2608.9619 | 29.5899 | 3106.85 | 34.0082 | 2718.4921 | 74 | CMC 20250312_058.gcd | 2025-03-12 17:19 | 105_FMI | Unknown | 0 | 2.831 | 1889833 | 0 | ----- | ----- | ----- | -----
75 | CMC 20250312_059.gcd | 2025-03-12 17:49 | 375_FMI | Unknown | 0 | 6.039 | 13786 | 0.031 | ----- | ----- | ----- | ----- | 75 | CMC 20250312_059.gcd | 2025-03-12 17:49 | 375_FMI | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | CMC 20250312_059.gcd | 2025-03-12 17:49 | 375_FMI | Unknown | 0 | 12.206 | 15124 | 3.283 | ----- | ----- | ----- | ----- | 1 |  | 75 | 35.5897 | 3120.8416 | 35.892 | 2884.1316 | 29.8842 | 3016.5935 | 31.2311 | 3564.2098 | 35.5897 | 3120.8416 | 75 | CMC 20250312_059.gcd | 2025-03-12 17:49 | 375_FMI | Unknown | 0 | 2.838 | 1894653 | 0 | ----- | ----- | ----- | -----
76 | CMC 20250312_060.gcd | 2025-03-12 18:20 | 197_FMI | Unknown | 0 | 6.036 | 145047 | 0.362 | ----- | ----- | ----- | ----- | 76 | CMC 20250312_060.gcd | 2025-03-12 18:20 | 197_FMI | Unknown | 0 | 6 | 1518 | 0.482 | ----- | ----- | ----- | ----- | 76 | CMC 20250312_060.gcd | 2025-03-12 18:20 | 197_FMI | Unknown | 0 | 12.074 | 155303 | 32.734 | ----- | ----- | ----- | ----- | 2 | Technically a reinjection. If dups don't match, discard this one. | 76 | 410.0943 | 30908.7288 | 379.2442 | 29297.9003 | 336.4059 | 31381.9127 | 397.7801 | 35705.0851 | 410.0943 | 30908.7288 | 76 | CMC 20250312_060.gcd | 2025-03-12 18:20 | 197_FMI | Unknown | 0 | 2.8 | 2951337 | 0 | ----- | ----- | ----- | -----