## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN03nov20_001.gcd | 2020-11-03 10:38 | air | Unknown | 0 | 6.138 | 2557 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN03nov20_001.gcd | 2020-11-03 10:38 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN03nov20_001.gcd | 2020-11-03 10:38 | air | Unknown | 0 | 12.296 | 1699 | 0.406 | ----- | ----- | ----- | ----- | 1 |  | 2.6846 | 349.6434
38 | BRN03nov20_002.gcd | 2020-11-03 11:08 | air + 100 | Unknown | 0 | 6.053 | 722392 | 1.074 | ----- | ----- | ----- | ----- | 38 | BRN03nov20_002.gcd | 2020-11-03 11:08 | air + 100 | Unknown | 0 | 6.002 | 5932 | 1.687 | ----- | ----- | ----- | ----- | 38 | BRN03nov20_002.gcd | 2020-11-03 11:08 | air + 100 | Unknown | 0 | 12.247 | 8724 | 1.361 | ----- | ----- | ----- | ----- | 1 |  | 1686.1024 | 1647.4823
39 | BRN03nov20_003.gcd | 2020-11-03 11:39 | 37 | Unknown | 0 | 6.088 | 4531 | 0.005 | ----- | ----- | ----- | ----- | 39 | BRN03nov20_003.gcd | 2020-11-03 11:39 | 37 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN03nov20_003.gcd | 2020-11-03 11:39 | 37 | Unknown | 0 | 12.175 | 55724 | 7.766 | ----- | ----- | ----- | ----- | 1 |  | 8.3216 | 10171.1484
40 | BRN03nov20_004.gcd | 2020-11-03 12:10 | 96 | Unknown | 0 | 6.099 | 3720 | 0.004 | ----- | ----- | ----- | ----- | 40 | BRN03nov20_004.gcd | 2020-11-03 12:10 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN03nov20_004.gcd | 2020-11-03 12:10 | 96 | Unknown | 0 | 12.138 | 80709 | 11.186 | ----- | ----- | ----- | ----- | 1 |  | 5.9857 | 14589.3984
41 | BRN03nov20_005.gcd | 2020-11-03 12:40 | 111 | Unknown | 0 | 6.104 | 3943 | 0.004 | ----- | ----- | ----- | ----- | 41 | BRN03nov20_005.gcd | 2020-11-03 12:40 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN03nov20_005.gcd | 2020-11-03 12:40 | 111 | Unknown | 0 | 12.168 | 66021 | 9.175 | ----- | ----- | ----- | ----- | 1 |  | 6.6252 | 12001.5233
42 | BRN03nov20_006.gcd | 2020-11-03 13:11 | 46 | Unknown | 0 | 6.095 | 3972 | 0.004 | ----- | ----- | ----- | ----- | 42 | BRN03nov20_006.gcd | 2020-11-03 13:11 | 46 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN03nov20_006.gcd | 2020-11-03 13:11 | 46 | Unknown | 0 | 12.155 | 76710 | 10.638 | ----- | ----- | ----- | ----- | 1 |  | 6.7085 | 13887.4987
43 | BRN03nov20_007.gcd | 2020-11-03 13:41 | 212 | Unknown | 0 | 6.113 | 3134 | 0.003 | ----- | ----- | ----- | ----- | 43 | BRN03nov20_007.gcd | 2020-11-03 13:41 | 212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN03nov20_007.gcd | 2020-11-03 13:41 | 212 | Unknown | 0 | 12.234 | 7012 | 1.128 | ----- | ----- | ----- | ----- | 1 |  | 4.3152 | 1331.7685
44 | BRN03nov20_008.gcd | 2020-11-03 14:12 | 153 | Unknown | 0 | 6.098 | 4259 | 0.004 | ----- | ----- | ----- | ----- | 44 | BRN03nov20_008.gcd | 2020-11-03 14:12 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN03nov20_008.gcd | 2020-11-03 14:12 | 153 | Unknown | 0 | 12.137 | 82265 | 11.4 | ----- | ----- | ----- | ----- | 1 |  | 7.5351 | 14861.9631
45 | BRN03nov20_009.gcd | 2020-11-03 14:42 | 163 | Unknown | 0 | 6.083 | 5006 | 0.006 | ----- | ----- | ----- | ----- | 45 | BRN03nov20_009.gcd | 2020-11-03 14:42 | 163 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN03nov20_009.gcd | 2020-11-03 14:42 | 163 | Unknown | 0 | 12.165 | 55278 | 7.705 | ----- | ----- | ----- | ----- | 1 |  | 9.7028 | 10091.5676
46 | BRN03nov20_010.gcd | 2020-11-03 15:13 | 87 | Unknown | 0 | 6.107 | 4300 | 0.005 | ----- | ----- | ----- | ----- | 46 | BRN03nov20_010.gcd | 2020-11-03 15:13 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN03nov20_010.gcd | 2020-11-03 15:13 | 87 | Unknown | 0 | 12.137 | 81398 | 11.281 | ----- | ----- | ----- | ----- | 1 |  | 7.6534 | 14710.1281
47 | BRN03nov20_011.gcd | 2020-11-03 15:44 | 201 | Unknown | 0 | 6.105 | 4114 | 0.004 | ----- | ----- | ----- | ----- | 47 | BRN03nov20_011.gcd | 2020-11-03 15:44 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN03nov20_011.gcd | 2020-11-03 15:44 | 201 | Unknown | 0 | 12.161 | 69660 | 9.673 | ----- | ----- | ----- | ----- | 1 |  | 7.117 | 12645.2016
48 | BRN03nov20_012.gcd | 2020-11-03 16:14 | 158 | Unknown | 0 | 6.043 | 216825 | 0.321 | ----- | ----- | ----- | ----- | 48 | BRN03nov20_012.gcd | 2020-11-03 16:14 | 158 | Unknown | 0 | 6.01 | 2088 | 0.981 | ----- | ----- | ----- | ----- | 48 | BRN03nov20_012.gcd | 2020-11-03 16:14 | 158 | Unknown | 0 | 12.195 | 27636 | 3.934 | ----- | ----- | ----- | ----- | 1 |  | 643.1454 | 5110.6039
49 | BRN03nov20_013.gcd | 2020-11-03 16:45 | 189 | Unknown | 0 | 6.091 | 5242 | 0.006 | ----- | ----- | ----- | ----- | 49 | BRN03nov20_013.gcd | 2020-11-03 16:45 | 189 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN03nov20_013.gcd | 2020-11-03 16:45 | 189 | Unknown | 0 | 12.178 | 56460 | 7.867 | ----- | ----- | ----- | ----- | 1 |  | 10.3925 | 10302.4201
50 | BRN03nov20_014.gcd | 2020-11-03 17:15 | 181 | Unknown | 0 | 6.054 | 214160 | 0.317 | ----- | ----- | ----- | ----- | 50 | BRN03nov20_014.gcd | 2020-11-03 17:15 | 181 | Unknown | 0 | 6.004 | 1802 | 0.929 | ----- | ----- | ----- | ----- | 50 | BRN03nov20_014.gcd | 2020-11-03 17:15 | 181 | Unknown | 0 | 12.209 | 25380 | 3.627 | ----- | ----- | ----- | ----- | 1 |  | 635.7122 | 4699.8491
51 | BRN03nov20_015.gcd | 2020-11-03 17:46 | 131 | Unknown | 0 | 6.091 | 5275 | 0.006 | ----- | ----- | ----- | ----- | 51 | BRN03nov20_015.gcd | 2020-11-03 17:46 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN03nov20_015.gcd | 2020-11-03 17:46 | 131 | Unknown | 0 | 12.175 | 55259 | 7.703 | ----- | ----- | ----- | ----- | 1 |  | 10.4892 | 10088.1768
52 | BRN03nov20_016.gcd | 2020-11-03 18:17 | 151 | Unknown | 0 | 6.09 | 4164 | 0.004 | ----- | ----- | ----- | ----- | 52 | BRN03nov20_016.gcd | 2020-11-03 18:17 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN03nov20_016.gcd | 2020-11-03 18:17 | 151 | Unknown | 0 | 12.132 | 83059 | 11.508 | ----- | ----- | ----- | ----- | 1 |  | 7.2611 | 15000.9311
53 | BRN03nov20_017.gcd | 2020-11-03 18:47 | 69 | Unknown | 0 | 6.105 | 3818 | 0.004 | ----- | ----- | ----- | ----- | 53 | BRN03nov20_017.gcd | 2020-11-03 18:47 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN03nov20_017.gcd | 2020-11-03 18:47 | 69 | Unknown | 0 | 12.15 | 79580 | 11.031 | ----- | ----- | ----- | ----- | 1 |  | 6.2665 | 14391.4411
54 | BRN03nov20_018.gcd | 2020-11-03 19:18 | 186 | Unknown | 0 | 6.108 | 3900 | 0.004 | ----- | ----- | ----- | ----- | 54 | BRN03nov20_018.gcd | 2020-11-03 19:18 | 186 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN03nov20_018.gcd | 2020-11-03 19:18 | 186 | Unknown | 0 | 12.132 | 79038 | 10.957 | ----- | ----- | ----- | ----- | 1 |  | 6.5017 | 14296.3507
55 | BRN03nov20_019.gcd | 2020-11-03 19:48 | 92 | Unknown | 0 | 6.108 | 3814 | 0.004 | ----- | ----- | ----- | ----- | 55 | BRN03nov20_019.gcd | 2020-11-03 19:48 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN03nov20_019.gcd | 2020-11-03 19:48 | 92 | Unknown | 0 | 12.236 | 6937 | 1.118 | ----- | ----- | ----- | ----- | 1 |  | 6.255 | 1317.9292
56 | BRN03nov20_020.gcd | 2020-11-03 20:19 | 17 | Unknown | 0 | 6.094 | 4222 | 0.004 | ----- | ----- | ----- | ----- | 56 | BRN03nov20_020.gcd | 2020-11-03 20:19 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN03nov20_020.gcd | 2020-11-03 20:19 | 17 | Unknown | 0 | 12.143 | 71973 | 9.989 | ----- | ----- | ----- | ----- | 1 |  | 7.4283 | 13053.4685