## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN04aug20_001.gcd | 2020-08-04 10:29 | air | Unknown | 0 | 6.071 | 2284 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN04aug20_001.gcd | 2020-08-04 10:29 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN04aug20_001.gcd | 2020-08-04 10:29 | air | Unknown | 0 | 12.206 | 1893 | 0.433 | ----- | ----- | ----- | ----- | 1 |  | 1.9181 | 385.5673
38 | BRN04aug20_002.gcd | 2020-08-04 10:59 | air + 100 | Unknown | 0 | 6.013 | 660024 | 0.981 | ----- | ----- | ----- | ----- | 38 | BRN04aug20_002.gcd | 2020-08-04 10:59 | air + 100 | Unknown | 0 | 5.956 | 4987 | 1.514 | ----- | ----- | ----- | ----- | 38 | BRN04aug20_002.gcd | 2020-08-04 10:59 | air + 100 | Unknown | 0 | 12.172 | 6845 | 1.105 | ----- | ----- | ----- | ----- | 1 |  | 1718.043 | 1300.952
39 | BRN04aug20_003.gcd | 2020-08-04 11:30 | 159 | Unknown | 0 | 6.015 | 59218 | 0.086 | ----- | ----- | ----- | ----- | 39 | BRN04aug20_003.gcd | 2020-08-04 11:30 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN04aug20_003.gcd | 2020-08-04 11:30 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 183.6117 | BD
40 | BRN04aug20_004.gcd | 2020-08-04 12:00 | 75 | Unknown | 0 | 6.015 | 65798 | 0.096 | ----- | ----- | ----- | ----- | 40 | BRN04aug20_004.gcd | 2020-08-04 12:00 | 75 | Unknown | 0 | 5.948 | 545 | 0.698 | ----- | ----- | ----- | ----- | 40 | BRN04aug20_004.gcd | 2020-08-04 12:00 | 75 | Unknown | 0 | 12.157 | 4677 | 0.811 | ----- | ----- | ----- | ----- | 1 |  | 203.6081 | 900.5727
41 | BRN04aug20_005.gcd | 2020-08-04 12:31 | 153 | Unknown | 0 | 6.014 | 1712194 | 2.552 | ----- | ----- | ----- | ----- | 41 | BRN04aug20_005.gcd | 2020-08-04 12:31 | 153 | Unknown | 0 | 5.966 | 14539 | 3.27 | ----- | ----- | ----- | ----- | 41 | BRN04aug20_005.gcd | 2020-08-04 12:31 | 153 | Unknown | 0 | 12.077 | 91089 | 12.61 | ----- | ----- | ----- | ----- | 1 |  | 3321.1505 | 16401.915
42 | BRN04aug20_006.gcd | 2020-08-04 13:02 | 152 | Unknown | 0 | 6.01 | 130972 | 0.193 | ----- | ----- | ----- | ----- | 42 | BRN04aug20_006.gcd | 2020-08-04 13:02 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN04aug20_006.gcd | 2020-08-04 13:02 | 152 | Unknown | 0 | 12.101 | 50767 | 7.089 | ----- | ----- | ----- | ----- | 1 |  | 397.8524 | 9285.2554
43 | BRN04aug20_007.gcd | 2020-08-04 13:32 | 34 | Unknown | 0 | 6.02 | 108878 | 0.16 | ----- | ----- | ----- | ----- | 43 | BRN04aug20_007.gcd | 2020-08-04 13:32 | 34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN04aug20_007.gcd | 2020-08-04 13:32 | 34 | Unknown | 0 | 12.036 | 131672 | 18.194 | ----- | ----- | ----- | ----- | 1 |  | 332.7804 | 23358.5429
44 | BRN04aug20_008.gcd | 2020-08-04 14:03 | 23 | Unknown | 0 | 6.012 | 64249 | 0.094 | ----- | ----- | ----- | ----- | 44 | BRN04aug20_008.gcd | 2020-08-04 14:03 | 23 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN04aug20_008.gcd | 2020-08-04 14:03 | 23 | Unknown | 0 | 12.157 | 2306 | 0.489 | ----- | ----- | ----- | ----- | 1 |  | 198.9071 | 462.0286
45 | BRN04aug20_009.gcd | 2020-08-04 14:33 | 68 | Unknown | 0 | 6.021 | 61224 | 0.089 | ----- | ----- | ----- | ----- | 45 | BRN04aug20_009.gcd | 2020-08-04 14:33 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN04aug20_009.gcd | 2020-08-04 14:33 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 189.7154 | BD
46 | BRN04aug20_010.gcd | 2020-08-04 15:04 | 133 | Unknown | 0 | 6.012 | 1743652 | 2.599 | ----- | ----- | ----- | ----- | 46 | BRN04aug20_010.gcd | 2020-08-04 15:04 | 133 | Unknown | 0 | 5.966 | 13880 | 3.149 | ----- | ----- | ----- | ----- | 46 | BRN04aug20_010.gcd | 2020-08-04 15:04 | 133 | Unknown | 0 | 11.972 | 88493 | 12.254 | ----- | ----- | ----- | ----- | 1 |  | 3195.9449 | 15949.8796
47 | BRN04aug20_011.gcd | 2020-08-04 15:35 | 22 | Unknown | 0 | 6.017 | 92945 | 0.137 | ----- | ----- | ----- | ----- | 47 | BRN04aug20_011.gcd | 2020-08-04 15:35 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN04aug20_011.gcd | 2020-08-04 15:35 | 22 | Unknown | 0 | 12.033 | 130876 | 18.084 | ----- | ----- | ----- | ----- | 1 |  | 285.3595 | 23224.0827
48 | BRN04aug20_012.gcd | 2020-08-04 16:05 | 213 | Unknown | 0 | 6.017 | 147915 | 0.218 | ----- | ----- | ----- | ----- | 48 | BRN04aug20_012.gcd | 2020-08-04 16:05 | 213 | Unknown | 0 | 5.981 | 1307 | 0.838 | ----- | ----- | ----- | ----- | 48 | BRN04aug20_012.gcd | 2020-08-04 16:05 | 213 | Unknown | 0 | 12.114 | 52439 | 7.317 | ----- | ----- | ----- | ----- | 1 |  | 447.2137 | 9584.4126