## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN05nov20_001.gcd | 2020-11-05 10:26 | air | Unknown | 0 | 6.111 | 3303 | 0.003 | ----- | ----- | ----- | ----- | 37 | BRN05nov20_001.gcd | 2020-11-05 10:26 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN05nov20_001.gcd | 2020-11-05 10:26 | air | Unknown | 0 | 12.282 | 2199 | 0.474 | ----- | ----- | ----- | ----- | 1 |  | 4.7954 | 442.2211
38 | BRN05nov20_002.gcd | 2020-11-05 10:56 | air + 100 | Unknown | 0 | 6.041 | 367529 | 0.545 | ----- | ----- | ----- | ----- | 38 | BRN05nov20_002.gcd | 2020-11-05 10:56 | air + 100 | Unknown | 0 | 5.995 | 3106 | 1.168 | ----- | ----- | ----- | ----- | 38 | BRN05nov20_002.gcd | 2020-11-05 10:56 | air + 100 | Unknown | 0 | 12.241 | 6066 | 0.999 | ----- | ----- | ----- | ----- | 1 |  | 1044.6285 | 1157.1567
39 | BRN05nov20_003.gcd | 2020-11-05 11:27 | 187 | Unknown | 0 | 6.061 | 7236 | 0.009 | ----- | ----- | ----- | ----- | 39 | BRN05nov20_003.gcd | 2020-11-05 11:27 | 187 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN05nov20_003.gcd | 2020-11-05 11:27 | 187 | Unknown | 0 | 12.155 | 43148 | 6.049 | ----- | ----- | ----- | ----- | 1 |  | 16.315 | 7917.6072
40 | BRN05nov20_004.gcd | 2020-11-05 11:58 | 149 | Unknown | 0 | 6.078 | 5540 | 0.006 | ----- | ----- | ----- | ----- | 40 | BRN05nov20_004.gcd | 2020-11-05 11:58 | 149 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN05nov20_004.gcd | 2020-11-05 11:58 | 149 | Unknown | 0 | 12.175 | 37928 | 5.337 | ----- | ----- | ----- | ----- | 1 |  | 11.2669 | 6976.3845
41 | BRN05nov20_005.gcd | 2020-11-05 12:28 | 34 | Unknown | 0 | 6.076 | 6889 | 0.008 | ----- | ----- | ----- | ----- | 41 | BRN05nov20_005.gcd | 2020-11-05 12:28 | 34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN05nov20_005.gcd | 2020-11-05 12:28 | 34 | Unknown | 0 | 12.17 | 44364 | 6.215 | ----- | ----- | ----- | ----- | 1 |  | 15.2722 | 8136.3739
42 | BRN05nov20_006.gcd | 2020-11-05 12:59 | 85 | Unknown | 0 | 6.083 | 5310 | 0.006 | ----- | ----- | ----- | ----- | 42 | BRN05nov20_006.gcd | 2020-11-05 12:59 | 85 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN05nov20_006.gcd | 2020-11-05 12:59 | 85 | Unknown | 0 | 12.171 | 40113 | 5.635 | ----- | ----- | ----- | ----- | 1 |  | 10.5917 | 7370.78
43 | BRN05nov20_007.gcd | 2020-11-05 13:29 | 90 | Unknown | 0 | 6.076 | 5692 | 0.007 | ----- | ----- | ----- | ----- | 43 | BRN05nov20_007.gcd | 2020-11-05 13:29 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN05nov20_007.gcd | 2020-11-05 13:29 | 90 | Unknown | 0 | 12.16 | 39973 | 5.616 | ----- | ----- | ----- | ----- | 1 |  | 11.7143 | 7345.5277
44 | BRN05nov20_008.gcd | 2020-11-05 14:00 | 168 | Unknown | 0 | 6.06 | 8481 | 0.011 | ----- | ----- | ----- | ----- | 44 | BRN05nov20_008.gcd | 2020-11-05 14:00 | 168 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN05nov20_008.gcd | 2020-11-05 14:00 | 168 | Unknown | 0 | 12.157 | 43425 | 6.087 | ----- | ----- | ----- | ----- | 1 |  | 20.0986 | 7967.4577
45 | BRN05nov20_009.gcd | 2020-11-05 14:30 | 140 | Unknown | 0 | 6.082 | 5933 | 0.007 | ----- | ----- | ----- | ----- | 45 | BRN05nov20_009.gcd | 2020-11-05 14:30 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN05nov20_009.gcd | 2020-11-05 14:30 | 140 | Unknown | 0 | 12.171 | 41805 | 5.866 | ----- | ----- | ----- | ----- | 1 |  | 12.4258 | 7675.7765
46 | BRN05nov20_010.gcd | 2020-11-05 15:01 | 28 | Unknown | 0 | 6.071 | 7851 | 0.01 | ----- | ----- | ----- | ----- | 46 | BRN05nov20_010.gcd | 2020-11-05 15:01 | 28 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN05nov20_010.gcd | 2020-11-05 15:01 | 28 | Unknown | 0 | 12.173 | 42104 | 5.906 | ----- | ----- | ----- | ----- | 1 |  | 18.1758 | 7729.6363