## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN07aug20_001.gcd | 2020-08-07 09:59 | air | Unknown | 0 | 6.077 | 2348 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN07aug20_001.gcd | 2020-08-07 09:59 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN07aug20_001.gcd | 2020-08-07 09:59 | air | Unknown | 0 | 12.192 | 2033 | 0.452 | ----- | ----- | ----- | ----- | 2.0975 | 411.4888
38 | BRN07aug20_002.gcd | 2020-08-07 10:29 | air + 100 | Unknown | 0 | 6.011 | 678528 | 1.009 | ----- | ----- | ----- | ----- | 38 | BRN07aug20_002.gcd | 2020-08-07 10:29 | air + 100 | Unknown | 0 | 5.966 | 6351 | 1.764 | ----- | ----- | ----- | ----- | 38 | BRN07aug20_002.gcd | 2020-08-07 10:29 | air + 100 | Unknown | 0 | 12.17 | 7369 | 1.177 | ----- | ----- | ----- | ----- | 1755.948 | 1397.6341
39 | BRN07aug20_003.gcd | 2020-08-07 11:00 | 169 leaky cap | Unknown | 0 | 5.927 | 38133414 | 59.825 | ----- | ----- | ----- | ----- | 39 | BRN07aug20_003.gcd | 2020-08-07 11:00 | 169 leaky cap | Unknown | 0 | 5.88 | 294210 | 55.639 | ----- | ----- | ----- | ----- | 39 | BRN07aug20_003.gcd | 2020-08-07 11:00 | 169 leaky cap | Unknown | 0 | 12.031 | 127072 | 17.56 | ----- | ----- | ----- | ----- | 56714.327 | 22580.4132
40 | BRN07aug20_004.gcd | 2020-08-07 11:30 | 69 | Unknown | 0 | 6.011 | 1070555 | 1.594 | ----- | ----- | ----- | ----- | 40 | BRN07aug20_004.gcd | 2020-08-07 11:30 | 69 | Unknown | 0 | 5.968 | 9259 | 2.299 | ----- | ----- | ----- | ----- | 40 | BRN07aug20_004.gcd | 2020-08-07 11:30 | 69 | Unknown | 0 | 12.096 | 67014 | 9.31 | ----- | ----- | ----- | ----- | 2318.0657 | 12177.3333
41 | BRN07aug20_005.gcd | 2020-08-07 12:01 | 101 | Unknown | 0 | 5.92 | 40927265 | 64.479 | ----- | ----- | ----- | ----- | 41 | BRN07aug20_005.gcd | 2020-08-07 12:01 | 101 | Unknown | 0 | 5.872 | 312473 | 59.125 | ----- | ----- | ----- | ----- | 41 | BRN07aug20_005.gcd | 2020-08-07 12:01 | 101 | Unknown | 0 | 12.029 | 132841 | 18.355 | ----- | ----- | ----- | ----- | 60218.868 | 23555.8661
42 | BRN07aug20_006.gcd | 2020-08-07 12:31 | 82 | Unknown | 0 | 6.019 | 38256 | 0.055 | ----- | ----- | ----- | ----- | 42 | BRN07aug20_006.gcd | 2020-08-07 12:31 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN07aug20_006.gcd | 2020-08-07 12:31 | 82 | Unknown | 0 | 12.161 | 3531 | 0.655 | ----- | ----- | ----- | ----- | 119.4378 | 688.6948
43 | BRN07aug20_007.gcd | 2020-08-07 13:02 | 49 | Unknown | 0 | 5.927 | 36023860 | 56.338 | ----- | ----- | ----- | ----- | 43 | BRN07aug20_007.gcd | 2020-08-07 13:02 | 49 | Unknown | 0 | 5.878 | 270630 | 51.151 | ----- | ----- | ----- | ----- | 43 | BRN07aug20_007.gcd | 2020-08-07 13:02 | 49 | Unknown | 0 | 12.024 | 124411 | 17.193 | ----- | ----- | ----- | ----- | 52192.7324 | 22129.0693
44 | BRN07aug20_008.gcd | 2020-08-07 13:33 | 134 | Unknown | 0 | 6.019 | 27261 | 0.039 | ----- | ----- | ----- | ----- | 44 | BRN07aug20_008.gcd | 2020-08-07 13:33 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN07aug20_008.gcd | 2020-08-07 13:33 | 134 | Unknown | 0 | 12.152 | 12342 | 1.853 | ----- | ----- | ----- | ----- | 85.4904 | 2313.4754
45 | BRN07aug20_009.gcd | 2020-08-07 14:03 | 69 | Unknown | 0 | 6.015 | 1179070 | 1.756 | ----- | ----- | ----- | ----- | 45 | BRN07aug20_009.gcd | 2020-08-07 14:03 | 69 | Unknown | 0 | 5.967 | 8733 | 2.202 | ----- | ----- | ----- | ----- | 45 | BRN07aug20_009.gcd | 2020-08-07 14:03 | 69 | Unknown | 0 | 12.097 | 65416 | 9.092 | ----- | ----- | ----- | ----- | 2218.1472 | 11894.3477
46 | BRN07aug20_010.gcd | 2020-08-07 14:34 | 90 | Unknown | 0 | 5.923 | 37723259 | 59.145 | ----- | ----- | ----- | ----- | 46 | BRN07aug20_010.gcd | 2020-08-07 14:34 | 90 | Unknown | 0 | 5.875 | 283602 | 53.618 | ----- | ----- | ----- | ----- | 46 | BRN07aug20_010.gcd | 2020-08-07 14:34 | 90 | Unknown | 0 | 12.018 | 134214 | 18.545 | ----- | ----- | ----- | ----- | 54679.7327 | 23787.4046
47 | BRN07aug20_011.gcd | 2020-08-07 15:04 | 27 | Unknown | 0 | 6.022 | 28104 | 0.04 | ----- | ----- | ----- | ----- | 47 | BRN07aug20_011.gcd | 2020-08-07 15:04 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN07aug20_011.gcd | 2020-08-07 15:04 | 27 | Unknown | 0 | 12.149 | 14700 | 2.173 | ----- | ----- | ----- | ----- | 88.1002 | 2746.646
48 | BRN07aug20_012.gcd | 2020-08-07 15:35 | 29 | Unknown | 0 | 6.013 | 49197 | 0.071 | ----- | ----- | ----- | ----- | 48 | BRN07aug20_012.gcd | 2020-08-07 15:35 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN07aug20_012.gcd | 2020-08-07 15:35 | 29 | Unknown | 0 | 12.156 | 4334 | 0.764 | ----- | ----- | ----- | ----- | 153.0225 | 837.1746