## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN10jul20_001.gcd | 2020-07-10 10:23 | air | Unknown | 0 | 6.077 | 2849 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN10jul20_001.gcd | 2020-07-10 10:23 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN10jul20_001.gcd | 2020-07-10 10:23 | air | Unknown | 0 | 12.204 | 1961 | 0.442 | ----- | ----- | ----- | ----- | 3.508 | 398.158
38 | BRN10jul20_002.gcd | 2020-07-10 10:54 | air + 100 | Unknown | 0 | 6.013 | 1038316 | 1.546 | ----- | ----- | ----- | ----- | 38 | BRN10jul20_002.gcd | 2020-07-10 10:54 | air + 100 | Unknown | 0 | 5.966 | 9384 | 2.322 | ----- | ----- | ----- | ----- | 38 | BRN10jul20_002.gcd | 2020-07-10 10:54 | air + 100 | Unknown | 0 | 12.168 | 11222 | 1.7 | ----- | ----- | ----- | ----- | 2341.8109 | 2107.484
39 | BRN10jul20_003.gcd | 2020-07-10 11:25 | 111 | Unknown | 0 | 6.001 | 6969229 | 10.466 | ----- | ----- | ----- | ----- | 39 | BRN10jul20_003.gcd | 2020-07-10 11:25 | 111 | Unknown | 0 | 5.953 | 50428 | 9.888 | ----- | ----- | ----- | ----- | 39 | BRN10jul20_003.gcd | 2020-07-10 11:25 | 111 | Unknown | 0 | 12.117 | 53769 | 7.499 | ----- | ----- | ----- | ----- | 10144.1309 | 9822.1279
40 | BRN10jul20_004.gcd | 2020-07-10 11:55 | 24 | Unknown | 0 | 6.023 | 43873 | 0.063 | ----- | ----- | ----- | ----- | 40 | BRN10jul20_004.gcd | 2020-07-10 11:55 | 24 | Unknown | 0 | 5.958 | 338 | 0.66 | ----- | ----- | ----- | ----- | 40 | BRN10jul20_004.gcd | 2020-07-10 11:55 | 24 | Unknown | 0 | 12.179 | 4150 | 0.739 | ----- | ----- | ----- | ----- | 136.7042 | 803.1589
41 | BRN10jul20_005.gcd | 2020-07-10 12:26 | 160 | Unknown | 0 | 6.028 | 17913 | 0.025 | ----- | ----- | ----- | ----- | 41 | BRN10jul20_005.gcd | 2020-07-10 12:26 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN10jul20_005.gcd | 2020-07-10 12:26 | 160 | Unknown | 0 | 12.14 | 38698 | 5.442 | ----- | ----- | ----- | ----- | 56.473 | 7115.4389
42 | BRN10jul20_006.gcd | 2020-07-10 12:56 | 169 | Unknown | 0 | 6.023 | 61202 | 0.089 | ----- | ----- | ----- | ----- | 42 | BRN10jul20_006.gcd | 2020-07-10 12:56 | 169 | Unknown | 0 | 5.999 | 743 | 0.734 | ----- | ----- | ----- | ----- | 42 | BRN10jul20_006.gcd | 2020-07-10 12:56 | 169 | Unknown | 0 | 12.168 | 3893 | 0.704 | ----- | ----- | ----- | ----- | 189.6485 | 755.6409
43 | BRN10jul20_007.gcd | 2020-07-10 13:27 | 10 | Unknown | 0 | 5.992 | 9012827 | 13.571 | ----- | ----- | ----- | ----- | 43 | BRN10jul20_007.gcd | 2020-07-10 13:27 | 10 | Unknown | 0 | 5.944 | 67645 | 13.073 | ----- | ----- | ----- | ----- | 43 | BRN10jul20_007.gcd | 2020-07-10 13:27 | 10 | Unknown | 0 | 12.094 | 57000 | 7.941 | ----- | ----- | ----- | ----- | 13420.3172 | 10398.6903
44 | BRN10jul20_008.gcd | 2020-07-10 13:58 | 51 | Unknown | 0 | 6.023 | 51824 | 0.075 | ----- | ----- | ----- | ----- | 44 | BRN10jul20_008.gcd | 2020-07-10 13:58 | 51 | Unknown | 0 | 6.025 | 948 | 0.772 | ----- | ----- | ----- | ----- | 44 | BRN10jul20_008.gcd | 2020-07-10 13:58 | 51 | Unknown | 0 | 12.164 | 5408 | 0.91 | ----- | ----- | ----- | ----- | 161.0573 | 1035.6374
45 | BRN10jul20_009.gcd | 2020-07-10 14:28 | 216 | Unknown | 0 | 5.952 | 29813177 | 46.204 | ----- | ----- | ----- | ----- | 45 | BRN10jul20_009.gcd | 2020-07-10 14:28 | 216 | Unknown | 0 | 5.902 | 217928 | 41.169 | ----- | ----- | ----- | ----- | 45 | BRN10jul20_009.gcd | 2020-07-10 14:28 | 216 | Unknown | 0 | 12.074 | 96019 | 13.287 | ----- | ----- | ----- | ----- | 42100.0404 | 17258.0353
46 | BRN10jul20_010.gcd | 2020-07-10 14:59 | 90 | Unknown | 0 | 6.02 | 20278 | 0.028 | ----- | ----- | ----- | ----- | 46 | BRN10jul20_010.gcd | 2020-07-10 14:59 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN10jul20_010.gcd | 2020-07-10 14:59 | 90 | Unknown | 0 | 12.128 | 39785 | 5.59 | ----- | ----- | ----- | ----- | 63.8278 | 7311.6137
47 | BRN10jul20_011.gcd | 2020-07-10 15:30 | 101 | Unknown | 0 | 6.022 | 54813 | 0.08 | ----- | ----- | ----- | ----- | 47 | BRN10jul20_011.gcd | 2020-07-10 15:30 | 101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN10jul20_011.gcd | 2020-07-10 15:30 | 101 | Unknown | 0 | 12.153 | 7017 | 1.129 | ----- | ----- | ----- | ----- | 170.1856 | 1332.6911
48 | BRN10jul20_012.gcd | 2020-07-10 16:00 | 127 | Unknown | 0 | 5.95 | 30545128 | 47.388 | ----- | ----- | ----- | ----- | 48 | BRN10jul20_012.gcd | 2020-07-10 16:00 | 127 | Unknown | 0 | 5.901 | 228284 | 43.125 | ----- | ----- | ----- | ----- | 48 | BRN10jul20_012.gcd | 2020-07-10 16:00 | 127 | Unknown | 0 | 12.077 | 98403 | 13.614 | ----- | ----- | ----- | ----- | 44081.8247 | 17670.9348