## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN11nov20_001.gcd | 2020-11-11 09:20 | air | Unknown | 0 | 6.102 | 3132 | 0.003 | ----- | ----- | ----- | ----- | 37 | BRN11nov20_001.gcd | 2020-11-11 09:20 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN11nov20_001.gcd | 2020-11-11 09:20 | air | Unknown | 0 | 12.222 | 2339 | 0.493 | ----- | ----- | ----- | ----- | 1 |  | 4.3095 | 468.1372
38 | BRN11nov20_002.gcd | 2020-11-11 09:51 | air + 100 | Unknown | 0 | 6.006 | 925412 | 1.377 | ----- | ----- | ----- | ----- | 38 | BRN11nov20_002.gcd | 2020-11-11 09:51 | air + 100 | Unknown | 0 | 5.959 | 7795 | 2.03 | ----- | ----- | ----- | ----- | 38 | BRN11nov20_002.gcd | 2020-11-11 09:51 | air + 100 | Unknown | 0 | 12.162 | 10055 | 1.542 | ----- | ----- | ----- | ----- | 1 |  | 2039.9701 | 1892.6808
39 | BRN11nov20_003.gcd | 2020-11-11 10:21 | 50 | Unknown | 0 | 6.078 | 3027 | 0.003 | ----- | ----- | ----- | ----- | 39 | BRN11nov20_003.gcd | 2020-11-11 10:21 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN11nov20_003.gcd | 2020-11-11 10:21 | 50 | Unknown | 0 | 12.142 | 27509 | 3.917 | ----- | ----- | ----- | ----- | 1 |  | 4.0117 | 5087.4977
40 | BRN11nov20_004.gcd | 2020-11-11 10:52 | 30 | Unknown | 0 | 6.09 | 3147 | 0.003 | ----- | ----- | ----- | ----- | 40 | BRN11nov20_004.gcd | 2020-11-11 10:52 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN11nov20_004.gcd | 2020-11-11 10:52 | 30 | Unknown | 0 | 12.142 | 27149 | 3.868 | ----- | ----- | ----- | ----- | 1 |  | 4.3521 | 5021.9888
41 | BRN11nov20_005.gcd | 2020-11-11 11:22 | 89 | Unknown | 0 | 6.087 | 3047 | 0.003 | ----- | ----- | ----- | ----- | 41 | BRN11nov20_005.gcd | 2020-11-11 11:22 | 89 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN11nov20_005.gcd | 2020-11-11 11:22 | 89 | Unknown | 0 | 12.14 | 26473 | 3.775 | ----- | ----- | ----- | ----- | 1 |  | 4.0684 | 4898.9337
42 | BRN11nov20_006.gcd | 2020-11-11 11:53 | 209 | Unknown | 0 | 6.08 | 3093 | 0.003 | ----- | ----- | ----- | ----- | 42 | BRN11nov20_006.gcd | 2020-11-11 11:53 | 209 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN11nov20_006.gcd | 2020-11-11 11:53 | 209 | Unknown | 0 | 12.153 | 17830 | 2.599 | ----- | ----- | ----- | ----- | 1 |  | 4.1989 | 3320.5569
43 | BRN11nov20_007.gcd | 2020-11-11 12:24 | 157 | Unknown | 0 | 6.081 | 3661 | 0.004 | ----- | ----- | ----- | ----- | 43 | BRN11nov20_007.gcd | 2020-11-11 12:24 | 157 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN11nov20_007.gcd | 2020-11-11 12:24 | 157 | Unknown | 0 | 12.149 | 6334 | 1.036 | ----- | ----- | ----- | ----- | 1 |  | 5.8168 | 1206.6353
44 | BRN11nov20_008.gcd | 2020-11-11 12:54 | 39 | Unknown | 0 | 6.091 | 2861 | 0.002 | ----- | ----- | ----- | ----- | 44 | BRN11nov20_008.gcd | 2020-11-11 12:54 | 39 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN11nov20_008.gcd | 2020-11-11 12:54 | 39 | Unknown | 0 | 12.149 | 16527 | 2.422 | ----- | ----- | ----- | ----- | 1 |  | 3.5419 | 3081.7907
45 | BRN11nov20_009.gcd | 2020-11-11 13:25 | 29 | Unknown | 0 | 6.086 | 3034 | 0.003 | ----- | ----- | ----- | ----- | 45 | BRN11nov20_009.gcd | 2020-11-11 13:25 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN11nov20_009.gcd | 2020-11-11 13:25 | 29 | Unknown | 0 | 12.159 | 14242 | 2.111 | ----- | ----- | ----- | ----- | 1 |  | 4.0316 | 2662.5649
46 | BRN11nov20_010.gcd | 2020-11-11 13:55 | 123 | Unknown | 0 | 6.088 | 2923 | 0.003 | ----- | ----- | ----- | ----- | 46 | BRN11nov20_010.gcd | 2020-11-11 13:55 | 123 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN11nov20_010.gcd | 2020-11-11 13:55 | 123 | Unknown | 0 | 12.162 | 17504 | 2.555 | ----- | ----- | ----- | ----- | 1 |  | 3.7173 | 3260.8395
47 | BRN11nov20_011.gcd | 2020-11-11 14:26 | 86 | Unknown | 0 | 6.085 | 3208 | 0.003 | ----- | ----- | ----- | ----- | 47 | BRN11nov20_011.gcd | 2020-11-11 14:26 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN11nov20_011.gcd | 2020-11-11 14:26 | 86 | Unknown | 0 | 12.167 | 6891 | 1.112 | ----- | ----- | ----- | ----- | 1 |  | 4.5253 | 1309.4407
48 | BRN11nov20_012.gcd | 2020-11-11 14:56 | 48 | Unknown | 0 | 6.091 | 2286 | 0.002 | ----- | ----- | ----- | ----- | 48 | BRN11nov20_012.gcd | 2020-11-11 14:56 | 48 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN11nov20_012.gcd | 2020-11-11 14:56 | 48 | Unknown | 0 | 12.143 | 29065 | 4.129 | ----- | ----- | ----- | ----- | 1 |  | 1.9237 | 5370.4545