## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN18aug20_001.gcd | 2020-08-18 09:55 | air | Unknown | 0 | 6.074 | 2437 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN18aug20_001.gcd | 2020-08-18 09:55 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN18aug20_001.gcd | 2020-08-18 09:55 | air | Unknown | 0 | 12.215 | 2143 | 0.467 | ----- | ----- | ----- | ----- | 1 |  | 2.3473 | 431.8539
38 | BRN18aug20_002.gcd | 2020-08-18 10:26 | air + 100 | Unknown | 0 | 6.016 | 684691 | 1.018 | ----- | ----- | ----- | ----- | 38 | BRN18aug20_002.gcd | 2020-08-18 10:26 | air + 100 | Unknown | 0 | 5.966 | 5180 | 1.549 | ----- | ----- | ----- | ----- | 38 | BRN18aug20_002.gcd | 2020-08-18 10:26 | air + 100 | Unknown | 0 | 12.186 | 7727 | 1.225 | ----- | ----- | ----- | ----- | 1 |  | 1768.4486 | 1463.668
39 | BRN18aug20_003.gcd | 2020-08-18 10:56 | 50 | Unknown | 0 | 6.031 | 9847 | 0.013 | ----- | ----- | ----- | ----- | 39 | BRN18aug20_003.gcd | 2020-08-18 10:56 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN18aug20_003.gcd | 2020-08-18 10:56 | 50 | Unknown | 0 | 12.037 | 134349 | 18.563 | ----- | ----- | ----- | ----- | 1 |  | 24.3256 | 23810.1578
40 | BRN18aug20_004.gcd | 2020-08-18 11:27 | 190 | Unknown | 0 | 6.004 | 3760809 | 5.623 | ----- | ----- | ----- | ----- | 40 | BRN18aug20_004.gcd | 2020-08-18 11:27 | 190 | Unknown | 0 | 5.955 | 29101 | 5.952 | ----- | ----- | ----- | ----- | 40 | BRN18aug20_004.gcd | 2020-08-18 11:27 | 190 | Unknown | 0 | 12.078 | 86089 | 11.924 | ----- | ----- | ----- | ----- | 1 |  | 6088.5619 | 15530.5223
41 | BRN18aug20_005.gcd | 2020-08-18 11:58 | 62 | Unknown | 0 | 6.02 | 13975 | 0.019 | ----- | ----- | ----- | ----- | 41 | BRN18aug20_005.gcd | 2020-08-18 11:58 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN18aug20_005.gcd | 2020-08-18 11:58 | 62 | Unknown | 0 | 12.109 | 8654 | 1.351 | ----- | ----- | ----- | ----- | 1 |  | 37.5815 | 1634.5806
42 | BRN18aug20_006.gcd | 2020-08-18 12:28 | 209 | Unknown | 0 | 6.014 | 1519332 | 2.264 | ----- | ----- | ----- | ----- | 42 | BRN18aug20_006.gcd | 2020-08-18 12:28 | 209 | Unknown | 0 | 5.965 | 11567 | 2.723 | ----- | ----- | ----- | ----- | 42 | BRN18aug20_006.gcd | 2020-08-18 12:28 | 209 | Unknown | 0 | 12.067 | 88570 | 12.264 | ----- | ----- | ----- | ----- | 1 |  | 2756.5128 | 15963.2996
43 | BRN18aug20_007.gcd | 2020-08-18 12:59 | 157 | Unknown | 0 | 6.026 | 15595 | 0.021 | ----- | ----- | ----- | ----- | 43 | BRN18aug20_007.gcd | 2020-08-18 12:59 | 157 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN18aug20_007.gcd | 2020-08-18 12:59 | 157 | Unknown | 0 | 12.157 | 7366 | 1.176 | ----- | ----- | ----- | ----- | 1 |  | 49.2556 | 1397.0806
44 | BRN18aug20_008.gcd | 2020-08-18 13:29 | 184 | Unknown | 0 | 6.021 | 45143 | 0.065 | ----- | ----- | ----- | ----- | 44 | BRN18aug20_008.gcd | 2020-08-18 13:29 | 184 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN18aug20_008.gcd | 2020-08-18 13:29 | 184 | Unknown | 0 | 12.033 | 129564 | 17.903 | ----- | ----- | ----- | ----- | 1 |  | 140.601 | 23002.2863
45 | BRN18aug20_009.gcd | 2020-08-18 14:00 | 91 | Unknown | 0 | 6.01 | 4163359 | 6.229 | ----- | ----- | ----- | ----- | 45 | BRN18aug20_009.gcd | 2020-08-18 14:00 | 91 | Unknown | 0 | 5.962 | 32514 | 6.581 | ----- | ----- | ----- | ----- | 45 | BRN18aug20_009.gcd | 2020-08-18 14:00 | 91 | Unknown | 0 | 12.088 | 83321 | 11.544 | ----- | ----- | ----- | ----- | 1 |  | 6737.3814 | 15046.7696
46 | BRN18aug20_010.gcd | 2020-08-18 14:30 | 145 | Unknown | 0 | 6.051 | 3679 | 0.004 | ----- | ----- | ----- | ----- | 46 | BRN18aug20_010.gcd | 2020-08-18 14:30 | 145 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN18aug20_010.gcd | 2020-08-18 14:30 | 145 | Unknown | 0 | 12.013 | 165090 | 22.813 | ----- | ----- | ----- | ----- | 1 |  | 5.8683 | 28931.738
47 | BRN18aug20_011.gcd | 2020-08-18 15:01 | 21 | Unknown | 0 | 6.015 | 1925568 | 2.871 | ----- | ----- | ----- | ----- | 47 | BRN18aug20_011.gcd | 2020-08-18 15:01 | 21 | Unknown | 0 | 5.967 | 15748 | 3.492 | ----- | ----- | ----- | ----- | 47 | BRN18aug20_011.gcd | 2020-08-18 15:01 | 21 | Unknown | 0 | 12.084 | 92541 | 12.809 | ----- | ----- | ----- | ----- | 1 |  | 3550.8599 | 16654.3794
48 | BRN18aug20_012.gcd | 2020-08-18 15:31 | 204 | Unknown | 0 | 6.064 | 2624 | 0.002 | ----- | ----- | ----- | ----- | 48 | BRN18aug20_012.gcd | 2020-08-18 15:31 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN18aug20_012.gcd | 2020-08-18 15:31 | 204 | Unknown | 0 | 12.018 | 166356 | 22.988 | ----- | ----- | ----- | ----- | 1 |  | 2.8732 | 29140.1154
49 | BRN18aug20_013.gcd | 2020-08-18 16:02 | 199 | Unknown | 0 | 6.029 | 15890 | 0.022 | ----- | ----- | ----- | ----- | 49 | BRN18aug20_013.gcd | 2020-08-18 16:02 | 199 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN18aug20_013.gcd | 2020-08-18 16:02 | 199 | Unknown | 0 | 12.2 | 239232 | 33.129 | ----- | ----- | ----- | ----- | 1 |  | 50.1746 | 40795.9933
50 | BRN18aug20_014.gcd | 2020-08-18 16:33 | 142 | Unknown | 0 | 6.057 | 3111 | 0.003 | ----- | ----- | ----- | ----- | 50 | BRN18aug20_014.gcd | 2020-08-18 16:33 | 142 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN18aug20_014.gcd | 2020-08-18 16:33 | 142 | Unknown | 0 | 12 | 171200 | 23.659 | ----- | ----- | ----- | ----- | 1 |  | 4.2499 | 29935.5565
51 | BRN18aug20_015.gcd | 2020-08-18 17:03 | 128 | Unknown | 0 | 6.071 | 2682 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN18aug20_015.gcd | 2020-08-18 17:03 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN18aug20_015.gcd | 2020-08-18 17:03 | 128 | Unknown | 0 | 11.926 | 155091 | 21.429 | ----- | ----- | ----- | ----- | 2 | CO2 manually integrated off hump | 3.0367 | 27278.8809
52 | BRN18aug20_016.gcd | 2020-08-18 17:34 | 26 | Unknown | 0 | 6.03 | 16382 | 0.023 | ----- | ----- | ----- | ----- | 52 | BRN18aug20_016.gcd | 2020-08-18 17:34 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN18aug20_016.gcd | 2020-08-18 17:34 | 26 | Unknown | 0 | 12.143 | 7175 | 1.15 | ----- | ----- | ----- | ----- | 1 |  | 51.707 | 1361.8436