## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
CH4 by FID |  | CH4 by TCD |  | CO2
Y = aX^2 + bX + c |  | Y = aX^2 + bX + c |  | Y = aX^2 + bX + c
a = 568.767 |  | a = 12.8908 |  | a = 25.6323
b = 528004 |  | b = 3527.37 |  | b = 4800.37
c = 1653.31 |  | c = -474.876 |  | c = 113.146
R^2 = 0.9971190 |  | R^2 = 0.9995979 |  | R^2 = 0.9995336
R = 0.9985585 |  | R = 0.9997989 |  | R = 0.9997668
RSS = 4.207479e+011 |  | RSS = 4.313924e+006 |  | RSS = 6.696992e+006
External Standard |  | External Standard |  | External Standard
Calib Curve:Quadratic |  | Calib Curve:Quadratic |  | Calib Curve:Quadratic
Zero:Not Forced |  | Zero:Not Forced |  | Zero:Not Forced
Weight:1/C |  | Weight:1/C |  | Weight:1/C
Mean RF : 1.032946e+006 |  | Mean RF : 3.824418e+003 |  | Mean RF : 5.283354e+003
RF SD : 2.524957e+006 |  | RF SD : 9.974186e+002 |  | RF SD : 9.232034e+002
RF %RSD : 244.442206 |  | RF %RSD : 26.080271 |  | RF %RSD : 17.473814
Date Processed : 6/23/2020 9:11:39 AM |  | Date Processed : 6/23/2020 9:05:02 AM |  | Date Processed : 6/23/2020 9:05:02 AM
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN20jul20_001.gcd | 2020-07-20 10:16 | air | Unknown | 0 | 6.068 | 1957 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN20jul20_001.gcd | 2020-07-20 10:16 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN20jul20_001.gcd | 2020-07-20 10:16 | air | Unknown | 0 | 12.207 | 2323 | 0.491 | ----- | ----- | ----- | ----- | 1.0041 | 465.1755
38 | BRN20jul20_002.gcd | 2020-07-20 10:47 | air + 100 | Unknown | 0 | 6.014 | 968922 | 1.442 | ----- | ----- | ----- | ----- | 38 | BRN20jul20_002.gcd | 2020-07-20 10:47 | air + 100 | Unknown | 0 | 5.966 | 8134 | 2.092 | ----- | ----- | ----- | ----- | 38 | BRN20jul20_002.gcd | 2020-07-20 10:47 | air + 100 | Unknown | 0 | 12.169 | 12404 | 1.861 | ----- | ----- | ----- | ----- | 2104.3639 | 2324.8739
39 | BRN20jul20_003.gcd | 2020-07-20 11:18 | 39 | Unknown | 0 | 5.972 | 18736716 | 28.588 | ----- | ----- | ----- | ----- | 39 | BRN20jul20_003.gcd | 2020-07-20 11:18 | 39 | Unknown | 0 | 5.923 | 138505 | 26.254 | ----- | ----- | ----- | ----- | 39 | BRN20jul20_003.gcd | 2020-07-20 11:18 | 39 | Unknown | 0 | 12.073 | 86250 | 11.946 | ----- | ----- | ----- | ----- | 26924.6177 | 15558.63
40 | BRN20jul20_004.gcd | 2020-07-20 11:48 | 192 | Unknown | 0 | 6.017 | 37309 | 0.054 | ----- | ----- | ----- | ----- | 40 | BRN20jul20_004.gcd | 2020-07-20 11:48 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN20jul20_004.gcd | 2020-07-20 11:48 | 192 | Unknown | 0 | 12.169 | 7562 | 1.203 | ----- | ----- | ----- | ----- | 116.5217 | 1433.2354
41 | BRN20jul20_005.gcd | 2020-07-20 12:19 | 129 | Unknown | 0 | 6.011 | 30790 | 0.044 | ----- | ----- | ----- | ----- | 41 | BRN20jul20_005.gcd | 2020-07-20 12:19 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN20jul20_005.gcd | 2020-07-20 12:19 | 129 | Unknown | 0 | 12.147 | 7870 | 1.245 | ----- | ----- | ----- | ----- | 96.4078 | 1490.0402
42 | BRN20jul20_006.gcd | 2020-07-20 12:49 | 17 | Unknown | 0 | 6.019 | 32628 | 0.047 | ----- | ----- | ----- | ----- | 42 | BRN20jul20_006.gcd | 2020-07-20 12:49 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN20jul20_006.gcd | 2020-07-20 12:49 | 17 | Unknown | 0 | 12.169 | 6789 | 1.098 | ----- | ----- | ----- | ----- | 102.0858 | 1290.6175
43 | BRN20jul20_007.gcd | 2020-07-20 13:20 | 2 | Unknown | 0 | 6.032 | 4206 | 0.004 | ----- | ----- | ----- | ----- | 43 | BRN20jul20_007.gcd | 2020-07-20 13:20 | 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN20jul20_007.gcd | 2020-07-20 13:20 | 2 | Unknown | 0 | 12.118 | 46757 | 6.541 | ----- | ----- | ----- | ----- | 7.3822 | 8566.349
44 | BRN20jul20_008.gcd | 2020-07-20 13:51 | 149 | Unknown | 0 | 5.957 | 25557592 | 39.368 | ----- | ----- | ----- | ----- | 44 | BRN20jul20_008.gcd | 2020-07-20 13:51 | 149 | Unknown | 0 | 5.908 | 184224 | 34.821 | ----- | ----- | ----- | ----- | 44 | BRN20jul20_008.gcd | 2020-07-20 13:51 | 149 | Unknown | 0 | 12.081 | 80827 | 11.202 | ----- | ----- | ----- | ----- | 35655.1255 | 14610.0791
45 | BRN20jul20_009.gcd | 2020-07-20 14:21 | 80 | Unknown | 0 | 6.002 | 6471140 | 9.711 | ----- | ----- | ----- | ----- | 45 | BRN20jul20_009.gcd | 2020-07-20 14:21 | 80 | Unknown | 0 | 5.954 | 47493 | 9.345 | ----- | ----- | ----- | ----- | 45 | BRN20jul20_009.gcd | 2020-07-20 14:21 | 80 | Unknown | 0 | 12.105 | 64665 | 8.989 | ----- | ----- | ----- | ----- | 9585.8303 | 11761.2443
46 | BRN20jul20_010.gcd | 2020-07-20 14:52 | 46 | Unknown | 0 | 6.029 | 7693 | 0.01 | ----- | ----- | ----- | ----- | 46 | BRN20jul20_010.gcd | 2020-07-20 14:52 | 46 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN20jul20_010.gcd | 2020-07-20 14:52 | 46 | Unknown | 0 | 12.117 | 51475 | 7.186 | ----- | ----- | ----- | ----- | 17.6962 | 9411.9749
47 | BRN20jul20_011.gcd | 2020-07-20 15:22 | 136 | Unknown | 0 | 6.001 | 6658690 | 9.995 | ----- | ----- | ----- | ----- | 47 | BRN20jul20_011.gcd | 2020-07-20 15:22 | 136 | Unknown | 0 | 5.951 | 48224 | 9.481 | ----- | ----- | ----- | ----- | 47 | BRN20jul20_011.gcd | 2020-07-20 15:22 | 136 | Unknown | 0 | 12.104 | 58221 | 8.108 | ----- | ----- | ----- | ----- | 9724.877 | 10616.2329
48 | BRN20jul20_012.gcd | 2020-07-20 15:53 | 48 | Unknown | 0 | 6.022 | 34787 | 0.05 | ----- | ----- | ----- | ----- | 48 | BRN20jul20_012.gcd | 2020-07-20 15:53 | 48 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN20jul20_012.gcd | 2020-07-20 15:53 | 48 | Unknown | 0 | 12.169 | 8703 | 1.358 | ----- | ----- | ----- | ----- | 108.7485 | 1643.6119