## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN20oct20_001.gcd | 2020-10-20 10:13 | air | Unknown | 0 | 6.094 | 2737 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN20oct20_001.gcd | 2020-10-20 10:13 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN20oct20_001.gcd | 2020-10-20 10:13 | air | Unknown | 0 | 12.205 | 1859 | 0.428 | ----- | ----- | ----- | ----- | 1 |  | 3.1918 | 379.2717
38 | BRN20oct20_002.gcd | 2020-10-20 10:44 | air + 100 | Unknown | 0 | 6.021 | 676529 | 1.006 | ----- | ----- | ----- | ----- | 38 | BRN20oct20_002.gcd | 2020-10-20 10:44 | air + 100 | Unknown | 0 | 5.97 | 6286 | 1.752 | ----- | ----- | ----- | ----- | 38 | BRN20oct20_002.gcd | 2020-10-20 10:44 | air + 100 | Unknown | 0 | 12.192 | 7640 | 1.213 | ----- | ----- | ----- | ----- | 1 |  | 1751.88 | 1447.6221
39 | BRN20oct20_003.gcd | 2020-10-20 11:14 | 101 bubble | Unknown | 0 | 6.038 | 8229 | 0.01 | ----- | ----- | ----- | ----- | 39 | BRN20oct20_003.gcd | 2020-10-20 11:14 | 101 bubble | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN20oct20_003.gcd | 2020-10-20 11:14 | 101 bubble | Unknown | 0 | 12.157 | 15040 | 2.219 | ----- | ----- | ----- | ----- | 2 | bubble in vial-headspace diluted by that | 19.3274 | 2809.0473
40 | BRN20oct20_004.gcd | 2020-10-20 11:45 | 103 bubble | Unknown | 0 | 6.08 | 2986 | 0.003 | ----- | ----- | ----- | ----- | 40 | BRN20oct20_004.gcd | 2020-10-20 11:45 | 103 bubble | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN20oct20_004.gcd | 2020-10-20 11:45 | 103 bubble | Unknown | 0 | 12.151 | 7178 | 1.151 | ----- | ----- | ----- | ----- | 2 | bubble in vial-headspace diluted by that | 3.8956 | 1362.3971
41 | BRN20oct20_005.gcd | 2020-10-20 12:15 | 049 bubble | Unknown | 0 | 6.091 | 2752 | 0.002 | ----- | ----- | ----- | ----- | 41 | BRN20oct20_005.gcd | 2020-10-20 12:15 | 049 bubble | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN20oct20_005.gcd | 2020-10-20 12:15 | 049 bubble | Unknown | 0 | 12.158 | 6694 | 1.085 | ----- | ----- | ----- | ----- | 2 | bubble in vial-headspace diluted by that | 3.2341 | 1273.0849
42 | BRN20oct20_006.gcd | 2020-10-20 12:46 | 50 | Unknown | 0 | 6.043 | 6517 | 0.008 | ----- | ----- | ----- | ----- | 42 | BRN20oct20_006.gcd | 2020-10-20 12:46 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN20oct20_006.gcd | 2020-10-20 12:46 | 50 | Unknown | 0 | 12.14 | 21362 | 3.08 | ----- | ----- | ----- | ----- | 1 |  | 14.16 | 3966.7006
43 | BRN20oct20_007.gcd | 2020-10-20 13:17 | 48 | Unknown | 0 | 6.068 | 3658 | 0.004 | ----- | ----- | ----- | ----- | 43 | BRN20oct20_007.gcd | 2020-10-20 13:17 | 48 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN20oct20_007.gcd | 2020-10-20 13:17 | 48 | Unknown | 0 | 12.019 | 159679 | 22.064 | ----- | ----- | ----- | ----- | 1 |  | 5.8082 | 28038.8459
44 | BRN20oct20_008.gcd | 2020-10-20 13:47 | 105 | Unknown | 0 | 6.05 | 7074 | 0.009 | ----- | ----- | ----- | ----- | 44 | BRN20oct20_008.gcd | 2020-10-20 13:47 | 105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN20oct20_008.gcd | 2020-10-20 13:47 | 105 | Unknown | 0 | 12.163 | 15098 | 2.227 | ----- | ----- | ----- | ----- | 1 |  | 15.8276 | 2819.6908
45 | BRN20oct20_009.gcd | 2020-10-20 14:18 | 89 | Unknown | 0 | 6.078 | 2801 | 0.002 | ----- | ----- | ----- | ----- | 45 | BRN20oct20_009.gcd | 2020-10-20 14:18 | 89 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN20oct20_009.gcd | 2020-10-20 14:18 | 89 | Unknown | 0 | 12.003 | 184022 | 25.438 | ----- | ----- | ----- | ----- | 1 |  | 3.3724 | 32026.8595
46 | BRN20oct20_010.gcd | 2020-10-20 14:48 | 179 | Unknown | 0 | 6.071 | 3832 | 0.004 | ----- | ----- | ----- | ----- | 46 | BRN20oct20_010.gcd | 2020-10-20 14:48 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN20oct20_010.gcd | 2020-10-20 14:48 | 179 | Unknown | 0 | 12.018 | 176800 | 24.436 | ----- | ----- | ----- | ----- | 1 |  | 6.3066 | 30851.4703
47 | BRN20oct20_011.gcd | 2020-10-20 15:19 | 183 | Unknown | 0 | 6.037 | 10196 | 0.013 | ----- | ----- | ----- | ----- | 47 | BRN20oct20_011.gcd | 2020-10-20 15:19 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN20oct20_011.gcd | 2020-10-20 15:19 | 183 | Unknown | 0 | 12.088 | 78896 | 10.938 | ----- | ----- | ----- | ----- | 1 |  | 25.4183 | 14271.4316
48 | BRN20oct20_012.gcd | 2020-10-20 15:49 | 30 | Unknown | 0 | 6.077 | 3029 | 0.003 | ----- | ----- | ----- | ----- | 48 | BRN20oct20_012.gcd | 2020-10-20 15:49 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN20oct20_012.gcd | 2020-10-20 15:49 | 30 | Unknown | 0 | 11.995 | 176856 | 24.444 | ----- | ----- | ----- | ----- | 1 |  | 4.0174 | 30860.6095
49 | BRN20oct20_013.gcd | 2020-10-20 16:20 | 86 | Unknown | 0 | 6.049 | 7263 | 0.009 | ----- | ----- | ----- | ----- | 49 | BRN20oct20_013.gcd | 2020-10-20 16:20 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN20oct20_013.gcd | 2020-10-20 16:20 | 86 | Unknown | 0 | 12.168 | 13169 | 1.965 | ----- | ----- | ----- | ----- | 1 |  | 16.3964 | 2465.4769
50 | BRN20oct20_014.gcd | 2020-10-20 16:51 | 171 | Unknown | 0 | 6.044 | 8483 | 0.011 | ----- | ----- | ----- | ----- | 50 | BRN20oct20_014.gcd | 2020-10-20 16:51 | 171 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN20oct20_014.gcd | 2020-10-20 16:51 | 171 | Unknown | 0 | 12.167 | 13107 | 1.957 | ----- | ----- | ----- | ----- | 1 |  | 20.1047 | 2454.0843
51 | BRN20oct20_015.gcd | 2020-10-20 17:21 | 123 | Unknown | 0 | 6.043 | 8467 | 0.011 | ----- | ----- | ----- | ----- | 51 | BRN20oct20_015.gcd | 2020-10-20 17:21 | 123 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN20oct20_015.gcd | 2020-10-20 17:21 | 123 | Unknown | 0 | 12.083 | 92581 | 12.815 | ----- | ----- | ----- | ----- | 1 |  | 20.0556 | 16661.3306
52 | BRN20oct20_016.gcd | 2020-10-20 17:52 | 192 | Unknown | 0 | 6.048 | 6826 | 0.008 | ----- | ----- | ----- | ----- | 52 | BRN20oct20_016.gcd | 2020-10-20 17:52 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN20oct20_016.gcd | 2020-10-20 17:52 | 192 | Unknown | 0 | 12.162 | 22683 | 3.259 | ----- | ----- | ----- | ----- | 1 |  | 15.0835 | 4207.9619
53 | BRN20oct20_017.gcd | 2020-10-20 18:22 | 157 | Unknown | 0 | 6.089 | 2738 | 0.002 | ----- | ----- | ----- | ----- | 53 | BRN20oct20_017.gcd | 2020-10-20 18:22 | 157 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN20oct20_017.gcd | 2020-10-20 18:22 | 157 | Unknown | 0 | 11.976 | 214521 | 29.68 | ----- | ----- | ----- | ----- | 1 |  | 3.1946 | 36918.3945
54 | BRN20oct20_018.gcd | 2020-10-20 18:53 | 8 | Unknown | 0 | 6.087 | 2714 | 0.002 | ----- | ----- | ----- | ----- | 54 | BRN20oct20_018.gcd | 2020-10-20 18:53 | 8 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN20oct20_018.gcd | 2020-10-20 18:53 | 8 | Unknown | 0 | 11.983 | 208338 | 28.819 | ----- | ----- | ----- | ----- | 1 |  | 3.1269 | 35936.1808