## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN24jul20_001.gcd | 2020-07-24 10:03 | air | Unknown | 0 | 6.074 | 2193 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN24jul20_001.gcd | 2020-07-24 10:03 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN24jul20_001.gcd | 2020-07-24 10:03 | air | Unknown | 0 | 12.214 | 2461 | 0.51 | ----- | ----- | ----- | ----- | 1.6633 | 490.7192
38 | BRN24jul20_002.gcd | 2020-07-24 10:33 | air + 100 | Unknown | 0 | 6.011 | 992072 | 1.477 | ----- | ----- | ----- | ----- | 38 | BRN24jul20_002.gcd | 2020-07-24 10:33 | air + 100 | Unknown | 0 | 5.967 | 7977 | 2.063 | ----- | ----- | ----- | ----- | 38 | BRN24jul20_002.gcd | 2020-07-24 10:33 | air + 100 | Unknown | 0 | 12.18 | 9506 | 1.467 | ----- | ----- | ----- | ----- | 2074.5413 | 1791.5702
39 | BRN24jul20_003.gcd | 2020-07-24 11:04 | 50 | Unknown | 0 | 6.013 | 106666 | 0.157 | ----- | ----- | ----- | ----- | 39 | BRN24jul20_003.gcd | 2020-07-24 11:04 | 50 | Unknown | 0 | 5.95 | 747 | 0.735 | ----- | ----- | ----- | ----- | 39 | BRN24jul20_003.gcd | 2020-07-24 11:04 | 50 | Unknown | 0 | 12.104 | 54295 | 7.571 | ----- | ----- | ----- | ----- | 326.2217 | 9916.0804
40 | BRN24jul20_004.gcd | 2020-07-24 11:34 | 95 | Unknown | 0 | 5.964 | 22587142 | 34.647 | ----- | ----- | ----- | ----- | 40 | BRN24jul20_004.gcd | 2020-07-24 11:34 | 95 | Unknown | 0 | 5.915 | 162839 | 30.808 | ----- | ----- | ----- | ----- | 40 | BRN24jul20_004.gcd | 2020-07-24 11:34 | 95 | Unknown | 0 | 12.079 | 82342 | 11.41 | ----- | ----- | ----- | ----- | 31569.7329 | 14875.4433
41 | BRN24jul20_005.gcd | 2020-07-24 12:05 | 116 | Unknown | 0 | 5.964 | 22226868 | 34.077 | ----- | ----- | ----- | ----- | 41 | BRN24jul20_005.gcd | 2020-07-24 12:05 | 116 | Unknown | 0 | 5.916 | 159048 | 30.097 | ----- | ----- | ----- | ----- | 41 | BRN24jul20_005.gcd | 2020-07-24 12:05 | 116 | Unknown | 0 | 12.049 | 85906 | 11.899 | ----- | ----- | ----- | ----- | 30845.8134 | 15498.5698
42 | BRN24jul20_006.gcd | 2020-07-24 12:35 | 71 | Unknown | 0 | 6.016 | 67377 | 0.098 | ----- | ----- | ----- | ----- | 42 | BRN24jul20_006.gcd | 2020-07-24 12:35 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN24jul20_006.gcd | 2020-07-24 12:35 | 71 | Unknown | 0 | 12.109 | 50939 | 7.113 | ----- | ----- | ----- | ----- | 208.3961 | 9316.0462
43 | BRN24jul20_007.gcd | 2020-07-24 13:06 | 81 | Unknown | 0 | 5.958 | 25805921 | 39.765 | ----- | ----- | ----- | ----- | 43 | BRN24jul20_007.gcd | 2020-07-24 13:06 | 81 | Unknown | 0 | 5.91 | 186285 | 35.209 | ----- | ----- | ----- | ----- | 43 | BRN24jul20_007.gcd | 2020-07-24 13:06 | 81 | Unknown | 0 | 12.085 | 78538 | 10.889 | ----- | ----- | ----- | ----- | 36049.0179 | 14208.5962
44 | BRN24jul20_008.gcd | 2020-07-24 13:36 | 215 | Unknown | 0 | 6.019 | 38105 | 0.055 | ----- | ----- | ----- | ----- | 44 | BRN24jul20_008.gcd | 2020-07-24 13:36 | 215 | Unknown | 0 | 6.043 | 638 | 0.715 | ----- | ----- | ----- | ----- | 44 | BRN24jul20_008.gcd | 2020-07-24 13:36 | 215 | Unknown | 0 | 12.155 | 9046 | 1.404 | ----- | ----- | ----- | ----- | 118.9729 | 1706.8219
45 | BRN24jul20_009.gcd | 2020-07-24 14:07 | 44 | Unknown | 0 | 6.021 | 30609 | 0.044 | ----- | ----- | ----- | ----- | 45 | BRN24jul20_009.gcd | 2020-07-24 14:07 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN24jul20_009.gcd | 2020-07-24 14:07 | 44 | Unknown | 0 | 12.16 | 5543 | 0.928 | ----- | ----- | ----- | ----- | 95.8484 | 1060.5736
46 | BRN24jul20_010.gcd | 2020-07-24 14:38 | 74 | Unknown | 0 | 5.967 | 21862397 | 33.502 | ----- | ----- | ----- | ----- | 46 | BRN24jul20_010.gcd | 2020-07-24 14:38 | 74 | Unknown | 0 | 5.918 | 155990 | 29.525 | ----- | ----- | ----- | ----- | 46 | BRN24jul20_010.gcd | 2020-07-24 14:38 | 74 | Unknown | 0 | 12.076 | 86542 | 11.986 | ----- | ----- | ----- | ----- | 30261.9345 | 15609.5998
47 | BRN24jul20_011.gcd | 2020-07-24 15:08 | 130 | Unknown | 0 | 6.02 | 43284 | 0.063 | ----- | ----- | ----- | ----- | 47 | BRN24jul20_011.gcd | 2020-07-24 15:08 | 130 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN24jul20_011.gcd | 2020-07-24 15:08 | 130 | Unknown | 0 | 12.161 | 8128 | 1.28 | ----- | ----- | ----- | ----- | 134.8961 | 1537.6143
48 | BRN24jul20_012.gcd | 2020-07-24 15:39 | 14 | Unknown | 0 | 6.021 | 32772 | 0.047 | ----- | ----- | ----- | ----- | 48 | BRN24jul20_012.gcd | 2020-07-24 15:39 | 14 | Unknown | 0 | 5.971 | 939 | 0.77 | ----- | ----- | ----- | ----- | 48 | BRN24jul20_012.gcd | 2020-07-24 15:39 | 14 | Unknown | 0 | 12.168 | 4835 | 0.832 | ----- | ----- | ----- | ----- | 102.5304 | 929.7716