## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN26jun20_001.gcd | 2020-06-26 11:00 | air | Unknown | 0 | 6.071 | 2944 | 0.003 | ----- | ----- | ----- | ----- | 37 | BRN26jun20_001.gcd | 2020-06-26 11:00 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN26jun20_001.gcd | 2020-06-26 11:00 | air | Unknown | 0 | 12.213 | 2092 | 0.46 | ----- | ----- | ----- | ----- | 3.7767 | 422.4121
38 | BRN26jun20_002.gcd | 2020-06-26 11:30 | air +100 | Unknown | 0 | 6.013 | 1074175 | 1.599 | ----- | ----- | ----- | ----- | 38 | BRN26jun20_002.gcd | 2020-06-26 11:30 | 100 | Unknown | 0 | 5.965 | 8712 | 2.198 | ----- | ----- | ----- | ----- | 38 | BRN26jun20_002.gcd | 2020-06-26 11:30 | 100 | Unknown | 0 | 12.181 | 10136 | 1.553 | ----- | ----- | ----- | ----- | 2214.1581 | 1907.5955
39 | BRN26jun20_003.gcd | 2020-06-26 12:01 | 39 | Unknown | 0 | 5.967 | 17857937 | 27.214 | ----- | ----- | ----- | ----- | 39 | BRN26jun20_003.gcd | 2020-06-26 12:01 | 39 | Unknown | 0 | 5.918 | 126571 | 24.026 | ----- | ----- | ----- | ----- | 39 | BRN26jun20_003.gcd | 2020-06-26 12:01 | 39 | Unknown | 0 | 12.108 | 48373 | 6.762 | ----- | ----- | ----- | ----- | 24647.9593 | 8856.3057
40 | BRN26jun20_004.gcd | 2020-06-26 12:31 | 96 | Unknown | 0 | 6.015 | 16919 | 0.023 | ----- | ----- | ----- | ----- | 40 | BRN26jun20_004.gcd | 2020-06-26 12:31 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN26jun20_004.gcd | 2020-06-26 12:31 | 96 | Unknown | 0 | 12.135 | 22307 | 3.208 | ----- | ----- | ----- | ----- | 53.3791 | 4139.3133
41 | BRN26jun20_005.gcd | 2020-06-26 13:02 | 92 | Unknown | 0 | 6.005 | 3571542 | 5.339 | ----- | ----- | ----- | ----- | 41 | BRN26jun20_005.gcd | 2020-06-26 13:02 | 92 | Unknown | 0 | 5.958 | 26139 | 5.406 | ----- | ----- | ----- | ----- | 41 | BRN26jun20_005.gcd | 2020-06-26 13:02 | 92 | Unknown | 0 | 12.116 | 50929 | 7.111 | ----- | ----- | ----- | ----- | 5525.5406 | 9314.2561
42 | BRN26jun20_006.gcd | 2020-06-26 13:32 | 98 | Unknown | 0 | 6.021 | 23366 | 0.033 | ----- | ----- | ----- | ----- | 42 | BRN26jun20_006.gcd | 2020-06-26 13:32 | 98 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN26jun20_006.gcd | 2020-06-26 13:32 | 98 | Unknown | 0 | 12.164 | 3057 | 0.591 | ----- | ----- | ----- | ----- | 73.4172 | 601.0112
43 | BRN26jun20_007.gcd | 2020-06-26 14:03 | 89 | Unknown | 0 | 6.02 | 44493 | 0.064 | ----- | ----- | ----- | ----- | 43 | BRN26jun20_007.gcd | 2020-06-26 14:03 | 89 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN26jun20_007.gcd | 2020-06-26 14:03 | 89 | Unknown | 0 | 12.161 | 5774 | 0.96 | ----- | ----- | ----- | ----- | 138.6069 | 1103.2369
44 | BRN26jun20_008.gcd | 2020-06-26 14:34 | 186 | Unknown | 0 | 5.998 | 4071953 | 6.091 | ----- | ----- | ----- | ----- | 44 | BRN26jun20_008.gcd | 2020-06-26 14:34 | 186 | Unknown | 0 | 5.951 | 30467 | 6.204 | ----- | ----- | ----- | ----- | 44 | BRN26jun20_008.gcd | 2020-06-26 14:34 | 186 | Unknown | 0 | 12.101 | 59778 | 8.32 | ----- | ----- | ----- | ----- | 6348.2326 | 10893.3683
45 | BRN26jun20_009.gcd | 2020-06-26 15:04 | 214 | Unknown | 0 | 6.017 | 26071 | 0.037 | ----- | ----- | ----- | ----- | 45 | BRN26jun20_009.gcd | 2020-06-26 15:04 | 214 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN26jun20_009.gcd | 2020-06-26 15:04 | 214 | Unknown | 0 | 12.158 | 3990 | 0.718 | ----- | ----- | ----- | ----- | 81.8044 | 773.5767
46 | BRN26jun20_010.gcd | 2020-06-26 15:35 | 17 | Unknown | 0 | 5.961 | 21462265 | 32.87 | ----- | ----- | ----- | ----- | 46 | BRN26jun20_010.gcd | 2020-06-26 15:35 | 17 | Unknown | 0 | 5.911 | 153245 | 29.011 | ----- | ----- | ----- | ----- | 46 | BRN26jun20_010.gcd | 2020-06-26 15:35 | 17 | Unknown | 0 | 12.082 | 65381 | 9.087 | ----- | ----- | ----- | ----- | 29737.8705 | 11888.146
47 | BRN26jun20_011.gcd | 2020-06-26 16:05 | 131 | Unknown | 0 | 6.023 | 20118 | 0.028 | ----- | ----- | ----- | ----- | 47 | BRN26jun20_011.gcd | 2020-06-26 16:05 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN26jun20_011.gcd | 2020-06-26 16:05 | 131 | Unknown | 0 | 12.144 | 21973 | 3.163 | ----- | ----- | ----- | ----- | 63.3305 | 4078.318
48 | BRN26jun20_012.gcd | 2020-06-26 16:36 | 166 | Unknown | 0 | 6.013 | 53015 | 0.077 | ----- | ----- | ----- | ----- | 48 | BRN26jun20_012.gcd | 2020-06-26 16:36 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN26jun20_012.gcd | 2020-06-26 16:36 | 166 | Unknown | 0 | 12.152 | 7138 | 1.145 | ----- | ----- | ----- | ----- | 164.6963 | 1355.017