## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN28jul20_001.gcd | 2020-07-28 11:37 | air | Unknown | 0 | 6.062 | 2405 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN28jul20_001.gcd | 2020-07-28 11:37 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN28jul20_001.gcd | 2020-07-28 11:37 | air | Unknown | 0 | 12.199 | 2091 | 0.46 | ----- | ----- | ----- | ----- | 2.2574 | 422.227
38 | BRN28jul20_002.gcd | 2020-07-28 12:08 | air + 100 | Unknown | 0 | 6.015 | 702131 | 1.044 | ----- | ----- | ----- | ----- | 38 | BRN28jul20_002.gcd | 2020-07-28 12:08 | air + 100 | Unknown | 0 | 5.967 | 5706 | 1.646 | ----- | ----- | ----- | ----- | 38 | BRN28jul20_002.gcd | 2020-07-28 12:08 | air + 100 | Unknown | 0 | 12.174 | 8283 | 1.301 | ----- | ----- | ----- | ----- | 1643.1764 | 1566.1917
39 | BRN28jul20_003.gcd | 2020-07-28 12:38 | 135 | Unknown | 0 | 6.009 | 1083185 | 1.613 | ----- | ----- | ----- | ----- | 39 | BRN28jul20_003.gcd | 2020-07-28 12:38 | 135 | Unknown | 0 | 5.955 | 9135 | 2.276 | ----- | ----- | ----- | ----- | 39 | BRN28jul20_003.gcd | 2020-07-28 12:38 | 135 | Unknown | 0 | 12.011 | 138410 | 19.124 | ----- | ----- | ----- | ----- | 2294.5106 | 24493.5385
40 | BRN28jul20_004.gcd | 2020-07-28 13:09 | 204 | Unknown | 0 | 6.012 | 442142 | 0.657 | ----- | ----- | ----- | ----- | 40 | BRN28jul20_004.gcd | 2020-07-28 13:09 | 204 | Unknown | 0 | 5.967 | 3364 | 1.215 | ----- | ----- | ----- | ----- | 40 | BRN28jul20_004.gcd | 2020-07-28 13:09 | 204 | Unknown | 0 | 12.018 | 148937 | 20.578 | ----- | ----- | ----- | ----- | 1229.6797 | 26255.3712
41 | BRN28jul20_005.gcd | 2020-07-28 13:39 | 209 | Unknown | 0 | 6.013 | 320841 | 0.476 | ----- | ----- | ----- | ----- | 41 | BRN28jul20_005.gcd | 2020-07-28 13:39 | 209 | Unknown | 0 | 5.967 | 2518 | 1.06 | ----- | ----- | ----- | ----- | 41 | BRN28jul20_005.gcd | 2020-07-28 13:39 | 209 | Unknown | 0 | 12.022 | 133005 | 18.378 | ----- | ----- | ----- | ----- | 924.213 | 23583.535
42 | BRN28jul20_006.gcd | 2020-07-28 14:10 | 145 | Unknown | 0 | 6.019 | 41646 | 0.06 | ----- | ----- | ----- | ----- | 42 | BRN28jul20_006.gcd | 2020-07-28 14:10 | 145 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN28jul20_006.gcd | 2020-07-28 14:10 | 145 | Unknown | 0 | 12.147 | 21434 | 3.089 | ----- | ----- | ----- | ----- | 129.8647 | 3979.856
43 | BRN28jul20_007.gcd | 2020-07-28 14:41 | 113 | Unknown | 0 | 6.017 | 190705 | 0.282 | ----- | ----- | ----- | ----- | 43 | BRN28jul20_007.gcd | 2020-07-28 14:41 | 113 | Unknown | 0 | 5.959 | 1285 | 0.833 | ----- | ----- | ----- | ----- | 43 | BRN28jul20_007.gcd | 2020-07-28 14:41 | 113 | Unknown | 0 | 12.029 | 144288 | 19.935 | ----- | ----- | ----- | ----- | 569.7907 | 25479.0149
44 | BRN28jul20_008.gcd | 2020-07-28 15:11 | 155 | Unknown | 0 | 6.02 | 37141 | 0.053 | ----- | ----- | ----- | ----- | 44 | BRN28jul20_008.gcd | 2020-07-28 15:11 | 155 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN28jul20_008.gcd | 2020-07-28 15:11 | 155 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 116.0042 | BD
45 | BRN28jul20_009.gcd | 2020-07-28 15:42 | 143 | Unknown | 0 | 6.008 | 322565 | 0.478 | ----- | ----- | ----- | ----- | 45 | BRN28jul20_009.gcd | 2020-07-28 15:42 | 143 | Unknown | 0 | 5.961 | 2729 | 1.099 | ----- | ----- | ----- | ----- | 45 | BRN28jul20_009.gcd | 2020-07-28 15:42 | 143 | Unknown | 0 | 12.022 | 138562 | 19.145 | ----- | ----- | ----- | ----- | 928.7227 | 24519.0767
46 | BRN28jul20_010.gcd | 2020-07-28 16:12 | 170 | Unknown | 0 | 6.015 | 732268 | 1.089 | ----- | ----- | ----- | ----- | 46 | BRN28jul20_010.gcd | 2020-07-28 16:12 | 170 | Unknown | 0 | 5.969 | 7080 | 1.898 | ----- | ----- | ----- | ----- | 46 | BRN28jul20_010.gcd | 2020-07-28 16:12 | 170 | Unknown | 0 | 12.032 | 140717 | 19.442 | ----- | ----- | ----- | ----- | 1904.1567 | 24880.8358
47 | BRN28jul20_011.gcd | 2020-07-28 16:43 | 210 | Unknown | 0 | 6.02 | 36065 | 0.052 | ----- | ----- | ----- | ----- | 47 | BRN28jul20_011.gcd | 2020-07-28 16:43 | 210 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN28jul20_011.gcd | 2020-07-28 16:43 | 210 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 112.6887 | BD
48 | BRN28jul20_012.gcd | 2020-07-28 17:14 | 21 | Unknown | 0 | 6.007 | 3513102 | 5.251 | ----- | ----- | ----- | ----- | 48 | BRN28jul20_012.gcd | 2020-07-28 17:14 | 21 | Unknown | 0 | 5.96 | 27459 | 5.649 | ----- | ----- | ----- | ----- | 48 | BRN28jul20_012.gcd | 2020-07-28 17:14 | 21 | Unknown | 0 | 12.06 | 107317 | 14.84 | ----- | ----- | ----- | ----- | 5776.441 | 19208.4836
49 | BRN28jul20_013.gcd | 2020-07-28 17:44 | 45 | Unknown | 0 | 6.023 | 35346 | 0.051 | ----- | ----- | ----- | ----- | 49 | BRN28jul20_013.gcd | 2020-07-28 17:44 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN28jul20_013.gcd | 2020-07-28 17:44 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 110.4723 | BD
37 | BRN28jul20_017.gcd | 2020-07-29 09:48 | 122 rerack | Unknown | 0 | 6.025 | 39555 | 0.057 | ----- | ----- | ----- | ----- | 37 | BRN28jul20_017.gcd | 2020-07-29 09:48 | 122 rerack | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN28jul20_017.gcd | 2020-07-29 09:48 | 122 rerack | Unknown | 0 | 12.175 | 22035 | 3.171 | ----- | ----- | ----- | ----- | 123.4354 | 4089.6416
38 | BRN28jul20_018.gcd | 2020-07-29 10:18 | 157 rerack | Unknown | 0 | 6.007 | 2693373 | 4.021 | ----- | ----- | ----- | ----- | 38 | BRN28jul20_018.gcd | 2020-07-29 10:18 | 157 rerack | Unknown | 0 | 5.96 | 20395 | 4.348 | ----- | ----- | ----- | ----- | 38 | BRN28jul20_018.gcd | 2020-07-29 10:18 | 157 rerack | Unknown | 0 | 12.053 | 106745 | 14.761 | ----- | ----- | ----- | ----- | 4433.8769 | 19110.1205
39 | BRN28jul20_019.gcd | 2020-07-29 10:49 | 045 2nd run | Unknown | 0 | 6.013 | 33688 | 0.048 | ----- | ----- | ----- | ----- | 39 | BRN28jul20_019.gcd | 2020-07-29 10:49 | 045 2nd run | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN28jul20_019.gcd | 2020-07-29 10:49 | 045 2nd run | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 105.3579 | BD
40 | BRN28jul20_020.gcd | 2020-07-29 11:19 | air + 100 rerun | Unknown | 0 | 6.015 | 680608 | 1.012 | ----- | ----- | ----- | ----- | 40 | BRN28jul20_020.gcd | 2020-07-29 11:19 | air + 100 rerun | Unknown | 0 | 5.965 | 5307 | 1.572 | ----- | ----- | ----- | ----- | 40 | BRN28jul20_020.gcd | 2020-07-29 11:19 | air + 100 rerun | Unknown | 0 | 12.171 | 7797 | 1.235 | ----- | ----- | ----- | ----- | 1760.1738 | 1476.5778
41 | BRN28jul20_021.gcd | 2020-07-29 11:50 | 173 rerack | Unknown | 0 | 6.019 | 38677 | 0.056 | ----- | ----- | ----- | ----- | 41 | BRN28jul20_021.gcd | 2020-07-29 11:50 | 173 rerack | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN28jul20_021.gcd | 2020-07-29 11:50 | 173 rerack | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 120.7337 | BD