## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [16 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Standard(Calc.Point) | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
35 | BRN02jun22_001.gcd | 2022-06-02 10:31 | air | Unknown | 0 | 6.583 | 4451 | 2.633 | ----- | ----- | ----- | ----- | 35 | BRN02jun22_001.gcd | 2022-06-02 10:31 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 35 | BRN02jun22_001.gcd | 2022-06-02 10:31 | air | Unknown | 0 | 13.675 | 5115 | 497.077 | ----- | ----- | ----- | ----- | 1 |  | 2.6039 | 489.8156 | 35 | BRN02jun22_001.gcd | 2022-06-02 10:31 | air | Unknown | 0 | 2.733 | 12192865 | 794.744 | ----- | ----- | ----- | -----
36 | BRN02jun22_002.gcd | 2022-06-02 11:05 | air + 100 | Unknown | 0 | 6.504 | 2271128 | 0 | ----- | ----- | ----- | ----- | 36 | BRN02jun22_002.gcd | 2022-06-02 11:05 | air + 100 | Unknown | 0 | 6.465 | 18899 | 2488.468 | ----- | ----- | ----- | ----- | 36 | BRN02jun22_002.gcd | 2022-06-02 11:05 | air + 100 | Unknown | 0 | 13.67 | 19012 | 1432.361 | ----- | ----- | ----- | ----- | 1 |  | 2756.4278 | 1425.6335 | 36 | BRN02jun22_002.gcd | 2022-06-02 11:05 | air + 100 | Unknown | 0 | 2.731 | 11936923 | 796.51 | ----- | ----- | ----- | -----
37 | BRN02jun22_003.gcd | 2022-06-02 11:38 | yellow tank | Unknown | 0 | 6.55 | 7785 | 8.867 | ----- | ----- | ----- | ----- | 37 | BRN02jun22_003.gcd | 2022-06-02 11:38 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN02jun22_003.gcd | 2022-06-02 11:38 | yellow tank | Unknown | 0 | 13.678 | 3283 | 314.262 | ----- | ----- | ----- | ----- | 1 |  | 8.0072 | 316.8868 | 37 | BRN02jun22_003.gcd | 2022-06-02 11:38 | yellow tank | Unknown | 0 | 2.729 | 11870029 | 796.975 | ----- | ----- | ----- | -----
38 | BRN02jun22_004.gcd | 2022-06-02 12:12 | 143 | Unknown | 0 | 6.568 | 5170 | 3.726 | ----- | ----- | ----- | ----- | 38 | BRN02jun22_004.gcd | 2022-06-02 12:12 | 143 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 38 | BRN02jun22_004.gcd | 2022-06-02 12:12 | 143 | Unknown | 0 | 13.694 | 4628 | 451.248 | ----- | ----- | ----- | ----- | 1 |  | 3.7405 | 444.9726 | 38 | BRN02jun22_004.gcd | 2022-06-02 12:12 | 143 | Unknown | 0 | 2.727 | 11971192 | 796.272 | ----- | ----- | ----- | -----
39 | BRN02jun22_005.gcd | 2022-06-02 12:45 | 121 | Unknown | 0 | 6.575 | 5420 | 4.129 | ----- | ----- | ----- | ----- | 39 | BRN02jun22_005.gcd | 2022-06-02 12:45 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN02jun22_005.gcd | 2022-06-02 12:45 | 121 | Unknown | 0 | 13.71 | 3520 | 339.59 | ----- | ----- | ----- | ----- | 1 |  | 4.1395 | 339.9083 | 39 | Data2L12.gcd | 2022-05-27 11:56 | ambient lab air | Unknown | 0 | 2.722 | 11976917 | 796.233 | ----- | ----- | ----- | -----
40 | BRN02jun22_006.gcd | 2022-06-02 13:19 | 178 | Unknown | 0 | 6.574 | 4891 | 3.292 | ----- | ----- | ----- | ----- | 40 | BRN02jun22_006.gcd | 2022-06-02 13:19 | 178 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN02jun22_006.gcd | 2022-06-02 13:19 | 178 | Unknown | 0 | 13.685 | 4834 | 470.86 | ----- | ----- | ----- | ----- | 1 |  | 3.2976 | 464.0407 | 40 | Data2L13.gcd | 2022-05-27 12:33 | ambient lab air | Unknown | 0 | 2.724 | 12310761 | 793.937 | ----- | ----- | ----- | -----
41 | BRN02jun22_007.gcd | 2022-06-02 13:53 | 213 | Unknown | 0 | 6.579 | 4845 | 3.222 | ----- | ----- | ----- | ----- | 41 | BRN02jun22_007.gcd | 2022-06-02 13:53 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN02jun22_007.gcd | 2022-06-02 13:53 | 213 | Unknown | 0 | 13.674 | 4286 | 417.907 | ----- | ----- | ----- | ----- | 1 |  | 3.2248 | 412.9936 | 41 | BRN07feb22_043.gcd | 2022-02-08 13:14 | std 21 a | Standard(Calc.Point) | 21 | 2.755 | 4030657 | 0 | 950 | 1 | 0 | -950
42 | BRN02jun22_008.gcd | 2022-06-02 14:26 | 119 | Unknown | 0 | 6.58 | 4433 | 2.607 | ----- | ----- | ----- | ----- | 42 | BRN02jun22_008.gcd | 2022-06-02 14:26 | 119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN02jun22_008.gcd | 2022-06-02 14:26 | 119 | Unknown | 0 | 13.686 | 5310 | 515.024 | ----- | ----- | ----- | ----- | 1 |  | 2.5756 | 507.5425 | 42 | BRN07feb22_044.gcd | 2022-02-08 13:44 | std 21 b | Standard(Calc.Point) | 21 | 2.755 | 4190277 | 0 | 950 | 1 | 0 | -950
43 | BRN02jun22_009.gcd | 2022-06-02 15:00 | 217 | Unknown | 0 | 6.577 | 4658 | 2.94 | ----- | ----- | ----- | ----- | 43 | BRN02jun22_009.gcd | 2022-06-02 15:00 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN02jun22_009.gcd | 2022-06-02 15:00 | 217 | Unknown | 0 | 13.682 | 5711 | 551.096 | ----- | ----- | ----- | ----- | 1 |  | 2.9295 | 543.5851 | 43 | BRN07feb22_045.gcd | 2022-02-08 14:15 | std 22 a | Standard(Calc.Point) | 22 | 2.765 | 3658071 | 0 | 950 | 1 | 0 | -950
44 | BRN02jun22_010.gcd | 2022-06-02 15:33 | 79 | Unknown | 0 | 6.578 | 4823 | 3.187 | ----- | ----- | ----- | ----- | 44 | BRN02jun22_010.gcd | 2022-06-02 15:33 | 79 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN02jun22_010.gcd | 2022-06-02 15:33 | 79 | Unknown | 0 | 13.688 | 4663 | 454.555 | ----- | ----- | ----- | ----- | 1 |  | 3.19 | 448.2227 | 44 | BRN07feb22_046.gcd | 2022-02-08 14:46 | std 22 b | Standard(Calc.Point) | 22 | 2.763 | 3727479 | 0 | 950 | 1 | 0 | -950
45 | BRN02jun22_011.gcd | 2022-06-02 16:07 | 157 | Unknown | 0 | 6.587 | 4685 | 2.979 | ----- | ----- | ----- | ----- | 45 | BRN02jun22_011.gcd | 2022-06-02 16:07 | 157 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN02jun22_011.gcd | 2022-06-02 16:07 | 157 | Unknown | 0 | 13.683 | 4729 | 460.898 | ----- | ----- | ----- | ----- | 1 |  | 2.9721 | 454.3398 | 45 | BRN07feb22_047.gcd | 2022-02-08 15:16 | std 23 a | Standard(Calc.Point) | 23 | 2.785 | 2964151 | 0 | 950 | 1 | 0 | -950
46 | BRN02jun22_012.gcd | 2022-06-02 16:40 | 190 | Unknown | 0 | 6.587 | 4784 | 3.128 | ----- | ----- | ----- | ----- | 46 | BRN02jun22_012.gcd | 2022-06-02 16:40 | 190 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN02jun22_012.gcd | 2022-06-02 16:40 | 190 | Unknown | 0 | 13.686 | 5728 | 552.589 | ----- | ----- | ----- | ----- | 1 |  | 3.1284 | 545.1009 | 46 | BRN07feb22_048.gcd | 2022-02-08 15:47 | std 23 b | Standard(Calc.Point) | 23 | 2.801 | 3353393 | 0 | 950 | 1 | 0 | -950
47 | BRN02jun22_013.gcd | 2022-06-02 17:14 | 179 | Unknown | 0 | 6.587 | 5304 | 3.941 | ----- | ----- | ----- | ----- | 47 | BRN02jun22_013.gcd | 2022-06-02 17:14 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN02jun22_013.gcd | 2022-06-02 17:14 | 179 | Unknown | 0 | 13.698 | 3874 | 376.514 | ----- | ----- | ----- | ----- | 1 |  | 3.9541 | 373.9349 | 47 | BRN07feb22_049.gcd | 2022-02-08 16:17 | std 24 a | Standard(Calc.Point) | 24 | 2.857 | 978341 | 0 | 950 | 1 | 0 | -950
48 | BRN02jun22_014.gcd | 2022-06-02 17:48 | 105 | Unknown | 0 | 6.578 | 4852 | 3.232 | ----- | ----- | ----- | ----- | 48 | BRN02jun22_014.gcd | 2022-06-02 17:48 | 105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN02jun22_014.gcd | 2022-06-02 17:48 | 105 | Unknown | 0 | 13.702 | 4803 | 467.863 | ----- | ----- | ----- | ----- | 1 |  | 3.2359 | 461.1806 | 48 | BRN07feb22_050.gcd | 2022-02-08 16:48 | std 24 b | Standard(Calc.Point) | 24 | 2.83 | 1181372 | 0 | 950 | 1 | 0 | -950
49 | BRN02jun22_015.gcd | 2022-06-02 18:21 | 129 | Unknown | 0 | 6.578 | 4900 | 3.306 | ----- | ----- | ----- | ----- | 49 | BRN02jun22_015.gcd | 2022-06-02 18:21 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN02jun22_015.gcd | 2022-06-02 18:21 | 129 | Unknown | 0 | 13.698 | 6187 | 592.639 | ----- | ----- | ----- | ----- | 1 |  | 3.3119 | 585.6509 | 49 | BRN01jun22_001.gcd | 2022-06-01 12:38 | air | Unknown | 0 | 2.7 | 5241649 | 959.117 | ----- | ----- | ----- | -----
50 | BRN02jun22_016.gcd | 2022-06-02 18:55 | 71 | Unknown | 0 | 6.58 | 4734 | 3.052 | ----- | ----- | ----- | ----- | 50 | BRN02jun22_016.gcd | 2022-06-02 18:55 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN02jun22_016.gcd | 2022-06-02 18:55 | 71 | Unknown | 0 | 13.67 | 4889 | 476.012 | ----- | ----- | ----- | ----- | 1 |  | 3.0494 | 469.107 | 50 | BRN01jun22_002.gcd | 2022-06-01 13:09 | air + 100 | Unknown | 0 | 2.702 | 5293463 | 959.485 | ----- | ----- | ----- | -----
51 | BRN02jun22_017.gcd | 2022-06-02 19:28 | 195 | Unknown | 0 | 6.576 | 4080 | 2.1 | ----- | ----- | ----- | ----- | 51 | BRN02jun22_017.gcd | 2022-06-02 19:28 | 195 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN02jun22_017.gcd | 2022-06-02 19:28 | 195 | Unknown | 0 | 13.708 | 5343 | 518.062 | ----- | ----- | ----- | ----- | 1 |  | 2.0235 | 510.5295 | 51 | BRN01jun22_003.gcd | 2022-06-01 13:39 | yellow tank | Unknown | 0 | 2.701 | 5371538 | 960.016 | ----- | ----- | ----- | -----
52 | BRN02jun22_018.gcd | 2022-06-02 20:02 | 198 | Unknown | 0 | 6.557 | 3383 | 1.147 | ----- | ----- | ----- | ----- | 52 | BRN02jun22_018.gcd | 2022-06-02 20:02 | 198 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN02jun22_018.gcd | 2022-06-02 20:02 | 198 | Unknown | 0 | 13.705 | 5065 | 492.469 | ----- | ----- | ----- | ----- | 1 |  | 0.94442 | 485.2492 | 52 | BRN01jun22_004.gcd | 2022-06-01 14:10 | 92 | Unknown | 0 | 2.774 | 2876009 | 0 | ----- | ----- | ----- | -----
53 | BRN02jun22_019.gcd | 2022-06-02 20:35 | 161 | Unknown | 0 | 6.567 | 3787 | 1.692 | ----- | ----- | ----- | ----- | 53 | BRN02jun22_019.gcd | 2022-06-02 20:35 | 161 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN02jun22_019.gcd | 2022-06-02 20:35 | 161 | Unknown | 0 | 13.706 | 5353 | 518.985 | ----- | ----- | ----- | ----- | 1 |  | 1.5681 | 511.4339 | 53 | BRN01jun22_005.gcd | 2022-06-01 14:40 | 14 | Unknown | 0 | 2.776 | 2876419 | 0 | ----- | ----- | ----- | -----
54 | BRN02jun22_020.gcd | 2022-06-02 21:09 | 151 | Unknown | 0 | 6.586 | 4623 | 2.886 | ----- | ----- | ----- | ----- | 54 | BRN02jun22_020.gcd | 2022-06-02 21:09 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN02jun22_020.gcd | 2022-06-02 21:09 | 151 | Unknown | 0 | 13.694 | 5252 | 509.73 | ----- | ----- | ----- | ----- | 1 |  | 2.8743 | 502.2835 | 54 | BRN01jun22_006.gcd | 2022-06-01 15:11 | 21 | Unknown | 0 | 2.781 | 2741017 | 0 | ----- | ----- | ----- | -----
55 | BRN02jun22_021.gcd | 2022-06-02 21:43 | 137 | Unknown | 0 | 6.571 | 5190 | 3.758 | ----- | ----- | ----- | ----- | 55 | BRN02jun22_021.gcd | 2022-06-02 21:43 | 137 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN02jun22_021.gcd | 2022-06-02 21:43 | 137 | Unknown | 0 | 13.66 | 4450 | 433.965 | ----- | ----- | ----- | ----- | 1 |  | 3.7724 | 428.3788 | 55 | BRN01jun22_007.gcd | 2022-06-01 15:42 | 197 | Unknown | 0 | 2.768 | 2915042 | 0 | ----- | ----- | ----- | -----
56 | BRN02jun22_022.gcd | 2022-06-02 22:16 | 159 | Unknown | 0 | 6.558 | 5573 | 4.381 | ----- | ----- | ----- | ----- | 56 | BRN02jun22_022.gcd | 2022-06-02 22:16 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN02jun22_022.gcd | 2022-06-02 22:16 | 159 | Unknown | 0 | 13.714 | 4993 | 485.769 | ----- | ----- | ----- | ----- | 1 |  | 4.3845 | 478.6584 | 56 | BRN01jun22_008.gcd | 2022-06-01 16:12 | 41 | Unknown | 0 | 2.797 | 2301829 | 0 | ----- | ----- | ----- | -----
57 | BRN02jun22_023.gcd | 2022-06-02 22:50 | 138 | Unknown | 0 | 6.57 | 4829 | 3.197 | ----- | ----- | ----- | ----- | 57 | BRN02jun22_023.gcd | 2022-06-02 22:50 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN02jun22_023.gcd | 2022-06-02 22:50 | 138 | Unknown | 0 | 13.69 | 4752 | 463.058 | ----- | ----- | ----- | ----- | 1 |  | 3.1995 | 456.468 | 57 | BRN01jun22_009.gcd | 2022-06-01 16:43 | 107 | Unknown | 0 | 2.791 | 2523489 | 0 | ----- | ----- | ----- | -----
58 | BRN02jun22_024.gcd | 2022-06-02 23:23 | 177 | Unknown | 0 | 6.573 | 4547 | 2.774 | ----- | ----- | ----- | ----- | 58 | BRN02jun22_024.gcd | 2022-06-02 23:23 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN02jun22_024.gcd | 2022-06-02 23:23 | 177 | Unknown | 0 | 13.69 | 5501 | 532.294 | ----- | ----- | ----- | ----- | 1 |  | 2.7547 | 524.7789 | 58 | BRN01jun22_010.gcd | 2022-06-01 17:14 | 166 | Unknown | 0 | 2.783 | 2480590 | 0 | ----- | ----- | ----- | -----
59 | BRN02jun22_025.gcd | 2022-06-02 23:57 | 73 | Unknown | 0 | 6.571 | 4174 | 2.233 | ----- | ----- | ----- | ----- | 59 | BRN02jun22_025.gcd | 2022-06-02 23:57 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN02jun22_025.gcd | 2022-06-02 23:57 | 73 | Unknown | 0 | 13.703 | 4670 | 455.256 | ----- | ----- | ----- | ----- | 1 |  | 2.1701 | 448.8722 | 59 | BRN01jun22_011.gcd | 2022-06-01 17:44 | 29 | Unknown | 0 | 2.779 | 2858355 | 0 | ----- | ----- | ----- | -----