## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [15 empty] | WHAT WE'RE USING |  | ALL POSSIBLE CALIBRATIONS... | [7 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Measured headspace CH4 in ppm from GC in ppm | Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
35 | BRN09jun22_001.gcd | 2022-06-09 09:37 | air | Unknown | 0 | 6.561 | 4283 | 2.389 | ----- | ----- | ----- | ----- | 35 | BRN09jun22_001.gcd | 2022-06-09 09:37 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 35 | BRN09jun22_001.gcd | 2022-06-09 09:37 | air | Unknown | 0 | 13.675 | 5493 | 531.641 | ----- | ----- | ----- | ----- | 1 |  | 35 | 2.3405 | 524.0595 | 7.6043 | 1051.3382 | 8.5959 | 1045.913 | 4.4363 | 1030.9331 | 2.3405 | 524.0595 | 35 | BRN09jun22_001.gcd | 2022-06-09 09:37 | air | Unknown | 0 | 2.72 | 12095573 | 795.413 | ----- | ----- | ----- | -----
36 | BRN09jun22_002.gcd | 2022-06-09 10:11 | air + 100 | Unknown | 0 | 6.485 | 2209359 | 0 | ----- | ----- | ----- | ----- | 36 | BRN09jun22_002.gcd | 2022-06-09 10:11 | air + 100 | Unknown | 0 | 6.441 | 17811 | 2331.069 | ----- | ----- | ----- | ----- | 36 | BRN09jun22_002.gcd | 2022-06-09 10:11 | air + 100 | Unknown | 0 | 13.653 | 16920 | 1318.749 | ----- | ----- | ----- | ----- | 1 |  | 36 | 2548.233 | 1327.2364 | 3942.851 | 3153.8278 | 4846.4736 | 3226.591 | 4621.7501 | 3386.358 | 2548.233 | 1327.2364 | 36 | BRN09jun22_002.gcd | 2022-06-09 10:11 | air + 100 | Unknown | 0 | 2.719 | 11505408 | 799.533 | ----- | ----- | ----- | -----
37 | BRN09jun22_003.gcd | 2022-06-09 10:44 | yellow tank | Unknown | 0 | 6.531 | 7800 | 8.906 | ----- | ----- | ----- | ----- | 37 | BRN09jun22_003.gcd | 2022-06-09 10:44 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN09jun22_003.gcd | 2022-06-09 10:44 | yellow tank | Unknown | 0 | 13.681 | 2939 | 276.297 | ----- | ----- | ----- | ----- | 1 |  | 37 | 8.0323 | 283.128 | 18.0209 | 579.1784 | 19.5787 | 557.9384 | 13.5473 | 503.5709 | 8.0323 | 283.128 | 37 | BRN09jun22_003.gcd | 2022-06-09 10:44 | yellow tank | Unknown | 0 | 2.708 | 12060377 | 795.656 | ----- | ----- | ----- | -----
38 | BRN09jun22_004.gcd | 2022-06-09 11:18 | 141 | Unknown | 0 | 6.567 | 4993 | 3.45 | ----- | ----- | ----- | ----- | 38 | BRN09jun22_004.gcd | 2022-06-09 11:18 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 38 | BRN09jun22_004.gcd | 2022-06-09 11:18 | 141 | Unknown | 0 | 13.678 | 5173 | 502.478 | ----- | ----- | ----- | ----- | 1 |  | 38 | 3.4593 | 495.1019 | 9.6648 | 992.2245 | 10.9285 | 984.7845 | 5.986 | 964.8762 | 3.4593 | 495.1019 | 38 | BRN09jun22_004.gcd | 2022-06-09 11:18 | 141 | Unknown | 0 | 2.726 | 11509986 | 799.501 | ----- | ----- | ----- | -----
39 | BRN09jun22_005.gcd | 2022-06-09 11:51 | 59 | Unknown | 0 | 6.557 | 4302 | 2.416 | ----- | ----- | ----- | ----- | 39 | BRN09jun22_005.gcd | 2022-06-09 11:51 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN09jun22_005.gcd | 2022-06-09 11:51 | 59 | Unknown | 0 | 13.672 | 4825 | 469.983 | ----- | ----- | ----- | ----- | 1 |  | 39 | 2.3703 | 463.2107 | 7.6592 | 927.9237 | 8.6591 | 918.3035 | 4.4758 | 893.0334 | 2.3703 | 463.2107 | 39 | BRN09jun22_005.gcd | 2022-06-09 11:51 | 59 | Unknown | 0 | 2.71 | 11971957 | 796.267 | ----- | ----- | ----- | -----
40 | BRN09jun22_006.gcd | 2022-06-09 12:25 | 15 | Unknown | 0 | 6.551 | 5087 | 3.595 | ----- | ----- | ----- | ----- | 40 | BRN09jun22_006.gcd | 2022-06-09 12:25 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN09jun22_006.gcd | 2022-06-09 12:25 | 15 | Unknown | 0 | 13.672 | 5035 | 489.726 | ----- | ----- | ----- | ----- | 1 |  | 40 | 3.6085 | 482.5052 | 9.9392 | 966.7277 | 11.233 | 958.4218 | 6.2021 | 936.3875 | 3.6085 | 482.5052 | 40 | BRN09jun22_006.gcd | 2022-06-09 12:25 | 15 | Unknown | 0 | 2.717 | 11601490 | 798.855 | ----- | ----- | ----- | -----
41 | BRN09jun22_007.gcd | 2022-06-09 12:58 | 194 | Unknown | 0 | 6.552 | 4450 | 2.631 | ----- | ----- | ----- | ----- | 41 | BRN09jun22_007.gcd | 2022-06-09 12:58 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN09jun22_007.gcd | 2022-06-09 12:58 | 194 | Unknown | 0 | 13.669 | 5089 | 494.729 | ----- | ----- | ----- | ----- | 1 |  | 41 | 2.6023 | 487.4422 | 8.0871 | 976.705 | 9.1498 | 968.7377 | 4.7876 | 947.5354 | 2.6023 | 487.4422 | 41 | BRN09jun22_007.gcd | 2022-06-09 12:58 | 194 | Unknown | 0 | 2.71 | 11990287 | 796.14 | ----- | ----- | ----- | -----
42 | BRN09jun22_008.gcd | 2022-06-09 13:32 | 112 | Unknown | 0 | 6.564 | 4809 | 3.166 | ----- | ----- | ----- | ----- | 42 | BRN09jun22_008.gcd | 2022-06-09 13:32 | 112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN09jun22_008.gcd | 2022-06-09 13:32 | 112 | Unknown | 0 | 13.666 | 4795 | 467.162 | ----- | ----- | ----- | ----- | 1 |  | 42 | 3.1679 | 460.4419 | 9.1288 | 922.3798 | 10.3296 | 912.5721 | 5.5703 | 886.8397 | 3.1679 | 460.4419 | 42 | BRN09jun22_008.gcd | 2022-06-09 13:32 | 112 | Unknown | 0 | 2.708 | 11979990 | 796.211 | ----- | ----- | ----- | -----
43 | BRN09jun22_009.gcd | 2022-06-09 14:05 | 135 | Unknown | 0 | 6.564 | 4738 | 3.059 | ----- | ----- | ----- | ----- | 43 | BRN09jun22_009.gcd | 2022-06-09 14:05 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN09jun22_009.gcd | 2022-06-09 14:05 | 135 | Unknown | 0 | 13.676 | 4814 | 468.914 | ----- | ----- | ----- | ----- | 1 |  | 43 | 3.0557 | 462.1958 | 8.9223 | 925.8909 | 10.0975 | 916.202 | 5.4125 | 890.7624 | 3.0557 | 462.1958 | 43 | BRN09jun22_009.gcd | 2022-06-09 14:05 | 135 | Unknown | 0 | 2.718 | 11652367 | 798.497 | ----- | ----- | ----- | -----
44 | BRN09jun22_010.gcd | 2022-06-09 14:39 | 66 | Unknown | 0 | 6.571 | 4439 | 2.615 | ----- | ----- | ----- | ----- | 44 | BRN09jun22_010.gcd | 2022-06-09 14:39 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN09jun22_010.gcd | 2022-06-09 14:39 | 66 | Unknown | 0 | 13.673 | 5103 | 495.978 | ----- | ----- | ----- | ----- | 1 |  | 44 | 2.585 | 488.7205 | 8.0552 | 979.2916 | 9.1134 | 971.4122 | 4.7642 | 950.4255 | 2.585 | 488.7205 | 44 | BRN09jun22_010.gcd | 2022-06-09 14:39 | 66 | Unknown | 0 | 2.712 | 11842291 | 797.168 | ----- | ----- | ----- | -----
45 | BRN09jun22_011.gcd | 2022-06-09 15:12 | 131 | Unknown | 0 | 6.573 | 4814 | 3.175 | ----- | ----- | ----- | ----- | 45 | BRN09jun22_011.gcd | 2022-06-09 15:12 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN09jun22_011.gcd | 2022-06-09 15:12 | 131 | Unknown | 0 | 13.683 | 6378 | 608.98 | ----- | ----- | ----- | ----- | 1 |  | 45 | 3.1758 | 602.3111 | 9.1433 | 1214.7578 | 10.346 | 1214.9542 | 5.5815 | 1213.5945 | 3.1758 | 602.3111 | 45 | BRN09jun22_011.gcd | 2022-06-09 15:12 | 131 | Unknown | 0 | 2.727 | 11586863 | 798.958 | ----- | ----- | ----- | -----
46 | BRN09jun22_012.gcd | 2022-06-09 15:46 | 185 | Unknown | 0 | 6.559 | 4994 | 3.45 | ----- | ----- | ----- | ----- | 46 | BRN09jun22_012.gcd | 2022-06-09 15:46 | 185 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN09jun22_012.gcd | 2022-06-09 15:46 | 185 | Unknown | 0 | 13.659 | 4378 | 426.936 | ----- | ----- | ----- | ----- | 1 |  | 46 | 3.4609 | 421.6357 | 9.6677 | 845.3081 | 10.9318 | 832.9039 | 5.9883 | 800.7435 | 3.4609 | 421.6357 | 46 | BRN09jun22_012.gcd | 2022-06-09 15:46 | 185 | Unknown | 0 | 2.719 | 11611611 | 798.784 | ----- | ----- | ----- | -----
47 | BRN09jun22_013.gcd | 2022-06-09 16:19 | 192 | Unknown | 0 | 6.571 | 5125 | 3.656 | ----- | ----- | ----- | ----- | 47 | BRN09jun22_013.gcd | 2022-06-09 16:19 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN09jun22_013.gcd | 2022-06-09 16:19 | 192 | Unknown | 0 | 13.69 | 4765 | 464.266 | ----- | ----- | ----- | ----- | 1 |  | 47 | 3.6689 | 457.6701 | 10.0503 | 916.8358 | 11.3558 | 906.8408 | 6.2903 | 880.6461 | 3.6689 | 457.6701 | 47 | BRN09jun22_013.gcd | 2022-06-09 16:19 | 192 | Unknown | 0 | 2.726 | 11624203 | 798.695 | ----- | ----- | ----- | -----
48 | BRN09jun22_014.gcd | 2022-06-09 16:53 | 165 | Unknown | 0 | 6.572 | 4742 | 3.065 | ----- | ----- | ----- | ----- | 48 | BRN09jun22_014.gcd | 2022-06-09 16:53 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN09jun22_014.gcd | 2022-06-09 16:53 | 165 | Unknown | 0 | 13.677 | 5386 | 521.918 | ----- | ----- | ----- | ----- | 1 |  | 48 | 3.062 | 514.416 | 8.9339 | 1031.5735 | 10.1106 | 1025.4735 | 5.4214 | 1008.8459 | 3.062 | 514.416 | 48 | BRN09jun22_014.gcd | 2022-06-09 16:53 | 165 | Unknown | 0 | 2.712 | 12027019 | 795.886 | ----- | ----- | ----- | -----
49 | BRN09jun22_015.gcd | 2022-06-09 17:26 | 140 | Unknown | 0 | 6.568 | 4412 | 2.576 | ----- | ----- | ----- | ----- | 49 | BRN09jun22_015.gcd | 2022-06-09 17:26 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN09jun22_015.gcd | 2022-06-09 17:26 | 140 | Unknown | 0 | 13.683 | 4794 | 467.086 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2.5426 | 460.3496 | 7.9771 | 922.195 | 9.024 | 912.3811 | 4.707 | 886.6333 | 2.5426 | 460.3496 | 49 | BRN09jun22_015.gcd | 2022-06-09 17:26 | 140 | Unknown | 0 | 2.718 | 11638058 | 798.598 | ----- | ----- | ----- | -----
50 | BRN09jun22_016.gcd | 2022-06-09 18:00 | 116 | Unknown | 0 | 6.564 | 4874 | 3.265 | ----- | ----- | ----- | ----- | 50 | BRN09jun22_016.gcd | 2022-06-09 18:00 | 116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN09jun22_016.gcd | 2022-06-09 18:00 | 116 | Unknown | 0 | 13.69 | 4104 | 399.832 | ----- | ----- | ----- | ----- | 1 |  | 50 | 3.2707 | 395.8115 | 9.318 | 794.6544 | 10.5416 | 780.5529 | 5.716 | 744.167 | 3.2707 | 395.8115 | 50 | BRN09jun22_016.gcd | 2022-06-09 18:00 | 116 | Unknown | 0 | 2.724 | 11748635 | 797.822 | ----- | ----- | ----- | -----
51 | BRN09jun22_017.gcd | 2022-06-09 18:33 | 20 | Unknown | 0 | 6.561 | 5370 | 4.047 | ----- | ----- | ----- | ----- | 51 | BRN09jun22_017.gcd | 2022-06-09 18:33 | 20 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN09jun22_017.gcd | 2022-06-09 18:33 | 20 | Unknown | 0 | 13.68 | 5152 | 500.552 | ----- | ----- | ----- | ----- | 1 |  | 51 | 4.0595 | 493.1892 | 10.7676 | 988.3447 | 12.1434 | 980.7728 | 6.8684 | 960.541 | 4.0595 | 493.1892 | 51 | BRN09jun22_017.gcd | 2022-06-09 18:33 | 20 | Unknown | 0 | 2.725 | 11767955 | 797.687 | ----- | ----- | ----- | -----
52 | BRN09jun22_018.gcd | 2022-06-09 19:07 | 154 | Unknown | 0 | 6.559 | 5507 | 4.273 | ----- | ----- | ----- | ----- | 52 | BRN09jun22_018.gcd | 2022-06-09 19:07 | 154 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN09jun22_018.gcd | 2022-06-09 19:07 | 154 | Unknown | 0 | 13.69 | 5770 | 556.296 | ----- | ----- | ----- | ----- | 1 |  | 52 | 4.2787 | 548.8415 | 11.1699 | 1102.4982 | 12.5808 | 1098.8247 | 7.1993 | 1088.1094 | 4.2787 | 548.8415 | 52 | BRN09jun22_018.gcd | 2022-06-09 19:07 | 154 | Unknown | 0 | 2.723 | 11842640 | 797.165 | ----- | ----- | ----- | -----
53 | BRN09jun22_019.gcd | 2022-06-09 19:40 | 8 | Unknown | 0 | 6.565 | 5453 | 4.183 | ----- | ----- | ----- | ----- | 53 | BRN09jun22_019.gcd | 2022-06-09 19:40 | 8 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN09jun22_019.gcd | 2022-06-09 19:40 | 8 | Unknown | 0 | 13.672 | 4794 | 467.075 | ----- | ----- | ----- | ----- | 1 |  | 53 | 4.1923 | 460.3496 | 11.0112 | 922.195 | 12.4087 | 912.3811 | 7.0682 | 886.6333 | 4.1923 | 460.3496 | 53 | BRN09jun22_019.gcd | 2022-06-09 19:40 | 8 | Unknown | 0 | 2.71 | 12094601 | 795.42 | ----- | ----- | ----- | -----
54 | BRN09jun22_020.gcd | 2022-06-09 20:14 | 165 | Unknown | 0 | 6.568 | 4885 | 3.283 | ----- | ----- | ----- | ----- | 54 | BRN09jun22_020.gcd | 2022-06-09 20:14 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN09jun22_020.gcd | 2022-06-09 20:14 | 165 | Unknown | 0 | 13.686 | 5162 | 501.436 | ----- | ----- | ----- | ----- | 1 |  | 54 | 3.2881 | 494.1002 | 9.35 | 990.1922 | 10.5775 | 982.6831 | 5.7408 | 962.6054 | 3.2881 | 494.1002 | 54 | BRN09jun22_020.gcd | 2022-06-09 20:14 | 165 | Unknown | 0 | 2.718 | 11735669 | 797.913 | ----- | ----- | ----- | -----
55 | BRN09jun22_021.gcd | 2022-06-09 20:47 | 193 | Unknown | 0 | 6.558 | 5231 | 3.823 | ----- | ----- | ----- | ----- | 55 | BRN09jun22_021.gcd | 2022-06-09 20:47 | 193 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN09jun22_021.gcd | 2022-06-09 20:47 | 193 | Unknown | 0 | 13.677 | 5120 | 497.621 | ----- | ----- | ----- | ----- | 1 |  | 55 | 3.8377 | 490.2718 | 10.3603 | 982.4325 | 11.6974 | 974.6598 | 6.5383 | 953.935 | 3.8377 | 490.2718 | 55 | BRN09jun22_021.gcd | 2022-06-09 20:47 | 193 | Unknown | 0 | 2.715 | 11881119 | 796.898 | ----- | ----- | ----- | -----
56 | BRN09jun22_022.gcd | 2022-06-09 21:21 | 46 | Unknown | 0 | 6.562 | 4343 | 2.476 | ----- | ----- | ----- | ----- | 56 | BRN09jun22_022.gcd | 2022-06-09 21:21 | 46 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN09jun22_022.gcd | 2022-06-09 21:21 | 46 | Unknown | 0 | 13.688 | 4944 | 481.183 | ----- | ----- | ----- | ----- | 1 |  | 56 | 2.4345 | 474.1629 | 7.7776 | 949.9133 | 8.7953 | 941.0374 | 4.5616 | 917.601 | 2.4345 | 474.1629 | 56 | BRN09jun22_022.gcd | 2022-06-09 21:21 | 46 | Unknown | 0 | 2.724 | 11856111 | 797.072 | ----- | ----- | ----- | -----
57 | BRN09jun22_023.gcd | 2022-06-09 21:54 | 174 | Unknown | 0 | 6.54 | 4049 | 2.056 | ----- | ----- | ----- | ----- | 57 | BRN09jun22_023.gcd | 2022-06-09 21:54 | 174 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN09jun22_023.gcd | 2022-06-09 21:54 | 174 | Unknown | 0 | 13.676 | 4853 | 472.675 | ----- | ----- | ----- | ----- | 1 |  | 57 | 1.9752 | 465.792 | 6.9299 | 933.0979 | 7.8143 | 923.6527 | 3.9576 | 898.8141 | 1.9752 | 465.792 | 57 | BRN09jun22_023.gcd | 2022-06-09 21:54 | 174 | Unknown | 0 | 2.716 | 11754998 | 797.777 | ----- | ----- | ----- | -----
58 | BRN09jun22_024.gcd | 2022-06-09 22:28 | 94 | Unknown | 0 | 6.552 | 4782 | 3.126 | ----- | ----- | ----- | ----- | 58 | BRN09jun22_024.gcd | 2022-06-09 22:28 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN09jun22_024.gcd | 2022-06-09 22:28 | 94 | Unknown | 0 | 13.667 | 4889 | 476.021 | ----- | ----- | ----- | ----- | 1 |  | 58 | 3.1252 | 469.107 | 9.0502 | 939.7503 | 10.2414 | 930.5301 | 5.5101 | 906.2463 | 3.1252 | 469.107 | 58 | BRN09jun22_024.gcd | 2022-06-09 22:28 | 94 | Unknown | 0 | 2.715 | 11736240 | 797.909 | ----- | ----- | ----- | -----
59 | BRN09jun22_025.gcd | 2022-06-09 23:01 | 50 | Unknown | 0 | 6.557 | 4833 | 3.203 | ----- | ----- | ----- | ----- | 59 | BRN09jun22_025.gcd | 2022-06-09 23:01 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN09jun22_025.gcd | 2022-06-09 23:01 | 50 | Unknown | 0 | 13.651 | 5288 | 513.017 | ----- | ----- | ----- | ----- | 1 |  | 59 | 3.2058 | 505.5491 | 9.1986 | 1013.47 | 10.408 | 1006.7529 | 5.624 | 988.616 | 3.2058 | 505.5491 | 59 | BRN09jun22_025.gcd | 2022-06-09 23:01 | 50 | Unknown | 0 | 2.707 | 12150234 | 795.037 | ----- | ----- | ----- | -----
60 | BRN09jun22_026.gcd | 2022-06-09 23:35 | 39 | Unknown | 0 | 6.579 | 5044 | 3.529 | ----- | ----- | ----- | ----- | 60 | BRN09jun22_026.gcd | 2022-06-09 23:35 | 39 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN09jun22_026.gcd | 2022-06-09 23:35 | 39 | Unknown | 0 | 13.684 | 5764 | 555.738 | ----- | ----- | ----- | ----- | 1 |  | 60 | 3.5402 | 548.3075 | 9.8137 | 1101.3901 | 11.0939 | 1097.6786 | 6.1029 | 1086.8709 | 3.5402 | 548.3075 | 60 | BRN09jun22_026.gcd | 2022-06-09 23:35 | 39 | Unknown | 0 | 2.725 | 11707629 | 798.109 | ----- | ----- | ----- | -----
61 | BRN09jun22_027.gcd | 2022-06-10 00:08 | 25 | Unknown | 0 | 6.567 | 4556 | 2.787 | ----- | ----- | ----- | ----- | 61 | BRN09jun22_027.gcd | 2022-06-10 00:08 | 25 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN09jun22_027.gcd | 2022-06-10 00:08 | 25 | Unknown | 0 | 13.69 | 5180 | 503.106 | ----- | ----- | ----- | ----- | 1 |  | 61 | 2.7689 | 495.7391 | 8.3941 | 993.5177 | 9.4997 | 986.1217 | 5.0148 | 966.3212 | 2.7689 | 495.7391 | 61 | BRN09jun22_027.gcd | 2022-06-10 00:08 | 25 | Unknown | 0 | 2.725 | 11708125 | 798.106 | ----- | ----- | ----- | -----
62 | BRN09jun22_028.gcd | 2022-06-10 00:42 | air | Unknown | 0 | 6.583 | 4452 | 2.634 | ----- | ----- | ----- | ----- | 62 | BRN09jun22_028.gcd | 2022-06-10 00:42 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN09jun22_028.gcd | 2022-06-10 00:42 | air | Unknown | 0 | 13.675 | 4987 | 485.229 | ----- | ----- | ----- | ----- | 1 |  | 62 | 2.6054 | 478.1084 | 8.0928 | 957.8587 | 9.1564 | 949.252 | 4.7919 | 926.4782 | 2.6054 | 478.1084 | 62 | BRN09jun22_028.gcd | 2022-06-10 00:42 | air | Unknown | 0 | 2.723 | 11821416 | 797.313 | ----- | ----- | ----- | -----
63 | BRN09jun22_029.gcd | 2022-06-10 01:15 | air + 100 | Unknown | 0 | 6.485 | 2434651 | 0 | ----- | ----- | ----- | ----- | 63 | BRN09jun22_029.gcd | 2022-06-10 01:15 | air + 100 | Unknown | 0 | 6.438 | 19774 | 2616.802 | ----- | ----- | ----- | ----- | 63 | BRN09jun22_029.gcd | 2022-06-10 01:15 | air + 100 | Unknown | 0 | 13.662 | 22427 | 1606.037 | ----- | ----- | ----- | ----- | 1 |  | 63 | 2928.9309 | 1553.9109 | 4315.8671 | 4161.2244 | 5348.306 | 4276.0061 | 5105.3776 | 4519.1251 | 2928.9309 | 1553.9109 | 63 | BRN09jun22_029.gcd | 2022-06-10 01:15 | air + 100 | Unknown | 0 | 2.704 | 12334693 | 793.774 | ----- | ----- | ----- | -----
64 | BRN09jun22_030.gcd | 2022-06-10 01:49 | yellow tank | Unknown | 0 | 6.543 | 7492 | 8.141 | ----- | ----- | ----- | ----- | 64 | BRN09jun22_030.gcd | 2022-06-10 01:49 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN09jun22_030.gcd | 2022-06-10 01:49 | yellow tank | Unknown | 0 | 13.699 | 3102 | 294.476 | ----- | ----- | ----- | ----- | 1 |  | 64 | 7.5188 | 299.1749 | 17.0876 | 609.3368 | 18.6742 | 589.0879 | 12.6058 | 537.2378 | 7.5188 | 299.1749 | 64 | BRN09jun22_030.gcd | 2022-06-10 01:49 | yellow tank | Unknown | 0 | 2.723 | 11966829 | 796.303 | ----- | ----- | ----- | -----