## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [15 empty] | WHAT WE'RE USING |  | ALL POSSIBLE CALIBRATIONS... | [7 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Measured headspace CH4 in ppm from GC in ppm | Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN14jun22_001.gcd | 2022-06-14 10:08 | air | Unknown | 0 | 6.073 | 2099 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN14jun22_001.gcd | 2022-06-14 10:08 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN14jun22_001.gcd | 2022-06-14 10:08 | air | Unknown | 0 | 12.234 | 3004 | 0.561 | ----- | ----- | ----- | ----- | 1 |  | 83 | -1.0047 | 289.538 | 1.4004 | 591.2052 | 1.0542 | 570.3601 | 0.58762 | 516.9965 | -1.0047 | 289.538 | 49 | BRN14jun22_001.gcd | 2022-06-14 10:08 | air | Unknown | 0 | 2.709 | 5184756 | 958.696 | ----- | ----- | ----- | -----
50 | BRN14jun22_002.gcd | 2022-06-14 10:38 | air + 100 | Unknown | 0 | 6.008 | 876013 | 1.766 | ----- | ----- | ----- | ----- | 50 | BRN14jun22_002.gcd | 2022-06-14 10:38 | air + 100 | Unknown | 0 | 5.959 | 7239 | 1.926 | ----- | ----- | ----- | ----- | 50 | BRN14jun22_002.gcd | 2022-06-14 10:38 | air + 100 | Unknown | 0 | 12.188 | 7166 | 1.446 | ----- | ----- | ----- | ----- | 1 |  | 84 | 888.8678 | 669.7184 | 1934.3582 | 1360.1831 | 2141.1279 | 1365.4462 | 2014.5413 | 1376.2017 | 888.8678 | 669.7184 | 50 | BRN14jun22_002.gcd | 2022-06-14 10:38 | air + 100 | Unknown | 0 | 2.707 | 5198240 | 958.797 | ----- | ----- | ----- | -----
51 | BRN14jun22_003.gcd | 2022-06-14 11:09 | yellow tank | Unknown | 0 | 6.033 | 3382 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN14jun22_003.gcd | 2022-06-14 11:09 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN14jun22_003.gcd | 2022-06-14 11:09 | yellow tank | Unknown | 0 | 12.21 | 1460 | 0.232 | ----- | ----- | ----- | ----- | 1 |  | 85 | 0.94288 | 133.3471 | 5.0204 | 305.3802 | 5.5516 | 275.2593 | 2.6806 | 198.0276 | 0.94288 | 133.3471 | 51 | BRN14jun22_003.gcd | 2022-06-14 11:09 | yellow tank | Unknown | 0 | 2.702 | 5289539 | 959.457 | ----- | ----- | ----- | -----
52 | BRN14jun22_004.gcd | 2022-06-14 11:39 | 235 | Unknown | 0 | 5.978 | 9017670 | 18.463 | ----- | ----- | ----- | ----- | 52 | BRN14jun22_004.gcd | 2022-06-14 11:39 | 235 | Unknown | 0 | 5.932 | 67990 | 16.73 | ----- | ----- | ----- | ----- | 52 | BRN14jun22_004.gcd | 2022-06-14 11:39 | 235 | Unknown | 0 | 12.104 | 56760 | 11.845 | ----- | ----- | ----- | ----- | 1 |  | 86 | 19417.1057 | 614.435 | 13485.9864 | 10355.908 | 17625.9596 | 10796.2692 | 16937.5422 | 11546.3743 | 19417.1057 | 614.435 | 52 | BRN14jun22_004.gcd | 2022-06-14 11:39 | 235 | Unknown | 0 | 2.84 | 1059155 | 0 | ----- | ----- | ----- | -----
53 | BRN14jun22_005.gcd | 2022-06-14 12:10 | 395 | Unknown | 0 | 6.011 | 35744 | 0.067 | ----- | ----- | ----- | ----- | 53 | BRN14jun22_005.gcd | 2022-06-14 12:10 | 395 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN14jun22_005.gcd | 2022-06-14 12:10 | 395 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 87 | 66.6188 | #VALUE! | 111.6993 | #VALUE! | 93.6199 | #VALUE! | 81.354 | #VALUE! | 66.6188 | #VALUE! | 53 | BRN14jun22_005.gcd | 2022-06-14 12:10 | 395 | Unknown | 0 | 2.844 | 1139775 | 0 | ----- | ----- | ----- | -----
54 | BRN14jun22_006.gcd | 2022-06-14 12:40 | 355 | Unknown | 0 | 5.982 | 9731121 | 19.947 | ----- | ----- | ----- | ----- | 54 | BRN14jun22_006.gcd | 2022-06-14 12:40 | 355 | Unknown | 0 | 5.935 | 71334 | 17.54 | ----- | ----- | ----- | ----- | 54 | BRN14jun22_006.gcd | 2022-06-14 12:40 | 355 | Unknown | 0 | 12.117 | 53945 | 11.261 | ----- | ----- | ----- | ----- | 1 |  | 88 | 21069.2651 | 844.0675 | 14122.5425 | 9853.5683 | 18474.0106 | 10263.1084 | 17754.8155 | 10972.4667 | 21069.2651 | 844.0675 | 54 | BRN14jun22_006.gcd | 2022-06-14 12:40 | 355 | Unknown | 0 | 2.852 | 958720 | 0 | ----- | ----- | ----- | -----
55 | BRN14jun22_007.gcd | 2022-06-14 13:11 | 49 | Unknown | 0 | 6.001 | 332973 | 0.668 | ----- | ----- | ----- | ----- | 55 | BRN14jun22_007.gcd | 2022-06-14 13:11 | 49 | Unknown | 0 | 5.965 | 3541 | 1.019 | ----- | ----- | ----- | ----- | 55 | BRN14jun22_007.gcd | 2022-06-14 13:11 | 49 | Unknown | 0 | 12.139 | 20167 | 4.197 | ----- | ----- | ----- | ----- | 1 |  | 89 | 464.1081 | 1473.5084 | 955.8455 | 3748.2627 | 863.5684 | 3845.4593 | 770.4211 | 4054.4397 | 464.1081 | 1473.5084 | 55 | BRN14jun22_007.gcd | 2022-06-14 13:11 | 49 | Unknown | 0 | 2.833 | 1244821 | 0 | ----- | ----- | ----- | -----
56 | BRN14jun22_008.gcd | 2022-06-14 13:42 | 38 | Unknown | 0 | 6.017 | 4596 | 0.004 | ----- | ----- | ----- | ----- | 56 | BRN14jun22_008.gcd | 2022-06-14 13:42 | 38 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN14jun22_008.gcd | 2022-06-14 13:42 | 38 | Unknown | 0 | 12.168 | 6990 | 1.409 | ----- | ----- | ----- | ----- | 1 |  | 90 | 2.8318 | 654.8482 | 8.51 | 1327.7091 | 9.6314 | 1331.8355 | 5.1014 | 1339.8861 | 2.8318 | 654.8482 | 56 | BRN14jun22_008.gcd | 2022-06-14 13:42 | 38 | Unknown | 0 | 2.839 | 1138406 | 0 | ----- | ----- | ----- | -----
57 | BRN14jun22_009.gcd | 2022-06-14 14:12 | 147 | Unknown | 0 | 6.015 | 20179 | 0.036 | ----- | ----- | ----- | ----- | 57 | BRN14jun22_009.gcd | 2022-06-14 14:12 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN14jun22_009.gcd | 2022-06-14 14:12 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 91 | 31.057 | #VALUE! | 63.5201 | #VALUE! | 52.7113 | #VALUE! | 44.8775 | #VALUE! | 31.057 | #VALUE! | 57 | BRN14jun22_009.gcd | 2022-06-14 14:12 | 147 | Unknown | 0 | 2.83 | 1499949 | 0 | ----- | ----- | ----- | -----
58 | BRN14jun22_010.gcd | 2022-06-14 14:43 | 343 | Unknown | 0 | 6.014 | 41688 | 0.079 | ----- | ----- | ----- | ----- | 58 | BRN14jun22_010.gcd | 2022-06-14 14:43 | 343 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN14jun22_010.gcd | 2022-06-14 14:43 | 343 | Unknown | 0 | 12.174 | 8062 | 1.636 | ----- | ----- | ----- | ----- | 1 |  | 92 | 82.1426 | 743.7691 | 129.9937 | 1525.445 | 109.2267 | 1536.5396 | 95.2735 | 1561.0567 | 82.1426 | 743.7691 | 58 | BRN14jun22_010.gcd | 2022-06-14 14:43 | 343 | Unknown | 0 | 2.856 | 990463 | 0 | ----- | ----- | ----- | -----
59 | BRN14jun22_011.gcd | 2022-06-14 15:14 | 31 | Unknown | 0 | 6.034 | 3649 | 0.003 | ----- | ----- | ----- | ----- | 59 | BRN14jun22_011.gcd | 2022-06-14 15:14 | 31 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN14jun22_011.gcd | 2022-06-14 15:14 | 31 | Unknown | 0 | 12.148 | 30792 | 6.432 | ----- | ----- | ----- | ----- | 1 |  | 93 | 1.3545 | 1698.6364 | 5.7825 | 5684.1516 | 6.4635 | 5868.1555 | 3.1762 | 6236.8097 | 1.3545 | 1698.6364 | 59 | BRN14jun22_011.gcd | 2022-06-14 15:14 | 31 | Unknown | 0 | 2.847 | 1099293 | 0 | ----- | ----- | ----- | -----
60 | BRN14jun22_012.gcd | 2022-06-14 15:44 | 152 | Unknown | 0 | 6.039 | 3191 | 0.002 | ----- | ----- | ----- | ----- | 60 | BRN14jun22_012.gcd | 2022-06-14 15:44 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN14jun22_012.gcd | 2022-06-14 15:44 | 152 | Unknown | 0 | 12.139 | 32479 | 6.786 | ----- | ----- | ----- | ----- | 1 |  | 94 | 0.64977 | 1698.6564 | 4.477 | 5990.2214 | 4.8941 | 6188.9744 | 2.3387 | 6582.7886 | 0.64977 | 1698.6564 | 60 | BRN14jun22_012.gcd | 2022-06-14 15:44 | 152 | Unknown | 0 | 2.842 | 1216138 | 0 | ----- | ----- | ----- | -----
61 | BRN14jun22_013.gcd | 2022-06-14 16:15 | 191 | Unknown | 0 | 6.012 | 39363 | 0.075 | ----- | ----- | ----- | ----- | 61 | BRN14jun22_013.gcd | 2022-06-14 16:15 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN14jun22_013.gcd | 2022-06-14 16:15 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 95 | 75.9425 | #VALUE! | 122.8447 | #VALUE! | 103.1231 | #VALUE! | 89.8295 | #VALUE! | 75.9425 | #VALUE! | 61 | BRN14jun22_013.gcd | 2022-06-14 16:15 | 191 | Unknown | 0 | 2.825 | 1605719 | 0 | ----- | ----- | ----- | -----
62 | BRN14jun22_014.gcd | 2022-06-14 16:46 | 206 | Unknown | 0 | 6.075 | 1637 | -0.001 | ----- | ----- | ----- | ----- | 62 | BRN14jun22_014.gcd | 2022-06-14 16:46 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN14jun22_014.gcd | 2022-06-14 16:46 | 206 | Unknown | 0 | 12.083 | 91511 | 18.98 | ----- | ----- | ----- | ----- | 1 |  | 96 | -1.6938 | -4465.7484 | 0.11403 | 16475.3169 | -0.61204 | 17356.8797 | -0.048898 | 18597.9125 | -1.6938 | -4465.7484 | 62 | BRN14jun22_014.gcd | 2022-06-14 16:46 | 206 | Unknown | 0 | 2.852 | 1026454 | 0 | ----- | ----- | ----- | -----
63 | BRN14jun22_015.gcd | 2022-06-14 17:16 | 403 | Unknown | 0 | 5.949 | 23076166 | 48.38 | ----- | ----- | ----- | ----- | 63 | BRN14jun22_015.gcd | 2022-06-14 17:16 | 403 | Unknown | 0 | 5.903 | 181035 | 43.786 | ----- | ----- | ----- | ----- | 63 | BRN14jun22_015.gcd | 2022-06-14 17:16 | 403 | Unknown | 0 | 12.101 | 73109 | 15.217 | ----- | ----- | ----- | ----- | 1 |  | 97 | 111852.2782 | -1258.1252 | 35045.708 | 13253.7376 | 46045.7064 | 13887.6743 | 44325.3948 | 14871.5278 | 111852.2782 | -1258.1252 | 63 | BRN14jun22_015.gcd | 2022-06-14 17:16 | 403 | Unknown | 0 | 2.851 | 992290 | 0 | ----- | ----- | ----- | -----
64 | BRN14jun22_016.gcd | 2022-06-14 17:47 | 222 | Unknown | 0 | 5.935 | 24297734 | 51.049 | ----- | ----- | ----- | ----- | 64 | BRN14jun22_016.gcd | 2022-06-14 17:47 | 222 | Unknown | 0 | 5.89 | 200183 | 48.308 | ----- | ----- | ----- | ----- | 64 | BRN14jun22_016.gcd | 2022-06-14 17:47 | 222 | Unknown | 0 | 12.075 | 90986 | 18.874 | ----- | ----- | ----- | ----- | 1 |  | 98 | 134976.439 | -4358.0935 | 38705.8923 | 16383.996 | 50808.7514 | 17258.0576 | 48915.4 | 18491.8401 | 134976.439 | -4358.0935 | 64 | BRN14jun22_016.gcd | 2022-06-14 17:47 | 222 | Unknown | 0 | 2.831 | 1208465 | 0 | ----- | ----- | ----- | -----
65 | BRN14jun22_017.gcd | 2022-06-14 18:17 | 45 | Unknown | 0 | 6.011 | 107412 | 0.212 | ----- | ----- | ----- | ----- | 65 | BRN14jun22_017.gcd | 2022-06-14 18:17 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN14jun22_017.gcd | 2022-06-14 18:17 | 45 | Unknown | 0 | 12.148 | 30246 | 6.318 | ----- | ----- | ----- | ----- | 1 |  | 99 | #VALUE! | 1696.5329 | 328.4345 | 5585.0151 | 281.2247 | 5764.3022 | 248.8042 | 6124.802 | #VALUE! | 1696.5329 | 65 | BRN14jun22_017.gcd | 2022-06-14 18:17 | 45 | Unknown | 0 | 2.85 | 1057940 | 0 | ----- | ----- | ----- | -----
66 | BRN14jun22_018.gcd | 2022-06-14 18:48 | 334 | Unknown | 0 | 6.015 | 64421 | 0.125 | ----- | ----- | ----- | ----- | 66 | BRN14jun22_018.gcd | 2022-06-14 18:48 | 334 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN14jun22_018.gcd | 2022-06-14 18:48 | 334 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 100 | 151.4227 | #VALUE! | 199.4293 | #VALUE! | 168.8365 | #VALUE! | 148.4563 | #VALUE! | 151.4227 | #VALUE! | 66 | BRN14jun22_018.gcd | 2022-06-14 18:48 | 334 | Unknown | 0 | 2.846 | 1212972 | 0 | ----- | ----- | ----- | -----
67 | BRN14jun22_019.gcd | 2022-06-14 19:19 | 196 | Unknown | 0 | 6.062 | 1723 | -0.001 | ----- | ----- | ----- | ----- | 67 | BRN14jun22_019.gcd | 2022-06-14 19:19 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN14jun22_019.gcd | 2022-06-14 19:19 | 196 | Unknown | 0 | 12.087 | 91782 | 19.036 | ----- | ----- | ----- | ----- | 1 |  | 101 | -1.566 | -4521.6898 | 0.3528 | 16522.4424 | -0.30001 | 17407.8872 | 0.064889 | 18652.6606 | -1.566 | -4521.6898 | 67 | BRN14jun22_019.gcd | 2022-06-14 19:19 | 196 | Unknown | 0 | 2.853 | 1001105 | 0 | ----- | ----- | ----- | -----
68 | BRN14jun22_020.gcd | 2022-06-14 19:49 | 392 | Unknown | 0 | 6.014 | 45744 | 0.088 | ----- | ----- | ----- | ----- | 68 | BRN14jun22_020.gcd | 2022-06-14 19:49 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN14jun22_020.gcd | 2022-06-14 19:49 | 392 | Unknown | 0 | 12.192 | 3009 | 0.562 | ----- | ----- | ----- | ----- | 1 |  | 102 | 93.352 | 290.0305 | 142.4442 | 592.1303 | 119.8714 | 571.3156 | 104.7684 | 518.0292 | 93.352 | 290.0305 | 68 | BRN14jun22_020.gcd | 2022-06-14 19:49 | 392 | Unknown | 0 | 2.845 | 1210161 | 0 | ----- | ----- | ----- | -----
69 | BRN14jun22_021.gcd | 2022-06-14 20:20 | 51 | Unknown | 0 | 6.022 | 4790 | 0.005 | ----- | ----- | ----- | ----- | 69 | BRN14jun22_021.gcd | 2022-06-14 20:20 | 51 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN14jun22_021.gcd | 2022-06-14 20:20 | 51 | Unknown | 0 | 12.182 | 5605 | 1.114 | ----- | ----- | ----- | ----- | 1 |  | 103 | 3.1378 | 534.1114 | 9.0735 | 1072.025 | 10.2676 | 1067.3072 | 5.5279 | 1054.0518 | 3.1378 | 534.1114 | 69 | BRN14jun22_021.gcd | 2022-06-14 20:20 | 51 | Unknown | 0 | 2.846 | 1206280 | 0 | ----- | ----- | ----- | -----
70 | BRN14jun22_022.gcd | 2022-06-14 20:51 | 163 | Unknown | 0 | 6.029 | 2321 | 0 | ----- | ----- | ----- | ----- | 70 | BRN14jun22_022.gcd | 2022-06-14 20:51 | 163 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN14jun22_022.gcd | 2022-06-14 20:51 | 163 | Unknown | 0 | 12.147 | 35330 | 7.383 | ----- | ----- | ----- | ----- | 1 |  | 104 | -0.67131 | 1676.4372 | 2.0218 | 6506.6619 | 1.846 | 6730.9421 | 0.91554 | 7167.1567 | -0.67131 | 1676.4372 | 70 | BRN14jun22_022.gcd | 2022-06-14 20:51 | 163 | Unknown | 0 | 2.848 | 1105670 | 0 | ----- | ----- | ----- | -----
71 | BRN14jun22_023.gcd | 2022-06-14 21:21 | 42 | Unknown | 0 | 6.015 | 265307 | 0.531 | ----- | ----- | ----- | ----- | 71 | BRN14jun22_023.gcd | 2022-06-14 21:21 | 42 | Unknown | 0 | 5.972 | 2188 | 0.687 | ----- | ----- | ----- | ----- | 71 | BRN14jun22_023.gcd | 2022-06-14 21:21 | 42 | Unknown | 0 | 12.17 | 20821 | 4.335 | ----- | ----- | ----- | ----- | 1 |  | 105 | 328.8601 | 1498.5818 | 776.349 | 3867.8317 | 690.163 | 3970.0683 | 614.8018 | 4188.9374 | 328.8601 | 1498.5818 | 71 | BRN14jun22_023.gcd | 2022-06-14 21:21 | 42 | Unknown | 0 | 2.854 | 1094724 | 0 | ----- | ----- | ----- | -----
72 | BRN14jun22_024.gcd | 2022-06-14 21:52 | 98 | Unknown | 0 | 6.047 | 2161 | 0 | ----- | ----- | ----- | ----- | 72 | BRN14jun22_024.gcd | 2022-06-14 21:52 | 98 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN14jun22_024.gcd | 2022-06-14 21:52 | 98 | Unknown | 0 | 12.106 | 68525 | 14.274 | ----- | ----- | ----- | ----- | 1 |  | 106 | -0.91176 | -640.3281 | 1.5737 | 12444.6174 | 1.2759 | 13021.7703 | 0.67776 | 13940.5839 | -0.91176 | -640.3281 | 72 | BRN14jun22_024.gcd | 2022-06-14 21:52 | 98 | Unknown | 0 | 2.845 | 1159318 | 0 | ----- | ----- | ----- | -----
73 | BRN14jun22_025.gcd | 2022-06-14 22:23 | 172 | Unknown | 0 | 6.005 | 22129 | 0.04 | ----- | ----- | ----- | ----- | 73 | BRN14jun22_025.gcd | 2022-06-14 22:23 | 172 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN14jun22_025.gcd | 2022-06-14 22:23 | 172 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 107 | 35.1087 | #VALUE! | 69.5777 | #VALUE! | 57.8396 | #VALUE! | 49.4495 | #VALUE! | 35.1087 | #VALUE! | 73 | BRN14jun22_025.gcd | 2022-06-14 22:23 | 172 | Unknown | 0 | 2.841 | 1074794 | 0 | ----- | ----- | ----- | -----
74 | BRN14jun22_026.gcd | 2022-06-14 22:53 | 109 | Unknown | 0 | 6.044 | 2511 | 0 | ----- | ----- | ----- | ----- | 74 | BRN14jun22_026.gcd | 2022-06-14 22:53 | 109 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN14jun22_026.gcd | 2022-06-14 22:53 | 109 | Unknown | 0 | 12.107 | 69698 | 14.516 | ----- | ----- | ----- | ----- | 1 |  | 108 | -0.38476 | -791.5343 | 2.5552 | 12651.9144 | 2.5192 | 13243.4116 | 1.2076 | 14178.9053 | -0.38476 | -791.5343 | 74 | BRN14jun22_026.gcd | 2022-06-14 22:53 | 109 | Unknown | 0 | 2.826 | 1588501 | 0 | ----- | ----- | ----- | -----
75 | BRN14jun22_027.gcd | 2022-06-14 23:24 | 74 | Unknown | 0 | 6.064 | 1617 | -0.002 | ----- | ----- | ----- | ----- | 75 | BRN14jun22_027.gcd | 2022-06-14 23:24 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN14jun22_027.gcd | 2022-06-14 23:24 | 74 | Unknown | 0 | 12.08 | 90270 | 18.728 | ----- | ----- | ----- | ----- | 1 |  | 109 | -1.7235 | -4212.8011 | 0.058547 | 16259.3958 | -0.68473 | 17123.2686 | -0.075052 | 18347.1549 | -1.7235 | -4212.8011 | 75 | BRN14jun22_027.gcd | 2022-06-14 23:24 | 74 | Unknown | 0 | 2.849 | 1071304 | 0 | ----- | ----- | ----- | -----
76 | BRN14jun22_028.gcd | 2022-06-14 23:55 | 57 | Unknown | 0 | 6.014 | 77622 | 0.152 | ----- | ----- | ----- | ----- | 76 | BRN14jun22_028.gcd | 2022-06-14 23:55 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN14jun22_028.gcd | 2022-06-14 23:55 | 57 | Unknown | 0 | 12.15 | 30177 | 6.303 | ----- | ----- | ----- | ----- | 1 |  | 110 | 198.8638 | 1696.194 | 239.3632 | 5572.4842 | 203.3944 | 5751.1772 | 179.3012 | 6110.6461 | 198.8638 | 1696.194 | 76 | BRN14jun22_028.gcd | 2022-06-14 23:55 | 57 | Unknown | 0 | 2.851 | 1076187 | 0 | ----- | ----- | ----- | -----
77 | BRN14jun22_029.gcd | 2022-06-15 00:25 | 240 | Unknown | 0 | 6.014 | 20811 | 0.037 | ----- | ----- | ----- | ----- | 77 | BRN14jun22_029.gcd | 2022-06-15 00:25 | 240 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN14jun22_029.gcd | 2022-06-15 00:25 | 240 | Unknown | 0 | 12.187 | 2759 | 0.509 | ----- | ----- | ----- | ----- | 1 |  | 111 | 32.3575 | 265.3013 | 65.4841 | 545.8708 | 54.3735 | 523.539 | 46.3593 | 466.391 | 32.3575 | 265.3013 | 77 | BRN14jun22_029.gcd | 2022-06-15 00:25 | 240 | Unknown | 0 | 2.852 | 1067014 | 0 | ----- | ----- | ----- | -----
78 | BRN14jun22_030.gcd | 2022-06-15 00:56 | 97 | Unknown | 0 | 6.013 | 39050 | 0.074 | ----- | ----- | ----- | ----- | 78 | BRN14jun22_030.gcd | 2022-06-15 00:56 | 97 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN14jun22_030.gcd | 2022-06-15 00:56 | 97 | Unknown | 0 | 12.169 | 11293 | 2.321 | ----- | ----- | ----- | ----- | 1 |  | 112 | 75.1204 | 987.8628 | 121.8816 | 2120.547 | 102.3013 | 2153.2899 | 89.0966 | 2227.3085 | 75.1204 | 987.8628 | 78 | BRN14jun22_030.gcd | 2022-06-15 00:56 | 97 | Unknown | 0 | 2.848 | 1141970 | 0 | ----- | ----- | ----- | -----
79 | BRN14jun22_031.gcd | 2022-06-15 01:27 | 170 | Unknown | 0 | 6.015 | 36478 | 0.069 | ----- | ----- | ----- | ----- | 79 | BRN14jun22_031.gcd | 2022-06-15 01:27 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN14jun22_031.gcd | 2022-06-15 01:27 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 113 | 68.4777 | #VALUE! | 113.9615 | #VALUE! | 95.5476 | #VALUE! | 83.0732 | #VALUE! | 68.4777 | #VALUE! | 79 | BRN14jun22_031.gcd | 2022-06-15 01:27 | 170 | Unknown | 0 | 2.848 | 1155027 | 0 | ----- | ----- | ----- | -----
80 | BRN14jun22_032.gcd | 2022-06-15 01:57 | 44 | Unknown | 0 | 6.082 | 1135 | -0.003 | ----- | ----- | ----- | ----- | 80 | BRN14jun22_032.gcd | 2022-06-15 01:57 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN14jun22_032.gcd | 2022-06-15 01:57 | 44 | Unknown | 0 | 12.08 | 89478 | 18.566 | ----- | ----- | ----- | ----- | 1 |  | 114 | -2.4352 | -4054.1409 | -1.2735 | 16121.495 | -2.4505 | 16974.153 | -0.67021 | 18187.0815 | -2.4352 | -4054.1409 | 80 | BRN14jun22_032.gcd | 2022-06-15 01:57 | 44 | Unknown | 0 | 2.85 | 1081308 | 0 | ----- | ----- | ----- | -----
81 | BRN14jun22_033.gcd | 2022-06-15 02:28 | 181 | Unknown | 0 | 6.033 | 3411 | 0.002 | ----- | ----- | ----- | ----- | 81 | BRN14jun22_033.gcd | 2022-06-15 02:28 | 181 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN14jun22_033.gcd | 2022-06-15 02:28 | 181 | Unknown | 0 | 12.141 | 30510 | 6.373 | ----- | ----- | ----- | ----- | 1 |  | 115 | 0.98748 | 1697.678 | 5.103 | 5632.9539 | 5.651 | 5814.5182 | 2.7334 | 6178.9615 | 0.98748 | 1697.678 | 81 | BRN14jun22_033.gcd | 2022-06-15 02:28 | 181 | Unknown | 0 | 2.851 | 1077740 | 0 | ----- | ----- | ----- | -----
82 | BRN14jun22_034.gcd | 2022-06-15 02:58 | 132 | Unknown | 0 | 6.022 | 4167 | 0.004 | ----- | ----- | ----- | ----- | 82 | BRN14jun22_034.gcd | 2022-06-15 02:58 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | BRN14jun22_034.gcd | 2022-06-15 02:58 | 132 | Unknown | 0 | 12.107 | 70039 | 14.586 | ----- | ----- | ----- | ----- | 1 |  | 116 | 2.1592 | -836.3791 | 7.2697 | 12712.1448 | 8.2092 | 13307.836 | 4.197 | 14248.1739 | 2.1592 | -836.3791 | 82 | BRN14jun22_034.gcd | 2022-06-15 02:58 | 132 | Unknown | 0 | 2.846 | 1183865 | 0 | ----- | ----- | ----- | -----
83 | BRN14jun22_035.gcd | 2022-06-15 03:29 | 122 | Unknown | 0 | 6.035 | 3119 | 0.001 | ----- | ----- | ----- | ----- | 83 | BRN14jun22_035.gcd | 2022-06-15 03:29 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | BRN14jun22_035.gcd | 2022-06-15 03:29 | 122 | Unknown | 0 | 12.105 | 66814 | 13.922 | ----- | ----- | ----- | ----- | 1 |  | 117 | 0.53957 | -428.2581 | 4.2726 | 12141.9334 | 4.6452 | 12698.3924 | 2.2126 | 13592.8297 | 0.53957 | -428.2581 | 83 | BRN14jun22_035.gcd | 2022-06-15 03:29 | 122 | Unknown | 0 | 2.845 | 1197663 | 0 | ----- | ----- | ----- | -----
84 | BRN13jun22_036.gcd | 2022-06-14 03:50 | BD-DS-22033 | Unknown | 0 | 6.047 | 2861 | 0.001 | ----- | ----- | ----- | ----- | 84 | BRN13jun22_036.gcd | 2022-06-14 03:50 | BD-DS-22033 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | BRN13jun22_036.gcd | 2022-06-14 03:50 | BD-DS-22033 | Unknown | 0 | 12.16 | 12240 | 2.522 | ----- | ----- | ----- | ----- | 1 |  | 118 | 0.14596 | 1052.6008 | 3.5419 | 2294.7219 | 3.7483 | 2333.994 | 1.773 | 2422.4847 | 0.14596 | 1052.6008 | 84 | BRN13jun22_036.gcd | 2022-06-14 03:50 | BD-DS-22033 | Unknown | 0 | 2.718 | 4931783 | 956.544 | ----- | ----- | ----- | -----
85 | BRN13jun22_037.gcd | 2022-06-14 04:21 | BD-DS-220303 | Unknown | 0 | 6.043 | 2649 | 0.001 | ----- | ----- | ----- | ----- | 85 | BRN13jun22_037.gcd | 2022-06-14 04:21 | BD-DS-220303 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | BRN13jun22_037.gcd | 2022-06-14 04:21 | BD-DS-220303 | Unknown | 0 | 12.183 | 6507 | 1.306 | ----- | ----- | ----- | ----- | 1 |  | 119 | -0.17595 | 613.4923 | 2.9437 | 1238.5701 | 3.0055 | 1239.5919 | 1.4262 | 1240.2164 | -0.17595 | 613.4923 | 85 | BRN13jun22_037.gcd | 2022-06-14 04:21 | BD-DS-220303 | Unknown | 0 | 2.717 | 5028484 | 957.432 | ----- | ----- | ----- | -----
86 | BRN13jun22_038.gcd | 2022-06-14 04:52 | BD-DS-220428 | Unknown | 0 | 6.035 | 3737 | 0.003 | ----- | ----- | ----- | ----- | 86 | BRN13jun22_038.gcd | 2022-06-14 04:52 | BD-DS-220428 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | BRN13jun22_038.gcd | 2022-06-14 04:52 | BD-DS-220428 | Unknown | 0 | 12.161 | 11054 | 2.271 | ----- | ----- | ----- | ----- | 1 |  | 120 | 1.4906 | 971.0369 | 6.0343 | 2076.5717 | 6.7623 | 2107.68 | 3.3442 | 2178.0435 | 1.4906 | 971.0369 | 86 | BRN13jun22_038.gcd | 2022-06-14 04:52 | BD-DS-220428 | Unknown | 0 | 2.718 | 4940384 | 956.627 | ----- | ----- | ----- | -----
87 | BRN13jun22_039.gcd | 2022-06-14 05:22 | BD-Air-220325 | Unknown | 0 | 6.072 | 1631 | -0.002 | ----- | ----- | ----- | ----- | 87 | BRN13jun22_039.gcd | 2022-06-14 05:22 | BD-Air-220325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | BRN13jun22_039.gcd | 2022-06-14 05:22 | BD-Air-220325 | Unknown | 0 | 12.222 | 4150 | 0.805 | ----- | ----- | ----- | ----- | 1 |  | 121 | -1.7027 | 400.165 | 0.097383 | 803.1589 | -0.63384 | 789.342 | -0.056757 | 753.6655 | -1.7027 | 400.165 | 87 | BRN13jun22_039.gcd | 2022-06-14 05:22 | BD-Air-220325 | Unknown | 0 | 2.736 | 4887324 | 956.097 | ----- | ----- | ----- | -----