## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [15 empty] | WHAT WE'RE USING |  | ALL POSSIBLE CALIBRATIONS... | [7 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Measured headspace CH4 in ppm from GC in ppm | Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN19jul22_001.gcd | 2022-07-19 10:57 | air | Unknown | 0 | 6.062 | 1258 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN19jul22_001.gcd | 2022-07-19 10:57 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN19jul22_001.gcd | 2022-07-19 10:57 | air | Unknown | 0 | 12.24 | 2922 | 0.544 | ----- | ----- | ----- | ----- | 1 |  | 83 | -0.52475 | 500.0595 | -0.93448 | 576.0329 | -1.9974 | 554.6896 | -0.52475 | 500.0595 | -2.2542 | 281.4491 | 49 | BRN19jul22_001.gcd | 2022-07-19 10:57 | air | Unknown | 0 | 2.715 | 5208764 | 958.876 | ----- | ----- | ----- | -----
50 | BRN19jul22_002.gcd | 2022-07-19 11:28 | air + 100 | Unknown | 0 | 6.01 | 1202866 | 2.428 | ----- | ----- | ----- | ----- | 50 | BRN19jul22_002.gcd | 2022-07-19 11:28 | air + 100 | Unknown | 0 | 5.964 | 11740 | 3.03 | ----- | ----- | ----- | ----- | 50 | BRN19jul22_002.gcd | 2022-07-19 11:28 | air + 100 | Unknown | 0 | 12.191 | 9193 | 1.876 | ----- | ----- | ----- | ----- | 1 |  | 84 | 3125.0829 | 1794.3364 | 2789.3788 | 1733.9074 | 3293.4698 | 1752.4694 | 3125.0829 | 1794.3364 | 1514.7276 | 833.2984 | 50 | BRN19jul22_002.gcd | 2022-07-19 11:28 | air + 100 | Unknown | 0 | 2.705 | 5329007 | 959.73 | ----- | ----- | ----- | -----
51 | BRN19jul22_003.gcd | 2022-07-19 11:59 | yellow tank | Unknown | 0 | 6.044 | 3270 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN19jul22_003.gcd | 2022-07-19 11:59 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN19jul22_003.gcd | 2022-07-19 11:59 | yellow tank | Unknown | 0 | 12.218 | 1254 | 0.189 | ----- | ----- | ----- | ----- | 1 |  | 85 | 2.4788 | 155.4617 | 4.7016 | 267.2229 | 5.1666 | 235.8812 | 2.4788 | 155.4617 | 0.77087 | 111.8881 | 51 | BRN19jul22_003.gcd | 2022-07-19 11:59 | yellow tank | Unknown | 0 | 2.715 | 5412867 | 960.287 | ----- | ----- | ----- | -----
52 | BRN19jul22_004.gcd | 2022-07-19 12:29 | yellow tank | Unknown | 0 | 6.035 | 3488 | 0.002 | ----- | ----- | ----- | ----- | 52 | BRN19jul22_004.gcd | 2022-07-19 12:29 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN19jul22_004.gcd | 2022-07-19 12:29 | yellow tank | Unknown | 0 | 12.203 | 1570 | 0.256 | ----- | ----- | ----- | ----- | 1 |  | 86 | 2.8749 | 220.7561 | 5.3226 | 325.7533 | 5.9146 | 296.2859 | 2.8749 | 220.7561 | 1.106 | 144.746 | 52 | BRN19jul22_004.gcd | 2022-07-19 12:29 | yellow tank | Unknown | 0 | 2.704 | 5448434 | 960.515 | ----- | ----- | ----- | -----
53 | BRN19jul22_005.gcd | 2022-07-19 13:00 | 358 | Unknown | 0 | 5.922 | 31165774 | 66.285 | ----- | ----- | ----- | ----- | 53 | BRN19jul22_005.gcd | 2022-07-19 13:00 | 358 | Unknown | 0 | 5.882 | 256230 | 61.447 | ----- | ----- | ----- | ----- | 53 | BRN19jul22_005.gcd | 2022-07-19 13:00 | 358 | Unknown | 0 | 12.068 | 115179 | 23.773 | ----- | ----- | ----- | ----- | 1 |  | 87 | 62268.8621 | 23365.2458 | 49433.2498 | 20556.2971 | 64665.8 | 21802.6584 | 62268.8621 | 23365.2458 | 215094.4681 | -10303.9055 | 53 | BRN19jul22_005.gcd | 2022-07-19 13:00 | 358 | Unknown | 0 | 2.845 | 1101762 | 0 | ----- | ----- | ----- | -----
54 | BRN19jul22_006.gcd | 2022-07-19 13:30 | 349 | Unknown | 0 | 5.964 | 17217885 | 35.737 | ----- | ----- | ----- | ----- | 54 | BRN19jul22_006.gcd | 2022-07-19 13:30 | 349 | Unknown | 0 | 5.92 | 136275 | 33.148 | ----- | ----- | ----- | ----- | 54 | BRN19jul22_006.gcd | 2022-07-19 13:30 | 349 | Unknown | 0 | 12.101 | 80022 | 16.635 | ----- | ----- | ----- | ----- | 1 |  | 88 | 33540.4489 | 16273.4296 | 26499.1278 | 14468.9598 | 34854.2925 | 15192.2272 | 33540.4489 | 16273.4296 | 66236.2209 | -2326.5108 | 54 | BRN19jul22_006.gcd | 2022-07-19 13:30 | 349 | Unknown | 0 | 2.848 | 1043811 | 0 | ----- | ----- | ----- | -----
55 | BRN19jul22_007.gcd | 2022-07-19 14:01 | 297 | Unknown | 0 | 6.056 | 2338 | 0 | ----- | ----- | ----- | ----- | 55 | BRN19jul22_007.gcd | 2022-07-19 14:01 | 297 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN19jul22_007.gcd | 2022-07-19 14:01 | 297 | Unknown | 0 | 12.09 | 94319 | 19.552 | ----- | ----- | ----- | ----- | 1 |  | 89 | 0.94124 | 19165.0095 | 2.0694 | 16963.1661 | 1.9064 | 17885.2846 | 0.94124 | 19165.0095 | -0.64571 | -5057.6455 | 55 | BRN19jul22_007.gcd | 2022-07-19 14:01 | 297 | Unknown | 0 | 2.854 | 983402 | 0 | ----- | ----- | ----- | -----
56 | BRN19jul22_008.gcd | 2022-07-19 14:32 | 131 | Unknown | 0 | 6.016 | 52642 | 0.101 | ----- | ----- | ----- | ----- | 56 | BRN19jul22_008.gcd | 2022-07-19 14:32 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN19jul22_008.gcd | 2022-07-19 14:32 | 131 | Unknown | 0 | 12.2 | 1511 | 0.243 | ----- | ----- | ----- | ----- | 1 |  | 90 | 120.9102 | 208.5654 | 163.5569 | 314.8261 | 137.9655 | 285.0081 | 120.9102 | 208.5654 | 113.5643 | 138.6372 | 56 | BRN19jul22_008.gcd | 2022-07-19 14:32 | 131 | Unknown | 0 | 2.851 | 1074784 | 0 | ----- | ----- | ----- | -----
57 | BRN19jul22_009.gcd | 2022-07-19 15:02 | 253 | Unknown | 0 | 6.016 | 131737 | 0.261 | ----- | ----- | ----- | ----- | 57 | BRN19jul22_009.gcd | 2022-07-19 15:02 | 253 | Unknown | 0 | 5.962 | 1798 | 0.591 | ----- | ----- | ----- | ----- | 57 | BRN19jul22_009.gcd | 2022-07-19 15:02 | 253 | Unknown | 0 | 12.183 | 8431 | 1.714 | ----- | ----- | ----- | ----- | 1 |  | 91 | 305.4507 | 1637.1737 | 400.0913 | 1593.4756 | 344.6177 | 1606.9934 | 305.4507 | 1637.1737 | 291.8804 | 773.4625 | 57 | BRN19jul22_009.gcd | 2022-07-19 15:02 | 253 | Unknown | 0 | 2.849 | 1145040 | 0 | ----- | ----- | ----- | -----
58 | BRN19jul22_011.gcd | 2022-07-19 16:04 | 267 | Unknown | 0 | 6.016 | 250489 | 0.501 | ----- | ----- | ----- | ----- | 58 | BRN19jul22_011.gcd | 2022-07-19 16:04 | 267 | Unknown | 0 | 5.976 | 2051 | 0.653 | ----- | ----- | ----- | ----- | 58 | BRN19jul22_011.gcd | 2022-07-19 16:04 | 267 | Unknown | 0 | 12.113 | 76329 | 15.878 | ----- | ----- | ----- | ----- | 1 |  | 92 | 580.6247 | 15524.8218 | 736.0439 | 13820.5213 | 652.0416 | 14495.5141 | 580.6247 | 15524.8218 | 315.7676 | -1735.3142 | 58 | BRN19jul22_011.gcd | 2022-07-19 16:04 | 267 | Unknown | 0 | 2.86 | 922853 | 0 | ----- | ----- | ----- | -----
59 | BRN19jul22_012.gcd | 2022-07-19 16:34 | 305 | Unknown | 0 | 6.016 | 80100 | 0.157 | ----- | ----- | ----- | ----- | 59 | BRN19jul22_012.gcd | 2022-07-19 16:34 | 305 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN19jul22_012.gcd | 2022-07-19 16:34 | 305 | Unknown | 0 | 12.198 | 2029 | 0.354 | ----- | ----- | ----- | ----- | 1 |  | 93 | 185.0881 | 315.5892 | 246.8276 | 410.7482 | 209.8767 | 384.0199 | 185.0881 | 315.5892 | 208.3597 | 191.8613 | 59 | BRN19jul22_012.gcd | 2022-07-19 16:34 | 305 | Unknown | 0 | 2.854 | 1042838 | 0 | ----- | ----- | ----- | -----
60 | BRN19jul22_014.gcd | 2022-07-19 17:36 | 327 | Unknown | 0 | 6.017 | 7276 | 0.01 | ----- | ----- | ----- | ----- | 60 | BRN19jul22_014.gcd | 2022-07-19 17:36 | 327 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN19jul22_014.gcd | 2022-07-19 17:36 | 327 | Unknown | 0 | 12.076 | 106720 | 22.066 | ----- | ----- | ----- | ----- | 1 |  | 94 | 11.9619 | 21664.6727 | 16.4356 | 19105.8205 | 18.0333 | 20215.8183 | 11.9619 | 21664.6727 | 7.1604 | -7996.0511 | 60 | BRN19jul22_014.gcd | 2022-07-19 17:36 | 327 | Unknown | 0 | 2.835 | 1221174 | 0 | ----- | ----- | ----- | -----
61 | BRN19jul22_015.gcd | 2022-07-19 18:06 | 375 | Unknown | 0 | 6.015 | 290724 | 0.582 | ----- | ----- | ----- | ----- | 61 | BRN19jul22_015.gcd | 2022-07-19 18:06 | 375 | Unknown | 0 | 5.961 | 2419 | 0.744 | ----- | ----- | ----- | ----- | 61 | BRN19jul22_015.gcd | 2022-07-19 18:06 | 375 | Unknown | 0 | 12.113 | 75096 | 15.625 | ----- | ----- | ----- | ----- | 1 |  | 95 | 673.3427 | 15274.7255 | 844.6487 | 13603.6427 | 755.4281 | 14262.8004 | 673.3427 | 15274.7255 | 351.1867 | -1548.3754 | 61 | BRN19jul22_015.gcd | 2022-07-19 18:06 | 375 | Unknown | 0 | 2.855 | 992262 | 0 | ----- | ----- | ----- | -----
62 | BRN19jul22_016.gcd | 2022-07-19 18:37 | 332 | Unknown | 0 | 6.056 | 1999 | -0.001 | ----- | ----- | ----- | ----- | 62 | BRN19jul22_016.gcd | 2022-07-19 18:37 | 332 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN19jul22_016.gcd | 2022-07-19 18:37 | 332 | Unknown | 0 | 12.078 | 107709 | 22.266 | ----- | ----- | ----- | ----- | 1 |  | 96 | 0.44458 | 21863.6869 | 1.1212 | 19275.8695 | 0.69561 | 20401.4668 | 0.44458 | 21863.6869 | -1.1544 | -8253.1712 | 62 | BRN19jul22_016.gcd | 2022-07-19 18:37 | 332 | Unknown | 0 | 2.844 | 1203104 | 0 | ----- | ----- | ----- | -----
63 | BRN19jul22_017.gcd | 2022-07-19 19:08 | 394 | Unknown | 0 | 5.962 | 20452825 | 42.686 | ----- | ----- | ----- | ----- | 63 | BRN19jul22_017.gcd | 2022-07-19 19:08 | 394 | Unknown | 0 | 5.918 | 167638 | 40.612 | ----- | ----- | ----- | ----- | 63 | BRN19jul22_017.gcd | 2022-07-19 19:08 | 394 | Unknown | 0 | 12.116 | 71865 | 14.961 | ----- | ----- | ----- | ----- | 1 |  | 97 | 41105.5234 | 14618.9955 | 32486.2729 | 13034.4204 | 42704.466 | 13652.754 | 41105.5234 | 14618.9955 | 96959.5521 | -1083.3217 | 63 | BRN19jul22_017.gcd | 2022-07-19 19:08 | 394 | Unknown | 0 | 2.86 | 903605 | 0 | ----- | ----- | ----- | -----
64 | BRN19jul22_018.gcd | 2022-07-19 19:38 | 346 | Unknown | 0 | 6.023 | 15594 | 0.027 | ----- | ----- | ----- | ----- | 64 | BRN19jul22_018.gcd | 2022-07-19 19:38 | 346 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN19jul22_018.gcd | 2022-07-19 19:38 | 346 | Unknown | 0 | 12.094 | 99310 | 20.566 | ----- | ----- | ----- | ----- | 1 |  | 98 | 34.1251 | 20171.9866 | 49.2525 | 17827.8364 | 40.6497 | 18823.8501 | 34.1251 | 20171.9866 | 21.9858 | -6176.6471 | 64 | BRN19jul22_018.gcd | 2022-07-19 19:38 | 346 | Unknown | 0 | 2.848 | 1177282 | 0 | ----- | ----- | ----- | -----
65 | BRN19jul22_019.gcd | 2022-07-19 20:09 | 278 | Unknown | 0 | 6.021 | 62468 | 0.121 | ----- | ----- | ----- | ----- | 65 | BRN19jul22_019.gcd | 2022-07-19 20:09 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN19jul22_019.gcd | 2022-07-19 20:09 | 278 | Unknown | 0 | 12.193 | 9017 | 1.839 | ----- | ----- | ----- | ----- | 1 |  | 99 | 143.8906 | 1758.039 | 193.4972 | 1701.4782 | 163.7203 | 1718.8704 | 143.8906 | 1758.039 | 144.8539 | 819.6554 | 65 | BRN19jul22_019.gcd | 2022-07-19 20:09 | 278 | Unknown | 0 | 2.86 | 988048 | 0 | ----- | ----- | ----- | -----
66 | BRN19jul22_020.gcd | 2022-07-19 20:39 | 20 | Unknown | 0 | 6.018 | 53454 | 0.103 | ----- | ----- | ----- | ----- | 66 | BRN19jul22_020.gcd | 2022-07-19 20:39 | 20 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN19jul22_020.gcd | 2022-07-19 20:39 | 20 | Unknown | 0 | 12.16 | 29436 | 6.148 | ----- | ----- | ----- | ----- | 1 |  | 100 | 122.8099 | 5958.6087 | 166.0371 | 5437.8756 | 140.0947 | 5610.2163 | 122.8099 | 5958.6087 | 116.0387 | 1691.523 | 66 | BRN19jul22_020.gcd | 2022-07-19 20:39 | 20 | Unknown | 0 | 2.846 | 1183544 | 0 | ----- | ----- | ----- | -----
67 | BRN19jul22_021.gcd | 2022-07-19 21:10 | 414 | Unknown | 0 | 6.031 | 8576 | 0.013 | ----- | ----- | ----- | ----- | 67 | BRN19jul22_021.gcd | 2022-07-19 21:10 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN19jul22_021.gcd | 2022-07-19 21:10 | 414 | Unknown | 0 | 12.168 | 29758 | 6.215 | ----- | ----- | ----- | ----- | 1 |  | 101 | 16.0416 | 6024.6797 | 20.39 | 5496.3779 | 21.809 | 5671.4727 | 16.0416 | 6024.6797 | 9.3388 | 1693.7849 | 67 | BRN19jul22_021.gcd | 2022-07-19 21:10 | 414 | Unknown | 0 | 2.858 | 1012661 | 0 | ----- | ----- | ----- | -----
68 | BRN19jul22_022.gcd | 2022-07-19 21:41 | 29 | Unknown | 0 | 6.015 | 390196 | 0.783 | ----- | ----- | ----- | ----- | 68 | BRN19jul22_022.gcd | 2022-07-19 21:41 | 29 | Unknown | 0 | 5.967 | 3920 | 1.112 | ----- | ----- | ----- | ----- | 68 | BRN19jul22_022.gcd | 2022-07-19 21:41 | 29 | Unknown | 0 | 12.159 | 32733 | 6.839 | ----- | ----- | ----- | ----- | 1 |  | 102 | 901.4478 | 6634.8677 | 1101.807 | 6036.2733 | 1009.348 | 6237.2698 | 901.4478 | 6634.8677 | 503.93 | 1697.8115 | 68 | BRN19jul22_022.gcd | 2022-07-19 21:41 | 29 | Unknown | 0 | 2.853 | 1073810 | 0 | ----- | ----- | ----- | -----
69 | BRN19jul22_023.gcd | 2022-07-19 22:11 | 262 | Unknown | 0 | 6.014 | 880392 | 1.775 | ----- | ----- | ----- | ----- | 69 | BRN19jul22_023.gcd | 2022-07-19 22:11 | 262 | Unknown | 0 | 5.965 | 7325 | 1.947 | ----- | ----- | ----- | ----- | 69 | BRN19jul22_023.gcd | 2022-07-19 22:11 | 262 | Unknown | 0 | 12.146 | 44470 | 9.292 | ----- | ----- | ----- | ----- | 1 |  | 103 | 2035.7677 | 9037.7811 | 1950.6938 | 8155.4352 | 2163.1531 | 8466.6505 | 2035.7677 | 9037.7811 | 899.7059 | 1416.6967 | 69 | BRN19jul22_023.gcd | 2022-07-19 22:11 | 262 | Unknown | 0 | 2.856 | 1009698 | 0 | ----- | ----- | ----- | -----
70 | BRN19jul22_024.gcd | 2022-07-19 22:42 | 399 | Unknown | 0 | 6.018 | 339271 | 0.681 | ----- | ----- | ----- | ----- | 70 | BRN19jul22_024.gcd | 2022-07-19 22:42 | 399 | Unknown | 0 | 5.965 | 3503 | 1.01 | ----- | ----- | ----- | ----- | 70 | BRN19jul22_024.gcd | 2022-07-19 22:42 | 399 | Unknown | 0 | 12.165 | 27880 | 5.821 | ----- | ----- | ----- | ----- | 1 |  | 104 | 784.8678 | 5639.2594 | 972.1719 | 5154.9912 | 879.6518 | 5314.1592 | 784.8678 | 5639.2594 | 460.1622 | 1675.5671 | 70 | BRN19jul22_024.gcd | 2022-07-19 22:42 | 399 | Unknown | 0 | 2.832 | 1561124 | 0 | ----- | ----- | ----- | -----
71 | BRN19jul22_025.gcd | 2022-07-19 23:13 | 317 | Unknown | 0 | 6.052 | 2443 | 0 | ----- | ----- | ----- | ----- | 71 | BRN19jul22_025.gcd | 2022-07-19 23:13 | 317 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN19jul22_025.gcd | 2022-07-19 23:13 | 317 | Unknown | 0 | 12.08 | 111671 | 23.066 | ----- | ----- | ----- | ----- | 1 |  | 105 | 1.1018 | 22660.4508 | 2.3641 | 19955.8656 | 2.2787 | 21144.8683 | 1.1018 | 22660.4508 | -0.48744 | -9316.9508 | 71 | BRN19jul22_025.gcd | 2022-07-19 23:13 | 317 | Unknown | 0 | 2.853 | 1083581 | 0 | ----- | ----- | ----- | -----
72 | BRN19jul22_026.gcd | 2022-07-19 23:43 | 384 | Unknown | 0 | 6.029 | 8130 | 0.012 | ----- | ----- | ----- | ----- | 72 | BRN19jul22_026.gcd | 2022-07-19 23:43 | 384 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN19jul22_026.gcd | 2022-07-19 23:43 | 384 | Unknown | 0 | 12.155 | 29002 | 6.057 | ----- | ----- | ----- | ----- | 1 |  | 106 | 14.5866 | 5869.5481 | 19.0252 | 5359.0039 | 20.5357 | 5527.6479 | 14.5866 | 5869.5481 | 8.5857 | 1687.9101 | 72 | BRN19jul22_026.gcd | 2022-07-19 23:43 | 384 | Unknown | 0 | 2.861 | 973170 | 0 | ----- | ----- | ----- | -----
73 | BRN19jul22_028.gcd | 2022-07-20 00:45 | 276 | Unknown | 0 | 6.021 | 77533 | 0.152 | ----- | ----- | ----- | ----- | 73 | BRN19jul22_028.gcd | 2022-07-20 00:45 | 276 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN19jul22_028.gcd | 2022-07-20 00:45 | 276 | Unknown | 0 | 12.201 | 3357 | 0.636 | ----- | ----- | ----- | ----- | 1 |  | 107 | 179.0933 | 589.9043 | 239.0949 | 656.5104 | 203.1616 | 637.8172 | 179.0933 | 589.9043 | 198.5262 | 324.0957 | 73 | BRN19jul22_028.gcd | 2022-07-20 00:45 | 276 | Unknown | 0 | 2.862 | 969116 | 0 | ----- | ----- | ----- | -----
74 | BRN19jul22_029.gcd | 2022-07-20 01:15 | 119 | Unknown | 0 | 6.023 | 106281 | 0.21 | ----- | ----- | ----- | ----- | 74 | BRN19jul22_029.gcd | 2022-07-20 01:15 | 119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN19jul22_029.gcd | 2022-07-20 01:15 | 119 | Unknown | 0 | 12.187 | 10428 | 2.138 | ----- | ----- | ----- | ----- | 1 |  | 108 | 246.168 | 2048.9925 | 325.0793 | 1961.3554 | 278.2737 | 1988.2074 | 246.168 | 2048.9925 | #VALUE! | 926.0344 | 74 | BRN19jul22_029.gcd | 2022-07-20 01:15 | 119 | Unknown | 0 | 2.842 | 1424565 | 0 | ----- | ----- | ----- | -----
75 | BRN19jul22_030.gcd | 2022-07-20 01:46 | 150 | Unknown | 0 | 5.917 | 34429419 | 73.666 | ----- | ----- | ----- | ----- | 75 | BRN19jul22_030.gcd | 2022-07-20 01:46 | 150 | Unknown | 0 | 5.878 | 291731 | 69.696 | ----- | ----- | ----- | ----- | 75 | BRN19jul22_030.gcd | 2022-07-20 01:46 | 150 | Unknown | 0 | 12.063 | 123840 | 25.513 | ----- | ----- | ----- | ----- | 1 |  | 109 | 70664.1569 | 25102.6445 | 56238.7933 | 22032.1036 | 73377.8314 | 23424.981 | 70664.1569 | 25102.6445 | 275430.0489 | -12921.9065 | 75 | BRN19jul22_030.gcd | 2022-07-20 01:46 | 150 | Unknown | 0 | 2.847 | 1114504 | 0 | ----- | ----- | ----- | -----
76 | BRN19jul22_031.gcd | 2022-07-20 02:16 | 382 | Unknown | 0 | 6.018 | 148591 | 0.295 | ----- | ----- | ----- | ----- | 76 | BRN19jul22_031.gcd | 2022-07-20 02:16 | 382 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN19jul22_031.gcd | 2022-07-20 02:16 | 382 | Unknown | 0 | 12.174 | 9337 | 1.907 | ----- | ----- | ----- | ----- | 1 |  | 110 | 344.6434 | 1824.0331 | 449.1734 | 1760.4375 | 388.4568 | 1779.9589 | 344.6434 | 1824.0331 | #VALUE! | 844.3815 | 76 | BRN19jul22_031.gcd | 2022-07-20 02:16 | 382 | Unknown | 0 | 2.839 | 1379841 | 0 | ----- | ----- | ----- | -----
77 | BRN19jul22_032.gcd | 2022-07-20 02:47 | 228 | Unknown | 0 | 6.019 | 64008 | 0.124 | ----- | ----- | ----- | ----- | 77 | BRN19jul22_032.gcd | 2022-07-20 02:47 | 228 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN19jul22_032.gcd | 2022-07-20 02:47 | 228 | Unknown | 0 | 12.183 | 10261 | 2.103 | ----- | ----- | ----- | ----- | 1 |  | 111 | 147.4908 | 2014.5617 | 198.1753 | 1930.6105 | 167.7546 | 1956.3332 | 147.4908 | 2014.5617 | 150.0239 | 913.8011 | 77 | BRN19jul22_032.gcd | 2022-07-20 02:47 | 228 | Unknown | 0 | 2.855 | 1079109 | 0 | ----- | ----- | ----- | -----
78 | BRN19jul22_033.gcd | 2022-07-20 03:18 | 387 | Unknown | 0 | 6.021 | 42266 | 0.081 | ----- | ----- | ----- | ----- | 78 | BRN19jul22_033.gcd | 2022-07-20 03:18 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN19jul22_033.gcd | 2022-07-20 03:18 | 387 | Unknown | 0 | 12.162 | 30362 | 6.342 | ----- | ----- | ----- | ----- | 1 |  | 112 | 96.6267 | 6148.5998 | 131.7696 | 5606.0802 | 110.7438 | 5786.3671 | 96.6267 | 6148.5998 | 83.7094 | 1697.0656 | 78 | BRN19jul22_033.gcd | 2022-07-20 03:18 | 387 | Unknown | 0 | 2.854 | 1098991 | 0 | ----- | ----- | ----- | -----
79 | BRN19jul22_034.gcd | 2022-07-20 03:48 | 136 | Unknown | 0 | 6.021 | 73213 | 0.143 | ----- | ----- | ----- | ----- | 79 | BRN19jul22_034.gcd | 2022-07-20 03:48 | 136 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN19jul22_034.gcd | 2022-07-20 03:48 | 136 | Unknown | 0 | 12.186 | 8261 | 1.678 | ----- | ----- | ----- | ----- | 1 |  | 113 | 169.0024 | 1602.1071 | 226.0573 | 1562.1357 | 191.8571 | 1574.5356 | 169.0024 | 1602.1071 | 182.4297 | 759.8408 | 79 | BRN19jul22_034.gcd | 2022-07-20 03:48 | 136 | Unknown | 0 | 2.85 | 1212931 | 0 | ----- | ----- | ----- | -----
80 | BRN19jul22_027.gcd | 2022-07-20 00:14 | 94 | Unknown | 0 | 6.053 | 2144 | 0 | ----- | ----- | ----- | ----- | 80 | BRN19jul22_027.gcd | 2022-07-20 00:14 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN19jul22_027.gcd | 2022-07-20 00:14 | 94 | Unknown | 0 | 12.089 | 96597 | 20.015 | ----- | ----- | ----- | ----- | 1 |  | 114 | 0.65293 | 19624.7733 | 1.5262 | 17358.2082 | 1.2151 | 18313.7667 | 0.65293 | 19624.7733 | -0.93726 | -5557.752 | 80 | BRN19jul22_027.gcd | 2022-07-20 00:14 | 94 | Unknown | 0 | 2.855 | 1043261 | 0 | ----- | ----- | ----- | -----
81 | BRN19jul22_013.gcd | 2022-07-19 17:05 | 402 | Unknown | 0 | 6.016 | 58731 | 0.114 | ----- | ----- | ----- | ----- | 81 | BRN19jul22_013.gcd | 2022-07-19 17:05 | 402 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN19jul22_013.gcd | 2022-07-19 17:05 | 402 | Unknown | 0 | 12.195 | 1037 | 0.143 | ----- | ----- | ----- | ----- | 1 |  | 115 | 135.1526 | 110.6205 | 182.1289 | 227.0223 | 153.9281 | 194.3989 | 135.1526 | 110.6205 | 132.6081 | 89.1254 | 81 | BRN19jul22_013.gcd | 2022-07-19 17:05 | 402 | Unknown | 0 | 2.851 | 1097685 | 0 | ----- | ----- | ----- | -----
82 | BRN19jul22_010.gcd | 2022-07-19 15:33 | 227 | Unknown | 0 | 6.013 | 1071186 | 2.162 | ----- | ----- | ----- | ----- | 82 | BRN19jul22_010.gcd | 2022-07-19 15:33 | 227 | Unknown | 0 | 5.969 | 9383 | 2.452 | ----- | ----- | ----- | ----- | 82 | BRN19jul22_010.gcd | 2022-07-19 15:33 | 227 | Unknown | 0 | 12.146 | 44764 | 9.353 | ----- | ----- | ----- | ----- | 1 |  | 116 | 2543.6331 | 9097.8814 | 2341.6209 | 8208.2961 | 2690.1342 | 8522.4368 | 2543.6331 | 9097.8814 | 1172.0814 | 1403.5712 | 82 | BRN19jul22_010.gcd | 2022-07-19 15:33 | 227 | Unknown | 0 | 2.856 | 995045 | 0 | ----- | ----- | ----- | -----