## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm
49 | BRN20apr22_001.gcd | 2022-04-20 11:07 | air | Unknown | 0 | 6.037 | 942776 | 1.901 | ----- | ----- | ----- | ----- | 49 | BRN20apr22_001.gcd | 2022-04-20 11:07 | air | Unknown | 0 | 5.987 | 8026 | 2.119 | ----- | ----- | ----- | ----- | 49 | BRN20apr22_001.gcd | 2022-04-20 11:07 | air | Unknown | 0 | 12.258 | 18237 | 3.79 | ----- | ----- | ----- | ----- | 2 | ???mislabelled? | 2083.849 | 3395.0932 | 2342.6736 | 3477.6485 | 2208.7762 | 3657.4002
50 | BRN20apr22_002.gcd | 2022-04-20 11:38 | air + 100 | Unknown | 0 | 6.023 | 523834 | 1.054 | ----- | ----- | ----- | ----- | 50 | BRN20apr22_002.gcd | 2022-04-20 11:38 | air + 100 | Unknown | 0 | 5.969 | 4238 | 1.19 | ----- | ----- | ----- | ----- | 50 | BRN20apr22_002.gcd | 2022-04-20 11:38 | air + 100 | Unknown | 0 | 12.242 | 4464 | 0.872 | ----- | ----- | ----- | ----- | 1 |  | 1421.8658 | 861.2048 | 1346.7163 | 849.3348 | 1205.3919 | 818.5003
51 | BRN20apr22_003.gcd | 2022-04-20 12:08 | 88 | Unknown | 0 | 6.072 | 1989 | -0.001 | ----- | ----- | ----- | ----- | 51 | BRN20apr22_003.gcd | 2022-04-20 12:08 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN20apr22_003.gcd | 2022-04-20 12:08 | 88 | Unknown | 0 | 12.205 | 6743 | 1.356 | ----- | ----- | ----- | ----- | 1 |  | 1.0933 | 1282.1282 | 0.65969 | 1284.6643 | 0.43044 | 1288.9178
52 | BRN20apr22_004.gcd | 2022-04-20 12:39 | 174 | Unknown | 0 | 6.041 | 6450 | 0.008 | ----- | ----- | ----- | ----- | 52 | BRN20apr22_004.gcd | 2022-04-20 12:39 | 174 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN20apr22_004.gcd | 2022-04-20 12:39 | 174 | Unknown | 0 | 12.141 | 37470 | 7.831 | ----- | ----- | ----- | ----- | 1 |  | 13.9603 | 6893.6389 | 15.5325 | 7137.5769 | 9.6249 | 7605.5189
53 | BRN20apr22_005.gcd | 2022-04-20 13:09 | 141 | Unknown | 0 | 6.029 | 22885 | 0.041 | ----- | ----- | ----- | ----- | 53 | BRN20apr22_005.gcd | 2022-04-20 13:09 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN20apr22_005.gcd | 2022-04-20 13:09 | 141 | Unknown | 0 | 12.154 | 4570 | 0.894 | ----- | ----- | ----- | ----- | 1 |  | 71.9245 | 880.7971 | 59.8276 | 869.5864 | 51.2218 | 840.386
54 | BRN20apr22_006.gcd | 2022-04-20 13:40 | 134 | Unknown | 0 | 6.029 | 154282 | 0.307 | ----- | ----- | ----- | ----- | 54 | BRN20apr22_006.gcd | 2022-04-20 13:40 | 134 | Unknown | 0 | 5.97 | 1088 | 0.417 | ----- | ----- | ----- | ----- | 54 | BRN20apr22_006.gcd | 2022-04-20 13:40 | 134 | Unknown | 0 | 12.197 | 15955 | 3.308 | ----- | ----- | ----- | ----- | 1 |  | 465.642 | 2976.9081 | 403.2442 | 3042.5988 | 357.867 | 3187.7021
55 | BRN20apr22_007.gcd | 2022-04-20 14:10 | 46 | Unknown | 0 | 6.037 | 12186 | 0.02 | ----- | ----- | ----- | ----- | 55 | BRN20apr22_007.gcd | 2022-04-20 14:10 | 46 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN20apr22_007.gcd | 2022-04-20 14:10 | 46 | Unknown | 0 | 12.196 | 16229 | 3.366 | ----- | ----- | ----- | ----- | 1 |  | 31.7477 | 3027.1542 | 31.6811 | 3094.8442 | 26.1308 | 3244.1128
56 | BRN20apr22_008.gcd | 2022-04-20 14:41 | 118 | Unknown | 0 | 6.034 | 7681 | 0.011 | ----- | ----- | ----- | ----- | 56 | BRN20apr22_008.gcd | 2022-04-20 14:41 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN20apr22_008.gcd | 2022-04-20 14:41 | 118 | Unknown | 0 | 12.177 | 26840 | 5.603 | ----- | ----- | ----- | ----- | 1 |  | 17.6598 | 4965.7474 | 19.2305 | 5116.2365 | 13.1802 | 5425.7438
57 | BRN20apr22_009.gcd | 2022-04-20 15:11 | 122 | Unknown | 0 | 6.03 | 18694 | 0.033 | ----- | ----- | ----- | ----- | 57 | BRN20apr22_009.gcd | 2022-04-20 15:11 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN20apr22_009.gcd | 2022-04-20 15:11 | 122 | Unknown | 0 | 12.199 | 9746 | 1.993 | ----- | ----- | ----- | ----- | 1 |  | 58.9028 | 1835.7762 | 48.8053 | 1858.0328 | 41.3954 | 1908.3742
58 | BRN20apr22_010.gcd | 2022-04-20 15:42 | 68 | Unknown | 0 | 6.031 | 13025 | 0.021 | ----- | ----- | ----- | ----- | 58 | BRN20apr22_010.gcd | 2022-04-20 15:42 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN20apr22_010.gcd | 2022-04-20 15:42 | 68 | Unknown | 0 | 12.195 | 19652 | 4.089 | ----- | ----- | ----- | ----- | 1 |  | 34.4667 | 3654.069 | 33.8893 | 3747.3248 | 28.099 | 3948.5125
59 | BRN20apr22_011.gcd | 2022-04-20 16:13 | 76 | Unknown | 0 | 6.029 | 22843 | 0.041 | ----- | ----- | ----- | ----- | 59 | BRN20apr22_011.gcd | 2022-04-20 16:13 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN20apr22_011.gcd | 2022-04-20 16:13 | 76 | Unknown | 0 | 12.206 | 4830 | 0.95 | ----- | ----- | ----- | ----- | 1 |  | 71.7942 | 928.8476 | 59.7171 | 919.2587 | 51.1233 | 894.0656
60 | BRN20apr22_012.gcd | 2022-04-20 16:43 | 7 | Unknown | 0 | 6.025 | 168276 | 0.335 | ----- | ----- | ----- | ----- | 60 | BRN20apr22_012.gcd | 2022-04-20 16:43 | 7 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN20apr22_012.gcd | 2022-04-20 16:43 | 7 | Unknown | 0 | 12.198 | 17054 | 3.54 | ----- | ----- | ----- | ----- | 1 |  | 505.9129 | 3178.3856 | 439.5727 | 3252.1378 | 390.3614 | 3413.9396
61 | BRN20apr22_013.gcd | 2022-04-20 17:14 | 112 | Unknown | 0 | 6.029 | 18132 | 0.032 | ----- | ----- | ----- | ----- | 61 | BRN20apr22_013.gcd | 2022-04-20 17:14 | 112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN20apr22_013.gcd | 2022-04-20 17:14 | 112 | Unknown | 0 | 12.198 | 10830 | 2.223 | ----- | ----- | ----- | ----- | 1 |  | 57.1545 | 2035.3498 | 47.327 | 2064.9309 | 40.0775 | 2131.8678
62 | BRN20apr22_014.gcd | 2022-04-20 17:44 | 138 | Unknown | 0 | 6.066 | 1883 | -0.001 | ----- | ----- | ----- | ----- | 62 | BRN20apr22_014.gcd | 2022-04-20 17:44 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN20apr22_014.gcd | 2022-04-20 17:44 | 138 | Unknown | 0 | 12.204 | 8780 | 1.788 | ----- | ----- | ----- | ----- | 1 |  | 0.79786 | 1657.8032 | 0.27824 | 1673.6245 | 0.28231 | 1709.1587
63 | BRN20apr22_015.gcd | 2022-04-20 18:15 | 98 | Unknown | 0 | 6.048 | 5604 | 0.007 | ----- | ----- | ----- | ----- | 63 | BRN20apr22_015.gcd | 2022-04-20 18:15 | 98 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN20apr22_015.gcd | 2022-04-20 18:15 | 98 | Unknown | 0 | 12.185 | 36002 | 7.524 | ----- | ----- | ----- | ----- | 1 |  | 11.4552 | 6628.2418 | 12.8892 | 6858.6491 | 7.4369 | 7304.8358
64 | BRN20apr22_016.gcd | 2022-04-20 18:45 | 71 | Unknown | 0 | 6.031 | 20734 | 0.037 | ----- | ----- | ----- | ----- | 64 | BRN20apr22_016.gcd | 2022-04-20 18:45 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN20apr22_016.gcd | 2022-04-20 18:45 | 71 | Unknown | 0 | 12.211 | 4255 | 0.827 | ----- | ----- | ----- | ----- | 1 |  | 65.2448 | 822.5705 | 54.171 | 809.4036 | 46.1788 | 775.3465
65 | BRN20apr22_017.gcd | 2022-04-20 19:16 | 193 | Unknown | 0 | 6.028 | 20897 | 0.037 | ----- | ----- | ----- | ----- | 65 | BRN20apr22_017.gcd | 2022-04-20 19:16 | 193 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN20apr22_017.gcd | 2022-04-20 19:16 | 193 | Unknown | 0 | 12.206 | 4777 | 0.938 | ----- | ----- | ----- | ----- | 1 |  | 65.7513 | 919.0534 | 54.5997 | 909.1334 | 46.561 | 883.1235
66 | BRN20apr22_018.gcd | 2022-04-20 19:47 | 140 | Unknown | 0 | 6.042 | 4298 | 0.004 | ----- | ----- | ----- | ----- | 66 | BRN20apr22_018.gcd | 2022-04-20 19:47 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN20apr22_018.gcd | 2022-04-20 19:47 | 140 | Unknown | 0 | 12.171 | 46539 | 9.723 | ----- | ----- | ----- | ----- | 1 |  | 7.6476 | 8527.2084 | 8.6458 | 8859.1816 | 4.4675 | 9460.6381
67 | BRN20apr22_019.gcd | 2022-04-20 20:17 | 62 | Unknown | 0 | 6.038 | 4326 | 0.004 | ----- | ----- | ----- | ----- | 67 | BRN20apr22_019.gcd | 2022-04-20 20:17 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN20apr22_019.gcd | 2022-04-20 20:17 | 62 | Unknown | 0 | 12.16 | 43498 | 9.089 | ----- | ----- | ----- | ----- | 1 |  | 7.7285 | 7980.5936 | 8.7388 | 8282.1944 | 4.526 | 8839.0508
68 | BRN20apr22_020.gcd | 2022-04-20 20:48 | 217 | Unknown | 0 | 6.039 | 8443 | 0.012 | ----- | ----- | ----- | ----- | 68 | BRN20apr22_020.gcd | 2022-04-20 20:48 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN20apr22_020.gcd | 2022-04-20 20:48 | 217 | Unknown | 0 | 12.198 | 24668 | 5.146 | ----- | ----- | ----- | ----- | 1 |  | 19.9821 | 4570.081 | 21.4317 | 4702.7692 | 15.6017 | 4979.6464