## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [15 empty] | WHAT WE'RE USING |  | ALL POSSIBLE CALIBRATIONS... | [7 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Measured headspace CH4 in ppm from GC in ppm | Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN22jun22_001.gcd | 2022-06-22 13:58 | air 2nd sampling | Unknown | 0 | 6.054 | 1669 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN22jun22_001.gcd | 2022-06-22 13:58 | air 2nd sampling | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN22jun22_001.gcd | 2022-06-22 13:58 | air 2nd sampling | Unknown | 0 | 12.212 | 3243 | 0.612 | ----- | ----- | ----- | ----- | 1 |  | 83 | -0.0068099 | 566.3597 | 0.20284 | 635.422 | -0.49584 | 616.0326 | -0.0068099 | 566.3597 | -1.6463 | 312.9823 | 49 | BRN22jun22_001.gcd | 2022-06-22 13:58 | air 2nd sampling | Unknown | 0 | 2.696 | 5400516 | 960.207 | ----- | ----- | ----- | -----
50 | BRN22jun22_002.gcd | 2022-06-22 14:29 | air + 100 2nd sampling | Unknown | 0 | 6.01 | 1089820 | 2.199 | ----- | ----- | ----- | ----- | 50 | BRN22jun22_002.gcd | 2022-06-22 14:29 | air + 100 2nd sampling | Unknown | 0 | 5.964 | 9765 | 2.546 | ----- | ----- | ----- | ----- | 50 | BRN22jun22_002.gcd | 2022-06-22 14:29 | air + 100 2nd sampling | Unknown | 0 | 12.19 | 9710 | 1.986 | ----- | ----- | ----- | ----- | 1 |  | 84 | 2637.8835 | 1900.9509 | 2414.1867 | 1829.1458 | 2787.9322 | 1851.1609 | 2637.8835 | 1900.9509 | 1225.3886 | 872.7583 | 50 | BRN22jun22_002.gcd | 2022-06-22 14:29 | air + 100 2nd sampling | Unknown | 0 | 2.711 | 5092101 | 957.969 | ----- | ----- | ----- | -----
51 | BRN22jun22_003.gcd | 2022-06-22 15:00 | yellow tank | Unknown | 0 | 6.037 | 3019 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN22jun22_003.gcd | 2022-06-22 15:00 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN22jun22_003.gcd | 2022-06-22 15:00 | yellow tank | Unknown | 0 | 12.214 | 1085 | 0.153 | ----- | ----- | ----- | ----- | 1 |  | 85 | 2.0399 | 120.5395 | 3.9891 | 235.9151 | 4.2985 | 203.5749 | 2.0399 | 120.5395 | 0.38677 | 94.1744 | 51 | BRN22jun22_003.gcd | 2022-06-22 15:00 | yellow tank | Unknown | 0 | 2.708 | 5213164 | 958.908 | ----- | ----- | ----- | -----
52 | BRN22jun22_004.gcd | 2022-06-22 15:30 | 339 | Unknown | 0 | 6.014 | 314284 | 0.63 | ----- | ----- | ----- | ----- | 52 | BRN22jun22_004.gcd | 2022-06-22 15:30 | 339 | Unknown | 0 | 5.968 | 2741 | 0.823 | ----- | ----- | ----- | ----- | 52 | BRN22jun22_004.gcd | 2022-06-22 15:30 | 339 | Unknown | 0 | 12.168 | 22186 | 4.623 | ----- | ----- | ----- | ----- | 1 |  | 86 | 727.5135 | 4469.5848 | 907.0166 | 4117.2178 | 815.7854 | 4230.1017 | 727.5135 | 4469.5848 | 382.8338 | 1546.1739 | 52 | BRN22jun22_004.gcd | 2022-06-22 15:30 | 339 | Unknown | 0 | 2.84 | 1323753 | 0 | ----- | ----- | ----- | -----
53 | BRN22jun22_005.gcd | 2022-06-22 16:01 | 351 | Unknown | 0 | 6.019 | 18528 | 0.033 | ----- | ----- | ----- | ----- | 53 | BRN22jun22_005.gcd | 2022-06-22 16:01 | 351 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN22jun22_005.gcd | 2022-06-22 16:01 | 351 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 87 | 41.0061 | #VALUE! | 58.3865 | #VALUE! | 48.3687 | #VALUE! | 41.0061 | #VALUE! | 27.717 | #VALUE! | 53 | BRN22jun22_005.gcd | 2022-06-22 16:01 | 351 | Unknown | 0 | 2.832 | 1521702 | 0 | ----- | ----- | ----- | -----
54 | BRN22jun22_006.gcd | 2022-06-22 16:32 | 130 | Unknown | 0 | 5.959 | 20571909 | 42.943 | ----- | ----- | ----- | ----- | 54 | BRN22jun22_006.gcd | 2022-06-22 16:32 | 130 | Unknown | 0 | 5.914 | 162555 | 39.406 | ----- | ----- | ----- | ----- | 54 | BRN22jun22_006.gcd | 2022-06-22 16:32 | 130 | Unknown | 0 | 12.071 | 102418 | 21.196 | ----- | ----- | ----- | ----- | 1 |  | 88 | 39882.0409 | 20798.4099 | 31515.4978 | 18364.7046 | 41434.8698 | 19407.9052 | 39882.0409 | 20798.4099 | 91586.1585 | -6916.7681 | 54 | BRN22jun22_006.gcd | 2022-06-22 16:32 | 130 | Unknown | 0 | 2.806 | 2021951 | 0 | ----- | ----- | ----- | -----
55 | BRN22jun22_007.gcd | 2022-06-22 17:02 | 328 | Unknown | 0 | 6.008 | 1514672 | 3.061 | ----- | ----- | ----- | ----- | 55 | BRN22jun22_007.gcd | 2022-06-22 17:02 | 328 | Unknown | 0 | 5.961 | 13301 | 3.412 | ----- | ----- | ----- | ----- | 55 | BRN22jun22_007.gcd | 2022-06-22 17:02 | 328 | Unknown | 0 | 12.075 | 103025 | 21.318 | ----- | ----- | ----- | ----- | 1 |  | 89 | 3510.0485 | 20920.6944 | 3085.9411 | 18469.4148 | 3692.9257 | 19521.9359 | 3510.0485 | 20920.6944 | 1759.6983 | -7065.1941 | 55 | BRN22jun22_007.gcd | 2022-06-22 17:02 | 328 | Unknown | 0 | 2.845 | 1132692 | 0 | ----- | ----- | ----- | -----
56 | BRN22jun22_008.gcd | 2022-06-22 17:33 | 266 | Unknown | 0 | 6.03 | 3313 | 0.002 | ----- | ----- | ----- | ----- | 56 | BRN22jun22_008.gcd | 2022-06-22 17:33 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN22jun22_008.gcd | 2022-06-22 17:33 | 266 | Unknown | 0 | 12.126 | 52245 | 10.909 | ----- | ----- | ----- | ----- | 1 |  | 90 | 2.5558 | 10625.6836 | 4.8239 | 9549.7198 | 5.3145 | 9941.0037 | 2.5558 | 10625.6836 | 0.83687 | 969.5425 | 56 | BRN22jun22_008.gcd | 2022-06-22 17:33 | 266 | Unknown | 0 | 2.847 | 1134011 | 0 | ----- | ----- | ----- | -----
57 | BRN22jun22_009.gcd | 2022-06-22 18:04 | 319 | Unknown | 0 | 6.039 | 2930 | 0.001 | ----- | ----- | ----- | ----- | 57 | BRN22jun22_009.gcd | 2022-06-22 18:04 | 319 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN22jun22_009.gcd | 2022-06-22 18:04 | 319 | Unknown | 0 | 12.185 | 3520 | 0.671 | ----- | ----- | ----- | ----- | 1 |  | 91 | 1.8886 | 623.5678 | 3.7371 | 686.6603 | 3.9889 | 668.9645 | 1.8886 | 623.5678 | 0.25103 | 339.9083 | 57 | BRN22jun22_009.gcd | 2022-06-22 18:04 | 319 | Unknown | 0 | 2.841 | 1272774 | 0 | ----- | ----- | ----- | -----
58 | BRN22jun22_010.gcd | 2022-06-22 18:34 | 161 | Unknown | 0 | 6.019 | 17278 | 0.03 | ----- | ----- | ----- | ----- | 58 | BRN22jun22_010.gcd | 2022-06-22 18:34 | 161 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN22jun22_010.gcd | 2022-06-22 18:34 | 161 | Unknown | 0 | 12.14 | 269 | -0.021 | ----- | ----- | ----- | ----- | 1 |  | 92 | 38.0747 | -48.0995 | 54.4967 | 84.6981 | 45.0803 | 47.5736 | 38.0747 | -48.0995 | 25.2433 | 7.263 | 58 | BRN22jun22_010.gcd | 2022-06-22 18:34 | 161 | Unknown | 0 | 2.846 | 1188913 | 0 | ----- | ----- | ----- | -----
59 | BRN22jun22_011.gcd | 2022-06-22 19:05 | 407 | Unknown | 0 | 6.01 | 1590880 | 3.215 | ----- | ----- | ----- | ----- | 59 | BRN22jun22_011.gcd | 2022-06-22 19:05 | 407 | Unknown | 0 | 5.963 | 12012 | 3.096 | ----- | ----- | ----- | ----- | 59 | BRN22jun22_011.gcd | 2022-06-22 19:05 | 407 | Unknown | 0 | 12.079 | 99971 | 20.7 | ----- | ----- | ----- | ----- | 1 |  | 93 | 3192.1689 | 20305.2537 | 2841.0528 | 17942.1174 | 3363.0809 | 18948.0915 | 3192.1689 | 20305.2537 | 1556.3788 | -6331.2717 | 59 | BRN22jun22_011.gcd | 2022-06-22 19:05 | 407 | Unknown | 0 | 2.846 | 1134675 | 0 | ----- | ----- | ----- | -----
60 | BRN22jun22_012.gcd | 2022-06-22 19:35 | 62 | Unknown | 0 | 6.02 | 42404 | 0.081 | ----- | ----- | ----- | ----- | 60 | BRN22jun22_012.gcd | 2022-06-22 19:35 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN22jun22_012.gcd | 2022-06-22 19:35 | 62 | Unknown | 0 | 12.204 | 4313 | 0.84 | ----- | ----- | ----- | ----- | 1 |  | 94 | 96.9498 | 787.3224 | 132.1936 | 833.2926 | 111.106 | 820.4851 | 96.9498 | 787.3224 | 84.085 | 415.5329 | 60 | BRN22jun22_012.gcd | 2022-06-22 19:35 | 62 | Unknown | 0 | 2.827 | 1644253 | 0 | ----- | ----- | ----- | -----
61 | BRN22jun22_013.gcd | 2022-06-22 20:06 | 312 | Unknown | 0 | 6.063 | 1340 | -0.002 | ----- | ----- | ----- | ----- | 61 | BRN22jun22_013.gcd | 2022-06-22 20:06 | 312 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN22jun22_013.gcd | 2022-06-22 20:06 | 312 | Unknown | 0 | 12.086 | 96287 | 19.952 | ----- | ----- | ----- | ----- | 1 |  | 95 | -0.42533 | 19562.2222 | -0.70814 | 17304.4874 | -1.6962 | 18255.4669 | -0.42533 | 19562.2222 | -2.1333 | -5488.646 | 61 | BRN22jun22_013.gcd | 2022-06-22 20:06 | 312 | Unknown | 0 | 2.85 | 1116211 | 0 | ----- | ----- | ----- | -----
62 | BRN22jun22_014.gcd | 2022-06-22 20:37 | 129 | Unknown | 0 | 5.958 | 21406030 | 44.749 | ----- | ----- | ----- | ----- | 62 | BRN22jun22_014.gcd | 2022-06-22 20:37 | 129 | Unknown | 0 | 5.913 | 167101 | 40.485 | ----- | ----- | ----- | ----- | 62 | BRN22jun22_014.gcd | 2022-06-22 20:37 | 129 | Unknown | 0 | 12.078 | 102672 | 21.247 | ----- | ----- | ----- | ----- | 1 |  | 96 | 40976.3143 | 20849.5823 | 32383.7061 | 18408.5264 | 42570.3869 | 19455.623 | 40976.3143 | 20849.5823 | 96384.6716 | -6978.7229 | 62 | BRN22jun22_014.gcd | 2022-06-22 20:37 | 129 | Unknown | 0 | 2.838 | 1332385 | 0 | ----- | ----- | ----- | -----
63 | BRN22jun22_015.gcd | 2022-06-22 21:07 | 338 | Unknown | 0 | 6.021 | 20462 | 0.037 | ----- | ----- | ----- | ----- | 63 | BRN22jun22_015.gcd | 2022-06-22 21:07 | 338 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN22jun22_015.gcd | 2022-06-22 21:07 | 338 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 97 | 45.5411 | #VALUE! | 64.3996 | #VALUE! | 53.4556 | #VALUE! | 45.5411 | #VALUE! | 31.6378 | #VALUE! | 63 | BRN22jun22_015.gcd | 2022-06-22 21:07 | 338 | Unknown | 0 | 2.836 | 1477202 | 0 | ----- | ----- | ----- | -----
64 | BRN22jun22_016.gcd | 2022-06-22 21:38 | 401 | Unknown | 0 | 6.018 | 22731 | 0.041 | ----- | ----- | ----- | ----- | 64 | BRN22jun22_016.gcd | 2022-06-22 21:38 | 401 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN22jun22_016.gcd | 2022-06-22 21:38 | 401 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 98 | 50.8608 | #VALUE! | 71.4465 | #VALUE! | 59.4226 | #VALUE! | 50.8608 | #VALUE! | 36.3829 | #VALUE! | 64 | BRN22jun22_016.gcd | 2022-06-22 21:38 | 401 | Unknown | 0 | 2.827 | 1614235 | 0 | ----- | ----- | ----- | -----
65 | BRN22jun22_017.gcd | 2022-06-22 22:09 | 217 | Unknown | 0 | 6.011 | 6096 | 0.008 | ----- | ----- | ----- | ----- | 65 | BRN22jun22_017.gcd | 2022-06-22 22:09 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN22jun22_017.gcd | 2022-06-22 22:09 | 217 | Unknown | 0 | 12.073 | 93964 | 19.48 | ----- | ----- | ----- | ----- | 1 |  | 99 | 8.6841 | 19093.3368 | 12.9084 | 16901.5446 | 14.4365 | 17818.4955 | 8.6841 | 19093.3368 | 5.2277 | -4981.3174 | 65 | BRN22jun22_017.gcd | 2022-06-22 22:09 | 217 | Unknown | 0 | 2.818 | 1543649 | 0 | ----- | ----- | ----- | -----
66 | BRN22jun22_018.gcd | 2022-06-22 22:39 | 268 | Unknown | 0 | 6.03 | 3478 | 0.002 | ----- | ----- | ----- | ----- | 66 | BRN22jun22_018.gcd | 2022-06-22 22:39 | 268 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN22jun22_018.gcd | 2022-06-22 22:39 | 268 | Unknown | 0 | 12.097 | 82693 | 17.181 | ----- | ----- | ----- | ----- | 1 |  | 100 | 2.8564 | 16814.434 | 5.294 | 14936.8826 | 5.8804 | 15695.8556 | 2.8564 | 16814.434 | 1.0906 | -2783.3367 | 66 | BRN22jun22_018.gcd | 2022-06-22 22:39 | 268 | Unknown | 0 | 2.84 | 1306331 | 0 | ----- | ----- | ----- | -----
67 | BRN22jun22_019.gcd | 2022-06-22 23:10 | 102 | Unknown | 0 | 6.018 | 25555 | 0.047 | ----- | ----- | ----- | ----- | 67 | BRN22jun22_019.gcd | 2022-06-22 23:10 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN22jun22_019.gcd | 2022-06-22 23:10 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 101 | 57.4805 | #VALUE! | 80.2054 | #VALUE! | 66.8474 | #VALUE! | 57.4805 | #VALUE! | 42.5071 | #VALUE! | 67 | BRN22jun22_019.gcd | 2022-06-22 23:10 | 102 | Unknown | 0 | 2.831 | 1528249 | 0 | ----- | ----- | ----- | -----
68 | BRN22jun22_020.gcd | 2022-06-22 23:41 | 121 | Unknown | 0 | 6.018 | 26386 | 0.048 | ----- | ----- | ----- | ----- | 68 | BRN22jun22_020.gcd | 2022-06-22 23:41 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN22jun22_020.gcd | 2022-06-22 23:41 | 121 | Unknown | 0 | 12.22 | 510 | 0.03 | ----- | ----- | ----- | ----- | 1 |  | 102 | 59.4283 | 1.7104 | 82.7804 | 129.3677 | 69.0318 | 93.6498 | 59.4283 | 1.7104 | 44.3554 | 33.17 | 68 | BRN22jun22_020.gcd | 2022-06-22 23:41 | 121 | Unknown | 0 | 2.833 | 1474126 | 0 | ----- | ----- | ----- | -----
69 | BRN22jun22_021.gcd | 2022-06-23 00:11 | 143 | Unknown | 0 | 6.018 | 25440 | 0.047 | ----- | ----- | ----- | ----- | 69 | BRN22jun22_021.gcd | 2022-06-23 00:11 | 143 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN22jun22_021.gcd | 2022-06-23 00:11 | 143 | Unknown | 0 | 12.217 | 366 | -0.001 | ----- | ----- | ----- | ----- | 1 |  | 103 | 57.211 | -28.0512 | 79.849 | 102.678 | 66.5451 | 66.119 | 57.211 | -28.0512 | 42.253 | 17.7143 | 69 | BRN22jun22_021.gcd | 2022-06-23 00:11 | 143 | Unknown | 0 | 2.845 | 1257147 | 0 | ----- | ----- | ----- | -----
70 | BRN22jun22_022.gcd | 2022-06-23 00:42 | 270 | Unknown | 0 | 6.02 | 18661 | 0.033 | ----- | ----- | ----- | ----- | 70 | BRN22jun22_022.gcd | 2022-06-23 00:42 | 270 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN22jun22_022.gcd | 2022-06-23 00:42 | 270 | Unknown | 0 | 12.185 | 574 | 0.044 | ----- | ----- | ----- | ----- | 1 |  | 104 | 41.318 | 14.9374 | 58.8002 | 141.2289 | 48.7185 | 105.8854 | 41.318 | 14.9374 | 27.9829 | 40.0163 | 70 | BRN22jun22_022.gcd | 2022-06-23 00:42 | 270 | Unknown | 0 | 2.845 | 1271357 | 0 | ----- | ----- | ----- | -----
71 | BRN22jun22_023.gcd | 2022-06-23 01:12 | 68 | Unknown | 0 | 6.017 | 115417 | 0.228 | ----- | ----- | ----- | ----- | 71 | BRN22jun22_023.gcd | 2022-06-23 01:12 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN22jun22_023.gcd | 2022-06-23 01:12 | 68 | Unknown | 0 | 12.183 | 654 | 0.061 | ----- | ----- | ----- | ----- | 1 |  | 105 | 267.4562 | 31.4709 | 352.1223 | 156.0548 | 302.1022 | 121.1798 | 267.4562 | 31.4709 | #VALUE! | 48.5544 | 71 | BRN22jun22_023.gcd | 2022-06-23 01:12 | 68 | Unknown | 0 | 2.828 | 1633397 | 0 | ----- | ----- | ----- | -----
72 | BRN22jun22_024.gcd | 2022-06-23 01:43 | 353 | Unknown | 0 | 6.037 | 3037 | 0.001 | ----- | ----- | ----- | ----- | 72 | BRN22jun22_024.gcd | 2022-06-23 01:43 | 353 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN22jun22_024.gcd | 2022-06-23 01:43 | 353 | Unknown | 0 | 12.172 | 4578 | 0.896 | ----- | ----- | ----- | ----- | 1 |  | 106 | 2.0707 | 842.0377 | 4.0401 | 882.2757 | 4.361 | 871.1148 | 2.0707 | 842.0377 | 0.41425 | 440.3225 | 72 | BRN22jun22_024.gcd | 2022-06-23 01:43 | 353 | Unknown | 0 | 2.831 | 1526049 | 0 | ----- | ----- | ----- | -----
73 | BRN22jun22_025.gcd | 2022-06-23 02:14 | 216 | Unknown | 0 | 5.992 | 9418814 | 19.297 | ----- | ----- | ----- | ----- | 73 | BRN22jun22_025.gcd | 2022-06-23 02:14 | 216 | Unknown | 0 | 5.945 | 71879 | 17.671 | ----- | ----- | ----- | ----- | 73 | BRN22jun22_025.gcd | 2022-06-23 02:14 | 216 | Unknown | 0 | 12.101 | 80657 | 16.765 | ----- | ----- | ----- | ----- | 1 |  | 107 | 17887.9724 | 16402.0802 | 14226.2944 | 14580.2843 | 18612.1821 | 15311.9801 | 17887.9724 | 16402.0802 | 21344.784 | -2432.8923 | 73 | BRN22jun22_025.gcd | 2022-06-23 02:14 | 216 | Unknown | 0 | 2.822 | 1731628 | 0 | ----- | ----- | ----- | -----
74 | BRN22jun22_026.gcd | 2022-06-23 02:44 | 371 | Unknown | 0 | 6.013 | 368766 | 0.74 | ----- | ----- | ----- | ----- | 74 | BRN22jun22_026.gcd | 2022-06-23 02:44 | 371 | Unknown | 0 | 5.964 | 2889 | 0.859 | ----- | ----- | ----- | ----- | 74 | BRN22jun22_026.gcd | 2022-06-23 02:44 | 371 | Unknown | 0 | 12.158 | 25578 | 5.337 | ----- | ----- | ----- | ----- | 1 |  | 108 | 852.4401 | 5166.5765 | 1047.7705 | 4735.9249 | 954.8463 | 4876.0178 | 852.4401 | 5166.5765 | 397.5849 | 1636.6857 | 74 | BRN22jun22_026.gcd | 2022-06-23 02:44 | 371 | Unknown | 0 | 2.833 | 1455338 | 0 | ----- | ----- | ----- | -----
75 | BRN22jun22_028.gcd | 2022-06-23 10:17 | 345 | Unknown | 0 | 6.02 | 19913 | 0.035 | ----- | ----- | ----- | ----- | 75 | BRN22jun22_028.gcd | 2022-06-23 10:17 | 345 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN22jun22_028.gcd | 2022-06-23 10:17 | 345 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 109 | 44.2538 | #VALUE! | 62.6933 | #VALUE! | 52.0117 | #VALUE! | 44.2538 | #VALUE! | 30.5133 | #VALUE! | 75 | BRN22jun22_028.gcd | 2022-06-23 10:17 | 345 | Unknown | 0 | 2.827 | 1411073 | 0 | ----- | ----- | ----- | -----
76 | BRN22jun22_029.gcd | 2022-06-23 10:48 | 245 | Unknown | 0 | 6.017 | 3382 | 0.002 | ----- | ----- | ----- | ----- | 76 | BRN22jun22_029.gcd | 2022-06-23 10:48 | 245 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN22jun22_029.gcd | 2022-06-23 10:48 | 245 | Unknown | 0 | 12.06 | 98448 | 20.391 | ----- | ----- | ----- | ----- | 1 |  | 110 | 2.6806 | 19998.1615 | 5.0204 | 17678.7218 | 5.5516 | 18661.8075 | 2.6806 | 19998.1615 | 0.94288 | -5977.2615 | 76 | BRN22jun22_029.gcd | 2022-06-23 10:48 | 245 | Unknown | 0 | 2.831 | 1257154 | 0 | ----- | ----- | ----- | -----
77 | BRN22jun22_030.gcd | 2022-06-23 11:19 | 138 | Unknown | 0 | 6.012 | 23975 | 0.044 | ----- | ----- | ----- | ----- | 77 | BRN22jun22_030.gcd | 2022-06-23 11:19 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN22jun22_030.gcd | 2022-06-23 11:19 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 111 | 53.777 | #VALUE! | 75.3065 | #VALUE! | 62.6935 | #VALUE! | 53.777 | #VALUE! | 39.0508 | #VALUE! | 77 | BRN22jun22_030.gcd | 2022-06-23 11:19 | 138 | Unknown | 0 | 2.831 | 1448026 | 0 | ----- | ----- | ----- | -----
78 | BRN22jun22_031.gcd | 2022-06-23 11:49 | 229 | Unknown | 0 | 6.06 | 1778 | -0.001 | ----- | ----- | ----- | ----- | 78 | BRN22jun22_031.gcd | 2022-06-23 11:49 | 229 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN22jun22_031.gcd | 2022-06-23 11:49 | 229 | Unknown | 0 | 12.074 | 97211 | 20.139 | ----- | ----- | ----- | ----- | 1 |  | 112 | 0.13879 | 19748.6502 | 0.50567 | 17464.5742 | -0.1009 | 18429.2285 | 0.13879 | 19748.6502 | -1.4842 | -5695.6022 | 78 | BRN22jun22_031.gcd | 2022-06-23 11:49 | 229 | Unknown | 0 | 2.829 | 1460337 | 0 | ----- | ----- | ----- | -----
79 | BRN22jun22_032.gcd | 2022-06-23 12:20 | 108 | Unknown | 0 | 6.014 | 24664 | 0.045 | ----- | ----- | ----- | ----- | 79 | BRN22jun22_032.gcd | 2022-06-23 12:20 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN22jun22_032.gcd | 2022-06-23 12:20 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 113 | 55.3921 | #VALUE! | 77.4433 | #VALUE! | 64.505 | #VALUE! | 55.3921 | #VALUE! | 40.5487 | #VALUE! | 79 | BRN22jun22_032.gcd | 2022-06-23 12:20 | 108 | Unknown | 0 | 2.835 | 1385408 | 0 | ----- | ----- | ----- | -----
80 | BRN22jun22_033.gcd | 2022-06-23 12:51 | 198 | Unknown | 0 | 5.987 | 9277092 | 19.003 | ----- | ----- | ----- | ----- | 80 | BRN22jun22_033.gcd | 2022-06-23 12:51 | 198 | Unknown | 0 | 5.94 | 68817 | 16.93 | ----- | ----- | ----- | ----- | 80 | BRN22jun22_033.gcd | 2022-06-23 12:51 | 198 | Unknown | 0 | 12.088 | 82807 | 17.204 | ----- | ----- | ----- | ----- | 1 |  | 114 | 17139.7013 | 16837.5163 | 13643.4053 | 14956.834 | 17835.7317 | 15717.3456 | 17139.7013 | 16837.5163 | 19819.5583 | -2803.3804 | 80 | BRN22jun22_033.gcd | 2022-06-23 12:51 | 198 | Unknown | 0 | 2.816 | 1768274 | 0 | ----- | ----- | ----- | -----
81 | BRN22jun22_034.gcd | 2022-06-23 13:21 | 383 | Unknown | 0 | 6.056 | 1500 | -0.002 | ----- | ----- | ----- | ----- | 81 | BRN22jun22_034.gcd | 2022-06-23 13:21 | 383 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN22jun22_034.gcd | 2022-06-23 13:21 | 383 | Unknown | 0 | 12.075 | 100759 | 20.859 | ----- | ----- | ----- | ----- | 1 |  | 115 | -0.22572 | 20464.0967 | -0.26569 | 18078.284 | -1.1109 | 19096.1852 | -0.22572 | 20464.0967 | -1.8969 | -6517.5688 | 81 | BRN22jun22_034.gcd | 2022-06-23 13:21 | 383 | Unknown | 0 | 2.827 | 1529437 | 0 | ----- | ----- | ----- | -----
82 | BRN22jun22_035.gcd | 2022-06-23 13:52 | 347 (funky cap) | Unknown | 0 | 6.035 | 2658 | 0.001 | ----- | ----- | ----- | ----- | 82 | BRN22jun22_035.gcd | 2022-06-23 13:52 | 347 (funky cap) | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | BRN22jun22_035.gcd | 2022-06-23 13:52 | 347 (funky cap) | Unknown | 0 | 12.12 | 54246 | 11.324 | ----- | ----- | ----- | ----- | 1 |  | 116 | 1.4407 | 11033.8523 | 2.969 | 9907.3296 | 3.0371 | 10320.1301 | 1.4407 | 11033.8523 | -0.16231 | 820.8151 | 82 | BRN22jun22_035.gcd | 2022-06-23 13:52 | 347 (funky cap) | Unknown | 0 | 2.823 | 1573721 | 0 | ----- | ----- | ----- | -----
83 | BRN22jun22_036.gcd | 2022-06-23 14:22 | 024 again | Unknown | 0 | 6.015 | 24785 | 0.045 | ----- | ----- | ----- | ----- | 83 | BRN22jun22_036.gcd | 2022-06-23 14:22 | 024 again | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | BRN22jun22_036.gcd | 2022-06-23 14:22 | 024 again | Unknown | 0 | 12.172 | 171 | -0.042 | ----- | ----- | ----- | ----- | 1 |  | 117 | 55.6757 | -68.355 | 77.8185 | 66.5316 | 64.8231 | 28.8367 | 55.6757 | -68.355 | 40.8132 | -3.329 | 83 | BRN22jun22_036.gcd | 2022-06-23 14:22 | 024 again | Unknown | 0 | 2.829 | 1504645 | 0 | ----- | ----- | ----- | -----