## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [15 empty] | WHAT WE'RE USING |  | ALL POSSIBLE CALIBRATIONS... | [7 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Measured headspace CH4 in ppm from GC in ppm | Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppm) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
35 | BRN23jun22_001.gcd | 2022-06-23 15:45 | air | Unknown | 0 | 6.604 | 4251 | 2.343 | ----- | ----- | ----- | ----- | 35 | BRN23jun22_001.gcd | 2022-06-23 15:45 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 35 | BRN23jun22_001.gcd | 2022-06-23 15:45 | air | Unknown | 0 | 13.711 | 5564 | 537.973 | ----- | ----- | ----- | ----- | 1 |  | 69 | 2.2905 | 530.4367 | 7.512 | 1064.4524 | 8.4894 | 1059.4754 | 4.3699 | 1045.5887 | 2.2905 | 530.4367 | 35 | BRN23jun22_001.gcd | 2022-06-23 15:45 | air | Unknown | 0 | 2.74 | 12377265 | 793.484 | ----- | ----- | ----- | -----
36 | BRN23jun22_002.gcd | 2022-06-23 16:19 | air + 100 | Unknown | 0 | 6.505 | 2815082 | 0 | ----- | ----- | ----- | ----- | 36 | BRN23jun22_002.gcd | 2022-06-23 16:19 | air + 100 | Unknown | 0 | 6.454 | 22653 | 3051.023 | ----- | ----- | ----- | ----- | 36 | BRN23jun22_002.gcd | 2022-06-23 16:19 | air + 100 | Unknown | 0 | 13.679 | 21593 | 1564.782 | ----- | ----- | ----- | ----- | 1 |  | 70 | 3528.3981 | 1526.2858 | 4862.9904 | 4008.9052 | 6084.0301 | 4117.1423 | 5814.4113 | 4347.6742 | 3528.3981 | 1526.2858 | 36 | BRN23jun22_002.gcd | 2022-06-23 16:19 | air + 100 | Unknown | 0 | 2.729 | 12187902 | 794.778 | ----- | ----- | ----- | -----
37 | BRN23jun22_003.gcd | 2022-06-23 16:52 | yellow tank | Unknown | 0 | 6.552 | 7902 | 9.177 | ----- | ----- | ----- | ----- | 37 | BRN23jun22_003.gcd | 2022-06-23 16:52 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN23jun22_003.gcd | 2022-06-23 16:52 | yellow tank | Unknown | 0 | 13.705 | 2760 | 255.945 | ----- | ----- | ----- | ----- | 1 |  | 71 | 8.203 | 265.4006 | 18.3308 | 546.0558 | 19.8759 | 523.7301 | 13.8651 | 466.5976 | 8.203 | 265.4006 | 37 | BRN23jun22_003.gcd | 2022-06-23 16:52 | yellow tank | Unknown | 0 | 2.725 | 12547425 | 792.33 | ----- | ----- | ----- | -----
38 | BRN23jun22_004.gcd | 2022-06-23 17:26 | 127 | Unknown | 0 | 6.583 | 4548 | 2.775 | ----- | ----- | ----- | ----- | 38 | BRN23jun22_004.gcd | 2022-06-23 17:26 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 38 | BRN23jun22_004.gcd | 2022-06-23 17:26 | 127 | Unknown | 0 | 13.704 | 5332 | 517.078 | ----- | ----- | ----- | ----- | 1 |  | 72 | 2.7563 | 509.5342 | 8.3709 | 1021.5982 | 9.4733 | 1015.1581 | 4.9976 | 997.6989 | 2.7563 | 509.5342 | 38 | BRN23jun22_004.gcd | 2022-06-23 17:26 | 127 | Unknown | 0 | 2.715 | 12526335 | 792.472 | ----- | ----- | ----- | -----
39 | BRN23jun22_005.gcd | 2022-06-23 17:59 | 179 | Unknown | 0 | 6.575 | 4419 | 2.586 | ----- | ----- | ----- | ----- | 39 | BRN23jun22_005.gcd | 2022-06-23 17:59 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN23jun22_005.gcd | 2022-06-23 17:59 | 179 | Unknown | 0 | 13.7 | 5458 | 528.456 | ----- | ----- | ----- | ----- | 1 |  | 73 | 2.5536 | 520.9094 | 7.9974 | 1044.8733 | 9.0472 | 1039.2272 | 4.7218 | 1023.7084 | 2.5536 | 520.9094 | 39 | BRN23jun22_005.gcd | 2022-06-23 17:59 | 179 | Unknown | 0 | 2.727 | 12408055 | 793.274 | ----- | ----- | ----- | -----
40 | BRN23jun22_006.gcd | 2022-06-23 18:33 | 79 | Unknown | 0 | 6.58 | 4320 | 2.442 | ----- | ----- | ----- | ----- | 40 | BRN23jun22_006.gcd | 2022-06-23 18:33 | 79 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN23jun22_006.gcd | 2022-06-23 18:33 | 79 | Unknown | 0 | 13.699 | 6170 | 591.153 | ----- | ----- | ----- | ----- | 1 |  | 74 | 2.3984 | 584.162 | 7.7112 | 1176.3584 | 8.7189 | 1175.227 | 4.5134 | 1170.6675 | 2.3984 | 584.162 | 40 | BRN23jun22_006.gcd | 2022-06-23 18:33 | 79 | Unknown | 0 | 2.725 | 12510885 | 792.577 | ----- | ----- | ----- | -----
41 | BRN23jun22_007.gcd | 2022-06-23 19:07 | 7 | Unknown | 0 | 6.593 | 4615 | 2.874 | ----- | ----- | ----- | ----- | 41 | BRN23jun22_007.gcd | 2022-06-23 19:07 | 7 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN23jun22_007.gcd | 2022-06-23 19:07 | 7 | Unknown | 0 | 13.716 | 5883 | 566.227 | ----- | ----- | ----- | ----- | 1 |  | 75 | 2.8617 | 558.8753 | 8.5652 | 1123.3657 | 9.6939 | 1120.4088 | 5.1427 | 1111.4329 | 2.8617 | 558.8753 | 41 | BRN23jun22_007.gcd | 2022-06-23 19:07 | 7 | Unknown | 0 | 2.75 | 12280094 | 794.147 | ----- | ----- | ----- | -----
42 | BRN23jun22_008.gcd | 2022-06-23 19:40 | 111 | Unknown | 0 | 6.594 | 4784 | 3.129 | ----- | ----- | ----- | ----- | 42 | BRN23jun22_008.gcd | 2022-06-23 19:40 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN23jun22_008.gcd | 2022-06-23 19:40 | 111 | Unknown | 0 | 13.716 | 5533 | 535.224 | ----- | ----- | ----- | ----- | 1 |  | 76 | 3.1284 | 527.6544 | 9.0561 | 1058.7266 | 10.248 | 1053.5538 | 5.5146 | 1039.1898 | 3.1284 | 527.6544 | 42 | BRN23jun22_008.gcd | 2022-06-23 19:40 | 111 | Unknown | 0 | 2.726 | 12509157 | 792.589 | ----- | ----- | ----- | -----
43 | BRN23jun22_009.gcd | 2022-06-23 20:14 | 167 | Unknown | 0 | 6.58 | 4305 | 2.421 | ----- | ----- | ----- | ----- | 43 | BRN23jun22_009.gcd | 2022-06-23 20:14 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN23jun22_009.gcd | 2022-06-23 20:14 | 167 | Unknown | 0 | 13.686 | 4797 | 467.364 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.375 | 460.6266 | 7.6679 | 922.7494 | 8.669 | 912.9542 | 4.4821 | 887.2527 | 2.375 | 460.6266 | 43 | BRN23jun22_009.gcd | 2022-06-23 20:14 | 167 | Unknown | 0 | 2.726 | 12507928 | 792.597 | ----- | ----- | ----- | -----
44 | BRN23jun22_010.gcd | 2022-06-23 20:48 | 77 | Unknown | 0 | 6.575 | 4378 | 2.527 | ----- | ----- | ----- | ----- | 44 | BRN23jun22_010.gcd | 2022-06-23 20:48 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN23jun22_010.gcd | 2022-06-23 20:48 | 77 | Unknown | 0 | 13.694 | 5953 | 572.4 | ----- | ----- | ----- | ----- | 1 |  | 78 | 2.4893 | 565.0689 | 7.8788 | 1136.2917 | 8.9114 | 1133.7794 | 4.6351 | 1125.8807 | 2.4893 | 565.0689 | 44 | BRN23jun22_010.gcd | 2022-06-23 20:48 | 77 | Unknown | 0 | 2.726 | 12579094 | 792.116 | ----- | ----- | ----- | -----
45 | BRN23jun22_011.gcd | 2022-06-23 21:21 | 21 | Unknown | 0 | 6.575 | 4310 | 2.428 | ----- | ----- | ----- | ----- | 45 | BRN23jun22_011.gcd | 2022-06-23 21:21 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN23jun22_011.gcd | 2022-06-23 21:21 | 21 | Unknown | 0 | 13.699 | 5852 | 563.523 | ----- | ----- | ----- | ----- | 1 |  | 79 | 2.3828 | 556.127 | 7.6823 | 1117.6412 | 8.6856 | 1114.4876 | 4.4925 | 1105.0344 | 2.3828 | 556.127 | 45 | BRN23jun22_011.gcd | 2022-06-23 21:21 | 21 | Unknown | 0 | 2.711 | 12970810 | 789.494 | ----- | ----- | ----- | -----
46 | BRN23jun22_012.gcd | 2022-06-23 21:55 | 76 | Unknown | 0 | 6.582 | 4429 | 2.6 | ----- | ----- | ----- | ----- | 46 | BRN23jun22_012.gcd | 2022-06-23 21:55 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN23jun22_012.gcd | 2022-06-23 21:55 | 76 | Unknown | 0 | 13.708 | 7184 | 675.721 | ----- | ----- | ----- | ----- | 1 |  | 80 | 2.5693 | 671.2332 | 8.0263 | 1363.504 | 9.0803 | 1368.8836 | 4.743 | 1379.9157 | 2.5693 | 671.2332 | 46 | BRN23jun22_012.gcd | 2022-06-23 21:55 | 76 | Unknown | 0 | 2.726 | 12442124 | 793.043 | ----- | ----- | ----- | -----
47 | BRN23jun22_013.gcd | 2022-06-23 22:28 | 134 | Unknown | 0 | 6.569 | 3979 | 1.958 | ----- | ----- | ----- | ----- | 47 | BRN23jun22_013.gcd | 2022-06-23 22:28 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN23jun22_013.gcd | 2022-06-23 22:28 | 134 | Unknown | 0 | 13.679 | 5102 | 495.896 | ----- | ----- | ----- | ----- | 1 |  | 81 | 1.8662 | 488.6292 | 6.7286 | 979.1069 | 7.5792 | 971.2211 | 3.8175 | 950.2191 | 1.8662 | 488.6292 | 47 | BRN23jun22_013.gcd | 2022-06-23 22:28 | 134 | Unknown | 0 | 2.716 | 12494603 | 792.687 | ----- | ----- | ----- | -----
48 | BRN23jun22_014.gcd | 2022-06-23 23:02 | 103 | Unknown | 0 | 6.572 | 3969 | 1.944 | ----- | ----- | ----- | ----- | 48 | BRN23jun22_014.gcd | 2022-06-23 23:02 | 103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN23jun22_014.gcd | 2022-06-23 23:02 | 103 | Unknown | 0 | 13.702 | 4813 | 468.81 | ----- | ----- | ----- | ----- | 1 |  | 82 | 1.8506 | 462.1035 | 6.6999 | 925.7061 | 7.5456 | 916.0109 | 3.7976 | 890.5559 | 1.8506 | 462.1035 | 48 | BRN23jun22_014.gcd | 2022-06-23 23:02 | 103 | Unknown | 0 | 2.726 | 12479094 | 792.792 | ----- | ----- | ----- | -----
49 | BRN23jun22_015.gcd | 2022-06-23 23:36 | 107 | Unknown | 0 | 6.561 | 4071 | 2.087 | ----- | ----- | ----- | ----- | 49 | BRN23jun22_015.gcd | 2022-06-23 23:36 | 107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN23jun22_015.gcd | 2022-06-23 23:36 | 107 | Unknown | 0 | 13.678 | 4694 | 457.514 | ----- | ----- | ----- | ----- | 1 |  | 83 | 2.0094 | 451.0977 | 6.9932 | 903.7145 | 7.888 | 893.2765 | 4.0019 | 865.9875 | 2.0094 | 451.0977 | 49 | BRN23jun22_015.gcd | 2022-06-23 23:36 | 107 | Unknown | 0 | 2.709 | 12957965 | 789.579 | ----- | ----- | ----- | -----
50 | BRN23jun22_016.gcd | 2022-06-24 00:09 | 69 | Unknown | 0 | 6.563 | 4281 | 2.386 | ----- | ----- | ----- | ----- | 50 | BRN23jun22_016.gcd | 2022-06-24 00:09 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN23jun22_016.gcd | 2022-06-24 00:09 | 69 | Unknown | 0 | 13.69 | 4651 | 453.385 | ----- | ----- | ----- | ----- | 1 |  | 84 | 2.3374 | 447.1088 | 7.5986 | 895.7676 | 8.5892 | 885.0615 | 4.4321 | 857.1097 | 2.3374 | 447.1088 | 50 | BRN23jun22_016.gcd | 2022-06-24 00:09 | 69 | Unknown | 0 | 2.712 | 12641311 | 791.697 | ----- | ----- | ----- | -----
51 | BRN23jun22_017.gcd | 2022-06-24 00:43 | 105 | Unknown | 0 | 6.597 | 4131 | 2.172 | ----- | ----- | ----- | ----- | 51 | BRN23jun22_017.gcd | 2022-06-24 00:43 | 105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN23jun22_017.gcd | 2022-06-24 00:43 | 105 | Unknown | 0 | 13.674 | 3700 | 358.493 | ----- | ----- | ----- | ----- | 1 |  | 85 | 2.103 | 357.2638 | 7.166 | 719.9507 | 8.0889 | 703.3594 | 4.1235 | 660.7406 | 2.103 | 357.2638 | 51 | BRN23jun22_017.gcd | 2022-06-24 00:43 | 105 | Unknown | 0 | 2.724 | 12484120 | 792.758 | ----- | ----- | ----- | -----
52 | BRN23jun22_018.gcd | 2022-06-24 01:16 | 91 | Unknown | 0 | 6.57 | 4308 | 2.426 | ----- | ----- | ----- | ----- | 52 | BRN23jun22_018.gcd | 2022-06-24 01:16 | 91 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN23jun22_018.gcd | 2022-06-24 01:16 | 91 | Unknown | 0 | 13.708 | 7367 | 690.517 | ----- | ----- | ----- | ----- | 1 |  | 86 | 2.3797 | 686.5705 | 7.6765 | 1397.2651 | 8.679 | 1403.8299 | 4.4884 | 1417.6739 | 2.3797 | 686.5705 | 52 | BRN23jun22_018.gcd | 2022-06-24 01:16 | 91 | Unknown | 0 | 2.727 | 12410002 | 793.261 | ----- | ----- | ----- | -----
53 | BRN23jun22_019.gcd | 2022-06-24 01:50 | 33 | Unknown | 0 | 6.577 | 4073 | 2.089 | ----- | ----- | ----- | ----- | 53 | BRN23jun22_019.gcd | 2022-06-24 01:50 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN23jun22_019.gcd | 2022-06-24 01:50 | 33 | Unknown | 0 | 13.699 | 5231 | 507.77 | ----- | ----- | ----- | ----- | 1 |  | 87 | 2.0126 | 500.3766 | 6.999 | 1002.9398 | 7.8947 | 995.8643 | 4.006 | 976.8494 | 2.0126 | 500.3766 | 53 | BRN23jun22_019.gcd | 2022-06-24 01:50 | 33 | Unknown | 0 | 2.706 | 13028110 | 789.114 | ----- | ----- | ----- | -----
54 | BRN23jun22_020.gcd | 2022-06-24 02:23 | 71 | Unknown | 0 | 6.581 | 4890 | 3.29 | ----- | ----- | ----- | ----- | 54 | BRN23jun22_020.gcd | 2022-06-24 02:23 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN23jun22_020.gcd | 2022-06-24 02:23 | 71 | Unknown | 0 | 13.698 | 4735 | 461.412 | ----- | ----- | ----- | ----- | 1 |  | 88 | 3.296 | 454.8951 | 9.3646 | 911.2917 | 10.5938 | 901.1094 | 5.7521 | 874.4523 | 3.296 | 454.8951 | 54 | BRN23jun22_020.gcd | 2022-06-24 02:23 | 71 | Unknown | 0 | 2.725 | 12495798 | 792.679 | ----- | ----- | ----- | -----
55 | BRN23jun22_021.gcd | 2022-06-24 02:57 | 90 | Unknown | 0 | 6.566 | 4236 | 2.322 | ----- | ----- | ----- | ----- | 55 | BRN23jun22_021.gcd | 2022-06-24 02:57 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN23jun22_021.gcd | 2022-06-24 02:57 | 90 | Unknown | 0 | 13.686 | 4674 | 455.663 | ----- | ----- | ----- | ----- | 1 |  | 89 | 2.267 | 449.2432 | 7.4687 | 900.0183 | 8.4394 | 889.4556 | 4.3389 | 861.8583 | 2.267 | 449.2432 | 55 | BRN23jun22_021.gcd | 2022-06-24 02:57 | 90 | Unknown | 0 | 2.714 | 12497220 | 792.67 | ----- | ----- | ----- | -----
56 | BRN23jun22_022.gcd | 2022-06-24 03:31 | 99 | Unknown | 0 | 6.572 | 4116 | 2.15 | ----- | ----- | ----- | ----- | 56 | BRN23jun22_022.gcd | 2022-06-24 03:31 | 99 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN23jun22_022.gcd | 2022-06-24 03:31 | 99 | Unknown | 0 | 13.664 | 5101 | 495.801 | ----- | ----- | ----- | ----- | 1 |  | 90 | 2.0796 | 488.5379 | 7.1228 | 978.9221 | 8.0387 | 971.0301 | 4.093 | 950.0127 | 2.0796 | 488.5379 | 56 | BRN23jun22_022.gcd | 2022-06-24 03:31 | 99 | Unknown | 0 | 2.704 | 12947626 | 789.648 | ----- | ----- | ----- | -----
57 | BRN23jun22_023.gcd | 2022-06-24 04:04 | 89 | Unknown | 0 | 6.58 | 4245 | 2.334 | ----- | ----- | ----- | ----- | 57 | BRN23jun22_023.gcd | 2022-06-24 04:04 | 89 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN23jun22_023.gcd | 2022-06-24 04:04 | 89 | Unknown | 0 | 13.739 | 4514 | 440.242 | ----- | ----- | ----- | ----- | 1 |  | 91 | 2.2811 | 434.3577 | 7.4947 | 870.4466 | 8.4694 | 858.8875 | 4.3575 | 828.8238 | 2.2811 | 434.3577 | 57 | BRN23jun22_023.gcd | 2022-06-24 04:04 | 89 | Unknown | 0 | 2.726 | 12388468 | 793.408 | ----- | ----- | ----- | -----
58 | BRN23jun22_024.gcd | 2022-06-24 04:38 | 37 | Unknown | 0 | 6.601 | 4129 | 2.168 | ----- | ----- | ----- | ----- | 58 | BRN23jun22_024.gcd | 2022-06-24 04:38 | 37 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN23jun22_024.gcd | 2022-06-24 04:38 | 37 | Unknown | 0 | 13.705 | 5013 | 487.631 | ----- | ----- | ----- | ----- | 1 |  | 92 | 2.0999 | 480.491 | 7.1602 | 962.6628 | 8.0822 | 954.219 | 4.1195 | 931.8458 | 2.0999 | 480.491 | 58 | BRN23jun22_024.gcd | 2022-06-24 04:38 | 37 | Unknown | 0 | 2.727 | 12348542 | 793.68 | ----- | ----- | ----- | -----
59 | BRN23jun22_025.gcd | 2022-06-24 05:11 | 137 | Unknown | 0 | 6.589 | 4462 | 2.649 | ----- | ----- | ----- | ----- | 59 | BRN23jun22_025.gcd | 2022-06-24 05:11 | 137 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN23jun22_025.gcd | 2022-06-24 05:11 | 137 | Unknown | 0 | 13.705 | 4870 | 474.193 | ----- | ----- | ----- | ----- | 1 |  | 93 | 2.6211 | 467.358 | 8.1218 | 936.2393 | 9.1895 | 926.9004 | 4.8132 | 902.3237 | 2.6211 | 467.358 | 59 | BRN23jun22_025.gcd | 2022-06-24 05:11 | 137 | Unknown | 0 | 2.726 | 12320285 | 793.872 | ----- | ----- | ----- | -----
60 | BRN23jun22_026.gcd | 2022-06-24 05:45 | 18 | Unknown | 0 | 6.587 | 4352 | 2.488 | ----- | ----- | ----- | ----- | 60 | BRN23jun22_026.gcd | 2022-06-24 05:45 | 18 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN23jun22_026.gcd | 2022-06-24 05:45 | 18 | Unknown | 0 | 13.716 | 8034 | 742.946 | ----- | ----- | ----- | ----- | 1 |  | 94 | 2.4486 | 741.4968 | 7.8036 | 1520.2821 | 8.8251 | 1531.1933 | 4.5805 | 1555.2806 | 2.4486 | 741.4968 | 60 | BRN23jun22_026.gcd | 2022-06-24 05:45 | 18 | Unknown | 0 | 2.725 | 12440801 | 793.052 | ----- | ----- | ----- | -----