## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm
49 | BRN25feb22_001.gcd | 2022-02-25 15:27 | air | Unknown | 0 | 6.095 | 1851 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN25feb22_001.gcd | 2022-02-25 15:27 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN25feb22_001.gcd | 2022-02-25 15:27 | air | Unknown | 0 | 12.264 | 2789 | 0.515 | ----- | ----- | ----- | ----- | 1 |  | 0.70876 | 551.4223 | 0.16282 | 529.2723 | 0.23823 | 472.5878
50 | BRN25feb22_002.gcd | 2022-02-25 15:57 | air + 100 | Unknown | 0 | 6.026 | 901442 | 1.818 | ----- | ----- | ----- | ----- | 50 | BRN25feb22_002.gcd | 2022-02-25 15:57 | air + 100 | Unknown | 0 | 5.988 | 7797 | 2.063 | ----- | ----- | ----- | ----- | 50 | BRN25feb22_002.gcd | 2022-02-25 15:57 | air + 100 | Unknown | 0 | 12.225 | 8903 | 1.815 | ----- | ----- | ----- | ----- | 1 |  | 2040.35 | 1680.4708 | 2284.0307 | 1697.1068 | 2152.2605 | 1734.5273
51 | BRN25feb22_003.gcd | 2022-02-25 16:28 | 7 | Unknown | 0 | 6.038 | 7271 | 0.01 | ----- | ----- | ----- | ----- | 51 | BRN25feb22_003.gcd | 2022-02-25 16:28 | 7 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN25feb22_003.gcd | 2022-02-25 16:28 | 7 | Unknown | 0 | 12.197 | 10809 | 2.219 | ----- | ----- | ----- | ----- | 1 |  | 16.4205 | 2031.4849 | 18.0184 | 2060.9231 | 11.9472 | 2127.5387
52 | BRN25feb22_004.gcd | 2022-02-25 16:59 | 208 | Unknown | 0 | 6.024 | 6565 | 0.008 | ----- | ----- | ----- | ----- | 52 | BRN25feb22_004.gcd | 2022-02-25 16:59 | 208 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN25feb22_004.gcd | 2022-02-25 16:59 | 208 | Unknown | 0 | 12.187 | 12492 | 2.575 | ----- | ----- | ----- | ----- | 1 |  | 14.3032 | 2341.0515 | 15.8854 | 2382.075 | 9.9384 | 2474.414
53 | BRN25feb22_005.gcd | 2022-02-25 17:29 | 134 | Unknown | 0 | 6.037 | 7013 | 0.009 | ----- | ----- | ----- | ----- | 53 | BRN25feb22_005.gcd | 2022-02-25 17:29 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN25feb22_005.gcd | 2022-02-25 17:29 | 134 | Unknown | 0 | 12.196 | 10413 | 2.135 | ----- | ----- | ----- | ----- | 1 |  | 15.6443 | 1958.594 | 17.2456 | 1985.3445 | 11.1963 | 2045.9
54 | BRN25feb22_006.gcd | 2022-02-25 18:00 | 151 | Unknown | 0 | 6.027 | 7988 | 0.011 | ----- | ----- | ----- | ----- | 54 | BRN25feb22_006.gcd | 2022-02-25 18:00 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN25feb22_006.gcd | 2022-02-25 18:00 | 151 | Unknown | 0 | 12.184 | 11293 | 2.321 | ----- | ----- | ----- | ----- | 1 |  | 18.5925 | 2120.547 | 20.1254 | 2153.2899 | 14.1355 | 2227.3085
55 | BRN25feb22_007.gcd | 2022-02-25 18:30 | 18 | Unknown | 0 | 6.036 | 7205 | 0.01 | ----- | ----- | ----- | ----- | 55 | BRN25feb22_007.gcd | 2022-02-25 18:30 | 18 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN25feb22_007.gcd | 2022-02-25 18:30 | 18 | Unknown | 0 | 12.199 | 10962 | 2.251 | ----- | ----- | ----- | ----- | 1 |  | 16.2217 | 2059.642 | 17.8214 | 2090.1225 | 11.7533 | 2159.0788
56 | BRN25feb22_008.gcd | 2022-02-25 19:01 | 143 | Unknown | 0 | 6.026 | 7379 | 0.01 | ----- | ----- | ----- | ----- | 56 | BRN25feb22_008.gcd | 2022-02-25 19:01 | 143 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN25feb22_008.gcd | 2022-02-25 19:01 | 143 | Unknown | 0 | 12.194 | 8700 | 1.772 | ----- | ----- | ----- | ----- | 1 |  | 16.7462 | 1643.0589 | 18.3396 | 1658.3513 | 12.2673 | 1692.6584
57 | BRN25feb22_009.gcd | 2022-02-25 19:32 | 130 | Unknown | 0 | 6.039 | 4800 | 0.005 | ----- | ----- | ----- | ----- | 57 | BRN25feb22_009.gcd | 2022-02-25 19:32 | 130 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN25feb22_009.gcd | 2022-02-25 19:32 | 130 | Unknown | 0 | 12.199 | 7550 | 1.527 | ----- | ----- | ----- | ----- | 1 |  | 9.1026 | 1431.022 | 10.3002 | 1438.7751 | 5.5502 | 1455.4303
58 | BRN25feb22_010.gcd | 2022-02-25 20:02 | 206 | Unknown | 0 | 6.033 | 4914 | 0.005 | ----- | ----- | ----- | ----- | 58 | BRN25feb22_010.gcd | 2022-02-25 20:02 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN25feb22_010.gcd | 2022-02-25 20:02 | 206 | Unknown | 0 | 12.193 | 7510 | 1.519 | ----- | ----- | ----- | ----- | 1 |  | 9.4345 | 1423.6438 | 10.6719 | 1431.1369 | 5.8063 | 1447.1777
59 | BRN25feb22_011.gcd | 2022-02-25 20:33 | 114 | Unknown | 0 | 6.038 | 8068 | 0.011 | ----- | ----- | ----- | ----- | 59 | BRN25feb22_011.gcd | 2022-02-25 20:33 | 114 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN25feb22_011.gcd | 2022-02-25 20:33 | 114 | Unknown | 0 | 12.202 | 12692 | 2.618 | ----- | ----- | ----- | ----- | 1 |  | 18.8362 | 2377.8154 | 20.3568 | 2420.2331 | 14.3889 | 2515.6255
60 | BRN25feb22_012.gcd | 2022-02-25 21:03 | 105 | Unknown | 0 | 6.033 | 4442 | 0.004 | ----- | ----- | ----- | ----- | 60 | BRN25feb22_012.gcd | 2022-02-25 21:03 | 105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN25feb22_012.gcd | 2022-02-25 21:03 | 105 | Unknown | 0 | 12.191 | 7951 | 1.613 | ----- | ----- | ----- | ----- | 1 |  | 8.0639 | 1504.9772 | 9.1233 | 1515.3453 | 4.7706 | 1538.1584
61 | BRN25feb22_013.gcd | 2022-02-25 21:34 | 172 | Unknown | 0 | 6.045 | 4054 | 0.003 | ----- | ----- | ----- | ----- | 61 | BRN25feb22_013.gcd | 2022-02-25 21:34 | 172 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN25feb22_013.gcd | 2022-02-25 21:34 | 172 | Unknown | 0 | 12.211 | 9014 | 1.838 | ----- | ----- | ----- | ----- | 1 |  | 6.9443 | 1700.9254 | 7.831 | 1718.2976 | 3.9677 | 1757.4202
62 | BRN25feb22_014.gcd | 2022-02-25 22:05 | 136 | Unknown | 0 | 6.026 | 6986 | 0.009 | ----- | ----- | ----- | ----- | 62 | BRN25feb22_014.gcd | 2022-02-25 22:05 | 136 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN25feb22_014.gcd | 2022-02-25 22:05 | 136 | Unknown | 0 | 11.974 | 8436 | 1.715 | ----- | ----- | ----- | ----- | 2 | CO2 peak is shouldered on water plateau | 15.5632 | 1594.3973 | 17.1643 | 1607.948 | 11.1189 | 1638.205
63 | BRN25feb22_015.gcd | 2022-02-25 22:35 | 21 | Unknown | 0 | 6.045 | 7493 | 0.01 | ----- | ----- | ----- | ----- | 63 | BRN25feb22_015.gcd | 2022-02-25 22:35 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN25feb22_015.gcd | 2022-02-25 22:35 | 21 | Unknown | 0 | 12.212 | 12204 | 2.514 | ----- | ----- | ----- | ----- | 1 |  | 17.0906 | 2288.1028 | 18.6771 | 2327.1251 | 12.6088 | 2415.0659
64 | BRN25feb22_016.gcd | 2022-02-25 23:06 | 99 | Unknown | 0 | 6.042 | 4349 | 0.004 | ----- | ----- | ----- | ----- | 64 | BRN25feb22_016.gcd | 2022-02-25 23:06 | 99 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN25feb22_016.gcd | 2022-02-25 23:06 | 99 | Unknown | 0 | 12.2 | 54919 | 11.463 | ----- | ----- | ----- | ----- | 1 |  | 7.795 | 10027.4922 | 8.8152 | 10447.6131 | 4.5742 | 11171.0865
65 | BRN25feb22_017.gcd | 2022-02-25 23:36 | 137 | Unknown | 0 | 6.026 | 8063 | 0.011 | ----- | ----- | ----- | ----- | 65 | BRN25feb22_017.gcd | 2022-02-25 23:36 | 137 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN25feb22_017.gcd | 2022-02-25 23:36 | 137 | Unknown | 0 | 12.181 | 10570 | 2.168 | ----- | ----- | ----- | ----- | 1 |  | 18.8209 | 1987.495 | 20.3424 | 2015.3094 | 14.373 | 2078.2678
66 | BRN25feb22_018.gcd | 2022-02-26 00:07 | 27 | Unknown | 0 | 6.037 | 6762 | 0.009 | ----- | ----- | ----- | ----- | 66 | BRN25feb22_018.gcd | 2022-02-26 00:07 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN25feb22_018.gcd | 2022-02-26 00:07 | 27 | Unknown | 0 | 12.197 | 11586 | 2.383 | ----- | ----- | ----- | ----- | 1 |  | 14.8919 | 2174.4484 | 16.4864 | 2209.2025 | 10.4844 | 2287.7005
67 | BRN25feb22_019.gcd | 2022-02-26 00:38 | 177 | Unknown | 0 | 6.042 | 6701 | 0.009 | ----- | ----- | ----- | ----- | 67 | BRN25feb22_019.gcd | 2022-02-26 00:38 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN25feb22_019.gcd | 2022-02-26 00:38 | 177 | Unknown | 0 | 12.206 | 12450 | 2.566 | ----- | ----- | ----- | ----- | 1 |  | 14.7094 | 2333.3305 | 16.3008 | 2374.0617 | 10.3141 | 2465.7593
68 | BRN25feb22_020.gcd | 2022-02-26 01:08 | 133 | Unknown | 0 | 6.027 | 8430 | 0.012 | ----- | ----- | ----- | ----- | 68 | BRN25feb22_020.gcd | 2022-02-26 01:08 | 133 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN25feb22_020.gcd | 2022-02-26 01:08 | 133 | Unknown | 0 | 12.191 | 7711 | 1.562 | ----- | ----- | ----- | ----- | 1 |  | 19.9423 | 1460.7171 | 21.3947 | 1469.5184 | 15.5589 | 1488.6463
69 | BRN25feb22_021.gcd | 2022-02-26 01:39 | 22 | Unknown | 0 | 6.039 | 4270 | 0.004 | ----- | ----- | ----- | ----- | 69 | BRN25feb22_021.gcd | 2022-02-26 01:39 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN25feb22_021.gcd | 2022-02-26 01:39 | 22 | Unknown | 0 | 12.189 | 7038 | 1.419 | ----- | ----- | ----- | ----- | 1 |  | 7.5668 | 1336.566 | 8.5526 | 1341.0022 | 4.4093 | 1349.7905
70 | BRN25feb22_022.gcd | 2022-02-26 02:10 | 175 | Unknown | 0 | 6.045 | 5086 | 0.005 | ----- | ----- | ----- | ----- | 70 | BRN25feb22_022.gcd | 2022-02-26 02:10 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN25feb22_022.gcd | 2022-02-26 02:10 | 175 | Unknown | 0 | 12.156 | 8061 | 1.636 | ----- | ----- | ----- | ----- | 1 |  | 9.9363 | 1525.2606 | 11.2298 | 1536.3486 | 6.1998 | 1560.8504
71 | BRN25feb22_023.gcd | 2022-02-26 02:40 | 205 | Unknown | 0 | 6.028 | 7871 | 0.011 | ----- | ----- | ----- | ----- | 71 | BRN25feb22_023.gcd | 2022-02-26 02:40 | 205 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN25feb22_023.gcd | 2022-02-26 02:40 | 205 | Unknown | 0 | 12.195 | 11254 | 2.313 | ----- | ----- | ----- | ----- | 1 |  | 18.2365 | 2113.3716 | 19.7857 | 2145.8474 | 13.7682 | 2219.2696
72 | BRN25feb22_024.gcd | 2022-02-26 03:11 | 66 | Unknown | 0 | 6.043 | 5004 | 0.005 | ----- | ----- | ----- | ----- | 72 | BRN25feb22_024.gcd | 2022-02-26 03:11 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN25feb22_024.gcd | 2022-02-26 03:11 | 66 | Unknown | 0 | 12.211 | 8040 | 1.631 | ----- | ----- | ----- | ----- | 1 |  | 9.6969 | 1521.3884 | 10.9642 | 1532.3389 | 6.0112 | 1556.5183