## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN27jan22_001.gcd | 2022-01-27 10:12 | air | Unknown | 0 | 6.093 | 1987 | -0.001 | ----- | ----- | ----- | ----- | 39 | BRN27jan22_001.gcd | 2022-01-27 10:12 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN27jan22_001.gcd | 2022-01-27 10:12 | air | Unknown | 0 | 12.262 | 2675 | 0.543 | ----- | ----- | ----- | ----- | 1 |  | 1.0877 | 530.3258 | 0.6525 | 507.4856 | 0.42762 | 449.0399
40 | BRN27jan22_002.gcd | 2022-01-27 10:43 | air + 100 | Unknown | 0 | 6.037 | 837001 | 1.741 | ----- | ----- | ----- | ----- | 40 | BRN27jan22_002.gcd | 2022-01-27 10:43 | air + 100 | Unknown | 0 | 5.99 | 7416 | 2.106 | ----- | ----- | ----- | ----- | 40 | BRN27jan22_002.gcd | 2022-01-27 10:43 | air + 100 | Unknown | 0 | 12.257 | 8825 | 1.771 | ----- | ----- | ----- | ----- | 1 |  | 1967.9791 | 1666.0964 | 2186.4586 | 1682.2157 | 2058.2278 | 1718.44
41 | BRN27jan22_003.gcd | 2022-01-27 11:13 | 216 | Unknown | 0 | 6.051 | 9992 | 0.016 | ----- | ----- | ----- | ----- | 41 | BRN27jan22_003.gcd | 2022-01-27 11:13 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN27jan22_003.gcd | 2022-01-27 11:13 | 216 | Unknown | 0 | 12.223 | 5236 | 1.055 | ----- | ----- | ----- | ----- | 1 |  | 24.779 | 1003.8635 | 25.6987 | 996.8194 | 21.0441 | 977.8816
42 | BRN27jan22_004.gcd | 2022-01-27 11:44 | 74 | Unknown | 0 | 6.043 | 11529 | 0.019 | ----- | ----- | ----- | ----- | 42 | BRN27jan22_004.gcd | 2022-01-27 11:44 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN27jan22_004.gcd | 2022-01-27 11:44 | 74 | Unknown | 0 | 12.22 | 7640 | 1.535 | ----- | ----- | ----- | ----- | 1 |  | 29.6394 | 1447.6221 | 29.9517 | 1455.9609 | 24.5894 | 1473.9984
43 | BRN27jan22_005.gcd | 2022-01-27 12:15 | 161 | Unknown | 0 | 6.044 | 11558 | 0.019 | ----- | ----- | ----- | ----- | 43 | BRN27jan22_005.gcd | 2022-01-27 12:15 | 161 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN27jan22_005.gcd | 2022-01-27 12:15 | 161 | Unknown | 0 | 12.229 | 5690 | 1.146 | ----- | ----- | ----- | ----- | 1 |  | 29.7321 | 1087.7238 | 30.0281 | 1083.5436 | 24.6574 | 1071.5968
44 | BRN27jan22_006.gcd | 2022-01-27 12:45 | 44 | Unknown | 0 | 6.041 | 11995 | 0.02 | ----- | ----- | ----- | ----- | 44 | BRN27jan22_006.gcd | 2022-01-27 12:45 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN27jan22_006.gcd | 2022-01-27 12:45 | 44 | Unknown | 0 | 12.223 | 6192 | 1.246 | ----- | ----- | ----- | ----- | 1 |  | 31.1329 | 1180.4201 | 31.1783 | 1179.429 | 25.6827 | 1175.2079
45 | BRN27jan22_007.gcd | 2022-01-27 13:16 | 96 | Unknown | 0 | 6.054 | 10540 | 0.017 | ----- | ----- | ----- | ----- | 45 | BRN27jan22_007.gcd | 2022-01-27 13:16 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN27jan22_007.gcd | 2022-01-27 13:16 | 96 | Unknown | 0 | 12.237 | 4623 | 0.933 | ----- | ----- | ----- | ----- | 1 |  | 26.5004 | 890.5927 | 27.3484 | 879.7121 | 22.269 | 851.3287
46 | BRN27jan22_008.gcd | 2022-01-27 13:46 | 135 | Unknown | 0 | 6.053 | 12303 | 0.021 | ----- | ----- | ----- | ----- | 46 | BRN27jan22_008.gcd | 2022-01-27 13:46 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN27jan22_008.gcd | 2022-01-27 13:46 | 135 | Unknown | 0 | 12.236 | 5528 | 1.113 | ----- | ----- | ----- | ----- | 1 |  | 32.1251 | 1057.803 | 31.989 | 1052.5987 | 26.4053 | 1038.1577
47 | BRN27jan22_009.gcd | 2022-01-27 14:17 | 203 | Unknown | 0 | 6.043 | 13349 | 0.023 | ----- | ----- | ----- | ----- | 47 | BRN27jan22_009.gcd | 2022-01-27 14:17 | 203 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN27jan22_009.gcd | 2022-01-27 14:17 | 203 | Unknown | 0 | 12.219 | 6928 | 1.393 | ----- | ----- | ----- | ----- | 1 |  | 35.5247 | 1316.2684 | 34.742 | 1319.9952 | 28.8591 | 1327.0927
48 | BRN27jan22_010.gcd | 2022-01-27 14:48 | 145 | Unknown | 0 | 6.055 | 10823 | 0.018 | ----- | ----- | ----- | ----- | 48 | BRN27jan22_010.gcd | 2022-01-27 14:48 | 145 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN27jan22_010.gcd | 2022-01-27 14:48 | 145 | Unknown | 0 | 12.246 | 6270 | 1.261 | ----- | ----- | ----- | ----- | 1 |  | 27.3944 | 1194.8203 | 28.0933 | 1194.3268 | 22.933 | 1191.3057