## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm
49 | BRN30mar22_001.gcd | 2022-03-30 13:21 | air | Unknown | 0 | 6.079 | 2129 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN30mar22_001.gcd | 2022-03-30 13:21 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN30mar22_001.gcd | 2022-03-30 13:21 | air | Unknown | 0 | 12.271 | 2173 | 0.384 | ----- | ----- | ----- | ----- | 1 |  | 1.4843 | 437.4078 | 1.1615 | 411.5428 | 0.63109 | 345.3386
50 | BRN30mar22_002.gcd | 2022-03-30 13:52 | air + 100 | Unknown | 0 | 6.025 | 888007 | 1.791 | ----- | ----- | ----- | ----- | 50 | BRN30mar22_002.gcd | 2022-03-30 13:52 | air + 100 | Unknown | 0 | 5.978 | 7645 | 2.026 | ----- | ----- | ----- | ----- | 50 | BRN30mar22_002.gcd | 2022-03-30 13:52 | air + 100 | Unknown | 0 | 12.223 | 6322 | 1.267 | ----- | ----- | ----- | ----- | 1 |  | 2011.4775 | 1204.42 | 2245.105 | 1204.2585 | 2114.7468 | 1202.0374
51 | BRN30mar22_003.gcd | 2022-03-30 14:22 | 141 | Unknown | 0 | 6.035 | 6361 | 0.008 | ----- | ----- | ----- | ----- | 51 | BRN30mar22_003.gcd | 2022-03-30 14:22 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN30mar22_003.gcd | 2022-03-30 14:22 | 141 | Unknown | 0 | 12.185 | 29036 | 6.064 | ----- | ----- | ----- | ----- | 1 |  | 13.6953 | 5365.1837 | 15.2583 | 5534.1166 | 9.385 | 5876.5256
52 | BRN30mar22_004.gcd | 2022-03-30 14:53 | 71 | Unknown | 0 | 6.037 | 14539 | 0.025 | ----- | ----- | ----- | ----- | 52 | BRN30mar22_004.gcd | 2022-03-30 14:53 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN30mar22_004.gcd | 2022-03-30 14:53 | 71 | Unknown | 0 | 12.212 | 7622 | 1.543 | ----- | ----- | ----- | ----- | 1 |  | 39.4489 | 1444.3022 | 37.8736 | 1452.5238 | 31.6505 | 1470.2848
53 | BRN30mar22_005.gcd | 2022-03-30 15:23 | 46 | Unknown | 0 | 6.049 | 3897 | 0.003 | ----- | ----- | ----- | ----- | 53 | BRN30mar22_005.gcd | 2022-03-30 15:23 | 46 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN30mar22_005.gcd | 2022-03-30 15:23 | 46 | Unknown | 0 | 12.192 | 27204 | 5.679 | ----- | ----- | ----- | ----- | 1 |  | 6.4931 | 5031.9982 | 7.3032 | 5185.5135 | 3.6552 | 5500.4805
54 | BRN30mar22_006.gcd | 2022-03-30 15:54 | 62 | Unknown | 0 | 6.03 | 15520 | 0.027 | ----- | ----- | ----- | ----- | 54 | BRN30mar22_006.gcd | 2022-03-30 15:54 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN30mar22_006.gcd | 2022-03-30 15:54 | 62 | Unknown | 0 | 12.2 | 7589 | 1.536 | ----- | ----- | ----- | ----- | 1 |  | 49.0219 | 1438.2155 | 40.455 | 1446.2223 | 33.9516 | 1463.4765
55 | BRN30mar22_007.gcd | 2022-03-30 16:24 | 217 | Unknown | 0 | 6.035 | 15445 | 0.026 | ----- | ----- | ----- | ----- | 55 | BRN30mar22_007.gcd | 2022-03-30 16:24 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN30mar22_007.gcd | 2022-03-30 16:24 | 217 | Unknown | 0 | 12.22 | 6889 | 1.387 | ----- | ----- | ----- | ----- | 1 |  | 48.7882 | 1309.0716 | 40.2576 | 1312.5471 | 33.7756 | 1319.0452
56 | BRN30mar22_008.gcd | 2022-03-30 16:55 | 81 | Unknown | 0 | 6.034 | 16205 | 0.028 | ----- | ----- | ----- | ----- | 56 | BRN30mar22_008.gcd | 2022-03-30 16:55 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN30mar22_008.gcd | 2022-03-30 16:55 | 81 | Unknown | 0 | 12.205 | 7048 | 1.421 | ----- | ----- | ----- | ----- | 1 |  | 51.1558 | 1338.4111 | 42.2573 | 1342.9119 | 35.5582 | 1351.8539
57 | BRN30mar22_009.gcd | 2022-03-30 17:25 | 68 | Unknown | 0 | 6.043 | 4260 | 0.004 | ----- | ----- | ----- | ----- | 57 | BRN30mar22_009.gcd | 2022-03-30 17:25 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN30mar22_009.gcd | 2022-03-30 17:25 | 68 | Unknown | 0 | 12.171 | 26783 | 5.59 | ----- | ----- | ----- | ----- | 1 |  | 7.5379 | 4955.3715 | 8.5193 | 5105.3878 | 4.3885 | 5414.0399
58 | BRN30mar22_010.gcd | 2022-03-30 17:56 | 194 | Unknown | 0 | 6.03 | 10373 | 0.016 | ----- | ----- | ----- | ----- | 58 | BRN30mar22_010.gcd | 2022-03-30 17:56 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN30mar22_010.gcd | 2022-03-30 17:56 | 194 | Unknown | 0 | 12.178 | 18621 | 3.871 | ----- | ----- | ----- | ----- | 1 |  | 25.9744 | 3465.3984 | 26.9087 | 3550.8392 | 21.8771 | 3736.4119
59 | BRN30mar22_011.gcd | 2022-03-30 18:26 | 174 | Unknown | 0 | 6.034 | 16942 | 0.029 | ----- | ----- | ----- | ----- | 59 | BRN30mar22_011.gcd | 2022-03-30 18:26 | 174 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN30mar22_011.gcd | 2022-03-30 18:26 | 174 | Unknown | 0 | 12.205 | 7411 | 1.498 | ----- | ----- | ----- | ----- | 1 |  | 53.4507 | 1405.3819 | 44.1964 | 1412.2322 | 37.2867 | 1426.7521
60 | BRN30mar22_012.gcd | 2022-03-30 18:57 | 122 | Unknown | 0 | 6.044 | 4107 | 0.003 | ----- | ----- | ----- | ----- | 60 | BRN30mar22_012.gcd | 2022-03-30 18:57 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN30mar22_012.gcd | 2022-03-30 18:57 | 122 | Unknown | 0 | 12.145 | 25876 | 5.4 | ----- | ----- | ----- | ----- | 1 |  | 7.0969 | 4790.2117 | 8.0086 | 4932.746 | 4.0748 | 5227.7818
61 | BRN30mar22_013.gcd | 2022-03-30 19:28 | 140 | Unknown | 0 | 6.02 | 181817 | 0.362 | ----- | ----- | ----- | ----- | 61 | BRN30mar22_013.gcd | 2022-03-30 19:28 | 140 | Unknown | 0 | 5.97 | 1635 | 0.551 | ----- | ----- | ----- | ----- | 61 | BRN30mar22_013.gcd | 2022-03-30 19:28 | 140 | Unknown | 0 | 12.176 | 17203 | 3.572 | ----- | ----- | ----- | ----- | 1 |  | 544.5759 | 3205.6898 | 474.6801 | 3280.5436 | 421.7739 | 3444.6076
62 | BRN30mar22_014.gcd | 2022-03-30 19:58 | 160 | Unknown | 0 | 6.042 | 4094 | 0.003 | ----- | ----- | ----- | ----- | 62 | BRN30mar22_014.gcd | 2022-03-30 19:58 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN30mar22_014.gcd | 2022-03-30 19:58 | 160 | Unknown | 0 | 11.653 | 9021 | 1.84 | ----- | ----- | ----- | ----- | 3 | CO2 peak is shouldered on water plateau | 7.0594 | 1702.2153 | 7.9651 | 1719.634 | 4.0484 | 1758.8639
63 | BRN30mar22_015.gcd | 2022-03-30 20:29 | 98 | Unknown | 0 | 6.025 | 171046 | 0.341 | ----- | ----- | ----- | ----- | 63 | BRN30mar22_015.gcd | 2022-03-30 20:29 | 98 | Unknown | 0 | 5.992 | 1542 | 0.528 | ----- | ----- | ----- | ----- | 63 | BRN30mar22_015.gcd | 2022-03-30 20:29 | 98 | Unknown | 0 | 12.184 | 13876 | 2.868 | ----- | ----- | ----- | ----- | 1 |  | 513.8463 | 2595.3545 | 446.758 | 2646.1024 | 396.7897 | 2759.5555
64 | BRN30mar22_016.gcd | 2022-03-30 20:59 | 193 | Unknown | 0 | 6.068 | 1926 | -0.001 | ----- | ----- | ----- | ----- | 64 | BRN30mar22_016.gcd | 2022-03-30 20:59 | 193 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN30mar22_016.gcd | 2022-03-30 20:59 | 193 | Unknown | 0 | 12.191 | 8756 | 1.783 | ----- | ----- | ----- | ----- | 1 |  | 0.91766 | 1653.38 | 0.43313 | 1669.0426 | 0.342 | 1704.2086
65 | BRN30mar22_017.gcd | 2022-03-30 21:30 | 76 | Unknown | 0 | 6.024 | 18245 | 0.032 | ----- | ----- | ----- | ----- | 65 | BRN30mar22_017.gcd | 2022-03-30 21:30 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN30mar22_017.gcd | 2022-03-30 21:30 | 76 | Unknown | 0 | 12.182 | 8499 | 1.729 | ----- | ----- | ----- | ----- | 1 |  | 57.506 | 1606.0105 | 47.6242 | 1619.9763 | 40.3424 | 1651.1999
66 | BRN30mar22_018.gcd | 2022-03-30 22:00 | 182 | Unknown | 0 | 6.03 | 7533 | 0.01 | ----- | ----- | ----- | ----- | 66 | BRN30mar22_018.gcd | 2022-03-30 22:00 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN30mar22_018.gcd | 2022-03-30 22:00 | 182 | Unknown | 0 | 12.165 | 26972 | 5.63 | ----- | ----- | ----- | ----- | 1 |  | 17.2116 | 4989.7743 | 18.7952 | 5141.3594 | 12.7295 | 5452.8469
67 | BRN30mar22_019.gcd | 2022-03-30 22:31 | 118 | Unknown | 0 | 6.064 | 2152 | 0 | ----- | ----- | ----- | ----- | 67 | BRN30mar22_019.gcd | 2022-03-30 22:31 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN30mar22_019.gcd | 2022-03-30 22:31 | 118 | Unknown | 0 | 12.181 | 7974 | 1.617 | ----- | ----- | ----- | ----- | 1 |  | 1.5486 | 1509.2184 | 1.2437 | 1519.7369 | 0.6646 | 1542.9031
68 | BRN30mar22_020.gcd | 2022-03-30 23:01 | 112 | Unknown | 0 | 6.032 | 11103 | 0.018 | ----- | ----- | ----- | ----- | 68 | BRN30mar22_020.gcd | 2022-03-30 23:01 | 112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN30mar22_020.gcd | 2022-03-30 23:01 | 112 | Unknown | 0 | 12.179 | 16898 | 3.507 | ----- | ----- | ----- | ----- | 1 |  | 28.2822 | 3149.7957 | 28.8304 | 3222.3967 | 23.5899 | 3381.8296
69 | BRN23mar22_021.gcd | 2022-03-23 20:15 | 163 | Unknown | 0 | 6.024 | 4888 | 0.005 | ----- | ----- | ----- | ----- | 69 | BRN23mar22_021.gcd | 2022-03-23 20:15 | 163 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN23mar22_021.gcd | 2022-03-23 20:15 | 163 | Unknown | 0 | 12.2 | 60429 | 12.604 | ----- | ----- | ----- | ----- | 1 |  | 9.3588 | 11009.1516 | 10.5873 | 11490.7907 | 5.7476 | 12293.7838
70 | BRN23mar22_022.gcd | 2022-03-23 20:45 | 129 | Unknown | 0 | 6.028 | 4635 | 0.005 | ----- | ----- | ----- | ----- | 70 | BRN23mar22_022.gcd | 2022-03-23 20:45 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN23mar22_022.gcd | 2022-03-23 20:45 | 129 | Unknown | 0 | 12.153 | 3675 | 0.704 | ----- | ----- | ----- | ----- | 1 |  | 8.6232 | 715.3273 | 9.7597 | 698.5824 | 5.1863 | 655.5778
71 | BRN23mar22_023.gcd | 2022-03-23 21:16 | 148 | Unknown | 0 | 6.013 | 9307 | 0.014 | ----- | ----- | ----- | ----- | 71 | BRN23mar22_023.gcd | 2022-03-23 21:16 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN23mar22_023.gcd | 2022-03-23 21:16 | 148 | Unknown | 0 | 12.159 | 7452 | 1.507 | ----- | ----- | ----- | ----- | 1 |  | 22.6451 | 1412.945 | 23.846 | 1420.0614 | 18.5513 | 1435.2112
72 | BRN23mar22_024.gcd | 2022-03-23 21:47 | 24 | Unknown | 0 | 6.022 | 8806 | 0.013 | ----- | ----- | ----- | ----- | 72 | BRN23mar22_024.gcd | 2022-03-23 21:47 | 24 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN23mar22_024.gcd | 2022-03-23 21:47 | 24 | Unknown | 0 | 12.163 | 11101 | 2.281 | ----- | ----- | ----- | ----- | 1 |  | 21.0971 | 2085.2201 | 22.4566 | 2116.6494 | 16.8145 | 2187.7318