## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN22sep21_001.gcd | 2021-09-22 10:36 | air | Unknown | 0 | 6.07 | 2852 | 0.001 | ----- | ----- | ----- | ----- | 39 | BRN22sep21_001.gcd | 2021-09-22 10:36 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN22sep21_001.gcd | 2021-09-22 10:36 | air | Unknown | 0 | 12.203 | 2856 | 0.58 | ----- | ----- | ----- | ----- | 1 |  | 3.5165 | 563.8204 | 3.7168 | 542.0766
40 | BRN22sep21_002.gcd | 2021-09-22 11:07 | air + 100 | Unknown | 0 | 6.001 | 829023 | 1.725 | ----- | ----- | ----- | ----- | 40 | BRN22sep21_002.gcd | 2021-09-22 11:07 | air + 100 | Unknown | 0 | 5.954 | 6407 | 1.835 | ----- | ----- | ----- | ----- | 40 | BRN22sep21_002.gcd | 2021-09-22 11:07 | air + 100 | Unknown | 0 | 12.159 | 8396 | 1.685 | ----- | ----- | ----- | ----- | 1 |  | 1776.3241 | 1587.0236 | 1928.0309 | 1600.311
41 | BRN22sep21_003.gcd | 2021-09-22 11:37 | 18 | Unknown | 0 | 6.029 | 3749 | 0.003 | ----- | ----- | ----- | ----- | 41 | BRN22sep21_003.gcd | 2021-09-22 11:37 | 18 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN22sep21_003.gcd | 2021-09-22 11:37 | 18 | Unknown | 0 | 11.999 | 147666 | 28.849 | ----- | ----- | ----- | ----- | 1 |  | 6.0687 | 26043.391 | 6.8029 | 27875.3279
42 | BRN22sep21_004.gcd | 2021-09-22 12:08 | 26 | Unknown | 0 | 5.982 | 9095347 | 19.163 | ----- | ----- | ----- | ----- | 42 | BRN22sep21_004.gcd | 2021-09-22 12:08 | 26 | Unknown | 0 | 5.936 | 67843 | 18.17 | ----- | ----- | ----- | ----- | 42 | BRN22sep21_004.gcd | 2021-09-22 12:08 | 26 | Unknown | 0 | 12.064 | 95626 | 18.837 | ----- | ----- | ----- | ----- | 1 |  | 13458.0055 | 17189.9007 | 17588.6696 | 18131.1464
43 | BRN22sep21_005.gcd | 2021-09-22 12:38 | 110 | Unknown | 0 | 5.857 | 51244723 | 114.355 | ----- | ----- | ----- | ----- | 43 | BRN22sep21_005.gcd | 2021-09-22 12:38 | 110 | Unknown | 0 | 5.822 | 461383 | 116.534 | ----- | ----- | ----- | ----- | 43 | BRN22sep21_005.gcd | 2021-09-22 12:38 | 110 | Unknown | 0 | 12.047 | 105799 | 20.807 | ----- | ----- | ----- | ----- | 1 |  | 88875.4237 | 18947.3531 | 114312.3145 | 20042.9057
44 | BRN22sep21_006.gcd | 2021-09-22 13:09 | 148 | Unknown | 0 | 6.013 | 21975 | 0.041 | ----- | ----- | ----- | ----- | 44 | BRN22sep21_006.gcd | 2021-09-22 13:09 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN22sep21_006.gcd | 2021-09-22 13:09 | 148 | Unknown | 0 | 12.169 | 4644 | 0.937 | ----- | ----- | ----- | ----- | 1 |  | 69.0995 | 894.4739 | 57.4346 | 883.7241
45 | BRN22sep21_007.gcd | 2021-09-22 13:40 | 12 | Unknown | 0 | 6.006 | 30981 | 0.06 | ----- | ----- | ----- | ----- | 45 | BRN22sep21_007.gcd | 2021-09-22 13:40 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN22sep21_007.gcd | 2021-09-22 13:40 | 12 | Unknown | 0 | 11.974 | 187206 | 36.353 | ----- | ----- | ----- | ----- | 1 |  | 96.9981 | 32542.9796 | 81.1078 | 35220.0798
46 | BRN22sep21_008.gcd | 2021-09-22 14:10 | 98 | Unknown | 0 | 5.899 | 39197468 | 85.959 | ----- | ----- | ----- | ----- | 46 | BRN22sep21_008.gcd | 2021-09-22 14:10 | 98 | Unknown | 0 | 5.861 | 330714 | 84.976 | ----- | ----- | ----- | ----- | 46 | BRN22sep21_008.gcd | 2021-09-22 14:10 | 98 | Unknown | 0 | 12.069 | 103287 | 20.321 | ----- | ----- | ----- | ----- | 1 |  | 63721.3748 | 18514.5966 | 82886.0786 | 19571.1514
47 | BRN22sep21_009.gcd | 2021-09-22 14:41 | 41 | Unknown | 0 | 6.007 | 31720 | 0.061 | ----- | ----- | ----- | ----- | 47 | BRN22sep21_009.gcd | 2021-09-22 14:41 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN22sep21_009.gcd | 2021-09-22 14:41 | 41 | Unknown | 0 | 12.01 | 157610 | 30.745 | ----- | ----- | ----- | ----- | 1 |  | 99.2815 | 27696.4599 | 83.0495 | 29727.2608
48 | BRN22sep21_010.gcd | 2021-09-22 15:11 | 69 | Unknown | 0 | 6.008 | 22826 | 0.043 | ----- | ----- | ----- | ----- | 48 | BRN22sep21_010.gcd | 2021-09-22 15:11 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN22sep21_010.gcd | 2021-09-22 15:11 | 69 | Unknown | 0 | 12.158 | 5202 | 1.048 | ----- | ----- | ----- | ----- | 1 |  | 71.7414 | 997.5822 | 59.6724 | 990.3244
49 | BRN22sep21_011.gcd | 2021-09-22 15:42 | 62 | Unknown | 0 | 6.033 | 4452 | 0.004 | ----- | ----- | ----- | ----- | 49 | BRN22sep21_011.gcd | 2021-09-22 15:42 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN22sep21_011.gcd | 2021-09-22 15:42 | 62 | Unknown | 0 | 11.988 | 177759 | 34.568 | ----- | ----- | ----- | ----- | 1 |  | 8.0928 | 31007.9257 | 9.1564 | 33469.8751
50 | BRN22sep21_012.gcd | 2021-09-22 16:12 | 37 | Unknown | 0 | 6.013 | 12856 | 0.022 | ----- | ----- | ----- | ----- | 50 | BRN22sep21_012.gcd | 2021-09-22 16:12 | 37 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN22sep21_012.gcd | 2021-09-22 16:12 | 37 | Unknown | 0 | 12.146 | 10212 | 2.047 | ----- | ----- | ----- | ----- | 1 |  | 33.9166 | 1921.5888 | 33.4445 | 1946.9807
51 | BRN22sep21_013.gcd | 2021-09-22 16:43 | 91 | Unknown | 0 | 6.016 | 16648 | 0.03 | ----- | ----- | ----- | ----- | 51 | BRN22sep21_013.gcd | 2021-09-22 16:43 | 91 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN22sep21_013.gcd | 2021-09-22 16:43 | 91 | Unknown | 0 | 11.997 | 172258 | 33.526 | ----- | ----- | ----- | ----- | 1 |  | 52.5354 | 30108.9004 | 43.4229 | 32449.3916
52 | BRN22sep21_014.gcd | 2021-09-22 17:13 | 188 | Unknown | 0 | 5.833 | 57973227 | 130.692 | ----- | ----- | ----- | ----- | 52 | BRN22sep21_014.gcd | 2021-09-22 17:13 | 188 | Unknown | 0 | 5.8 | 536008 | 134.12 | ----- | ----- | ----- | ----- | 52 | BRN22sep21_014.gcd | 2021-09-22 17:13 | 188 | Unknown | 0 | 12.023 | 124130 | 24.341 | ----- | ----- | ----- | ----- | 1 |  | 103291.2147 | 22081.3557 | 131952.3484 | 23479.2597
53 | BRN22sep21_015.gcd | 2021-09-22 17:44 | 174 | Unknown | 0 | 6.014 | 27646 | 0.053 | ----- | ----- | ----- | ----- | 53 | BRN22sep21_015.gcd | 2021-09-22 17:44 | 174 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN22sep21_015.gcd | 2021-09-22 17:44 | 174 | Unknown | 0 | 12.163 | 6639 | 1.335 | ----- | ----- | ----- | ----- | 1 |  | 86.6825 | 1262.9339 | 72.3437 | 1264.8021
54 | BRN22sep21_016.gcd | 2021-09-22 18:14 | 192 | Unknown | 0 | 5.973 | 11313264 | 23.904 | ----- | ----- | ----- | ----- | 54 | BRN22sep21_016.gcd | 2021-09-22 18:14 | 192 | Unknown | 0 | 5.926 | 84326 | 22.503 | ----- | ----- | ----- | ----- | 54 | BRN22sep21_016.gcd | 2021-09-22 18:14 | 192 | Unknown | 0 | 12.06 | 89964 | 17.738 | ----- | ----- | ----- | ----- | 1 |  | 16596.3666 | 16206.1253 | 21764.5712 | 17065.6581
55 | BRN22sep21_017.gcd | 2021-09-22 18:45 | 128 | Unknown | 0 | 6.034 | 4187 | 0.004 | ----- | ----- | ----- | ----- | 55 | BRN22sep21_017.gcd | 2021-09-22 18:45 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN22sep21_017.gcd | 2021-09-22 18:45 | 128 | Unknown | 0 | 12.008 | 151173 | 29.518 | ----- | ----- | ----- | ----- | 1 |  | 7.3274 | 26627.8041 | 8.276 | 28528.8253
56 | BRN22sep21_018.gcd | 2021-09-22 19:16 | 96 | Unknown | 0 | 6.016 | 13000 | 0.022 | ----- | ----- | ----- | ----- | 56 | BRN22sep21_018.gcd | 2021-09-22 19:16 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN22sep21_018.gcd | 2021-09-22 19:16 | 96 | Unknown | 0 | 12.151 | 9391 | 1.884 | ----- | ----- | ----- | ----- | 1 |  | 34.3852 | 1770.3857 | 33.8235 | 1790.2672
57 | BRN22sep21_019.gcd | 2021-09-22 19:46 | 132 | Unknown | 0 | 6.003 | 150407 | 0.309 | ----- | ----- | ----- | ----- | 57 | BRN22sep21_019.gcd | 2021-09-22 19:46 | 132 | Unknown | 0 | 5.943 | 1410 | 0.493 | ----- | ----- | ----- | ----- | 57 | BRN22sep21_019.gcd | 2021-09-22 19:46 | 132 | Unknown | 0 | 11.972 | 185499 | 36.03 | ----- | ----- | ----- | ----- | 1 |  | 454.4343 | 32266.4365 | 393.1763 | 34904.0462
58 | BRN22sep21_020.gcd | 2021-09-22 20:17 | 216 | Unknown | 0 | 6.02 | 11614 | 0.019 | ----- | ----- | ----- | ----- | 58 | BRN22sep21_020.gcd | 2021-09-22 20:17 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN22sep21_020.gcd | 2021-09-22 20:17 | 216 | Unknown | 0 | 12.11 | 52635 | 10.443 | ----- | ----- | ----- | ----- | 1 |  | 29.9112 | 9619.4583 | 30.1755 | 10014.9066
59 | BRN22sep21_021.gcd | 2021-09-22 20:47 | 199 | Unknown | 0 | 6.027 | 5719 | 0.007 | ----- | ----- | ----- | ----- | 59 | BRN22sep21_021.gcd | 2021-09-22 20:47 | 199 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN22sep21_021.gcd | 2021-09-22 20:47 | 199 | Unknown | 0 | 12.007 | 160472 | 31.289 | ----- | ----- | ----- | ----- | 1 |  | 11.7939 | 28169.932 | 13.2534 | 30259.6729
60 | BRN22sep21_022.gcd | 2021-09-22 21:18 | 33 | Unknown | 0 | 6.009 | 34816 | 0.068 | ----- | ----- | ----- | ----- | 60 | BRN22sep21_022.gcd | 2021-09-22 21:18 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN22sep21_022.gcd | 2021-09-22 21:18 | 33 | Unknown | 0 | 12.148 | 5952 | 1.198 | ----- | ----- | ----- | ----- | 1 |  | 108.8379 | 1136.1071 | 91.1825 | 1133.5884
61 | BRN22sep21_023.gcd | 2021-09-22 21:48 | 190 | Unknown | 0 | 5.879 | 43860520 | 96.825 | ----- | ----- | ----- | ----- | 61 | BRN22sep21_023.gcd | 2021-09-22 21:48 | 190 | Unknown | 0 | 5.841 | 373785 | 95.49 | ----- | ----- | ----- | ----- | 61 | BRN22sep21_023.gcd | 2021-09-22 21:48 | 190 | Unknown | 0 | 12.007 | 142519 | 27.866 | ----- | ----- | ----- | ----- | 1 |  | 72000.236 | 25182.8894 | 93320.4894 | 26915.5071
62 | BRN22sep21_024.gcd | 2021-09-22 22:19 | 112 | Unknown | 0 | 6.013 | 13454 | 0.023 | ----- | ----- | ----- | ----- | 62 | BRN22sep21_024.gcd | 2021-09-22 22:19 | 112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN22sep21_024.gcd | 2021-09-22 22:19 | 112 | Unknown | 0 | 12.147 | 12490 | 2.501 | ----- | ----- | ----- | ----- | 1 |  | 35.8685 | 2340.6839 | 35.0183 | 2381.6934
63 | BRN22sep21_025.gcd | 2021-09-22 22:50 | 151 | Unknown | 0 | 6.017 | 20316 | 0.038 | ----- | ----- | ----- | ----- | 63 | BRN22sep21_025.gcd | 2021-09-22 22:50 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN22sep21_025.gcd | 2021-09-22 22:50 | 151 | Unknown | 0 | 12.161 | 9368 | 1.879 | ----- | ----- | ----- | ----- | 1 |  | 63.9459 | 1766.1485 | 53.0717 | 1785.8766
64 | BRN22sep21_026.gcd | 2021-09-22 23:20 | 138 | Unknown | 0 | 6.016 | 11523 | 0.019 | ----- | ----- | ----- | ----- | 64 | BRN22sep21_026.gcd | 2021-09-22 23:20 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN22sep21_026.gcd | 2021-09-22 23:20 | 138 | Unknown | 0 | 12.064 | 59736 | 11.837 | ----- | ----- | ----- | ----- | 1 |  | 29.6203 | 10885.8966 | 29.936 | 11359.6432