## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN24aug21_001.gcd | 2021-08-24 15:43 | air | Unknown | 0 | 6.079 | 2239 | 0 | ----- | ----- | ----- | ----- | 39 | BRN24aug21_001.gcd | 2021-08-24 15:43 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN24aug21_001.gcd | 2021-08-24 15:43 | air | Unknown | 0 | 12.224 | 2437 | 0.496 | ----- | ----- | ----- | ----- | 1 |  | 1.792 | 486.277 | 1.5542 | 461.9998
40 | BRN24aug21_002.gcd | 2021-08-24 16:13 | air + 100 | Unknown | 0 | 6.005 | 949240 | 1.976 | ----- | ----- | ----- | ----- | 40 | BRN24aug21_002.gcd | 2021-08-24 16:13 | air + 100 | Unknown | 0 | 5.961 | 7791 | 2.206 | ----- | ----- | ----- | ----- | 40 | BRN24aug21_002.gcd | 2021-08-24 16:13 | air + 100 | Unknown | 0 | 12.174 | 9878 | 1.981 | ----- | ----- | ----- | ----- | 1 |  | 2039.2103 | 1860.0864 | 2282.4942 | 1883.229
41 | BRN24aug21_003.gcd | 2021-08-24 16:44 | 59 | Unknown | 0 | 6.016 | 44964 | 0.089 | ----- | ----- | ----- | ----- | 41 | BRN24aug21_003.gcd | 2021-08-24 16:44 | 59 | Unknown | 0 | 5.971 | 558 | 0.264 | ----- | ----- | ----- | ----- | 41 | BRN24aug21_003.gcd | 2021-08-24 16:44 | 59 | Unknown | 0 | 12.173 | 5777 | 1.163 | ----- | ----- | ----- | ----- | 1 |  | 140.052 | 1103.7909 | 117.8246 | 1100.1617
42 | BRN24aug21_004.gcd | 2021-08-24 17:15 | 134 | Unknown | 0 | 6.009 | 1587742 | 3.311 | ----- | ----- | ----- | ----- | 42 | BRN24aug21_004.gcd | 2021-08-24 17:15 | 134 | Unknown | 0 | 5.96 | 14287 | 3.947 | ----- | ----- | ----- | ----- | 42 | BRN24aug21_004.gcd | 2021-08-24 17:15 | 134 | Unknown | 0 | 12.046 | 130979 | 25.656 | ----- | ----- | ----- | ----- | 1 |  | 3273.2718 | 23241.486 | 3945.1901 | 24760.3784
43 | BRN24aug21_005.gcd | 2021-08-24 17:45 | 104 | Unknown | 0 | 6.011 | 1858134 | 3.876 | ----- | ----- | ----- | ----- | 43 | BRN24aug21_005.gcd | 2021-08-24 17:45 | 104 | Unknown | 0 | 5.963 | 14114 | 3.901 | ----- | ----- | ----- | ----- | 43 | BRN24aug21_005.gcd | 2021-08-24 17:45 | 104 | Unknown | 0 | 12.081 | 96321 | 18.972 | ----- | ----- | ----- | ----- | 1 |  | 3240.403 | 17310.38 | 3900.9316 | 18261.8612
44 | BRN24aug21_006.gcd | 2021-08-24 18:16 | 82 | Unknown | 0 | 6.004 | 2416514 | 5.046 | ----- | ----- | ----- | ----- | 44 | BRN24aug21_006.gcd | 2021-08-24 18:16 | 82 | Unknown | 0 | 5.956 | 19318 | 5.293 | ----- | ----- | ----- | ----- | 44 | BRN24aug21_006.gcd | 2021-08-24 18:16 | 82 | Unknown | 0 | 12.024 | 150627 | 29.414 | ----- | ----- | ----- | ----- | 1 |  | 4229.2141 | 26536.9191 | 5231.7454 | 28427.1095
45 | BRN24aug21_007.gcd | 2021-08-24 18:47 | 78 | Unknown | 0 | 6.024 | 17381 | 0.031 | ----- | ----- | ----- | ----- | 45 | BRN24aug21_007.gcd | 2021-08-24 18:47 | 78 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN24aug21_007.gcd | 2021-08-24 18:47 | 78 | Unknown | 0 | 12.128 | 50947 | 10.111 | ----- | ----- | ----- | ----- | 1 |  | 54.8173 | 9317.4782 | 45.3513 | 9695.004
46 | BRN24aug21_008.gcd | 2021-08-24 19:17 | 69 | Unknown | 0 | 6.013 | 1461680 | 3.047 | ----- | ----- | ----- | ----- | 46 | BRN24aug21_008.gcd | 2021-08-24 19:17 | 69 | Unknown | 0 | 5.968 | 11998 | 3.334 | ----- | ----- | ----- | ----- | 46 | BRN24aug21_008.gcd | 2021-08-24 19:17 | 69 | Unknown | 0 | 12.061 | 124489 | 24.41 | ----- | ----- | ----- | ----- | 1 |  | 2838.3931 | 22142.3118 | 3359.4981 | 23546.4493
47 | BRN24aug21_009.gcd | 2021-08-24 19:48 | 173 | Unknown | 0 | 6.02 | 47096 | 0.093 | ----- | ----- | ----- | ----- | 47 | BRN24aug21_009.gcd | 2021-08-24 19:48 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN24aug21_009.gcd | 2021-08-24 19:48 | 173 | Unknown | 0 | 12.181 | 6828 | 1.373 | ----- | ----- | ----- | ----- | 1 |  | 146.5884 | 1297.8148 | 123.4187 | 1300.8975
48 | BRN24aug21_010.gcd | 2021-08-24 20:18 | 130 | Unknown | 0 | 6.013 | 1689637 | 3.524 | ----- | ----- | ----- | ----- | 48 | BRN24aug21_010.gcd | 2021-08-24 20:18 | 130 | Unknown | 0 | 5.966 | 14290 | 3.948 | ----- | ----- | ----- | ----- | 48 | BRN24aug21_010.gcd | 2021-08-24 20:18 | 130 | Unknown | 0 | 12.085 | 97476 | 19.196 | ----- | ----- | ----- | ----- | 1 |  | 3273.8418 | 17510.4668 | 3945.9576 | 18479.0577
49 | BRN24aug21_011.gcd | 2021-08-24 20:49 | 201 | Unknown | 0 | 5.893 | 44287025 | 97.827 | ----- | ----- | ----- | ----- | 49 | BRN24aug21_011.gcd | 2021-08-24 20:49 | 201 | Unknown | 0 | 5.854 | 371648 | 94.971 | ----- | ----- | ----- | ----- | 49 | BRN24aug21_011.gcd | 2021-08-24 20:49 | 201 | Unknown | 0 | 12.066 | 110865 | 21.785 | ----- | ----- | ----- | ----- | 1 |  | 71589.1867 | 19817.6919 | 92804.5339 | 20993.6776
50 | BRN24aug21_012.gcd | 2021-08-24 21:20 | 93 | Unknown | 0 | 6.002 | 2764998 | 5.777 | ----- | ----- | ----- | ----- | 50 | BRN24aug21_012.gcd | 2021-08-24 21:20 | 93 | Unknown | 0 | 5.954 | 20404 | 5.583 | ----- | ----- | ----- | ----- | 50 | BRN24aug21_012.gcd | 2021-08-24 21:20 | 93 | Unknown | 0 | 12.094 | 75014 | 14.827 | ----- | ----- | ----- | ----- | 1 |  | 4435.5872 | 13589.2125 | 5509.33 | 14247.3222
51 | BRN24aug21_013.gcd | 2021-08-24 21:50 | 77 | Unknown | 0 | 6.022 | 16114 | 0.029 | ----- | ----- | ----- | ----- | 51 | BRN24aug21_013.gcd | 2021-08-24 21:50 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN24aug21_013.gcd | 2021-08-24 21:50 | 77 | Unknown | 0 | 12.124 | 50714 | 10.065 | ----- | ----- | ----- | ----- | 1 |  | 50.8723 | 9275.7668 | 42.0179 | 9650.8395
52 | BRN24aug21_014.gcd | 2021-08-24 22:21 | 208 | Unknown | 0 | 6.019 | 192673 | 0.397 | ----- | ----- | ----- | ----- | 52 | BRN24aug21_014.gcd | 2021-08-24 22:21 | 208 | Unknown | 0 | 5.971 | 1143 | 0.421 | ----- | ----- | ----- | ----- | 52 | BRN24aug21_014.gcd | 2021-08-24 22:21 | 208 | Unknown | 0 | 12.09 | 90102 | 17.765 | ----- | ----- | ----- | ----- | 1 |  | 575.3564 | 16230.1507 | 502.7941 | 17091.6397
53 | BRN24aug21_015.gcd | 2021-08-24 22:51 | 135 | Unknown | 0 | 6.022 | 48106 | 0.095 | ----- | ----- | ----- | ----- | 53 | BRN24aug21_015.gcd | 2021-08-24 22:51 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN24aug21_015.gcd | 2021-08-24 22:51 | 135 | Unknown | 0 | 12.172 | 6308 | 1.269 | ----- | ----- | ----- | ----- | 1 |  | 149.6823 | 1201.8355 | 126.0684 | 1201.5846
54 | BRN24aug21_016.gcd | 2021-08-24 23:22 | 213 | Unknown | 0 | 6.023 | 18551 | 0.034 | ----- | ----- | ----- | ----- | 54 | BRN24aug21_016.gcd | 2021-08-24 23:22 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN24aug21_016.gcd | 2021-08-24 23:22 | 213 | Unknown | 0 | 12.162 | 789 | 0.167 | ----- | ----- | ----- | ----- | 1 |  | 58.458 | 181.0715 | 48.4292 | 146.9887
55 | BRN24aug21_017.gcd | 2021-08-24 23:53 | 92 | Unknown | 0 | 6.012 | 1384617 | 2.886 | ----- | ----- | ----- | ----- | 55 | BRN24aug21_017.gcd | 2021-08-24 23:53 | 92 | Unknown | 0 | 5.966 | 10687 | 2.983 | ----- | ----- | ----- | ----- | 55 | BRN24aug21_017.gcd | 2021-08-24 23:53 | 92 | Unknown | 0 | 12.059 | 121647 | 23.863 | ----- | ----- | ----- | ----- | 1 |  | 2589.3365 | 21659.3138 | 3023.9546 | 23014.433
56 | BRN24aug21_018.gcd | 2021-08-25 00:23 | 204 | Unknown | 0 | 6.012 | 1456560 | 3.036 | ----- | ----- | ----- | ----- | 56 | BRN24aug21_018.gcd | 2021-08-25 00:23 | 204 | Unknown | 0 | 5.962 | 11443 | 3.185 | ----- | ----- | ----- | ----- | 56 | BRN24aug21_018.gcd | 2021-08-25 00:23 | 204 | Unknown | 0 | 12.05 | 128899 | 25.257 | ----- | ----- | ----- | ----- | 1 |  | 2732.9558 | 22889.7841 | 3217.4572 | 24371.4717
57 | BRN24aug21_019.gcd | 2021-08-25 00:54 | 68 | Unknown | 0 | 6.02 | 58577 | 0.117 | ----- | ----- | ----- | ----- | 57 | BRN24aug21_019.gcd | 2021-08-25 00:54 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN24aug21_019.gcd | 2021-08-25 00:54 | 68 | Unknown | 0 | 12.163 | 6298 | 1.267 | ----- | ----- | ----- | ----- | 1 |  | 181.66 | 1199.9894 | 153.5245 | 1199.6747
58 | BRN24aug21_020.gcd | 2021-08-25 01:24 | 72 | Unknown | 0 | 5.887 | 46660784 | 103.425 | ----- | ----- | ----- | ----- | 58 | BRN24aug21_020.gcd | 2021-08-25 01:24 | 72 | Unknown | 0 | 5.848 | 396393 | 100.964 | ----- | ----- | ----- | ----- | 58 | BRN24aug21_020.gcd | 2021-08-25 01:24 | 72 | Unknown | 0 | 12.074 | 97774 | 19.253 | ----- | ----- | ----- | ----- | 1 |  | 76350.6942 | 17562.0638 | 98767.7181 | 18535.0892
59 | BRN24aug21_021.gcd | 2021-08-25 01:55 | 99 | Unknown | 0 | 6.021 | 32804 | 0.064 | ----- | ----- | ----- | ----- | 59 | BRN24aug21_021.gcd | 2021-08-25 01:55 | 99 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN24aug21_021.gcd | 2021-08-25 01:55 | 99 | Unknown | 0 | 12.174 | 3952 | 0.799 | ----- | ----- | ----- | ----- | 1 |  | 102.6292 | 766.5504 | 85.8973 | 751.5104
60 | BRN24aug21_022.gcd | 2021-08-25 02:26 | 197 | Unknown | 0 | 6.017 | 198858 | 0.41 | ----- | ----- | ----- | ----- | 60 | BRN24aug21_022.gcd | 2021-08-25 02:26 | 197 | Unknown | 0 | 5.96 | 1578 | 0.538 | ----- | ----- | ----- | ----- | 60 | BRN24aug21_022.gcd | 2021-08-25 02:26 | 197 | Unknown | 0 | 12.086 | 89605 | 17.668 | ----- | ----- | ----- | ----- | 1 |  | 592.807 | 16143.6132 | 518.7988 | 16998.0655
61 | BRN24aug21_023.gcd | 2021-08-25 02:56 | 182 | Unknown | 0 | 6.017 | 17278 | 0.031 | ----- | ----- | ----- | ----- | 61 | BRN24aug21_023.gcd | 2021-08-25 02:56 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN24aug21_023.gcd | 2021-08-25 02:56 | 182 | Unknown | 0 | 12.148 | 742 | 0.157 | ----- | ----- | ----- | ----- | 1 |  | 54.4967 | 172.3622 | 45.0803 | 138.0034
62 | BRN24aug21_024.gcd | 2021-08-25 03:27 | 113 | Unknown | 0 | 5.909 | 38725376 | 84.867 | ----- | ----- | ----- | ----- | 62 | BRN24aug21_024.gcd | 2021-08-25 03:27 | 113 | Unknown | 0 | 5.869 | 315268 | 81.178 | ----- | ----- | ----- | ----- | 62 | BRN24aug21_024.gcd | 2021-08-25 03:27 | 113 | Unknown | 0 | 12.064 | 107524 | 21.14 | ----- | ----- | ----- | ----- | 1 |  | 60755.4022 | 19244.0699 | 79125.9794 | 20366.7423
63 | BRN24aug21_025.gcd | 2021-08-25 03:57 | 164 | Unknown | 0 | 5.91 | 37836983 | 82.817 | ----- | ----- | ----- | ----- | 63 | BRN24aug21_025.gcd | 2021-08-25 03:57 | 164 | Unknown | 0 | 5.872 | 315066 | 81.128 | ----- | ----- | ----- | ----- | 63 | BRN24aug21_025.gcd | 2021-08-25 03:57 | 164 | Unknown | 0 | 12.066 | 112624 | 22.125 | ----- | ----- | ----- | ----- | 1 |  | 60716.6241 | 20119.1345 | 79076.7421 | 21323.6063
64 | BRN24aug21_026.gcd | 2021-08-25 04:28 | 122 | Unknown | 0 | 6.01 | 2584158 | 5.398 | ----- | ----- | ----- | ----- | 64 | BRN24aug21_026.gcd | 2021-08-25 04:28 | 122 | Unknown | 0 | 5.962 | 20602 | 5.636 | ----- | ----- | ----- | ----- | 64 | BRN24aug21_026.gcd | 2021-08-25 04:28 | 122 | Unknown | 0 | 12.103 | 70860 | 14.015 | ----- | ----- | ----- | ----- | 1 |  | 4473.2141 | 12857.0971 | 5559.9342 | 13462.9303
65 | BRN24aug21_027.gcd | 2021-08-25 04:59 | 161 but questionable big bubble | Unknown | 0 | 6.017 | 619862 | 1.288 | ----- | ----- | ----- | ----- | 65 | BRN24aug21_027.gcd | 2021-08-25 04:59 | 161 but questionable big bubble | Unknown | 0 | 5.968 | 5307 | 1.54 | ----- | ----- | ----- | ----- | 65 | BRN24aug21_027.gcd | 2021-08-25 04:59 | 161 but questionable big bubble | Unknown | 0 | 12.066 | 115544 | 22.688 | ----- | ----- | ----- | ----- | 1 |  | 1633.8491 | 20618.682 | 1586.472 | 21871.077
211 had a dented cap and could not be run