## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI 20240416_001.gcd | 2024-04-16 11:08 | QC outside air | Unknown | 0 | 6.197 | 2335 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI 20240416_001.gcd | 2024-04-16 11:08 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI 20240416_001.gcd | 2024-04-16 11:08 | QC outside air | Unknown | 0 | 12.269 | 2221 | 0.451 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.2283 | 489.11 | 1.8957 | 420.717 | 0.9367 | 355.2548 | 4.5379 | 517.9541 | 2.2283 | 489.11 | 48 | FMI 20240416_001.gcd | 2024-04-16 11:08 | QC outside air | Unknown | 0 | 2.729 | 5148604 | 0 | ----- | ----- | ----- | -----
49 | FMI 20240416_002.gcd | 2024-04-16 11:39 | QC spiked air | Unknown | 0 | 6.019 | 928156 | 2.338 | ----- | ----- | ----- | ----- | 49 | FMI 20240416_002.gcd | 2024-04-16 11:39 | QC spiked air | Unknown | 0 | 5.975 | 7430 | 2.22 | ----- | ----- | ----- | ----- | 49 | FMI 20240416_002.gcd | 2024-04-16 11:39 | QC spiked air | Unknown | 0 | 12.228 | 8009 | 1.724 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2140.6972 | 1672.1092 | 2190.044 | 1526.4198 | 2061.6831 | 1550.1233 | 1938.6992 | 1903.2199 | 2140.6972 | 1672.1092 | 49 | FMI 20240416_002.gcd | 2024-04-16 11:39 | QC spiked air | Unknown | 0 | 2.727 | 4963211 | 0 | ----- | ----- | ----- | -----
50 | FMI 20240416_003.gcd | 2024-04-16 12:10 | QC reference tank | Unknown | 0 | 6.04 | 3309 | 0.005 | ----- | ----- | ----- | ----- | 50 | FMI 20240416_003.gcd | 2024-04-16 12:10 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI 20240416_003.gcd | 2024-04-16 12:10 | QC reference tank | Unknown | 0 | 12.237 | 1401 | 0.27 | ----- | ----- | ----- | ----- | 1 |  | 50 | 4.9316 | 321.1876 | 5.3008 | 263.9813 | 2.5486 | 185.8366 | 2.8653 | 319.2288 | 4.9316 | 321.1876 | 50 | FMI 20240416_003.gcd | 2024-04-16 12:10 | QC reference tank | Unknown | 0 | 2.727 | 5036633 | 0 | ----- | ----- | ----- | -----
51 | FMI 20240416_004.gcd | 2024-04-16 12:41 | 131 | Unknown | 0 | 6.033 | 7254 | 0.015 | ----- | ----- | ----- | ----- | 51 | FMI 20240416_004.gcd | 2024-04-16 12:41 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI 20240416_004.gcd | 2024-04-16 12:41 | 131 | Unknown | 0 | 12.203 | 6178 | 1.322 | ----- | ----- | ----- | ----- | 1 |  | 51 | 16.9898 | 1298.3076 | 17.9677 | 1176.755 | 11.8971 | 1172.3186 | 6.5698 | 1468.3037 | 16.9898 | 1298.3076 | 51 | FMI 20240416_004.gcd | 2024-04-16 12:41 | 131 | Unknown | 0 | 2.869 | 1001195 | 0 | ----- | ----- | ----- | -----
52 | FMI 20240416_005.gcd | 2024-04-16 13:11 | 278 | Unknown | 0 | 6.023 | 26196 | 0.063 | ----- | ----- | ----- | ----- | 52 | FMI 20240416_005.gcd | 2024-04-16 13:11 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI 20240416_005.gcd | 2024-04-16 13:11 | 278 | Unknown | 0 | 12.198 | 5963 | 1.275 | ----- | ----- | ----- | ----- | 1 |  | 52 | 71.423 | 1254.3887 | 68.5324 | 1135.6894 | 58.9829 | 1127.9447 | 68.2122 | 1417.0343 | 71.423 | 1254.3887 | 52 | FMI 20240416_005.gcd | 2024-04-16 13:11 | 278 | Unknown | 0 | 2.864 | 1060616 | 0 | ----- | ----- | ----- | -----
53 | FMI 20240416_006.gcd | 2024-04-16 13:42 | 44 | Unknown | 0 | 6.037 | 7620 | 0.016 | ----- | ----- | ----- | ----- | 53 | FMI 20240416_006.gcd | 2024-04-16 13:42 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI 20240416_006.gcd | 2024-04-16 13:42 | 44 | Unknown | 0 | 12.202 | 7265 | 1.561 | ----- | ----- | ----- | ----- | 1 |  | 53 | 18.1987 | 1520.2687 | 19.0514 | 1384.3518 | 12.9937 | 1396.6285 | 7.7655 | 1726.8669 | 18.1987 | 1520.2687 | 53 | FMI 20240416_006.gcd | 2024-04-16 13:42 | 44 | Unknown | 0 | 2.877 | 842346 | 0 | ----- | ----- | ----- | -----
54 | FMI 20240416_007.gcd | 2024-04-16 14:13 | 316 | Unknown | 0 | 6.024 | 28789 | 0.069 | ----- | ----- | ----- | ----- | 54 | FMI 20240416_007.gcd | 2024-04-16 14:13 | 316 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI 20240416_007.gcd | 2024-04-16 14:13 | 316 | Unknown | 0 | 12.206 | 6909 | 1.483 | ----- | ----- | ----- | ----- | 1 |  | 54 | 78.899 | 1447.5905 | 75.3477 | 1316.3666 | 65.0598 | 1323.1721 | 75.8779 | 1642.3044 | 78.899 | 1447.5905 | 54 | FMI 20240416_007.gcd | 2024-04-16 14:13 | 316 | Unknown | 0 | 2.87 | 969611 | 0 | ----- | ----- | ----- | -----
55 | FMI 20240416_008.gcd | 2024-04-16 14:43 | 351 | Unknown | 0 | 6.026 | 16617 | 0.038 | ----- | ----- | ----- | ----- | 55 | FMI 20240416_008.gcd | 2024-04-16 14:43 | 351 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI 20240416_008.gcd | 2024-04-16 14:43 | 351 | Unknown | 0 | 12.199 | 8102 | 1.745 | ----- | ----- | ----- | ----- | 1 |  | 55 | 43.7719 | 1691.0846 | 43.3413 | 1544.1771 | 36.5245 | 1569.3082 | 39.7101 | 1925.2285 | 43.7719 | 1691.0846 | 55 | FMI 20240416_008.gcd | 2024-04-16 14:43 | 351 | Unknown | 0 | 2.869 | 994579 | 0 | ----- | ----- | ----- | -----
56 | FMI 20240416_009.gcd | 2024-04-16 15:14 | 165 | Unknown | 0 | 6.038 | 3147 | 0.004 | ----- | ----- | ----- | ----- | 56 | FMI 20240416_009.gcd | 2024-04-16 15:14 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI 20240416_009.gcd | 2024-04-16 15:14 | 165 | Unknown | 0 | 12.154 | 37276 | 8.094 | ----- | ----- | ----- | ----- | 1 |  | 56 | 4.4745 | 7592.5879 | 4.7421 | 7100.7199 | 2.2614 | 7565.7892 | 3.0725 | 8439.873 | 4.4745 | 7592.5879 | 56 | FMI 20240416_009.gcd | 2024-04-16 15:14 | 165 | Unknown | 0 | 2.871 | 943014 | 0 | ----- | ----- | ----- | -----
57 | FMI 20240416_010.gcd | 2024-04-16 15:45 | 26 | Unknown | 0 | 6.038 | 6013 | 0.012 | ----- | ----- | ----- | ----- | 57 | FMI 20240416_010.gcd | 2024-04-16 15:45 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI 20240416_010.gcd | 2024-04-16 15:45 | 26 | Unknown | 0 | 12.198 | 11059 | 2.393 | ----- | ----- | ----- | ----- | 1 |  | 57 | 13.0049 | 2293.8814 | 14.1774 | 2108.6342 | 8.4687 | 2179.0742 | 3.5924 | 2620.8943 | 13.0049 | 2293.8814 | 57 | FMI 20240416_010.gcd | 2024-04-16 15:45 | 26 | Unknown | 0 | 2.876 | 900677 | 0 | ----- | ----- | ----- | -----
58 | FMI 20240416_011.gcd | 2024-04-16 16:16 | 230 | Unknown | 0 | 6.038 | 5072 | 0.009 | ----- | ----- | ----- | ----- | 58 | FMI 20240416_011.gcd | 2024-04-16 16:16 | 230 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI 20240416_011.gcd | 2024-04-16 16:16 | 230 | Unknown | 0 | 12.189 | 19502 | 4.239 | ----- | ----- | ----- | ----- | 1 |  | 58 | 10.1006 | 4009.2664 | 11.1845 | 3718.7403 | 6.1675 | 3917.6574 | 2.4435 | 4563.3004 | 10.1006 | 4009.2664 | 58 | FMI 20240416_011.gcd | 2024-04-16 16:16 | 230 | Unknown | 0 | 2.872 | 976159 | 0 | ----- | ----- | ----- | -----
59 | FMI 20240416_012.gcd | 2024-04-16 16:46 | 102 | Unknown | 0 | 6.026 | 9075 | 0.019 | ----- | ----- | ----- | ----- | 59 | FMI 20240416_012.gcd | 2024-04-16 16:46 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI 20240416_012.gcd | 2024-04-16 16:46 | 102 | Unknown | 0 | 12.203 | 6366 | 1.363 | ----- | ----- | ----- | ----- | 1 |  | 59 | 23.1558 | 1336.7065 | 23.2062 | 1212.6622 | 17.738 | 1211.118 | 13.9497 | 1513.1001 | 23.1558 | 1336.7065 | 59 | FMI 20240416_012.gcd | 2024-04-16 16:46 | 102 | Unknown | 0 | 2.862 | 1143656 | 0 | ----- | ----- | ----- | -----
60 | FMI 20240416_013.gcd | 2024-04-16 17:17 | 284 | Unknown | 0 | 6.041 | 2475 | 0.003 | ----- | ----- | ----- | ----- | 60 | FMI 20240416_013.gcd | 2024-04-16 17:17 | 284 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI 20240416_013.gcd | 2024-04-16 17:17 | 284 | Unknown | 0 | 12.161 | 45756 | 9.919 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.6102 | 8838.4533 | 2.3919 | 8710.6471 | 1.1514 | 9300.6362 | 4.2345 | 9471.1325 | 2.6102 | 8838.4533 | 60 | FMI 20240416_013.gcd | 2024-04-16 17:17 | 284 | Unknown | 0 | 2.874 | 918262 | 0 | ----- | ----- | ----- | -----
61 | FMI 20240416_014.gcd | 2024-04-16 17:48 | 218 | Unknown | 0 | 6.001 | 108513 | 0.27 | ----- | ----- | ----- | ----- | 61 | FMI 20240416_014.gcd | 2024-04-16 17:48 | 218 | Unknown | 0 | 5.96 | 800 | 0.271 | ----- | ----- | ----- | ----- | 61 | FMI 20240416_014.gcd | 2024-04-16 17:48 | 218 | Unknown | 0 | 12.152 | 4542 | 0.962 | ----- | ----- | ----- | ----- | 1 |  | 61 | 306.8575 | 963.9763 | 284.097 | 864.237 | 251.3702 | 834.6049 | 301.2158 | 1077.1188 | 306.8575 | 963.9763 | 61 | FMI 20240416_014.gcd | 2024-04-16 17:48 | 218 | Unknown | 0 | 2.843 | 1085045 | 0 | ----- | ----- | ----- | -----
62 | FMI 20240416_016.gcd | 2024-04-17 11:08 | 135 | Unknown | 0 | 6.032 | 3340 | 0.005 | ----- | ----- | ----- | ----- | 62 | FMI 20240416_016.gcd | 2024-04-17 11:08 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI 20240416_016.gcd | 2024-04-17 11:08 | 135 | Unknown | 0 | 12.184 | 44699 | 9.692 | ----- | ----- | ----- | ----- | 1 |  | 62 | 5.0195 | 9077.9146 | 5.4074 | 8510.1033 | 2.6045 | 9084.5943 | 2.8289 | 9973.5479 | 5.0195 | 9077.9146 | 62 | FMI 20240416_016.gcd | 2024-04-17 11:08 | 135 | Unknown | 0 | 2.858 | 1289545 | 0 | ----- | ----- | ----- | -----
63 | FMI 20240416_017.gcd | 2024-04-17 11:39 | 76 | Unknown | 0 | 6.011 | 2875 | 0.004 | ----- | ----- | ----- | ----- | 63 | FMI 20240416_017.gcd | 2024-04-17 11:39 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI 20240416_017.gcd | 2024-04-17 11:39 | 76 | Unknown | 0 | 12.118 | 48116 | 10.426 | ----- | ----- | ----- | ----- | 1 |  | 63 | 3.7137 | 9319.9978 | 3.7971 | 9158.2769 | 1.7963 | 9782.7946 | 3.4841 | 10046.6436 | 3.7137 | 9319.9978 | 63 | FMI 20240416_017.gcd | 2024-04-17 11:39 | 76 | Unknown | 0 | 2.834 | 1186434 | 0 | ----- | ----- | ----- | -----
64 | FMI 20240416_018.gcd | 2024-04-17 12:10 | 364 | Unknown | 0 | 6.049 | 131830 | 0.329 | ----- | ----- | ----- | ----- | 64 | FMI 20240416_018.gcd | 2024-04-17 12:10 | 364 | Unknown | 0 | 6.002 | 1038 | 0.341 | ----- | ----- | ----- | ----- | 64 | FMI 20240416_018.gcd | 2024-04-17 12:10 | 364 | Unknown | 0 | 12.206 | 20369 | 4.428 | ----- | ----- | ----- | ----- | 1 |  | 64 | 372.8351 | 4184.9342 | 344.8598 | 3883.9486 | 305.6671 | 4095.9841 | 363.3318 | 4759.0819 | 372.8351 | 4184.9342 | 64 | FMI 20240416_018.gcd | 2024-04-17 12:10 | 364 | Unknown | 0 | 2.882 | 1320979 | 0 | ----- | ----- | ----- | -----
65 | FMI 20240416_019.gcd | 2024-04-17 12:40 | 150 | Unknown | 0 | 6.037 | 3421 | 0.005 | ----- | ----- | ----- | ----- | 65 | FMI 20240416_019.gcd | 2024-04-17 12:40 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI 20240416_019.gcd | 2024-04-17 12:40 | 150 | Unknown | 0 | 12.117 | 47369 | 10.265 | ----- | ----- | ----- | ----- | 1 |  | 65 | 5.2494 | 9167.6057 | 5.6853 | 9016.6103 | 2.7517 | 9630.21 | 2.7387 | 9864.529 | 5.2494 | 9167.6057 | 65 | FMI 20240416_019.gcd | 2024-04-17 12:40 | 150 | Unknown | 0 | 2.832 | 1253432 | 0 | ----- | ----- | ----- | -----
66 | FMI 20240416_020.gcd | 2024-04-17 13:11 | 241 | Unknown | 0 | 6 | 97689 | 0.243 | ----- | ----- | ----- | ----- | 66 | FMI 20240416_020.gcd | 2024-04-17 13:11 | 241 | Unknown | 0 | 5.883 | 508 | 0.185 | ----- | ----- | ----- | ----- | 66 | FMI 20240416_020.gcd | 2024-04-17 13:11 | 241 | Unknown | 0 | 12.095 | 73888 | 15.91 | ----- | ----- | ----- | ----- | 1 |  | 66 | 276.1234 | 14561.2041 | 255.8456 | 14034.7572 | 226.1352 | 15029.6248 | 271.7981 | 16301.7666 | 276.1234 | 14561.2041 | 66 | FMI 20240416_020.gcd | 2024-04-17 13:11 | 241 | Unknown | 0 | 2.836 | 1198191 | 0 | ----- | ----- | ----- | -----
67 | FMI 20240416_021.gcd | 2024-04-17 13:42 | 346 | Unknown | 0 | 6.002 | 23151 | 0.055 | ----- | ----- | ----- | ----- | 67 | FMI 20240416_021.gcd | 2024-04-17 13:42 | 346 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI 20240416_021.gcd | 2024-04-17 13:42 | 346 | Unknown | 0 | 12.161 | 12324 | 2.67 | ----- | ----- | ----- | ----- | 1 |  | 67 | 62.639 | 2551.4375 | 60.527 | 2350.0212 | 51.8454 | 2439.7948 | 59.1833 | 2916.0631 | 62.639 | 2551.4375 | 67 | FMI 20240416_021.gcd | 2024-04-17 13:42 | 346 | Unknown | 0 | 2.837 | 1180174 | 0 | ----- | ----- | ----- | -----
68 | FMI 20240416_022.gcd | 2024-04-17 14:13 | 327 | Unknown | 0 | 6.031 | 10378 | 0.023 | ----- | ----- | ----- | ----- | 68 | FMI 20240416_022.gcd | 2024-04-17 14:13 | 327 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI 20240416_022.gcd | 2024-04-17 14:13 | 327 | Unknown | 0 | 12.197 | 8775 | 1.892 | ----- | ----- | ----- | ----- | 1 |  | 68 | 25.7337 | 1828.3704 | 26.9219 | 1672.67 | 21.8889 | 1708.1274 | 20.9904 | 2084.26 | 25.7337 | 1828.3704 | 68 | FMI 20240416_022.gcd | 2024-04-17 14:13 | 327 | Unknown | 0 | 2.868 | 1044042 | 0 | ----- | ----- | ----- | -----
69 | FMI 20240416_023.gcd | 2024-04-17 14:43 | 349 | Unknown | 0 | 6.024 | 21432 | 0.051 | ----- | ----- | ----- | ----- | 69 | FMI 20240416_023.gcd | 2024-04-17 14:43 | 349 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI 20240416_023.gcd | 2024-04-17 14:43 | 349 | Unknown | 0 | 12.201 | 6108 | 1.307 | ----- | ----- | ----- | ----- | 1 |  | 69 | 57.6777 | 1284.009 | 56.0067 | 1163.385 | 47.8153 | 1157.8715 | 54.0732 | 1451.616 | 57.6777 | 1284.009 | 69 | FMI 20240416_023.gcd | 2024-04-17 14:43 | 349 | Unknown | 0 | 2.851 | 1338477 | 0 | ----- | ----- | ----- | -----
70 | FMI 20240416_024.gcd | 2024-04-17 15:14 | 24 | Unknown | 0 | 6 | 113918 | 0.283 | ----- | ----- | ----- | ----- | 70 | FMI 20240416_024.gcd | 2024-04-17 15:14 | 24 | Unknown | 0 | 5.955 | 760 | 0.259 | ----- | ----- | ----- | ----- | 70 | FMI 20240416_024.gcd | 2024-04-17 15:14 | 24 | Unknown | 0 | 12.153 | 17300 | 3.759 | ----- | ----- | ----- | ----- | 1 |  | 70 | 322.1794 | 3562.7025 | 298.1939 | 3299.0355 | 263.9643 | 3464.5721 | 315.7673 | 4062.9738 | 322.1794 | 3562.7025 | 70 | FMI 20240416_024.gcd | 2024-04-17 15:14 | 24 | Unknown | 0 | 2.823 | 1460358 | 0 | ----- | ----- | ----- | -----
71 | FMI 20240416_025.gcd | 2024-04-17 15:45 | 225 | Unknown | 0 | 6.025 | 20250 | 0.048 | ----- | ----- | ----- | ----- | 71 | FMI 20240416_025.gcd | 2024-04-17 15:45 | 225 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI 20240416_025.gcd | 2024-04-17 15:45 | 225 | Unknown | 0 | 12.205 | 7085 | 1.521 | ----- | ----- | ----- | ----- | 1 |  | 71 | 54.2653 | 1483.5232 | 52.8981 | 1349.9778 | 45.044 | 1359.4885 | 50.5541 | 1684.125 | 54.2653 | 1483.5232 | 71 | FMI 20240416_025.gcd | 2024-04-17 15:45 | 225 | Unknown | 0 | 2.854 | 1300994 | 0 | ----- | ----- | ----- | -----
72 | FMI 20240416_026.gcd | 2024-04-17 16:16 | 328 | Unknown | 0 | 6.032 | 4580 | 0.008 | ----- | ----- | ----- | ----- | 72 | FMI 20240416_026.gcd | 2024-04-17 16:16 | 328 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI 20240416_026.gcd | 2024-04-17 16:16 | 328 | Unknown | 0 | 11.257 | 2925958 | 410.732 | ----- | ----- | ----- | ----- | 2 | Moisture interfered with CO2 peak. CO2 data not useable, but CH4 is ok. | 72 | 8.6223 | 397348.0733 | 9.5788 | 420233.7083 | 5.0667 | 386209.2234 | 2.2236 | 372828.4807 | 8.6223 | 397348.0733 | 72 | FMI 20240416_026.gcd | 2024-04-17 16:16 | 328 | Unknown | 0 | 2.879 | 705662 | 0 | ----- | ----- | ----- | -----
73 | FMI 20240416_027.gcd | 2024-04-17 16:46 | 66 | Unknown | 0 | 6 | 91243 | 0.226 | ----- | ----- | ----- | ----- | 73 | FMI 20240416_027.gcd | 2024-04-17 16:46 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI 20240416_027.gcd | 2024-04-17 16:46 | 66 | Unknown | 0 | 12.088 | 70824 | 15.263 | ----- | ----- | ----- | ----- | 1 |  | 73 | 257.7881 | 13939.7558 | 239.0077 | 13456.13 | 211.098 | 14407.6115 | 254.1035 | 15560.9488 | 257.7881 | 13939.7558 | 73 | FMI 20240416_027.gcd | 2024-04-17 16:46 | 66 | Unknown | 0 | 2.84 | 1096457 | 0 | ----- | ----- | ----- | -----
74 | FMI 20240416_028.gcd | 2024-04-17 17:17 | 153 | Unknown | 0 | 6.025 | 103357 | 0.257 | ----- | ----- | ----- | ----- | 74 | FMI 20240416_028.gcd | 2024-04-17 17:17 | 153 | Unknown | 0 | 5.981 | 609 | 0.215 | ----- | ----- | ----- | ----- | 74 | FMI 20240416_028.gcd | 2024-04-17 17:17 | 153 | Unknown | 0 | 12.2 | 55399 | 11.984 | ----- | ----- | ----- | ----- | 1 |  | 74 | 292.2258 | 10804.3644 | 270.6431 | 10538.5281 | 239.3519 | 11268.9512 | 287.2488 | 11819.8082 | 292.2258 | 10804.3644 | 74 | FMI 20240416_028.gcd | 2024-04-17 17:17 | 153 | Unknown | 0 | 2.872 | 996891 | 0 | ----- | ----- | ----- | -----
75 | FMI 20240416_029.gcd | 2024-04-17 17:48 | 229 | Unknown | 0 | 6.029 | 5199 | 0.01 | ----- | ----- | ----- | ----- | 75 | FMI 20240416_029.gcd | 2024-04-17 17:48 | 229 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI 20240416_029.gcd | 2024-04-17 17:48 | 229 | Unknown | 0 | 12.185 | 23412 | 5.091 | ----- | ----- | ----- | ----- | 1 |  | 75 | 10.4866 | 4800.7823 | 11.5944 | 4463.6039 | 6.463 | 4721.5723 | 2.5427 | 5440.8097 | 10.4866 | 4800.7823 | 75 | FMI 20240416_029.gcd | 2024-04-17 17:48 | 229 | Unknown | 0 | 2.863 | 1100987 | 0 | ----- | ----- | ----- | -----
76 | FMI 20240416_030.gcd | 2024-04-17 18:19 | 68 | Unknown | 0 | 6.015 | 2808 | 0.004 | ----- | ----- | ----- | ----- | 76 | FMI 20240416_030.gcd | 2024-04-17 18:19 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI 20240416_030.gcd | 2024-04-17 18:19 | 68 | Unknown | 0 | 12.136 | 48311 | 10.468 | ----- | ----- | ----- | ----- | 1 |  | 76 | 3.5276 | 9359.7744 | 3.5631 | 9195.2551 | 1.6851 | 9822.6212 | 3.5977 | 10094.176 | 3.5276 | 9359.7744 | 76 | FMI 20240416_030.gcd | 2024-04-17 18:19 | 68 | Unknown | 0 | 2.857 | 1345113 | 0 | ----- | ----- | ----- | -----
77 | FMI 20240416_031.gcd | 2024-04-17 18:50 | 125 | Unknown | 0 | 6.026 | 20191 | 0.047 | ----- | ----- | ----- | ----- | 77 | FMI 20240416_031.gcd | 2024-04-17 18:50 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI 20240416_031.gcd | 2024-04-17 18:50 | 125 | Unknown | 0 | 12.208 | 3887 | 0.818 | ----- | ----- | ----- | ----- | 1 |  | 77 | 54.095 | 830.0315 | 52.7429 | 739.0907 | 44.9056 | 699.3573 | 50.3783 | 919.8169 | 54.095 | 830.0315 | 77 | FMI 20240416_031.gcd | 2024-04-17 18:50 | 125 | Unknown | 0 | 2.856 | 1268101 | 0 | ----- | ----- | ----- | -----
78 | FMI 20240416_032.gcd | 2024-04-17 19:20 | 285 | Unknown | 0 | 6.004 | 23003 | 0.054 | ----- | ----- | ----- | ----- | 78 | FMI 20240416_032.gcd | 2024-04-17 19:20 | 285 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI 20240416_032.gcd | 2024-04-17 19:20 | 285 | Unknown | 0 | 12.177 | 5196 | 1.106 | ----- | ----- | ----- | ----- | 1 |  | 78 | 62.2119 | 1097.6655 | 60.1378 | 989.1782 | 51.4984 | 969.6242 | 58.7437 | 1233.79 | 62.2119 | 1097.6655 | 78 | FMI 20240416_032.gcd | 2024-04-17 19:20 | 285 | Unknown | 0 | 2.825 | 1425505 | 0 | ----- | ----- | ----- | -----