## serum CH4 CO2
Note on this run: All samples were initially sealed with electrical tape in the field, then crimped in the lab.
Most samples had a tiny air bubble or two before creating the headspace. Larger bubbles are noted below.
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI 20240423_001.gcd | 2024-04-23 10:48 | QC outside air | Unknown | 0 | 6.093 | 2052 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI 20240423_001.gcd | 2024-04-23 10:48 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI 20240423_001.gcd | 2024-04-23 10:48 | QC outside air | Unknown | 0 | 12.282 | 2274 | 0.463 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.4632 | 499.9608 | 0.88579 | 430.8467 | 0.52003 | 366.2038 | 5.216 | 530.7775 | 1.4632 | 499.9608 | 48 | FMI 20240423_001.gcd | 2024-04-23 10:48 | QC outside air | Unknown | 0 | 2.735 | 5240203 | 0 | ----- | ----- | ----- | -----
49 | FMI 20240423_002.gcd | 2024-04-23 11:19 | QC spiked air | Unknown | 0 | 6.04 | 871407 | 2.195 | ----- | ----- | ----- | ----- | 49 | FMI 20240423_002.gcd | 2024-04-23 11:19 | QC spiked air | Unknown | 0 | 5.994 | 7523 | 2.247 | ----- | ----- | ----- | ----- | 49 | FMI 20240423_002.gcd | 2024-04-23 11:19 | QC spiked air | Unknown | 0 | 12.249 | 7894 | 1.699 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2019.7172 | 1648.6435 | 2213.8613 | 1504.4616 | 2084.6365 | 1526.3995 | 1830.5057 | 1875.994 | 2019.7172 | 1648.6435 | 49 | FMI 20240423_002.gcd | 2024-04-23 11:19 | QC spiked air | Unknown | 0 | 2.744 | 4717625 | 0 | ----- | ----- | ----- | -----
50 | FMI 20240423_003.gcd | 2024-04-23 11:50 | QC reference tank | Unknown | 0 | 6.05 | 3750 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI 20240423_003.gcd | 2024-04-23 11:50 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI 20240423_003.gcd | 2024-04-23 11:50 | QC reference tank | Unknown | 0 | 12.233 | 1190 | 0.224 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.1913 | 277.9653 | 6.8063 | 223.647 | 3.3692 | 142.2369 | 2.445 | 267.9941 | 6.1913 | 277.9653 | 50 | FMI 20240423_003.gcd | 2024-04-23 11:50 | QC reference tank | Unknown | 0 | 2.706 | 5316791 | 0 | ----- | ----- | ----- | -----
51 | FMI 20240423_004.gcd | 2024-04-23 12:20 | 204 | Unknown | 0 | 6.023 | 83294 | 0.206 | ----- | ----- | ----- | ----- | 51 | FMI 20240423_004.gcd | 2024-04-23 12:20 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI 20240423_004.gcd | 2024-04-23 12:20 | 204 | Unknown | 0 | 12.152 | 71086 | 15.318 | ----- | ----- | ----- | ----- | 1 |  | 51 | 235.1446 | 13992.9129 | 218.2298 | 13505.6199 | 192.5455 | 14460.818 | 232.1026 | 15624.3255 | 235.1446 | 13992.9129 | 51 | FMI 20240423_004.gcd | 2024-04-23 12:20 | 204 | Unknown | 0 | 2.864 | 885841 | 0 | ----- | ----- | ----- | -----
52 | FMI 20240423_005.gcd | 2024-04-23 12:51 | 18 | Unknown | 0 | 6.028 | 19259 | 0.045 | ----- | ----- | ----- | ----- | 52 | FMI 20240423_005.gcd | 2024-04-23 12:51 | 18 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI 20240423_005.gcd | 2024-04-23 12:51 | 18 | Unknown | 0 | 12.23 | 6894 | 1.48 | ----- | ----- | ----- | ----- | 1 |  | 52 | 51.4037 | 1444.5279 | 50.2915 | 1313.502 | 42.7203 | 1320.0769 | 47.6002 | 1638.7388 | 51.4037 | 1444.5279 | 52 | FMI 20240423_005.gcd | 2024-04-23 12:51 | 18 | Unknown | 0 | 2.862 | 951030 | 0 | ----- | ----- | ----- | -----
53 | FMI 20240423_006.gcd | 2024-04-23 13:22 | 388 | Unknown | 0 | 6.045 | 76275 | 0.189 | ----- | ----- | ----- | ----- | 53 | FMI 20240423_006.gcd | 2024-04-23 13:22 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI 20240423_006.gcd | 2024-04-23 13:22 | 388 | Unknown | 0 | 12.176 | 68542 | 14.779 | ----- | ----- | ----- | ----- | 1 |  | 53 | 215.12 | 13476.6215 | 199.8701 | 13024.9828 | 176.1551 | 13944.0383 | 212.51 | 15008.705 | 215.12 | 13476.6215 | 53 | FMI 20240423_006.gcd | 2024-04-23 13:22 | 388 | Unknown | 0 | 2.879 | 1016096 | 0 | ----- | ----- | ----- | -----
54 | FMI 20240423_007.gcd | 2024-04-23 13:53 | 258 | Unknown | 0 | 6.034 | 4471 | 0.008 | ----- | ----- | ----- | ----- | 54 | FMI 20240423_007.gcd | 2024-04-23 13:53 | 258 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI 20240423_007.gcd | 2024-04-23 13:53 | 258 | Unknown | 0 | 12.159 | 54293 | 11.748 | ----- | ----- | ----- | ----- | 1 |  | 54 | 8.2986 | 10579.112 | 9.2192 | 10329.0335 | 4.8324 | 11043.437 | 2.2102 | 11550.8139 | 8.2986 | 10579.112 | 54 | FMI 20240423_007.gcd | 2024-04-23 13:53 | 258 | Unknown | 0 | 2.852 | 1068957 | 0 | ----- | ----- | ----- | -----
55 | FMI 20240423_008.gcd | 2024-04-23 14:23 | 188 | Unknown | 0 | 6.06 | 3806 | 0.006 | ----- | ----- | ----- | ----- | 55 | FMI 20240423_008.gcd | 2024-04-23 14:23 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI 20240423_008.gcd | 2024-04-23 14:23 | 188 | Unknown | 0 | 12.197 | 50627 | 10.964 | ----- | ----- | ----- | ----- | 1 |  | 55 | 6.3528 | 9832.059 | 6.9959 | 9634.3485 | 3.4774 | 10295.4908 | 2.4067 | 10658.4774 | 6.3528 | 9832.059 | 55 | FMI 20240423_008.gcd | 2024-04-23 14:23 | 188 | Unknown | 0 | 2.879 | 979462 | 0 | ----- | ----- | ----- | -----
56 | FMI 20240423_009.gcd | 2024-04-23 14:54 | 333 | Unknown | 0 | 6.048 | 19038 | 0.044 | ----- | ----- | ----- | ----- | 56 | FMI 20240423_009.gcd | 2024-04-23 14:54 | 333 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI 20240423_009.gcd | 2024-04-23 14:54 | 333 | Unknown | 0 | 12.262 | 5702 | 1.217 | ----- | ----- | ----- | ----- | 1 |  | 56 | 50.7655 | 1201.0657 | 49.7102 | 1085.8357 | 42.202 | 1074.0737 | 46.9411 | 1354.7389 | 50.7655 | 1201.0657 | 56 | FMI 20240423_009.gcd | 2024-04-23 14:54 | 333 | Unknown | 0 | 2.883 | 945607 | 0 | ----- | ----- | ----- | -----
57 | FMI 20240423_010.gcd | 2024-04-23 15:25 | 384 | Unknown | 0 | 6.052 | 3467 | 0.005 | ----- | ----- | ----- | ----- | 57 | FMI 20240423_010.gcd | 2024-04-23 15:25 | 384 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI 20240423_010.gcd | 2024-04-23 15:25 | 384 | Unknown | 0 | 12.184 | 46721 | 10.127 | ----- | ----- | ----- | ----- | 1 |  | 57 | 5.3804 | 9035.3884 | 5.8428 | 8893.704 | 2.8361 | 9497.8243 | 2.6906 | 9706.5131 | 5.3804 | 9035.3884 | 57 | FMI 20240423_010.gcd | 2024-04-23 15:25 | 384 | Unknown | 0 | 2.872 | 1120205 | 0 | ----- | ----- | ----- | -----
58 | FMI 20240423_011.gcd | 2024-04-23 15:56 | 397 | Unknown | 0 | 6.049 | 9174 | 0.02 | ----- | ----- | ----- | ----- | 58 | FMI 20240423_011.gcd | 2024-04-23 15:56 | 397 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI 20240423_011.gcd | 2024-04-23 15:56 | 397 | Unknown | 0 | 12.256 | 7082 | 1.521 | ----- | ----- | ----- | ----- | 2 | large air bubble | 58 | 23.5019 | 1482.9107 | 23.48 | 1349.4049 | 18.0832 | 1358.8695 | 14.4535 | 1683.4124 | 23.5019 | 1482.9107 | 58 | FMI 20240423_011.gcd | 2024-04-23 15:56 | 397 | Unknown | 0 | 2.832 | 2030782 | 0 | ----- | ----- | ----- | -----
59 | FMI 20240423_012.gcd | 2024-04-23 16:26 | 152 | Unknown | 0 | 6.056 | 4197 | 0.007 | ----- | ----- | ----- | ----- | 59 | FMI 20240423_012.gcd | 2024-04-23 16:26 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI 20240423_012.gcd | 2024-04-23 16:26 | 152 | Unknown | 0 | 12.197 | 51636 | 11.18 | ----- | ----- | ----- | ----- | 1 |  | 59 | 7.4908 | 10037.7362 | 8.3094 | 9825.5915 | 4.2585 | 10501.4178 | 2.2333 | 10904.1865 | 7.4908 | 10037.7362 | 59 | FMI 20240423_012.gcd | 2024-04-23 16:26 | 152 | Unknown | 0 | 2.876 | 1056459 | 0 | ----- | ----- | ----- | -----
60 | FMI 20240423_013.gcd | 2024-04-23 16:57 | 402 | Unknown | 0 | 6.049 | 23899 | 0.057 | ----- | ----- | ----- | ----- | 60 | FMI 20240423_013.gcd | 2024-04-23 16:57 | 402 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI 20240423_013.gcd | 2024-04-23 16:57 | 402 | Unknown | 0 | 12.252 | 6007 | 1.285 | ----- | ----- | ----- | ----- | 1 |  | 60 | 64.7972 | 1263.3772 | 62.4937 | 1144.0937 | 53.5989 | 1137.026 | 61.4039 | 1427.5301 | 64.7972 | 1263.3772 | 60 | FMI 20240423_013.gcd | 2024-04-23 16:57 | 402 | Unknown | 0 | 2.876 | 1116961 | 0 | ----- | ----- | ----- | -----
61 | FMI 20240423_014.gcd | 2024-04-23 17:28 | 224 | Unknown | 0 | 6.089 | 3012 | 0.004 | ----- | ----- | ----- | ----- | 61 | FMI 20240423_014.gcd | 2024-04-23 17:28 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI 20240423_014.gcd | 2024-04-23 17:28 | 224 | Unknown | 0 | 12.221 | 53604 | 11.6 | ----- | ----- | ----- | ----- | 1 |  | 61 | 4.0958 | 10438.7577 | 4.2741 | 10198.5055 | 2.0279 | 10902.9179 | 3.2668 | 11383.1892 | 4.0958 | 10438.7577 | 61 | FMI 20240423_014.gcd | 2024-04-23 17:28 | 224 | Unknown | 0 | 2.897 | 1265334 | 0 | ----- | ----- | ----- | -----
62 | FMI 20240423_015.gcd | 2024-04-23 17:59 | 69 | Unknown | 0 | 6.033 | 3828 | 0.006 | ----- | ----- | ----- | ----- | 62 | FMI 20240423_015.gcd | 2024-04-23 17:59 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI 20240423_015.gcd | 2024-04-23 17:59 | 69 | Unknown | 0 | 12.173 | 48436 | 10.494 | ----- | ----- | ----- | ----- | 1 |  | 62 | 6.4164 | 9385.2713 | 7.0703 | 9218.9585 | 3.5202 | 9848.1501 | 2.3925 | 10124.6439 | 6.4164 | 9385.2713 | 62 | FMI 20240423_015.gcd | 2024-04-23 17:59 | 69 | Unknown | 0 | 2.85 | 1111830 | 0 | ----- | ----- | ----- | -----
63 | FMI 20240423_016.gcd | 2024-04-23 18:29 | 359 | Unknown | 0 | 6.048 | 21951 | 0.052 | ----- | ----- | ----- | ----- | 63 | FMI 20240423_016.gcd | 2024-04-23 18:29 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI 20240423_016.gcd | 2024-04-23 18:29 | 359 | Unknown | 0 | 12.25 | 5699 | 1.217 | ----- | ----- | ----- | ----- | 1 |  | 63 | 59.1758 | 1200.4528 | 57.3715 | 1085.2627 | 49.0321 | 1073.4544 | 55.617 | 1354.0225 | 59.1758 | 1200.4528 | 63 | FMI 20240423_016.gcd | 2024-04-23 18:29 | 359 | Unknown | 0 | 2.869 | 1234318 | 0 | ----- | ----- | ----- | -----
64 | FMI 20240423_017.gcd | 2024-04-23 19:00 | 112 | Unknown | 0 | 6.056 | 4983 | 0.009 | ----- | ----- | ----- | ----- | 64 | FMI 20240423_017.gcd | 2024-04-23 19:00 | 112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI 20240423_017.gcd | 2024-04-23 19:00 | 112 | Unknown | 0 | 12.242 | 12731 | 2.76 | ----- | ----- | ----- | ----- | 1 |  | 64 | 9.8311 | 2634.2627 | 10.8961 | 2427.6738 | 5.9631 | 2523.6615 | 2.3844 | 3010.7201 | 9.8311 | 2634.2627 | 64 | FMI 20240423_017.gcd | 2024-04-23 19:00 | 112 | Unknown | 0 | 2.876 | 1123350 | 0 | ----- | ----- | ----- | -----
65 | FMI 20240423_018.gcd | 2024-04-23 19:31 | 86 | Unknown | 0 | 6.045 | 20752 | 0.049 | ----- | ----- | ----- | ----- | 65 | FMI 20240423_018.gcd | 2024-04-23 19:31 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI 20240423_018.gcd | 2024-04-23 19:31 | 86 | Unknown | 0 | 12.252 | 5661 | 1.209 | ----- | ----- | ----- | ----- | 2 | large air bubble | 65 | 55.7147 | 1192.6886 | 54.2184 | 1078.0041 | 46.221 | 1065.6109 | 52.0492 | 1344.9474 | 55.7147 | 1192.6886 | 65 | FMI 20240423_018.gcd | 2024-04-23 19:31 | 86 | Unknown | 0 | 2.834 | 1947627 | 0 | ----- | ----- | ----- | -----
66 | FMI 20240423_019.gcd | 2024-04-23 20:02 | 167 | Unknown | 0 | 6.055 | 3414 | 0.005 | ----- | ----- | ----- | ----- | 66 | FMI 20240423_019.gcd | 2024-04-23 20:02 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI 20240423_019.gcd | 2024-04-23 20:02 | 167 | Unknown | 0 | 12.197 | 52396 | 11.342 | ----- | ----- | ----- | ----- | 1 |  | 66 | 5.2295 | 10192.6243 | 5.6613 | 9969.618 | 2.7389 | 10656.4921 | 2.7462 | 11089.2048 | 5.2295 | 10192.6243 | 66 | FMI 20240423_019.gcd | 2024-04-23 20:02 | 167 | Unknown | 0 | 2.876 | 1096076 | 0 | ----- | ----- | ----- | -----
67 | FMI 20240423_020.gcd | 2024-04-23 20:32 | 106 | Unknown | 0 | 6.048 | 2299 | 0.002 | ----- | ----- | ----- | ----- | 67 | FMI 20240423_020.gcd | 2024-04-23 20:32 | 106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI 20240423_020.gcd | 2024-04-23 20:32 | 106 | Unknown | 0 | 12.197 | 49152 | 10.648 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.1305 | 9531.3031 | 1.7678 | 9354.7216 | 0.8824 | 9994.3641 | 4.6194 | 10299.1393 | 2.1305 | 9531.3031 | 67 | FMI 20240423_020.gcd | 2024-04-23 20:32 | 106 | Unknown | 0 | 2.872 | 1124105 | 0 | ----- | ----- | ----- | -----