## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240806_001.gcd | 2024-08-06 13:51 | QC outside air- old | Unknown | 0 | 6.069 | 2401 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20240806_001.gcd | 2024-08-06 13:51 | QC outside air- old | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240806_001.gcd | 2024-08-06 13:51 | QC outside air- old | Unknown | 0 | 12.244 | 2144 | 0.434 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.4081 | 473.3451 | 2.13 | 406.0001 | 1.0372 | 339.3475 | 4.3922 | 499.3194 | 2.4081 | 473.3451 | 48 | FMI20240806_001.gcd | 2024-08-06 13:51 | QC outside air- old | Unknown | 0 | 2.703 | 5161202 | 0 | ----- | ----- | ----- | -----
49 | FMI20240806_002.gcd | 2024-08-06 14:22 | QC spiked air- old | Unknown | 0 | 6.004 | 1099685 | 2.772 | ----- | ----- | ----- | ----- | 49 | FMI20240806_002.gcd | 2024-08-06 14:22 | QC spiked air- old | Unknown | 0 | 5.949 | 8350 | 2.49 | ----- | ----- | ----- | ----- | 49 | FMI20240806_002.gcd | 2024-08-06 14:22 | QC spiked air- old | Unknown | 0 | 12.204 | 8472 | 1.826 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2506.1273 | 1766.5679 | 2425.6407 | 1614.8213 | 2288.7338 | 1645.6307 | 2264.9958 | 2012.7115 | 2506.1273 | 1766.5679 | 49 | FMI20240806_002.gcd | 2024-08-06 14:22 | QC spiked air- old | Unknown | 0 | 2.708 | 5212714 | 0 | ----- | ----- | ----- | -----
50 | FMI20240806_003.gcd | 2024-08-06 14:52 | QC reference tank- old | Unknown | 0 | 6.029 | 4007 | 0.007 | ----- | ----- | ----- | ----- | 50 | FMI20240806_003.gcd | 2024-08-06 14:52 | QC reference tank- old | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240806_003.gcd | 2024-08-06 14:52 | QC reference tank- old | Unknown | 0 | 12.192 | 1694 | 0.335 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.9356 | 381.1984 | 7.6733 | 319.9881 | 3.8734 | 246.3766 | 2.2969 | 390.3072 | 6.9356 | 381.1984 | 50 | FMI20240806_003.gcd | 2024-08-06 14:52 | QC reference tank- old | Unknown | 0 | 2.704 | 5256272 | 0 | ----- | ----- | ----- | -----
51 | FMI20240806_004.gcd | 2024-08-06 15:23 | QC outside air- new | Unknown | 0 | 6.05 | 2593 | 0.003 | ----- | ----- | ----- | ----- | 51 | FMI20240806_004.gcd | 2024-08-06 15:23 | QC outside air- new | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240806_004.gcd | 2024-08-06 15:23 | QC outside air- new | Unknown | 0 | 12.217 | 2047 | 0.413 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.9338 | 453.4844 | 2.8084 | 387.4603 | 1.3368 | 319.308 | 3.9951 | 475.8368 | 2.9338 | 453.4844 | 51 | FMI20240806_004.gcd | 2024-08-06 15:23 | QC outside air- new | Unknown | 0 | 2.706 | 5125312 | 0 | ----- | ----- | ----- | -----
52 | FMI20240806_005.gcd | 2024-08-06 15:53 | QC spiked air- new | Unknown | 0 | 6.001 | 1200695 | 3.028 | ----- | ----- | ----- | ----- | 52 | FMI20240806_005.gcd | 2024-08-06 15:53 | QC spiked air- new | Unknown | 0 | 5.954 | 10615 | 3.154 | ----- | ----- | ----- | ----- | 52 | FMI20240806_005.gcd | 2024-08-06 15:53 | QC spiked air- new | Unknown | 0 | 12.188 | 11105 | 2.404 | ----- | ----- | ----- | ----- | 1 |  | 52 | 2721.151 | 2303.2504 | 3005.5245 | 2117.4128 | 2847.5828 | 2188.5563 | 2456.6333 | 2631.6533 | 2721.151 | 2303.2504 | 52 | FMI20240806_005.gcd | 2024-08-06 15:53 | QC spiked air- new | Unknown | 0 | 2.703 | 5312117 | 0 | ----- | ----- | ----- | -----
53 | FMI20240806_006.gcd | 2024-08-06 16:24 | QC reference tank- new | Unknown | 0 | 6.029 | 3931 | 0.006 | ----- | ----- | ----- | ----- | 53 | FMI20240806_006.gcd | 2024-08-06 16:24 | QC reference tank- new | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240806_006.gcd | 2024-08-06 16:24 | QC reference tank- new | Unknown | 0 | 12.19 | 1915 | 0.384 | ----- | ----- | ----- | ----- | 1 |  | 53 | 6.7147 | 426.4557 | 7.4177 | 362.2304 | 3.7223 | 292.0369 | 2.3333 | 443.8674 | 6.7147 | 426.4557 | 53 | FMI20240806_006.gcd | 2024-08-06 16:24 | QC reference tank- new | Unknown | 0 | 2.699 | 5394727 | 0 | ----- | ----- | ----- | -----
54 | FMI20240806_007.gcd | 2024-08-06 16:55 | check 3 | Unknown | 0 | 6.033 | 4367 | 0.008 | ----- | ----- | ----- | ----- | 54 | FMI20240806_007.gcd | 2024-08-06 16:55 | check 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240806_007.gcd | 2024-08-06 16:55 | check 3 | Unknown | 0 | 12.205 | 1856 | 0.371 | ----- | ----- | ----- | ----- | 1 |  | 54 | 7.991 | 414.374 | 8.8749 | 350.9532 | 4.612 | 279.8473 | 2.2094 | 429.5729 | 7.991 | 414.374 | 54 | FMI20240806_007.gcd | 2024-08-06 16:55 | check 3 | Unknown | 0 | 2.711 | 5240576 | 0 | ----- | ----- | ----- | -----
55 | FMI20240806_008.gcd | 2024-08-06 17:25 | check 3 | Unknown | 0 | 6.024 | 4609 | 0.008 | ----- | ----- | ----- | ----- | 55 | FMI20240806_008.gcd | 2024-08-06 17:25 | check 3 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240806_008.gcd | 2024-08-06 17:25 | check 3 | Unknown | 0 | 12.19 | 1953 | 0.392 | ----- | ----- | ----- | ----- | 1 |  | 55 | 8.7087 | 434.2369 | 9.6742 | 369.4936 | 5.1296 | 299.8878 | 2.2293 | 453.0723 | 8.7087 | 434.2369 | 55 | FMI20240806_008.gcd | 2024-08-06 17:25 | check 3 | Unknown | 0 | 2.698 | 5399211 | 0 | ----- | ----- | ----- | -----
56 | FMI20240806_009.gcd | 2024-08-06 17:56 | check 8 | Unknown | 0 | 6.005 | 70200 | 0.173 | ----- | ----- | ----- | ----- | 56 | FMI20240806_009.gcd | 2024-08-06 17:56 | check 8 | Unknown | 0 | 5.941 | 718 | 0.247 | ----- | ----- | ----- | ----- | 56 | FMI20240806_009.gcd | 2024-08-06 17:56 | check 8 | Unknown | 0 | 12.201 | 2935 | 0.609 | ----- | ----- | ----- | ----- | 1 |  | 56 | 197.7656 | 635.2599 | 183.9701 | 557.1739 | 161.9627 | 502.7447 | 195.4271 | 690.4911 | 197.7656 | 635.2599 | 56 | FMI20240806_009.gcd | 2024-08-06 17:56 | check 8 | Unknown | 0 | 2.709 | 5200591 | 0 | ----- | ----- | ----- | -----
57 | FMI20240806_010.gcd | 2024-08-06 18:26 | check 8 | Unknown | 0 | 6.002 | 71183 | 0.176 | ----- | ----- | ----- | ----- | 57 | FMI20240806_010.gcd | 2024-08-06 18:26 | check 8 | Unknown | 0 | 5.957 | 329 | 0.132 | ----- | ----- | ----- | ----- | 57 | FMI20240806_010.gcd | 2024-08-06 18:26 | check 8 | Unknown | 0 | 12.188 | 3070 | 0.638 | ----- | ----- | ----- | ----- | 1 |  | 57 | 200.5752 | 662.8864 | 186.5435 | 582.9728 | 164.2596 | 530.6285 | 198.1992 | 723.0613 | 200.5752 | 662.8864 | 57 | FMI20240806_010.gcd | 2024-08-06 18:26 | check 8 | Unknown | 0 | 2.699 | 5329583 | 0 | ----- | ----- | ----- | -----
58 | FMI20240806_011.gcd | 2024-08-06 18:57 | check 13 | Unknown | 0 | 5.993 | 2237783 | 5.661 | ----- | ----- | ----- | ----- | 58 | FMI20240806_011.gcd | 2024-08-06 18:57 | check 13 | Unknown | 0 | 5.946 | 16679 | 4.927 | ----- | ----- | ----- | ----- | 58 | FMI20240806_011.gcd | 2024-08-06 18:57 | check 13 | Unknown | 0 | 12.177 | 18715 | 4.068 | ----- | ----- | ----- | ----- | 1 |  | 58 | 4921.5214 | 3849.73 | 4557.0123 | 3568.7549 | 4342.7896 | 3755.7521 | 4402.2563 | 4384.9904 | 4921.5214 | 3849.73 | 58 | FMI20240806_011.gcd | 2024-08-06 18:57 | check 13 | Unknown | 0 | 2.704 | 5154388 | 0 | ----- | ----- | ----- | -----
59 | FMI20240806_012.gcd | 2024-08-06 19:27 | check 13 | Unknown | 0 | 5.993 | 2355915 | 5.961 | ----- | ----- | ----- | ----- | 59 | FMI20240806_012.gcd | 2024-08-06 19:27 | check 13 | Unknown | 0 | 5.945 | 18991 | 5.602 | ----- | ----- | ----- | ----- | 59 | FMI20240806_012.gcd | 2024-08-06 19:27 | check 13 | Unknown | 0 | 12.17 | 19097 | 4.151 | ----- | ----- | ----- | ----- | 1 |  | 59 | 5171.3138 | 3927.1762 | 5148.154 | 3641.5585 | 4912.4865 | 3834.3429 | 4621.3389 | 4471.6104 | 5171.3138 | 3927.1762 | 59 | FMI20240806_012.gcd | 2024-08-06 19:27 | check 13 | Unknown | 0 | 2.701 | 5299989 | 0 | ----- | ----- | ----- | -----
60 | FMI20240806_013.gcd | 2024-08-06 19:58 | check 17 | Unknown | 0 | 5.971 | 13671851 | 35.597 | ----- | ----- | ----- | ----- | 60 | FMI20240806_013.gcd | 2024-08-06 19:58 | check 17 | Unknown | 0 | 5.923 | 99052 | 28.475 | ----- | ----- | ----- | ----- | 60 | FMI20240806_013.gcd | 2024-08-06 19:58 | check 17 | Unknown | 0 | 12.092 | 92068 | 19.732 | ----- | ----- | ----- | ----- | 1 |  | 60 | 26433.6589 | 18239.2377 | 25486.12 | 17461.7154 | 24512.4062 | 18710.4349 | 24178.612 | 20681.5541 | 26433.6589 | 18239.2377 | 60 | FMI20240806_013.gcd | 2024-08-06 19:58 | check 17 | Unknown | 0 | 2.71 | 5019840 | 0 | ----- | ----- | ----- | -----
61 | FMI20240806_014.gcd | 2024-08-06 20:28 | check 17 | Unknown | 0 | 5.969 | 13799906 | 35.942 | ----- | ----- | ----- | ----- | 61 | FMI20240806_014.gcd | 2024-08-06 20:28 | check 17 | Unknown | 0 | 5.921 | 100279 | 28.818 | ----- | ----- | ----- | ----- | 61 | FMI20240806_014.gcd | 2024-08-06 20:28 | check 17 | Unknown | 0 | 12.092 | 92582 | 19.839 | ----- | ----- | ----- | ----- | 1 |  | 61 | 26766.0787 | 18342.9952 | 25795.8141 | 17558.449 | 24810.858 | 18814.2566 | 24488.4459 | 20804.99 | 26766.0787 | 18342.9952 | 61 | FMI20240806_014.gcd | 2024-08-06 20:28 | check 17 | Unknown | 0 | 2.71 | 5043558 | 0 | ----- | ----- | ----- | -----
62 | FMI20240806_015.gcd | 2024-08-06 20:59 | 307 | Unknown | 0 | 5.992 | 140991 | 0.352 | ----- | ----- | ----- | ----- | 62 | FMI20240806_015.gcd | 2024-08-06 20:59 | 307 | Unknown | 0 | 5.956 | 1608 | 0.509 | ----- | ----- | ----- | ----- | 62 | FMI20240806_015.gcd | 2024-08-06 20:59 | 307 | Unknown | 0 | 12.071 | 88457 | 18.976 | ----- | ----- | ----- | ----- | 1 |  | 62 | 398.671 | 17509.953 | 368.6969 | 16781.8917 | 326.9759 | 17980.6771 | 387.2673 | 19813.7711 | 398.671 | 17509.953 | 62 | FMI20240806_015.gcd | 2024-08-06 20:59 | 307 | Unknown | 0 | 2.854 | 790059 | 0 | ----- | ----- | ----- | -----
63 | FMI20240806_016.gcd | 2024-08-06 21:30 | 102 | Unknown | 0 | 6.047 | 2309 | 0.002 | ----- | ----- | ----- | ----- | 63 | FMI20240806_016.gcd | 2024-08-06 21:30 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20240806_016.gcd | 2024-08-06 21:30 | 102 | Unknown | 0 | 12.022 | 147477 | 31.148 | ----- | ----- | ----- | ----- | 1 |  | 63 | 2.1576 | 29351.1654 | 1.8033 | 27840.0981 | 0.89745 | 29824.7495 | 4.5966 | 33863.4998 | 2.1576 | 29351.1654 | 63 | FMI20240806_016.gcd | 2024-08-06 21:30 | 102 | Unknown | 0 | 2.855 | 914288 | 0 | ----- | ----- | ----- | -----
64 | FMI20240806_017.gcd | 2024-08-06 22:00 | 49 | Unknown | 0 | 6.039 | 2215 | 0.002 | ----- | ----- | ----- | ----- | 64 | FMI20240806_017.gcd | 2024-08-06 22:00 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240806_017.gcd | 2024-08-06 22:00 | 49 | Unknown | 0 | 11.988 | 172281 | 36.152 | ----- | ----- | ----- | ----- | 1 |  | 64 | 1.9027 | 34277.642 | 1.4686 | 32453.6603 | 0.75718 | 34749.3301 | 4.8149 | 39683.0613 | 1.9027 | 34277.642 | 64 | FMI20240806_017.gcd | 2024-08-06 22:00 | 49 | Unknown | 0 | 2.844 | 979408 | 0 | ----- | ----- | ----- | -----
65 | FMI20240806_018.gcd | 2024-08-06 22:31 | 153 | Unknown | 0 | 5.998 | 130464 | 0.325 | ----- | ----- | ----- | ----- | 65 | FMI20240806_018.gcd | 2024-08-06 22:31 | 153 | Unknown | 0 | 5.952 | 1374 | 0.44 | ----- | ----- | ----- | ----- | 65 | FMI20240806_018.gcd | 2024-08-06 22:31 | 153 | Unknown | 0 | 12.077 | 83517 | 17.939 | ----- | ----- | ----- | ----- | 1 |  | 65 | 368.9785 | 16511.2457 | 341.3037 | 15851.1774 | 302.4886 | 16981.2596 | 359.7401 | 18624.8797 | 368.9785 | 16511.2457 | 65 | FMI20240806_018.gcd | 2024-08-06 22:31 | 153 | Unknown | 0 | 2.86 | 805851 | 0 | ----- | ----- | ----- | -----
66 | FMI20240806_019.gcd | 2024-08-06 23:01 | 318 | Unknown | 0 | 5.995 | 22541 | 0.053 | ----- | ----- | ----- | ----- | 66 | FMI20240806_019.gcd | 2024-08-06 23:01 | 318 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20240806_019.gcd | 2024-08-06 23:01 | 318 | Unknown | 0 | 12.163 | 1154 | 0.216 | ----- | ----- | ----- | ----- | 1 |  | 66 | 60.8786 | 270.5904 | 58.923 | 216.7651 | 50.4153 | 134.7978 | 57.371 | 259.2486 | 60.8786 | 270.5904 | 66 | FMI20240806_019.gcd | 2024-08-06 23:01 | 318 | Unknown | 0 | 2.852 | 828023 | 0 | ----- | ----- | ----- | -----
67 | FMI20240806_020.gcd | 2024-08-06 23:32 | 381 | Unknown | 0 | 6.04 | 2547 | 0.003 | ----- | ----- | ----- | ----- | 67 | FMI20240806_020.gcd | 2024-08-06 23:32 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240806_020.gcd | 2024-08-06 23:32 | 381 | Unknown | 0 | 12.016 | 140645 | 29.758 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.8075 | 27989.0257 | 2.6462 | 26565.8267 | 1.2641 | 28462.81 | 4.0866 | 32251.7229 | 2.8075 | 27989.0257 | 67 | FMI20240806_020.gcd | 2024-08-06 23:32 | 381 | Unknown | 0 | 2.847 | 914035 | 0 | ----- | ----- | ----- | -----
68 | FMI20240806_021.gcd | 2024-08-07 00:02 | 77 | Unknown | 0 | 5.993 | 27989 | 0.067 | ----- | ----- | ----- | ----- | 68 | FMI20240806_021.gcd | 2024-08-07 00:02 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20240806_021.gcd | 2024-08-07 00:02 | 77 | Unknown | 0 | 12.074 | 75154 | 16.178 | ----- | ----- | ----- | ----- | 1 |  | 68 | 76.5929 | 14817.8458 | 73.2452 | 14273.7483 | 63.1851 | 15286.4917 | 73.5151 | 16607.6375 | 76.5929 | 14817.8458 | 68 | FMI20240806_021.gcd | 2024-08-07 00:02 | 77 | Unknown | 0 | 2.85 | 818354 | 0 | ----- | ----- | ----- | -----
69 | FMI20240806_022.gcd | 2024-08-07 00:33 | 196 | Unknown | 0 | 5.989 | 362043 | 0.909 | ----- | ----- | ----- | ----- | 69 | FMI20240806_022.gcd | 2024-08-07 00:33 | 196 | Unknown | 0 | 5.94 | 3746 | 1.138 | ----- | ----- | ----- | ----- | 69 | FMI20240806_022.gcd | 2024-08-07 00:33 | 196 | Unknown | 0 | 12.12 | 32081 | 6.972 | ----- | ----- | ----- | ----- | 1 |  | 69 | 932.0455 | 6549.1594 | 937.7252 | 6113.2946 | 837.0502 | 6501.1778 | 854.0254 | 7336.6302 | 932.0455 | 6549.1594 | 69 | FMI20240806_022.gcd | 2024-08-07 00:33 | 196 | Unknown | 0 | 2.845 | 917669 | 0 | ----- | ----- | ----- | -----
70 | FMI20240806_023.gcd | 2024-08-07 01:03 | 148 | Unknown | 0 | 6.038 | 1966 | 0.002 | ----- | ----- | ----- | ----- | 70 | FMI20240806_023.gcd | 2024-08-07 01:03 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240806_023.gcd | 2024-08-07 01:03 | 148 | Unknown | 0 | 11.997 | 165282 | 34.746 | ----- | ----- | ----- | ----- | 1 |  | 70 | 1.2325 | 32890.5217 | 0.57703 | 31153.8675 | 0.39802 | 33362.9305 | 5.4392 | 38046.0395 | 1.2325 | 32890.5217 | 70 | FMI20240806_023.gcd | 2024-08-07 01:03 | 148 | Unknown | 0 | 2.849 | 967958 | 0 | ----- | ----- | ----- | -----
71 | FMI20240806_024.gcd | 2024-08-07 01:34 | 359 | Unknown | 0 | 6.023 | 2579 | 0.003 | ----- | ----- | ----- | ----- | 71 | FMI20240806_024.gcd | 2024-08-07 01:34 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20240806_024.gcd | 2024-08-07 01:34 | 359 | Unknown | 0 | 12.031 | 131163 | 27.822 | ----- | ----- | ----- | ----- | 1 |  | 71 | 2.8953 | 26094.8212 | 2.7591 | 24794.7749 | 1.3146 | 26568.6528 | 4.0227 | 30008.4424 | 2.8953 | 26094.8212 | 71 | FMI20240806_024.gcd | 2024-08-07 01:34 | 359 | Unknown | 0 | 2.854 | 883698 | 0 | ----- | ----- | ----- | -----
72 | FMI20240806_025.gcd | 2024-08-07 02:04 | 416 | Unknown | 0 | 6.038 | 2033 | 0.002 | ----- | ----- | ----- | ----- | 72 | FMI20240806_025.gcd | 2024-08-07 02:04 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20240806_025.gcd | 2024-08-07 02:04 | 416 | Unknown | 0 | 11.994 | 153184 | 32.305 | ----- | ----- | ----- | ----- | 1 |  | 72 | 1.4121 | 30487.2871 | 0.81765 | 28903.3764 | 0.49289 | 30960.5974 | 5.2646 | 35206.9445 | 1.4121 | 30487.2871 | 72 | FMI20240806_025.gcd | 2024-08-07 02:04 | 416 | Unknown | 0 | 2.844 | 902960 | 0 | ----- | ----- | ----- | -----
73 | FMI20240806_026.gcd | 2024-08-07 02:35 | 50 | Unknown | 0 | 5.992 | 21462 | 0.051 | ----- | ----- | ----- | ----- | 73 | FMI20240806_026.gcd | 2024-08-07 02:35 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20240806_026.gcd | 2024-08-07 02:35 | 50 | Unknown | 0 | 12.154 | 464 | 0.064 | ----- | ----- | ----- | ----- | 1 |  | 73 | 57.7643 | 129.2071 | 56.0856 | 84.8553 | 47.8857 | -7.7967 | 54.1625 | 91.3978 | 57.7643 | 129.2071 | 73 | FMI20240806_026.gcd | 2024-08-07 02:35 | 50 | Unknown | 0 | 2.847 | 866957 | 0 | ----- | ----- | ----- | -----
74 | FMI20240806_027.gcd | 2024-08-07 03:06 | 140 | Unknown | 0 | 5.971 | 5423353 | 13.829 | ----- | ----- | ----- | ----- | 74 | FMI20240806_027.gcd | 2024-08-07 03:06 | 140 | Unknown | 0 | 5.924 | 39523 | 11.558 | ----- | ----- | ----- | ----- | 74 | FMI20240806_027.gcd | 2024-08-07 03:06 | 140 | Unknown | 0 | 12.076 | 67217 | 14.499 | ----- | ----- | ----- | ----- | 1 |  | 74 | 11596.8864 | 13207.5966 | 10388.4465 | 12774.5677 | 9962.6604 | 13674.7513 | 10128.3275 | 14687.8596 | 11596.8864 | 13207.5966 | 74 | FMI20240806_027.gcd | 2024-08-07 03:06 | 140 | Unknown | 0 | 2.854 | 669384 | 0 | ----- | ----- | ----- | -----
75 | FMI20240806_028.gcd | 2024-08-07 03:36 | 113 | Unknown | 0 | 5.904 | 33745958 | 93.001 | ----- | ----- | ----- | ----- | 75 | FMI20240806_028.gcd | 2024-08-07 03:36 | 113 | Unknown | 0 | 5.857 | 250764 | 69.484 | ----- | ----- | ----- | ----- | 75 | FMI20240806_028.gcd | 2024-08-07 03:36 | 113 | Unknown | 0 | 12.068 | 75235 | 16.195 | ----- | ----- | ----- | ----- | 1 |  | 75 | 66827.8443 | 14834.2634 | 63319.9361 | 14289.0374 | 60971.9199 | 15302.9235 | 62031.3143 | 16627.203 | 66827.8443 | 14834.2634 | 75 | FMI20240806_028.gcd | 2024-08-07 03:36 | 113 | Unknown | 0 | 2.855 | 629391 | 0 | ----- | ----- | ----- | -----
76 | FMI20240806_029.gcd | 2024-08-07 04:07 | 175 | Unknown | 0 | 5.901 | 33590747 | 92.528 | ----- | ----- | ----- | ----- | 76 | FMI20240806_029.gcd | 2024-08-07 04:07 | 175 | Unknown | 0 | 5.855 | 257298 | 71.188 | ----- | ----- | ----- | ----- | 76 | FMI20240806_029.gcd | 2024-08-07 04:07 | 175 | Unknown | 0 | 12.054 | 81860 | 17.591 | ----- | ----- | ----- | ----- | 1 |  | 76 | 68535.5057 | 16175.9915 | 64928.6278 | 15538.8148 | 62522.136 | 16645.751 | 63640.8918 | 18225.6487 | 68535.5057 | 16175.9915 | 76 | FMI20240806_029.gcd | 2024-08-07 04:07 | 175 | Unknown | 0 | 2.852 | 673431 | 0 | ----- | ----- | ----- | -----
77 | FMI20240806_030.gcd | 2024-08-07 04:37 | 82 | Unknown | 0 | 5.988 | 58926 | 0.145 | ----- | ----- | ----- | ----- | 77 | FMI20240806_030.gcd | 2024-08-07 04:37 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20240806_030.gcd | 2024-08-07 04:37 | 82 | Unknown | 0 | 12.137 | 11613 | 2.515 | ----- | ----- | ----- | ----- | 1 |  | 77 | 165.5027 | 2406.7003 | 154.4391 | 2214.3547 | 135.6086 | 2293.2654 | 163.416 | 2750.3415 | 165.5027 | 2406.7003 | 77 | FMI20240806_030.gcd | 2024-08-07 04:37 | 82 | Unknown | 0 | 2.848 | 822301 | 0 | ----- | ----- | ----- | -----
78 | FMI20240806_031.gcd | 2024-08-07 05:08 | 182 | Unknown | 0 | 5.999 | 10078 | 0.022 | ----- | ----- | ----- | ----- | 78 | FMI20240806_031.gcd | 2024-08-07 05:08 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20240806_031.gcd | 2024-08-07 05:08 | 182 | Unknown | 0 | 12.136 | 17913 | 3.892 | ----- | ----- | ----- | ----- | 1 |  | 78 | 24.8658 | 3687.0766 | 26.1322 | 3415.8902 | 21.185 | 3590.7284 | 20.0872 | 4202.7007 | 24.8658 | 3687.0766 | 78 | FMI20240806_031.gcd | 2024-08-07 05:08 | 182 | Unknown | 0 | 2.848 | 861789 | 0 | ----- | ----- | ----- | -----
79 | FMI20240806_032.gcd | 2024-08-07 05:38 | 243 | Unknown | 0 | 5.991 | 16479 | 0.038 | ----- | ----- | ----- | ----- | 79 | FMI20240806_032.gcd | 2024-08-07 05:38 | 243 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | FMI20240806_032.gcd | 2024-08-07 05:38 | 243 | Unknown | 0 | 12.141 | 6661 | 1.428 | ----- | ----- | ----- | ----- | 1 |  | 79 | 43.3732 | 1396.9517 | 42.9782 | 1269.0038 | 36.2008 | 1271.9964 | 39.2974 | 1583.3273 | 43.3732 | 1396.9517 | 79 | FMI20240806_032.gcd | 2024-08-07 05:38 | 243 | Unknown | 0 | 2.846 | 869148 | 0 | ----- | ----- | ----- | -----
80 | FMI20240806_033.gcd | 2024-08-07 06:09 | 194 | Unknown | 0 | 5.988 | 52178 | 0.128 | ----- | ----- | ----- | ----- | 80 | FMI20240806_033.gcd | 2024-08-07 06:09 | 194 | Unknown | 0 | 5.958 | 600 | 0.212 | ----- | ----- | ----- | ----- | 80 | FMI20240806_033.gcd | 2024-08-07 06:09 | 194 | Unknown | 0 | 12.143 | 9894 | 2.138 | ----- | ----- | ----- | ----- | 1 |  | 80 | 146.1568 | 2056.5161 | 136.7488 | 1886.2831 | 119.8247 | 1938.8916 | 144.0642 | 2347.7678 | 146.1568 | 2056.5161 | 80 | FMI20240806_033.gcd | 2024-08-07 06:09 | 194 | Unknown | 0 | 2.846 | 857770 | 0 | ----- | ----- | ----- | -----
81 | FMI20240806_034.gcd | 2024-08-07 06:39 | 322 | Unknown | 0 | 5.972 | 4450475 | 11.321 | ----- | ----- | ----- | ----- | 81 | FMI20240806_034.gcd | 2024-08-07 06:39 | 322 | Unknown | 0 | 5.923 | 32945 | 9.656 | ----- | ----- | ----- | ----- | 81 | FMI20240806_034.gcd | 2024-08-07 06:39 | 322 | Unknown | 0 | 12.082 | 60432 | 13.057 | ----- | ----- | ----- | ----- | 1 |  | 81 | 9571.5662 | 11828.6634 | 8711.4146 | 11491.3584 | 8346.475 | 12294.3947 | 8419.6164 | 13042.6385 | 9571.5662 | 11828.6634 | 81 | FMI20240806_034.gcd | 2024-08-07 06:39 | 322 | Unknown | 0 | 2.853 | 677125 | 0 | ----- | ----- | ----- | -----
82 | FMI20240806_035.gcd | 2024-08-07 07:10 | 362 | Unknown | 0 | 5.992 | 11371 | 0.025 | ----- | ----- | ----- | ----- | 82 | FMI20240806_035.gcd | 2024-08-07 07:10 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | FMI20240806_035.gcd | 2024-08-07 07:10 | 362 | Unknown | 0 | 12.129 | 17484 | 3.799 | ----- | ----- | ----- | ----- | 1 |  | 82 | 28.6062 | 3600.0397 | 29.5359 | 3334.1123 | 24.2187 | 3502.4416 | 23.978 | 4104.9507 | 28.6062 | 3600.0397 | 82 | FMI20240806_035.gcd | 2024-08-07 07:10 | 362 | Unknown | 0 | 2.847 | 816113 | 0 | ----- | ----- | ----- | -----
83 | FMI20240806_036.gcd | 2024-08-07 07:41 | 302 | Unknown | 0 | 5.992 | 23979 | 0.057 | ----- | ----- | ----- | ----- | 83 | FMI20240806_036.gcd | 2024-08-07 07:41 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | FMI20240806_036.gcd | 2024-08-07 07:41 | 302 | Unknown | 0 | 12.154 | 5222 | 1.112 | ----- | ----- | ----- | ----- | 1 |  | 83 | 65.0281 | 1102.9793 | 62.704 | 994.145 | 53.7864 | 974.9915 | 61.6413 | 1240.0105 | 65.0281 | 1102.9793 | 83 | FMI20240806_036.gcd | 2024-08-07 07:41 | 302 | Unknown | 0 | 2.852 | 807325 | 0 | ----- | ----- | ----- | -----
84 | FMI20240806_037.gcd | 2024-08-07 08:11 | 320 | Unknown | 0 | 5.991 | 17005 | 0.039 | ----- | ----- | ----- | ----- | 84 | FMI20240806_037.gcd | 2024-08-07 08:11 | 320 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | FMI20240806_037.gcd | 2024-08-07 08:11 | 320 | Unknown | 0 | 12.133 | 5740 | 1.226 | ----- | ----- | ----- | ----- | 1 |  | 84 | 44.893 | 1208.8297 | 44.3621 | 1093.0943 | 37.4345 | 1081.9172 | 40.8702 | 1363.8126 | 44.893 | 1208.8297 | 84 | FMI20240806_037.gcd | 2024-08-07 08:11 | 320 | Unknown | 0 | 2.847 | 842231 | 0 | ----- | ----- | ----- | -----
85 | FMI20240806_038.gcd | 2024-08-07 08:42 | 309 | Unknown | 0 | 5.988 | 20434 | 0.048 | ----- | ----- | ----- | ----- | 85 | FMI20240806_038.gcd | 2024-08-07 08:42 | 309 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | FMI20240806_038.gcd | 2024-08-07 08:42 | 309 | Unknown | 0 | 12.074 | 72132 | 15.539 | ----- | ----- | ----- | ----- | 1 |  | 85 | 54.7966 | 14205.1029 | 53.382 | 13703.1792 | 45.4754 | 14673.2032 | 51.1022 | 15877.2927 | 54.7966 | 14205.1029 | 85 | FMI20240806_038.gcd | 2024-08-07 08:42 | 309 | Unknown | 0 | 2.849 | 748840 | 0 | ----- | ----- | ----- | -----
86 | FMI20240806_039.gcd | 2024-08-07 09:12 | 108 | Unknown | 0 | 5.985 | 34152 | 0.083 | ----- | ----- | ----- | ----- | 86 | FMI20240806_039.gcd | 2024-08-07 09:12 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | FMI20240806_039.gcd | 2024-08-07 09:12 | 108 | Unknown | 0 | 12.008 | 134082 | 28.419 | ----- | ----- | ----- | ----- | 1 |  | 86 | 94.3488 | 26678.4057 | 89.4384 | 25340.2984 | 77.625 | 27152.2513 | 91.6652 | 30699.8119 | 94.3488 | 26678.4057 | 86 | FMI20240806_039.gcd | 2024-08-07 09:12 | 108 | Unknown | 0 | 2.846 | 807926 | 0 | ----- | ----- | ----- | -----
87 | FMI20240806_040.gcd | 2024-08-07 09:43 | 104 | Unknown | 0 | 5.993 | 253881 | 0.636 | ----- | ----- | ----- | ----- | 87 | FMI20240806_040.gcd | 2024-08-07 09:43 | 104 | Unknown | 0 | 5.95 | 1874 | 0.587 | ----- | ----- | ----- | ----- | 87 | FMI20240806_040.gcd | 2024-08-07 09:43 | 104 | Unknown | 0 | 12.13 | 31089 | 6.757 | ----- | ----- | ----- | ----- | 1 |  | 87 | 700.6674 | 6349.5467 | 660.7727 | 5924.6431 | 588.4513 | 6297.7306 | 645.4303 | 7123.1635 | 700.6674 | 6349.5467 | 87 | FMI20240806_040.gcd | 2024-08-07 09:43 | 104 | Unknown | 0 | 2.856 | 810830 | 0 | ----- | ----- | ----- | -----
88 | FMI20240806_041.gcd | 2024-08-07 10:13 | 400 | Unknown | 0 | 5.995 | 26425 | 0.063 | ----- | ----- | ----- | ----- | 88 | FMI20240806_041.gcd | 2024-08-07 10:13 | 400 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | FMI20240806_041.gcd | 2024-08-07 10:13 | 400 | Unknown | 0 | 12.02 | 128764 | 27.33 | ----- | ----- | ----- | ----- | 1 |  | 88 | 72.0834 | 25614.8918 | 69.1344 | 24346.2253 | 59.5197 | 26088.6929 | 68.8901 | 29439.7139 | 72.0834 | 25614.8918 | 88 | FMI20240806_041.gcd | 2024-08-07 10:13 | 400 | Unknown | 0 | 2.858 | 755346 | 0 | ----- | ----- | ----- | -----