## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250325_001.gcd | 2025-03-25 13:40 | QC outside air | Unknown | 0 | 6.063 | 1312 | 0.003 | ----- | ----- | ----- | ----- | 45 | FMI20250325_001.gcd | 2025-03-25 13:40 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250325_001.gcd | 2025-03-25 13:40 | QC outside air | Unknown | 0 | 12.277 | 2752 | 0.507 | ----- | ----- | ----- | ----- | 1 |  | 45 | -0.49431 | 597.8071 | -1.799 | 522.2013 | -0.4595 | 464.9451 | 7.3978 | 646.3137 | -0.49431 | 597.8071 | 45 | FMI20250325_001.gcd | 2025-03-25 13:40 | QC outside air | Unknown | 0 | 2.711 | 4957515 | 0 | ----- | ----- | ----- | -----
46 | FMI20250325_002.gcd | 2025-03-25 14:11 | QC spiked air | Unknown | 0 | 6.011 | 953125 | 2.153 | ----- | ----- | ----- | ----- | 46 | FMI20250325_002.gcd | 2025-03-25 14:11 | QC spiked air | Unknown | 0 | 5.964 | 7831 | 2.027 | ----- | ----- | ----- | ----- | 46 | FMI20250325_002.gcd | 2025-03-25 14:11 | QC spiked air | Unknown | 0 | 12.25 | 9196 | 1.92 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2193.9145 | 1914.2229 | 2292.7376 | 1753.0422 | 2160.6516 | 1794.9551 | 1986.2654 | 2183.5333 | 2193.9145 | 1914.2229 | 46 | FMI20250325_002.gcd | 2025-03-25 14:11 | QC spiked air | Unknown | 0 | 2.705 | 5096007 | 0 | ----- | ----- | ----- | -----
47 | FMI20250325_003.gcd | 2025-03-25 14:41 | QC reference tank | Unknown | 0 | 6.032 | 2422 | 0.006 | ----- | ----- | ----- | ----- | 47 | FMI20250325_003.gcd | 2025-03-25 14:41 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250325_003.gcd | 2025-03-25 14:41 | QC reference tank | Unknown | 0 | 12.276 | 1273 | 0.183 | ----- | ----- | ----- | ----- | 1 |  | 47 | 2.4654 | 294.9681 | 2.2044 | 239.5133 | 1.0695 | 159.3877 | 4.3469 | 288.1529 | 2.4654 | 294.9681 | 47 | FMI20250325_003.gcd | 2025-03-25 14:41 | QC reference tank | Unknown | 0 | 2.704 | 5115579 | 0 | ----- | ----- | ----- | -----
48 | FMI20250325_004.gcd | 2025-03-25 15:12 | 303 | Unknown | 0 | 6.016 | 14444 | 0.033 | ----- | ----- | ----- | ----- | 48 | FMI20250325_004.gcd | 2025-03-25 15:12 | 303 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250325_004.gcd | 2025-03-25 15:12 | 303 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | Interference with CO2. Do not use CO2. Use CH4. | 48 | 37.4919 | #VALUE! | 37.6236 | #VALUE! | 31.4277 | #VALUE! | 33.2041 | #VALUE! | 37.4919 | #VALUE! | 48 | FMI20250325_004.gcd | 2025-03-25 15:12 | 303 | Unknown | 0 | 2.859 | 833020 | 0 | ----- | ----- | ----- | -----
49 | FMI20250325_005.gcd | 2025-03-25 15:42 | 241 | Unknown | 0 | 6.019 | 9430 | 0.022 | ----- | ----- | ----- | ----- | 49 | FMI20250325_005.gcd | 2025-03-25 15:42 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250325_005.gcd | 2025-03-25 15:42 | 241 | Unknown | 0 | 12.2 | 67248 | 14.59 | ----- | ----- | ----- | ----- | 2 | Interference with CO2. Do not use CO2. Use CH4. | 49 | 24.402 | 13213.8917 | 24.1827 | 12780.4271 | 18.9889 | 13681.0527 | 15.8055 | 14695.3678 | 24.402 | 13213.8917 | 49 | FMI20250325_005.gcd | 2025-03-25 15:42 | 241 | Unknown | 0 | 2.866 | 725058 | 0 | ----- | ----- | ----- | -----
50 | FMI20250325_006.gcd | 2025-03-25 16:13 | 71 | Unknown | 0 | 6.015 | 13918 | 0.032 | ----- | ----- | ----- | ----- | 50 | FMI20250325_006.gcd | 2025-03-25 16:13 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250325_006.gcd | 2025-03-25 16:13 | 71 | Unknown | 0 | 12.198 | 4983 | 0.997 | ----- | ----- | ----- | ----- | 1 |  | 50 | 35.9713 | 1054.1301 | 36.2394 | 948.4879 | 30.1939 | 925.6524 | 31.627 | 1182.8069 | 35.9713 | 1054.1301 | 50 | FMI20250325_006.gcd | 2025-03-25 16:13 | 71 | Unknown | 0 | 2.869 | 686342 | 0 | ----- | ----- | ----- | -----
51 | FMI20250325_007.gcd | 2025-03-25 16:43 | 328 | Unknown | 0 | 6.028 | 9930 | 0.023 | ----- | ----- | ----- | ----- | 51 | FMI20250325_007.gcd | 2025-03-25 16:43 | 328 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250325_007.gcd | 2025-03-25 16:43 | 328 | Unknown | 0 | 12.2 | 7589 | 1.568 | ----- | ----- | ----- | ----- | 1 |  | 51 | 26.1816 | 1586.4009 | 25.5332 | 1446.2223 | 20.8128 | 1463.4765 | 18.6502 | 1803.7279 | 26.1816 | 1586.4009 | 51 | FMI20250325_007.gcd | 2025-03-25 16:43 | 328 | Unknown | 0 | 2.875 | 760711 | 0 | ----- | ----- | ----- | -----
52 | FMI20250325_008.gcd | 2025-03-25 17:14 | 267 | Unknown | 0 | 6.021 | 16352 | 0.037 | ----- | ----- | ----- | ----- | 52 | FMI20250325_008.gcd | 2025-03-25 17:14 | 267 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250325_008.gcd | 2025-03-25 17:14 | 267 | Unknown | 0 | 12.189 | 3968 | 0.774 | ----- | ----- | ----- | ----- | 1 |  | 52 | 43.0062 | 846.5984 | 42.6441 | 754.5676 | 35.903 | 716.0838 | 38.9175 | 939.2907 | 43.0062 | 846.5984 | 52 | FMI20250325_008.gcd | 2025-03-25 17:14 | 267 | Unknown | 0 | 2.866 | 815897 | 0 | ----- | ----- | ----- | -----
53 | FMI20250325_009.gcd | 2025-03-25 17:45 | 66 | Unknown | 0 | 6.016 | 12265 | 0.028 | ----- | ----- | ----- | ----- | 53 | FMI20250325_009.gcd | 2025-03-25 17:45 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250325_009.gcd | 2025-03-25 17:45 | 66 | Unknown | 0 | 11.521 | 3128077 | 574.444 | ----- | ----- | ----- | ----- | 2 | Interference with CO2. Do not use CO2. Use CH4. | 53 | 31.1918 | 409641.2619 | 31.889 | 438982.5478 | 26.3161 | 396760.0428 | 26.6652 | 372846.665 | 31.1918 | 409641.2619 | 53 | FMI20250325_009.gcd | 2025-03-25 17:45 | 66 | Unknown | 0 | 2.872 | 541201 | 0 | ----- | ----- | ----- | -----
54 | FMI20250325_010.gcd | 2025-03-25 18:15 | 213 | Unknown | 0 | 6.021 | 6753 | 0.016 | ----- | ----- | ----- | ----- | 54 | FMI20250325_010.gcd | 2025-03-25 18:15 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250325_010.gcd | 2025-03-25 18:15 | 213 | Unknown | 0 | 12.14 | 5866 | 1.19 | ----- | ----- | ----- | ----- | 1 |  | 54 | 15.3599 | 1234.5723 | 16.459 | 1117.1617 | 10.4592 | 1107.9241 | 5.1676 | 1393.8896 | 15.3599 | 1234.5723 | 54 | FMI20250325_010.gcd | 2025-03-25 18:15 | 213 | Unknown | 0 | 2.86 | 833618 | 0 | ----- | ----- | ----- | -----
55 | FMI20250325_011.gcd | 2025-03-25 18:46 | 108 | Unknown | 0 | 6.016 | 17937 | 0.041 | ----- | ----- | ----- | ----- | 55 | FMI20250325_011.gcd | 2025-03-25 18:46 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250325_011.gcd | 2025-03-25 18:46 | 108 | Unknown | 0 | 12.187 | 5163 | 1.036 | ----- | ----- | ----- | ----- | 1 |  | 55 | 47.5854 | 1090.9209 | 46.814 | 982.8742 | 39.6202 | 962.8118 | 43.6549 | 1225.8939 | 47.5854 | 1090.9209 | 55 | FMI20250325_011.gcd | 2025-03-25 18:46 | 108 | Unknown | 0 | 2.854 | 937356 | 0 | ----- | ----- | ----- | -----
56 | FMI20250325_012.gcd | 2025-03-25 19:16 | 277 | Unknown | 0 | 6.014 | 18045 | 0.041 | ----- | ----- | ----- | ----- | 56 | FMI20250325_012.gcd | 2025-03-25 19:16 | 277 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250325_012.gcd | 2025-03-25 19:16 | 277 | Unknown | 0 | 12.192 | 4421 | 0.874 | ----- | ----- | ----- | ----- | 1 |  | 56 | 47.8974 | 939.2362 | 47.0981 | 841.1194 | 39.8734 | 809.6219 | 43.9774 | 1048.0894 | 47.8974 | 939.2362 | 56 | FMI20250325_012.gcd | 2025-03-25 19:16 | 277 | Unknown | 0 | 2.859 | 851057 | 0 | ----- | ----- | ----- | -----
57 | FMI20250325_013.gcd | 2025-03-25 19:47 | 322 | Unknown | 0 | 6.013 | 10964 | 0.025 | ----- | ----- | ----- | ----- | 57 | FMI20250325_013.gcd | 2025-03-25 19:47 | 322 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250325_013.gcd | 2025-03-25 19:47 | 322 | Unknown | 0 | 12.201 | 6272 | 1.279 | ----- | ----- | ----- | ----- | 1 |  | 57 | 27.4289 | 1317.5076 | 28.4645 | 1194.7088 | 23.2638 | 1191.7185 | 22.7539 | 1490.7059 | 27.4289 | 1317.5076 | 57 | FMI20250325_013.gcd | 2025-03-25 19:47 | 322 | Unknown | 0 | 2.859 | 847167 | 0 | ----- | ----- | ----- | -----
58 | FMI20250325_014.gcd | 2025-03-25 20:17 | 288 | Unknown | 0 | 6.015 | 9603 | 0.022 | ----- | ----- | ----- | ----- | 58 | FMI20250325_014.gcd | 2025-03-25 20:17 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250325_014.gcd | 2025-03-25 20:17 | 288 | Unknown | 0 | 11.018 | 1534174 | 305.033 | ----- | ----- | ----- | ----- | 2 | Interference with CO2. Do not use CO2. Use CH4. | 58 | 25.0145 | 259390.2288 | 24.6533 | 255059.2136 | 19.6118 | 256943.9005 | 16.7592 | 281971.9844 | 25.0145 | 259390.2288 | 58 | FMI20250325_014.gcd | 2025-03-25 20:17 | 288 | Unknown | 0 | 2.857 | 813793 | 0 | ----- | ----- | ----- | -----
59 | FMI20250325_015.gcd | 2025-03-25 20:48 | 147 | Unknown | 0 | 6.014 | 12584 | 0.029 | ----- | ----- | ----- | ----- | 59 | FMI20250325_015.gcd | 2025-03-25 20:48 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250325_015.gcd | 2025-03-25 20:48 | 147 | Unknown | 0 | 12.153 | 8794 | 1.832 | ----- | ----- | ----- | ----- | 1 |  | 59 | 32.1143 | 1832.2454 | 32.7286 | 1676.2973 | 27.0645 | 1712.0462 | 27.6234 | 2088.7438 | 32.1143 | 1832.2454 | 59 | FMI20250325_015.gcd | 2025-03-25 20:48 | 147 | Unknown | 0 | 2.859 | 838527 | 0 | ----- | ----- | ----- | -----
60 | FMI20250325_016.gcd | 2025-03-25 21:18 | 335 | Unknown | 0 | 6.014 | 9747 | 0.022 | ----- | ----- | ----- | ----- | 60 | FMI20250325_016.gcd | 2025-03-25 21:18 | 335 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250325_016.gcd | 2025-03-25 21:18 | 335 | Unknown | 0 | 12.166 | 15458 | 3.292 | ----- | ----- | ----- | ----- | 1 |  | 60 | 25.5269 | 3188.7008 | 25.0423 | 2947.8263 | 20.1369 | 3085.3706 | 17.5777 | 3641.047 | 25.5269 | 3188.7008 | 60 | FMI20250325_016.gcd | 2025-03-25 21:18 | 335 | Unknown | 0 | 2.854 | 944054 | 0 | ----- | ----- | ----- | -----
61 | FMI20250325_017.gcd | 2025-03-25 21:49 | 62 | Unknown | 0 | 6.011 | 68397 | 0.155 | ----- | ----- | ----- | ----- | 61 | FMI20250325_017.gcd | 2025-03-25 21:49 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250325_017.gcd | 2025-03-25 21:49 | 62 | Unknown | 0 | 11.614 | 3743965 | 669.493 | ----- | ----- | ----- | ----- | 2 | Interference with CO2. Do not use CO2. Use CH4. | 61 | 192.6109 | 434994.1872 | 179.2494 | 487921.376 | 157.7494 | 416053.035 | 190.3346 | 352296.6271 | 192.6109 | 434994.1872 | 61 | FMI20250325_017.gcd | 2025-03-25 21:49 | 62 | Unknown | 0 | 2.865 | 633362 | 0 | ----- | ----- | ----- | -----
62 | FMI20250325_018.gcd | 2025-03-25 22:20 | 232 | Unknown | 0 | 6.015 | 10721 | 0.025 | ----- | ----- | ----- | ----- | 62 | FMI20250325_018.gcd | 2025-03-25 22:20 | 232 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250325_018.gcd | 2025-03-25 22:20 | 232 | Unknown | 0 | 12.2 | 31834 | 6.874 | ----- | ----- | ----- | ----- | 1 |  | 62 | 26.726 | 6499.4685 | 27.8248 | 6066.3249 | 22.6937 | 6450.5257 | 22.0227 | 7283.5626 | 26.726 | 6499.4685 | 62 | FMI20250325_018.gcd | 2025-03-25 22:20 | 232 | Unknown | 0 | 2.852 | 963682 | 0 | ----- | ----- | ----- | -----
63 | FMI20250325_019.gcd | 2025-03-25 22:50 | 68 | Unknown | 0 | 6.014 | 12445 | 0.028 | ----- | ----- | ----- | ----- | 63 | FMI20250325_019.gcd | 2025-03-25 22:50 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250325_019.gcd | 2025-03-25 22:50 | 68 | Unknown | 0 | 12.16 | 7013 | 1.442 | ----- | ----- | ----- | ----- | 1 |  | 63 | 31.7123 | 1468.8239 | 32.3628 | 1336.2279 | 26.7384 | 1344.632 | 27.2059 | 1667.02 | 31.7123 | 1468.8239 | 63 | FMI20250325_019.gcd | 2025-03-25 22:50 | 68 | Unknown | 0 | 2.858 | 855145 | 0 | ----- | ----- | ----- | -----
64 | FMI20250325_020.gcd | 2025-03-25 23:21 | 219 | Unknown | 0 | 6.016 | 10281 | 0.024 | ----- | ----- | ----- | ----- | 64 | FMI20250325_020.gcd | 2025-03-25 23:21 | 219 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250325_020.gcd | 2025-03-25 23:21 | 219 | Unknown | 0 | 12.15 | 12404 | 2.623 | ----- | ----- | ----- | ----- | 1 |  | 64 | 25.4531 | 2567.7192 | 26.6666 | 2365.285 | 21.6613 | 2456.2803 | 20.6984 | 2934.6808 | 25.4531 | 2567.7192 | 64 | FMI20250325_020.gcd | 2025-03-25 23:21 | 219 | Unknown | 0 | 2.85 | 1004282 | 0 | ----- | ----- | ----- | -----
65 | FMI20250325_021.gcd | 2025-03-25 23:51 | 270 | Unknown | 0 | 6.023 | 9846 | 0.023 | ----- | ----- | ----- | ----- | 65 | FMI20250325_021.gcd | 2025-03-25 23:51 | 270 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250325_021.gcd | 2025-03-25 23:51 | 270 | Unknown | 0 | 12.185 | 14412 | 3.063 | ----- | ----- | ----- | ----- | 1 |  | 65 | 25.8806 | 2976.1392 | 25.3084 | 2748.3391 | 20.5013 | 2869.9597 | 18.1534 | 3400.0734 | 25.8806 | 2976.1392 | 65 | FMI20250325_021.gcd | 2025-03-25 23:51 | 270 | Unknown | 0 | 2.861 | 937738 | 0 | ----- | ----- | ----- | -----
66 | FMI20250325_022.gcd | 2025-03-26 00:22 | 238 | Unknown | 0 | 6.014 | 11248 | 0.026 | ----- | ----- | ----- | ----- | 66 | FMI20250325_022.gcd | 2025-03-26 00:22 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250325_022.gcd | 2025-03-26 00:22 | 238 | Unknown | 0 | 12.177 | 7642 | 1.58 | ----- | ----- | ----- | ----- | 1 |  | 66 | 28.2504 | 1597.2177 | 29.2121 | 1456.3428 | 23.9301 | 1474.411 | 23.6081 | 1816.2917 | 28.2504 | 1597.2177 | 66 | FMI20250325_022.gcd | 2025-03-26 00:22 | 238 | Unknown | 0 | 2.853 | 951803 | 0 | ----- | ----- | ----- | -----
67 | FMI20250325_023.gcd | 2025-03-26 00:53 | 180 | Unknown | 0 | 6.017 | 10268 | 0.024 | ----- | ----- | ----- | ----- | 67 | FMI20250325_023.gcd | 2025-03-26 00:53 | 180 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250325_023.gcd | 2025-03-26 00:53 | 180 | Unknown | 0 | 12.186 | 11422 | 2.408 | ----- | ----- | ----- | ----- | 1 |  | 67 | 25.4155 | 2367.8084 | 26.6323 | 2177.9071 | 21.6308 | 2253.898 | 20.6593 | 2705.7442 | 25.4155 | 2367.8084 | 67 | FMI20250325_023.gcd | 2025-03-26 00:53 | 180 | Unknown | 0 | 2.849 | 1013677 | 0 | ----- | ----- | ----- | -----
68 | FMI20250325_024.gcd | 2025-03-26 01:23 | 318 | Unknown | 0 | 6.027 | 10404 | 0.024 | ----- | ----- | ----- | ----- | 68 | FMI20250325_024.gcd | 2025-03-26 01:23 | 318 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250325_024.gcd | 2025-03-26 01:23 | 318 | Unknown | 0 | 12.204 | 5110 | 1.025 | ----- | ----- | ----- | ----- | 1 |  | 68 | 25.8089 | 1080.0885 | 26.9904 | 972.7494 | 21.9499 | 951.8706 | 21.0687 | 1213.2103 | 25.8089 | 1080.0885 | 68 | FMI20250325_024.gcd | 2025-03-26 01:23 | 318 | Unknown | 0 | 2.863 | 942733 | 0 | ----- | ----- | ----- | -----
69 | FMI20250325_025.gcd | 2025-03-26 01:54 | 123 | Unknown | 0 | 6.016 | 11416 | 0.026 | ----- | ----- | ----- | ----- | 69 | FMI20250325_025.gcd | 2025-03-26 01:54 | 123 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250325_025.gcd | 2025-03-26 01:54 | 123 | Unknown | 0 | 12.195 | 6314 | 1.289 | ----- | ----- | ----- | ----- | 1 |  | 69 | 28.7363 | 1326.086 | 29.6543 | 1202.7306 | 24.3243 | 1200.3864 | 24.1134 | 1500.7128 | 28.7363 | 1326.086 | 69 | FMI20250325_025.gcd | 2025-03-26 01:54 | 123 | Unknown | 0 | 2.851 | 973563 | 0 | ----- | ----- | ----- | -----
70 | FMI20250325_026.gcd | 2025-03-26 02:24 | 44 | Unknown | 0 | 6.015 | 10819 | 0.025 | ----- | ----- | ----- | ----- | 70 | FMI20250325_026.gcd | 2025-03-26 02:24 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250325_026.gcd | 2025-03-26 02:24 | 44 | Unknown | 0 | 12.184 | 7138 | 1.469 | ----- | ----- | ----- | ----- | 1 |  | 70 | 27.0095 | 1494.3431 | 28.0828 | 1360.0991 | 22.9236 | 1370.4243 | 22.3176 | 1696.7132 | 27.0095 | 1494.3431 | 70 | FMI20250325_026.gcd | 2025-03-26 02:24 | 44 | Unknown | 0 | 2.854 | 942325 | 0 | ----- | ----- | ----- | -----
71 | FMI20250325_027.gcd | 2025-03-26 02:55 | 273 | Unknown | 0 | 6.011 | 90136 | 0.204 | ----- | ----- | ----- | ----- | 71 | FMI20250325_027.gcd | 2025-03-26 02:55 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250325_027.gcd | 2025-03-26 02:55 | 273 | Unknown | 0 | 12.105 | 90440 | 19.621 | ----- | ----- | ----- | ----- | 1 |  | 71 | 254.6369 | 17910.5212 | 236.115 | 17155.2731 | 208.515 | 18381.5099 | 251.0515 | 20290.4508 | 254.6369 | 17910.5212 | 71 | FMI20250325_027.gcd | 2025-03-26 02:55 | 273 | Unknown | 0 | 2.852 | 940104 | 0 | ----- | ----- | ----- | -----
72 | FMI20250325_028.gcd | 2025-03-26 03:26 | 370 | Unknown | 0 | 6.017 | 11000 | 0.025 | ----- | ----- | ----- | ----- | 72 | FMI20250325_028.gcd | 2025-03-26 03:26 | 370 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250325_028.gcd | 2025-03-26 03:26 | 370 | Unknown | 0 | 12.189 | 4891 | 0.977 | ----- | ----- | ----- | ----- | 1 |  | 72 | 27.5331 | 1035.3245 | 28.5593 | 930.9122 | 23.3483 | 906.6592 | 22.8622 | 1160.7732 | 27.5331 | 1035.3245 | 72 | FMI20250325_028.gcd | 2025-03-26 03:26 | 370 | Unknown | 0 | 2.847 | 1060816 | 0 | ----- | ----- | ----- | -----
73 | FMI20250325_029.gcd | 2025-03-26 03:56 | 92 | Unknown | 0 | 6.016 | 7784 | 0.018 | ----- | ----- | ----- | ----- | 73 | FMI20250325_029.gcd | 2025-03-26 03:56 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250325_029.gcd | 2025-03-26 03:56 | 92 | Unknown | 0 | 12.195 | 5904 | 1.199 | ----- | ----- | ----- | ----- | 1 |  | 73 | 18.7453 | 1242.3355 | 19.532 | 1124.42 | 13.4977 | 1115.7672 | 8.3482 | 1402.9576 | 18.7453 | 1242.3355 | 73 | FMI20250325_029.gcd | 2025-03-26 03:56 | 92 | Unknown | 0 | 2.85 | 1004766 | 0 | ----- | ----- | ----- | -----
74 | FMI20250325_030.gcd | 2025-03-26 10:24 | 303 reinjection | Unknown | 0 | 6.029 | 17594 | 0.04 | ----- | ----- | ----- | ----- | 74 | FMI20250325_030.gcd | 2025-03-26 10:24 | 303 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250325_030.gcd | 2025-03-26 10:24 | 303 reinjection | Unknown | 0 | 12.227 | 5598 | 1.132 | ----- | ----- | ----- | ----- | 2 | Reinjection with different headspace conditions. Use CO2. Do not use CH4. | 74 | 46.5946 | 1179.816 | 45.9117 | 1065.9701 | 38.8158 | 1052.6069 | 42.6304 | 1329.8989 | 46.5946 | 1179.816 | 74 | FMI20250325_030.gcd | 2025-03-26 10:24 | 303 reinjection | Unknown | 0 | 2.821 | 1682098 | 0 | ----- | ----- | ----- | -----
75 | FMI20250325_031.gcd | 2025-03-26 10:54 | 241 reinjection | Unknown | 0 | 6.017 | 11786 | 0.027 | ----- | ----- | ----- | ----- | 75 | FMI20250325_031.gcd | 2025-03-26 10:54 | 241 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250325_031.gcd | 2025-03-26 10:54 | 241 reinjection | Unknown | 0 | 12.192 | 5463 | 1.102 | ----- | ----- | ----- | ----- | 2 | Reinjection with different headspace conditions. Use CO2. Do not use CH4. | 75 | 29.8065 | 1152.2303 | 30.6282 | 1040.1823 | 25.1923 | 1024.7405 | 25.2257 | 1297.64 | 29.8065 | 1152.2303 | 75 | FMI20250325_031.gcd | 2025-03-26 10:54 | 241 reinjection | Unknown | 0 | 2.827 | 1477618 | 0 | ----- | ----- | ----- | -----
76 | FMI20250325_032.gcd | 2025-03-26 11:25 | 066 reinjection | Unknown | 0 | 6.015 | 19094 | 0.043 | ----- | ----- | ----- | ----- | 76 | FMI20250325_032.gcd | 2025-03-26 11:25 | 066 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250325_032.gcd | 2025-03-26 11:25 | 066 reinjection | Unknown | 0 | 12.204 | 4686 | 0.932 | ----- | ----- | ----- | ----- | 2 | Reinjection with different headspace conditions. Use CO2. Do not use CH4. | 76 | 50.9272 | 993.4169 | 49.8575 | 891.7482 | 42.3333 | 864.3358 | 47.1081 | 1111.6487 | 50.9272 | 993.4169 | 76 | FMI20250325_032.gcd | 2025-03-26 11:25 | 066 reinjection | Unknown | 0 | 2.824 | 1554447 | 0 | ----- | ----- | ----- | -----
77 | FMI20250325_033.gcd | 2025-03-26 11:55 | 288 reinjection | Unknown | 0 | 6.017 | 11565 | 0.026 | ----- | ----- | ----- | ----- | 77 | FMI20250325_033.gcd | 2025-03-26 11:55 | 288 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20250325_033.gcd | 2025-03-26 11:55 | 288 reinjection | Unknown | 0 | 12.2 | 4916 | 0.982 | ----- | ----- | ----- | ----- | 2 | Reinjection with different headspace conditions. Use CO2. Do not use CH4. | 77 | 29.1673 | 1040.4348 | 30.0465 | 935.6882 | 24.6738 | 911.8205 | 24.5614 | 1166.7614 | 29.1673 | 1040.4348 | 77 | FMI20250325_033.gcd | 2025-03-26 11:55 | 288 reinjection | Unknown | 0 | 2.817 | 1701297 | 0 | ----- | ----- | ----- | -----
78 | FMI20250325_034.gcd | 2025-03-26 12:26 | 062 reinjection | Unknown | 0 | 6.011 | 73256 | 0.166 | ----- | ----- | ----- | ----- | 78 | FMI20250325_034.gcd | 2025-03-26 12:26 | 062 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20250325_034.gcd | 2025-03-26 12:26 | 062 reinjection | Unknown | 0 | 12.2 | 346267 | 74.038 | ----- | ----- | ----- | ----- | 3 | Reinjection but CO2 is still bad. Do not use CO2. Do not use CH4. | 78 | 206.4983 | 68002.965 | 191.9697 | 64252.8048 | 169.1029 | 68409.8196 | 204.0351 | 79089.3917 | 206.4983 | 68002.965 | 78 | FMI20250325_034.gcd | 2025-03-26 12:26 | 062 reinjection | Unknown | 0 | 2.825 | 1471710 | 0 | ----- | ----- | ----- | -----