## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN06mar24_001.gcd | 2024-03-06 10:24 | QC outside air | Unknown | 0 | 6.062 | 886 | -0.006 | ----- | ----- | ----- | ----- | 49 | BRN06mar24_001.gcd | 2024-03-06 10:24 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN06mar24_001.gcd | 2024-03-06 10:24 | QC outside air | Unknown | 0 | 12.263 | 2020 | 0.311 | ----- | ----- | ----- | ----- | 1 |  | 49 | 8.9221 | 469.2989 | -1.9577 | 409.0819 | -3.3733 | 382.2997 | -0.95122 | 313.7299 | 8.9221 | 469.2989 | 49 | BRN06mar24_001.gcd | 2024-03-06 10:24 | QC outside air | Unknown | 0 | 2.718 | 5075497 | 0 | ----- | ----- | ----- | -----
50 | BRN06mar24_002.gcd | 2024-03-06 10:55 | QC spiked air | Unknown | 0 | 5.998 | 925567 | 1.981 | ----- | ----- | ----- | ----- | 50 | BRN06mar24_002.gcd | 2024-03-06 10:55 | QC spiked air | Unknown | 0 | 5.951 | 8665 | 2.196 | ----- | ----- | ----- | ----- | 50 | BRN06mar24_002.gcd | 2024-03-06 10:55 | QC spiked air | Unknown | 0 | 12.209 | 9737 | 2.455 | ----- | ----- | ----- | ----- | 1 |  | 50 | 1933.7658 | 2310.8655 | 2205.2301 | 1834.1186 | 2506.2991 | 1856.3148 | 2366.4664 | 1906.5184 | 1933.7658 | 2310.8655 | 50 | BRN06mar24_002.gcd | 2024-03-06 10:55 | QC spiked air | Unknown | 0 | 2.705 | 5079284 | 0 | ----- | ----- | ----- | -----
51 | BRN06mar24_003.gcd | 2024-03-06 11:26 | QC reference tank | Unknown | 0 | 6.018 | 2578 | -0.002 | ----- | ----- | ----- | ----- | 51 | BRN06mar24_003.gcd | 2024-03-06 11:26 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN06mar24_003.gcd | 2024-03-06 11:26 | QC reference tank | Unknown | 0 | 12.228 | 2223 | 0.368 | ----- | ----- | ----- | ----- | 1 |  | 51 | 4.0247 | 518.4381 | 2.7437 | 446.664 | 2.7556 | 421.0992 | 1.313 | 355.668 | 4.0247 | 518.4381 | 51 | BRN06mar24_003.gcd | 2024-03-06 11:26 | QC reference tank | Unknown | 0 | 2.714 | 5187962 | 0 | ----- | ----- | ----- | -----
52 | BRN06mar24_004.gcd | 2024-03-06 11:56 | 80 | Unknown | 0 | 6.012 | 74008 | 0.151 | ----- | ----- | ----- | ----- | 52 | BRN06mar24_004.gcd | 2024-03-06 11:56 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN06mar24_004.gcd | 2024-03-06 11:56 | 80 | Unknown | 0 | 12.187 | 5997 | 1.418 | ----- | ----- | ----- | ----- | 1 |  | 52 | 206.1488 | 1425.1448 | 228.4589 | 1144.4163 | 193.9378 | 1142.1836 | 170.8597 | 1134.9621 | 206.1488 | 1425.1448 | 52 | BRN06mar24_004.gcd | 2024-03-06 11:56 | 80 | Unknown | 0 | 2.86 | 946670 | 0 | ----- | ----- | ----- | -----
53 | BRN06mar24_005.gcd | 2024-03-06 12:27 | 381 | Unknown | 0 | 6.005 | 8474 | 0.011 | ----- | ----- | ----- | ----- | 53 | BRN06mar24_005.gcd | 2024-03-06 12:27 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN06mar24_005.gcd | 2024-03-06 12:27 | 381 | Unknown | 0 | 12.162 | 8809 | 2.198 | ----- | ----- | ----- | ----- | 1 |  | 53 | 11.1181 | 2092.2833 | 20.0771 | 1663.1477 | 21.5198 | 1679.161 | 15.7037 | 1715.14 | 11.1181 | 2092.2833 | 53 | BRN06mar24_005.gcd | 2024-03-06 12:27 | 381 | Unknown | 0 | 2.851 | 901729 | 0 | ----- | ----- | ----- | -----
54 | BRN06mar24_006.gcd | 2024-03-06 12:57 | 340 | Unknown | 0 | 6.01 | 91958 | 0.19 | ----- | ----- | ----- | ----- | 54 | BRN06mar24_006.gcd | 2024-03-06 12:57 | 340 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN06mar24_006.gcd | 2024-03-06 12:57 | 340 | Unknown | 0 | 12.069 | 93200 | 24.477 | ----- | ----- | ----- | ----- | 1 |  | 54 | 256.0727 | 20953.3728 | 282.4083 | 16768.8747 | 240.8759 | 17674.7437 | 212.7663 | 18939.0672 | 256.0727 | 20953.3728 | 54 | BRN06mar24_006.gcd | 2024-03-06 12:57 | 340 | Unknown | 0 | 2.845 | 1214356 | 0 | ----- | ----- | ----- | -----
55 | BRN06mar24_007.gcd | 2024-03-06 13:28 | 102 | Unknown | 0 | 6.02 | 6308 | 0.006 | ----- | ----- | ----- | ----- | 55 | BRN06mar24_007.gcd | 2024-03-06 13:28 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN06mar24_007.gcd | 2024-03-06 13:28 | 102 | Unknown | 0 | 12.182 | 3890 | 0.833 | ----- | ----- | ----- | ----- | 1 |  | 55 | 4.1494 | 920.5382 | 13.5377 | 755.0862 | 15.0946 | 739.664 | 9.2432 | 699.9768 | 4.1494 | 920.5382 | 55 | BRN06mar24_007.gcd | 2024-03-06 13:28 | 102 | Unknown | 0 | 2.862 | 917314 | 0 | ----- | ----- | ----- | -----
56 | BRN06mar24_008.gcd | 2024-03-06 13:59 | 365 | Unknown | 0 | 6.021 | 5503 | 0.004 | ----- | ----- | ----- | ----- | 56 | BRN06mar24_008.gcd | 2024-03-06 13:59 | 365 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN06mar24_008.gcd | 2024-03-06 13:59 | 365 | Unknown | 0 | 12.161 | 6772 | 1.634 | ----- | ----- | ----- | ----- | 1 |  | 56 | 2.851 | 1609.7313 | 11.1581 | 1287.4802 | 12.5681 | 1290.2027 | 7.1896 | 1294.9021 | 2.851 | 1609.7313 | 56 | BRN06mar24_008.gcd | 2024-03-06 13:59 | 365 | Unknown | 0 | 2.86 | 960997 | 0 | ----- | ----- | ----- | -----
57 | BRN06mar24_009.gcd | 2024-03-06 14:29 | 287 | Unknown | 0 | 6.024 | 5910 | 0.005 | ----- | ----- | ----- | ----- | 57 | BRN06mar24_009.gcd | 2024-03-06 14:29 | 287 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN06mar24_009.gcd | 2024-03-06 14:29 | 287 | Unknown | 0 | 12.185 | 6545 | 1.571 | ----- | ----- | ----- | ----- | 1 |  | 57 | 3.42 | 1555.722 | 12.3578 | 1245.5841 | 13.8548 | 1246.8495 | 8.2043 | 1248.0583 | 3.42 | 1555.722 | 57 | BRN06mar24_009.gcd | 2024-03-06 14:29 | 287 | Unknown | 0 | 2.863 | 889958 | 0 | ----- | ----- | ----- | -----
58 | BRN06mar24_010.gcd | 2024-03-06 15:00 | 362 | Unknown | 0 | 6.021 | 3892 | 0.001 | ----- | ----- | ----- | ----- | 58 | BRN06mar24_010.gcd | 2024-03-06 15:00 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN06mar24_010.gcd | 2024-03-06 15:00 | 362 | Unknown | 0 | 12.18 | 6876 | 1.663 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.3544 | 1634.4599 | 6.4787 | 1306.6727 | 7.2863 | 1310.0644 | 3.6454 | 1316.3626 | 2.3544 | 1634.4599 | 58 | BRN06mar24_010.gcd | 2024-03-06 15:00 | 362 | Unknown | 0 | 2.856 | 994942 | 0 | ----- | ----- | ----- | -----
59 | BRN06mar24_011.gcd | 2024-03-06 15:31 | 279 | Unknown | 0 | 6.032 | 5454 | 0.004 | ----- | ----- | ----- | ----- | 59 | BRN06mar24_011.gcd | 2024-03-06 15:31 | 279 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN06mar24_011.gcd | 2024-03-06 15:31 | 279 | Unknown | 0 | 12.186 | 5973 | 1.412 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.7946 | 1419.4198 | 11.0142 | 1139.9848 | 12.4119 | 1137.5995 | 7.0707 | 1130.0086 | 2.7946 | 1419.4198 | 59 | BRN06mar24_011.gcd | 2024-03-06 15:31 | 279 | Unknown | 0 | 2.865 | 891553 | 0 | ----- | ----- | ----- | -----
60 | BRN06mar24_012.gcd | 2024-03-06 16:01 | 218 | Unknown | 0 | 6.027 | 4293 | 0.002 | ----- | ----- | ----- | ----- | 60 | BRN06mar24_012.gcd | 2024-03-06 16:01 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN06mar24_012.gcd | 2024-03-06 16:01 | 218 | Unknown | 0 | 12.173 | 13027 | 3.363 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.216 | 3079.4666 | 7.6332 | 2439.3836 | 8.6291 | 2484.145 | 4.4571 | 2584.6501 | 2.216 | 3079.4666 | 60 | BRN06mar24_012.gcd | 2024-03-06 16:01 | 218 | Unknown | 0 | 2.864 | 866513 | 0 | ----- | ----- | ----- | -----
61 | BRN06mar24_013.gcd | 2024-03-06 16:32 | 316 | Unknown | 0 | 6.011 | 88948 | 0.183 | ----- | ----- | ----- | ----- | 61 | BRN06mar24_013.gcd | 2024-03-06 16:32 | 316 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN06mar24_013.gcd | 2024-03-06 16:32 | 316 | Unknown | 0 | 12.179 | 5301 | 1.225 | ----- | ----- | ----- | ----- | 1 |  | 61 | 247.7719 | 1258.9073 | 273.3983 | 1015.8715 | 233.0103 | 1009.2363 | 205.7427 | 991.2996 | 247.7719 | 1258.9073 | 61 | BRN06mar24_013.gcd | 2024-03-06 16:32 | 316 | Unknown | 0 | 2.864 | 886924 | 0 | ----- | ----- | ----- | -----
62 | BRN06mar24_014.gcd | 2024-03-06 17:03 | 140 | Unknown | 0 | 6.008 | 9645 | 0.013 | ----- | ----- | ----- | ----- | 62 | BRN06mar24_014.gcd | 2024-03-06 17:03 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN06mar24_014.gcd | 2024-03-06 17:03 | 140 | Unknown | 0 | 12.176 | 7687 | 1.887 | ----- | ----- | ----- | ----- | 1 |  | 62 | 16.9956 | 1826.9571 | 23.6955 | 1456.2907 | 24.767 | 1464.9356 | 19.7643 | 1483.6949 | 16.9956 | 1826.9571 | 62 | BRN06mar24_014.gcd | 2024-03-06 17:03 | 140 | Unknown | 0 | 2.843 | 1037348 | 0 | ----- | ----- | ----- | -----
63 | BRN06mar24_015.gcd | 2024-03-06 17:33 | 74 | Unknown | 0 | 6.021 | 8898 | 0.012 | ----- | ----- | ----- | ----- | 63 | BRN06mar24_015.gcd | 2024-03-06 17:33 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN06mar24_015.gcd | 2024-03-06 17:33 | 74 | Unknown | 0 | 12.184 | 7248 | 1.766 | ----- | ----- | ----- | ----- | 1 |  | 63 | 13.0752 | 1722.8315 | 21.3805 | 1375.3117 | 22.7139 | 1381.1054 | 17.128 | 1393.1209 | 13.0752 | 1722.8315 | 63 | BRN06mar24_015.gcd | 2024-03-06 17:33 | 74 | Unknown | 0 | 2.853 | 1102993 | 0 | ----- | ----- | ----- | -----
64 | BRN06mar24_016.gcd | 2024-03-06 18:04 | 229 | Unknown | 0 | 6.015 | 11557 | 0.017 | ----- | ----- | ----- | ----- | 64 | BRN06mar24_016.gcd | 2024-03-06 18:04 | 229 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN06mar24_016.gcd | 2024-03-06 18:04 | 229 | Unknown | 0 | 12.176 | 7597 | 1.863 | ----- | ----- | ----- | ----- | 1 |  | 64 | 24.5373 | 1805.6245 | 29.7289 | 1439.6911 | 30.0254 | 1447.75 | 24.6551 | 1465.127 | 24.5373 | 1805.6245 | 64 | BRN06mar24_016.gcd | 2024-03-06 18:04 | 229 | Unknown | 0 | 2.855 | 1033590 | 0 | ----- | ----- | ----- | -----
65 | BRN06mar24_017.gcd | 2024-03-06 18:35 | 259 | Unknown | 0 | 6.031 | 4049 | 0.001 | ----- | ----- | ----- | ----- | 65 | BRN06mar24_017.gcd | 2024-03-06 18:35 | 259 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN06mar24_017.gcd | 2024-03-06 18:35 | 259 | Unknown | 0 | 12.169 | 13836 | 3.585 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.2795 | 3266.9505 | 6.9299 | 2588.008 | 7.8143 | 2638.4725 | 3.9576 | 2751.3158 | 2.2795 | 3266.9505 | 65 | BRN06mar24_017.gcd | 2024-03-06 18:35 | 259 | Unknown | 0 | 2.858 | 1013581 | 0 | ----- | ----- | ----- | -----
66 | BRN06mar24_018.gcd | 2024-03-06 19:05 | 108 | Unknown | 0 | 6.028 | 5625 | 0.005 | ----- | ----- | ----- | ----- | 66 | BRN06mar24_018.gcd | 2024-03-06 19:05 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN06mar24_018.gcd | 2024-03-06 19:05 | 108 | Unknown | 0 | 12.185 | 6527 | 1.566 | ----- | ----- | ----- | ----- | 1 |  | 66 | 3.0028 | 1551.4374 | 11.517 | 1242.2617 | 12.9558 | 1243.4117 | 7.4887 | 1244.3437 | 3.0028 | 1551.4374 | 66 | BRN06mar24_018.gcd | 2024-03-06 19:05 | 108 | Unknown | 0 | 2.861 | 1017306 | 0 | ----- | ----- | ----- | -----
67 | BRN06mar24_019.gcd | 2024-03-06 19:36 | 265 | Unknown | 0 | 6.015 | 12098 | 0.018 | ----- | ----- | ----- | ----- | 67 | BRN06mar24_019.gcd | 2024-03-06 19:36 | 265 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN06mar24_019.gcd | 2024-03-06 19:36 | 265 | Unknown | 0 | 12.172 | 8755 | 2.183 | ----- | ----- | ----- | ----- | 1 |  | 67 | 26.1634 | 2079.5399 | 31.4643 | 1653.1957 | 31.4494 | 1668.8517 | 25.9243 | 1704.0024 | 26.1634 | 2079.5399 | 67 | BRN06mar24_019.gcd | 2024-03-06 19:36 | 265 | Unknown | 0 | 2.854 | 1060266 | 0 | ----- | ----- | ----- | -----
68 | BRN06mar24_020.gcd | 2024-03-06 20:07 | 175 | Unknown | 0 | 6.029 | 4502 | 0.002 | ----- | ----- | ----- | ----- | 68 | BRN06mar24_020.gcd | 2024-03-06 20:07 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN06mar24_020.gcd | 2024-03-06 20:07 | 175 | Unknown | 0 | 12.169 | 11285 | 2.882 | ----- | ----- | ----- | ----- | 1 |  | 68 | 2.2127 | 2673.7351 | 8.2376 | 2119.0752 | 9.3216 | 2151.7633 | 4.8987 | 2225.6595 | 2.2127 | 2673.7351 | 68 | BRN06mar24_020.gcd | 2024-03-06 20:07 | 175 | Unknown | 0 | 2.859 | 980123 | 0 | ----- | ----- | ----- | -----
69 | BRN06mar24_021.gcd | 2024-03-06 20:38 | 128 | Unknown | 0 | 6.02 | 8339 | 0.01 | ----- | ----- | ----- | ----- | 69 | BRN06mar24_021.gcd | 2024-03-06 20:38 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN06mar24_021.gcd | 2024-03-06 20:38 | 128 | Unknown | 0 | 12.167 | 4881 | 1.108 | ----- | ----- | ----- | ----- | 1 |  | 69 | 10.5357 | 1158.3778 | 19.6637 | 938.272 | 21.1352 | 929.0018 | 15.2612 | 904.5947 | 10.5357 | 1158.3778 | 69 | BRN06mar24_021.gcd | 2024-03-06 20:38 | 128 | Unknown | 0 | 2.856 | 1078986 | 0 | ----- | ----- | ----- | -----
70 | BRN06mar24_022.gcd | 2024-03-06 21:08 | 271 | Unknown | 0 | 6.02 | 9138 | 0.012 | ----- | ----- | ----- | ----- | 70 | BRN06mar24_022.gcd | 2024-03-06 21:08 | 271 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN06mar24_022.gcd | 2024-03-06 21:08 | 271 | Unknown | 0 | 12.193 | 8233 | 2.039 | ----- | ----- | ----- | ----- | 1 |  | 70 | 14.2691 | 1956.2165 | 22.1217 | 1556.9735 | 23.3806 | 1569.1895 | 17.9573 | 1596.3313 | 14.2691 | 1956.2165 | 70 | BRN06mar24_022.gcd | 2024-03-06 21:08 | 271 | Unknown | 0 | 2.861 | 1002403 | 0 | ----- | ----- | ----- | -----
71 | BRN06mar24_023.gcd | 2024-03-06 21:39 | 168 | Unknown | 0 | 6.01 | 5039 | 0.003 | ----- | ----- | ----- | ----- | 71 | BRN06mar24_023.gcd | 2024-03-06 21:39 | 168 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN06mar24_023.gcd | 2024-03-06 21:39 | 168 | Unknown | 0 | 12.154 | 14213 | 3.689 | ----- | ----- | ----- | ----- | 1 |  | 71 | 2.4206 | 3354.1155 | 9.7991 | 2657.2401 | 11.0777 | 2710.3829 | 6.0914 | 2828.9718 | 2.4206 | 3354.1155 | 71 | BRN06mar24_023.gcd | 2024-03-06 21:39 | 168 | Unknown | 0 | 2.835 | 1177800 | 0 | ----- | ----- | ----- | -----
72 | BRN06mar24_024.gcd | 2024-03-06 22:09 | 230 | Unknown | 0 | 6.029 | 4038 | 0.001 | ----- | ----- | ----- | ----- | 72 | BRN06mar24_024.gcd | 2024-03-06 22:09 | 230 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN06mar24_024.gcd | 2024-03-06 22:09 | 230 | Unknown | 0 | 12.167 | 13016 | 3.359 | ----- | ----- | ----- | ----- | 1 |  | 72 | 2.2839 | 3076.9132 | 6.8983 | 2437.3621 | 7.7774 | 2482.0465 | 3.9355 | 2582.3837 | 2.2839 | 3076.9132 | 72 | BRN06mar24_024.gcd | 2024-03-06 22:09 | 230 | Unknown | 0 | 2.859 | 1039597 | 0 | ----- | ----- | ----- | -----
73 | BRN06mar24_025.gcd | 2024-03-06 22:40 | 282 | Unknown | 0 | 6.015 | 4137 | 0.001 | ----- | ----- | ----- | ----- | 73 | BRN06mar24_025.gcd | 2024-03-06 22:40 | 282 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN06mar24_025.gcd | 2024-03-06 22:40 | 282 | Unknown | 0 | 12.152 | 15092 | 3.93 | ----- | ----- | ----- | ----- | 1 |  | 73 | 2.2492 | 3556.8428 | 7.1833 | 2818.5898 | 8.109 | 2878.0289 | 4.1358 | 3010.0037 | 2.2492 | 3556.8428 | 73 | BRN06mar24_025.gcd | 2024-03-06 22:40 | 282 | Unknown | 0 | 2.838 | 1136844 | 0 | ----- | ----- | ----- | -----
74 | BRN06mar24_026.gcd | 2024-03-06 23:11 | 269 | Unknown | 0 | 6.021 | 8552 | 0.011 | ----- | ----- | ----- | ----- | 74 | BRN06mar24_026.gcd | 2024-03-06 23:11 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN06mar24_026.gcd | 2024-03-06 23:11 | 269 | Unknown | 0 | 12.18 | 6167 | 1.466 | ----- | ----- | ----- | ----- | 1 |  | 74 | 11.4635 | 1465.6817 | 20.3163 | 1175.8045 | 21.741 | 1174.654 | 15.9618 | 1170.0483 | 11.4635 | 1465.6817 | 74 | BRN06mar24_026.gcd | 2024-03-06 23:11 | 269 | Unknown | 0 | 2.858 | 1036886 | 0 | ----- | ----- | ----- | -----