## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
66 | BRN14feb24_001.gcd | 2024-02-14 11:17 | QC outside air | Unknown | 0 | 6.091 | 1788 | -0.004 | ----- | ----- | ----- | ----- | 66 | BRN14feb24_001.gcd | 2024-02-14 11:17 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN14feb24_001.gcd | 2024-02-14 11:17 | QC outside air | Unknown | 0 | 12.287 | 1924 | 0.285 | ----- | ----- | ----- | ----- | 1 |  | 66 | 5.9265 | 446.0476 | 0.53348 | 391.3072 | -0.064739 | 363.9506 | 0.15232 | 293.8963 | 5.9265 | 446.0476 | 66 | BRN14feb24_001.gcd | 2024-02-14 11:17 | QC outside air | Unknown | 0 | 2.715 | 5314707 | 0 | ----- | ----- | ----- | -----
65 | BRN14feb24_002.gcd | 2024-02-14 11:48 | QC spiked air | Unknown | 0 | 6.03 | 998900 | 2.139 | ----- | ----- | ----- | ----- | 65 | BRN14feb24_002.gcd | 2024-02-14 11:48 | QC spiked air | Unknown | 0 | 5.984 | 8541 | 2.164 | ----- | ----- | ----- | ----- | 65 | BRN14feb24_002.gcd | 2024-02-14 11:48 | QC spiked air | Unknown | 0 | 12.26 | 9354 | 2.349 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2073.4069 | 2220.7485 | 2181.6755 | 1763.5694 | 2474.5483 | 1783.2041 | 2335.8674 | 1827.5389 | 2073.4069 | 2220.7485 | 65 | BRN14feb24_002.gcd | 2024-02-14 11:48 | QC spiked air | Unknown | 0 | 2.719 | 5358485 | 0 | ----- | ----- | ----- | -----
64 | BRN14feb24_003.gcd | 2024-02-14 12:19 | QC reference tank | Unknown | 0 | 6.062 | 3315 | 0 | ----- | ----- | ----- | ----- | 64 | BRN14feb24_003.gcd | 2024-02-14 12:19 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN14feb24_003.gcd | 2024-02-14 12:19 | QC reference tank | Unknown | 0 | 12.257 | 1181 | 0.077 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.8582 | 265.8078 | 4.8296 | 253.6999 | 5.3214 | 221.9265 | 2.5594 | 140.3771 | 2.8582 | 265.8078 | 64 | BRN14feb24_003.gcd | 2024-02-14 12:19 | QC reference tank | Unknown | 0 | 2.718 | 5282582 | 0 | ----- | ----- | ----- | -----
63 | BRN14feb24_004.gcd | 2024-02-14 12:49 | 333 | Unknown | 0 | 6.04 | 9280 | 0.012 | ----- | ----- | ----- | ----- | 63 | BRN14feb24_004.gcd | 2024-02-14 12:49 | 333 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN14feb24_004.gcd | 2024-02-14 12:49 | 333 | Unknown | 0 | 12.227 | 8597 | 2.14 | ----- | ----- | ----- | ----- | 1 |  | 63 | 15.0047 | 2042.2384 | 22.5614 | 1624.0746 | 23.7719 | 1638.6866 | 18.4559 | 1671.4138 | 15.0047 | 2042.2384 | 63 | BRN14feb24_004.gcd | 2024-02-14 12:49 | 333 | Unknown | 0 | 2.874 | 847109 | 0 | ----- | ----- | ----- | -----
62 | BRN14feb24_005.gcd | 2024-02-14 13:20 | 41 | Unknown | 0 | 6.039 | 9892 | 0.014 | ----- | ----- | ----- | ----- | 62 | BRN14feb24_005.gcd | 2024-02-14 13:20 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN14feb24_005.gcd | 2024-02-14 13:20 | 41 | Unknown | 0 | 12.234 | 5177 | 1.191 | ----- | ----- | ----- | ----- | 1 |  | 62 | 18.4245 | 1229.2439 | 24.4662 | 992.9635 | 25.4316 | 985.5486 | 20.6717 | 965.7019 | 18.4245 | 1229.2439 | 62 | BRN14feb24_005.gcd | 2024-02-14 13:20 | 41 | Unknown | 0 | 2.863 | 1034775 | 0 | ----- | ----- | ----- | -----
61 | BRN14feb24_006.gcd | 2024-02-14 13:50 | 247 | Unknown | 0 | 6.041 | 9435 | 0.013 | ----- | ----- | ----- | ----- | 61 | BRN14feb24_006.gcd | 2024-02-14 13:50 | 247 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN14feb24_006.gcd | 2024-02-14 13:50 | 247 | Unknown | 0 | 12.238 | 5851 | 1.378 | ----- | ----- | ----- | ----- | 1 |  | 61 | 15.8326 | 1390.3098 | 23.0423 | 1117.4565 | 24.1963 | 1114.2966 | 19.0068 | 1104.828 | 15.8326 | 1390.3098 | 61 | BRN14feb24_006.gcd | 2024-02-14 13:50 | 247 | Unknown | 0 | 2.871 | 936077 | 0 | ----- | ----- | ----- | -----
60 | BRN14feb24_007.gcd | 2024-02-14 14:21 | 183 | Unknown | 0 | 6.046 | 5989 | 0.005 | ----- | ----- | ----- | ----- | 60 | BRN14feb24_007.gcd | 2024-02-14 14:21 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN14feb24_007.gcd | 2024-02-14 14:21 | 183 | Unknown | 0 | 12.241 | 6967 | 1.688 | ----- | ----- | ----- | ----- | 1 |  | 60 | 3.5512 | 1656.0893 | 12.5914 | 1323.465 | 14.1024 | 1327.4432 | 8.4069 | 1335.1402 | 3.5512 | 1656.0893 | 60 | BRN14feb24_007.gcd | 2024-02-14 14:21 | 183 | Unknown | 0 | 2.872 | 879903 | 0 | ----- | ----- | ----- | -----
59 | BRN14feb24_008.gcd | 2024-02-14 14:52 | 77 | Unknown | 0 | 6.045 | 6041 | 0.005 | ----- | ----- | ----- | ----- | 59 | BRN14feb24_008.gcd | 2024-02-14 14:52 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN14feb24_008.gcd | 2024-02-14 14:52 | 77 | Unknown | 0 | 12.2 | 10361 | 2.627 | ----- | ----- | ----- | ----- | 1 |  | 59 | 3.6412 | 2457.4015 | 12.7454 | 1949.021 | 14.2649 | 1975.4197 | 8.5412 | 2035.1791 | 3.6412 | 2457.4015 | 59 | BRN14feb24_008.gcd | 2024-02-14 14:52 | 77 | Unknown | 0 | 2.871 | 913622 | 0 | ----- | ----- | ----- | -----
58 | BRN14feb24_009.gcd | 2024-02-14 15:22 | 349 | Unknown | 0 | 6.04 | 10540 | 0.015 | ----- | ----- | ----- | ----- | 58 | BRN14feb24_009.gcd | 2024-02-14 15:22 | 349 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN14feb24_009.gcd | 2024-02-14 15:22 | 349 | Unknown | 0 | 12.233 | 6475 | 1.551 | ----- | ----- | ----- | ----- | 1 |  | 58 | 21.478 | 1539.0577 | 26.5004 | 1232.6633 | 27.3484 | 1233.4803 | 22.269 | 1233.6126 | 21.478 | 1539.0577 | 58 | BRN14feb24_009.gcd | 2024-02-14 15:22 | 349 | Unknown | 0 | 2.867 | 1001579 | 0 | ----- | ----- | ----- | -----
57 | BRN14feb24_010.gcd | 2024-02-14 15:53 | 57 | Unknown | 0 | 6.047 | 6397 | 0.006 | ----- | ----- | ----- | ----- | 57 | BRN14feb24_010.gcd | 2024-02-14 15:53 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN14feb24_010.gcd | 2024-02-14 15:53 | 57 | Unknown | 0 | 12.227 | 10205 | 2.584 | ----- | ----- | ----- | ----- | 1 |  | 57 | 4.336 | 2420.8008 | 13.8025 | 1920.3 | 15.3693 | 1945.6447 | 9.4818 | 2003.0158 | 4.336 | 2420.8008 | 57 | BRN14feb24_010.gcd | 2024-02-14 15:53 | 57 | Unknown | 0 | 2.874 | 901495 | 0 | ----- | ----- | ----- | -----
56 | BRN14feb24_011.gcd | 2024-02-14 16:24 | 403 | Unknown | 0 | 6.044 | 6536 | 0.007 | ----- | ----- | ----- | ----- | 56 | BRN14feb24_011.gcd | 2024-02-14 16:24 | 403 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN14feb24_011.gcd | 2024-02-14 16:24 | 403 | Unknown | 0 | 12.23 | 5468 | 1.272 | ----- | ----- | ----- | ----- | 1 |  | 56 | 4.6444 | 1298.8351 | 14.2167 | 1046.7204 | 15.7965 | 1041.1374 | 9.859 | 1025.7726 | 4.6444 | 1298.8351 | 56 | BRN14feb24_011.gcd | 2024-02-14 16:24 | 403 | Unknown | 0 | 2.869 | 939680 | 0 | ----- | ----- | ----- | -----
55 | BRN14feb24_012.gcd | 2024-02-14 16:54 | 105 | Unknown | 0 | 6.045 | 6972 | 0.007 | ----- | ----- | ----- | ----- | 55 | BRN14feb24_012.gcd | 2024-02-14 16:54 | 105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN14feb24_012.gcd | 2024-02-14 16:54 | 105 | Unknown | 0 | 12.222 | 12364 | 3.18 | ----- | ----- | ----- | ----- | 1 |  | 55 | 5.7472 | 2925.3727 | 15.5212 | 2317.52 | 17.1221 | 2357.6532 | 11.0788 | 2448.0376 | 5.7472 | 2925.3727 | 55 | BRN14feb24_012.gcd | 2024-02-14 16:54 | 105 | Unknown | 0 | 2.866 | 986468 | 0 | ----- | ----- | ----- | -----
54 | BRN14feb24_013.gcd | 2024-02-14 17:25 | 309 | Unknown | 0 | 6.034 | 7387 | 0.008 | ----- | ----- | ----- | ----- | 54 | BRN14feb24_013.gcd | 2024-02-14 17:25 | 309 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN14feb24_013.gcd | 2024-02-14 17:25 | 309 | Unknown | 0 | 12.206 | 12170 | 3.126 | ----- | ----- | ----- | ----- | 1 |  | 54 | 6.9875 | 2880.2075 | 16.7704 | 2281.8512 | 18.3633 | 2320.6377 | 12.2911 | 2408.0593 | 6.9875 | 2880.2075 | 54 | BRN14feb24_013.gcd | 2024-02-14 17:25 | 309 | Unknown | 0 | 2.856 | 1005975 | 0 | ----- | ----- | ----- | -----
53 | BRN14feb24_014.gcd | 2024-02-14 17:55 | 392 | Unknown | 0 | 6.041 | 9870 | 0.014 | ----- | ----- | ----- | ----- | 53 | BRN14feb24_014.gcd | 2024-02-14 17:55 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN14feb24_014.gcd | 2024-02-14 17:55 | 392 | Unknown | 0 | 12.229 | 5648 | 1.322 | ----- | ----- | ----- | ----- | 1 |  | 53 | 18.2946 | 1341.8425 | 24.3975 | 1079.9668 | 25.3727 | 1075.5209 | 20.5901 | 1062.9275 | 18.2946 | 1341.8425 | 53 | BRN14feb24_014.gcd | 2024-02-14 17:55 | 392 | Unknown | 0 | 2.87 | 951001 | 0 | ----- | ----- | ----- | -----
52 | BRN14feb24_015.gcd | 2024-02-14 18:26 | 234 | Unknown | 0 | 6.033 | 10796 | 0.016 | ----- | ----- | ----- | ----- | 52 | BRN14feb24_015.gcd | 2024-02-14 18:26 | 234 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN14feb24_015.gcd | 2024-02-14 18:26 | 234 | Unknown | 0 | 12.215 | 5374 | 1.246 | ----- | ----- | ----- | ----- | 1 |  | 52 | 22.2484 | 1276.3639 | 27.3089 | 1029.3568 | 28.0223 | 1023.1812 | 22.8696 | 1006.3688 | 22.2484 | 1276.3639 | 52 | BRN14feb24_015.gcd | 2024-02-14 18:26 | 234 | Unknown | 0 | 2.853 | 1103504 | 0 | ----- | ----- | ----- | -----
51 | BRN14feb24_016.gcd | 2024-02-14 18:57 | 312 | Unknown | 0 | 6.041 | 10722 | 0.016 | ----- | ----- | ----- | ----- | 51 | BRN14feb24_016.gcd | 2024-02-14 18:57 | 312 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN14feb24_016.gcd | 2024-02-14 18:57 | 312 | Unknown | 0 | 12.237 | 6963 | 1.687 | ----- | ----- | ----- | ----- | 1 |  | 51 | 22.0258 | 1655.1387 | 27.0749 | 1322.7269 | 27.8275 | 1326.6793 | 22.696 | 1334.3148 | 22.0258 | 1655.1387 | 51 | BRN14feb24_016.gcd | 2024-02-14 18:57 | 312 | Unknown | 0 | 2.868 | 1007756 | 0 | ----- | ----- | ----- | -----
50 | BRN14feb24_017.gcd | 2024-02-14 19:27 | 273 | Unknown | 0 | 6.04 | 10234 | 0.014 | ----- | ----- | ----- | ----- | 50 | BRN14feb24_017.gcd | 2024-02-14 19:27 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN14feb24_017.gcd | 2024-02-14 19:27 | 273 | Unknown | 0 | 12.229 | 5633 | 1.317 | ----- | ----- | ----- | ----- | 1 |  | 50 | 20.5569 | 1338.2596 | 25.5376 | 1077.1965 | 26.5428 | 1072.6557 | 21.551 | 1059.8313 | 20.5569 | 1338.2596 | 50 | BRN14feb24_017.gcd | 2024-02-14 19:27 | 273 | Unknown | 0 | 2.843 | 1514071 | 0 | ----- | ----- | ----- | -----
49 | BRN14feb24_018.gcd | 2024-02-14 19:58 | 364 | Unknown | 0 | 6.041 | 11184 | 0.017 | ----- | ----- | ----- | ----- | 49 | BRN14feb24_018.gcd | 2024-02-14 19:58 | 364 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN14feb24_018.gcd | 2024-02-14 19:58 | 364 | Unknown | 0 | 12.229 | 7238 | 1.763 | ----- | ----- | ----- | ----- | 1 |  | 49 | 23.4157 | 1720.4575 | 28.5397 | 1373.4668 | 29.0436 | 1379.1958 | 23.78 | 1391.0576 | 23.4157 | 1720.4575 | 49 | BRN14feb24_018.gcd | 2024-02-14 19:58 | 364 | Unknown | 0 | 2.861 | 1193524 | 0 | ----- | ----- | ----- | -----
082 is an empty vial (no liquid) not run