## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | MP20240716_001.gcd | 2024-07-16 16:02 | QC outside air | Unknown | 0 | 6.056 | 2203 | 0.002 | ----- | ----- | ----- | ----- | 48 | MP20240716_001.gcd | 2024-07-16 16:02 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | MP20240716_001.gcd | 2024-07-16 16:02 | QC outside air | Unknown | 0 | 12.22 | 2200 | 0.447 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.8703 | 484.8106 | 1.4258 | 416.7033 | 0.73946 | 350.9165 | 4.8434 | 512.8725 | 1.8703 | 484.8106 | 48 | MP20240716_001.gcd | 2024-07-16 16:02 | QC outside air | Unknown | 0 | 2.697 | 5622076 | 0 | ----- | ----- | ----- | -----
49 | MP20240716_002.gcd | 2024-07-16 16:32 | QC spiked air | Unknown | 0 | 5.999 | 1252141 | 3.158 | ----- | ----- | ----- | ----- | 49 | MP20240716_002.gcd | 2024-07-16 16:32 | QC spiked air | Unknown | 0 | 5.957 | 10477 | 3.113 | ----- | ----- | ----- | ----- | 49 | MP20240716_002.gcd | 2024-07-16 16:32 | QC spiked air | Unknown | 0 | 12.192 | 9181 | 1.982 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2830.6174 | 1911.1644 | 2970.1998 | 1750.1786 | 2813.5394 | 1791.8616 | 2554.0914 | 2179.999 | 2830.6174 | 1911.1644 | 49 | MP20240716_002.gcd | 2024-07-16 16:32 | QC spiked air | Unknown | 0 | 2.693 | 5564653 | 0 | ----- | ----- | ----- | -----
50 | MP20240716_003.gcd | 2024-07-16 17:03 | QC reference tank | Unknown | 0 | 6.025 | 3629 | 0.006 | ----- | ----- | ----- | ----- | 50 | MP20240716_003.gcd | 2024-07-16 17:03 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | MP20240716_003.gcd | 2024-07-16 17:03 | QC reference tank | Unknown | 0 | 12.205 | 1597 | 0.314 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.8435 | 361.3325 | 6.3955 | 301.4469 | 3.1384 | 226.3348 | 2.5394 | 366.7848 | 5.8435 | 361.3325 | 50 | MP20240716_003.gcd | 2024-07-16 17:03 | QC reference tank | Unknown | 0 | 2.697 | 5402674 | 0 | ----- | ----- | ----- | -----
51 | MP20240716_004.gcd | 2024-07-16 17:34 | 49 | Unknown | 0 | 6.005 | 33537 | 0.081 | ----- | ----- | ----- | ----- | 51 | MP20240716_004.gcd | 2024-07-16 17:34 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | MP20240716_004.gcd | 2024-07-16 17:34 | 49 | Unknown | 0 | 12.046 | 151282 | 31.92 | ----- | ----- | ----- | ----- | 1 |  | 51 | 92.5779 | 30108.8202 | 87.8229 | 28549.1301 | 76.1843 | 30582.2325 | 89.8594 | 34759.504 | 92.5779 | 30108.8202 | 51 | MP20240716_004.gcd | 2024-07-16 17:34 | 49 | Unknown | 0 | 2.84 | 1108062 | 0 | ----- | ----- | ----- | -----
52 | MP20240716_005.gcd | 2024-07-16 18:04 | 307 | Unknown | 0 | 5.987 | 6102729 | 15.588 | ----- | ----- | ----- | ----- | 52 | MP20240716_005.gcd | 2024-07-16 18:04 | 307 | Unknown | 0 | 5.94 | 47968 | 13.989 | ----- | ----- | ----- | ----- | 52 | MP20240716_005.gcd | 2024-07-16 18:04 | 307 | Unknown | 0 | 12.131 | 58148 | 12.57 | ----- | ----- | ----- | ----- | 1 |  | 52 | 13004.2398 | 11363.9824 | 12538.9156 | 11059.0615 | 12035.1008 | 11829.2036 | 11300.6689 | 12487.9689 | 13004.2398 | 11363.9824 | 52 | MP20240716_005.gcd | 2024-07-16 18:04 | 307 | Unknown | 0 | 2.846 | 966950 | 0 | ----- | ----- | ----- | -----
53 | MP20240716_006.gcd | 2024-07-16 18:35 | 25 | Unknown | 0 | 6.004 | 63240 | 0.156 | ----- | ----- | ----- | ----- | 53 | MP20240716_006.gcd | 2024-07-16 18:35 | 25 | Unknown | 0 | 5.957 | 406 | 0.155 | ----- | ----- | ----- | ----- | 53 | MP20240716_006.gcd | 2024-07-16 18:35 | 25 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No visible CO2 peak | 53 | 177.8568 | #VALUE! | 165.7428 | #VALUE! | 145.6954 | #VALUE! | 175.7124 | #VALUE! | 177.8568 | #VALUE! | 53 | MP20240716_006.gcd | 2024-07-16 18:35 | 25 | Unknown | 0 | 2.834 | 1263035 | 0 | ----- | ----- | ----- | -----
54 | MP20240716_007.gcd | 2024-07-16 19:06 | 388 | Unknown | 0 | 6.02 | 4274 | 0.007 | ----- | ----- | ----- | ----- | 54 | MP20240716_007.gcd | 2024-07-16 19:06 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | MP20240716_007.gcd | 2024-07-16 19:06 | 388 | Unknown | 0 | 12.043 | 146360 | 30.921 | ----- | ----- | ----- | ----- | 1 |  | 54 | 7.7169 | 29128.6154 | 8.5659 | 27631.8645 | 4.4176 | 29602.2417 | 2.2186 | 33600.2429 | 7.7169 | 29128.6154 | 54 | MP20240716_007.gcd | 2024-07-16 19:06 | 388 | Unknown | 0 | 2.852 | 888279 | 0 | ----- | ----- | ----- | -----
55 | MP20240716_008.gcd | 2024-07-16 19:36 | 106 | Unknown | 0 | 6.003 | 67039 | 0.165 | ----- | ----- | ----- | ----- | 55 | MP20240716_008.gcd | 2024-07-16 19:36 | 106 | Unknown | 0 | 5.955 | 441 | 0.165 | ----- | ----- | ----- | ----- | 55 | MP20240716_008.gcd | 2024-07-16 19:36 | 106 | Unknown | 0 | 12.187 | 299 | 0.028 | ----- | ----- | ----- | ----- | 1 | CO2 peak barely visible; manually delineated | 55 | 188.7271 | 95.3897 | 175.6933 | 53.3093 | 154.5756 | -41.899 | 186.4923 | 51.1952 | 188.7271 | 95.3897 | 55 | MP20240716_008.gcd | 2024-07-16 19:36 | 106 | Unknown | 0 | 2.847 | 981311 | 0 | ----- | ----- | ----- | -----
56 | MP20240716_009.gcd | 2024-07-16 20:07 | 381 | Unknown | 0 | 6.004 | 37307 | 0.09 | ----- | ----- | ----- | ----- | 56 | MP20240716_009.gcd | 2024-07-16 20:07 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | MP20240716_009.gcd | 2024-07-16 20:07 | 381 | Unknown | 0 | 12.155 | 35702 | 7.755 | ----- | ----- | ----- | ----- | 1 |  | 56 | 103.43 | 7276.787 | 97.7246 | 6801.6389 | 85.0147 | 7243.3748 | 100.9103 | 8108.208 | 103.43 | 7276.787 | 56 | MP20240716_009.gcd | 2024-07-16 20:07 | 381 | Unknown | 0 | 2.842 | 1072655 | 0 | ----- | ----- | ----- | -----
57 | MP20240716_010.gcd | 2024-07-16 20:38 | 385 | Unknown | 0 | 6.005 | 13346 | 0.03 | ----- | ----- | ----- | ----- | 57 | MP20240716_010.gcd | 2024-07-16 20:38 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | MP20240716_010.gcd | 2024-07-16 20:38 | 385 | Unknown | 0 | 12.165 | 26604 | 5.784 | ----- | ----- | ----- | ----- | 1 |  | 57 | 34.3176 | 5445.5952 | 34.7341 | 5071.3184 | 28.8521 | 5377.2844 | 29.911 | 6146.8408 | 34.3176 | 5445.5952 | 57 | MP20240716_010.gcd | 2024-07-16 20:38 | 385 | Unknown | 0 | 2.834 | 1173097 | 0 | ----- | ----- | ----- | -----
58 | MP20240716_011.gcd | 2024-07-16 21:08 | 165 | Unknown | 0 | 5.998 | 517599 | 1.301 | ----- | ----- | ----- | ----- | 58 | MP20240716_011.gcd | 2024-07-16 21:08 | 165 | Unknown | 0 | 5.955 | 4583 | 1.384 | ----- | ----- | ----- | ----- | 58 | MP20240716_011.gcd | 2024-07-16 21:08 | 165 | Unknown | 0 | 12.109 | 74199 | 15.976 | ----- | ----- | ----- | ----- | 1 |  | 58 | 1264.5536 | 14624.2567 | 1331.0721 | 14093.4715 | 1191.2751 | 15092.7332 | 1153.259 | 16376.9177 | 1264.5536 | 14624.2567 | 58 | MP20240716_011.gcd | 2024-07-16 21:08 | 165 | Unknown | 0 | 2.838 | 1103006 | 0 | ----- | ----- | ----- | -----
59 | MP20240716_012.gcd | 2024-07-16 21:39 | 77 | Unknown | 0 | 5.981 | 7169385 | 18.361 | ----- | ----- | ----- | ----- | 59 | MP20240716_012.gcd | 2024-07-16 21:39 | 77 | Unknown | 0 | 5.933 | 50799 | 14.801 | ----- | ----- | ----- | ----- | 59 | MP20240716_012.gcd | 2024-07-16 21:39 | 77 | Unknown | 0 | 12.122 | 56568 | 12.233 | ----- | ----- | ----- | ----- | 1 |  | 59 | 15202.3116 | 11042.3839 | 13259.1722 | 10759.9126 | 12729.2221 | 11507.2432 | 13106.6654 | 12104.0161 | 15202.3116 | 11042.3839 | 59 | MP20240716_012.gcd | 2024-07-16 21:39 | 77 | Unknown | 0 | 2.847 | 895161 | 0 | ----- | ----- | ----- | -----
60 | MP20240716_013.gcd | 2024-07-16 22:09 | 374 | Unknown | 0 | 6.003 | 31669 | 0.076 | ----- | ----- | ----- | ----- | 60 | MP20240716_013.gcd | 2024-07-16 22:09 | 374 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | MP20240716_013.gcd | 2024-07-16 22:09 | 374 | Unknown | 0 | 12.195 | 4041 | 0.852 | ----- | ----- | ----- | ----- | 1 |  | 60 | 87.1978 | 861.5285 | 82.9155 | 768.5157 | 71.808 | 731.158 | 84.3672 | 956.836 | 87.1978 | 861.5285 | 60 | MP20240716_013.gcd | 2024-07-16 22:09 | 374 | Unknown | 0 | 2.838 | 1152335 | 0 | ----- | ----- | ----- | -----
61 | MP20240716_014.gcd | 2024-07-16 22:40 | 196 | Unknown | 0 | 6.005 | 92374 | 0.229 | ----- | ----- | ----- | ----- | 61 | MP20240716_014.gcd | 2024-07-16 22:40 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | MP20240716_014.gcd | 2024-07-16 22:40 | 196 | Unknown | 0 | 12.093 | 96232 | 20.602 | ----- | ----- | ----- | ----- | 1 |  | 61 | 261.0069 | 19079.4294 | 241.9628 | 18245.1231 | 213.7369 | 19551.1239 | 257.2176 | 21680.9079 | 261.0069 | 19079.4294 | 61 | MP20240716_014.gcd | 2024-07-16 22:40 | 196 | Unknown | 0 | 2.846 | 1056006 | 0 | ----- | ----- | ----- | -----
62 | MP20240716_015.gcd | 2024-07-16 23:11 | 90 | Unknown | 0 | 6.031 | 2781 | 0.004 | ----- | ----- | ----- | ----- | 62 | MP20240716_015.gcd | 2024-07-16 23:11 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | MP20240716_015.gcd | 2024-07-16 23:11 | 90 | Unknown | 0 | 12.02 | 163996 | 34.487 | ----- | ----- | ----- | ----- | 1 |  | 62 | 3.4527 | 32635.3954 | 3.4686 | 30914.8696 | 1.6406 | 33107.9208 | 3.6449 | 37744.8165 | 3.4527 | 32635.3954 | 62 | MP20240716_015.gcd | 2024-07-16 23:11 | 90 | Unknown | 0 | 2.832 | 1277569 | 0 | ----- | ----- | ----- | -----
63 | MP20240716_016.gcd | 2024-07-16 23:41 | 140 | Unknown | 0 | 5.934 | 30350236 | 82.781 | ----- | ----- | ----- | ----- | 63 | MP20240716_016.gcd | 2024-07-16 23:41 | 140 | Unknown | 0 | 5.886 | 224373 | 62.549 | ----- | ----- | ----- | ----- | 63 | MP20240716_016.gcd | 2024-07-16 23:41 | 140 | Unknown | 0 | 12.125 | 68483 | 14.767 | ----- | ----- | ----- | ----- | 1 |  | 63 | 59903.6178 | 13464.6441 | 56804.9483 | 13013.8335 | 54693.7162 | 13932.0493 | 55512.8096 | 14994.4213 | 59903.6178 | 13464.6441 | 63 | MP20240716_016.gcd | 2024-07-16 23:41 | 140 | Unknown | 0 | 2.857 | 835885 | 0 | ----- | ----- | ----- | -----
64 | MP20240716_017.gcd | 2024-07-17 00:12 | 318 | Unknown | 0 | 6.002 | 29965 | 0.072 | ----- | ----- | ----- | ----- | 64 | MP20240716_017.gcd | 2024-07-17 00:12 | 318 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | MP20240716_017.gcd | 2024-07-17 00:12 | 318 | Unknown | 0 | 12.191 | 5879 | 1.256 | ----- | ----- | ----- | ----- | 1 |  | 64 | 82.2882 | 1237.2282 | 78.4381 | 1119.6448 | 67.8155 | 1110.6073 | 79.3475 | 1396.992 | 82.2882 | 1237.2282 | 64 | MP20240716_017.gcd | 2024-07-17 00:12 | 318 | Unknown | 0 | 2.836 | 1175291 | 0 | ----- | ----- | ----- | -----
65 | MP20240716_018.gcd | 2024-07-17 00:42 | 104 | Unknown | 0 | 6 | 55517 | 0.136 | ----- | ----- | ----- | ----- | 65 | MP20240716_018.gcd | 2024-07-17 00:42 | 104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | MP20240716_018.gcd | 2024-07-17 00:42 | 104 | Unknown | 0 | 12.2 | 49490 | 10.72 | ----- | ----- | ----- | ----- | 1 |  | 65 | 155.7327 | 9600.2313 | 145.5036 | 9418.805 | 127.6357 | 10063.3779 | 153.6577 | 10381.4983 | 155.7327 | 9600.2313 | 65 | MP20240716_018.gcd | 2024-07-17 00:42 | 104 | Unknown | 0 | 2.84 | 1059527 | 0 | ----- | ----- | ----- | -----
66 | MP20240716_019.gcd | 2024-07-17 01:13 | 292 | Unknown | 0 | 5.997 | 524937 | 1.32 | ----- | ----- | ----- | ----- | 66 | MP20240716_019.gcd | 2024-07-17 01:13 | 292 | Unknown | 0 | 5.945 | 3954 | 1.199 | ----- | ----- | ----- | ----- | 66 | MP20240716_019.gcd | 2024-07-17 01:13 | 292 | Unknown | 0 | 12.108 | 73900 | 15.913 | ----- | ----- | ----- | ----- | 1 |  | 66 | 1280.2315 | 14563.6371 | 1349.4828 | 14037.0227 | 1207.8886 | 15032.0599 | 1167.3524 | 16304.6665 | 1280.2315 | 14563.6371 | 66 | MP20240716_019.gcd | 2024-07-17 01:13 | 292 | Unknown | 0 | 2.841 | 1019793 | 0 | ----- | ----- | ----- | -----
67 | MP20240716_020.gcd | 2024-07-17 01:44 | 57 | Unknown | 0 | 6 | 118596 | 0.295 | ----- | ----- | ----- | ----- | 67 | MP20240716_020.gcd | 2024-07-17 01:44 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | MP20240716_020.gcd | 2024-07-17 01:44 | 57 | Unknown | 0 | 12.107 | 75493 | 16.25 | ----- | ----- | ----- | ----- | 1 |  | 67 | 335.4268 | 14886.5543 | 310.3889 | 14337.7347 | 274.8606 | 15355.2597 | 328.2871 | 16689.5191 | 335.4268 | 14886.5543 | 67 | MP20240716_020.gcd | 2024-07-17 01:44 | 57 | Unknown | 0 | 2.839 | 1101792 | 0 | ----- | ----- | ----- | -----
68 | MP20240716_021.gcd | 2024-07-17 02:14 | 45 | Unknown | 0 | 6.04 | 2154 | 0.002 | ----- | ----- | ----- | ----- | 68 | MP20240716_021.gcd | 2024-07-17 02:14 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | MP20240716_021.gcd | 2024-07-17 02:14 | 45 | Unknown | 0 | 12.021 | 169131 | 35.52 | ----- | ----- | ----- | ----- | 1 |  | 68 | 1.7379 | 33653.6401 | 1.2509 | 31868.8671 | 0.66753 | 34125.6706 | 4.9616 | 38946.7921 | 1.7379 | 33653.6401 | 68 | MP20240716_021.gcd | 2024-07-17 02:14 | 45 | Unknown | 0 | 2.83 | 1296969 | 0 | ----- | ----- | ----- | -----
69 | MP20240716_022.gcd | 2024-07-17 02:45 | 247 | Unknown | 0 | 6.007 | 13042 | 0.029 | ----- | ----- | ----- | ----- | 69 | MP20240716_022.gcd | 2024-07-17 02:45 | 247 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | MP20240716_022.gcd | 2024-07-17 02:45 | 247 | Unknown | 0 | 12.153 | 31740 | 6.898 | ----- | ----- | ----- | ----- | 1 |  | 69 | 33.4386 | 6480.5558 | 33.934 | 6048.4492 | 28.1389 | 6431.2484 | 28.9986 | 7263.3523 | 33.4386 | 6480.5558 | 69 | MP20240716_022.gcd | 2024-07-17 02:45 | 247 | Unknown | 0 | 2.838 | 1118000 | 0 | ----- | ----- | ----- | -----
70 | MP20240716_023.gcd | 2024-07-17 03:16 | 251 | Unknown | 0 | 6.003 | 21465 | 0.051 | ----- | ----- | ----- | ----- | 70 | MP20240716_023.gcd | 2024-07-17 03:16 | 251 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | MP20240716_023.gcd | 2024-07-17 03:16 | 251 | Unknown | 0 | 12.049 | 136078 | 28.827 | ----- | ----- | ----- | ----- | 1 |  | 70 | 57.773 | 27077.2226 | 56.0935 | 25713.1656 | 47.8927 | 27551.0631 | 54.1714 | 31172.1662 | 57.773 | 27077.2226 | 70 | MP20240716_023.gcd | 2024-07-17 03:16 | 251 | Unknown | 0 | 2.84 | 1090004 | 0 | ----- | ----- | ----- | -----
71 | MP20240716_024.gcd | 2024-07-17 03:46 | 102 | Unknown | 0 | 6 | 110917 | 0.276 | ----- | ----- | ----- | ----- | 71 | MP20240716_024.gcd | 2024-07-17 03:46 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | MP20240716_024.gcd | 2024-07-17 03:46 | 102 | Unknown | 0 | 12.103 | 75920 | 16.34 | ----- | ----- | ----- | ----- | 1 |  | 71 | 313.6744 | 14973.0908 | 290.3678 | 14418.3259 | 256.9723 | 15441.8706 | 307.6993 | 16792.6427 | 313.6744 | 14973.0908 | 71 | MP20240716_024.gcd | 2024-07-17 03:46 | 102 | Unknown | 0 | 2.837 | 1140475 | 0 | ----- | ----- | ----- | -----
72 | MP20240716_025.gcd | 2024-07-17 04:17 | 204 | Unknown | 0 | 6.001 | 37161 | 0.09 | ----- | ----- | ----- | ----- | 72 | MP20240716_025.gcd | 2024-07-17 04:17 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | MP20240716_025.gcd | 2024-07-17 04:17 | 204 | Unknown | 0 | 12.181 | 4733 | 1.004 | ----- | ----- | ----- | ----- | 1 |  | 72 | 103.0099 | 1003.0254 | 97.3412 | 900.7274 | 84.6728 | 874.0394 | 100.4832 | 1122.9148 | 103.0099 | 1003.0254 | 72 | MP20240716_025.gcd | 2024-07-17 04:17 | 204 | Unknown | 0 | 2.828 | 1354983 | 0 | ----- | ----- | ----- | -----
73 | MP20240716_026.gcd | 2024-07-17 04:47 | 367 | Unknown | 0 | 6.001 | 59549 | 0.147 | ----- | ----- | ----- | ----- | 73 | MP20240716_026.gcd | 2024-07-17 04:47 | 367 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | MP20240716_026.gcd | 2024-07-17 04:47 | 367 | Unknown | 0 | 12.176 | 13655 | 2.962 | ----- | ----- | ----- | ----- | 1 |  | 73 | 167.2874 | 2822.2248 | 156.0718 | 2603.9462 | 137.0655 | 2714.0301 | 165.1954 | 3225.056 | 167.2874 | 2822.2248 | 73 | MP20240716_026.gcd | 2024-07-17 04:47 | 367 | Unknown | 0 | 2.834 | 1207212 | 0 | ----- | ----- | ----- | -----
74 | MP20240716_027.gcd | 2024-07-17 05:18 | 325 | Unknown | 0 | 6.003 | 33745 | 0.082 | ----- | ----- | ----- | ----- | 74 | MP20240716_027.gcd | 2024-07-17 05:18 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | MP20240716_027.gcd | 2024-07-17 05:18 | 325 | Unknown | 0 | 12.184 | 5184 | 1.104 | ----- | ----- | ----- | ----- | 1 |  | 74 | 93.1769 | 1095.2129 | 88.3693 | 986.8858 | 76.6715 | 967.147 | 90.4703 | 1230.9188 | 93.1769 | 1095.2129 | 74 | MP20240716_027.gcd | 2024-07-17 05:18 | 325 | Unknown | 0 | 2.829 | 1315854 | 0 | ----- | ----- | ----- | -----
75 | MP20240716_028.gcd | 2024-07-17 05:49 | 338 | Unknown | 0 | 5.95 | 24051156 | 64.408 | ----- | ----- | ----- | ----- | 75 | MP20240716_028.gcd | 2024-07-17 05:49 | 338 | Unknown | 0 | 5.902 | 175986 | 49.625 | ----- | ----- | ----- | ----- | 75 | MP20240716_028.gcd | 2024-07-17 05:49 | 338 | Unknown | 0 | 12.091 | 95617 | 20.473 | ----- | ----- | ----- | ----- | 1 |  | 75 | 47096.1174 | 18955.3902 | 44787.321 | 18129.4536 | 43112.7212 | 19427.0145 | 43488.9876 | 21533.3981 | 47096.1174 | 18955.3902 | 75 | MP20240716_028.gcd | 2024-07-17 05:49 | 338 | Unknown | 0 | 2.866 | 721613 | 0 | ----- | ----- | ----- | -----
76 | MP20240716_029.gcd | 2024-07-17 06:19 | 127 | Unknown | 0 | 6.009 | 58538 | 0.144 | ----- | ----- | ----- | ----- | 76 | MP20240716_029.gcd | 2024-07-17 06:19 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | MP20240716_029.gcd | 2024-07-17 06:19 | 127 | Unknown | 0 | 12.098 | 91891 | 19.695 | ----- | ----- | ----- | ----- | 1 |  | 76 | 164.391 | 18203.505 | 153.4222 | 17428.4025 | 134.7012 | 18674.6799 | 162.3072 | 20639.0429 | 164.391 | 18203.505 | 76 | MP20240716_029.gcd | 2024-07-17 06:19 | 127 | Unknown | 0 | 2.848 | 1073873 | 0 | ----- | ----- | ----- | -----
77 | MP20240716_030.gcd | 2024-07-17 06:50 | 76 | Unknown | 0 | 6.009 | 48693 | 0.119 | ----- | ----- | ----- | ----- | 77 | MP20240716_030.gcd | 2024-07-17 06:50 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | MP20240716_030.gcd | 2024-07-17 06:50 | 76 | Unknown | 0 | 12.154 | 18579 | 4.038 | ----- | ----- | ----- | ----- | 1 |  | 77 | 136.1553 | 3822.1533 | 127.6083 | 3542.8342 | 111.6702 | 3727.7703 | 134.0137 | 4354.1197 | 136.1553 | 3822.1533 | 77 | MP20240716_030.gcd | 2024-07-17 06:50 | 76 | Unknown | 0 | 2.847 | 1111798 | 0 | ----- | ----- | ----- | -----
78 | MP20240716_031.gcd | 2024-07-17 07:20 | 322 | Unknown | 0 | 6.017 | 4423 | 0.008 | ----- | ----- | ----- | ----- | 78 | MP20240716_031.gcd | 2024-07-17 07:20 | 322 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | MP20240716_031.gcd | 2024-07-17 07:20 | 322 | Unknown | 0 | 12.041 | 150416 | 31.744 | ----- | ----- | ----- | ----- | 1 |  | 78 | 8.1564 | 29936.4427 | 9.0605 | 28387.7991 | 4.7303 | 30409.8979 | 2.2084 | 34555.6818 | 8.1564 | 29936.4427 | 78 | MP20240716_031.gcd | 2024-07-17 07:20 | 322 | Unknown | 0 | 2.841 | 1064459 | 0 | ----- | ----- | ----- | -----