## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240827_001.gcd | 2024-08-27 11:39 | QC outside air | Unknown | 0 | 6.03 | 1143 | -0.001 | ----- | ----- | ----- | ----- | 48 | FMI20240827_001.gcd | 2024-08-27 11:39 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240827_001.gcd | 2024-08-27 11:39 | QC outside air | Unknown | 0 | 12.211 | 2233 | 0.454 | ----- | ----- | ----- | ----- | 1 |  | 48 | -0.93257 | 491.5668 | -2.421 | 423.0105 | -0.66088 | 357.7338 | 7.9791 | 520.8578 | -0.93257 | 491.5668 | 48 | FMI20240827_001.gcd | 2024-08-27 11:39 | QC outside air | Unknown | 0 | 2.695 | 5283690 | 0 | ----- | ----- | ----- | -----
49 | FMI20240827_002.gcd | 2024-08-27 12:10 | QC spiked air | Unknown | 0 | 5.995 | 1101132 | 2.776 | ----- | ----- | ----- | ----- | 49 | FMI20240827_002.gcd | 2024-08-27 12:10 | QC spiked air | Unknown | 0 | 5.946 | 8313 | 2.479 | ----- | ----- | ----- | ----- | 49 | FMI20240827_002.gcd | 2024-08-27 12:10 | QC spiked air | Unknown | 0 | 12.192 | 10198 | 2.205 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2509.2084 | 2118.4708 | 2416.1662 | 1944.3086 | 2279.603 | 2001.5725 | 2267.7437 | 2419.158 | 2509.2084 | 2118.4708 | 49 | FMI20240827_002.gcd | 2024-08-27 12:10 | QC spiked air | Unknown | 0 | 2.703 | 5002439 | 0 | ----- | ----- | ----- | -----
50 | FMI20240827_003.gcd | 2024-08-27 12:40 | QC reference tank | Unknown | 0 | 6.021 | 2966 | 0.004 | ----- | ----- | ----- | ----- | 50 | FMI20240827_003.gcd | 2024-08-27 12:40 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240827_003.gcd | 2024-08-27 12:40 | QC reference tank | Unknown | 0 | 12.229 | 1599 | 0.314 | ----- | ----- | ----- | ----- | 1 |  | 50 | 3.9673 | 361.7421 | 4.1142 | 301.8292 | 1.9495 | 226.7481 | 3.3375 | 367.2698 | 3.9673 | 361.7421 | 50 | FMI20240827_003.gcd | 2024-08-27 12:40 | QC reference tank | Unknown | 0 | 2.693 | 5209457 | 0 | ----- | ----- | ----- | -----
68 | FMI20240827_021.gcd | 2024-08-27 22:07 | 348 | Unknown | 0 | 5.974 | 7898831 | 20.266 | ----- | ----- | ----- | ----- | 68 | FMI20240827_021.gcd | 2024-08-27 22:07 | 348 | Unknown | 0 | 5.926 | 57508 | 16.723 | ----- | ----- | ----- | ----- | 68 | FMI20240827_021.gcd | 2024-08-27 22:07 | 348 | Unknown | 0 | 12.09 | 71090 | 15.319 | ----- | ----- | ----- | ----- | 1 |  | 68 | 16697.3673 | 13993.7245 | 14964.7763 | 13506.3754 | 14372.9338 | 14461.6303 | 14317.3497 | 15625.2931 | 16697.3673 | 13993.7245 | 68 | FMI20240827_021.gcd | 2024-08-27 22:07 | 348 | Unknown | 0 | 2.851 | 802440 | 0 | ----- | ----- | ----- | -----
69 | FMI20240827_022.gcd | 2024-08-27 22:37 | 111 | Unknown | 0 | 5.992 | 695546 | 1.751 | ----- | ----- | ----- | ----- | 69 | FMI20240827_022.gcd | 2024-08-27 22:37 | 111 | Unknown | 0 | 5.941 | 6618 | 1.982 | ----- | ----- | ----- | ----- | 69 | FMI20240827_022.gcd | 2024-08-27 22:37 | 111 | Unknown | 0 | 12.17 | 3073 | 0.639 | ----- | ----- | ----- | ----- | 1 |  | 69 | 1644.5556 | 663.5003 | 1773.8631 | 583.5461 | 1591.708 | 531.2481 | 1494.4609 | 723.7849 | 1644.5556 | 663.5003 | 69 | FMI20240827_022.gcd | 2024-08-27 22:37 | 111 | Unknown | 0 | 2.841 | 1015076 | 0 | ----- | ----- | ----- | -----
70 | FMI20240827_023.gcd | 2024-08-27 23:08 | 122 | Unknown | 0 | 5.882 | 41329055 | 116.717 | ----- | ----- | ----- | ----- | 70 | FMI20240827_023.gcd | 2024-08-27 23:08 | 122 | Unknown | 0 | 5.842 | 337662 | 91.782 | ----- | ----- | ----- | ----- | 70 | FMI20240827_023.gcd | 2024-08-27 23:08 | 122 | Unknown | 0 | 12.096 | 61433 | 13.27 | ----- | ----- | ----- | ----- | 1 |  | 70 | 89322.1558 | 12032.2384 | 84574.3432 | 11680.7661 | 81453.4574 | 12498.1883 | 83297.9905 | 13285.5969 | 89322.1558 | 12032.2384 | 70 | FMI20240827_023.gcd | 2024-08-27 23:08 | 122 | Unknown | 0 | 2.859 | 625170 | 0 | ----- | ----- | ----- | -----
71 | FMI20240827_024.gcd | 2024-08-27 23:38 | 393 | Unknown | 0 | 5.993 | 740339 | 1.864 | ----- | ----- | ----- | ----- | 71 | FMI20240827_024.gcd | 2024-08-27 23:38 | 393 | Unknown | 0 | 5.942 | 6203 | 1.86 | ----- | ----- | ----- | ----- | 71 | FMI20240827_024.gcd | 2024-08-27 23:38 | 393 | Unknown | 0 | 12.137 | 2363 | 0.483 | ----- | ----- | ----- | ----- | 1 |  | 71 | 1740.1482 | 518.1811 | 1875.777 | 447.8568 | 1758.8156 | 384.5896 | 1580.163 | 552.3052 | 1740.1482 | 518.1811 | 71 | FMI20240827_024.gcd | 2024-08-27 23:38 | 393 | Unknown | 0 | 2.841 | 1014917 | 0 | ----- | ----- | ----- | -----
72 | FMI20240827_025.gcd | 2024-08-28 00:09 | 217 | Unknown | 0 | 5.999 | 11528 | 0.026 | ----- | ----- | ----- | ----- | 72 | FMI20240827_025.gcd | 2024-08-28 00:09 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20240827_025.gcd | 2024-08-28 00:09 | 217 | Unknown | 0 | 12.109 | 48637 | 10.537 | ----- | ----- | ----- | ----- | 1 |  | 72 | 29.0603 | 9426.2687 | 29.9491 | 9257.0724 | 24.587 | 9889.1989 | 24.4501 | 10173.6336 | 29.0603 | 9426.2687 | 72 | FMI20240827_025.gcd | 2024-08-28 00:09 | 217 | Unknown | 0 | 2.838 | 1057304 | 0 | ----- | ----- | ----- | -----
73 | FMI20240827_026.gcd | 2024-08-28 00:40 | 267 | Unknown | 0 | 5.979 | 8115908 | 20.834 | ----- | ----- | ----- | ----- | 73 | FMI20240827_026.gcd | 2024-08-28 00:40 | 267 | Unknown | 0 | 5.931 | 58615 | 17.039 | ----- | ----- | ----- | ----- | 73 | FMI20240827_026.gcd | 2024-08-28 00:40 | 267 | Unknown | 0 | 12.066 | 68363 | 14.742 | ----- | ----- | ----- | ----- | 1 |  | 73 | 15426.2092 | 13440.2827 | 15246.0311 | 12991.1565 | 14643.9823 | 13907.6644 | 13934.0331 | 14965.369 | 15426.2092 | 13440.2827 | 73 | FMI20240827_026.gcd | 2024-08-28 00:40 | 267 | Unknown | 0 | 2.856 | 813328 | 0 | ----- | ----- | ----- | -----
74 | FMI20240827_027.gcd | 2024-08-28 01:10 | 270 | Unknown | 0 | 5.997 | 25234 | 0.06 | ----- | ----- | ----- | ----- | 74 | FMI20240827_027.gcd | 2024-08-28 01:10 | 270 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20240827_027.gcd | 2024-08-28 01:10 | 270 | Unknown | 0 | 12.159 | 7209 | 1.549 | ----- | ----- | ----- | ----- | 1 |  | 74 | 68.6485 | 1508.8372 | 66.0035 | 1373.6578 | 56.7281 | 1385.074 | 65.3629 | 1713.5726 | 68.6485 | 1508.8372 | 74 | FMI20240827_027.gcd | 2024-08-28 01:10 | 270 | Unknown | 0 | 2.843 | 979250 | 0 | ----- | ----- | ----- | -----
75 | FMI20240827_028.gcd | 2024-08-28 01:41 | 97 | Unknown | 0 | 6.001 | 147128 | 0.367 | ----- | ----- | ----- | ----- | 75 | FMI20240827_028.gcd | 2024-08-28 01:41 | 97 | Unknown | 0 | 5.958 | 1530 | 0.486 | ----- | ----- | ----- | ----- | 75 | FMI20240827_028.gcd | 2024-08-28 01:41 | 97 | Unknown | 0 | 11.879 | 254415 | 52.287 | ----- | ----- | ----- | ----- | 2 | CO2 value is wrong- moisture problems. CH4 is safe to use. | 75 | 415.9515 | 50379.7249 | 384.6541 | 47587.8291 | 341.2431 | 50832.0477 | 403.1537 | 58594.2615 | 415.9515 | 50379.7249 | 75 | FMI20240827_028.gcd | 2024-08-28 01:41 | 97 | Unknown | 0 | 2.856 | 862021 | 0 | ----- | ----- | ----- | -----
76 | FMI20240827_029.gcd | 2024-08-28 02:11 | 177 | Unknown | 0 | 5.997 | 20506 | 0.048 | ----- | ----- | ----- | ----- | 76 | FMI20240827_029.gcd | 2024-08-28 02:11 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20240827_029.gcd | 2024-08-28 02:11 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | no CO2 peak detected | 76 | 55.0045 | #VALUE! | 53.5714 | #VALUE! | 45.6442 | #VALUE! | 51.3166 | #VALUE! | 55.0045 | #VALUE! | 76 | FMI20240827_029.gcd | 2024-08-28 02:11 | 177 | Unknown | 0 | 2.832 | 1185699 | 0 | ----- | ----- | ----- | -----
77 | FMI20240827_030.gcd | 2024-08-28 02:42 | 147 | Unknown | 0 | 6.017 | 2606 | 0.003 | ----- | ----- | ----- | ----- | 77 | FMI20240827_030.gcd | 2024-08-28 02:42 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20240827_030.gcd | 2024-08-28 02:42 | 147 | Unknown | 0 | 12.017 | 141441 | 29.921 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.9696 | 28147.8448 | 2.8542 | 26714.3709 | 1.3575 | 28621.6129 | 3.9697 | 32439.7084 | 2.9696 | 28147.8448 | 77 | FMI20240827_030.gcd | 2024-08-28 02:42 | 147 | Unknown | 0 | 2.857 | 863732 | 0 | ----- | ----- | ----- | -----
78 | FMI20240827_031.gcd | 2024-08-28 03:13 | 129 | Unknown | 0 | 5.993 | 115755 | 0.288 | ----- | ----- | ----- | ----- | 78 | FMI20240827_031.gcd | 2024-08-28 03:13 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20240827_031.gcd | 2024-08-28 03:13 | 129 | Unknown | 0 | 12.07 | 82159 | 17.654 | ----- | ----- | ----- | ----- | 1 |  | 78 | 327.3831 | 16236.4968 | 302.9834 | 15595.1862 | 268.2436 | 16706.3027 | 320.6919 | 18297.7052 | 327.3831 | 16236.4968 | 78 | FMI20240827_031.gcd | 2024-08-28 03:13 | 129 | Unknown | 0 | 2.843 | 958799 | 0 | ----- | ----- | ----- | -----
79 | FMI20240827_032.gcd | 2024-08-28 03:43 | 385 | Unknown | 0 | 5.88 | 40658748 | 114.567 | ----- | ----- | ----- | ----- | 79 | FMI20240827_032.gcd | 2024-08-28 03:43 | 385 | Unknown | 0 | 5.84 | 331655 | 90.266 | ----- | ----- | ----- | ----- | 79 | FMI20240827_032.gcd | 2024-08-28 03:43 | 385 | Unknown | 0 | 12.068 | 78072 | 16.793 | ----- | ----- | ----- | ----- | 1 |  | 79 | 87782.2543 | 15409.0851 | 83114.8416 | 14824.3998 | 80047.0466 | 15878.2319 | 81837.6067 | 17312.1392 | 87782.2543 | 15409.0851 | 79 | FMI20240827_032.gcd | 2024-08-28 03:43 | 385 | Unknown | 0 | 2.855 | 675601 | 0 | ----- | ----- | ----- | -----
80 | FMI20240827_033.gcd | 2024-08-28 04:14 | 106 | Unknown | 0 | 6.005 | 25156 | 0.06 | ----- | ----- | ----- | ----- | 80 | FMI20240827_033.gcd | 2024-08-28 04:14 | 106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | FMI20240827_033.gcd | 2024-08-28 04:14 | 106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | no CO2 peak detected | 80 | 68.4235 | #VALUE! | 65.7985 | #VALUE! | 56.5453 | #VALUE! | 65.1317 | #VALUE! | 68.4235 | #VALUE! | 80 | FMI20240827_033.gcd | 2024-08-28 04:14 | 106 | Unknown | 0 | 2.853 | 923357 | 0 | ----- | ----- | ----- | -----
81 | FMI20240827_034.gcd | 2024-08-28 04:44 | 41 | Unknown | 0 | 6.02 | 2792 | 0.004 | ----- | ----- | ----- | ----- | 81 | FMI20240827_034.gcd | 2024-08-28 04:44 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | FMI20240827_034.gcd | 2024-08-28 04:44 | 41 | Unknown | 0 | 12.099 | 53126 | 11.498 | ----- | ----- | ----- | ----- | 1 |  | 81 | 3.4832 | 10341.3722 | 3.5071 | 10107.9414 | 1.6587 | 10805.4173 | 3.6256 | 11266.8752 | 3.4832 | 10341.3722 | 81 | FMI20240827_034.gcd | 2024-08-28 04:44 | 41 | Unknown | 0 | 2.848 | 853345 | 0 | ----- | ----- | ----- | -----
82 | FMI20240827_035.gcd | 2024-08-28 05:15 | 96 | Unknown | 0 | 5.996 | 32033 | 0.077 | ----- | ----- | ----- | ----- | 82 | FMI20240827_035.gcd | 2024-08-28 05:15 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | FMI20240827_035.gcd | 2024-08-28 05:15 | 96 | Unknown | 0 | 12.038 | 104257 | 22.273 | ----- | ----- | ----- | ----- | 1 |  | 82 | 88.2463 | 20696.3245 | 83.8718 | 19753.342 | 72.6608 | 21168.8317 | 85.4382 | 23602.8954 | 88.2463 | 20696.3245 | 82 | FMI20240827_035.gcd | 2024-08-28 05:15 | 96 | Unknown | 0 | 2.851 | 809404 | 0 | ----- | ----- | ----- | -----
83 | FMI20240827_036.gcd | 2024-08-28 05:46 | 21 | Unknown | 0 | 5.996 | 21712 | 0.051 | ----- | ----- | ----- | ----- | 83 | FMI20240827_036.gcd | 2024-08-28 05:46 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | FMI20240827_036.gcd | 2024-08-28 05:46 | 21 | Unknown | 0 | 11.974 | 184550 | 38.603 | ----- | ----- | ----- | ----- | 1 |  | 83 | 58.4859 | 36703.5344 | 56.743 | 34728.3075 | 48.4718 | 37173.6069 | 54.9062 | 42543.0341 | 58.4859 | 36703.5344 | 83 | FMI20240827_036.gcd | 2024-08-28 05:46 | 21 | Unknown | 0 | 2.844 | 926801 | 0 | ----- | ----- | ----- | -----
84 | FMI20240827_037.gcd | 2024-08-28 06:16 | 358 | Unknown | 0 | 5.998 | 24706 | 0.059 | ----- | ----- | ----- | ----- | 84 | FMI20240827_037.gcd | 2024-08-28 06:16 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | FMI20240827_037.gcd | 2024-08-28 06:16 | 358 | Unknown | 0 | 12.136 | 151 | -0.005 | ----- | ----- | ----- | ----- | 1 |  | 84 | 67.1254 | 65.0536 | 64.6154 | 25.0128 | 55.4905 | -72.4889 | 63.7978 | 15.1136 | 67.1254 | 65.0536 | 84 | FMI20240827_037.gcd | 2024-08-28 06:16 | 358 | Unknown | 0 | 2.834 | 1151005 | 0 | ----- | ----- | ----- | -----
85 | FMI20240827_038.gcd | 2024-08-28 06:47 | 92 | Unknown | 0 | 6.005 | 23568 | 0.056 | ----- | ----- | ----- | ----- | 85 | FMI20240827_038.gcd | 2024-08-28 06:47 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | FMI20240827_038.gcd | 2024-08-28 06:47 | 92 | Unknown | 0 | 11.997 | 173063 | 36.309 | ----- | ----- | ----- | ----- | 1 |  | 85 | 63.8422 | 34432.4791 | 61.6234 | 32598.7876 | 52.8229 | 34904.0776 | 60.4215 | 39865.7173 | 63.8422 | 34432.4791 | 85 | FMI20240827_038.gcd | 2024-08-28 06:47 | 92 | Unknown | 0 | 2.856 | 880360 | 0 | ----- | ----- | ----- | -----
86 | FMI20240827_039.gcd | 2024-08-28 07:17 | 407 | Unknown | 0 | 6.004 | 25128 | 0.06 | ----- | ----- | ----- | ----- | 86 | FMI20240827_039.gcd | 2024-08-28 07:17 | 407 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | FMI20240827_039.gcd | 2024-08-28 07:17 | 407 | Unknown | 0 | 12.146 | 5953 | 1.273 | ----- | ----- | ----- | ----- | 1 |  | 86 | 68.3427 | 1252.3458 | 65.7248 | 1133.7794 | 56.4797 | 1125.8807 | 65.0488 | 1414.6486 | 68.3427 | 1252.3458 | 86 | FMI20240827_039.gcd | 2024-08-28 07:17 | 407 | Unknown | 0 | 2.854 | 920792 | 0 | ----- | ----- | ----- | -----
87 | FMI20240827_040.gcd | 2024-08-28 07:48 | 88 | Unknown | 0 | 6.047 | 1861 | 0.001 | ----- | ----- | ----- | ----- | 87 | FMI20240827_040.gcd | 2024-08-28 07:48 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | FMI20240827_040.gcd | 2024-08-28 07:48 | 88 | Unknown | 0 | 11.986 | 181438 | 37.983 | ----- | ----- | ----- | ----- | 1 |  | 87 | 0.95193 | 36088.8979 | 0.1989 | 34151.8125 | 0.25197 | 36559.4226 | 5.7225 | 41818.7749 | 0.95193 | 36088.8979 | 87 | FMI20240827_040.gcd | 2024-08-28 07:48 | 88 | Unknown | 0 | 2.849 | 985807 | 0 | ----- | ----- | ----- | -----
88 | FMI20240827_041.gcd | 2024-08-28 08:19 | 399 | Unknown | 0 | 6.007 | 24126 | 0.057 | ----- | ----- | ----- | ----- | 88 | FMI20240827_041.gcd | 2024-08-28 08:19 | 399 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | FMI20240827_041.gcd | 2024-08-28 08:19 | 399 | Unknown | 0 | 12.165 | 6528 | 1.399 | ----- | ----- | ----- | ----- | 1 |  | 88 | 65.4522 | 1369.7916 | 63.0905 | 1243.6027 | 54.131 | 1244.5501 | 62.0775 | 1551.6754 | 65.4522 | 1369.7916 | 88 | FMI20240827_041.gcd | 2024-08-28 08:19 | 399 | Unknown | 0 | 2.848 | 1064312 | 0 | ----- | ----- | ----- | -----
89 | FMI20240827_042.gcd | 2024-08-28 08:49 | 282 | Unknown | 0 | 6.003 | 20302 | 0.048 | ----- | ----- | ----- | ----- | 89 | FMI20240827_042.gcd | 2024-08-28 08:49 | 282 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 89 | FMI20240827_042.gcd | 2024-08-28 08:49 | 282 | Unknown | 0 | 12.154 | 326 | 0.033 | ----- | ----- | ----- | ----- | 1 |  | 89 | 54.4155 | 100.9236 | 53.0348 | 58.4715 | 45.1659 | -36.3185 | 50.709 | 57.7755 | 54.4155 | 100.9236 | 89 | FMI20240827_042.gcd | 2024-08-28 08:49 | 282 | Unknown | 0 | 2.842 | 1130171 | 0 | ----- | ----- | ----- | -----
90 | FMI20240827_043.gcd | 2024-08-28 09:20 | 253 | Unknown | 0 | 5.995 | 27778 | 0.067 | ----- | ----- | ----- | ----- | 90 | FMI20240827_043.gcd | 2024-08-28 09:20 | 253 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 90 | FMI20240827_043.gcd | 2024-08-28 09:20 | 253 | Unknown | 0 | 12.046 | 106777 | 22.796 | ----- | ----- | ----- | ----- | 1 |  | 90 | 75.9846 | 21203.4212 | 72.6906 | 20226.5188 | 62.6906 | 21676.144 | 72.8916 | 24205.3486 | 75.9846 | 21203.4212 | 90 | FMI20240827_043.gcd | 2024-08-28 09:20 | 253 | Unknown | 0 | 2.846 | 880623 | 0 | ----- | ----- | ----- | -----
91 | FMI20240827_044.gcd | 2024-08-28 09:50 | 8 | Unknown | 0 | 6.038 | 1756 | 0.001 | ----- | ----- | ----- | ----- | 91 | FMI20240827_044.gcd | 2024-08-28 09:50 | 8 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 91 | FMI20240827_044.gcd | 2024-08-28 09:50 | 8 | Unknown | 0 | 11.964 | 189148 | 39.518 | ----- | ----- | ----- | ----- | 1 |  | 91 | 0.67266 | 37610.8119 | -0.1805 | 35579.5061 | 0.10912 | 38080.1634 | 6.0178 | 43611.6817 | 0.67266 | 37610.8119 | 91 | FMI20240827_044.gcd | 2024-08-28 09:50 | 8 | Unknown | 0 | 2.833 | 1147106 | 0 | ----- | ----- | ----- | -----
92 | FMI20240827_045.gcd | 2024-08-28 10:21 | 179 | Unknown | 0 | 5.997 | 27413 | 0.066 | ----- | ----- | ----- | ----- | 92 | FMI20240827_045.gcd | 2024-08-28 10:21 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 92 | FMI20240827_045.gcd | 2024-08-28 10:21 | 179 | Unknown | 0 | 12.145 | 6456 | 1.383 | ----- | ----- | ----- | ----- | 1 |  | 92 | 74.9323 | 1355.0875 | 71.7313 | 1229.8515 | 61.8352 | 1229.6915 | 71.8127 | 1534.5338 | 74.9323 | 1355.0875 | 92 | FMI20240827_045.gcd | 2024-08-28 10:21 | 179 | Unknown | 0 | 2.841 | 1018865 | 0 | ----- | ----- | ----- | -----
93 | FMI20240827_046.gcd | 2024-08-28 10:52 | 334 | Unknown | 0 | 6.028 | 2746 | 0.003 | ----- | ----- | ----- | ----- | 93 | FMI20240827_046.gcd | 2024-08-28 10:52 | 334 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 93 | FMI20240827_046.gcd | 2024-08-28 10:52 | 334 | Unknown | 0 | 12.022 | 146363 | 30.922 | ----- | ----- | ----- | ----- | 1 |  | 93 | 3.3558 | 29129.2132 | 3.346 | 27632.4238 | 1.5833 | 29602.8394 | 3.7072 | 33600.9501 | 3.3558 | 29129.2132 | 93 | FMI20240827_046.gcd | 2024-08-28 10:52 | 334 | Unknown | 0 | 2.854 | 936128 | 0 | ----- | ----- | ----- | -----