## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20241002_001.gcd | 2024-10-02 12:59 | QC outside air | Unknown | 0 | 6.065 | 2145 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI20241002_001.gcd | 2024-10-02 12:59 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20241002_001.gcd | 2024-10-02 12:59 | QC outside air | Unknown | 0 | 12.206 | 1969 | 0.396 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.7136 | 437.5132 | 1.2187 | 372.5518 | 0.65439 | 303.1934 | 4.9836 | 456.9477 | 1.7136 | 437.5132 | 48 | FMI20241002_001.gcd | 2024-10-02 12:59 | QC outside air | Unknown | 0 | 2.711 | 4644076 | 0 | ----- | ----- | ----- | -----
49 | FMI20241002_002.gcd | 2024-10-02 13:30 | QC spiked air | Unknown | 0 | 5.991 | 1045205 | 2.635 | ----- | ----- | ----- | ----- | 49 | FMI20241002_002.gcd | 2024-10-02 13:30 | QC spiked air | Unknown | 0 | 5.947 | 8424 | 2.511 | ----- | ----- | ----- | ----- | 49 | FMI20241002_002.gcd | 2024-10-02 13:30 | QC spiked air | Unknown | 0 | 12.171 | 9092 | 1.962 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2390.1011 | 1893.0167 | 2444.5894 | 1733.1883 | 2306.9951 | 1773.5068 | 2161.4781 | 2159.0247 | 2390.1011 | 1893.0167 | 49 | FMI20241002_002.gcd | 2024-10-02 13:30 | QC spiked air | Unknown | 0 | 2.702 | 4847364 | 0 | ----- | ----- | ----- | -----
50 | FMI20241002_003.gcd | 2024-10-02 14:01 | QC reference tank | Unknown | 0 | 6.03 | 3794 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI20241002_003.gcd | 2024-10-02 14:01 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20241002_003.gcd | 2024-10-02 14:01 | QC reference tank | Unknown | 0 | 12.182 | 1314 | 0.251 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.3182 | 303.3667 | 6.9553 | 247.3507 | 3.4541 | 167.8597 | 2.4146 | 298.1085 | 6.3182 | 303.3667 | 50 | FMI20241002_003.gcd | 2024-10-02 14:01 | QC reference tank | Unknown | 0 | 2.702 | 4848348 | 0 | ----- | ----- | ----- | -----
51 | FMI20241002_004.gcd | 2024-10-02 14:31 | 359 | Unknown | 0 | 6 | 81856 | 0.203 | ----- | ----- | ----- | ----- | 51 | FMI20241002_004.gcd | 2024-10-02 14:31 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20241002_004.gcd | 2024-10-02 14:31 | 359 | Unknown | 0 | 12.07 | 84850 | 18.219 | ----- | ----- | ----- | ----- | 1 |  | 51 | 231.0445 | 16780.8505 | 214.4694 | 16102.3978 | 189.1882 | 17251.0632 | 228.1013 | 18945.8845 | 231.0445 | 16780.8505 | 51 | FMI20241002_004.gcd | 2024-10-02 14:31 | 359 | Unknown | 0 | 2.868 | 629466 | 0 | ----- | ----- | ----- | -----
52 | FMI20241002_005.gcd | 2024-10-02 15:02 | 71 | Unknown | 0 | 5.993 | 199744 | 0.5 | ----- | ----- | ----- | ----- | 52 | FMI20241002_005.gcd | 2024-10-02 15:02 | 71 | Unknown | 0 | 5.939 | 1809 | 0.568 | ----- | ----- | ----- | ----- | 52 | FMI20241002_005.gcd | 2024-10-02 15:02 | 71 | Unknown | 0 | 12.054 | 85458 | 18.347 | ----- | ----- | ----- | ----- | 1 |  | 52 | 563.2144 | 16903.7926 | 521.0907 | 16216.9637 | 463.3156 | 17374.0943 | 534.4824 | 19092.251 | 563.2144 | 16903.7926 | 52 | FMI20241002_005.gcd | 2024-10-02 15:02 | 71 | Unknown | 0 | 2.855 | 725341 | 0 | ----- | ----- | ----- | -----
53 | FMI20241002_006.gcd | 2024-10-02 15:32 | 167 | Unknown | 0 | 6.054 | 2777 | 0.004 | ----- | ----- | ----- | ----- | 53 | FMI20241002_006.gcd | 2024-10-02 15:32 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20241002_006.gcd | 2024-10-02 15:32 | 167 | Unknown | 0 | 12.103 | 42631 | 9.248 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.4416 | 8664.7744 | 3.4546 | 8117.6382 | 1.634 | 8661.7476 | 3.6519 | 9551.3269 | 3.4416 | 8664.7744 | 53 | FMI20241002_006.gcd | 2024-10-02 15:32 | 167 | Unknown | 0 | 2.852 | 779662 | 0 | ----- | ----- | ----- | -----
54 | FMI20241002_007.gcd | 2024-10-02 16:03 | 309 | Unknown | 0 | 6.048 | 2082 | 0.002 | ----- | ----- | ----- | ----- | 54 | FMI20241002_007.gcd | 2024-10-02 16:03 | 309 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20241002_007.gcd | 2024-10-02 16:03 | 309 | Unknown | 0 | 11.928 | 234242 | 48.383 | ----- | ----- | ----- | ----- | 1 |  | 54 | 1.5438 | 46454.915 | 0.99329 | 43891.0373 | 0.5631 | 46913.8565 | 5.14 | 54000.5884 | 1.5438 | 46454.915 | 54 | FMI20241002_007.gcd | 2024-10-02 16:03 | 309 | Unknown | 0 | 2.849 | 840206 | 0 | ----- | ----- | ----- | -----
55 | FMI20241002_008.gcd | 2024-10-02 16:33 | 41 | Unknown | 0 | 5.994 | 65028 | 0.16 | ----- | ----- | ----- | ----- | 55 | FMI20241002_008.gcd | 2024-10-02 16:33 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20241002_008.gcd | 2024-10-02 16:33 | 41 | Unknown | 0 | 12.142 | 8100 | 1.744 | ----- | ----- | ----- | ----- | 1 |  | 55 | 182.9739 | 1690.6765 | 170.4264 | 1543.7952 | 149.8752 | 1568.8956 | 180.7916 | 1924.7553 | 182.9739 | 1690.6765 | 55 | FMI20241002_008.gcd | 2024-10-02 16:33 | 41 | Unknown | 0 | 2.853 | 783269 | 0 | ----- | ----- | ----- | -----
56 | FMI20241002_009.gcd | 2024-10-02 17:04 | 215 | Unknown | 0 | 5.99 | 251084 | 0.629 | ----- | ----- | ----- | ----- | 56 | FMI20241002_009.gcd | 2024-10-02 17:04 | 215 | Unknown | 0 | 5.947 | 1785 | 0.561 | ----- | ----- | ----- | ----- | 56 | FMI20241002_009.gcd | 2024-10-02 17:04 | 215 | Unknown | 0 | 11.981 | 166509 | 34.993 | ----- | ----- | ----- | ----- | 1 |  | 56 | 694.6821 | 33133.869 | 653.5733 | 31381.8503 | 581.9977 | 33606.162 | 640.0304 | 38333.3167 | 694.6821 | 33133.869 | 56 | FMI20241002_009.gcd | 2024-10-02 17:04 | 215 | Unknown | 0 | 2.858 | 655040 | 0 | ----- | ----- | ----- | -----
57 | FMI20241002_010.gcd | 2024-10-02 17:35 | 227 | Unknown | 0 | 6.037 | 2218 | 0.002 | ----- | ----- | ----- | ----- | 57 | FMI20241002_010.gcd | 2024-10-02 17:35 | 227 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20241002_010.gcd | 2024-10-02 17:35 | 227 | Unknown | 0 | 12.106 | 39539 | 8.582 | ----- | ----- | ----- | ----- | 1 |  | 57 | 1.9109 | 8046.1077 | 1.4793 | 7530.579 | 0.76162 | 8029.1151 | 4.8078 | 8912.76 | 1.9109 | 8046.1077 | 57 | FMI20241002_010.gcd | 2024-10-02 17:35 | 227 | Unknown | 0 | 2.852 | 769445 | 0 | ----- | ----- | ----- | -----
58 | FMI20241002_011.gcd | 2024-10-02 18:05 | 219 | Unknown | 0 | 6.049 | 1853 | 0.001 | ----- | ----- | ----- | ----- | 58 | FMI20241002_011.gcd | 2024-10-02 18:05 | 219 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20241002_011.gcd | 2024-10-02 18:05 | 219 | Unknown | 0 | 11.924 | 243409 | 50.161 | ----- | ----- | ----- | ----- | 1 |  | 58 | 0.93061 | 48240.8487 | 0.17004 | 45572.5713 | 0.24097 | 48696.9328 | 5.7446 | 56092.1685 | 0.93061 | 48240.8487 | 58 | FMI20241002_011.gcd | 2024-10-02 18:05 | 219 | Unknown | 0 | 2.844 | 931829 | 0 | ----- | ----- | ----- | -----
59 | FMI20241002_012.gcd | 2024-10-02 18:36 | 408 | Unknown | 0 | 5.989 | 290581 | 0.729 | ----- | ----- | ----- | ----- | 59 | FMI20241002_012.gcd | 2024-10-02 18:36 | 408 | Unknown | 0 | 5.94 | 2602 | 0.801 | ----- | ----- | ----- | ----- | 59 | FMI20241002_012.gcd | 2024-10-02 18:36 | 408 | Unknown | 0 | 12.045 | 90967 | 19.502 | ----- | ----- | ----- | ----- | 1 |  | 59 | 779.1916 | 18016.944 | 755.0614 | 17254.481 | 673.0136 | 18488.001 | 716.2566 | 20417.0786 | 779.1916 | 18016.944 | 59 | FMI20241002_012.gcd | 2024-10-02 18:36 | 408 | Unknown | 0 | 2.854 | 712154 | 0 | ----- | ----- | ----- | -----
60 | FMI20241002_013.gcd | 2024-10-02 19:06 | 21 | Unknown | 0 | 5.992 | 54474 | 0.134 | ----- | ----- | ----- | ----- | 60 | FMI20241002_013.gcd | 2024-10-02 19:06 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20241002_013.gcd | 2024-10-02 19:06 | 21 | Unknown | 0 | 11.963 | 191586 | 40.003 | ----- | ----- | ----- | ----- | 1 |  | 60 | 152.7421 | 38091.466 | 142.7691 | 36030.5587 | 125.196 | 38560.4096 | 150.6648 | 44177.6097 | 152.7421 | 38091.466 | 60 | FMI20241002_013.gcd | 2024-10-02 19:06 | 21 | Unknown | 0 | 2.852 | 764318 | 0 | ----- | ----- | ----- | -----
61 | FMI20241002_014.gcd | 2024-10-02 19:37 | 266 | Unknown | 0 | 6.005 | 4895 | 0.009 | ----- | ----- | ----- | ----- | 61 | FMI20241002_014.gcd | 2024-10-02 19:37 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20241002_014.gcd | 2024-10-02 19:37 | 266 | Unknown | 0 | 12.137 | 11482 | 2.486 | ----- | ----- | ----- | ----- | 1 |  | 61 | 9.5656 | 2380.0262 | 10.61 | 2189.3567 | 5.7634 | 2266.2649 | 2.3343 | 2719.7575 | 9.5656 | 2380.0262 | 61 | FMI20241002_014.gcd | 2024-10-02 19:37 | 266 | Unknown | 0 | 2.852 | 791548 | 0 | ----- | ----- | ----- | -----
62 | FMI20241002_015.gcd | 2024-10-02 20:07 | 134 | Unknown | 0 | 5.99 | 125326 | 0.312 | ----- | ----- | ----- | ----- | 62 | FMI20241002_015.gcd | 2024-10-02 20:07 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20241002_015.gcd | 2024-10-02 20:07 | 134 | Unknown | 0 | 12.059 | 83681 | 17.974 | ----- | ----- | ----- | ----- | 1 |  | 62 | 354.463 | 16544.42 | 327.924 | 15882.0884 | 290.5304 | 17014.4587 | 346.1777 | 18664.3811 | 354.463 | 16544.42 | 62 | FMI20241002_015.gcd | 2024-10-02 20:07 | 134 | Unknown | 0 | 2.854 | 720528 | 0 | ----- | ----- | ----- | -----
63 | FMI20241002_016.gcd | 2024-10-02 20:38 | 39 | Unknown | 0 | 6.014 | 5800 | 0.011 | ----- | ----- | ----- | ----- | 63 | FMI20241002_016.gcd | 2024-10-02 20:38 | 39 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20241002_016.gcd | 2024-10-02 20:38 | 39 | Unknown | 0 | 12.139 | 11586 | 2.509 | ----- | ----- | ----- | ----- | 1 |  | 63 | 12.3386 | 2401.2027 | 13.509 | 2209.2025 | 7.9253 | 2287.7005 | 3.2486 | 2744.0392 | 12.3386 | 2401.2027 | 63 | FMI20241002_016.gcd | 2024-10-02 20:38 | 39 | Unknown | 0 | 2.846 | 883633 | 0 | ----- | ----- | ----- | -----
64 | FMI20241002_017.gcd | 2024-10-02 21:08 | 50 | Unknown | 0 | 5.99 | 82159 | 0.203 | ----- | ----- | ----- | ----- | 64 | FMI20241002_017.gcd | 2024-10-02 21:08 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20241002_017.gcd | 2024-10-02 21:08 | 50 | Unknown | 0 | 12.138 | 7641 | 1.644 | ----- | ----- | ----- | ----- | 1 |  | 64 | 231.9085 | 1597.0136 | 215.2618 | 1456.1519 | 189.8957 | 1474.2047 | 228.9449 | 1816.0547 | 231.9085 | 1597.0136 | 64 | FMI20241002_017.gcd | 2024-10-02 21:08 | 50 | Unknown | 0 | 2.847 | 874155 | 0 | ----- | ----- | ----- | -----
65 | FMI20241002_018.gcd | 2024-10-02 21:39 | 403 | Unknown | 0 | 6.036 | 1919 | 0.001 | ----- | ----- | ----- | ----- | 65 | FMI20241002_018.gcd | 2024-10-02 21:39 | 403 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20241002_018.gcd | 2024-10-02 21:39 | 403 | Unknown | 0 | 11.923 | 229047 | 47.371 | ----- | ----- | ----- | ----- | 1 |  | 65 | 1.1067 | 45441.0215 | 0.40793 | 42936.8877 | 0.33225 | 45901.4712 | 5.5645 | 52812.2245 | 1.1067 | 45441.0215 | 65 | FMI20241002_018.gcd | 2024-10-02 21:39 | 403 | Unknown | 0 | 2.84 | 984330 | 0 | ----- | ----- | ----- | -----
66 | FMI20241002_019.gcd | 2024-10-02 22:10 | 88 | Unknown | 0 | 6.044 | 1738 | 0.001 | ----- | ----- | ----- | ----- | 66 | FMI20241002_019.gcd | 2024-10-02 22:10 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20241002_019.gcd | 2024-10-02 22:10 | 88 | Unknown | 0 | 11.941 | 220136 | 45.631 | ----- | ----- | ----- | ----- | 1 |  | 66 | 0.62491 | 43698.8664 | -0.24567 | 41298.1879 | 0.084956 | 44161.7156 | 6.0696 | 50768.679 | 0.62491 | 43698.8664 | 66 | FMI20241002_019.gcd | 2024-10-02 22:10 | 88 | Unknown | 0 | 2.843 | 931987 | 0 | ----- | ----- | ----- | -----
67 | FMI20241002_020.gcd | 2024-10-02 22:40 | 348 | Unknown | 0 | 6.005 | 5518 | 0.01 | ----- | ----- | ----- | ----- | 67 | FMI20241002_020.gcd | 2024-10-02 22:40 | 348 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20241002_020.gcd | 2024-10-02 22:40 | 348 | Unknown | 0 | 12.149 | 12436 | 2.695 | ----- | ----- | ----- | ----- | 1 |  | 67 | 11.4645 | 2574.2317 | 12.6158 | 2371.3905 | 7.2261 | 2462.8744 | 2.8688 | 2942.1263 | 11.4645 | 2574.2317 | 67 | FMI20241002_020.gcd | 2024-10-02 22:40 | 348 | Unknown | 0 | 2.846 | 877942 | 0 | ----- | ----- | ----- | -----
68 | FMI20241002_021.gcd | 2024-10-02 23:11 | 31 | Unknown | 0 | 6.012 | 5414 | 0.01 | ----- | ----- | ----- | ----- | 68 | FMI20241002_021.gcd | 2024-10-02 23:11 | 31 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20241002_021.gcd | 2024-10-02 23:11 | 31 | Unknown | 0 | 12.149 | 12598 | 2.731 | ----- | ----- | ----- | ----- | 1 |  | 68 | 11.1444 | 2607.1992 | 12.2841 | 2402.299 | 6.9741 | 2496.2563 | 2.7504 | 2979.8045 | 11.1444 | 2607.1992 | 68 | FMI20241002_021.gcd | 2024-10-02 23:11 | 31 | Unknown | 0 | 2.851 | 934983 | 0 | ----- | ----- | ----- | -----