## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250812_001.gcd | 2025-08-12 13:30 | QC outside air | Unknown | 0 | 6.097 | 1611 | 0.004 | ----- | ----- | ----- | ----- | 45 | FMI20250812_001.gcd | 2025-08-12 13:30 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250812_001.gcd | 2025-08-12 13:30 | QC outside air | Unknown | 0 | 12.342 | 1606 | 0.256 | ----- | ----- | ----- | ----- | 1 |  | 45 | 2.3625 | 231.5596 | -0.082876 | 228.1944 | 6.4451 | 368.9676 | 0.28908 | 363.1758 | 2.3625 | 231.5596 | 45 | FMI20250812_001.gcd | 2025-08-12 13:30 | QC outside air | Unknown | 0 | 2.737 | 4754739 | 0 | ----- | ----- | ----- | -----
46 | FMI20250812_002.gcd | 2025-08-12 14:01 | QC spiked air | Unknown | 0 | 6.042 | 1131095 | 2.556 | ----- | ----- | ----- | ----- | 46 | FMI20250812_002.gcd | 2025-08-12 14:01 | QC spiked air | Unknown | 0 | 5.995 | 8819 | 2.271 | ----- | ----- | ----- | ----- | 46 | FMI20250812_002.gcd | 2025-08-12 14:01 | QC spiked air | Unknown | 0 | 12.312 | 8581 | 1.786 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2491.5456 | 1816.2805 | 2404.4676 | 1668.1136 | 2324.6279 | 2038.4597 | 2573.0045 | 1788.8017 | 2491.5456 | 1816.2805 | 46 | FMI20250812_002.gcd | 2025-08-12 14:01 | QC spiked air | Unknown | 0 | 2.718 | 5117889 | 0 | ----- | ----- | ----- | -----
47 | FMI20250812_003.gcd | 2025-08-12 14:31 | QC reference tank | Unknown | 0 | 6.071 | 2868 | 0.007 | ----- | ----- | ----- | ----- | 47 | FMI20250812_003.gcd | 2025-08-12 14:31 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250812_003.gcd | 2025-08-12 14:31 | QC reference tank | Unknown | 0 | 12.321 | 1666 | 0.269 | ----- | ----- | ----- | ----- | 1 |  | 47 | 6.7872 | 245.212 | 1.7846 | 240.5914 | 3.4957 | 383.5181 | 3.6942 | 375.464 | 6.7872 | 245.212 | 47 | FMI20250812_003.gcd | 2025-08-12 14:31 | QC reference tank | Unknown | 0 | 2.717 | 5169944 | 0 | ----- | ----- | ----- | -----
48 | FMI20250812_004.gcd | 2025-08-12 15:02 | new spiked air | Unknown | 0 | 6.043 | 1053160 | 2.38 | ----- | ----- | ----- | ----- | 48 | FMI20250812_004.gcd | 2025-08-12 15:02 | new spiked air | Unknown | 0 | 5.994 | 7659 | 1.985 | ----- | ----- | ----- | ----- | 48 | FMI20250812_004.gcd | 2025-08-12 15:02 | new spiked air | Unknown | 0 | 12.312 | 8844 | 1.843 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2332.3351 | 1875.9407 | 2118.2021 | 1722.3587 | 2176.6003 | 2100.5415 | 2407.0452 | 1842.4427 | 2332.3351 | 1875.9407 | 48 | FMI20250812_004.gcd | 2025-08-12 15:02 | new spiked air | Unknown | 0 | 2.718 | 5145849 | 0 | ----- | ----- | ----- | -----
49 | FMI20250812_005.gcd | 2025-08-12 15:32 | 135 | Unknown | 0 | 5.923 | 42825691 | 109.41 | ----- | ----- | ----- | ----- | 49 | FMI20250812_005.gcd | 2025-08-12 15:32 | 135 | Unknown | 0 | 5.884 | 348354 | 84.475 | ----- | ----- | ----- | ----- | 49 | FMI20250812_005.gcd | 2025-08-12 15:32 | 135 | Unknown | 0 | 12.121 | 157744 | 34.128 | ----- | ----- | ----- | ----- | 1 |  | 49 | 84019.9968 | 34193.9775 | 83953.3005 | 31866.9663 | 85893.7908 | 36278.4672 | 92057.5276 | 31393.9446 | 84019.9968 | 34193.9775 | 49 | FMI20250812_005.gcd | 2025-08-12 15:32 | 135 | Unknown | 0 | 2.887 | 567725 | 0 | ----- | ----- | ----- | -----
50 | FMI20250812_006.gcd | 2025-08-12 16:03 | 45 | Unknown | 0 | 5.899 | 45511366 | 117.422 | ----- | ----- | ----- | ----- | 50 | FMI20250812_006.gcd | 2025-08-12 16:03 | 45 | Unknown | 0 | 5.869 | 404629 | 97.781 | ----- | ----- | ----- | ----- | 50 | FMI20250812_006.gcd | 2025-08-12 16:03 | 45 | Unknown | 0 | 12.16 | 113792 | 24.671 | ----- | ----- | ----- | ----- | 1 |  | 50 | 97180.7358 | 24884.2281 | 97037.6426 | 23086.6576 | 99480.8459 | 25879.6799 | 106337.7324 | 22613.4343 | 97180.7358 | 24884.2281 | 50 | FMI20250812_006.gcd | 2025-08-12 16:03 | 45 | Unknown | 0 | 2.889 | 535671 | 0 | ----- | ----- | ----- | -----
51 | FMI20250812_007.gcd | 2025-08-12 16:34 | 336 | Unknown | 0 | 6.047 | 26657 | 0.06 | ----- | ----- | ----- | ----- | 51 | FMI20250812_007.gcd | 2025-08-12 16:34 | 336 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250812_007.gcd | 2025-08-12 16:34 | 336 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 51 | 74.4862 | #VALUE! | 60.0634 | #VALUE! | 69.5766 | #VALUE! | 72.7524 | #VALUE! | 74.4862 | #VALUE! | 51 | FMI20250812_007.gcd | 2025-08-12 16:34 | 336 | Unknown | 0 | 2.869 | 943010 | 0 | ----- | ----- | ----- | -----
52 | FMI20250812_008.gcd | 2025-08-13 11:25 | room air | Unknown | 0 | 6.068 | 1312 | 0.003 | ----- | ----- | ----- | ----- | 52 | FMI20250812_008.gcd | 2025-08-13 11:25 | room air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250812_008.gcd | 2025-08-13 11:25 | room air | Unknown | 0 | 12.291 | 2214 | 0.389 | ----- | ----- | ----- | ----- | 1 |  | 52 | 1.314 | 369.8873 | -0.4595 | 353.8087 | 7.3978 | 516.2603 | -0.49431 | 487.6769 | 1.314 | 369.8873 | 52 | FMI20250812_008.gcd | 2025-08-13 11:25 | room air | Unknown | 0 | 2.725 | 4923633 | 0 | ----- | ----- | ----- | -----
53 | FMI20250812_009.gcd | 2025-08-13 11:56 | 400 | Unknown | 0 | 6.047 | 13145 | 0.03 | ----- | ----- | ----- | ----- | 53 | FMI20250812_009.gcd | 2025-08-13 11:56 | 400 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250812_009.gcd | 2025-08-13 11:56 | 400 | Unknown | 0 | 12.265 | 2791 | 0.516 | ----- | ----- | ----- | ----- | 1 |  | 53 | 38.3884 | 501.1285 | 28.3805 | 473.0009 | 29.3077 | 655.7311 | 33.7365 | 605.7892 | 38.3884 | 501.1285 | 53 | FMI20250812_009.gcd | 2025-08-13 11:56 | 400 | Unknown | 0 | 2.865 | 1017739 | 0 | ----- | ----- | ----- | -----
54 | FMI20250812_010.gcd | 2025-08-13 12:27 | 27 | Unknown | 0 | 6.053 | 3361 | 0.008 | ----- | ----- | ----- | ----- | 54 | FMI20250812_010.gcd | 2025-08-13 12:27 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250812_010.gcd | 2025-08-13 12:27 | 27 | Unknown | 0 | 12.238 | 8192 | 1.7 | ----- | ----- | ----- | ----- | 1 |  | 54 | 8.5299 | 1728.0254 | 2.6425 | 1587.8738 | 2.8048 | 1946.5196 | 5.079 | 1709.4469 | 8.5299 | 1728.0254 | 54 | FMI20250812_010.gcd | 2025-08-13 12:27 | 27 | Unknown | 0 | 2.861 | 1097650 | 0 | ----- | ----- | ----- | -----
55 | FMI20250812_011.gcd | 2025-08-13 12:57 | 258 | Unknown | 0 | 6.075 | 1448 | 0.004 | ----- | ----- | ----- | ----- | 55 | FMI20250812_011.gcd | 2025-08-13 12:57 | 258 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250812_011.gcd | 2025-08-13 12:57 | 258 | Unknown | 0 | 12.17 | 97480 | 21.145 | ----- | ----- | ----- | ----- | 1 |  | 55 | 1.7907 | 21418.641 | -0.29141 | 19802.916 | 6.9525 | 21980.1499 | -0.13925 | 19331.0825 | 1.7907 | 21418.641 | 55 | FMI20250812_011.gcd | 2025-08-13 12:57 | 258 | Unknown | 0 | 2.864 | 999767 | 0 | ----- | ----- | ----- | -----
56 | FMI20250812_012.gcd | 2025-08-13 13:28 | 288 | Unknown | 0 | 6.043 | 123260 | 0.278 | ----- | ----- | ----- | ----- | 56 | FMI20250812_012.gcd | 2025-08-13 13:28 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250812_012.gcd | 2025-08-13 13:28 | 288 | Unknown | 0 | 12.147 | 118302 | 25.644 | ----- | ----- | ----- | ----- | 1 |  | 56 | 329.7666 | 25841.4086 | 285.7208 | 23992.1617 | 340.7008 | 26953.995 | 348.622 | 23518.694 | 329.7666 | 25841.4086 | 56 | FMI20250812_012.gcd | 2025-08-13 13:28 | 288 | Unknown | 0 | 2.855 | 1200920 | 0 | ----- | ----- | ----- | -----
57 | FMI20250812_013.gcd | 2025-08-13 13:58 | 131 | Unknown | 0 | 6.045 | 27777 | 0.063 | ----- | ----- | ----- | ----- | 57 | FMI20250812_013.gcd | 2025-08-13 13:58 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250812_013.gcd | 2025-08-13 13:58 | 131 | Unknown | 0 | 12.289 | 7343 | 1.514 | ----- | ----- | ----- | ----- | 1 |  | 57 | 77.474 | 1535.3553 | 62.6883 | 1412.7221 | 72.8887 | 1745.3792 | 75.9817 | 1536.1906 | 77.474 | 1535.3553 | 57 | FMI20250812_013.gcd | 2025-08-13 13:58 | 131 | Unknown | 0 | 2.86 | 1127619 | 0 | ----- | ----- | ----- | -----
58 | FMI20250812_014.gcd | 2025-08-13 14:29 | 406 | Unknown | 0 | 5.997 | 17775578 | 41.951 | ----- | ----- | ----- | ----- | 58 | FMI20250812_014.gcd | 2025-08-13 14:29 | 406 | Unknown | 0 | 5.95 | 128883 | 31.728 | ----- | ----- | ----- | ----- | 58 | FMI20250812_014.gcd | 2025-08-13 14:29 | 406 | Unknown | 0 | 12.153 | 118003 | 25.579 | ----- | ----- | ----- | ----- | 1 |  | 58 | 32079.8107 | 25777.9637 | 31751.8715 | 23932.1616 | 31694.2729 | 26882.8225 | 34489.0436 | 23458.7082 | 32079.8107 | 25777.9637 | 58 | FMI20250812_014.gcd | 2025-08-13 14:29 | 406 | Unknown | 0 | 2.87 | 859483 | 0 | ----- | ----- | ----- | -----
59 | FMI20250812_015.gcd | 2025-08-13 15:00 | 384 | Unknown | 0 | 6.049 | 14580 | 0.033 | ----- | ----- | ----- | ----- | 59 | FMI20250812_015.gcd | 2025-08-13 15:00 | 384 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250812_015.gcd | 2025-08-13 15:00 | 384 | Unknown | 0 | 12.281 | 3220 | 0.61 | ----- | ----- | ----- | ----- | 1 |  | 59 | 42.2267 | 598.6852 | 31.7467 | 561.6094 | 33.6117 | 759.231 | 37.885 | 693.58 | 42.2267 | 598.6852 | 59 | FMI20250812_015.gcd | 2025-08-13 15:00 | 384 | Unknown | 0 | 2.817 | 2061008 | 0 | ----- | ----- | ----- | -----
60 | FMI20250812_016.gcd | 2025-08-13 15:30 | 307 | Unknown | 0 | 6.082 | 869 | 0.002 | ----- | ----- | ----- | ----- | 60 | FMI20250812_016.gcd | 2025-08-13 15:30 | 307 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250812_016.gcd | 2025-08-13 15:30 | 307 | Unknown | 0 | 12.083 | 216420 | 46.662 | ----- | ----- | ----- | ----- | 1 |  | 60 | -0.23673 | 46558.5585 | -0.96975 | 43435.018 | 8.987 | 49914.5755 | -1.6362 | 42971.2381 | -0.23673 | 46558.5585 | 60 | FMI20250812_016.gcd | 2025-08-13 15:30 | 307 | Unknown | 0 | 2.862 | 1067824 | 0 | ----- | ----- | ----- | -----
61 | FMI20250812_017.gcd | 2025-08-13 16:01 | 216 | Unknown | 0 | 6.048 | 11045 | 0.025 | ----- | ----- | ----- | ----- | 61 | FMI20250812_017.gcd | 2025-08-13 16:01 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250812_017.gcd | 2025-08-13 16:01 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference, but didn't rerun. Do not use CO2. Use CH4. | 61 | 32.7696 | #VALUE! | 23.4538 | #VALUE! | 22.9976 | #VALUE! | 27.6632 | #VALUE! | 32.7696 | #VALUE! | 61 | FMI20250812_017.gcd | 2025-08-13 16:01 | 216 | Unknown | 0 | 2.872 | 857366 | 0 | ----- | ----- | ----- | -----
62 | FMI20250812_018.gcd | 2025-08-13 16:31 | 311 | Unknown | 0 | 5.896 | 46345259 | 119.947 | ----- | ----- | ----- | ----- | 62 | FMI20250812_018.gcd | 2025-08-13 16:31 | 311 | Unknown | 0 | 5.863 | 413358 | 99.838 | ----- | ----- | ----- | ----- | 62 | FMI20250812_018.gcd | 2025-08-13 16:31 | 311 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference, but didn't rerun. Do not use CO2. Use CH4. | 62 | 99216.3876 | #VALUE! | 99056.2013 | #VALUE! | 101577.0303 | #VALUE! | 108535.1919 | #VALUE! | 99216.3876 | #VALUE! | 62 | FMI20250812_018.gcd | 2025-08-13 16:31 | 311 | Unknown | 0 | 2.881 | 619595 | 0 | ----- | ----- | ----- | -----
63 | FMI20250812_019.gcd | 2025-08-13 17:02 | 387 | Unknown | 0 | 6.08 | 1804 | 0.004 | ----- | ----- | ----- | ----- | 63 | FMI20250812_019.gcd | 2025-08-13 17:02 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250812_019.gcd | 2025-08-13 17:02 | 387 | Unknown | 0 | 12.066 | 200879 | 43.352 | ----- | ----- | ----- | ----- | 1 |  | 63 | 3.0402 | 43290.7791 | 0.17403 | 40388.1968 | 5.8813 | 46330.3163 | 0.80017 | 39920.9702 | 3.0402 | 43290.7791 | 63 | FMI20250812_019.gcd | 2025-08-13 17:02 | 387 | Unknown | 0 | 2.863 | 1043671 | 0 | ----- | ----- | ----- | -----
64 | FMI20250812_020.gcd | 2025-08-13 17:32 | 386 | Unknown | 0 | 6.043 | 108518 | 0.245 | ----- | ----- | ----- | ----- | 64 | FMI20250812_020.gcd | 2025-08-13 17:32 | 386 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250812_020.gcd | 2025-08-13 17:32 | 386 | Unknown | 0 | 12.158 | 106591 | 23.115 | ----- | ----- | ----- | ----- | 1 |  | 64 | 291.1271 | 23355.0271 | 251.3818 | 21638.7106 | 301.2293 | 24160.8996 | 306.8717 | 21166.0031 | 291.1271 | 23355.0271 | 64 | FMI20250812_020.gcd | 2025-08-13 17:32 | 386 | Unknown | 0 | 2.869 | 926612 | 0 | ----- | ----- | ----- | -----
65 | FMI20250812_021.gcd | 2025-08-13 18:03 | 278 | Unknown | 0 | 6.063 | 2529 | 0.006 | ----- | ----- | ----- | ----- | 65 | FMI20250812_021.gcd | 2025-08-13 18:03 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250812_021.gcd | 2025-08-13 18:03 | 278 | Unknown | 0 | 12.24 | 31596 | 6.822 | ----- | ----- | ----- | ----- | 1 |  | 65 | 5.5913 | 7011.4223 | 1.2358 | 6401.7164 | 4.1231 | 7232.3761 | 2.7581 | 6451.5812 | 5.5913 | 7011.4223 | 65 | FMI20250812_021.gcd | 2025-08-13 18:03 | 278 | Unknown | 0 | 2.867 | 989472 | 0 | ----- | ----- | ----- | -----
66 | FMI20250812_022.gcd | 2025-08-13 18:34 | 196 | Unknown | 0 | 5.995 | 20271323 | 48.18 | ----- | ----- | ----- | ----- | 66 | FMI20250812_022.gcd | 2025-08-13 18:34 | 196 | Unknown | 0 | 5.95 | 154791 | 38.028 | ----- | ----- | ----- | ----- | 66 | FMI20250812_022.gcd | 2025-08-13 18:34 | 196 | Unknown | 0 | 12.154 | 120599 | 26.139 | ----- | ----- | ----- | ----- | 1 |  | 66 | 38262.0695 | 26328.7468 | 38011.3064 | 24452.9474 | 38192.6864 | 27500.5178 | 41440.3182 | 23979.3785 | 38262.0695 | 26328.7468 | 66 | FMI20250812_022.gcd | 2025-08-13 18:34 | 196 | Unknown | 0 | 2.882 | 751336 | 0 | ----- | ----- | ----- | -----
67 | FMI20250812_023.gcd | 2025-08-13 19:04 | 261 | Unknown | 0 | 5.868 | 50523796 | 132.894 | ----- | ----- | ----- | ----- | 67 | FMI20250812_023.gcd | 2025-08-13 19:04 | 261 | Unknown | 0 | 5.843 | 497437 | 119.54 | ----- | ----- | ----- | ----- | 67 | FMI20250812_023.gcd | 2025-08-13 19:04 | 261 | Unknown | 0 | 12.179 | 82392 | 17.877 | ----- | ----- | ----- | ----- | 1 |  | 67 | 118744.9577 | 18208.0691 | 118348.0263 | 16753.4854 | 121611.7191 | 18353.8511 | 129459.5421 | 16283.6433 | 118744.9577 | 18208.0691 | 67 | FMI20250812_023.gcd | 2025-08-13 19:04 | 261 | Unknown | 0 | 2.882 | 622417 | 0 | ----- | ----- | ----- | -----
68 | FMI20250812_024.gcd | 2025-08-13 19:35 | 21 | Unknown | 0 | 6.061 | 1784 | 0.004 | ----- | ----- | ----- | ----- | 68 | FMI20250812_024.gcd | 2025-08-13 19:35 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250812_024.gcd | 2025-08-13 19:35 | 21 | Unknown | 0 | 12.104 | 162467 | 35.141 | ----- | ----- | ----- | ----- | 1 |  | 68 | 2.9699 | 35191.9444 | 0.1469 | 32804.6151 | 5.9379 | 37386.4989 | 0.74701 | 32331.9576 | 2.9699 | 35191.9444 | 68 | FMI20250812_024.gcd | 2025-08-13 19:35 | 21 | Unknown | 0 | 2.86 | 1097563 | 0 | ----- | ----- | ----- | -----
69 | FMI20250812_025.gcd | 2025-08-13 20:06 | 140 | Unknown | 0 | 6.046 | 27208 | 0.062 | ----- | ----- | ----- | ----- | 69 | FMI20250812_025.gcd | 2025-08-13 20:06 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250812_025.gcd | 2025-08-13 20:06 | 140 | Unknown | 0 | 12.268 | 7162 | 1.474 | ----- | ----- | ----- | ----- | 1 |  | 69 | 75.9562 | 1494.2704 | 61.3548 | 1375.3764 | 71.2065 | 1702.4127 | 74.3412 | 1499.2426 | 75.9562 | 1494.2704 | 69 | FMI20250812_025.gcd | 2025-08-13 20:06 | 140 | Unknown | 0 | 2.864 | 1051021 | 0 | ----- | ----- | ----- | -----
70 | FMI20250812_026.gcd | 2025-08-13 20:36 | 339 | Unknown | 0 | 6.059 | 3600 | 0.009 | ----- | ----- | ----- | ----- | 70 | FMI20250812_026.gcd | 2025-08-13 20:36 | 339 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250812_026.gcd | 2025-08-13 20:36 | 339 | Unknown | 0 | 12.26 | 8118 | 1.684 | ----- | ----- | ----- | ----- | 1 |  | 70 | 9.3763 | 1711.2348 | 3.0837 | 1572.6088 | 2.5644 | 1929.0141 | 5.7603 | 1694.3491 | 9.3763 | 1711.2348 | 70 | FMI20250812_026.gcd | 2025-08-13 20:36 | 339 | Unknown | 0 | 2.862 | 1086810 | 0 | ----- | ----- | ----- | -----
71 | FMI20250812_027.gcd | 2025-08-13 21:07 | 129 | Unknown | 0 | 6.046 | 26727 | 0.061 | ----- | ----- | ----- | ----- | 71 | FMI20250812_027.gcd | 2025-08-13 21:07 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250812_027.gcd | 2025-08-13 21:07 | 129 | Unknown | 0 | 12.25 | 6737 | 1.381 | ----- | ----- | ----- | ----- | 1 |  | 71 | 74.6729 | 1397.7878 | 60.2275 | 1287.6796 | 69.7838 | 1601.4069 | 72.9543 | 1412.4708 | 74.6729 | 1397.7878 | 71 | FMI20250812_027.gcd | 2025-08-13 21:07 | 129 | Unknown | 0 | 2.85 | 1313832 | 0 | ----- | ----- | ----- | -----
72 | FMI20250812_028.gcd | 2025-08-13 21:37 | 395 | Unknown | 0 | 6.061 | 2584 | 0.006 | ----- | ----- | ----- | ----- | 72 | FMI20250812_028.gcd | 2025-08-13 21:37 | 395 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250812_028.gcd | 2025-08-13 21:37 | 395 | Unknown | 0 | 12.234 | 33225 | 7.178 | ----- | ----- | ----- | ----- | 1 |  | 72 | 5.7852 | 7377.1641 | 1.3226 | 6735.736 | 4.0129 | 7581.6909 | 2.9091 | 6779.2117 | 5.7852 | 7377.1641 | 72 | FMI20250812_028.gcd | 2025-08-13 21:37 | 395 | Unknown | 0 | 2.868 | 965099 | 0 | ----- | ----- | ----- | -----
73 | FMI20250812_029.gcd | 2025-08-13 22:08 | 300 | Unknown | 0 | 6.074 | 1404 | 0.004 | ----- | ----- | ----- | ----- | 73 | FMI20250812_029.gcd | 2025-08-13 22:08 | 300 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250812_029.gcd | 2025-08-13 22:08 | 300 | Unknown | 0 | 12.098 | 173178 | 37.435 | ----- | ----- | ----- | ----- | 1 |  | 73 | 1.6365 | 37453.4162 | -0.34638 | 34926.832 | 7.0944 | 39892.5743 | -0.25435 | 34455.2468 | 1.6365 | 37453.4162 | 73 | FMI20250812_029.gcd | 2025-08-13 22:08 | 300 | Unknown | 0 | 2.863 | 1034871 | 0 | ----- | ----- | ----- | -----
74 | FMI20250812_030.gcd | 2025-08-13 22:38 | 298 | Unknown | 0 | 6.095 | 956 | 0.003 | ----- | ----- | ----- | ----- | 74 | FMI20250812_030.gcd | 2025-08-13 22:38 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250812_030.gcd | 2025-08-13 22:38 | 298 | Unknown | 0 | 12.092 | 185799 | 40.134 | ----- | ----- | ----- | ----- | 1 |  | 74 | 0.067554 | 40115.0294 | -0.87404 | 37419.9705 | 8.6582 | 42833.4924 | -1.4137 | 36950.0876 | 0.067554 | 40115.0294 | 74 | FMI20250812_030.gcd | 2025-08-13 22:38 | 298 | Unknown | 0 | 2.863 | 1039556 | 0 | ----- | ----- | ----- | -----
75 | FMI20250812_031.gcd | 2025-08-13 23:09 | 90 | Unknown | 0 | 6.069 | 2527 | 0.006 | ----- | ----- | ----- | ----- | 75 | FMI20250812_031.gcd | 2025-08-13 23:09 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250812_031.gcd | 2025-08-13 23:09 | 90 | Unknown | 0 | 12.167 | 96761 | 20.99 | ----- | ----- | ----- | ----- | 1 |  | 75 | 5.5842 | 21265.7549 | 1.2326 | 19657.8628 | 4.1271 | 21807.7656 | 2.7526 | 19186.1088 | 5.5842 | 21265.7549 | 75 | FMI20250812_031.gcd | 2025-08-13 23:09 | 90 | Unknown | 0 | 2.862 | 1057275 | 0 | ----- | ----- | ----- | -----
76 | FMI20250812_032.gcd | 2025-08-13 23:40 | 336 rerun | Unknown | 0 | 6.048 | 25286 | 0.057 | ----- | ----- | ----- | ----- | 76 | FMI20250812_032.gcd | 2025-08-13 23:40 | 336 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250812_032.gcd | 2025-08-13 23:40 | 336 rerun | Unknown | 0 | 12.267 | 8037 | 1.666 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 76 | 70.8279 | 1692.8553 | 56.85 | 1555.8995 | 65.517 | 1909.847 | 68.7985 | 1677.8223 | 70.8279 | 1692.8553 | 76 | FMI20250812_032.gcd | 2025-08-13 23:40 | 336 rerun | Unknown | 0 | 2.827 | 1831525 | 0 | ----- | ----- | ----- | -----
77 | FMI20250812_033.gcd | 2025-08-14 00:10 | 323 | Unknown | 0 | 6.076 | 1273 | 0.003 | ----- | ----- | ----- | ----- | 77 | FMI20250812_033.gcd | 2025-08-14 00:10 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20250812_033.gcd | 2025-08-14 00:10 | 323 | Unknown | 0 | 12.075 | 198893 | 42.929 | ----- | ----- | ----- | ----- | 2 | Vial sampled multiple times. If dups don't match, discard this one. | 77 | 1.1773 | 42872.8166 | -0.50671 | 39997.9521 | 7.5292 | 45870.8565 | -0.59573 | 39530.3369 | 1.1773 | 42872.8166 | 77 | FMI20250812_033.gcd | 2025-08-14 00:10 | 323 | Unknown | 0 | 2.809 | 2227337 | 0 | ----- | ----- | ----- | -----