## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250826_001.gcd | 2025-08-26 13:15 | QC outside air | Unknown | 0 | 6.101 | 1796 | 0.004 | ----- | ----- | ----- | ----- | 45 | FMI20250826_001.gcd | 2025-08-26 13:15 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250826_001.gcd | 2025-08-26 13:15 | QC outside air | Unknown | 0 | 12.353 | 2202 | 0.387 | ----- | ----- | ----- | ----- | 1 |  | 45 | 3.0121 | 367.1575 | 0.16316 | 351.3297 | 5.9039 | 513.3565 | 0.7789 | 485.22 | 3.0121 | 367.1575 | 45 | FMI20250826_001.gcd | 2025-08-26 13:15 | QC outside air | Unknown | 0 | 2.74 | 4632096 | 0 | ----- | ----- | ----- | -----
46 | FMI20250826_002.gcd | 2025-08-26 13:45 | QC spiked air | Unknown | 0 | 6.049 | 958164 | 2.164 | ----- | ----- | ----- | ----- | 46 | FMI20250826_002.gcd | 2025-08-26 13:45 | QC spiked air | Unknown | 0 | 6 | 7552 | 1.958 | ----- | ----- | ----- | ----- | 46 | FMI20250826_002.gcd | 2025-08-26 13:45 | QC spiked air | Unknown | 0 | 12.31 | 8761 | 1.825 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2138.1876 | 1857.1133 | 2091.7939 | 1705.2399 | 1995.8619 | 2080.956 | 2204.6534 | 1825.515 | 2138.1876 | 1857.1133 | 46 | FMI20250826_002.gcd | 2025-08-26 13:45 | QC spiked air | Unknown | 0 | 2.728 | 4857394 | 0 | ----- | ----- | ----- | -----
47 | FMI20250826_003.gcd | 2025-08-26 14:16 | QC reference tank | Unknown | 0 | 6.096 | 2687 | 0.006 | ----- | ----- | ----- | ----- | 47 | FMI20250826_003.gcd | 2025-08-26 14:16 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250826_003.gcd | 2025-08-26 14:16 | QC reference tank | Unknown | 0 | 12.342 | 1442 | 0.22 | ----- | ----- | ----- | ----- | 1 |  | 47 | 6.1485 | 194.2414 | 1.4874 | 194.3083 | 3.8152 | 329.1796 | 3.1928 | 329.5857 | 6.1485 | 194.2414 | 47 | FMI20250826_003.gcd | 2025-08-26 14:16 | QC reference tank | Unknown | 0 | 2.744 | 4601785 | 0 | ----- | ----- | ----- | -----
48 | FMI20250826_004.gcd | 2025-08-26 14:46 | 191 | Unknown | 0 | 5.997 | 20980248 | 49.967 | ----- | ----- | ----- | ----- | 48 | FMI20250826_004.gcd | 2025-08-26 14:46 | 191 | Unknown | 0 | 5.951 | 149570 | 36.76 | ----- | ----- | ----- | ----- | 48 | FMI20250826_004.gcd | 2025-08-26 14:46 | 191 | Unknown | 0 | 12.155 | 119627 | 25.93 | ----- | ----- | ----- | ----- | 1 |  | 48 | 37017.3112 | 26122.5381 | 36751.9934 | 24257.9939 | 36885.2813 | 27269.3036 | 40042.8403 | 23784.4659 | 37017.3112 | 26122.5381 | 48 | FMI20250826_004.gcd | 2025-08-26 14:46 | 191 | Unknown | 0 | 2.895 | 532732 | 0 | ----- | ----- | ----- | -----
49 | FMI20250826_005.gcd | 2025-08-26 15:17 | 238 | Unknown | 0 | 5.892 | 48951542 | 127.964 | ----- | ----- | ----- | ----- | 49 | FMI20250826_005.gcd | 2025-08-26 15:17 | 238 | Unknown | 0 | 5.862 | 443830 | 107 | ----- | ----- | ----- | ----- | 49 | FMI20250826_005.gcd | 2025-08-26 15:17 | 238 | Unknown | 0 | 12.172 | 109543 | 23.753 | ----- | ----- | ----- | ----- | 1 |  | 49 | 106310.5164 | 23982.0456 | 106079.6224 | 22232.6066 | 108870.6936 | 24866.0146 | 116169.2559 | 21759.6689 | 106310.5164 | 23982.0456 | 49 | FMI20250826_005.gcd | 2025-08-26 15:17 | 238 | Unknown | 0 | 2.895 | 497675 | 0 | ----- | ----- | ----- | -----
50 | FMI20250826_006.gcd | 2025-08-26 18:09 | 57 | Unknown | 0 | 6.077 | 15280 | 0.035 | ----- | ----- | ----- | ----- | 50 | FMI20250826_006.gcd | 2025-08-26 18:09 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250826_006.gcd | 2025-08-26 18:09 | 57 | Unknown | 0 | 12.362 | 1452 | 0.222 | ----- | ----- | ----- | ----- | 2 | Vial sampled twice due to AOC error | 50 | 44.0986 | 196.5169 | 33.3886 | 196.3746 | 35.7088 | 331.6064 | 39.9083 | 331.6339 | 44.0986 | 196.5169 | 50 | FMI20250826_006.gcd | 2025-08-26 18:09 | 57 | Unknown | 0 | 2.851 | 1548485 | 0 | ----- | ----- | ----- | -----
51 | FMI20250826_007.gcd | 2025-08-26 18:40 | 192 | Unknown | 0 | 6.059 | 13652 | 0.031 | ----- | ----- | ----- | ----- | 51 | FMI20250826_007.gcd | 2025-08-26 18:40 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250826_007.gcd | 2025-08-26 18:40 | 192 | Unknown | 0 | 12.306 | 1632 | 0.262 | ----- | ----- | ----- | ----- | 1 |  | 51 | 39.7446 | 237.4757 | 29.5699 | 233.5664 | 30.8291 | 375.2732 | 35.2023 | 368.5007 | 39.7446 | 237.4757 | 51 | FMI20250826_007.gcd | 2025-08-26 18:40 | 192 | Unknown | 0 | 2.881 | 822275 | 0 | ----- | ----- | ----- | -----
52 | FMI20250826_008.gcd | 2025-08-26 19:10 | 365 | Unknown | 0 | 6.102 | 1563 | 0.004 | ----- | ----- | ----- | ----- | 52 | FMI20250826_008.gcd | 2025-08-26 19:10 | 365 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250826_008.gcd | 2025-08-26 19:10 | 365 | Unknown | 0 | 12.066 | 205426 | 44.321 | ----- | ----- | ----- | ----- | 1 |  | 52 | 2.1941 | 44247.3999 | -0.14509 | 41280.9142 | 6.5915 | 47381.0467 | 0.16263 | 40814.6216 | 2.1941 | 44247.3999 | 52 | FMI20250826_008.gcd | 2025-08-26 19:10 | 365 | Unknown | 0 | 2.877 | 875422 | 0 | ----- | ----- | ----- | -----
53 | FMI20250826_009.gcd | 2025-08-26 19:41 | 312 | Unknown | 0 | 6.059 | 7129 | 0.016 | ----- | ----- | ----- | ----- | 53 | FMI20250826_009.gcd | 2025-08-26 19:41 | 312 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250826_009.gcd | 2025-08-26 19:41 | 312 | Unknown | 0 | 12.152 | 98747 | 21.419 | ----- | ----- | ----- | ----- | 1 |  | 53 | 21.9858 | 21688.0256 | 11.5315 | 20058.4601 | 6.1945 | 22283.8172 | 16.5804 | 19586.4903 | 21.9858 | 21688.0256 | 53 | FMI20250826_009.gcd | 2025-08-26 19:41 | 312 | Unknown | 0 | 2.872 | 939505 | 0 | ----- | ----- | ----- | -----
54 | FMI20250826_010.gcd | 2025-08-26 20:11 | 119 | Unknown | 0 | 6.056 | 25956 | 0.059 | ----- | ----- | ----- | ----- | 54 | FMI20250826_010.gcd | 2025-08-26 20:11 | 119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250826_010.gcd | 2025-08-26 20:11 | 119 | Unknown | 0 | 12.317 | 1666 | 0.269 | ----- | ----- | ----- | ----- | 1 |  | 54 | 72.6158 | 245.212 | 58.4204 | 240.5914 | 67.5017 | 383.5181 | 70.7309 | 375.464 | 72.6158 | 245.212 | 54 | FMI20250826_010.gcd | 2025-08-26 20:11 | 119 | Unknown | 0 | 2.876 | 905462 | 0 | ----- | ----- | ----- | -----
55 | FMI20250826_011.gcd | 2025-08-26 20:42 | 217 | Unknown | 0 | 5.844 | 62138163 | 171.882 | ----- | ----- | ----- | ----- | 55 | FMI20250826_011.gcd | 2025-08-26 20:42 | 217 | Unknown | 0 | 5.817 | 629401 | 150.091 | ----- | ----- | ----- | ----- | 55 | FMI20250826_011.gcd | 2025-08-26 20:42 | 217 | Unknown | 0 | 12.167 | 115410 | 25.02 | ----- | ----- | ----- | ----- | 1 |  | 55 | 149106.4249 | 25227.6742 | 148074.485 | 23411.6342 | 152486.4441 | 26265.2908 | 161417.0029 | 22938.3162 | 149106.4249 | 25227.6742 | 55 | FMI20250826_011.gcd | 2025-08-26 20:42 | 217 | Unknown | 0 | 2.895 | 499251 | 0 | ----- | ----- | ----- | -----
56 | FMI20250826_012.gcd | 2025-08-26 21:12 | 159 | Unknown | 0 | 6.094 | 1912 | 0.005 | ----- | ----- | ----- | ----- | 56 | FMI20250826_012.gcd | 2025-08-26 21:12 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250826_012.gcd | 2025-08-26 21:12 | 159 | Unknown | 0 | 12.089 | 222036 | 47.856 | ----- | ----- | ----- | ----- | 1 |  | 56 | 3.4196 | 47738.1634 | 0.32251 | 44533.0056 | 5.5834 | 51204.9478 | 1.088 | 44070.6482 | 3.4196 | 47738.1634 | 56 | FMI20250826_012.gcd | 2025-08-26 21:12 | 159 | Unknown | 0 | 2.872 | 948417 | 0 | ----- | ----- | ----- | -----
57 | FMI20250826_013.gcd | 2025-08-26 21:43 | 68 | Unknown | 0 | 6.072 | 3817 | 0.009 | ----- | ----- | ----- | ----- | 57 | FMI20250826_013.gcd | 2025-08-26 21:43 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250826_013.gcd | 2025-08-26 21:43 | 68 | Unknown | 0 | 12.196 | 98532 | 21.373 | ----- | ----- | ----- | ----- | 1 |  | 57 | 10.1455 | 21642.3155 | 3.4988 | 20015.1021 | 2.3995 | 22232.2965 | 6.3846 | 19543.155 | 10.1455 | 21642.3155 | 57 | FMI20250826_013.gcd | 2025-08-26 21:43 | 68 | Unknown | 0 | 2.88 | 795035 | 0 | ----- | ----- | ----- | -----
58 | FMI20250826_014.gcd | 2025-08-26 22:13 | 111 | Unknown | 0 | 6.055 | 50545 | 0.114 | ----- | ----- | ----- | ----- | 58 | FMI20250826_014.gcd | 2025-08-26 22:13 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250826_014.gcd | 2025-08-26 22:13 | 111 | Unknown | 0 | 12.313 | 2848 | 0.528 | ----- | ----- | ----- | ----- | 1 |  | 58 | 138.0688 | 514.0916 | 116.0039 | 484.7746 | 139.3595 | 669.4925 | 141.4711 | 617.455 | 138.0688 | 514.0916 | 58 | FMI20250826_014.gcd | 2025-08-26 22:13 | 111 | Unknown | 0 | 2.875 | 935571 | 0 | ----- | ----- | ----- | -----
59 | FMI20250826_015.gcd | 2025-08-26 22:44 | 165 | Unknown | 0 | 5.835 | 61326525 | 168.99 | ----- | ----- | ----- | ----- | 59 | FMI20250826_015.gcd | 2025-08-26 22:44 | 165 | Unknown | 0 | 5.812 | 642578 | 153.117 | ----- | ----- | ----- | ----- | 59 | FMI20250826_015.gcd | 2025-08-26 22:44 | 165 | Unknown | 0 | 12.178 | 114123 | 24.742 | ----- | ----- | ----- | ----- | 1 |  | 59 | 152118.7152 | 24954.4926 | 151005.6961 | 23153.1501 | 155531.1273 | 25958.5831 | 164548.7627 | 22679.9068 | 152118.7152 | 24954.4926 | 59 | FMI20250826_015.gcd | 2025-08-26 22:44 | 165 | Unknown | 0 | 2.892 | 520898 | 0 | ----- | ----- | ----- | -----
60 | FMI20250826_016.gcd | 2025-08-26 23:15 | 171 | Unknown | 0 | 6.057 | 11394 | 0.026 | ----- | ----- | ----- | ----- | 60 | FMI20250826_016.gcd | 2025-08-26 23:15 | 171 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250826_016.gcd | 2025-08-26 23:15 | 171 | Unknown | 0 | 12.294 | 5578 | 1.127 | ----- | ----- | ----- | ----- | 1 |  | 60 | 33.7036 | 1134.5838 | 24.2727 | 1048.4786 | 24.0472 | 1325.1209 | 28.6727 | 1175.7294 | 33.7036 | 1134.5838 | 60 | FMI20250826_016.gcd | 2025-08-26 23:15 | 171 | Unknown | 0 | 2.874 | 922086 | 0 | ----- | ----- | ----- | -----
61 | FMI20250826_017.gcd | 2025-08-26 23:45 | 343 | Unknown | 0 | 6.053 | 59104 | 0.134 | ----- | ----- | ----- | ----- | 61 | FMI20250826_017.gcd | 2025-08-26 23:45 | 343 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250826_017.gcd | 2025-08-26 23:45 | 343 | Unknown | 0 | 12.313 | 283 | -0.034 | ----- | ----- | ----- | ----- | 1 |  | 61 | 160.7772 | -69.5648 | 136.0248 | -45.2059 | 163.9246 | 47.2955 | 166.0126 | 92.1102 | 160.7772 | -69.5648 | 61 | FMI20250826_017.gcd | 2025-08-26 23:45 | 343 | Unknown | 0 | 2.875 | 908397 | 0 | ----- | ----- | ----- | -----
62 | FMI20250826_018.gcd | 2025-08-27 00:16 | 16 | Unknown | 0 | 6.053 | 50139 | 0.113 | ----- | ----- | ----- | ----- | 62 | FMI20250826_018.gcd | 2025-08-27 00:16 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250826_018.gcd | 2025-08-27 00:16 | 16 | Unknown | 0 | 12.301 | 2144 | 0.374 | ----- | ----- | ----- | ----- | 1 |  | 62 | 136.9906 | 353.9632 | 115.0539 | 339.3475 | 138.1885 | 499.3194 | 140.3059 | 473.3451 | 136.9906 | 353.9632 | 62 | FMI20250826_018.gcd | 2025-08-27 00:16 | 16 | Unknown | 0 | 2.871 | 976526 | 0 | ----- | ----- | ----- | -----
63 | FMI20250826_019.gcd | 2025-08-27 00:46 | 416 | Unknown | 0 | 5.976 | 27236610 | 66.081 | ----- | ----- | ----- | ----- | 63 | FMI20250826_019.gcd | 2025-08-27 00:46 | 416 | Unknown | 0 | 5.936 | 212400 | 51.964 | ----- | ----- | ----- | ----- | 63 | FMI20250826_019.gcd | 2025-08-27 00:46 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | Interference. Do not use CO2. Use CH4. | 63 | 51960.1465 | #VALUE! | 51836.5353 | #VALUE! | 52546.3248 | #VALUE! | 56748.0134 | #VALUE! | 51960.1465 | #VALUE! | 63 | FMI20250826_019.gcd | 2025-08-27 00:46 | 416 | Unknown | 0 | 2.896 | 564414 | 0 | ----- | ----- | ----- | -----
64 | FMI20250826_020.gcd | 2025-08-27 01:17 | 359 | Unknown | 0 | 6.054 | 23991 | 0.054 | ----- | ----- | ----- | ----- | 64 | FMI20250826_020.gcd | 2025-08-27 01:17 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250826_020.gcd | 2025-08-27 01:17 | 359 | Unknown | 0 | 12.2 | 37863 | 8.19 | ----- | ----- | ----- | ----- | 1 |  | 64 | 67.3715 | 8417.058 | 53.8145 | 7685.9965 | 61.6769 | 8562.984 | 65.0627 | 7710.2853 | 67.3715 | 8417.058 | 64 | FMI20250826_020.gcd | 2025-08-27 01:17 | 359 | Unknown | 0 | 2.88 | 804071 | 0 | ----- | ----- | ----- | -----
65 | FMI20250826_021.gcd | 2025-08-27 01:47 | 12 | Unknown | 0 | 5.861 | 52674517 | 139.759 | ----- | ----- | ----- | ----- | 65 | FMI20250826_021.gcd | 2025-08-27 01:47 | 12 | Unknown | 0 | 5.838 | 526774 | 126.37 | ----- | ----- | ----- | ----- | 65 | FMI20250826_021.gcd | 2025-08-27 01:47 | 12 | Unknown | 0 | 12.135 | 100289 | 21.753 | ----- | ----- | ----- | ----- | 1 |  | 65 | 125525.1638 | 22015.8336 | 125014.8828 | 20369.3591 | 128535.7141 | 22653.2179 | 136657.3591 | 19897.2298 | 125525.1638 | 22015.8336 | 65 | FMI20250826_021.gcd | 2025-08-27 01:47 | 12 | Unknown | 0 | 2.891 | 533258 | 0 | ----- | ----- | ----- | -----
66 | FMI20250826_022.gcd | 2025-08-27 02:18 | 315 | Unknown | 0 | 6.083 | 1571 | 0.004 | ----- | ----- | ----- | ----- | 66 | FMI20250826_022.gcd | 2025-08-27 02:18 | 315 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250826_022.gcd | 2025-08-27 02:18 | 315 | Unknown | 0 | 12.029 | 208268 | 44.927 | ----- | ----- | ----- | ----- | 1 |  | 66 | 2.2222 | 44845.0912 | -0.13477 | 41838.3513 | 6.5669 | 48036.9232 | 0.18369 | 41372.6737 | 2.2222 | 44845.0912 | 66 | FMI20250826_022.gcd | 2025-08-27 02:18 | 315 | Unknown | 0 | 2.87 | 959027 | 0 | ----- | ----- | ----- | -----
67 | FMI20250826_023.gcd | 2025-08-27 02:48 | 175 | Unknown | 0 | 6.051 | 63893 | 0.144 | ----- | ----- | ----- | ----- | 67 | FMI20250826_023.gcd | 2025-08-27 02:48 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250826_023.gcd | 2025-08-27 02:48 | 175 | Unknown | 0 | 12.269 | 472 | 0.007 | ----- | ----- | ----- | ----- | 1 |  | 67 | 173.4664 | -26.5365 | 147.222 | -6.1433 | 177.5686 | 93.3464 | 179.7258 | 130.8467 | 173.4664 | -26.5365 | 67 | FMI20250826_023.gcd | 2025-08-27 02:48 | 175 | Unknown | 0 | 2.875 | 910085 | 0 | ----- | ----- | ----- | -----
68 | FMI20250826_024.gcd | 2025-08-27 03:19 | 260 | Unknown | 0 | 6.056 | 11374 | 0.026 | ----- | ----- | ----- | ----- | 68 | FMI20250826_024.gcd | 2025-08-27 03:19 | 260 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250826_024.gcd | 2025-08-27 03:19 | 260 | Unknown | 0 | 12.234 | 2310 | 0.41 | ----- | ----- | ----- | ----- | 1 |  | 68 | 33.65 | 391.7252 | 24.2257 | 373.6408 | 23.9871 | 539.4862 | 28.6149 | 507.3309 | 33.65 | 391.7252 | 68 | FMI20250826_024.gcd | 2025-08-27 03:19 | 260 | Unknown | 0 | 2.879 | 829363 | 0 | ----- | ----- | ----- | -----
69 | FMI20250826_025.gcd | 2025-08-27 03:50 | 215 | Unknown | 0 | 6.097 | 1493 | 0.004 | ----- | ----- | ----- | ----- | 69 | FMI20250826_025.gcd | 2025-08-27 03:50 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250826_025.gcd | 2025-08-27 03:50 | 215 | Unknown | 0 | 12.086 | 194397 | 41.97 | ----- | ----- | ----- | ----- | 1 |  | 69 | 1.9486 | 41926.304 | -0.23461 | 39113.7542 | 6.8095 | 44829.518 | -0.021303 | 38645.3027 | 1.9486 | 41926.304 | 69 | FMI20250826_025.gcd | 2025-08-27 03:50 | 215 | Unknown | 0 | 2.871 | 962188 | 0 | ----- | ----- | ----- | -----
70 | FMI20250826_026.gcd | 2025-08-27 04:20 | 167 | Unknown | 0 | 6.087 | 1601 | 0.004 | ----- | ----- | ----- | ----- | 70 | FMI20250826_026.gcd | 2025-08-27 04:20 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250826_026.gcd | 2025-08-27 04:20 | 167 | Unknown | 0 | 12.094 | 198762 | 42.901 | ----- | ----- | ----- | ----- | 1 |  | 70 | 2.3275 | 42845.2441 | -0.095892 | 39972.2038 | 6.4754 | 45840.5384 | 0.26271 | 39504.5634 | 2.3275 | 42845.2441 | 70 | FMI20250826_026.gcd | 2025-08-27 04:20 | 167 | Unknown | 0 | 2.874 | 878080 | 0 | ----- | ----- | ----- | -----
71 | FMI20250826_027.gcd | 2025-08-27 04:51 | 80 | Unknown | 0 | 6.049 | 120412 | 0.272 | ----- | ----- | ----- | ----- | 71 | FMI20250826_027.gcd | 2025-08-27 04:51 | 80 | Unknown | 0 | 5.982 | 1209 | 0.389 | ----- | ----- | ----- | ----- | 71 | FMI20250826_027.gcd | 2025-08-27 04:51 | 80 | Unknown | 0 | 12.176 | 99728 | 21.632 | ----- | ----- | ----- | ----- | 1 |  | 71 | 322.3107 | 21896.5785 | 279.0896 | 20256.264 | 333.1287 | 22518.8475 | 340.5661 | 19784.1919 | 322.3107 | 21896.5785 | 71 | FMI20250826_027.gcd | 2025-08-27 04:51 | 80 | Unknown | 0 | 2.875 | 867426 | 0 | ----- | ----- | ----- | -----
72 | FMI20250826_028.gcd | 2025-08-27 05:21 | 257 | Unknown | 0 | 6.049 | 112335 | 0.254 | ----- | ----- | ----- | ----- | 72 | FMI20250826_028.gcd | 2025-08-27 05:21 | 257 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250826_028.gcd | 2025-08-27 05:21 | 257 | Unknown | 0 | 12.178 | 92834 | 20.14 | ----- | ----- | ----- | ----- | 1 |  | 72 | 301.1426 | 20430.535 | 260.2762 | 18865.1526 | 311.515 | 20865.4994 | 317.6938 | 18393.86 | 301.1426 | 20430.535 | 72 | FMI20250826_028.gcd | 2025-08-27 05:21 | 257 | Unknown | 0 | 2.878 | 807989 | 0 | ----- | ----- | ----- | -----
73 | FMI20250826_029.gcd | 2025-08-27 05:52 | 20 | Unknown | 0 | 6.091 | 1859 | 0.005 | ----- | ----- | ----- | ----- | 73 | FMI20250826_029.gcd | 2025-08-27 05:52 | 20 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250826_029.gcd | 2025-08-27 05:52 | 20 | Unknown | 0 | 12.087 | 198060 | 42.751 | ----- | ----- | ----- | ----- | 1 |  | 73 | 3.2334 | 42697.4832 | 0.24922 | 39834.2095 | 5.728 | 45678.0465 | 0.9466 | 39366.4348 | 3.2334 | 42697.4832 | 73 | FMI20250826_029.gcd | 2025-08-27 05:52 | 20 | Unknown | 0 | 2.871 | 924708 | 0 | ----- | ----- | ----- | -----
74 | FMI20250826_030.gcd | 2025-08-27 09:48 | 416 rerun | Unknown | 0 | 5.999 | 25004621 | 60.259 | ----- | ----- | ----- | ----- | 74 | FMI20250826_030.gcd | 2025-08-27 09:48 | 416 rerun | Unknown | 0 | 5.955 | 188248 | 46.133 | ----- | ----- | ----- | ----- | 74 | FMI20250826_030.gcd | 2025-08-27 09:48 | 416 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 3 | Bad reinjection. Do not use. | 74 | 46225.5577 | #VALUE! | 46056.1057 | #VALUE! | 46544.8658 | #VALUE! | 50355.4642 | #VALUE! | 46225.5577 | #VALUE! | 74 | FMI20250826_030.gcd | 2025-08-27 09:48 | 416 rerun | Unknown | 0 | 2.861 | 1234806 | 0 | ----- | ----- | ----- | -----