## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20241016_001.gcd | 2024-10-16 12:46 | QC outside air | Unknown | 0 | 6.064 | 2251 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI20241016_001.gcd | 2024-10-16 12:46 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20241016_001.gcd | 2024-10-16 12:46 | QC outside air | Unknown | 0 | 12.228 | 2545 | 0.523 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.0002 | 555.4377 | 1.5969 | 482.6407 | 0.8106 | 422.1862 | 4.7302 | 596.3058 | 2.0002 | 555.4377 | 48 | FMI20241016_001.gcd | 2024-10-16 12:46 | QC outside air | Unknown | 0 | 2.712 | 4726780 | 0 | ----- | ----- | ----- | -----
49 | FMI20241016_002.gcd | 2024-10-16 13:16 | QC spiked air | Unknown | 0 | 6.01 | 988000 | 2.49 | ----- | ----- | ----- | ----- | 49 | FMI20241016_002.gcd | 2024-10-16 13:16 | QC spiked air | Unknown | 0 | 5.959 | 7137 | 2.134 | ----- | ----- | ----- | ----- | 49 | FMI20241016_002.gcd | 2024-10-16 13:16 | QC spiked air | Unknown | 0 | 12.233 | 9852 | 2.129 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2268.2319 | 2047.9557 | 2115.0045 | 1878.2662 | 1989.3655 | 1930.2314 | 2052.6637 | 2337.8981 | 2268.2319 | 2047.9557 | 49 | FMI20241016_002.gcd | 2024-10-16 13:16 | QC spiked air | Unknown | 0 | 2.706 | 5001820 | 0 | ----- | ----- | ----- | -----
50 | FMI20241016_003.gcd | 2024-10-16 13:47 | QC reference tank | Unknown | 0 | 6.049 | 3442 | 0.005 | ----- | ----- | ----- | ----- | 50 | FMI20241016_003.gcd | 2024-10-16 13:47 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20241016_003.gcd | 2024-10-16 13:47 | QC reference tank | Unknown | 0 | 12.248 | 2654 | 0.547 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.3092 | 577.7488 | 5.7572 | 503.4723 | 2.7901 | 444.702 | 2.7164 | 622.6434 | 5.3092 | 577.7488 | 50 | FMI20241016_003.gcd | 2024-10-16 13:47 | QC reference tank | Unknown | 0 | 2.704 | 5069447 | 0 | ----- | ----- | ----- | -----
51 | FMI20241016_004.gcd | 2024-10-16 14:17 | 177 | Unknown | 0 | 6.019 | 10919 | 0.024 | ----- | ----- | ----- | ----- | 51 | FMI20241016_004.gcd | 2024-10-16 14:17 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20241016_004.gcd | 2024-10-16 14:17 | 177 | Unknown | 0 | 12.028 | 167996 | 35.292 | ----- | ----- | ----- | ----- | 1 |  | 51 | 27.2987 | 33428.6844 | 28.3461 | 31658.0768 | 23.1582 | 33900.831 | 22.6185 | 38681.3026 | 27.2987 | 33428.6844 | 51 | FMI20241016_004.gcd | 2024-10-16 14:17 | 177 | Unknown | 0 | 2.867 | 655082 | 0 | ----- | ----- | ----- | -----
52 | FMI20241016_005.gcd | 2024-10-16 14:48 | 242 | Unknown | 0 | 6.013 | 73700 | 0.182 | ----- | ----- | ----- | ----- | 52 | FMI20241016_005.gcd | 2024-10-16 14:48 | 242 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20241016_005.gcd | 2024-10-16 14:48 | 242 | Unknown | 0 | 12.12 | 72058 | 15.524 | ----- | ----- | ----- | ----- | 1 |  | 52 | 207.7666 | 14190.0931 | 193.1317 | 13689.2039 | 170.1401 | 14658.1797 | 205.2833 | 15859.3993 | 207.7666 | 14190.0931 | 52 | FMI20241016_005.gcd | 2024-10-16 14:48 | 242 | Unknown | 0 | 2.866 | 737172 | 0 | ----- | ----- | ----- | -----
53 | FMI20241016_006.gcd | 2024-10-16 15:18 | 111 | Unknown | 0 | 6.047 | 3450 | 0.005 | ----- | ----- | ----- | ----- | 53 | FMI20241016_006.gcd | 2024-10-16 15:18 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20241016_006.gcd | 2024-10-16 15:18 | 111 | Unknown | 0 | 12.181 | 20879 | 4.539 | ----- | ----- | ----- | ----- | 1 |  | 53 | 5.332 | 4288.2262 | 5.7846 | 3981.1185 | 2.8048 | 4200.8643 | 2.7081 | 4873.9271 | 5.332 | 4288.2262 | 53 | FMI20241016_006.gcd | 2024-10-16 15:18 | 111 | Unknown | 0 | 2.864 | 740300 | 0 | ----- | ----- | ----- | -----
54 | FMI20241016_007.gcd | 2024-10-16 15:49 | 119 | Unknown | 0 | 6.038 | 3320 | 0.005 | ----- | ----- | ----- | ----- | 54 | FMI20241016_007.gcd | 2024-10-16 15:49 | 119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20241016_007.gcd | 2024-10-16 15:49 | 119 | Unknown | 0 | 11.995 | 11574 | 2.506 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- tried to salvage. CH4 is ok. Do not use CO2. Use CH4. | 54 | 4.9628 | 2398.7593 | 5.3386 | 2206.9127 | 2.5684 | 2285.2272 | 2.8523 | 2741.238 | 4.9628 | 2398.7593 | 54 | FMI20241016_007.gcd | 2024-10-16 15:49 | 119 | Unknown | 0 | 2.865 | 707911 | 0 | ----- | ----- | ----- | -----
55 | FMI20241016_008.gcd | 2024-10-16 16:19 | 221 | Unknown | 0 | 6.009 | 88652 | 0.22 | ----- | ----- | ----- | ----- | 55 | FMI20241016_008.gcd | 2024-10-16 16:19 | 221 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20241016_008.gcd | 2024-10-16 16:19 | 221 | Unknown | 0 | 12.024 | 73061 | 14.669 | ----- | ----- | ----- | ----- | 2 | Interference with CO2- tried to estimate full peak area in column AJ. CH4 is ok. Do not use CO2. Use CH4. | 55 | 250.4114 | 14393.5143 | 232.2367 | 13878.6108 | 205.0519 | 14861.7852 | 246.9541 | 16101.8892 | 250.4114 | 14393.5143 | 55 | FMI20241016_008.gcd | 2024-10-16 16:19 | 221 | Unknown | 0 | 2.868 | 664256 | 0 | ----- | ----- | ----- | -----
56 | FMI20241016_009.gcd | 2024-10-16 16:50 | 297 | Unknown | 0 | 6.025 | 8119 | 0.017 | ----- | ----- | ----- | ----- | 56 | FMI20241016_009.gcd | 2024-10-16 16:50 | 297 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20241016_009.gcd | 2024-10-16 16:50 | 297 | Unknown | 0 | 12.02 | 161596 | 34.004 | ----- | ----- | ----- | ----- | 1 |  | 56 | 19.8715 | 32159.053 | 20.504 | 30468.6955 | 14.5515 | 32631.7826 | 9.6288 | 37182.2966 | 19.8715 | 32159.053 | 56 | FMI20241016_009.gcd | 2024-10-16 16:50 | 297 | Unknown | 0 | 2.876 | 623098 | 0 | ----- | ----- | ----- | -----
57 | FMI20241016_010.gcd | 2024-10-16 17:20 | 150 | Unknown | 0 | 6.05 | 1965 | 0.002 | ----- | ----- | ----- | ----- | 57 | FMI20241016_010.gcd | 2024-10-16 17:20 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20241016_010.gcd | 2024-10-16 17:20 | 150 | Unknown | 0 | 12.01 | 181613 | 38.018 | ----- | ----- | ----- | ----- | 1 |  | 57 | 1.2298 | 36123.4736 | 0.57344 | 34184.2394 | 0.39661 | 36593.9737 | 5.4418 | 41859.5239 | 1.2298 | 36123.4736 | 57 | FMI20241016_010.gcd | 2024-10-16 17:20 | 150 | Unknown | 0 | 2.863 | 761042 | 0 | ----- | ----- | ----- | -----
58 | FMI20241016_011.gcd | 2024-10-16 17:51 | 269 | Unknown | 0 | 6.013 | 34697 | 0.084 | ----- | ----- | ----- | ----- | 58 | FMI20241016_011.gcd | 2024-10-16 17:51 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20241016_011.gcd | 2024-10-16 17:51 | 269 | Unknown | 0 | 12.182 | 7375 | 1.585 | ----- | ----- | ----- | ----- | 1 |  | 58 | 95.9179 | 1542.7224 | 90.8699 | 1405.3576 | 78.9016 | 1419.3245 | 93.2644 | 1752.9724 | 95.9179 | 1542.7224 | 58 | FMI20241016_011.gcd | 2024-10-16 17:51 | 269 | Unknown | 0 | 2.866 | 705436 | 0 | ----- | ----- | ----- | -----
59 | FMI20241016_012.gcd | 2024-10-16 18:22 | 80 | Unknown | 0 | 6.069 | 1712 | 0.001 | ----- | ----- | ----- | ----- | 59 | FMI20241016_012.gcd | 2024-10-16 18:22 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20241016_012.gcd | 2024-10-16 18:22 | 80 | Unknown | 0 | 11.954 | 241406 | 49.774 | ----- | ----- | ----- | ----- | 1 |  | 59 | 0.55601 | 47850.9649 | -0.33987 | 45205.3875 | 0.050215 | 48307.6948 | 6.145 | 55635.7428 | 0.55601 | 47850.9649 | 59 | FMI20241016_012.gcd | 2024-10-16 18:22 | 80 | Unknown | 0 | 2.851 | 930492 | 0 | ----- | ----- | ----- | -----
60 | FMI20241016_013.gcd | 2024-10-16 18:52 | 335 | Unknown | 0 | 6.047 | 3185 | 0.005 | ----- | ----- | ----- | ----- | 60 | FMI20241016_013.gcd | 2024-10-16 18:52 | 335 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20241016_013.gcd | 2024-10-16 18:52 | 335 | Unknown | 0 | 12.17 | 15551 | 3.377 | ----- | ----- | ----- | ----- | 1 |  | 60 | 4.5814 | 3207.5934 | 4.8734 | 2965.561 | 2.3281 | 3104.5201 | 3.0214 | 3662.4237 | 4.5814 | 3207.5934 | 60 | FMI20241016_013.gcd | 2024-10-16 18:52 | 335 | Unknown | 0 | 2.874 | 692536 | 0 | ----- | ----- | ----- | -----
61 | FMI20241016_014.gcd | 2024-10-16 19:23 | 319 | Unknown | 0 | 6.043 | 2949 | 0.004 | ----- | ----- | ----- | ----- | 61 | FMI20241016_014.gcd | 2024-10-16 19:23 | 319 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20241016_014.gcd | 2024-10-16 19:23 | 319 | Unknown | 0 | 12.159 | 15698 | 3.409 | ----- | ----- | ----- | ----- | 1 |  | 61 | 3.9198 | 3237.4537 | 4.0551 | 2993.5927 | 1.9207 | 3134.7878 | 3.3642 | 3696.1966 | 3.9198 | 3237.4537 | 61 | FMI20241016_014.gcd | 2024-10-16 19:23 | 319 | Unknown | 0 | 2.865 | 722074 | 0 | ----- | ----- | ----- | -----
62 | FMI20241016_015.gcd | 2024-10-16 19:53 | 292 | Unknown | 0 | 6.043 | 3335 | 0.005 | ----- | ----- | ----- | ----- | 62 | FMI20241016_015.gcd | 2024-10-16 19:53 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20241016_015.gcd | 2024-10-16 19:53 | 292 | Unknown | 0 | 12.172 | 17593 | 3.822 | ----- | ----- | ----- | ----- | 1 |  | 62 | 5.0053 | 3622.1561 | 5.3902 | 3354.8909 | 2.5955 | 3524.8743 | 2.8347 | 4129.8028 | 5.0053 | 3622.1561 | 62 | FMI20241016_015.gcd | 2024-10-16 19:53 | 292 | Unknown | 0 | 2.867 | 748295 | 0 | ----- | ----- | ----- | -----
63 | FMI20241016_016.gcd | 2024-10-16 20:24 | 166 | Unknown | 0 | 6.049 | 1791 | 0.001 | ----- | ----- | ----- | ----- | 63 | FMI20241016_016.gcd | 2024-10-16 20:24 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20241016_016.gcd | 2024-10-16 20:24 | 166 | Unknown | 0 | 12.003 | 195800 | 40.838 | ----- | ----- | ----- | ----- | 1 |  | 63 | 0.76561 | 38921.5865 | -0.053892 | 36809.732 | 0.15638 | 39389.7834 | 5.918 | 45154.6505 | 0.76561 | 38921.5865 | 63 | FMI20241016_016.gcd | 2024-10-16 20:24 | 166 | Unknown | 0 | 2.83 | 1464987 | 0 | ----- | ----- | ----- | -----
64 | FMI20241016_017.gcd | 2024-10-16 20:54 | 109 | Unknown | 0 | 6.019 | 38702 | 0.094 | ----- | ----- | ----- | ----- | 64 | FMI20241016_017.gcd | 2024-10-16 20:54 | 109 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20241016_017.gcd | 2024-10-16 20:54 | 109 | Unknown | 0 | 12.193 | 8060 | 1.736 | ----- | ----- | ----- | ----- | 1 |  | 64 | 107.4435 | 1682.5152 | 101.3876 | 1536.1577 | 88.2817 | 1560.6441 | 104.9881 | 1915.2901 | 107.4435 | 1682.5152 | 64 | FMI20241016_017.gcd | 2024-10-16 20:54 | 109 | Unknown | 0 | 2.864 | 867091 | 0 | ----- | ----- | ----- | -----
65 | FMI20241016_018.gcd | 2024-10-16 21:25 | 343 | Unknown | 0 | 6.055 | 1742 | 0.001 | ----- | ----- | ----- | ----- | 65 | FMI20241016_018.gcd | 2024-10-16 21:25 | 343 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20241016_018.gcd | 2024-10-16 21:25 | 343 | Unknown | 0 | 11.949 | 256960 | 52.776 | ----- | ----- | ----- | ----- | 1 |  | 65 | 0.63552 | 50873.4846 | -0.23119 | 48053.2715 | 0.090318 | 51324.8862 | 6.058 | 59171.4287 | 0.63552 | 50873.4846 | 65 | FMI20241016_018.gcd | 2024-10-16 21:25 | 343 | Unknown | 0 | 2.852 | 950513 | 0 | ----- | ----- | ----- | -----
66 | FMI20241016_019.gcd | 2024-10-16 21:55 | 409 | Unknown | 0 | 6.064 | 1707 | 0.001 | ----- | ----- | ----- | ----- | 66 | FMI20241016_019.gcd | 2024-10-16 21:55 | 409 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20241016_019.gcd | 2024-10-16 21:55 | 409 | Unknown | 0 | 11.954 | 261820 | 53.71 | ----- | ----- | ----- | ----- | 1 |  | 66 | 0.54277 | 51815.5164 | -0.358 | 48941.5077 | 0.043557 | 52265.1053 | 6.1596 | 60272.1308 | 0.54277 | 51815.5164 | 66 | FMI20241016_019.gcd | 2024-10-16 21:55 | 409 | Unknown | 0 | 2.849 | 995758 | 0 | ----- | ----- | ----- | -----
67 | FMI20241016_020.gcd | 2024-10-16 22:26 | 371 | Unknown | 0 | 6.068 | 1646 | 0.001 | ----- | ----- | ----- | ----- | 67 | FMI20241016_020.gcd | 2024-10-16 22:26 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20241016_020.gcd | 2024-10-16 22:26 | 371 | Unknown | 0 | 11.955 | 247433 | 50.94 | ----- | ----- | ----- | ----- | 1 |  | 67 | 0.38145 | 49023.5371 | -0.57935 | 46309.8442 | -0.037091 | 49478.2879 | 6.3398 | 57008.1297 | 0.38145 | 49023.5371 | 67 | FMI20241016_020.gcd | 2024-10-16 22:26 | 371 | Unknown | 0 | 2.85 | 981584 | 0 | ----- | ----- | ----- | -----
68 | FMI20241016_021.gcd | 2024-10-16 22:56 | 148 | Unknown | 0 | 6.045 | 3550 | 0.005 | ----- | ----- | ----- | ----- | 68 | FMI20241016_021.gcd | 2024-10-16 22:56 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20241016_021.gcd | 2024-10-16 22:56 | 148 | Unknown | 0 | 12.176 | 19085 | 4.148 | ----- | ----- | ----- | ----- | 1 |  | 68 | 5.6173 | 3924.7436 | 6.1263 | 3639.2715 | 2.99 | 3831.8742 | 2.6096 | 4468.8914 | 5.6173 | 3924.7436 | 68 | FMI20241016_021.gcd | 2024-10-16 22:56 | 148 | Unknown | 0 | 2.86 | 865912 | 0 | ----- | ----- | ----- | -----
69 | FMI20241016_022.gcd | 2024-10-17 09:49 | 119 v7 resample | Unknown | 0 | 6.05 | 3394 | 0.005 | ----- | ----- | ----- | ----- | 69 | FMI20241016_022.gcd | 2024-10-17 09:49 | 119 v7 resample | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20241016_022.gcd | 2024-10-17 09:49 | 119 v7 resample | Unknown | 0 | 12.198 | 18060 | 3.925 | ----- | ----- | ----- | ----- | 2 | No interference but different headspace pressure. Use CO2. Do not use CH4. | 69 | 5.1727 | 3716.8954 | 5.5927 | 3443.9106 | 2.7024 | 3620.9783 | 2.768 | 4236.1568 | 5.1727 | 3716.8954 | 69 | FMI20241016_022.gcd | 2024-10-17 09:49 | 119 v7 resample | Unknown | 0 | 2.822 | 1605504 | 0 | ----- | ----- | ----- | -----
70 | FMI20241016_023.gcd | 2024-10-17 10:19 | 221 v8 resample | Unknown | 0 | 6.011 | 85832 | 0.213 | ----- | ----- | ----- | ----- | 70 | FMI20241016_023.gcd | 2024-10-17 10:19 | 221 v8 resample | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20241016_023.gcd | 2024-10-17 10:19 | 221 v8 resample | Unknown | 0 | 12.111 | 68422 | 14.754 | ----- | ----- | ----- | ----- | 2 | No interference but different headspace pressure. Use CO2. Do not use CH4. | 70 | 242.3783 | 13452.2605 | 224.8655 | 13002.3061 | 198.4702 | 13919.6537 | 239.1488 | 14979.6532 | 242.3783 | 13452.2605 | 70 | FMI20241016_023.gcd | 2024-10-17 10:19 | 221 v8 resample | Unknown | 0 | 2.828 | 1469913 | 0 | ----- | ----- | ----- | -----