## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20241030_001.gcd | 2024-10-30 13:40 | QC outside air | Unknown | 0 | 6.038 | 2543 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20241030_001.gcd | 2024-10-30 13:40 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20241030_001.gcd | 2024-10-30 13:40 | QC outside air | Unknown | 0 | 12.205 | 3467 | 0.726 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.7965 | 744.1162 | 2.6321 | 658.837 | 1.2578 | 612.6221 | 4.0947 | 818.7456 | 2.7965 | 744.1162 | 48 | FMI20241030_001.gcd | 2024-10-30 13:40 | QC outside air | Unknown | 0 | 2.699 | 4948892 | 0 | ----- | ----- | ----- | -----
49 | FMI20241030_002.gcd | 2024-10-30 14:11 | QC spiked air | Unknown | 0 | 5.98 | 1367868 | 3.452 | ----- | ----- | ----- | ----- | 49 | FMI20241030_002.gcd | 2024-10-30 14:11 | QC spiked air | Unknown | 0 | 5.933 | 8716 | 2.597 | ----- | ----- | ----- | ----- | 49 | FMI20241030_002.gcd | 2024-10-30 14:11 | QC spiked air | Unknown | 0 | 12.174 | 10256 | 2.217 | ----- | ----- | ----- | ----- | 1 |  | 49 | 3076.7405 | 2130.2899 | 2519.3577 | 1955.3789 | 2379.0513 | 2013.5309 | 2772.9622 | 2432.7689 | 3076.7405 | 2130.2899 | 49 | FMI20241030_002.gcd | 2024-10-30 14:11 | QC spiked air | Unknown | 0 | 2.688 | 5156870 | 0 | ----- | ----- | ----- | -----
50 | FMI20241030_003.gcd | 2024-10-30 14:41 | QC reference tank | Unknown | 0 | 6.017 | 4412 | 0.008 | ----- | ----- | ----- | ----- | 50 | FMI20241030_003.gcd | 2024-10-30 14:41 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20241030_003.gcd | 2024-10-30 14:41 | QC reference tank | Unknown | 0 | 12.196 | 1063 | 0.196 | ----- | ----- | ----- | ----- | 1 |  | 50 | 8.1239 | 251.9474 | 9.024 | 199.3692 | 4.707 | 115.9933 | 2.2083 | 237.1366 | 8.1239 | 251.9474 | 50 | FMI20241030_003.gcd | 2024-10-30 14:41 | QC reference tank | Unknown | 0 | 2.689 | 5155235 | 0 | ----- | ----- | ----- | -----
51 | FMI20241030_004.gcd | 2024-10-30 15:12 | 355 | Unknown | 0 | 6.015 | 3352 | 0.005 | ----- | ----- | ----- | ----- | 51 | FMI20241030_004.gcd | 2024-10-30 15:12 | 355 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20241030_004.gcd | 2024-10-30 15:12 | 355 | Unknown | 0 | 12.2 | 32037 | 6.962 | ----- | ----- | ----- | ----- | 1 |  | 51 | 5.0535 | 6540.3081 | 5.4486 | 6104.9276 | 2.6262 | 6492.155 | 2.8151 | 7327.1809 | 5.0535 | 6540.3081 | 51 | FMI20241030_004.gcd | 2024-10-30 15:12 | 355 | Unknown | 0 | 2.856 | 643860 | 0 | ----- | ----- | ----- | -----
52 | FMI20241030_005.gcd | 2024-10-30 15:42 | 270 | Unknown | 0 | 5.992 | 43695 | 0.107 | ----- | ----- | ----- | ----- | 52 | FMI20241030_005.gcd | 2024-10-30 15:42 | 270 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20241030_005.gcd | 2024-10-30 15:42 | 270 | Unknown | 0 | 12.142 | 9128 | 1.97 | ----- | ----- | ----- | ----- | 1 |  | 52 | 121.7994 | 1900.3574 | 114.4944 | 1740.0608 | 99.9721 | 1780.9313 | 119.533 | 2167.5096 | 121.7994 | 1900.3574 | 52 | FMI20241030_005.gcd | 2024-10-30 15:42 | 270 | Unknown | 0 | 2.857 | 756130 | 0 | ----- | ----- | ----- | -----
53 | FMI20241030_006.gcd | 2024-10-30 16:13 | 231 | Unknown | 0 | 6.029 | 2580 | 0.003 | ----- | ----- | ----- | ----- | 53 | FMI20241030_006.gcd | 2024-10-30 16:13 | 231 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20241030_006.gcd | 2024-10-30 16:13 | 231 | Unknown | 0 | 12.101 | 36665 | 7.962 | ----- | ----- | ----- | ----- | 1 |  | 53 | 2.8981 | 7470.0345 | 2.7626 | 6984.6313 | 1.3162 | 7440.6484 | 4.0208 | 8311.3946 | 2.8981 | 7470.0345 | 53 | FMI20241030_006.gcd | 2024-10-30 16:13 | 231 | Unknown | 0 | 2.854 | 713822 | 0 | ----- | ----- | ----- | -----
54 | FMI20241030_007.gcd | 2024-10-30 16:43 | 234 | Unknown | 0 | 6.02 | 2396 | 0.003 | ----- | ----- | ----- | ----- | 54 | FMI20241030_007.gcd | 2024-10-30 16:43 | 234 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20241030_007.gcd | 2024-10-30 16:43 | 234 | Unknown | 0 | 12.071 | 64281 | 13.876 | ----- | ----- | ----- | ----- | 1 |  | 54 | 2.3944 | 12611.1772 | 2.1122 | 12219.4821 | 1.0296 | 13077.7329 | 4.4031 | 13976.403 | 2.3944 | 12611.1772 | 54 | FMI20241030_007.gcd | 2024-10-30 16:43 | 234 | Unknown | 0 | 2.853 | 716962 | 0 | ----- | ----- | ----- | -----
55 | FMI20241030_008.gcd | 2024-10-30 17:14 | 393 | Unknown | 0 | 6.032 | 2694 | 0.003 | ----- | ----- | ----- | ----- | 55 | FMI20241030_008.gcd | 2024-10-30 17:14 | 393 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20241030_008.gcd | 2024-10-30 17:14 | 393 | Unknown | 0 | 12.061 | 78311 | 16.844 | ----- | ----- | ----- | ----- | 1 |  | 55 | 3.2121 | 15457.4926 | 3.1636 | 14869.4889 | 1.4988 | 15926.6794 | 3.8022 | 17369.8108 | 3.2121 | 15457.4926 | 55 | FMI20241030_008.gcd | 2024-10-30 17:14 | 393 | Unknown | 0 | 2.848 | 803050 | 0 | ----- | ----- | ----- | -----
56 | FMI20241030_009.gcd | 2024-10-30 17:45 | 317 | Unknown | 0 | 6.041 | 2364 | 0.003 | ----- | ----- | ----- | ----- | 56 | FMI20241030_009.gcd | 2024-10-30 17:45 | 317 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20241030_009.gcd | 2024-10-30 17:45 | 317 | Unknown | 0 | 12.096 | 37870 | 8.222 | ----- | ----- | ----- | ----- | 1 |  | 56 | 2.3072 | 7711.6886 | 1.9987 | 7213.5669 | 0.98071 | 7687.4298 | 4.4733 | 8564.4502 | 2.3072 | 7711.6886 | 56 | FMI20241030_009.gcd | 2024-10-30 17:45 | 317 | Unknown | 0 | 2.85 | 769623 | 0 | ----- | ----- | ----- | -----
57 | FMI20241030_010.gcd | 2024-10-30 18:15 | 376 | Unknown | 0 | 5.987 | 46033 | 0.112 | ----- | ----- | ----- | ----- | 57 | FMI20241030_010.gcd | 2024-10-30 18:15 | 376 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20241030_010.gcd | 2024-10-30 18:15 | 376 | Unknown | 0 | 12.139 | 8366 | 1.803 | ----- | ----- | ----- | ----- | 1 |  | 57 | 128.5167 | 1744.9446 | 120.6297 | 1594.5832 | 105.4448 | 1623.7661 | 126.3167 | 1987.6616 | 128.5167 | 1744.9446 | 57 | FMI20241030_010.gcd | 2024-10-30 18:15 | 376 | Unknown | 0 | 2.849 | 788619 | 0 | ----- | ----- | ----- | -----
58 | FMI20241030_011.gcd | 2024-10-30 18:46 | 280 | Unknown | 0 | 6.027 | 2735 | 0.003 | ----- | ----- | ----- | ----- | 58 | FMI20241030_011.gcd | 2024-10-30 18:46 | 280 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20241030_011.gcd | 2024-10-30 18:46 | 280 | Unknown | 0 | 12.066 | 75999 | 16.356 | ----- | ----- | ----- | ----- | 1 |  | 58 | 3.3254 | 14989.1001 | 3.3074 | 14433.2355 | 1.5653 | 15457.8937 | 3.727 | 16811.7201 | 3.3254 | 14989.1001 | 58 | FMI20241030_011.gcd | 2024-10-30 18:46 | 280 | Unknown | 0 | 2.849 | 791461 | 0 | ----- | ----- | ----- | -----
59 | FMI20241030_012.gcd | 2024-10-30 19:16 | 268 | Unknown | 0 | 6.016 | 2591 | 0.003 | ----- | ----- | ----- | ----- | 59 | FMI20241030_012.gcd | 2024-10-30 19:16 | 268 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20241030_012.gcd | 2024-10-30 19:16 | 268 | Unknown | 0 | 12.067 | 75449 | 16.24 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.9283 | 14877.6367 | 2.8014 | 14329.4299 | 1.3337 | 15346.3344 | 3.9991 | 16678.8919 | 2.9283 | 14877.6367 | 59 | FMI20241030_012.gcd | 2024-10-30 19:16 | 268 | Unknown | 0 | 2.848 | 812977 | 0 | ----- | ----- | ----- | -----
60 | FMI20241030_013.gcd | 2024-10-30 19:47 | 16 | Unknown | 0 | 6.014 | 3045 | 0.004 | ----- | ----- | ----- | ----- | 60 | FMI20241030_013.gcd | 2024-10-30 19:47 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20241030_013.gcd | 2024-10-30 19:47 | 16 | Unknown | 0 | 12.119 | 23138 | 5.031 | ----- | ----- | ----- | ----- | 1 |  | 60 | 4.1882 | 4745.3751 | 4.3887 | 4411.4225 | 2.0845 | 4665.262 | 3.2175 | 5379.7711 | 4.1882 | 4745.3751 | 60 | FMI20241030_013.gcd | 2024-10-30 19:47 | 16 | Unknown | 0 | 2.846 | 848520 | 0 | ----- | ----- | ----- | -----
61 | FMI20241030_014.gcd | 2024-10-30 20:17 | 254 | Unknown | 0 | 5.984 | 114730 | 0.285 | ----- | ----- | ----- | ----- | 61 | FMI20241030_014.gcd | 2024-10-30 20:17 | 254 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20241030_014.gcd | 2024-10-30 20:17 | 254 | Unknown | 0 | 12.067 | 73397 | 15.807 | ----- | ----- | ----- | ----- | 1 |  | 61 | 324.4798 | 14461.6486 | 300.311 | 13942.0538 | 265.8559 | 14929.9806 | 317.9454 | 16183.1037 | 324.4798 | 14461.6486 | 61 | FMI20241030_014.gcd | 2024-10-30 20:17 | 254 | Unknown | 0 | 2.85 | 759903 | 0 | ----- | ----- | ----- | -----
62 | FMI20241030_015.gcd | 2024-10-30 20:48 | 241 | Unknown | 0 | 6.014 | 3529 | 0.005 | ----- | ----- | ----- | ----- | 62 | FMI20241030_015.gcd | 2024-10-30 20:48 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20241030_015.gcd | 2024-10-30 20:48 | 241 | Unknown | 0 | 12.118 | 22935 | 4.987 | ----- | ----- | ----- | ----- | 1 |  | 62 | 5.5572 | 4704.3193 | 6.0547 | 4372.761 | 2.9509 | 4623.5406 | 2.6294 | 5334.5049 | 5.5572 | 4704.3193 | 62 | FMI20241030_015.gcd | 2024-10-30 20:48 | 241 | Unknown | 0 | 2.846 | 853297 | 0 | ----- | ----- | ----- | -----
63 | FMI20241030_016.gcd | 2024-10-30 21:18 | 386 | Unknown | 0 | 6.03 | 2606 | 0.003 | ----- | ----- | ----- | ----- | 63 | FMI20241030_016.gcd | 2024-10-30 21:18 | 386 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20241030_016.gcd | 2024-10-30 21:18 | 386 | Unknown | 0 | 12.077 | 66689 | 14.386 | ----- | ----- | ----- | ----- | 1 |  | 63 | 2.9696 | 13100.3691 | 2.8542 | 12674.7637 | 1.3575 | 13567.4181 | 3.9697 | 14559.9657 | 2.9696 | 13100.3691 | 63 | FMI20241030_016.gcd | 2024-10-30 21:18 | 386 | Unknown | 0 | 2.853 | 838081 | 0 | ----- | ----- | ----- | -----
64 | FMI20241030_017.gcd | 2024-10-30 21:49 | 174 | Unknown | 0 | 6.012 | 3489 | 0.005 | ----- | ----- | ----- | ----- | 64 | FMI20241030_017.gcd | 2024-10-30 21:49 | 174 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20241030_017.gcd | 2024-10-30 21:49 | 174 | Unknown | 0 | 12.123 | 22482 | 4.888 | ----- | ----- | ----- | ----- | 1 |  | 64 | 5.4431 | 4612.6847 | 5.918 | 4286.4819 | 2.8767 | 4530.4306 | 2.6684 | 5233.3567 | 5.4431 | 4612.6847 | 64 | FMI20241030_017.gcd | 2024-10-30 21:49 | 174 | Unknown | 0 | 2.842 | 921806 | 0 | ----- | ----- | ----- | -----
65 | FMI20241030_018.gcd | 2024-10-30 22:19 | 73 | Unknown | 0 | 6.026 | 2561 | 0.003 | ----- | ----- | ----- | ----- | 65 | FMI20241030_018.gcd | 2024-10-30 22:19 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20241030_018.gcd | 2024-10-30 22:19 | 73 | Unknown | 0 | 12.097 | 48188 | 10.441 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.8459 | 9334.6847 | 2.6956 | 9171.9305 | 1.2862 | 9797.5 | 4.0585 | 10064.1944 | 2.8459 | 9334.6847 | 65 | FMI20241030_018.gcd | 2024-10-30 22:19 | 73 | Unknown | 0 | 2.844 | 879347 | 0 | ----- | ----- | ----- | -----
66 | FMI20241030_019.gcd | 2024-10-30 22:50 | 136 | Unknown | 0 | 6.01 | 2576 | 0.003 | ----- | ----- | ----- | ----- | 66 | FMI20241030_019.gcd | 2024-10-30 22:50 | 136 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20241030_019.gcd | 2024-10-30 22:50 | 136 | Unknown | 0 | 12.069 | 70663 | 15.229 | ----- | ----- | ----- | ----- | 1 |  | 66 | 2.8871 | 13907.0889 | 2.7485 | 13425.7172 | 1.3099 | 14374.9141 | 4.0287 | 15522.0008 | 2.8871 | 13907.0889 | 66 | FMI20241030_019.gcd | 2024-10-30 22:50 | 136 | Unknown | 0 | 2.844 | 886741 | 0 | ----- | ----- | ----- | -----
67 | FMI20241030_020.gcd | 2024-10-30 23:20 | 356 | Unknown | 0 | 6.017 | 2515 | 0.003 | ----- | ----- | ----- | ----- | 67 | FMI20241030_020.gcd | 2024-10-30 23:20 | 356 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20241030_020.gcd | 2024-10-30 23:20 | 356 | Unknown | 0 | 12.098 | 43289 | 9.389 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.7197 | 8796.2835 | 2.5333 | 8242.5286 | 1.2138 | 8796.3134 | 4.1516 | 9686.0931 | 2.7197 | 8796.2835 | 67 | FMI20241030_020.gcd | 2024-10-30 23:20 | 356 | Unknown | 0 | 2.844 | 890181 | 0 | ----- | ----- | ----- | -----
68 | FMI20241030_021.gcd | 2024-10-30 23:51 | 279 | Unknown | 0 | 5.985 | 148895 | 0.372 | ----- | ----- | ----- | ----- | 68 | FMI20241030_021.gcd | 2024-10-30 23:51 | 279 | Unknown | 0 | 5.92 | 955 | 0.316 | ----- | ----- | ----- | ----- | 68 | FMI20241030_021.gcd | 2024-10-30 23:51 | 279 | Unknown | 0 | 12.068 | 73678 | 15.866 | ----- | ----- | ----- | ----- | 1 |  | 68 | 420.923 | 14518.6258 | 389.2469 | 13995.109 | 345.3499 | 14987.0086 | 407.7058 | 16251.0171 | 420.923 | 14518.6258 | 68 | FMI20241030_021.gcd | 2024-10-30 23:51 | 279 | Unknown | 0 | 2.846 | 848166 | 0 | ----- | ----- | ----- | -----